Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister’s Youth Skills Development Programme

Course Contents / Lesson Plan

Course Title: Duct Fabricator

Duration: 6 Months

Revised Edition

| Trainer Name |  |
| --- | --- |
| Course Developer Name | Waqas Iqbal Instructor (Govt. Centre of Excellence for Training & Development Mughalpura Lahore) |
| Course Title | Duct Fabricator |
| Objectives and Expectations | ### Core Learning Objectives By the end of this course , trainees will be able to - Understand Duct Fabrication Fundamentals - Identify the components of duct systems and their functions. - Differentiate between various types of ducts (rectangular, circular, transition). - Explain the importance of standards and safety in duct fabrication. - Interpret and Use Blueprints - Read and interpret blueprint drawings for ductwork projects. - Measure dimensions and specifications accurately from blueprints. - Plan fabrication processes based on project requirements. - Utilize Tools and Equipment Safely - Demonstrate proper use of hand tools and power tools. - Operate cutting, bending, and welding equipment safely and efficiently. - Perform maintenance of tools and equipment to ensure longevity and safety. - Apply Measurement and Cutting Techniques - Perform precise measurements for cutting duct components. - Use various cutting methods for different materials. - Minimize material waste through efficient cutting practices. - Fabricate Duct Components - Create rectangular, circular, and transition duct components. - Perform bending and shaping operations with accuracy. - Assemble and join duct components using appropriate techniques. - Understand Insulation and Coating Applications - Select appropriate insulation materials for specific applications. - Apply coatings for corrosion protection and finish quality. - Ensure thermal efficiency and noise reduction through proper insulation. - Test and Maintain Duct Systems - Conduct leak tests and airflow checks on fabricated ducts. - Perform regular maintenance to ensure system longevity. - Troubleshoot common duct system issues effectively. - Integrate HVAC Systems with Ductwork - Understand the role of ductwork in HVAC systems. - Connect duct systems to HVAC units as per specifications. - Optimize ductwork design for airflow efficiency. - Plan and Execute Projects - Develop project plans, including timelines and resource allocation. - Execute fabrication and installation projects within specified deadlines. - Document work progress and ensure compliance with quality standards. - Adapt to Automation and Industry Trends - Operate CNC machines and automated tools for fabrication. - Understand emerging technologies in ductwork and HVAC systems. - Stay updated on industry standards and innovations. ### Main Expectations: After completing a 6-month duct fabrication course, trainees can expect to gain foundational skills, practical knowledge, and industry-relevant competencies that prepare them for employment or further specialization in the HVAC and duct fabrication sector. Below is an outline of what can be expected: ### Core Competencies - Technical Skills: - Proficiency in measuring, cutting, bending, and assembling ductwork according to design specifications. - Knowledge of handling tools, equipment, and machines used in duct fabrication, such as hand tools, shears, and CNC plasma cutters. - Ability to fabricate rectangular, circular, and transition ducts. - Blueprint Reading: - Capability to interpret and work from technical drawings, blueprints, and schematics. - Understanding of SMACNA standards and HVAC system designs. - Safety Standards: - Adherence to workplace safety protocols, including personal protective equipment (PPE) and material handling. ### Career Readiness - Job Opportunities: - Entry-level positions in duct fabrication, HVAC installation, and sheet metal fabrication industries. - Roles such as Duct Fabricator, Sheet Metal Worker, HVAC Technician Assistant, or Site Installer. - Industry Knowledge: - Awareness of local and international job markets in duct fabrication and HVAC systems. - Familiarity with the demands and expectations of employers in the trade. ### Potential Earnings - Income: - Initial salaries ranging from PKR 30,000 to 50,000 per month in Pakistan, depending on skill level and employer. - Opportunities for higher pay with international placements or specialization. ### Future Learning and Specialization - Trainees will be equipped to pursue advanced certifications or courses in: - CNC operation for duct fabrication. - Advanced HVAC system design and installation. - Leadership or supervisory roles in fabrication workshops. ### Entrepreneurial Potential - Small Business Setup: - Trainees can start their own duct fabrication services for residential, commercial, or industrial projects. - Capability to fabricate custom ductwork and provide maintenance services. ### Personal Development - Enhanced problem-solving, teamwork, and communication skills. - Greater confidence in working with technical designs and processes. ### Certification and Credibility - A nationally recognized certificate (e.g., from NAVTTC or TEVTA) that validates skills and knowledge. - Improved employability in both domestic and international markets. ### Global Opportunities - Eligibility for jobs in countries with high demand for skilled HVAC technicians and duct fabricators, such as the Middle East, Europe, and North America. ### Training Tools/ Methodology To ensure effective learning and skill acquisition during a duct fabrication course, a combination of tools and methodologies is employed. Below is an outline of commonly used training tools and methodologies: ### Training Tools ### Hands-On Tools and Equipment - Measuring Tools: - Tape measures, rulers, calipers, and protractors for accurate measurements. - Cutting Tools: - Hand shears, electric shears, plasma cutters, and snips. - Bending and Shaping Tools: - Manual bending brakes, hydraulic presses, and forming machines. - Assembly Tools: - Rivet guns, drills, screwdrivers, and clamps. - Welding Equipment: - Arc welders, TIG welders, and spot welders for joining ducts. - Safety Equipment: - Gloves, goggles, helmets, and ear protection for safe operations. #### Digital and Software Tools - Blueprint Reading Software: - Tools like AutoCAD or SolidWorks for technical drawing interpretation. - Simulation Software: - 3D modeling and duct layout simulators for design and planning. - Presentation Tools: - Multimedia presentations for theory sessions. #### Training Aids - Mock-up Models: - Sample ductwork for practice on assembly and joining methods. - Workbenches: - For practical exercises. - Reference Materials: - Manuals, instructional videos, and guides on SMACNA standards and best practices. ### Training Methodologies #### Classroom-Based Training - Lectures: - Delivery of theoretical knowledge such as safety standards, material types, and blueprint reading. - Interactive Sessions: - Discussions and Q&A to clarify concepts and encourage participation. #### Practical Demonstrations - Live Demonstrations: - Trainers demonstrate the use of tools, machines, and fabrication techniques. - Step-by-Step Guidance: - Instructors guide trainees through processes such as cutting, bending, and assembling. #### Hands-On Practice - Individual Projects: - Trainees practice on real-world tasks, such as fabricating rectangular or circular ducts. - Group Assignments: - Collaborative projects to build teamwork and problem-solving skills. #### Audio-Visual Aids - Instructional Videos: - Demonstrations of complex fabrication techniques and advanced machinery. - Presentations: - Slideshows on material properties, ductwork standards, and design principles. #### Simulations and Virtual Training - Use of software to simulate duct fabrication processes and airflow in HVAC systems. #### On-Site Training (Optional) - Visits to workshops or project sites for real-world exposure. - Observation of industry professionals at work. #### Assessments and Reviews - Weekly Quizzes: - To assess theoretical understanding. - Skill Tests: - Evaluation of practical abilities, such as accurate cutting and assembly. - Final Project: - Trainees complete a duct fabrication project to demonstrate their competence. |
| Entry-level of trainees | Minimum Requirement: - Middle (8th Grade Pass) Preferred Qualification: - Matriculation (10th Grade Pass) with a focus on Science subjects is preferred. - Candidates with Technical Education Certificates (e.g., basic knowledge in mechanical or electrical fields) will be given preference. |
| Teacher’s Eligibility Criteria | Educational Qualifications Minimum Requirement: - Diploma of Associate Engineering (DAE) in Mechanical, HVAC, or a related field. Preferred Qualifications: - B.Tech (Bachelor of Technology) in Mechanical Technology, HVAC or a related field. - Certification in Duct Fabrication or HVAC Systems from a recognized institution. #### Industry Experience #### Minimum Experience: - 2–3 years of practical, hands-on experience in duct fabrication, sheet metal work, or HVAC systems. #### Preferred Experience: - 5+ years of industrial experience, including exposure to modern tools, materials, and technologies in duct fabrication. |
| Learning Outcomes of the course | Here are learning outcomes for a duct fabricator course, designed to measure the knowledge, skills, and competencies students will achieve upon completion: ### Learning Outcomes - Knowledge Outcomes - Explain the principles of duct fabrication, including material properties, types of ducts, and their applications. - Demonstrate an understanding of blueprint reading and project planning for duct fabrication projects. - Identify tools, equipment, and safety protocols used in duct fabrication. - Discuss the role of insulation, coatings, and HVAC system integration in duct systems. - Skill Outcomes - Accurately measure, cut, bend, and shape sheet metal to fabricate ducts. - Assemble rectangular, circular, and transition duct components using industry-standard methods. - Perform joining techniques, including welding, riveting, and sealing, with precision. - Apply insulation and coatings to duct systems for thermal efficiency and corrosion protection. - Conduct testing and troubleshooting to ensure duct system integrity and performance. - Safely operate manual, power, and automated tools such as CNC machines. - Application Outcomes - Plan and execute a complete duct fabrication project from blueprint interpretation to final assembly. - Implement safety measures in all stages of duct fabrication and installation. - Optimize material usage and workflow to meet project deadlines and quality standards. - Integrate fabricated ducts into HVAC systems, ensuring proper airflow and functionality. - Adapt to industry advancements, including automation and emerging technologies. - Professional Outcomes - Work collaboratively in teams to complete fabrication and installation tasks. - Maintain high standards of workmanship and attention to detail. - Communicate effectively with clients, team members, and supervisors regarding project requirements. - Demonstrate problem-solving skills in addressing on-site challenges and defects. - Pursue job opportunities in the duct fabrication and HVAC industries with confidence in acquired skills. These learning outcomes ensure that students are prepared not only to fabricate ducts but also to adapt to real-world industry needs and excel in their careers. |
| Course Execution Plan | The total duration of the course: 6 months (24 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 480 hours |
| Companies offering jobs in the respective trade | In Pakistan, several companies in the HVAC (Heating, Ventilation, and Air Conditioning) sector offer employment opportunities for duct fabricators. Here are some notable organizations: ### 1. HVAC and Duct Fabrication Companies - Descon Engineering Limited - Renowned for industrial and HVAC solutions across Pakistan. - Offers fabrication and installation jobs for HVAC ductwork. - Khan Brothers Engineering Works - Specializes in duct fabrication, installation, and HVAC systems. - Aircon Engineering - A leading name in air conditioning and ductwork manufacturing. - Cool Point HVAC Systems - Focuses on duct fabrication, air conditioning systems, and ventilation solutions. - Unique Ducting Solutions - Provides customized duct fabrication services for commercial and industrial clients. ### 2. Construction and Mechanical Contracting Companies - Habib Construction Services - Engaged in large-scale mechanical and construction projects, including HVAC system installation. - Nespak (National Engineering Services Pakistan) - A prominent engineering consultancy that subcontracts duct fabrication and HVAC projects. - ZKB Engineers and Constructors - Frequently hires for HVAC and mechanical trades in commercial projects. - Fouji HVAC Systems - A contractor specializing in heating, ventilation, and air conditioning projects. - Synergy Engineering - Works on duct manufacturing, sheet metal, and industrial HVAC solutions. ### 3. Manufacturing and Industrial Sector - Atlas Engineering - Offers HVAC duct manufacturing roles in the industrial sector. - Pak HVAC Solutions - Involved in duct fabrication and air conditioning system installations. - Mughal Steel - Provides opportunities in sheet metal cutting and duct fabrication. - S.K. Engineering - Specializes in custom duct fabrication and ventilation systems. - Millat Industrial Products Limited - Occasionally hires for sheet metal and HVAC system fabrication roles. ### 4. Commercial Air Conditioning Providers - Daikin Pakistan - Engages in the installation and maintenance of ducted air conditioning systems. - LG Electronics (HVAC Division) - Recruits technicians and fabricators for ductwork associated with their HVAC solutions. - Samsung HVAC - Offers opportunities in duct and ventilation system installation. - Haier Pakistan (HVAC Division) - Provides jobs in duct fabrication and air conditioning projects. - Voltas Pakistan Limited - Involved in commercial and industrial HVAC installations. ### 5. Public Sector and Government Projects - Pakistan Public Works Department (PWD) - Oversees HVAC and duct fabrication projects for government buildings. - National Highway Authority (NHA) - Hires contractors for mechanical systems, including ductwork. - OGDCL (Oil and Gas Development Company Limited) - Contracts HVAC duct fabrication for industrial facilities. ### 6. Miscellaneous Engineering Firms - Technovision Engineering - Specializes in industrial and commercial ductwork fabrication. - Al-Futtaim Engineering (Pakistan Branch) - Offers HVAC ducting and mechanical trade-related jobs. For job listings specific to duct fabricators, platforms like Jobz.pk regularly post vacancies in this trade. Exploring these companies and resources can provide valuable leads for employment opportunities in the duct fabrication field within Pakistan. Exploring international job opportunities as a duct fabricator can open doors to diverse experiences and career growth. Here are some avenues to consider: 1. Online Job Portals Utilize reputable job search platforms that list international vacancies: - Indeed: Offers a wide range of duct fabricator positions across various countries. - Glassdoor: Provides insights into companies hiring for HVAC duct fabricator roles, including job descriptions and salary information. - WorkAbroad.ph: Caters to job seekers looking for opportunities abroad, including duct fabricator positions. 2. Recruitment Agencies Engaging with recruitment agencies that specialize in overseas placements can be beneficial. They often have established connections with international employers seeking skilled tradespeople. 3. Company Career Pages Research and visit the career sections of international companies known for their HVAC and duct fabrication services. Applying directly through company websites can sometimes yield better results. 4. Networking Join professional networks and forums related to HVAC and duct fabrication. Platforms like LinkedIn can help you connect with industry professionals and stay informed about job openings abroad. 5. Considerations - Work Permits and Visas: Ensure you understand the visa requirements and work permit regulations of the country you're considering. - Qualifications Recognition: Some countries may require your certifications to be recognized or may have additional qualification requirements. - Cultural Adaptation: Be prepared to adapt to different work cultures and environments. By leveraging these resources and being proactive in your job search, you can enhance your chances of securing a duct fabricator position abroad. |
| Job Opportunities | #### Roles in the Duct Fabrication Industry - Duct Fabricator: Fabricate, assemble, and install duct systems for HVAC applications. - Sheet Metal Worker: Work with sheet metal to create components for ventilation, air conditioning, and heating systems. - Duct Installer: Install fabricated ducts on-site as per project blueprints and specifications. - HVAC Technician: Assist in installing and maintaining ductwork as part of HVAC systems. - Welding Technician: Perform welding tasks for joining ducts and ensuring airtight seals. #### Roles in Construction and Manufacturing - Mechanical Technician: Work in construction projects requiring duct and piping systems. - Fabrication Specialist: Create custom duct solutions for industrial or commercial projects. - Production Supervisor: Oversee the manufacturing of duct components in a workshop or factory. - Quality Control Inspector: Ensure that fabricated ducts meet industry standards and project requirements. #### Specialized Roles - CNC Machine Operator: Use automated tools to cut and shape sheet metal for ducts. - Insulation Specialist: Apply and inspect insulation for thermal efficiency in duct systems. - Project Planner/Coordinator: Plan and coordinate fabrication and installation projects. - HVAC System Designer: Design duct systems for optimal airflow and energy efficiency. #### Industries Hiring Duct Fabricators - HVAC Companies: Involved in designing, manufacturing, and installing duct systems. - Construction Firms: Building commercial, industrial, and residential structures requiring ventilation systems. - Manufacturing Plants: Producing ducts, vents, and related components. - Automotive and Aerospace: Fabricating ducts and components for specialized vehicles and aircraft. - Facilities Maintenance: Maintaining and repairing duct systems in large buildings or industries. #### Entrepreneurship Opportunities - Start a duct fabrication workshop offering customized duct systems. - Provide mobile duct installation and repair services. - Offer consulting services for HVAC system optimization and duct design. #### Future Growth - With advancements in automation and green building standards, there’s a growing demand for skilled duct fabricators familiar with modern tools and techniques. - Opportunities in international markets due to global construction projects and HVAC upgrades. This field offers a promising career path with room for growth, skill enhancement, and specialization. |
| No of Students | 25 |
| Learning Place | Classroom / Workshop |

MODULES

| Scheduled Weeks | Module Title | Days | Learning Units | Home Assignment |
| --- | --- | --- | --- | --- |
| Week 1 | Introduction to Ductwork | Day 1 | Overview of Ductwork Systems - Definition and purpose of ductwork in HVAC systems. - Types of ductwork systems (supply, return, exhaust). - Common applications in residential, commercial, and industrial settings. | - Task 1 Details may be seen at Annexure-I |
|  |  |  | Fundamental Concepts in Airflow and Ventilation - Basics of airflow dynamics. - Importance of ventilation in HVAC systems. - Impact of duct design on air quality and energy efficiency. |  |
|  |  |  | Types of Duct Materials - Overview of duct materials (galvanized steel, aluminum, fiberglass, etc.). - Properties, advantages, and limitations of each material. - Selection criteria for duct materials. |  |
|  |  |  | Duct Shapes and Configurations - Common duct shapes (round, rectangular, and oval). - Applications of different shapes in various scenarios. - Comparison of performance characteristics. |  |
|  |  | Day 2 | Duct Sizing and Calculations - Principles of duct sizing. - Methods for calculating duct dimensions (manual and software-based). - Importance of proper sizing for system efficiency. |  |
|  |  |  | Tools and Equipment for Ductwork - Essential tools for duct fabrication and installation. - Safety gear and its importance. - Maintenance and handling of tools. |  |
|  |  |  | Duct Design Principles - Basic principles of duct layout and design. - Impact of design on energy consumption and airflow. - Introduction to duct design software. |  |
|  |  |  | Insulation in Ductwork - Importance of duct insulation. - Types of insulation materials. - Application techniques and considerations. |  |
|  |  | Day 3 | Ductwork Connections and Sealing - Methods for connecting duct sections. - Sealing techniques to prevent air leakage. - Common tools and materials for sealing. |  |
|  |  |  | Fabrication of Ductwork - Introduction to duct fabrication processes. - Overview of cutting, bending, and assembling techniques. - Safety considerations in fabrication |  |
|  |  |  | Installation of Ductwork - Steps in ductwork installation. - Guidelines for proper alignment and support. - Avoiding common installation errors. |  |
|  |  |  | Maintenance and Troubleshooting - Routine maintenance for duct systems. - Identifying and solving common ductwork issues. - Tools used for troubleshooting. |  |
|  |  | Day 4 | Standards and Regulations in Ductwork - Overview of ductwork standards (e.g., ASHRAE, SMACNA). - Importance of compliance with building codes. - Environmental considerations. |  |
|  |  |  | Airflow Testing and Balancing - Purpose of airflow testing. - Methods for measuring and balancing airflow. - Tools used for testing. |  |
|  |  |  | Fire Safety in Duct Systems - Fire safety requirements for ductwork. - Fire dampers and smoke control systems. - Importance of compliance with fire safety standards. |  |
|  |  |  | Advanced Duct Technologies - Introduction to smart duct systems. - Use of sensors and automation in modern ductwork. - Trends in ductwork technology. |  |
|  |  | Day 5 | Cost Estimation and Budgeting - Estimating costs for ductwork materials and installation. - Factors affecting cost efficiency. - Budget planning for HVAC projects. |  |
|  |  |  | Environmental Impact of Ductwork - Role of duct systems in energy efficiency. - Reducing environmental impact through sustainable materials. - Green building practices. |  |
|  |  |  | Case Studies and Practical Examples - Analysis of real-world ductwork projects. - Discussion on challenges and solutions. - Lessons learned from successful installations. |  |
|  |  |  | Final Assessment and Wrap-Up - Review of key concepts covered in the module. - Q&A and feedback session. |  |
| Week 2 | Safety and Standards | Day 1 | Introduction to Safety in Duct Fabrication - Importance of workplace safety in duct fabrication. - Overview of common hazards in the duct fabrication process. - Role of safety standards in the HVAC industry. | - Task 2 Details may be seen at Annexure-I |
|  |  |  | Personal Protective Equipment (PPE) - Types of PPE required for duct fabrication. - Proper use, maintenance, and storage of PPE. - Importance of compliance with PPE guidelines. |  |
|  |  |  | Hazard Identification and Risk Assessment - Identifying potential hazards in duct fabrication. - Techniques for risk assessment. - Developing a risk management plan. |  |
|  |  |  | Workplace Safety Regulations - Overview of workplace safety laws (e.g., OSHA regulations). - Specific safety standards for duct fabrication. - Consequences of non-compliance. |  |
|  |  | Day 2 | Safe Use of Tools and Equipment - Guidelines for safe handling of cutting, bending, and welding tools. - Maintenance of equipment to ensure safety. - Avoiding accidents through proper tool usage. |  |
|  |  |  | Handling Duct Materials Safely - Safety protocols for handling heavy and sharp materials. - Proper lifting and carrying techniques. - Avoiding injuries during material transportation. |  |
|  |  |  | Fire Safety in Fabrication Workshops - Fire prevention measures in duct fabrication areas. - Use of fire extinguishers and emergency procedures. - Storage and handling of flammable materials. |  |
|  |  |  | Electrical Safety in Fabrication Workshops - Identifying electrical hazards in the workshop. - Safe use of electrical tools and machines. - Grounding and circuit protection practices. |  |
|  |  | Day 3 | Ventilation and Air Quality - Importance of proper ventilation in the workshop. - Controlling dust and fumes during fabrication. - Safety measures for working in confined spaces. |  |
|  |  |  | Standards for Duct Materials - Material standards for duct fabrication (e.g., ASTM, SMACNA). - Identifying compliant materials. - Implications of using substandard materials. |  |
|  |  |  | Ergonomics in Duct Fabrication - Designing workstations for ergonomic efficiency. - Preventing musculoskeletal disorders (MSDs). - Safe postures and movements during fabrication tasks. |  |
|  |  |  | Noise and Vibration Control - Effects of noise and vibration on worker health. - Noise control measures in fabrication workshops. - Proper use of ear protection devices. |  |
|  |  | Day 4 | Emergency Preparedness and Response - Developing an emergency action plan. - Conducting safety drills and training. - First aid basics for duct fabrication workers. |  |
|  |  |  | Quality Standards in Duct Fabrication - Introduction to quality control in duct manufacturing. - Key quality standards for HVAC systems. - Role of safety in ensuring product quality. |  |
|  |  |  | Waste Management and Sustainability - Proper disposal of fabrication waste. - Recycling and sustainable practices in ductwork. - Compliance with environmental regulations. |  |
|  |  |  | Safety Audits and Inspections - Conducting regular safety audits. - Checklist for workplace safety inspections. - Addressing non-compliance and corrective actions. |  |
|  |  | Day 5 | Lockout/Tag out Procedures - Purpose and importance of lockout/tag out systems. - Steps for implementing lockout/tag out. - Preventing accidental equipment startup. |  |
|  |  |  | Training and Awareness Programs - Importance of ongoing safety training. - Methods for improving worker safety awareness. - Role of supervisors in promoting a safety culture. |  |
|  |  |  | Case Studies in Safety Incidents - Analysis of real-life duct fabrication accidents. - Lessons learned and preventive measures. - Discussion of industry best practices. |  |
|  |  |  | Final Assessment and Course Wrap-Up - Review of key safety and standards topics. - Q&A and feedback session. |  |
| Week 3 | Blueprint Reading | Day 1 | Introduction to Blueprint Reading - What is a blueprint? - Importance of blueprint reading in duct fabrication. - Basic components of a blueprint (title block, legend, and notes). | - Task 3 Details may be seen at Annexure-I |
|  |  |  | Symbols and Notations - Common symbols used in ductwork blueprints. - Abbreviations and notations specific to HVAC systems. - Practice: Identifying symbols on sample blueprints. |  |
|  |  |  | Types of HVAC Blueprints - Overview of HVAC system plans. - Understanding ductwork, electrical, and mechanical drawings. - Differences between residential and commercial blueprints. |  |
|  |  |  | Understanding Scales and Measurements - Purpose of scales in blueprints. - Converting blueprint measurements to actual dimensions. - Practice: Measuring scaled duct dimensions. |  |
|  |  | Day 2 | Reading Duct Layouts - Identifying supply, return, and exhaust ducts on a layout. - Understanding duct routes and transitions. - Practice: Tracing duct paths on a blueprint. |  |
|  |  |  | Cross-Sectional Views - Purpose of cross-sectional views in blueprints. - Identifying duct sizes and shapes in cross-sections. - Practice: Analyzing cross-sectional details. |  |
|  |  |  | Understanding Legends and Schedules - Decoding the legend and material schedule. - Importance of symbols for fittings, dampers, and diffusers. - Practice: Matching symbols to legend descriptions. |  |
|  |  |  | Duct Sizing and Dimensions - How duct sizes are represented on blueprints. - Reading dimensions for straight runs and transitions. - Practice: Calculating dimensions from sample drawings. |  |
|  |  | Day 3 | Fittings and Accessories in Blueprints - Common fittings (elbows, reducers, tees) in duct systems. - Accessories like dampers, grills, and registers. - Practice: Identifying fittings and accessories on blueprints. |  |
|  |  |  | #### Airflow and Pressure Notations - Understanding airflow directions and CFM (cubic feet per minute) notations. - Identifying pressure drop details in blueprints. - Practice: Analyzing airflow specifications. |  |
|  |  |  | #### Material Specifications - Identifying material types (metal, flexible, fiberglass) on blueprints. - Reading material codes and standards. - Practice: Interpreting material details from blueprint notes. |  |
|  |  |  | #### Layout Complexity and Zoning - Identifying zones in ductwork layouts. - Understanding complex layouts with multiple zones. - Practice: Mapping zones from a blueprint. |  |
|  |  | Day 4 | #### Blueprint Errors and Adjustments - Common errors in blueprints. - Identifying inconsistencies and resolving them. - Practice: Spotting errors in sample drawings. |  |
|  |  |  | #### Advanced Symbols and Diagrams - Specialized symbols for advanced systems (e.g., VAV, duct heaters). - Reading control diagrams related to duct systems. - Practice: Interpreting advanced symbols. |  |
|  |  |  | #### Blueprint Reading for Fabrication - Translating blueprints into fabrication tasks. - Steps to prepare cutting lists and material orders. - Practice: Creating a fabrication plan from a blueprint. |  |
|  |  | Day 5 | #### Blueprint Reading for Installation - Reading installation guidelines on blueprints. - Identifying mounting points and support structures. - Practice: Planning an installation sequence from a blueprint. |  |
|  |  |  | #### Case Studies in Blueprint Reading - Analysis of real-world blueprints from duct fabrication projects. - Discussion on challenges and solutions. - Practice: Evaluating case studies and proposing adjustments. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Comprehensive review of all units. - Feedback and Q&A session. |  |
| WEEK 4 | Materials and Tools | Day 1 | #### Introduction to Materials and Tools in Duct Fabrication - Overview of the role of materials and tools in duct fabrication. - Importance of selecting the right materials and tools. - Safety considerations when working with tools and materials. | - Task 4 Details may be seen at Annexure-I |
|  |  |  | #### Common Materials Used in Duct Fabrication - Types of materials (galvanized steel, aluminum, stainless steel, fiberglass, etc.). - Properties and applications of each material. - Factors influencing material selection. |  |
|  |  |  | #### Sheet Metal Basics - Characteristics of sheet metal used in duct fabrication. - Standard gauges and thicknesses. - How material thickness affects performance and fabrication. |  |
|  |  |  | #### Flexible Duct Materials - Overview of flexible duct materials (e.g., fabric, plastic). - Applications and limitations. - Comparison with rigid duct materials. |  |
|  |  | Day 2 | #### Insulation Materials for Ducts - Types of insulation materials (fiberglass, foam, etc.). - Benefits of insulating duct systems. - Selection and application of insulation. |  |
|  |  |  | #### Duct Accessories and Components - Common accessories (dampers, flanges, connectors, etc.). - Materials used for fittings and connections. - Importance of compatible materials for accessories. |  |
|  |  |  | #### Tools for Measuring and Marking - Measuring tools (tape measures, calipers, squares). - Marking tools (scribes, markers, chalk lines). - Proper use and maintenance of these tools. |  |
|  |  |  | #### Cutting Tools - Overview of cutting tools (shears, snips, saws). - Techniques for accurate and safe cutting. - Maintenance and sharpening of cutting tools. |  |
|  |  | Day 3 | #### Forming and Bending Tools - Tools for shaping sheet metal (brake presses, hand seamers). - Methods for achieving precise bends. - Safety precautions when using forming tools. |  |
|  |  |  | #### Fastening Tools and Techniques - Tools for fastening (riveters, drills, screwdrivers). - Types of fasteners used in duct fabrication. - Ensuring secure and durable connections. |  |
|  |  |  | #### Sealing Tools and Materials - Sealants and adhesives used in ductwork. - Tools for applying sealants (caulking guns, brushes). - Techniques for effective sealing to prevent air leakage. |  |
|  |  |  | #### Welding Tools and Techniques - Types of welding processes used in duct fabrication (MIG, TIG, etc.). - Tools and equipment for welding. - Safety measures and PPE for welding tasks. |  |
|  |  | Day 4 | #### Grinding and Finishing Tools - Tools for smoothing and finishing edges (grinders, files). - Techniques for achieving a clean finish. - Importance of finishing for safety and aesthetics. |  |
|  |  |  | #### Material Handling Equipment - Tools and equipment for lifting and transporting materials. - Proper handling techniques to avoid damage and injuries. - Storage solutions for materials and tools. |  |
|  |  |  | #### Power Tools in Duct Fabrication - Overview of commonly used power tools (drills, saws, etc.). - Safe operation and maintenance of power tools. - Advantages and limitations of power tools. |  |
|  |  |  | #### Tool Maintenance and Calibration - Importance of maintaining tools for accuracy and safety. - Steps for cleaning and storing tools properly. - Calibration techniques for precision tools. |  |
|  |  | Day 5 | #### Safety Standards for Tools and Materials - Safety standards for materials and tools (e.g., OSHA guidelines). - Importance of using certified tools and materials. - Conducting regular safety inspections. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of key concepts and best practices. - Q&A and feedback session. |  |
| Week 5 | Measurement Techniques | Day 1 | #### Introduction to Measurement in Duct Fabrication - Importance of accurate measurements in duct fabrication. - Overview of measurement tools and techniques. | - Task 5 Details may be seen at Annexure-I |
|  |  |  | #### Basics of Measurement Units - Understanding units of measurement (metric and imperial systems). - Converting between units commonly used in duct fabrication. - Practice: Conversion exercises for length, area, and volume. |  |
|  |  |  | #### Tools for Measurement - Overview of basic tools (tape measures, rulers, calipers, squares). - Introduction to advanced tools (laser measures, micrometers). - Proper handling and maintenance of measurement tools. |  |
|  |  |  | #### Reading Scales and Gauges - Understanding scale markings on rulers and tapes. - Interpreting gauge measurements for sheet metal. - Practice: Reading scales and recording measurements. |  |
|  |  | Day 2 | #### Linear Measurements - Techniques for measuring straight lengths accurately. - Measuring long spans with precision. - Practice: Measuring and marking straight duct sections. |  |
|  |  |  | #### Measuring Angles and Curves - Tools for measuring angles (protractors, angle finders). - Techniques for measuring and replicating curves. - Practice: Measuring and marking angles on duct layouts. |  |
|  |  |  | #### Area and Perimeter Calculations - Calculating the area of duct sections. - Determining the perimeter for material requirements. - Practice: Area and perimeter calculations for various shapes. |  |
|  |  |  | #### Measuring Duct Diameters - Methods for measuring diameters of round and oval ducts. - Tools used for internal and external diameter measurements. - Practice: Measuring diameters on different duct materials. |  |
|  |  | Day 3 | #### Thickness Measurement - Importance of sheet metal thickness in duct fabrication. - Using thickness gauges to determine material properties. - Practice: Measuring thickness of sample materials. |  |
|  |  |  | #### Volume and Capacity Measurement - Calculating the volume of ducts for airflow requirements. - Understanding the relationship between volume and capacity. - Practice: Volume calculations for different duct shapes. |  |
|  |  |  | #### Tolerances and Allowances - Importance of tolerances in duct fabrication. - Setting and checking allowable variations. - Practice: Identifying tolerances and adjusting measurements. |  |
|  |  |  | #### Measuring for Fittings and Transitions - Techniques for measuring duct fittings (elbows, reducers, etc.). - Calculating dimensions for transitions. - Practice: Creating templates for common fittings. |  |
|  |  | Day 4 | #### Site Measurement Techniques - Measuring spaces for duct installation on-site. - Addressing irregularities in construction layouts. - Practice: Conducting a site survey and recording measurements. |  |
|  |  |  | #### Marking and Layout Techniques - Transferring measurements to materials accurately. - Tools for marking (scribes, markers, chalk lines). - Practice: Laying out duct patterns based on measurements. |  |
|  |  |  | #### Measuring Airflow Paths - Basics of airflow measurement. - Tools for measuring airflow paths and duct alignment. - Practice: Mapping airflow paths using diagrams. |  |
|  |  |  | #### Measurement for Insulation - Measuring duct dimensions for insulation materials. - Allowances for insulation thickness and overlaps. - Practice: Preparing insulation layouts based on duct measurements. |  |
|  |  | Day 5 | #### Quality Assurance in Measurement - Ensuring measurement accuracy through double-checking. - Common errors and how to avoid them. - Practice: Conducting a quality check on sample measurements. |  |
|  |  |  | #### Digital Measurement Tools - Introduction to laser measures and digital calipers. - Advantages of using digital tools in duct fabrication. - Practice: Using digital tools to measure and record data. |  |
|  |  |  | #### Final Assessment and Wrap-Up - Comprehensive review of all measurement techniques. - Q&A and feedback session. |  |
| Week 6 | Cutting Techniques | Day 1 | #### Introduction to Cutting Techniques - Importance of accurate cutting in duct fabrication. - Overview of cutting processes and their applications. - Safety considerations during cutting operations. | - Task 6 Details may be seen at Annexure-I |
|  |  |  | #### Cutting Tools Overview - Types of manual cutting tools (snips, shears, etc.). - Introduction to power cutting tools (plasma cutters, circular saws). - Overview of advanced equipment (CNC machines). |  |
|  |  |  | #### Understanding Sheet Metal Properties - Effects of material properties on cutting techniques. - Identifying cutting challenges for different materials (steel, aluminum). - Choosing the right tools for specific materials. |  |
|  |  |  | #### Measuring and Marking for Cutting - Importance of accurate measurements before cutting. - Tools for marking (scribes, markers, chalk). - Practice: Measuring and marking straight cuts. |  |
|  |  | Day 2 | #### Manual Cutting Techniques - Using hand snips and shears for straight and curved cuts. - Proper handling to minimize material distortion. - Practice: Cutting straight and curved lines on sample sheets. |  |
|  |  |  | #### Power Cutting Tools – Basics - Introduction to jigsaws, grinders, and circular saws. - Proper setup and handling of power tools. - Practice: Straight and angled cuts using power tools. |  |
|  |  |  | #### Cutting Angles and Bevels - Techniques for accurate angle and bevel cuts. - Adjusting tools and setups for complex angles. - Practice: Creating beveled edges and angled cuts. |  |
|  |  |  | #### Cutting Curves and Patterns - Tools and techniques for cutting curves and intricate patterns. - Templates and guides for precise cutting. - Practice: Cutting patterns and curves from templates. |  |
|  |  | Day 3 | #### Cutting Duct Fittings - Techniques for cutting elbows, transitions, and reducers. - Calculating dimensions and marking for fittings. - Practice: Cutting and preparing duct fittings. |  |
|  |  |  | #### Cutting Insulation Materials - Tools for cutting duct insulation materials (fiberglass, foam). - Techniques to avoid damaging insulation during cutting. - Practice: Cutting insulation to match duct dimensions. |  |
|  |  |  | #### Handling Thin and Thick Materials - Challenges of cutting thin sheets versus thick plates. - Techniques to prevent burrs and distortions. - Practice: Cutting different material thicknesses. |  |
|  |  |  | #### Maintaining Cutting Tools - Importance of maintaining sharp and clean cutting tools. - Techniques for sharpening and cleaning blades. - Practice: Tool maintenance and sharpening. |  |
|  |  | Day 4 | #### Waste Minimization in Cutting - Strategies to optimize material usage during cutting. - Reducing scrap and reusing offcuts. - Practice: Planning cuts to maximize material efficiency. |  |
|  |  |  | #### Cutting Safety Standards - Overview of safety regulations and standards. - PPE for cutting operations. - Practice: Conducting a pre-cutting safety check. |  |
|  |  |  | #### Troubleshooting Cutting Problems - Identifying common cutting issues (burrs, misalignment). - Solutions for improving cutting precision and quality. - Practice: Troubleshooting and refining cuts. |  |
|  |  |  | #### Quality Control in Cutting - Inspecting cuts for accuracy and quality. - Standards for acceptable cuts in duct fabrication. - Practice: Evaluating and correcting sample cuts. |  |
|  |  | Day 5 | #### Case Studies and Applications - Analysis of real-world cutting scenarios in duct fabrication. - Discussing solutions to cutting challenges. - Practice: Applying techniques to complex cutting tasks. |  |
|  |  |  | #### Final Assessment and Wrap-Up - Comprehensive review of cutting techniques. - Q&A, feedback, and course completion. |  |
| Week 7 | Bending and Shaping | Day 1 | #### Introduction to Bending and Shaping - Importance of bending and shaping in duct fabrication. - Overview of bending processes and their applications. - Safety considerations during bending and shaping operations. | - Task 7 Details may be seen at Annexure-I |
|  |  |  | #### Tools for Bending and Shaping - Manual tools (hand seamers, mallets, bending brakes). - Power tools (hydraulic benders, CNC bending machines). - Proper care and maintenance of bending tools. |  |
|  |  |  | #### Properties of Materials for Bending - Effects of material type and thickness on bending. - Elasticity and plasticity of metals. - Recognizing material limitations during shaping. |  |
|  |  |  | #### Measurement and Marking for Bending - Importance of precise measurements and markings. - Tools for marking bends (scribes, markers, protractors). - Practice: Marking guidelines for accurate bends. |  |
|  |  | Day 2 | #### Manual Bending Techniques - Using hand seamers and bending brakes for straight bends. - Techniques for achieving consistent angles manually. - Practice: Creating straight and angled bends with hand tools. |  |
|  |  |  | #### Advanced Manual Bending - Methods for complex bends using basic tools. - Controlling spring-back during bending. - Practice: Producing multi-step bends manually. |  |
|  |  |  | #### Power Bending Tools - Introduction to power-operated bending machines. - Setting up and operating hydraulic and CNC benders. - Practice: Performing precise bends using powered tools. |  |
|  |  | Day 3 | #### Air Duct Bending Techniques - Specific techniques for bending ducts to fit layouts. - Calculating angles and radii for duct transitions. - Practice: Bending ducts for standard fittings and layouts. |  |
|  |  |  | #### Shaping Techniques for Curves - Tools and methods for shaping curves. - Achieving smooth transitions and arcs. - Practice: Creating curved shapes for duct sections. |  |
|  |  |  | #### Bending and Shaping for Fittings - Techniques for shaping elbows, reducers, and transitions. - Ensuring proper fit and alignment of fittings. - Practice: Shaping components for specific fitting applications. |  |
|  |  |  | #### Bending Different Materials - Techniques for bending aluminum, steel, and flexible materials. - Adjusting methods based on material properties. - Practice: Bending a variety of materials with appropriate tools. |  |
|  |  | Day 4 | #### Controlling Deformations - Identifying and minimizing distortions during bending. - Techniques to maintain material integrity and aesthetics. - Practice: Producing bends with minimal deformation. |  |
|  |  |  | #### Advanced Shaping Techniques - Using custom dies and forms for specialized shapes. - Techniques for compound shaping and intricate designs. - Practice: Creating custom shapes using advanced techniques. |  |
|  |  |  | #### Safety in Bending and Shaping - Safety standards for bending operations. - Proper use of PPE and handling tools safely. - Practice: Conducting a safety check before bending tasks. |  |
|  |  |  | #### Quality Control in Bending and Shaping - Inspecting bends for accuracy and quality. - Common defects in bending and how to avoid them. - Practice: Evaluating and refining shaped components. |  |
|  |  | Day 5 | #### Bending for Special Applications - Techniques for spiral ducts and non-standard designs. - Meeting specific project requirements through custom shaping. - Practice: Shaping ducts for unique project scenarios. |  |
|  |  |  | #### Final Assessment and Wrap-Up - Comprehensive review of bending and shaping techniques. - Q&A, feedback, and course completion. |  |
| Week 8 | Joining Methods | Day 1 | #### Introduction to Joining Methods - Importance of proper joining in duct fabrication. - Overview of joining techniques used in duct fabrication. - Factors influencing the choice of joining methods. | - Task 8 Details may be seen at Annexure-I |
|  |  |  | #### Tools and Equipment for Joining - Manual tools (hammers, riveters, clamps). - Power tools (drills, welders, screwdrivers). - Care and maintenance of joining tools. |  |
|  |  |  | #### Types of Joints in Duct Fabrication - Overview of common joint types: butt, lap, seam, and flange joints. - Applications of each joint type. - Advantages and limitations of various joints. |  |
|  |  |  | #### Riveting Techniques - Basics of riveting and types of rivets. - Tools for riveting and their proper usage. - Practice: Joining two duct pieces using rivets. |  |
|  |  | Day 2 | #### Screwing and Bolting Techniques - Choosing screws and bolts for duct joints. - Techniques for ensuring secure fastenings. - Practice: Creating screw and bolt joints. |  |
|  |  |  | #### Welding Basics - Types of welding used in duct fabrication (MIG, TIG, spot welding). - Safety measures for welding operations. - Practice: Welding two duct pieces with basic equipment. |  |
|  |  | Day 3 | #### Soldering and Brazing - Principles of soldering and brazing. - Materials and tools required for each technique. - Practice: Soldering a joint for airtight sealing. |  |
|  |  |  | #### Adhesive Bonding - Types of adhesives used in duct fabrication. - Techniques for applying adhesives for strong bonds. - Practice: Creating an adhesive-based joint. |  |
|  |  |  | #### Flange Joints - Construction and application of flange joints. - Tools and techniques for securing flange joints. - Practice: Assembling a duct section with flanged connections. |  |
|  |  |  | #### Seam Joining Techniques - Methods for creating seam joints (lock seams, Pittsburgh seams). - Tools for forming and securing seams. - Practice: Constructing a lock seam for a duct section. |  |
|  |  | Day 4 | #### Gasket and Sealant Application - Importance of gaskets and sealants in duct joints. - Types of sealants and gaskets used in duct fabrication. - Practice: Applying sealants to achieve airtight joints. |  |
|  |  |  | #### Joining Dissimilar Materials - Challenges in joining different materials (e.g., aluminum and steel). - Techniques to ensure compatibility and strength. - Practice: Joining two materials with different properties. |  |
|  |  |  | #### Inspection and Testing of Joints - Techniques for inspecting joint quality (visual inspection, pressure testing). - Identifying common joint defects and how to address them. - Practice: Inspecting and improving faulty joints. |  |
|  |  |  | #### Safety Standards for Joining - Overview of safety protocols in joining operations. - Proper use of PPE during joining processes. - Practice: Conducting a pre-joining safety check. |  |
|  |  | Day 5 | #### Cost and Efficiency in Joining - Balancing material and labor costs in joining processes. - Techniques to enhance efficiency without compromising quality. - Practice: Planning and executing efficient joining tasks. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Comprehensive review of all joining methods. - Q&A, feedback, and course completion. |  |
| Week 9 | Assembly Basics | Day 1 | #### Introduction to Duct Assembly - Overview of duct assembly in HVAC systems. - Importance of proper assembly for system performance. - Tools and equipment required for duct assembly. | - Task 9 Details may be seen at Annexure-I |
|  |  |  | #### Types of Duct Systems - Overview of rectangular, circular, and spiral ducts. - Applications of different duct types in HVAC systems. - Identifying components of duct systems. |  |
|  |  |  | #### Reading Assembly Blueprints - Interpreting duct system layout drawings. - Understanding symbols, dimensions, and assembly instructions. - Practice: Analyzing a sample duct assembly blueprint. |  |
|  |  |  | #### Preparing Components for Assembly - Inspecting and organizing duct sections and fittings. - Cleaning and deburring duct edges. - Practice: Preparing components for efficient assembly. |  |
|  |  | Day 2 | #### Tools for Duct Assembly - Manual tools (clamps, hammers, seamers). - Power tools (drills, rivet guns, screwdrivers). - Proper care and maintenance of assembly tools. |  |
|  |  |  | #### Flange and Frame Assembly - Attaching flanges and frames to duct sections. - Techniques for ensuring secure and airtight connections. - Practice: Assembling flanges and frames on duct pieces. |  |
|  |  |  | #### Joining Duct Sections - Methods for connecting straight duct sections. - Using connectors, clips, and screws for assembly. - Practice: Joining multiple duct sections accurately. |  |
|  |  | Day 3 | #### Assembling Fittings - Techniques for assembling elbows, transitions, and reducers. - Ensuring proper alignment and fit during assembly. - Practice: Attaching fittings to duct sections. |  |
|  |  |  | #### Hanging and Supporting Ducts - Types of hangers and supports used in duct assembly. - Calculating spacing and load requirements. - Practice: Installing hangers and securing ductwork. |  |
|  |  |  | #### Insulating Ducts During Assembly - Techniques for applying insulation during assembly. - Materials used for thermal and acoustic insulation. - Practice: Insulating duct sections and joints. |  |
|  |  |  | #### Assembling Circular and Spiral Ducts - Methods specific to circular and spiral duct systems. - Techniques for ensuring proper alignment and sealing. - Practice: Assembling circular and spiral ducts. |  |
|  |  | Day 4 | #### Modular Duct Assembly Systems - Introduction to modular and pre-fabricated systems. - Advantages and limitations of modular assembly. - Practice: Assembling a modular duct section. |  |
|  |  |  | #### Troubleshooting Assembly Issues - Common challenges during duct assembly. - Solutions for alignment, leakage, and joint issues. - Practice: Identifying and solving assembly problems. |  |
|  |  |  | #### Site Assembly and Installation - Techniques for assembling ducts on-site. - Adapting to irregularities in construction layouts. - Practice: Assembling and installing ducts in a simulated site environment. |  |
|  |  | Day 5 | #### Safety Standards in Assembly - Safety protocols for assembling duct systems. - Proper use of PPE and safe handling of tools. - Practice: Conducting a pre-assembly safety check. |  |
|  |  |  | #### Advanced Assembly Techniques - Using automated tools and systems for faster assembly. - Techniques for large-scale duct system assembly. - Practice: Exploring advanced assembly methods. |  |
|  |  |  | #### Final Assessment and Wrap-Up - Comprehensive review of assembly methods. - Q&A, feedback, and course completion. |  |
| Week 10 | Insulation and Coating | Day 1 | #### Introduction to Insulation and Coating - Importance of insulation and coating in duct fabrication. - Overview of the benefits: energy efficiency, noise reduction, and condensation prevention. - Types of coatings and insulation used in duct systems. | - Task 10 Details may be seen at Annexure-I |
|  |  |  | #### Insulation Materials Overview - Types of insulation materials (fiberglass, foam, mineral wool, etc.). - Characteristics of each material and their applications. - Selecting appropriate insulation based on duct type and environment. |  |
|  |  |  | #### Coating Materials Overview - Types of coatings used in duct fabrication (protective, anti-corrosion, reflective). - Benefits of each coating type (e.g., moisture resistance, thermal insulation). - Choosing the right coating based on the environment (indoor, outdoor, corrosive). |  |
|  |  |  | #### Preparing Ducts for Insulation and Coating - Cleaning and surface preparation techniques. - Importance of preparing the surface for adhesion. - Safety precautions during surface preparation. |  |
|  |  | Day 2 | #### Insulating Ducts - Techniques for insulating round, rectangular, and spiral ducts. - Measuring, cutting, and applying insulation correctly. - Practice: Installing insulation on sample ducts. |  |
|  |  |  | #### Applying Flexible Insulation - Benefits of flexible insulation materials. - Installation techniques for flexible insulation. - Practice: Wrapping ducts with flexible insulation. |  |
|  |  |  | #### Installing Rigid Insulation - Methods for handling and applying rigid insulation boards. - Cutting and fitting rigid insulation for ducts. - Practice: Installing rigid insulation in duct sections. |  |
|  |  |  | #### Insulating with Spray Foam - Overview of spray foam insulation (types and applications). - Proper spray application techniques for an even coat. - Practice: Applying spray foam insulation to ducts. |  |
|  |  | Day 3 | #### Protective Coatings Overview - Introduction to protective coatings for ducts (anti-corrosion, fire-resistant, etc.). - Common coating materials (epoxy, polyurethane, acrylic). - Benefits of applying coatings to ductwork. |  |
|  |  |  | #### Applying Fire-Resistant Coatings - Types of fire-resistant coatings and their applications. - Techniques for applying fire-resistant coatings to ducts. - Practice: Coating ducts with fire-resistant materials. |  |
|  |  |  | #### Anti-Corrosion Coatings - Understanding the need for corrosion protection in duct systems. - Applying anti-corrosion coatings for metal ducts. - Practice: Applying anti-corrosion coatings to duct sections. |  |
|  |  | Day 4 | #### Reflective Coatings and Energy Efficiency - Overview of reflective coatings to improve energy efficiency. - Techniques for applying reflective coatings on ducts. - Practice: Coating ducts with reflective materials to enhance thermal performance. |  |
|  |  |  | #### Coating for Aesthetic Finishes - Applying coatings for decorative purposes in exposed ducts. - Techniques for smooth and aesthetically pleasing coatings. - Practice: Applying decorative coatings on duct systems. |  |
|  |  |  | #### Safety Standards for Insulation and Coating - Safety protocols for working with insulation and coating materials. - Personal protective equipment (PPE) required for insulation and coating applications. - Practice: Conducting a pre-insulation and pre-coating safety check. |  |
|  |  |  | #### Insulation and Coating for HVAC Efficiency - How insulation and coatings impact HVAC system efficiency. - Analyzing the role of thermal insulation in reducing energy loss. - Practice: Assessing the impact of insulation and coating on energy efficiency. |  |
|  |  | Day 5 | #### Troubleshooting Insulation and Coating Issues - Common issues with insulation and coating (bubbling, gaps, uneven coating). - Techniques for troubleshooting and fixing common problems. - Practice: Identifying and resolving insulation and coating defects. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Comprehensive review of insulation and coating methods. - Q&A, feedback, and course completion. |  |
| Week 11 | Rectangular Duct Fabrication | Day 1 | #### Introduction to Rectangular Duct Fabrication - Overview of rectangular duct fabrication in HVAC systems. - Importance of precision in rectangular duct fabrication. - Materials commonly used for rectangular ducts (galvanized steel, aluminum, etc.). | - Task 11 Details may be seen at Annexure-I |
|  |  |  | #### Tools and Equipment for Fabrication - Introduction to tools required for rectangular duct fabrication (snips, shears, hammer, rivet guns). - Overview of power tools used in cutting, bending, and shaping. - Maintenance and safety guidelines for fabrication tools. |  |
|  |  |  | #### Understanding Rectangular Duct Dimensions - Overview of common rectangular duct sizes and their applications. - Importance of precise measurements for proper fit in HVAC systems. - Calculating dimensions for various rectangular ducts based on system requirements. |  |
|  |  |  | #### Safety Procedures in Rectangular Duct Fabrication - Safety protocols to follow when working with duct materials. - PPE (Personal Protective Equipment) required for cutting, bending, and assembling ducts. - Proper handling and disposal of materials and waste. |  |
|  |  | Day 2 | #### Marking and Measuring for Rectangular Ducts - Techniques for accurately marking duct materials before cutting. - Using rulers, protractors, and square tools for precise measurements. - Practice: Measuring and marking a rectangular duct for cutting. |  |
|  |  |  | #### Cutting Rectangular Ducts - Techniques for cutting duct materials (manual and power cutting methods). - Tools and techniques for smooth, straight cuts (tin snips, shears, power saws). - Practice: Cutting a rectangular duct to specified dimensions. |  |
|  |  |  | #### Bending and Shaping Rectangular Ducts - Techniques for bending rectangular ducts (manual vs. powered methods). - Calculating the required bend radius and allowances for materials. - Practice: Bending rectangular duct sections to specified angles. |  |
|  |  | Day 3 | #### Making Corners and Elbows for Rectangular Ducts - Creating elbows and corners for rectangular ducts. - Importance of accurate measurements and cuts for tight corners. - Practice: Fabricating a 90-degree elbow for rectangular ductwork. |  |
|  |  |  | #### Joining Rectangular Duct Sections - Different methods for joining rectangular duct sections (riveting, screwing, welding). - Proper alignment and sealing for airtight joints. - Practice: Joining two rectangular duct sections using rivets and screws. |  |
|  |  |  | #### Using Flanges in Rectangular Duct Fabrication - Introduction to flanged joints and their role in ductwork. - Techniques for attaching flanges to rectangular ducts. - Practice: Installing flanges on rectangular duct sections. |  |
|  |  | Day 4 | #### Sealing Rectangular Ducts - Importance of sealing joints and seams to prevent air leakage. - Methods for sealing (tape, mastic sealant, gaskets). - Practice: Sealing seams and joints of a rectangular duct system. |  |
|  |  |  | #### Insulating Rectangular Ducts - Techniques for insulating rectangular ducts for energy efficiency and noise reduction. - Types of insulation materials (fiberglass, foam board, reflective materials). - Practice: Installing insulation on a fabricated rectangular duct. |  |
|  |  |  | #### Testing Rectangular Ducts for Leaks - Methods for testing the integrity of rectangular ducts (pressure testing, visual inspection). - Identifying common issues like leaks, misalignment, and improper sealing. - Practice: Conducting a leak test on a fabricated duct section. |  |
|  |  | Day 5 | #### Working with Special Shapes and Sizes - Techniques for fabricating non-standard rectangular duct sizes. - Handling customized ducts for specific HVAC requirements. - Practice: Creating a custom-sized rectangular duct. |  |
|  |  |  | #### Troubleshooting Rectangular Duct Fabrication - Common issues encountered during rectangular duct fabrication (incorrect cuts, misaligned sections). - Solutions for addressing fabrication problems. - Practice: Troubleshooting and fixing a misaligned duct joint. |  |
|  |  |  | #### Rectangular Duct System Design and Layout - Basics of HVAC system design with a focus on rectangular ducts. - Understanding air flow, pressure drops, and system efficiency in rectangular duct layouts. - Practice: Designing a basic rectangular duct system for a sample project. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of all techniques and processes involved in rectangular duct fabrication. - Q&A, feedback, and course completion. |  |
| Week 12 | Circular Duct Fabrication | Day 1 | #### Introduction to Circular Duct Fabrication - Overview of circular duct fabrication in HVAC systems. - Benefits of circular ducts (efficiency, flow characteristics, and space efficiency). - Materials commonly used for circular ducts (galvanized steel, aluminum, etc.). | - Task 12 Details may be seen at Annexure-I |
|  |  |  | #### Tools and Equipment for Circular Duct Fabrication - Introduction to specialized tools required for circular duct fabrication (metal shears, circle cutters, seamers, etc.). - Power tools vs. hand tools for circular duct fabrication. - Tool maintenance and proper handling for safety. |  |
|  |  |  | #### Understanding Circular Duct Dimensions and Design - Overview of standard sizes for circular ducts and fittings. - Calculating and determining the appropriate duct sizes based on HVAC system requirements. - Using duct design software and manual calculation methods for proper sizing. |  |
|  |  |  | #### Safety Procedures in Circular Duct Fabrication - Safety protocols for working with duct materials, tools, and equipment. - Personal protective equipment (PPE) for fabricating circular ducts. - Safe handling and disposal of waste and materials. |  |
|  |  | Day 2 | #### Marking and Measuring for Circular Ducts - Techniques for accurately marking circular duct materials before cutting. - Tools for precise measuring (calipers, rulers, and templates). - Practice: Marking circular ducts for cutting based on given dimensions. |  |
|  |  |  | #### Cutting Circular Duct Materials - Techniques for cutting circular duct material (manual shears, power cutters, circle cutters). - Methods for achieving smooth, even cuts on metal. - Practice: Cutting a circular duct to specified dimensions. |  |
|  |  |  | #### Bending Circular Ducts - Techniques for bending circular ducts (manual and power methods). - Calculating bend radius and allowances based on duct size. - Practice: Bending a circular duct to a specified angle and radius. |  |
|  |  |  | #### Making Elbows and Transitions for Circular Ducts - Fabricating elbows and transitions for circular ductwork. - Understanding the importance of accurate fitting for smooth airflow. - Practice: Creating a 90-degree elbow for circular ducts. |  |
|  |  | Day 3 | #### Joining Circular Duct Sections - Methods for joining circular duct sections (lock seams, slip joints, and flanged connections). - Proper techniques for achieving secure, airtight connections. - Practice: Joining two circular duct sections using a slip joint. |  |
|  |  |  | #### Sealing Circular Ducts - Importance of sealing joints and seams in circular ductwork. - Various sealing methods (tape, mastic, gasket, and mechanical fasteners). - Practice: Sealing a circular duct system to prevent air leakage. |  |
|  |  |  | #### Installing Gaskets in Circular Ducts - Overview of gaskets used in circular duct systems. - Methods for properly installing gaskets for leak-free joints. - Practice: Installing gaskets on circular duct connections. |  |
|  |  |  | #### Fabricating Fittings for Circular Ducts - Creating various fittings for circular ductwork (reducers, end caps, tees). - Techniques for ensuring the proper fit of these fittings in the system. - Practice: Fabricating and attaching a reducer fitting for circular ductwork. |  |
|  |  | Day 4 | #### Insulating Circular Ducts - Techniques for insulating circular ducts to improve energy efficiency and noise reduction. - Materials used for insulation (foam, fiberglass, etc.). - Practice: Insulating a circular duct with appropriate materials. |  |
|  |  |  | #### Testing Circular Ducts for Leaks - Methods for testing the integrity of circular ducts (airflow tests, visual inspections). - Identifying common leakage points and ensuring proper sealing. - Practice: Conducting an air pressure test on a fabricated circular duct section. |  |
|  |  |  | #### Installation Techniques for Circular Ducts - Proper techniques for installing circular ducts in an HVAC system. - Considerations for positioning, alignment, and support during installation. - Practice: Installing circular ducts in a mock HVAC system. |  |
|  |  |  | #### Troubleshooting Circular Duct Fabrication Issues - Common issues during circular duct fabrication (misalignment, leaks, poor bends). - Solutions for addressing fabrication problems such as improper cuts or weak joints. - Practice: Troubleshooting and fixing an improperly fabricated circular duct. |  |
|  |  | Day 5 | #### Quality Control in Circular Duct Fabrication - Procedures for inspecting fabricated circular ducts for quality and compliance with standards. - Measuring and ensuring proper dimensions, fit, and finish. - Practice: Conducting a quality control inspection of a fabricated circular duct. |  |
|  |  |  | #### Case Studies in Circular Duct Fabrication - Analyzing real-world case studies involving circular duct fabrication. - Understanding common fabrication challenges and successful techniques used. - Practice: Applying lessons learned from case studies to a hypothetical fabrication project. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of all techniques involved in circular duct fabrication. - Q&A, feedback, and course completion. |  |
| Week 13 | Transition Ducts Fabrication | Day 1 | #### Introduction to Transition Ducts - Definition and importance of transition ducts in HVAC systems. - Common types of transitions: rectangular-to-circular, circular-to-rectangular, and size adjustments. - Overview of transition duct design principles. | - Task 13 Details may be seen at Annexure-I |
|  |  |  | #### Tools and Equipment for Transition Duct Fabrication - Tools used for transition duct fabrication (snips, shears, seamers, metal benders, and power tools). - Introduction to specialized tools for creating curved and tapered ducts. - Proper tool maintenance and safety measures. |  |
|  |  |  | #### Materials for Transition Ducts - Materials commonly used in transition duct fabrication (galvanized steel, aluminum, stainless steel). - Choosing the right material based on the system requirements and environmental conditions. - Material thickness and considerations for different duct applications. |  |
|  |  |  | #### Safety Protocols in Transition Duct Fabrication - Safety standards for working with duct materials and tools. - PPE (personal protective equipment) required for handling, cutting, and assembling transition ducts. - Safe handling and disposal of waste materials. |  |
|  |  | Day 2 | #### Understanding Transition Duct Design and Calculation - Basic principles of transition duct design (geometry, airflow, and pressure drops). - Calculating the required dimensions for various types of transitions. - Tools and methods for designing efficient and functional transition ducts. |  |
|  |  |  | #### Measuring and Marking for Transition Ducts - Accurate measuring techniques for transition duct fabrication. - Using rulers, protractors, and templates for precise markings. - Practice: Measuring and marking materials for a specific transition duct. |  |
|  |  |  | #### Cutting Transition Duct Materials - Techniques for cutting different materials used in transition duct fabrication (manual cutting, power cutting). - Methods for achieving clean, smooth cuts for seamless transitions. - Practice: Cutting a material to required dimensions for a transition duct. |  |
|  |  |  | #### Bending and Shaping Transition Ducts - Techniques for bending and shaping ducts into smooth transitions (manual and power bending tools). - Adjusting radius and angles based on the transition shape. - Practice: Bending a transition duct section from rectangular to circular. |  |
|  |  | Day 3 | #### Making Rectangular-to-Circular Transitions - Techniques for creating a transition from rectangular ducts to circular ducts. - Importance of maintaining smooth airflow and preventing turbulence. - Practice: Fabricating a rectangular-to-circular transition duct. |  |
|  |  |  | #### Making Circular-to-Rectangular Transitions - Techniques for creating a transition from circular ducts to rectangular ducts. - Ensuring structural integrity and proper sealing at the transition points. - Practice: Fabricating a circular-to-rectangular transition duct. |  |
|  |  |  | #### Fabricating Tapered Transition Ducts - Tapered duct fabrication: Techniques for transitioning between different duct sizes. - Importance of smooth airflow in tapered ducts to avoid air resistance. - Practice: Fabricating a tapered transition duct to change from a larger to smaller diameter. |  |
|  |  |  | #### Joining Transition Duct Sections - Methods for joining transition duct sections (seams, rivets, welding, flanges). - Proper alignment and connection methods for air-tight joints. - Practice: Joining sections of a transition duct using appropriate methods. |  |
|  |  | Day 4 | #### Sealing Transition Ducts - Importance of sealing joints in transition ducts to prevent air leaks and loss of efficiency. - Common sealing methods (tape, mastic, gaskets). - Practice: Sealing a transition duct system for airtight performance. |  |
|  |  |  | #### Insulating Transition Ducts - Insulating transition ducts for energy efficiency and noise reduction. - Materials used for insulation (fiberglass, foam, reflective insulation). - Practice: Installing insulation on a transition duct. |  |
|  |  |  | #### Testing Transition Ducts for Leaks - Methods for testing transition ducts for leaks (pressure testing, visual inspections). - Identifying common leakage points and ensuring proper sealing. - Practice: Conducting an air pressure test on a fabricated transition duct. |  |
|  |  |  | #### Quality Control in Transition Duct Fabrication - Procedures for inspecting transition ducts for quality assurance. - Measuring for proper dimensions, fit, and seal. - Practice: Conducting a quality inspection on a fabricated transition duct. |  |
|  |  | Day 5 | #### Troubleshooting Transition Duct Issues - Common fabrication problems in transition ducts (misalignment, improper bends, leaks). - Solutions for fixing issues and improving duct performance. - Practice: Identifying and resolving issues in fabricated transition ducts. |  |
|  |  |  | #### Installation Considerations for Transition Ducts - Installation practices for transition ducts in HVAC systems. - Proper alignment, securing, and sealing during the installation process. - Practice: Installing a transition duct in a mock HVAC system. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of all techniques involved in transition duct fabrication. - Q&A, feedback, and course completion. |  |
| Week 14 | Advanced Blueprint Reading | Day 1 | #### Introduction to Advanced Blueprint Reading - Overview of blueprint reading in the context of duct fabrication. - Understanding the role of blueprints in HVAC system installation. - Key components and terminology used in advanced ductwork blueprints. | - Task 14 Details may be seen at Annexure-I |
|  |  |  | #### Understanding Architectural and Structural Plans - Reading architectural and structural blueprints that incorporate HVAC system layouts. - Recognizing symbols and details that affect duct design. - Practice: Interpreting a section of an architectural blueprint with HVAC considerations. |  |
|  |  |  | #### Symbols and Abbreviations in Ductwork Blueprints - Identifying common symbols and abbreviations used in ductwork blueprints. - Understanding the standard notations for ducts, fittings, and other HVAC components. - Practice: Decoding a set of HVAC blueprint symbols and abbreviations. |  |
|  |  |  | #### Scale and Dimensions in Blueprint Reading - Understanding the scale used in ductwork blueprints (1:1, 1:2, etc.). - Converting scaled measurements to real-world dimensions. - Practice: Measuring and interpreting dimensions from a scaled ductwork blueprint. |  |
|  |  | Day 2 | #### Layout and Flow Design in Advanced Blueprints - Analyzing airflow and layout designs in advanced ductwork plans. - Identifying duct sizes, shapes, and routes within the layout. - Practice: Analyzing an HVAC layout blueprint for air distribution and flow. |  |
|  |  |  | #### Understanding Duct and Ventilation Systems on Blueprints - Understanding the various types of ducts (rectangular, circular, and flexible) and their representation on blueprints. - Identifying duct components: diffusers, return grilles, and ventilation shafts. - Practice: Identifying different duct components in an HVAC blueprint. |  |
|  |  |  | #### Detailed Section Views and Elevations - Understanding section views and elevation drawings in advanced ductwork blueprints. - Interpreting vertical sections to visualize the 3D arrangement of duct systems. - Practice: Reading and interpreting a section view of a duct system. |  |
|  |  |  | #### Special Duct Fittings and Transitions in Blueprints - Identifying and reading blueprint details for special duct fittings (elbows, tees, transitions). - Analyzing custom and complex transitions between different duct sizes and shapes. - Practice: Analyzing a blueprint for a complex duct fitting or transition. |  |
|  |  | Day 3 | #### Understanding Duct Insulation and Coating Requirements - Identifying insulation types and coatings used in duct systems on blueprints. - Understanding material specifications and R-value requirements for energy efficiency. - Practice: Reading a blueprint with insulation and coating specifications for ducts. |  |
|  |  |  | #### HVAC Load Calculations and Blueprint Integration - Understanding how HVAC load calculations affect duct design. - Interpreting system pressure requirements, airflow volumes, and temperature differentials in blueprints. - Practice: Reading load calculation data in relation to duct sizing and airflow design. |  |
|  |  |  | #### Calculating Duct Sizes and Adjustments from Blueprints - Interpreting and applying duct size calculations based on blueprint data. - Using factors like airflow, friction loss, and pressure to determine optimal duct sizes. - Practice: Calculating duct sizes from a set of blueprint specifications. |  |
|  |  |  | #### Blueprint Annotations for Material Specifications - Understanding material annotations (steel, aluminum, insulation types, etc.) in blueprints. - Recognizing the importance of material selection for durability and energy efficiency. - Practice: Identifying and interpreting material annotations in a ductwork blueprint. |  |
|  |  | Day 4 | #### Coordination Between HVAC and Other Building Systems - Understanding how HVAC systems coordinate with plumbing, electrical, and fire protection systems. - Reading blueprints that integrate these systems and recognizing potential conflicts. - Practice: Analyzing a coordinated blueprint with HVAC and other building systems. |  |
|  |  |  | #### Advanced Duct Fabrication Details and Specifications - Interpreting detailed fabrication instructions and specifications on blueprints. - Understanding manufacturing tolerances, joint details, and seam allowances in duct systems. - Practice: Analyzing a blueprint with detailed fabrication instructions for a complex duct system. |  |
|  |  |  | #### HVAC System Zones and Controls on Blueprints - Identifying zoning information, control systems, and airflow dampers in blueprints. - Understanding how zone controls impact ductwork routing and design. - Practice: Analyzing blueprints for HVAC zoning and controls. |  |
|  |  |  | #### Fire and Smoke Dampers in Ductwork - Understanding the placement and specifications of fire and smoke dampers in duct systems. - Recognizing the symbols and notation for these safety components in blueprints. - Practice: Identifying and interpreting fire/smoke damper locations in a ductwork blueprint. |  |
|  |  | Day 5 | #### Review of Advanced Blueprint Details for Custom Duct Systems - Analyzing blueprints for custom or specialized ductwork systems (clean room, laboratory, etc.). - Understanding additional specifications, such as pressure testing and non-standard fittings. - Practice: Reviewing a custom ductwork blueprint with special considerations. |  |
|  |  |  | #### Blueprint Markups for Fabrication Instructions - How to read and apply markup instructions for the fabrication team from blueprints. - Understanding the significance of annotations for the fabrication process (cutting lists, material changes, etc.). - Practice: Creating a fabrication list based on an advanced blueprint. |  |
|  |  |  | #### Common Errors in Blueprint Reading and How to Avoid Them - Identifying and correcting common blueprint reading mistakes (misinterpretation of dimensions, symbols, and sections). - Practical tips for double-checking and verifying blueprint details before fabrication. - Practice: Identifying errors in a sample ductwork blueprint and correcting them. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of all techniques and principles learned during the course. - Q&A, feedback, and course completion |  |
| Week 15 | HVAC System Integration | Day 1 | #### Introduction to HVAC System Integration - Overview of HVAC systems and the role of ductwork in system integration. - Understanding how ductwork interfaces with other HVAC components (air handling units, fans, chillers, etc.). - Key considerations in system integration: airflow, temperature control, energy efficiency. | - Task 15 Details may be seen at Annexure-I |
|  |  |  | #### HVAC Components and Their Interactions - Detailed study of HVAC components: air handlers, chillers, boilers, diffusers, and ducts. - Understanding the interaction between ductwork and other components for optimal system performance. - Practice: Identifying HVAC components in an HVAC system diagram. |  |
|  |  |  | #### Design and Layout Considerations for HVAC Integration - Importance of a well-designed duct system for seamless HVAC system integration. - Factors to consider when designing a duct system: space limitations, airflow requirements, noise reduction, and energy efficiency. - Practice: Reading and analyzing a layout plan for HVAC system integration. |  |
|  |  |  | #### Duct System Sizing and Integration with Airflow Requirements - Calculating duct sizes based on airflow and system pressure. - Integrating duct sizing with the overall HVAC design, including air handling units and distribution systems. - Practice: Determining duct sizes from airflow and pressure data provided in a system blueprint. |  |
|  |  | Day 2 | #### Duct Design for Proper Air Distribution - Understanding the principles of air distribution in HVAC systems. - Designing ducts that ensure even airflow and temperature control throughout a building. - Practice: Designing ducts for a building with multiple rooms and zones. |  |
|  |  |  | #### Vibration and Noise Control in HVAC Integration - Understanding the role of ductwork in HVAC system noise and vibration control. - Techniques for minimizing noise and vibrations in integrated systems (isolating ducts, flexible connectors). - Practice: Identifying noise and vibration control techniques in ductwork. |  |
|  |  |  | #### Insulation and Energy Efficiency in HVAC Systems - The role of insulation in energy-efficient HVAC system integration. - Types of insulation materials and their impact on system performance. - Practice: Applying insulation to a duct system for energy efficiency. |  |
|  |  |  | #### Understanding Airflow Resistance and Friction Loss in Ducts - How airflow resistance and friction loss impact HVAC system performance. - Methods for minimizing resistance and improving system efficiency. - Practice: Calculating friction loss and selecting duct materials that reduce resistance. |  |
|  |  | Day 3 | #### Integration of Dampers and Balancing Dampers - Importance of dampers in regulating airflow and controlling system pressure. - Types of dampers (manual, motorized, fire dampers) and their role in system integration. - Practice: Installing and adjusting a balancing damper within a duct system. |  |
|  |  |  | #### Installation of Ductwork in Coordination with HVAC Units - Best practices for installing ducts alongside HVAC units such as air handlers and ventilation fans. - Ensuring proper alignment and fit for duct connections. - Practice: Installing duct sections and connecting them to HVAC units in a mock setup. |  |
|  |  |  | #### Sealing and Leak Prevention in HVAC Ductwork - Importance of airtight seals to prevent energy loss and system inefficiency. - Methods for sealing ducts and preventing leaks (mastic, tape, mechanical joints). - Practice: Sealing ducts in a real or mock setup to ensure no air leakage. |  |
|  |  |  | #### HVAC Ductwork and Environmental Conditions - Understanding how environmental factors (temperature, humidity, pressure) affect HVAC system integration. - Selecting appropriate materials and designs for various environmental conditions. - Practice: Choosing the right duct material for a system exposed to extreme environmental conditions. |  |
|  |  | Day 4 | #### System Integration with HVAC Controls - Role of HVAC control systems (thermostats, pressure sensors, zone controls) in managing airflow and temperature. - How ductwork integration supports the control systems in maintaining desired conditions. - Practice: Installing ductwork in coordination with HVAC control systems. |  |
|  |  |  | #### Troubleshooting Integration Issues in HVAC Systems - Common integration problems that arise with ductwork in HVAC systems (airflow imbalance, pressure issues). - Diagnostic tools and techniques for identifying and resolving integration issues. - Practice: Troubleshooting an HVAC system with ductwork integration issues. |  |
|  |  |  | #### Commissioning and Testing HVAC System Integration - Procedures for commissioning an HVAC system with integrated ductwork. - Testing methods to ensure that the duct system is performing as designed (airflow testing, pressure testing). - Practice: Conducting a pressure test and adjusting airflow in a complete HVAC system with ducts. |  |
|  |  |  | #### Fire Protection and Safety Integration in HVAC Systems - Fire safety considerations when integrating ductwork into HVAC systems. - The role of fire dampers, smoke control systems, and fire-rated duct materials. - Practice: Installing fire dampers and ensuring proper fire protection in ductwork. |  |
|  |  | Day 5 | #### Advanced Airflow Control in HVAC Systems - Techniques for controlling airflow in advanced HVAC systems, including variable air volume (VAV) systems and zoning. - The integration of advanced dampers, sensors, and controls to manage airflow dynamically. - Practice: Configuring airflow control systems with ductwork for different zones. |  |
|  |  |  | #### Sustainable and Green HVAC System Integration - Understanding the importance of sustainability in HVAC systems and ductwork integration. - Green building standards (LEED, Green Building Council) and their impact on ductwork design and material selection. - Practice: Designing a duct system for a green building, ensuring sustainability in HVAC integration. |  |
|  |  |  | #### Cost Estimating and Budgeting for HVAC System Integration - Estimating costs for ductwork and system integration based on material, labor, and equipment. - Budgeting for efficient installation and long-term system performance. - Practice: Estimating the cost for an HVAC system including ductwork integration. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of all techniques, principles, and tools used for HVAC system integration with ductwork. - Q&A, feedback, and course completion. |  |
| WEEK 16 | Testing and Maintenance | Day 1 | #### Introduction to Testing and Maintenance of Duct Systems - Importance of regular testing and maintenance for duct systems. - Overview of common testing and maintenance activities. - Tools and equipment required for testing and maintenance. | - Task 16 Details may be seen at Annexure-I |
|  |  |  | #### Types of Duct Systems and Their Maintenance Requirements - Different types of duct systems (rectangular, circular, flexible). - Unique testing and maintenance requirements for each duct type. - Practice: Identifying maintenance needs for various duct systems. |  |
|  |  |  | #### Understanding Airflow and Pressure Testing - Principles of airflow and pressure in duct systems. - Techniques for measuring airflow and pressure drop. - Practice: Using a manometer to measure duct system pressure. |  |
|  |  |  | #### Visual Inspection of Duct Systems - Key visual inspection points: joints, seams, and insulation. - Identifying signs of damage, leaks, and blockages. - Practice: Conducting a visual inspection of a duct system. |  |
|  |  | Day 2 | #### Identifying and Sealing Air Leaks - Common causes of air leaks in duct systems. - Materials and techniques for sealing leaks (mastic, tape, gaskets). - Practice: Locating and sealing leaks in a mock duct system. |  |
|  |  |  | #### Cleaning and Debris Removal in Duct Systems - Importance of cleaning ducts for indoor air quality and system efficiency. - Tools and methods for cleaning ducts (vacuum systems, brushes). - Practice: Cleaning a sample section of ductwork. |  |
|  |  |  | #### Inspecting and Maintaining Insulation - Types of insulation used in duct systems and their roles. - Identifying damaged or deteriorated insulation and repairing it. - Practice: Replacing or repairing insulation on duct systems. |  |
|  |  |  | #### Testing for Contaminants in Duct Systems - Understanding contaminants (mold, dust, allergens) in duct systems. - Techniques for testing and identifying contaminants. - Practice: Using a particulate counter to assess air quality in ducts. |  |
|  |  | Day 3 | #### Assessing and Replacing Damaged Components - Common duct components that may require replacement (fittings, joints). - Guidelines for assessing damage and selecting replacement parts. - Practice: Replacing a damaged fitting in a mock duct system. |  |
|  |  |  | #### Maintaining Dampers and Louvers - Role of dampers and louvers in controlling airflow. - Cleaning, lubricating, and adjusting dampers and louvers. - Practice: Inspecting and maintaining a damper assembly. |  |
|  |  |  | #### Fire Safety Maintenance in Duct Systems - Importance of fire dampers and smoke control systems. - Testing and maintaining fire dampers to ensure safety compliance. - Practice: Inspecting and testing a fire damper in a duct system. |  |
|  |  |  | #### Noise and Vibration Testing - Causes of noise and vibration in duct systems. - Techniques to identify and mitigate noise and vibration issues. - Practice: Using a sound meter to identify noise sources in a duct system. |  |
|  |  | Day 4 | #### HVAC System Integration Testing - Ensuring ducts are properly integrated with HVAC units for optimal performance. - Testing airflow balance and temperature distribution. - Practice: Conducting a system balance test for an integrated duct and HVAC system. |  |
|  |  |  | #### Energy Efficiency Testing in Duct Systems - Role of ducts in overall energy efficiency of HVAC systems. - Identifying and addressing inefficiencies in duct design and installation. - Practice: Using energy efficiency metrics to assess a duct system. |  |
|  |  |  | #### Documentation and Reporting in Testing and Maintenance - Importance of maintaining detailed records of testing and maintenance activities. - Creating maintenance logs and inspection reports. - Practice: Preparing a sample maintenance report for a duct system. |  |
|  |  |  | #### Troubleshooting Common Duct System Problems - Common issues (leaks, blockages, inefficiencies) and their causes. - Step-by-step troubleshooting techniques for duct systems. - Practice: Diagnosing and solving a problem in a mock duct system. |  |
|  |  | Day 5 | #### Preventive Maintenance Planning - Importance of preventive maintenance to extend duct system lifespan. - Developing a preventive maintenance schedule for duct systems. - Practice: Creating a preventive maintenance plan for a facility. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Comprehensive review of testing and maintenance principles and techniques. - Q&A, feedback, and course completion. |  |
| Week 17 | Specialized Ductwork | Day 1 | #### Introduction to Specialized Ductwork - Overview of specialized ductwork applications and industries. - Differences between standard and specialized duct systems. - Importance of precision and compliance in specialized systems. | - Task 17 Details may be seen at Annexure-I |
|  |  |  | #### Materials for Specialized Ductwork - Overview of materials used in specialized ducts (stainless steel, aluminum, PVC). - Selecting materials based on application requirements (chemical resistance, high temperatures). - Practice: Identifying appropriate materials for specific scenarios. |  |
|  |  |  | #### High-Pressure Duct Systems - Understanding high-pressure duct systems and their applications. - Key design considerations for high-pressure environments. - Practice: Designing a high-pressure duct system layout. |  |
|  |  |  | #### Low-Pressure Duct Systems - Characteristics and applications of low-pressure duct systems. - Fabrication techniques for ensuring minimal airflow resistance. - Practice: Analyzing airflow in a low-pressure duct design. |  |
|  |  | Day 2 | #### Industrial Duct Systems - Role of ducts in industrial environments (dust extraction, fumes, process ventilation). - Design and fabrication of industrial ducts to handle harsh conditions. - Practice: Designing a duct system for a manufacturing facility. |  |
|  |  |  | #### Cleanroom Ductwork - Importance of duct systems in maintaining cleanroom standards. - Design considerations for cleanroom environments (HEPA filters, air pressure balance). - Practice: Planning a duct layout for a cleanroom. |  |
|  |  |  | #### Chemical-Resistant Ductwork - Applications of chemical-resistant ducts in laboratories and factories. - Selecting materials and coatings to resist chemical corrosion. - Practice: Fabricating a chemically resistant duct section. |  |
|  |  |  | #### Noise-Reducing Duct Systems - Techniques for reducing noise in specialized ductwork (baffles, silencers). - Applications of noise-reducing ducts in commercial and industrial settings. - Practice: Installing noise-reducing components in a mock duct system. |  |
|  |  | Day 3 | #### Ducts for High-Temperature Environments - Challenges and requirements of high-temperature ductwork. - Materials and insulation techniques for heat resistance. - Practice: Selecting and fabricating duct components for a high-temperature system. |  |
|  |  |  | #### Ducts for HVAC Systems in Specialized Buildings - Designing ducts for hospitals, data centers, and other unique buildings. - Balancing airflow, temperature, and humidity in specialized applications. - Practice: Creating an HVAC duct layout for a hospital. |  |
|  |  |  | #### Ducts for Underground and Outdoor Applications - Understanding the challenges of underground and exposed ducts. - Techniques for waterproofing and corrosion resistance. - Practice: Installing and sealing an underground duct system. |  |
|  |  |  | #### Advanced Joining Techniques for Specialized Ductwork - Specialized joining methods (welding, chemical bonding, flanged connections). - Ensuring airtight and durable joints for specialized systems. - Practice: Welding a joint in a stainless steel duct. |  |
|  |  | Day 4 | #### Multi-Zone and Variable Air Volume (VAV) Systems - Role of ductwork in multi-zone and VAV systems. - Techniques for designing and fabricating ducts for zoning and airflow control. - Practice: Installing a damper system in a multi-zone duct layout. |  |
|  |  |  | #### Flexible Duct Applications and Fabrication - Advantages and limitations of flexible ducts in specialized environments. - Techniques for integrating flexible ducts with rigid systems. - Practice: Fabricating and installing a flexible duct section. |  |
|  |  |  | #### Fire-Resistant Duct Systems - Importance of fire safety in specialized ductwork. - Materials and techniques for fabricating fire-resistant ducts. - Practice: Installing a fire damper in a duct section. |  |
|  |  |  | #### Testing and Maintenance of Specialized Ductwork - Unique testing requirements for specialized systems (air quality, pressure, contamination). - Maintenance techniques for ensuring longevity and compliance. - Practice: Conducting a pressure test on a high-pressure duct system. |  |
|  |  | Day 5 | #### Standards and Regulations for Specialized Ductwork - Overview of codes and standards for specialized ducts (ASHRAE, NFPA, ISO). - Ensuring compliance with industry standards in fabrication and installation. - Practice: Reviewing and applying relevant standards to a duct design. |  |
|  |  |  | #### Energy Efficiency in Specialized Duct Systems - Designing specialized ducts to optimize energy use. - Insulation and airflow techniques for reducing energy loss. - Practice: Calculating energy savings for a duct system upgrade. |  |
|  |  |  | #### Automation and Smart Controls in Specialized Duct Systems - Integration of smart sensors and controls in ductwork. - Applications of automation for monitoring and adjusting airflow. - Practice: Configuring a sensor-controlled damper system. |  |
|  |  |  | #### Final Assessment and Course Wrap-Up - Review of specialized ductwork techniques, materials, and applications. - Q&A, feedback, and course completion. |  |
| Week 18 | Project Planning | Day 1 | #### Introduction to Project Planning - Definition and importance of project planning in duct fabrication. - Key components of a project plan (scope, schedule, budget). - Overview of project management tools. | - Task 18 Details may be seen at Annexure-I |
|  |  |  | #### Understanding Project Scope - Importance of defining project objectives and deliverables. - Techniques for creating a clear scope of work (SOW). - Practice: Developing a sample project scope for a duct fabrication project. |  |
|  |  |  | #### Setting Project Goals and Objectives - Difference between goals and objectives in project planning. - SMART criteria for setting goals. - Practice: Writing SMART objectives for a sample project. |  |
|  |  |  | #### Resource Allocation in Duct Fabrication Projects - Identifying and allocating resources (materials, labor, equipment). - Balancing resource availability and project requirements. - Practice: Creating a resource allocation plan for a duct fabrication project. |  |
|  |  | Day 2 | #### Time Management and Scheduling - Importance of timelines in project planning. - Techniques for creating schedules (Gantt charts, timelines). - Practice: Developing a project schedule using a Gantt chart. |  |
|  |  |  | #### Risk Management in Project Planning - Identifying potential risks in duct fabrication projects. - Techniques for mitigating and managing risks. - Practice: Creating a risk management plan for a sample project. |  |
|  |  |  | #### Communication and Collaboration in Projects - Role of communication in successful project execution. - Tools and techniques for effective communication and collaboration. - Practice: Conducting a project kick-off meeting role-play. |  |
|  |  | Day 3 | #### Procurement Planning - Importance of procurement in project success. - Techniques for sourcing and managing materials and equipment. - Practice: Preparing a procurement plan for a duct fabrication project. |  |
|  |  |  | #### Stakeholder Management - Identifying and managing project stakeholders. - Techniques for ensuring stakeholder alignment and satisfaction. - Practice: Developing a stakeholder management plan. |  |
|  |  |  | #### Tracking and Monitoring Project Progress - Tools and techniques for tracking project performance. - Key performance indicators (KPIs) for duct fabrication projects. - Practice: Monitoring a project’s progress using KPIs. |  |
|  |  | Day 4 | #### Managing Changes in Projects - Importance of flexibility and adaptability in project planning. - Techniques for managing changes to scope, budget, or schedule. - Practice: Handling a scope change request in a project scenario. |  |
|  |  |  | #### Reporting and Documentation - Importance of maintaining proper documentation in projects. - Techniques for creating reports and maintaining records. - Practice: Writing a project status report for stakeholders. |  |
|  |  |  | #### Project Closure and Evaluation - Key steps in closing a duct fabrication project. - Techniques for evaluating project success and lessons learned. - Practice: Conducting a project post-mortem review. |  |
|  |  | Day 5 | #### Final Project Planning Assessment and Wrap-Up - Comprehensive review of project planning concepts and practices. - Feedback, Q&A, and course completion. |  |
| Week 19 | Automation in Fabrication | Day 1 | #### Introduction to Automation in Fabrication - Overview of automation and its growing importance in duct fabrication. - Key benefits, including increased efficiency and precision. - Challenges and considerations when implementing automation. | - Task 19 Details may be seen at Annexure-I |
|  |  |  | #### Types of Automation in Fabrication - Explanation of fixed, programmable, and flexible automation. - Applications of each type in duct fabrication processes. - Comparison of manual vs. automated systems in terms of productivity. |  |
|  |  |  | #### Overview of CNC Machines - Basics of Computer Numerical Control (CNC) and its role in fabrication. - Advantages of CNC machines in improving cutting and shaping accuracy. - Examples of CNC applications in ductwork production. |  |
|  |  | Day 2 | #### Robotic Applications in Duct Fabrication - Use of robotics in cutting, welding, and assembly tasks. - Advantages of robotic systems for precision and consistency. - Case studies of robotic systems in modern fabrication facilities. |  |
|  |  |  | #### Automated Cutting Techniques - Overview of laser, plasma, and waterjet cutting technologies. - Key advantages of automated cutting over manual methods. - Demonstration: Operating a laser cutting machine. |  |
|  |  |  | #### Material Handling Automation - Use of conveyors, robotic arms, and automated storage systems. - Benefits of automated material handling in reducing manual labor. - Practical setup: Configuring an automated material handling process. |  |
|  |  | Day 3 | #### Energy Efficiency in Automated Systems - Strategies to optimize energy consumption in automated fabrication. - Benefits of energy-efficient systems for cost reduction and sustainability. - Case study: Comparing energy usage in manual vs. automated systems. |  |
|  |  |  | #### Safety in Automated Fabrication Environments - Identifying potential risks in automation-heavy workspaces. - Implementation of safety protocols and emergency measures. - Practical: Conducting a safety inspection of an automated facility. |  |
|  |  | Day 4 | #### Future Trends in Fabrication Automation - Emerging technologies like AI, machine learning, and 3D printing. - Potential impact of smart factories on the fabrication industry. - Discussion: Preparing for future advancements in automation. |  |
|  |  | Day 5 | #### Final Assessment and Wrap-Up - Review of key topics and discussion of real-world applications. - Feedback session and course completion. |  |
| Week 20 | Quality Assurance | Day 1 | #### Introduction to Quality Assurance - Definition and importance of quality assurance (QA) in duct fabrication. - Difference between quality assurance and quality control (QC). - Overview of QA practices in the fabrication industry. | - Task 20 Details may be seen at Annexure-I |
|  |  |  | #### Material Quality Assessment - Criteria for selecting high-quality materials for duct fabrication. - Techniques for inspecting and testing materials. - Practical: Identifying defects in sample materials. |  |
|  |  |  | #### Dimensional Accuracy and Tolerances - Importance of maintaining dimensional accuracy in duct fabrication. - Understanding allowable tolerances and their applications. - Practical: Measuring and verifying fabricated duct dimensions. |  |
|  |  | Day 2 | #### Inspection Techniques - Tools and methods for inspecting duct fabrication components. - Visual, dimensional, and functional inspection techniques. - Practical: Conducting a visual and dimensional inspection. |  |
|  |  |  | #### Non-Destructive Testing (NDT) - Overview of NDT techniques (e.g., ultrasonic, magnetic particle testing). - Applications of NDT in duct fabrication quality assurance. - Practical: Demonstrating basic NDT methods. |  |
|  |  | Day 3 | #### Welding Quality Assurance - Standards and techniques for ensuring weld quality. - Common welding defects and their prevention. - Practical: Inspecting welded joints for quality assurance. |  |
|  |  |  | #### Surface Finish and Coating Inspection - Criteria for evaluating surface finishes and coatings. - Techniques for inspecting painted and coated surfaces. - Practical: Performing a coating adhesion test. |  |
|  |  | Day 4 | #### Tools and Equipment Calibration - Importance of calibrating tools and equipment regularly. - Techniques for verifying calibration accuracy. - Practical: Calibrating measuring instruments and tools. |  |
|  |  |  | #### Documentation and Record Keeping - Role of documentation in quality assurance processes. - Types of records maintained in duct fabrication QA. - Practical: Preparing a quality inspection report. |  |
|  |  |  | #### Testing Duct Performance - Overview of performance tests (e.g., air leakage, pressure resistance). - Importance of testing fabricated ducts for functionality. - Practical: Conducting an air leakage test on a duct. |  |
|  |  | Day 5 | #### Identifying and Resolving Defects - Common defects in duct fabrication and their causes. - Techniques for identifying and resolving defects efficiently. - Case study: Resolving a defect scenario in a fabricated duct. |  |
|  |  |  | #### Final Assessment and Wrap-Up - Comprehensive review of quality assurance concepts and practices. - Feedback, Q&A, and course completion. |  |
| Week 21 | Advanced Assembly | Day 1 | #### Introduction to Advanced Assembly Techniques - Overview of advanced assembly in duct fabrication and its importance. - Comparison between basic and advanced assembly methods. - Key skills required for mastering advanced assembly. | - Task 21 Details may be seen at Annexure-I |
|  |  |  | #### Tools and Equipment for Advanced Assembly - Overview of specialized tools and equipment used in assembly. - Maintenance and calibration of assembly tools. - Practical: Demonstration of advanced assembly tools. |  |
|  |  | Day 2 | #### Assembly of Rectangular Ducts - Advanced techniques for joining rectangular duct sections. - Ensuring alignment and minimizing air leakage. - Practical: Assembling a rectangular duct system. |  |
|  |  |  | #### Assembly of Circular Ducts - Specialized methods for joining circular duct components. - Handling and positioning large circular sections. - Practical: Assembling a circular duct segment. |  |
|  |  | Day 3 | #### Transition Duct Assembly - Techniques for connecting different duct shapes and sizes. - Importance of seamless transitions for airflow efficiency. - Practical: Assembling a transition duct. |  |
|  |  |  | #### Fastening and Sealing Methods - Advanced fastening techniques, including rivets and lock seams. - Ensuring airtight seals using gaskets and sealants. - Practical: Applying advanced fastening and sealing methods. |  |
|  |  |  | #### Insulating Assembled Ducts - Techniques for insulating ducts during assembly. - Choosing the right insulation material for specific applications. - Practical: Installing insulation on an assembled duct. |  |
|  |  |  | #### Coating and Surface Treatments - Applying protective coatings to assembled ducts. - Techniques for ensuring even and durable surface finishes. - Practical: Coating a fabricated and assembled duct. |  |
|  |  | Day 4 | #### Assembly in Confined Spaces - Strategies for assembling ducts in tight or challenging spaces. - Tools and methods for ensuring precision in confined environments. - Practical: Simulating assembly in a confined space. |  |
|  |  |  | #### Modular Assembly Techniques - Assembling ducts in modular sections for large-scale projects. - Benefits of modular assembly in transportation and installation. - Practical: Creating modular duct sections for assembly. |  |
|  |  | Day 5 | #### Final Assessment and Wrap-Up - Comprehensive review of advanced assembly techniques and tools. - Feedback, Q&A, and course completion. |  |
| Week 22 | Final Project Preparation | Day 1 | #### Overview of the Final Project - Understanding the objectives and requirements of the final project. - Importance of integrating course skills into a comprehensive project. - Reviewing expectations and assessment criteria. | - Task 22 Details may be seen at Annexure-I |
|  |  |  | #### Project Idea Development - Identifying potential project themes and concepts. - Aligning project goals with industry standards and real-world applications. - Practical: Brainstorming and selecting a project idea. |  |
|  |  |  | #### Setting Project Goals - Defining clear and achievable objectives for the project. - Prioritizing tasks based on project scope. - Practical: Writing project objectives and a mission statement. |  |
|  |  |  | #### Blueprint Design and Review - Creating detailed blueprints for the final project. - Incorporating technical specifications and design considerations. - Practical: Drafting and reviewing a project blueprint. |  |
|  |  | Day 2 | #### Material Selection and Planning - Choosing appropriate materials for the project’s requirements. - Estimating quantities and preparing a material list. - Practical: Preparing a material inventory for the project. |  |
|  |  |  | #### Workflow and Task Breakdown - Developing a step-by-step plan for executing the project. - Assigning tasks and determining dependencies. - Practical: Creating a detailed project workflow. |  |
|  |  |  | #### Time Management and Scheduling - Setting realistic timelines and milestones for project completion. - Techniques for managing time effectively during execution. - Practical: Preparing a Gantt chart or timeline for the project. |  |
|  |  |  | #### Safety Considerations and Risk Management - Identifying potential risks during project execution. - Implementing safety protocols and best practices. - Practical: Conducting a risk assessment for the project. |  |
|  |  | Day 3 | #### Tool and Equipment Preparation - Ensuring all necessary tools and equipment are available. - Verifying the functionality and calibration of tools. - Practical: Setting up tools and equipment for project use. |  |
|  |  |  | #### Initial Fabrication and Prototyping - Testing designs through prototype creation. - Identifying challenges and making adjustments. - Practical: Fabricating a prototype based on the blueprint. |  |
|  |  |  | #### Assembly Planning and Sequencing - Organizing the assembly process for efficiency and precision. - Integrating subassemblies into the larger system. - Practical: Planning the assembly sequence for the project. |  |
|  |  |  | #### Quality Assurance During Execution - Monitoring quality at each stage of the project. - Techniques for identifying and addressing defects early. - Practical: Conducting quality checks during fabrication and assembly. |  |
|  |  | Day 4 | #### Testing and Validation - Performing functional tests to ensure the project meets specifications. - Troubleshooting issues that arise during testing. - Practical: Conducting airflow and leakage tests on the completed ductwork. |  |
|  |  |  | #### Documentation and Reporting - Preparing detailed records of the project process and outcomes. - Importance of thorough documentation for future reference. - Practical: Writing a final project report. |  |
|  |  |  | #### Cost Analysis and Budgeting - Reviewing the project budget and comparing it to actual costs. - Identifying areas of cost savings and efficiency improvements. - Practical: Preparing a cost analysis report. |  |
|  |  |  | #### Troubleshooting and Revisions - Techniques for addressing issues discovered during assembly or testing. - Refining and improving the final project output. - Practical: Implementing revisions to enhance the project. |  |
|  |  | Day 5 | #### Preparing for Final Presentation - Structuring the presentation to highlight the project’s key elements. - Tips for effective communication and visual aids. - Practical: Developing and rehearsing the project presentation. |  |
|  |  |  | #### Project Completion and Review - Finalizing the project for submission. - Conducting a final review to ensure all criteria are met. - Practical: Completing and packaging the final project. |  |
|  |  |  | #### Presentation and Feedback - Presenting the project to instructors and peers. - Receiving constructive feedback and suggestions for improvement. - Practical: Delivering a live presentation of the final project. |  |
|  |  |  | #### Reflection and Course Wrap-Up - Reflecting on challenges, achievements, and lessons learned. - Discussing future applications of the skills gained. |  |
| Week 23 | Final Project Execution | Day 1 | #### Introduction to Final Project Execution - Overview of the project execution phase and its objectives. - Understanding the importance of adhering to the project plan. - Reviewing roles and responsibilities in the execution process. | - Task 23 Details may be seen at Annexure-I |
|  |  |  | #### Setting Up the Workspace - Organizing tools, materials, and equipment for efficient workflow. - Ensuring safety measures are in place before starting. - Practical: Setting up a functional and safe project workspace. |  |
|  |  |  | #### Reviewing the Project Plan - Revisiting the blueprint, material list, and workflow. - Identifying any last-minute changes or updates. - Practical: Finalizing the project execution plan. |  |
|  |  |  | #### Material Preparation - Verifying the quality and dimensions of materials. - Cutting and preparing materials for assembly. - Practical: Preparing materials based on project specifications. |  |
|  |  | Day 2 | #### Initial Fabrication Work - Applying cutting, bending, and shaping techniques to components. - Ensuring consistency and precision in fabricated parts. - Practical: Fabricating critical components for the project. |  |
|  |  |  | #### Subassembly Construction - Assembling smaller sections or subassemblies for the project. - Ensuring alignment and integrity of subassemblies. - Practical: Building and inspecting project subassemblies. |  |
|  |  |  | #### Main Assembly Execution - Integrating subassemblies into the larger system. - Techniques for precise and efficient assembly. - Practical: Completing the main assembly of the duct system. |  |
|  |  |  | #### Fastening and Sealing Components - Applying advanced fastening methods, including rivets and lock seams. - Ensuring airtight seals with appropriate sealing materials. - Practical: Fastening and sealing the ductwork assembly. |  |
|  |  | Day 3 | #### Insulation and Coating Application - Installing insulation to meet project specifications. - Applying protective coatings for durability and aesthetics. - Practical: Completing insulation and coating tasks. |  |
|  |  |  | #### Integration of Accessories - Installing dampers, grills, and other components as required. - Ensuring proper placement and functionality of accessories. - Practical: Integrating and testing accessories in the assembly. |  |
|  |  |  | #### Quality Control During Execution - Inspecting each stage of the project for adherence to standards. - Identifying and correcting errors in real time. - Practical: Conducting quality checks during execution. |  |
|  |  |  | #### System Testing and Adjustment - Performing functional tests to ensure performance and reliability. - Making adjustments to optimize airflow and minimize leakage. - Practical: Testing and calibrating the completed system. |  |
|  |  | Day 4 | #### Addressing Challenges and Rework - Identifying issues or defects in the assembled ductwork. - Techniques for resolving problems without compromising quality. - Practical: Implementing corrections and rework as needed. |  |
|  |  |  | #### Documentation During Execution - Recording progress, changes, and testing results. - Importance of maintaining accurate documentation for future reference. - Practical: Compiling an execution log for the project. |  |
|  |  |  | #### Time and Resource Management - Monitoring time spent on each task to ensure timely completion. - Optimizing the use of materials and resources. - Practical: Reviewing resource utilization and timeline adherence. |  |
|  |  |  | #### Safety Audits During Execution - Ensuring safety protocols are followed throughout the process. - Conducting regular safety checks to prevent accidents. - Practical: Performing a safety audit at different execution stages. |  |
|  |  | Day 5 | #### Final Assembly Checks - Verifying that all components are properly installed and secured. - Performing a comprehensive inspection of the completed assembly. - Practical: Conducting a final quality inspection. |  |
|  |  |  | #### Final Testing and Performance Evaluation - Testing the entire system for functionality and performance. - Evaluating results against project specifications and standards. - Practical: Running a complete performance test on the system. |  |
|  |  |  | #### Preparing for Handover - Cleaning and finishing touches on the completed project. - Preparing the project for presentation or client handover. - Practical: Finalizing the project for delivery. |  |
|  |  |  | #### Reflection and Feedback - Reflecting on the execution process and lessons learned. - Discussing challenges and improvements for future projects. |  |
| Week 24 | Assessment, Review, and Job Hunt | Day 1 | #### Course Recap and Key Highlights - Summarizing the 24-week course structure and modules. - Highlighting essential skills and knowledge gained during the course. - Practical: Reflecting on personal growth and course milestones. | - Task 24 Details may be seen at Annexure-I |
|  |  | Day 2 | #### Final Project Assessment - Evaluating the final project for adherence to design and quality standards. - Identifying strengths and improvement areas in project execution. - Practical: Presenting the final project and receiving feedback. |  |
|  |  |  | #### Interview Preparation - Discussing common interview questions and best practices for responses. - Building confidence through mock interviews and role-playing. - Practical: Participating in a mock interview session. |  |
|  |  | Day 3 | #### Self-Assessment and Skill Validation - Reflecting on individual skill development over the course. - Completing a self-assessment of competencies and progress. - Practical: Participating in a one-on-one skill review session. |  |
|  |  |  | #### Resume and Portfolio Development - Creating a professional resume tailored to the duct fabrication field. - Compiling a portfolio showcasing projects and skills. - Practical: Drafting and refining resumes and portfolios. |  |
|  |  | Day 4 | #### Peer and Instructor Feedback - Receiving constructive feedback on performance and contributions. - Discussing challenges and lessons learned during the course. - Practical: Engaging in peer feedback and group discussions. |  |
|  |  |  | #### Introduction to Job Market Trends - Exploring current trends and demands in the duct fabrication industry. - Understanding key skills and qualifications valued by employers. - Practical: Researching job opportunities and industry requirements. |  |
|  |  | Day 5 | #### Job Application Strategies - Learning how to search for job opportunities effectively. - Understanding online and offline application processes. - Practical: Applying to jobs using resumes and cover letters. |  |
|  |  |  | #### Course Wrap-Up and Career Planning - Reflecting on course completion and personal achievements. - Discussing long-term career goals and strategies for growth. |  |

Tasks for Certificate in Duct Fabricator           Annexure-I:

| Task No. | Task | Description | Week |
| --- | --- | --- | --- |
|  | Identify tools and materials used in duct fabrication. | Trainees are first provided with a list of standard tools (e.g., snips, seamers, rivet guns, duct lifters) and materials (e.g., galvanized steel, aluminum sheets, insulation). They are then guided to physically inspect and handle these items to become familiar with their appearance, weight, and functions. | Week 1 |
|  | Demonstrate proper use of PPE. | Trainees are introduced to essential PPE items such as safety gloves, safety glasses, earplugs, dust masks, steel-toe boots, and hard hats. The instructor demonstrates the correct method of wearing and adjusting each item to ensure optimal protection and comfort. Next, trainees are guided through a hands-on activity where they practice donning the PPE in the correct sequence, starting with gloves and progressing to glasses, masks, and other items as required. The instructor emphasizes the need to inspect PPE for damage or wear before use. Trainees then participate in a simulated fabrication scenario, where they apply the PPE and perform basic tasks, reinforcing proper usage. The session concludes with a discussion on maintaining PPE, proper storage, and adherence to workplace safety standards. | Week 2 |
|  | Read and interpret a basic duct blueprint | The task begins with an introduction to the purpose of duct blueprints and their role in guiding the fabrication process. Trainees are provided with a simple blueprint and guided to identify key elements, such as symbols, legends, and scale. The instructor explains how to interpret dimensions, airflow directions, and the placement of components like ducts, fittings, and vents. Trainees then practice measuring scaled dimensions using a ruler or blueprint scale to calculate actual sizes. Next, they analyze the blueprint to identify the sequence of fabrication tasks and list the materials required for the project. The session concludes with a group discussion to address challenges, verify interpretations, and reinforce the importance of accuracy and adherence to design specifications. This structured approach ensures that trainees can confidently understand and apply blueprint details to duct fabrication tasks. | Week 3 |
|  | Select appropriate materials for a task | The task begins with an overview of the various materials commonly used in duct fabrication, such as galvanized steel, aluminum, stainless steel, and PVC. Trainees are introduced to the properties of each material, including durability, weight, cost, and suitability for specific environments or applications. The instructor explains how to analyze project requirements, such as airflow volume, temperature, and environmental conditions, to determine the most suitable material. Trainees then review a sample project blueprint or specifications and identify the material requirements based on the project’s needs. Next, they practice evaluating material samples to confirm quality, dimensions, and compliance with standards. The session concludes with a discussion on how material selection impacts performance, cost-effectiveness, and longevity of the duct system, ensuring trainees understand the critical role of material choice in achieving successful fabrication outcomes. | Week 4 |
|  | Measure and mark sheet metal accurately | The task begins with an explanation of the importance of precise measurements and markings in ensuring proper duct assembly and minimizing material waste. Trainees are introduced to the tools required, such as measuring tapes, rulers, squares, and markers, and are briefed on safety practices when handling sheet metal. The instructor demonstrates how to measure dimensions from a provided blueprint or template, ensuring accurate transfers of lengths, widths, and angles onto the sheet metal. Trainees then practice marking the metal using straightedges and squares to create clean, visible lines for cutting and bending. During this step, emphasis is placed on double-checking measurements and ensuring alignment. The task concludes with a quality check, where the instructor reviews the markings for accuracy and provides feedback, reinforcing the critical role of precision in successful duct fabrication. | Week 5 |
|  | Perform straight and angled cuts | The task begins with an introduction to the tools used for cutting sheet metal, such as hand snips, power shears, and nibblers, along with their specific applications for straight and angled cuts. Trainees are briefed on safety protocols, including the use of PPE like gloves, safety glasses, and ear protection. The instructor demonstrates the cutting process, starting with aligning the marked sheet metal with the cutting tool and ensuring steady pressure for clean, precise cuts. For angled cuts, the instructor explains how to use protractors or templates to guide the cutting angle. Trainees then practice performing both straight and angled cuts under supervision, focusing on accuracy and technique. The session concludes with a review of their work to ensure cuts meet the required dimensions and quality standards, emphasizing the importance of precision and adherence to safety guidelines in the fabrication process. | Week 6 |
|  | Bend sheet metal to specified angles | The task begins with an introduction to the bending tools commonly used in duct fabrication, such as hand brakes, hydraulic presses, and bending machines, along with the proper PPE, including gloves and safety goggles. Trainees are first shown how to accurately measure and mark the bending lines on the sheet metal, using tools like rulers, protractors, and squares to ensure precise angle specifications. The instructor then demonstrates how to set up the bending tool, aligning the marked sheet metal properly in the machine or tool, ensuring the correct angle is achieved. Trainees then practice bending the metal to specified angles, paying close attention to maintaining consistent pressure and control to avoid warping or distortion. After each bend, trainees check the angle using a protractor or angle gauge to verify accuracy. The session concludes with a quality check to ensure all bends meet the required specifications, emphasizing the importance of accuracy, tool calibration, and safety throughout the process. | Week 7 |
|  | Join two duct sections using riveting | The task begins with an introduction to the tools and materials needed for riveting, including rivet guns, rivets, clecos, clamps, and safety equipment such as gloves and safety goggles. Trainees are first shown how to align two duct sections properly, ensuring the edges are flush and parallel for a secure connection. The instructor demonstrates how to mark the positions for the rivets along the joint, typically spaced evenly to provide strong, uniform support. Trainees then practice inserting clecos to temporarily hold the two sections together while aligning them before drilling holes for the rivets. Once the holes are drilled, the trainees use a rivet gun to insert and secure the rivets, ensuring that each rivet is fully compressed and holds the sections together tightly. After completing the riveting process, trainees check the joints for tightness and strength, making sure no gaps remain between the sections. The session concludes with a quality control review to verify the integrity of the joint and reinforce the importance of correct riveting technique for durability and leak prevention. | Week 8 |
|  | Assemble a basic duct section | The task begins with an introduction to the components required to assemble a basic duct section, including duct panels, elbows, flanges, rivets, and sealing materials. Trainees are first briefed on the importance of checking the dimensions and condition of each component before assembly. The instructor demonstrates the correct sequence for assembling the duct, starting with aligning the edges of the duct panels or sections to form a straight and secure joint. Trainees then use rivets or screws to fasten the components together, ensuring that they are evenly spaced and tightly secured. During assembly, attention is given to ensuring that flanges and seams align properly to avoid leaks. Once the sections are fastened, trainees apply a sealant or gasket where necessary to ensure an airtight seal. The instructor emphasizes checking for any sharp edges or loose connections that may compromise the ductwork’s functionality. The task concludes with a final inspection of the assembled duct section to ensure it meets the design specifications, with trainees practicing safe handling and quality control to ensure a high standard of workmanship. | Week 9 |
|  | Apply insulation to a duct | The task begins with an introduction to the types of insulation materials commonly used in duct fabrication, such as fiberglass, foam board, and reflective insulation, along with the necessary safety gear, including gloves and safety glasses. Trainees are first instructed on how to measure the correct length and thickness of insulation required based on the duct dimensions and environmental factors. The instructor then demonstrates how to carefully cut the insulation to size, ensuring a snug fit around the duct while maintaining proper coverage without gaps. Trainees then practice applying adhesive or using mechanical fasteners, such as insulation tape or pins, to secure the insulation firmly around the duct. During the process, attention is given to ensuring that the insulation is applied evenly, with no areas left exposed. Once the insulation is in place, trainees inspect the work to ensure the insulation is securely fastened and free of wrinkles or gaps that could compromise its effectiveness. The session concludes with a review of the work for quality assurance, emphasizing the importance of proper insulation application for energy efficiency, sound attenuation, and temperature control. | Week10 |
|  | Fabricate a small rectangular duct | The task begins with an introduction to the tools and materials required for fabricating a small rectangular duct, including sheet metal, snips, measuring tapes, rulers, and rivet guns. Trainees are first instructed on how to take accurate measurements from a provided blueprint or drawing to determine the correct dimensions for the duct. The instructor demonstrates how to mark the sheet metal, ensuring that the cuts are straight and accurate for each side of the rectangular duct. Trainees then use snips or shears to cut the metal to the required lengths, following the marked lines. Once the pieces are cut, the instructor shows how to bend the edges to form the rectangular shape, ensuring all corners are aligned and edges are smooth. After the bends are made, trainees practice joining the sections using rivets or screws, securing them tightly and ensuring the duct is square and free from gaps. Finally, trainees apply a sealant or gasket where necessary to prevent air leaks, and inspect the finished duct for accuracy, checking dimensions and seam integrity. The session concludes with a quality control check, emphasizing the importance of precision and secure fastening in the fabrication of rectangular ducts. | Week11 |
|  | Fabricate a small circular duct | The task begins with an introduction to the tools and materials required for fabricating a small circular duct, including sheet metal, a metal cutter, a round duct-forming tool or roller, measuring tape, and rivet gun. Trainees are first instructed on how to accurately measure the required diameter and length of the duct from a blueprint or design specifications. The instructor demonstrates how to mark the sheet metal for the appropriate circumference, ensuring the correct radius for the circular duct. Trainees then practice cutting the sheet metal along the marked lines, using metal snips or a power shear to create a clean, smooth edge. After cutting, trainees use a round duct-forming tool or roller to gradually bend the sheet metal into a circular shape, making sure the edges align perfectly and the duct maintains its round form. Once the circle is formed, the two edges are joined using rivets, ensuring the connection is secure and the duct is airtight. Trainees then inspect the completed duct for smoothness, proper dimensions, and the integrity of the joint. The session concludes with a quality control check, emphasizing the importance of precision in the fabrication process to ensure the duct is both functional and durable. | Week12 |
|  | Fabricate a rectangular-to-circular transition | The task begins with an introduction to the tools and materials required for fabricating a rectangular-to-circular transition, including sheet metal, measuring tape, snips, a hammer, a circular duct-forming tool, and a rivet gun. Trainees are first shown how to take accurate measurements from a blueprint or design specifications to determine the size of both the rectangular and circular ends of the transition. The instructor demonstrates how to mark the sheet metal to form the rectangular part of the transition and calculate the proper dimensions for the circular section. Trainees then cut the sheet metal along the marked lines for the rectangular portion, followed by cutting a circular piece that will serve as the connecting end. Once the pieces are cut, trainees are guided on how to carefully bend the sheet metal to create the curved transition between the rectangular and circular sections, using a round duct-forming tool or rolling method. The two sections are then joined using rivets, ensuring that the transition maintains an even, smooth flow from the rectangular to the circular shape. Finally, trainees inspect the transition for any gaps or misalignment, checking the fit and ensuring the seam is secure. The session concludes with a quality control review, emphasizing the need for precision and proper fitting to ensure a seamless airflow transition. | Week13 |
|  | Interpret a complex HVAC blueprint | The task begins with an overview of the key elements in a complex HVAC blueprint, including duct routes, airflow direction, fittings, system components, and symbols for equipment like dampers, registers, and vents. Trainees are guided on how to systematically approach the blueprint by first identifying the legend, scale, and key specifications. The instructor demonstrates how to trace the ductwork layout, highlighting the main and branch lines, and explaining the significance of pressure zones and airflow requirements. Trainees are then shown how to interpret detailed annotations, such as material types, dimensions, and connection methods, ensuring they align with project requirements. The session involves hands-on practice where trainees work in pairs to identify all components and calculate critical measurements, such as duct lengths and diameters. The task concludes with a group review, where trainees discuss their interpretations and resolve any discrepancies, reinforcing their understanding of complex HVAC systems and their ability to apply this knowledge to duct fabrication. | Week14 |
|  | Install a duct section to a mock HVAC system | The task begins with an introduction to the mock HVAC system and the tools required for installation, including screwdrivers, clamps, sealants, and PPE such as gloves and safety glasses. Trainees first inspect the duct section and mock system to ensure compatibility and readiness for installation. The instructor demonstrates how to align the duct section with the designated connection point on the system, ensuring that it fits securely without gaps. Trainees then practice securing the duct section using screws, clamps, or rivets, depending on the connection type specified in the blueprint. Sealants or gaskets are applied at the joints to ensure an airtight connection. After the section is installed, trainees perform a visual and manual inspection to confirm stability, alignment, and tightness. The session concludes with a group discussion on the importance of proper installation techniques for system efficiency and leak prevention, reinforcing the skills needed for real-world HVAC system integration. | Week15 |
|  | Perform a leak test on a duct section | The task begins with an introduction to the purpose of leak testing and the tools required, such as a smoke generator, pressure gauge, blower, or soap solution. Trainees are first instructed on how to seal off all openings in the duct section, except for the designated testing point, using temporary caps or plugs. The instructor demonstrates how to introduce air or smoke into the duct using a blower or smoke generator, gradually increasing the pressure to the required level. Trainees observe the duct for visible signs of smoke leakage or use a soap solution applied to the seams and joints to identify bubbling, which indicates air leaks. After identifying any leaks, trainees practice marking the affected areas and making necessary repairs, such as tightening fasteners or reapplying sealants. The test is repeated to ensure the duct section is airtight. The session concludes with a discussion on the importance of leak testing for system efficiency, and trainees review common causes of leaks and best practices for prevention. | Week16 |
|  | Fabricate a soundproof duct section | The task begins with an introduction to the materials and tools needed for soundproofing, such as acoustic insulation, sound-damping sheets, measuring tools, cutting tools, and adhesive sprays. Trainees are first briefed on the principles of soundproofing and the importance of minimizing noise in HVAC systems. The instructor demonstrates how to measure and cut the duct section to the required dimensions, ensuring precise fitting. Next, the instructor shows how to prepare the acoustic insulation by cutting it to size and attaching it securely to the interior or exterior of the duct using adhesive or mechanical fasteners. Trainees are guided to apply sound-damping sheets to the duct surfaces, ensuring complete coverage to minimize noise transmission. Once the insulation and damping materials are installed, the duct section is inspected for proper alignment and coverage. The task concludes with a quality check to verify that the materials are securely attached, and trainees discuss the importance of soundproofing in maintaining comfort and efficiency in HVAC systems. | Week17 |
|  | Create a material list and cost estimate | The task begins with an introduction to the importance of accurate material estimation and cost analysis in duct fabrication projects. Trainees start by reviewing the project blueprint or specifications to identify all required components, including sheet metal, insulation, fasteners, sealants, and specialized fittings. The instructor demonstrates how to break down the project into sections and list the materials needed for each part, ensuring nothing is overlooked. Trainees then practice calculating the quantities of materials based on measurements and dimensions from the blueprint. Using a provided price sheet or supplier catalog, they assign costs to each material and compute the total cost for the project, factoring in allowances for waste or contingencies. The final step involves organizing the material list and cost estimate into a clear and professional document. The task concludes with a review of the completed lists, emphasizing the importance of accuracy, efficiency, and cost-effectiveness in meeting project budgets and timelines. | Week18 |
|  | Program a CNC machine for a simple task | The task begins with an overview of the CNC machine, its components, and safety procedures for operation. Trainees are introduced to the design software and shown how to create a basic part drawing or import a pre-designed file for a simple duct fabrication task, such as cutting a rectangular or circular section. The instructor demonstrates how to convert the design into machine-readable code, typically using G-code, and explains the significance of each command. Trainees then learn how to input the program into the CNC machine’s control panel and set up the machine by selecting the appropriate tool, loading the sheet metal, and configuring parameters such as cutting speed and depth. Once the setup is complete, the instructor initiates a test run, emphasizing the importance of checking for errors in the program or setup. Trainees then practice running the machine to execute the task, monitoring the process for accuracy and safety. The session concludes with a review of the finished product, reinforcing the importance of precision and proper programming in automated duct fabrication. | Week19 |
|  | Inspect a fabricated duct for quality issues | The task begins with an introduction to the key quality standards and common issues in duct fabrication, such as misaligned seams, sharp edges, leaks, or improper dimensions. Trainees are guided to review the duct specifications and inspection checklist to understand the required tolerances and performance criteria. The instructor demonstrates a systematic inspection process, starting with a visual examination of the duct for surface defects, such as dents, scratches, or uneven finishes. Trainees then use measuring tools like calipers, tape measures, and squares to verify the dimensions, ensuring compliance with the blueprint. The task proceeds with testing the structural integrity of joints and seams by applying light force or inspecting for gaps and looseness. For airtightness, trainees perform a leak test using a blower or smoke generator. Once all potential issues are identified, trainees document their findings and discuss corrective actions, such as resealing joints or reworking components. The session concludes with an emphasis on maintaining high-quality standards to ensure the duct’s functionality and longevity. | Week20 |
|  | Assemble a complex duct system | The task begins with a review of the blueprint for the complex duct system, highlighting key components such as main ducts, branch lines, fittings, and transitions. Trainees are guided to organize and stage all required materials and tools, including duct sections, connectors, sealants, rivets, and measuring tools. The instructor demonstrates how to begin assembly by installing the main duct lines according to the blueprint, ensuring proper alignment and secure connections. Trainees then proceed to attach branch lines and fittings, such as elbows, transitions, and dampers, verifying that each piece is securely joined using screws, rivets, or clamps. Sealants are applied to all seams and joints to ensure an airtight system. As the system takes shape, trainees are instructed to periodically check the alignment and dimensions against the blueprint to prevent errors. The task concludes with a final inspection of the assembled system, ensuring all components are properly connected, airtight, and aligned, ready for integration into the HVAC system. The importance of precision, teamwork, and adherence to the design is emphasized throughout the process. | Week21 |
|  | Design a detailed plan for a duct system | The task begins with a review of the project requirements, including building layout, airflow needs, and HVAC system specifications. Trainees are guided to gather key data, such as room dimensions, airflow rates, and equipment locations. The instructor demonstrates how to create an initial sketch of the duct system, marking the positions of main ducts, branch lines, vents, and fittings. Using design software or graph paper, trainees refine their sketches into a scaled plan, ensuring accurate placement and sizing of each component. The next step involves calculating duct dimensions based on airflow requirements and system capacity, incorporating transitions, bends, and fittings to optimize efficiency. Trainees label each component with dimensions, materials, and connection details. The final plan is reviewed to ensure compliance with industry standards and project specifications. The task concludes with a group discussion on how detailed planning minimizes errors and maximizes system performance, emphasizing the importance of precision and attention to detail in duct system design. | Week22 |
|  | Fabricate and assemble a full duct system | The task begins with a review of the project requirements, including building layout, airflow needs, and HVAC system specifications. Trainees are guided to gather key data, such as room dimensions, airflow rates, and equipment locations. The instructor demonstrates how to create an initial sketch of the duct system, marking the positions of main ducts, branch lines, vents, and fittings. Using design software or graph paper, trainees refine their sketches into a scaled plan, ensuring accurate placement and sizing of each component. The next step involves calculating duct dimensions based on airflow requirements and system capacity, incorporating transitions, bends, and fittings to optimize efficiency. Trainees label each component with dimensions, materials, and connection details. The final plan is reviewed to ensure compliance with industry standards and project specifications. The task concludes with a group discussion on how detailed planning minimizes errors and maximizes system performance, emphasizing the importance of precision and attention to detail in duct system design. | Week23 |
|  | Present the final project for evaluation | The task begins with trainees preparing their completed duct fabrication projects , ensuring all components are assembled, inspected, and meet the specified design and quality standards. The instructor guides trainees on organizing their presentation, including highlighting key aspects such as project objectives, design considerations, and challenges faced during fabrication. Trainees then prepare supporting materials, such as blueprints, material lists, and photographs of the fabrication process, to provide a comprehensive overview of their work. During the presentation, each trainee explains the sequence of operations followed, techniques applied, and measures taken to ensure quality and accuracy. They also address any issues encountered and describe how they were resolved. The evaluation concludes with a demonstration of the duct’s functionality, such as leak testing or system integration, where applicable. Feedback is provided by the instructor and peers, focusing on technical proficiency, problem-solving skills, and overall project execution. The session emphasizes the importance of clear communication and professionalism in showcasing technical expertise. | Week24 |

# Annexure-Il:

Workplace/Institute Ethics Guide for Duct Fabricator 6-Month Course

- Respect and Professionalism

  - Treat all instructors, peers, and staff with courtesy and respect.

  - Foster a positive and inclusive learning environment.

  - Avoid disruptive behavior and practice active listening during sessions.

- Punctuality and Attendance

  - Arrive on time for classes, practicals, and assessments.

  - Maintain regular attendance and inform the institute in advance of any unavoidable absences.

  - Adhere to deadlines for assignments and projects.

- Safety Compliance

  - Follow all safety protocols and wear personal protective equipment (PPE) at all times in the workshop.

  - Report any unsafe conditions or incidents immediately to the instructor.

  - Avoid horseplay or misuse of tools and equipment.

- Integrity and Accountability

  - Complete tasks and assessments honestly, without plagiarism or dishonesty.

  - Take responsibility for personal actions and adhere to the course's rules and guidelines.

  - Acknowledge mistakes and learn from them to improve skills.

- Care for Tools and Equipment

  - Handle all tools, machines, and materials responsibly to avoid damage or wastage.

  - Clean and store tools and equipment properly after use.

  - Report any malfunctions or damages to the instructor promptly.

- Teamwork and Collaboration

  - Work effectively with peers during group activities and projects.

  - Share knowledge and support others in achieving collective goals.

  - Respect diverse viewpoints and contribute constructively to discussions.

- Confidentiality and Ethics

  - Respect the confidentiality of project details, proprietary designs, and workplace information.

  - Uphold professional ethics by not engaging in fraudulent or unethical behavior.

  - Refrain from sharing course materials or intellectual property without permission.

- Commitment to Learning

  - Demonstrate dedication to acquiring skills and knowledge throughout the course.

  - Actively participate in both theoretical and practical sessions.

  - Seek feedback and continuously strive for improvement.

By adhering to these ethics, trainees will cultivate a professional attitude, ensuring their success in the course and future career as skilled duct fabricators.

List of Tools and Equipment’s

| Serial No. | Description | Quantity Required |
| --- | --- | --- |
| 1 | Measuring Tape | 25 units |
| 2 | Carpenter's Square | 25 units |
| 3 | Utility Knives | 25 units |
| 4 | Hammers | 25 units |
| 5 | Pliers | 25 units |
| 6 | Snips/Sheet Metal Cutters | 25 units |
| 7 | Allen Wrenches | 25 units |
| 8 | Screwdrivers (Flathead & Phillips) | 25 sets |
| 9 | Chisels | 25 units |
| 10 | File Set | 25 sets |
| 11 | Electric Shears | 5-10 units |
| 12 | Angle Grinders | 5 units |
| 13 | Drill Machines | 5 units |
| 14 | Power Saws | 5 units |
| 15 | Spot Welders | 2-3 units |
| 16 | Portable Electric Bender | 2-3 units |
| 17 | Electric Metal Cutting Saws | 5-7 units |
| 18 | Band Saws | 2-3 units |
| 19 | Bending Machines | 2 units |
| 20 | CNC Plasma Cutter | 1-2 units |
| 21 | TIG Welders | 2 units |
| 22 | MIG Welders | 2 units |
| 23 | Welding Masks | 25 units |
| 24 | Welding Gloves | 25 pairs |
| 25 | Welding Aprons | 25 units |
| 26 | Laser Level | 2 units |
| 27 | Protractors | 25 units |
| 28 | Calipers | 25 units |
| 29 | Angle Finders | 25 units |
| 30 | Plumb Bobs | 25 units |
| 31 | Vernier Calipers | 10-15 units |
| 32 | Safety Glasses | 25 pairs |
| 33 | Ear Protection (earplugs or earmuffs) | 25 sets |
| 34 | Respirators or Face Masks | 25 units |
| 35 | High-Visibility Vests | 25 units |
| 36 | Work Boots | 25 pairs |
| 37 | First Aid Kits | 2-3 kits |
| 38 | Fire Extinguishers | 2-3 units |
| 39 | Workbench | 5-6 units |
| 40 | Duct Support Brackets | 25 units |
| 41 | Clamps | 25-30 units |
| 42 | Carts for Tool Organization | 3-4 units |
| 43 | Extension Cords | 10 units |
| 44 | Portable Fans for Ventilation | 2 units |
| 45 | Sheet Metal Brake | 2 units |
| 46 | Duct Forming Tools | 5 sets |
| 47 | Duct Seamers | 2 units |
| 48 | Duct Crimpers | 5 units |
| 49 | Gloves | 25 pairs |
| 50 | Hard Hats | 25 units |
| 51 | Knee Pads | 25 units |

Consumable Material

| Serial No. | Description | Quantity Required |
| --- | --- | --- |
| 1 | Sheet Metal (Galvanized Steel) | 50 sheets (4x8 ft.) |
| 2 | Sheet Metal (Aluminum) | 20 sheets (4x8 ft.) |
| 3 | Duct Insulation (Fiberglass) | 25 rolls |
| 4 | Duct Insulation (Foam Board) | 25 rolls |
| 5 | Welding Rods | 5 kg per student |
| 6 | MIG Welding Wire | 5 kg per student |
| 7 | TIG Welding Rod | 5 kg per student |
| 8 | Rivets | 5,000 units |
| 9 | Screws (Sheet Metal) | 10,000 units |
| 10 | Nuts and Bolts (Various Sizes) | 2,500 units |
| 11 | Duct Sealant (Silicone or Butyl) | 5 gallons |
| 12 | Gasket Materials | 10 meters |
| 13 | Sheet Metal Adhesive | 5 gallons |
| 14 | Caulking (Silicone) | 25 tubes |
| 15 | Paint (For Coating Ducts) | 5 gallons |
| 16 | Primer (For Metal Coating) | 5 gallons |
| 17 | Cutting Blades (For Shears and Saws) | 50 units |
| 18 | Grinding Discs | 100 units |
| 19 | Drill Bits (Various Sizes) | 50 units |
| 20 | Sandpaper (Various Grits) | 25 packs |
| 21 | Safety Gloves | 25 pairs |
| 22 | Welding Masks | 25 units |
| 23 | Respirators (Dust/Mist) | 25 units |
| 24 | Respirator Filters | 50 filters |
| 25 | High-Visibility Vests | 25 units |
| 26 | Protective Sleeves (For Welding) | 25 units |
| 27 | Fire Extinguisher (CO2 or ABC) | 2-3 units |
| 28 | Paint Brushes | 25 units |
| 29 | Duct Tape | 10 rolls |
| 30 | Electrical Tape | 10 rolls |
| 31 | Marker Pens (Permanent) | 25 units |
| 32 | Chalk (For Marking) | 5 boxes |
| 33 | Lubricants (For Cutting and Bending) | 5 liters |
| 34 | Silicone Spray (For Welding & Assembly) | 5 cans |
| 35 | Hand Sanitizers | 5 bottles |
| 36 | First Aid Supplies | 2-3 kits |

This table outlines the essential consumption materials required to conduct the training for 25 trainees, ensuring they have the necessary materials to practice fabrication, welding, and assembly tasks. Quantities are designed to support regular hands-on practice throughout the course duration,that may vary according to situation.