Government of Pakistan 
National Vocational and Technical Training Commission

Prime Minister’s Hunarmand Pakistan Program

"Skills for All"

Course Contents / Lesson Plan 
Course Title: Energy Efficiency Management 		Duration: 3 Months

Revised Edition

| Trainer Name |  |
| --- | --- |
| Course Title | Energy Efficiency Management |
| Objectives and Expectations | Employable skills and hands-on practice for Energy Efficiency Management • To produce capable and skillful industry managers, consultants and trainers as per requirements of the industry. • To develop excellent professionals in the field of energy efficiency in the industry who are capable to analyze energy performance, to identify improvement potentials and to implement and monitor energy efficiency measures efficiently and effectively. • To enable trainees to perform all work safely, effectively and hygienically and to guide other managers or workers to do so as well. • To develop characteristics among the trainees such as reliability, responsibility, flexibility and ethical behavior. • To develop and promote analytical and investigative traits among the trainees. Main Expectations: In short, the course under reference should be delivered by professional instructors in such a robust hands-on manner that the trainees are comfortably able to employ their skills for earning money (through wage/self-employment) at its conclusion. This course thus clearly goes beyond the domain of the traditional training practices in vogue and underscores an expectation that a market-centric approach will be adopted as the main driving force while delivering it. The instructors should therefore be experienced enough to be able to identify the training needs for the possible market roles available out there. Moreover, they should also know the strengths and weaknesses of each trainee to prepare them for such market roles during/after the training. i. Specially designed practical tasks to be performed by the trainees have been included in the Annexure-I to this document. The record of all tasks performed individually or in groups must be preserved by the management of the training Institute clearly labeling name, trade, session, etc. so that these are ready to be physically inspected/verified through monitoring visits from time to time. The weekly distribution of tasks has also been indicated in the weekly lesson plan given in this document. ii. To materialize the main expectations, a special module on Job Search & Entrepreneurial Skills has been included in the latter part of this course (5th & 6th month) through which, the trainees will be made aware of the Job search techniques in the local as well as international job markets (Gulf countries). Awareness around the visa process and immigration laws of the most favored labor destination countries also form a part of this module. Moreover, the trainees would also be encouraged to venture into self-employment and exposed to the main requirements in this regard. It is also expected that a sense of civic |

|  | duties/roles and responsibilities will also be inculcated in the trainees to make them responsible citizens of the country. iii. A module on Work Place Ethics has also been included to highlight the importance of good and positive behavior in the workplace in the line with the best practices elsewhere in the world. An outline of such qualities has been given in the Appendix to this document. Its importance should be conveyed in a format that is attractive and interesting for the trainees such as through PPT slides +short video documentaries. Needless to say, that if the training provider puts his heart and soul into these otherwise non-technical components, the image of the Pakistani workforce would undergo a positive transformation in the local as well as international job markets. To maintain interest and motivation of the trainees throughout the course, modern techniques such as: • Motivational Lectures • Success Stories • Case Studies These techniques would be employed as an additional training tool wherever possible (these are explained in the subsequent section on Training Methodology). Lastly, evaluation of the competencies acquired by the trainees will be done objectively at various stages of the training and a proper record of the same will be maintained. Suffice to say that for such evaluations, practical tasks would be designed by the training providers to gauge the problem-solving abilities of the trainees. (i) Motivational Lectures The proposed methodology for the training under reference employs motivation as a tool. Hence besides the purely technical content, a trainer is required to include elements of motivation in his/her lecture. To inspire the trainees to utilize the training opportunity to the full and strive towards professional excellence. Motivational lectures may also include general topics such as the importance of moral values and civic role & responsibilities as a Pakistani. A motivational lecture should be delivered with enough zeal to produce a deep impact on the trainees. It may comprise of the following: 1.Clear Purpose to convey the message to trainees effectively. 2.Personal Story to quote as an example to follow. 3.Trainees Fit so that the situation is actionable by trainees and not represent a just idealism. 4.Ending Points to persuade the trainees on changing themselves. A good motivational lecture should help drive creativity, curiosity, and spark the desire needed for trainees to want to learn more. The impact of a successful motivational strategy is amongst others commonly visible in increased class participation ratios. It increases the trainees’ willingness to be engaged on the practical tasks for a longer time without boredom and loss of interest because they can see in their mind's eye where their hard work would take them in short (1-3 years); medium (3 -10 years) and long term (more than 10 years). As this tool is expected that the training providers would make arrangements for regular well planned motivational lectures as part of a coordinated strategy |
| --- | --- |

|  | interspersed throughout the training period as suggested in the weekly lesson plans in this document. Course-related motivational lectures online link is available in Annexure-II. (ii) Success Stories Another effective way of motivating the trainees is using Success Stories. Its inclusion in the weekly lesson plan at regular intervals has been recommended till the end of the training. A success story may be disseminated orally, through a presentation, or using a video/documentary of someone that has risen to fortune, acclaim, or brilliant achievement. A success story shows how a person achieved his goal through hard work, dedication, and devotion. An inspiring success story contains compelling and significant facts articulated clearly and easily comprehendible words. Moreover, it is helpful if it is assumed that the reader/listener knows nothing of what is being revealed. The optimum impact is created when the story is revealed in the form of: 1.Directly in person (At least 2-3 cases must be arranged by the training institute) 2.Through an audio/ videotaped message (2-3 high-quality videos must be arranged by the training institute) It is expected that the training provider would collect relevant high-quality success stories for inclusion in the training as suggested in the weekly lesson plan given in this document. Suggestive structure and sequence of a sample success story and its various shapes can be seen in Annexure III. (iii) Case Studies Where a situation allows, case studies can also be presented to the trainees to widen their understanding of the real-life specific problem/situation and to explore the solutions. In simple terms, the case study method of teaching uses a real-life case example/a typical case to demonstrate a phenomenon in action and explain theoretical as well as practical aspects of the knowledge related to the same. It is an effective way to help the trainees comprehend in depth both the theoretical and practical aspects of the complex phenomenon in depth with ease. Case teaching can also stimulate the trainees to participate in discussions and thereby boost their confidence. It also makes the classroom atmosphere interesting thus maintaining the trainee interest in training till the end of the course. Depending on suitability to the trade, the weekly lesson plan in this document may suggest case studies be presented to the trainees. The trainer may adopt a PowerPoint presentation or video format for such case studies whichever is deemed suitable but only those cases must be selected that are relevant and The Trainees should be required and supervised to carefully analyze the cases. For this purpose, they must be encouraged to inquire and collect specific information/data, actively participate in the discussions, and intended solutions to the problem/situation. Case studies can be implemented in the following ways: - |
| --- | --- |

|  | i. A good quality trade-specific documentary (At least 2-3 documentaries must be arranged by the training institute) ii. Health &Safety case studies (2 cases regarding safety and industrial accidents must be arranged by the training institute) iii. Field visits (At least one visit to a trade-specific major industry/ site must be arranged by the training institute) of a learning value. |
| --- | --- |
| Entry-level of trainees | Intermediate / Matric Science |
| Learning Outcomes of the course | By the end of this course, students will be able to: 1.Demonstrate a solid understanding of the fundamental principles and concepts related to energy efficiency management. 2.Ability to assess energy consumption patterns and identify areas of inefficiency within various systems and processes. 3.Competence in developing comprehensive energy efficiency plans and strategies. 4.Proficiency effectively monitoring equipment, interpret energy data, and employ energy management systems to track and evaluate energy efficiency performance. 5.Ability to assess energy savings, calculating return on investment (ROI), and effectively communicating the financial and environmental benefits of energy efficiency measures. |
| Course Execution Plan | The total duration of the course: 3 months (13 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 260 hours |
| Companies offering jobs in the respective trade | 1. Industry (textile, leather, pharmaceuticals, food processing, automotive etc.) 2. Energy efficiency consultant for industry and commerce. 3. Energy efficiency trainer for workers and lower management of industries. |
| Job Opportunities | 1.Energy manager or energy adviser in the industry (textile, leather, pharmaceuticals, food processing, automotive, cement etc.) 2.Energy efficiency consultant for industry and commerce. 3.Energy efficiency trainer for workers and lower management of industries. 4.Solar Solution Providers |
| No of Students | 25 |
| Learning Place | Classroom / Lab |
| Instructional Resources | 1."Renewable Energy Systems: A Smart Energy Systems Approach to the Choice and Modeling of 100% Renewable Solutions" by Henrik Lund 2.“Electrical Power Systems: Design and Analysis" by Mohamed E. El-Hawary 3."Protective Relaying: Principles and Applications" by J. Lewis Blackburn and Thomas J. Domin |

|  | 4."Energy Efficiency in Motor Driven Systems" by Francisco C. P. Azevedo 5."Thermodynamics: An Engineering Approach" by Yunus A. Çengel and Michael A. Boles 6."Energy Audit Handbook for Buildings" by K. R. Nayar 7."Energy Optimization in Process Systems and Fuel Cells" by Stanislaw Sieniutycz and Jacek Jezowski 8."Solar Engineering of Thermal Processes" by John A. Duffie and William A. Beckman 9."Renewable Energy Finance: Powering the Future" by Charles W. Donovan |
| --- | --- |

Modules

| Scheduled Weeks | Module Title | Days | Learning Units | Remarks |
| --- | --- | --- | --- | --- |
| Week 1 | Introduction to Energy management system. | Day 1 | Motivational Lecture |  |
|  |  | Day 2 | Course Introduction | Task-1 |
|  |  | Day 3 | Job market | Task-2 |
|  |  | Day 4 | Course Applications |  |
|  |  | Day 5 | Institute/work ethics | Task-3 |
| Week 2 | Energy & Environment | Day 1 | Success stories |  |
|  |  | Day 2 | Introduction to Energy and Electricity | Task-4 |
|  |  | Day 3 | Environmental Impact of Energy Use | Task-5 |
|  |  | Day 4 | Features of Conventional and Renewable Generation | Task-6 |
|  |  | Day 5 | Climate Change and Renewable Energy Sources | Task-7 |
| Week 3 | Renewable Energy | Day 1 | Electrical Power Generation The Future – Towards a Sustainable Electricity Supply System |  |
|  |  | Day 2 | Types of Renewable Energy Source, (Tidal, Energy, Wave Energy, Wind Energy) | Task-8 |
|  |  | Day 3 | Types of Renewable Energy Source, (Small Scale Hydro-Electric Energy, Geothermal Energy) | Task-9 |
|  |  | Day 4 | Types of Renewable Energy Source, (Ocean Thermal Energy Conversion, Biofuels) | Task-10 |
|  |  | Day 5 | Types of Renewable Energy Source, (Solar Thermal Technologies and Photovoltaics) | Task-11 |
| Week 4 | Electrical Systems | Day 1 | Fundamentals of Electrical Wiring Systems |  |
|  |  | Day 2 | Types and Selection of Electrical Cables and Wires | Task-12 |
|  |  | Day 3 | Understanding Electrical Circuits and Circuit Diagrams" | Task-13 |
|  |  | Day 4 | Electrical Panel Installation and Distribution | Task-14 |

|  |  | Day 5 | Basic Electrical Symbols and their Applications in Wiring Diagrams" | Task-15 |
| --- | --- | --- | --- | --- |
| Week 5 | Electrical Protection Systems | Day 1 | Grounding and Earthing Systems for Electrical Safety |  |
|  |  | Day 2 | Protective Devices: Fuses, Circuit Breakers, Relays and Ground Fault Circuit Interrupters (GFCIs)" | Task-16 |
|  |  | Day 3 | Electrical Wiring in Commercial Buildings: Codes and Standards |  |
|  |  | Day 4 | Proper Wire Termination Techniques and Connections |  |
|  |  | Day 5 | Safety Measures for Electrical Wiring Practices |  |
| Week 6 | Electrical Devices Efficiencies | Day 1 | Load Curves (Daily, Weekly, Monthly, Annually) | Task-17 |
|  |  | Day 2 | Types of Electrical Loads, Measurement Basics | Task-18 |
|  |  | Day 3 | Equipment Efficiency (Pumps, Compressor, Motors) | Task-19 |
|  |  | Day 4 | Equipment Efficiency (Columns, Heat Exchangers, Reactors) |  |
|  |  | Day 5 | Equipment Efficiency (Home Appliances) | Task-20 |
| Week 7 | Thermo Devices | Day 1 | Boilers and Fired Systems | Task-21 |
|  |  | Day 2 | Steam and Condensate Systems | Task-22 |
|  |  | Day 3 | Waste-Heat Recovery | Task-23 |
|  |  | Day 4 | Industrial Tour | Task-24 |
|  |  | Day 5 | Mid-Term Exam | Task-25 |
| Week 8 | Energy Management | Day 1 | · Success stories |  |
|  |  | Day 2 | Introduction to Energy Management | Task-26 |
|  |  | Day 3 | Principles of Energy Management | Task-27 |
|  |  | Day 4 | Energy Management Program, Organizational Structure | Task-28 |
|  |  | Day 5 | Presentations | Task-29 |
| Week 9 | Energy Audit-I | Day 1 | Basic Components of an Energy Audit | Task-30 |
|  |  | Day 2 | Specialized Audit Tools | Task-31 |
|  |  | Day 3 | Energy Audit Detail |  |

|  |  | Day 4 | Hands-On Energy Audit Assignment | Task-32 |
| --- | --- | --- | --- | --- |
|  |  | Day 5 | Presentation on Energy Audit Assignment |  |
| Week 10 | Energy Audit-II | Day 1 | Residential Audits | Task-33 |
|  |  | Day 2 | Commercial Audits | Task-34 |
|  |  | Day 3 | Industrial Audits |  |
|  |  | Day 4 | Field Tour for Energy Audit | Task-35 |
|  |  | Day 5 | Energy Report Writing | Task-36 |
| Week 11 | Energy Optimization Devices | Day 1 | Thermostat Controls (RTD, Thermocouple, ICs, Thermistors) | Task-37 |
|  |  | Day 2 | Occupancy Sensors (PIR, Camera, IR etc.) | Task-38 |
|  |  | Day 3 | Alarming, Access to Sensor and Equipment | Task-39 |
|  |  | Day 4 | Introduction to Control Units (Controllers) | Task-40 |
|  |  | Day 5 | Energy Efficient System Design | Task-41 |
| Week 12 | Solar Energy | Day 1 | Introduction to Solar Energy and Photovoltaic Systems | Task-42 |
|  |  | Day 2 | Design and Sizing of Solar PV Systems | Task-43 |
|  |  | Day 3 | Solar Panel Installation | Task-44 |
|  |  | Day 4 | PV System Wiring, Inverters, and Balance of System Components | Task-45 |
|  |  | Day 5 | System Performance Monitoring and Maintenance | Task-46 |
| Week 13 |  | Day 1 | Evaluate energy usage reports, energy bill and other square footage sources. | Task-47 |
|  |  | Day 2 | Perform energy saving calculation. | Task-48 |
|  |  | Day 3 | Conclude Cost Vs Benefits of different operational schemes | Task-49 |
|  |  | Day 4 | Recap of the Course |  |
|  |  | Day 5 | Job Search Methods in the Field of Energy Efficiency Management | Task-50 |

*See Annexure I

Annexure - I 
Tasks For Certificate in Energy Efficiency Management

| Task No. | Task | Description | Week |
| --- | --- | --- | --- |
| 1 | Search Top Pakistani Freelancers | Search any three freelancing sites (Fiverr, Upwork, Guru, etc.) and list down the top 5 profiles related to your course | Week 1 |
| 2 | Find the career path | Prepare a career path related to your course and also highlight the emerging trends in the local as well as international market |  |
| 3 | Work Ethics | Generate a report on Institute work ethics and professionalism related to your course |  |
| 4 | Energy & Environment | Research and write on the historical evolution of energy sources and their role in shaping human civilization. | Week 2 |
| 5 |  | Conduct a case study on the environmental impacts of a specific energy source (e.g., coal, natural gas, nuclear) and propose sustainable alternatives. |  |
| 6 |  | Analyze report on the reliability, scalability, and cost-effectiveness of conventional and renewable power generation methods |  |
| 7 |  | Highlight the relationship between climate change and the increased adoption of renewable energy sources. |  |
| 8 | Renewable Energy | Suggest Energy Sources (Tidal, Energy, Wave Energy, Wind Energy) application in Pakistan | Week 3 |
| 9 |  | Suggest Energy Sources (Small Scale Hydro-Electric Energy, Geothermal Energy) application in Pakistan |  |
| 10 |  | Suggest Energy Sources (Ocean Thermal Energy Conversion, Biofuels) application in Pakistan |  |
| 11 |  | Suggest Energy Sources (Solar Thermal Technologies and Photovoltaics) application in Pakistan |  |
| 12 | Electrical Systems | Explore various kind of Electrical Cables used in Household and Industry | Week 4 |
| 13 |  | Present Electrical Diagram of your House |  |
| 14 |  | Explore Electrical Panel Installation and Distribution at your Institute |  |
| 15 |  | Use Electrical symbols to draw wiring diagram of your Institute |  |
| 16 | Electrical Protection Systems | Explore Protective Devices: Fuses, Circuit Breakers, Relays and Ground Fault Circuit Interrupters (GFCIs) | Week 5 |
| 17 | Electrical Devices Efficiencies | Estimate Load Curves (Daily, Weekly, Monthly, Annually) of your household | Week 6 |
| 18 |  | Explore the electrical loads in the institute and measure |  |
| 19 |  | Explore working of Pumps, Compressors and Motors |  |
| 20 |  | Estimate electrical efficiencies of your home appliances |  |
| 21 | Thermo Devices | Make comparison between different types of boilers. |  |

| 22 |  | Differentiate between steam and condensate | Week 7 |
| --- | --- | --- | --- |
| 23 |  | Explore, how does waste heat recovery work? |  |
| 24 |  | Write report on the industrial tour. |  |
| 26 |  | Why is energy management system required? | Week 8 |
| 27 |  | Explore principles and the steps for the process of Energy Management |  |
| 28 |  | How does energy management systems work? |  |
| 29 |  | Write summary of all presentations given by the class fellows |  |
| 30 | Energy Audit-I | Explore the Components of an Energy Audit | Week 9 |
| 31 |  | Explore the tools for the measurement of electrical parameters. |  |
| 32 |  | Prepare report on Hands-On Energy Audit Assignment |  |
| 33 | Energy Audit-II | Perform residential energy audit at your house. | Week 10 |
| 34 |  | Perform commercial energy audit. (Nearby shopping mall) |  |
| 35 |  | Perform industrial energy audit for the industry you visited |  |
| 36 |  | Write energy audit reports for residential, commercial and industrial audits |  |
| 37 | Energy Optimization Devices | How thermostat control is applied in commercial buildings. | Week 11 |
| 38 |  | Diagnostics, Tracking Energy Use, Whole-Building Optimization |  |
| 39 |  | Explore Alarms |  |
| 40 |  | Explore modern controllers used in building management |  |
| 41 |  | Prepare Energy Efficient System for your institute |  |
| 42 | Solar Energy | Explore Solar panels brands used in Pakistan | Week 12 |
| 43 |  | Calculate parameters to convert your institute building on Solar |  |
| 44 |  | Explore steps involved in installing solar panels |  |
| 45 |  | Design a basic PV system wiring diagram for a residential rooftop installation. Include the placement and interconnection of solar panels |  |
| 46 |  | Explore the methods used for PV performance and maintenance |  |
| 47 | Cost vs Benefits | Create a summary report highlighting the key findings and insights from the energy usage analysis. | Week 13 |
| 48 |  | Calculate potential energy savings based on efficiency improvements. |  |
| 49 |  | Calculate and compare the financial benefits and costs of various operational scheme. |  |
| 50 |  | How to search and apply for jobs at least two labor marketplace countries (GCC) |  |

Annexure - II

1.What is freelancing and how you can make money online - BBCURDU 	https://www.youtube.com/watch?v=9jCJN3Ff0kA

2.What Is the Role of Good Manners in the Workplace? By Qasim Ali Shah | In Urdu 	https://www.youtube.com/watch?v=Qi6Xn7yKIlQ

3.Hisham Sarwar Motivational Story | Pakistani Freelancer https://www.youtube.com/watch?v=CHm_BH7xAXk

4.21 Yr Old Pakistani Fiverr Millionaire | 25-35 Lakhs a Month Income | Interview 	https://www.youtube.com/watch?v=9WrmYYhr7S0

5.Failure to Millionaire - How to Make Money Online | Fiverr Superhero Aaliyaan Success Story 
https://www.youtube.com/watch?v=d1hocXWSpus

SUGGESTIVE FORMAT AND SEQUENCE ORDER OF MOTIVATIONAL LECTURE

Mentor 
Mentors are provided an observation checklist form to evaluate and share their observational feedback on how students within each team engage and collaborate in a learning environment. The checklist is provided at two different points: Once towards the end of the course. The checklists are an opportunity for mentors to share their unique perspective on group dynamics based on various team activities, gameplay sessions, pitch preparation, and other sessions, giving insights on the nature of communication and teamwork taking place and how both learning outcomes and the student experience can be improved in the future.

Session- 1 (Communication):

Please find below an overview of the activities taking place Session plan that will support your delivery and an overview of this session’s activity.

Session- 1 OVERVIEW

Aims and Objectives:

• To introduce the communication skills and how it will work • Get to know mentor and team - build rapport and develop a strong sense of a team • Provide an introduction to communication skills • Team to collaborate on an activity sheet developing their communication, teamwork, and problem-solving • Gain an understanding of participants’ own communication skills rating at the start of the program

| Activity: | Participant Time | Teacher Time | Mentor Time |
| --- | --- | --- | --- |
| Intro Attend and contribute to the scheduled. |  |  |  |
| Understand good communication skills and how it works. |  |  |  |
| Understand what good communication skills mean |  |  |  |
| Understand what skills are important for good communication skills |  |  |  |

| Key learning outcomes |  |
| --- | --- |

| Resources | Enterprise skills developed |
| --- | --- |

| • Understand the communication. skills and how it works. • Understand what communication skills mean. • Understand what skills are important for communication skills | 1.Podium 2.Projector 3.Computer 4.Flip Chart 5.Marker | • Communication • Self Confidence • Teamwork |
| --- | --- | --- |

| Schedule | Mentor Should do |
| --- | --- |
| Welcome: 5 min | Short welcome and ask the Mentor to introduce him/herself. Provide a brief welcome to the qualification for the class. Note for Instructor: Throughout this session, please monitor the session to ensure nothing inappropriate is being happened. |
| Icebreaker: 10 min | Start your session by delivering an icebreaker, this will enable you and your team to start to build rapport and create a team presentation for the tasks ahead. The icebreaker below should work well at introductions and encouraging communication, but feel free to use others if you think they are more appropriate. It is important to encourage young people to get to know each other and build strong team links during the first hour; this will help to increase their motivation and communication throughout the sessions. |
| Introduction & Onboarding: 20mins | Provide a brief introduction of the qualification to the class and play the “Onboarding Video or Presentation”. In your introduction cover the following: 1. Explanation of the program and structure. (Kamyab jawan Program) 2. How you will use your communication skills in your professional life. 3. Key contacts and key information – e.g. role of teacher, mentor, and SEED. Policies and procedures (user agreements and “contact us” section). Everyone to go to the Group Rules tab at the top of their screen, read out the rules, and ask everyone to verbally agree. Ensure that the consequences are clear for using the platform outside of hours. (9am-8pm) 4. What is up next for the next 2 weeks ahead so young people know what to expect (see pages 5-7 for an overview of the challenge). Allow young people to ask any questions about the session topic. |
| Team Activity Planning: 30 minutes | MENTOR: Explain to the whole team that you will now be planning how to collaborate for the first and second collaborative Team Activities that will take place outside |

|  | of the session. There will not be another session until the next session so this step is required because communicating and making decisions outside of a session requires a different strategy that must be agreed upon so that everyone knows what they are doing for this activity and how. • “IDENTIFY ENTREPRENEURS” TEAM ACTIVITY • “BRAINSTORMING SOCIAL PROBLEMS” TEAM ACTIVITY” As a team, collaborate on a creative brainstorm on social problems in your community. Vote on the areas you feel most passionate about as a team, then write down what change you would like to see happen. Make sure the teams have the opportunity to talk about how they want to work as a team through the activities e.g. when they want to complete the activities, how to communicate, the role of the project manager, etc. Make sure you allocate each young person a specific week that they are the project manager for the weekly activities and make a note of this. Type up notes for their strategy if this is helpful - it can be included underneath the Team Contract. |
| --- | --- |
| Session Close: 5 minutes | MENTOR: Close the session with the opportunity for anyone to ask any remaining questions. Instructor: Facilitate the wrap-up of the session. A quick reminder of what is coming up next and when the next session will be. |

MOTIVATIONAL LECTURES LINKS

| TOPIC | SPEAKER | LINK |
| --- | --- | --- |
| How to Face Problems In Life | Qasim Ali Shah | https://www.youtube.com/watch?v=OrQte08Ml90 |
| Just Control Your Emotions | Qasim Ali Shah | https://www.youtube.com/watch?v=JzFs__yJt-w |
| How to Communicate Effectively | Qasim Ali Shah | https://www.youtube.com/watch?v=PhHAQEGehKc |
| Your ATTITUDE is Everything | Tony Robbins Les Brown David Goggins Jocko Willink Wayne Dyer Eckart Tolle | https://www.youtube.com/watch?v=5fS3rj6eIFg |
| Control Your EMOTIONS | Jim Rohn Les Brown TD Jakes Tony Robbins | https://www.youtube.com/watch?v=chn86sH0O5U |
| Defeat Fear, Build Confidence | Shaykh Atif Ahmed | https://www.youtube.com/watch?v=s10dzfbozd4 |
| Wisdom of the Eagle | Learn Kurooji | https://www.youtube.com/watch?v=bEU7V5rJTtw |
| The Power of ATTITUDE | Titan Man | https://www.youtube.com/watch?v=r8LJ5X2ejqU |
| STOP WASTING TIME | Arnold Schwarzenegger | https://www.youtube.com/watch?v=kzSBrJmXqdg |
| Risk of Success | Denzel Washington | https://www.youtube.com/watch?v=tbnzAVRZ9Xc |

Annexure - III

SUCCESS STORY

| S. No | Key Information | Detail/Description |
| --- | --- | --- |

| 1. | Self & Family background |  |
| --- | --- | --- |

| 2. | How he came on board NAVTTC Training/ or got trained through any other source |  |
| --- | --- | --- |

| 3. | Post-training activities |  |
| --- | --- | --- |

| 4. | Message to others (under training) |  |
| --- | --- | --- |

Note: Success story is a source of motivation for the trainees and can be presented in several ways/forms in a NAVTTC skill development course as under: -

1. To call a passed out successful trainee of the institute. He will narrate his success story to the 	trainees in his own words and meet trainees as well.

2. To see and listen to a recorded video/clip (5 to 7 minutes) showing a successful trainee Audio-	video recording that has to cover the above-mentioned points.* 
3. The teacher displays the picture of a successful trainee (name, trade, institute, organization, job, 	earning, etc) and narrates his/her story in the teacher’s own motivational words.

*The online success stories of renowned professional can also be obtained from Annex-II

Annexure - IV

WORKPLACE/INSTITUTE ETHICS GUIDE

Work ethic is a standard of conduct and values for job performance. The modern definition of what constitutes good work ethics often varies.  Different businesses have different expectations. Work ethic is a belief that hard work and diligence have a moral benefit and an inherent ability, virtue, or value to strengthen character and individual abilities. It is a set of values-centered on the importance of work and manifested by determination or desire to work hard.

The following ten work ethics are defined as essential for student success:

1.Attendance 
Be at work every day possible, plan your absences don’t abuse leave time. Be punctual every day.

2.Character 
Honesty is the single most important factor having a direct bearing on the final success of an individual, corporation, or product. Complete assigned tasks correctly and promptly. Look to improve your skills.

3.Teamwork: 
The ability to get along with others including those you don’t necessarily like. The ability to carry your weight and help others who are struggling. Recognize when to speak up with an idea and when to compromise by blend ideas together.

4.Appearance 
Dress for success set your best foot forward, personal hygiene, good manner, remember that the first impression of who you are can last a lifetime.

5.Attitude 
	Listen to suggestions and be positive, accept responsibility. If you make a mistake, admit it.

Values workplace safety rules and precautions for personal and co-worker safety. Avoids unnecessary risks. Willing to learn new processes, systems, and procedures in light of changing responsibilities.

6.Productivity 
Do the work correctly, quality and timelines are prized. Get along with fellows, cooperation is the key to productivity. Help out whenever asked, do extra without being asked. Take pride in

your work, do things the best your know-how. Eagerly focuses energy on accomplishing tasks, also referred to as demonstrating ownership. Takes pride in work.

7.Organizational Skills 
Make an effort to improve, learn ways to better yourself. Time management: utilize time and resources to get the most out of both. Take an appropriate approach to social interactions at work. Maintains focus on work responsibilities.

8.Communication 
Written communication, being able to correctly write reports and memos.

Verbal communications,being able to communicate one on one or to a group.

9.Cooperation 
Follow institute rules and regulations, learn and follow expectations. Get along with fellows, cooperation is the key to productivity. Able to welcome and adapt to changing work situations and the application of new or different skills.

10.Respect

Work hard, work to the best of your ability. Carry out orders, do what’s asked the first time.

Show respect, accept, and acknowledge an individual’s talents and knowledge. Respects diversity in the workplace, including showing due respect for different perspectives, opinions, and suggestions.