Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister Hunarmand Pakistan Program

"Skills for All"

Course Contents/ Lesson Plan

Course Title: Micro Hydro Power (MHP) Operator Duration: 3 Months

| Trainer Name |  |
| --- | --- |
| Course Title | MICRO HYDRO POWER PLANT OPERATOR |
| Objective of Course | The overall objective of this course is to facilitate transferable skills to the trainees necessary to succeed in an ever-changing work environment. The modules delivered through this program will provide basic knowledge and skills in mechanical, electrical and civil construction areas, required to accomplish a career in MHP operations. |
| Learning Outcome of the Course | After completion of this training the candidates will be able to. - Plant and personal safety - Perform plant maintenance - Operate plant - Assemble plant - Dissemble plant - Identify mechanical faults - Identify electrical faults - Wiring - Generator maintenance and repair - Load calculation - Power transmission and distribution - Earthing electrical equipment - Power supply to consumers - Line and Pole repair - Safe power distribution - Generator - Alternator - Insulation and resistance of the circuit - Plant control system - Diagnoses of electrical faults |

| Course Execution Plan | Total Duration of Course: 6 Months (26 Weeks) |
| --- | --- |
|  | Class Hours: 4 Hours per day |
|  | Theory: 20% Practical: 80% |
|  | Weekly Hours: 20 Hours Per week |
|  | Total Contact Hours: 520 Hours |
| Companies Offering Jobs in the respective trade | The following companies offers job in this trade; - Sarhad Rural Support Program (SRSP) - Micro Hydro Power Plants - Hydro Link - Mukhtayar Engineering (Mardan) - Chatral Engineering - Turbine manufacturer - Generator and transformer manufacturer |
| Job Opportunities | After completion of the course the candidates will have the following opportunities; - Power Plant operator - Power Plant Maintenance - Electrical generator repair - Civil structure maintenance |
| No of Students | 25 |
| Learning Place | Classroom / Lab / industry |
| Instructional Resources | NAVTTC approved learning material for level 2 & 3 https://www.energy-learning.com/index.php/78-what-s-new/141- a-view-on-hydropower-training https://www.youtube.com/watch?v=ipEMgHIBrNg https://www.youtube.com/watch?v=_uNoditN-yI https://www.youtube.com/watch?v=sXRkb_GJLMs https://www.youtube.com/watch?v=-Sd8O16O3zA https://www.youtube.com/watch?v=Pb9QejbmuPc |

| Scheduled Week | Module Title | Learning Units | Remarks |
| --- | --- | --- | --- |
| Week 1 | Plant Operation. - Demonstrate workplace safety practices. - Types of Turbines | - Hazard identification - Safety signs, barricades - and symbols - Isolation, lockout and Tag out - PPE - Material handling - First aid procedures - Evacuation procedures - Fire safety, firefighting procedures - Storage and stacking of tools and equipment Types of Turbines Impulse turbines - Pelton Wheel - Turgo - Cross-flow - Multi-jet Pelton Reaction turbines - Francis - Propeller - Kaplan | T&P |
| Week 2 | Plant Operation. Demonstrate daily plant and auxiliary equipment checks. - Drive System and auxiliary components. | - Turbine, generator/alternator, and controller - Visual inspection Wear of brush - Deformation or cracks - Mechanical malfunction sound -Alignment -vibration -temperature -oil leakage - Insulation resistance of the circuit Drive System and Auxiliary components. - Belts - Levers - Bearings - Shafts - Chains - Gearbox - Pulleys - Keys - Water reservoir level Other obstacles - Waterway facilities - Structural damage - Sand sedimentation in front of intake - Suspended trash at the screens - Sand sedimentation in the setting basin and fore bay - Water leakage or overflow - Wiring and electrical circuits Mechanical Speed Governors - Stabilize voltage output - Stabilize frequency | T, P |

| Week 3 | Wiring/Interpret electrical/ mechanical/ civil structure components specification. | Electrical Drawing and symbols Types of wiring Plant wiring layout - Distance to connection points - Estimation of materials Practice wiring (different types of circuits) Wiring testing Drawing and Symbols. - Sketches - Engineering drawings - Line types - Projection techniques - Dimensions - Sections - Symbols Use and calibration of tools and equipments. - Hand tools - Hand-held powered |  |
| --- | --- | --- | --- |
| Week 4 | Demonstrate power plant operation | Safety and regulatory requirements. - Hazard identification |  |

|  |  | Knowledge of Plant components and auxiliary equipments. - Turbine (including RPM - Max & Min for safe operation) - Generator/Alternator Control system - Control system - Operation procedure - Spillway gates - Valves |  |
| --- | --- | --- | --- |
| Week 5 | Power Plant Operation procedure | Turbine Generator/alternator, control system. - Operation Procedure - Monitoring Procedure - Common Electrical Faults Instruments and gauges Water intake - Adjustment procedure - Monitoring procedure - Common mechanical faults Water conveyance system - Monitoring procedure - Operation procedure Common mechanical faults |  |
| Week 6 | Demonstrated procedure for Preventive Maintenance | - Consequences of not performing preventive maintenance. - Remove debris - Flush out sand sedimentation - Remove sand and rocks - Reduce water intake - Remove/replace worn or faulty equipments. |  |
| Week 7 | Power Transmission and distribution | - Transmission and distribution lines - Line and pole damage Nearby tree branches - Transformer - construction - working principles |  |

|  |  | - step down transformer - step up transformer |  |
| --- | --- | --- | --- |
| Week 8 | Electrical Earthing | Describe purpose and function of load controller. Earthing components - earth plate or electrode - earth continuity wire - earth lead Site selection for earthing. Perform earthing. |  |
| Week 9 | Demonstrate safe assessment/ diagnostic procedure | Hazard Identification Visual inspection, testing Mechanical components. - Turbine - Drive system - Gearbox - Belt, pulley - Chain and sprocket - Mechanical load controller - Electrical Components - Generator/alternator - Control panel - Electronic load controller - Power transmission Transmission and distribution lines | Week 11 |
| Week 10 | Identification of Civil issues Implement fault identification procedure | Civil Structure components - Weir and intake - Channel - Settling basin - Spillways - Fore bay tank - Penstock Condition assessment / fault identification procedure - Mechanical components - Electrical components - Civil structure components |  |
| Week 11 | Electrical and Mechanical components and equipment | Electrical motor - Types of motor - Synchronous - Asynchronous - A.C motor |  |

|  |  | - D.C motor - Single phase motor - Three phase Electrical tools and meters Volt meter Ampere meter Watt meter Meter and gauges - Flow meter - Pressure meter - Rpm meter - Dead weight meter - Tube meter Mechanical hand tools Hand held power tools - Drill machine and types Grinding machine and types |  |
| --- | --- | --- | --- |
| Week 12 | Turbine assembling and dissembling | Turbine installation and leveling - Connecting turbine with generator - Dissemble and assemble of cross flow turbine - Dissemble and assemble of Pelton turbine Dismantle/Remove/ Repair / Fix/Amend/Build procedures - Mechanical components - Electrical components Civil structure components |  |

List of Machinery / Equipment

| Sr. No | Name of item as per curriculum | Quantity physically available at the training location |
| --- | --- | --- |
| 1 | MHP lab | Available |
| 2 | Welding shop | Available |

| 3 | Machine shop | Available |
| --- | --- | --- |
| 4 | Turbine plant or test reg. | Available |
| 5 | Electrical Power Lab | Available |
| 6 | Cross Flow turbine | Available |
| 7 | Pelton turbine | Available |

- Minimum Qualification of Teachers / Instructor

  - B.Sc. Eng. and 2 years of relevant work experience; or

  - B-Tech and 4 years of relevant work experience; or

  - Diploma Associate Engineer (DAE) and 5 years relevant work experience; or

  - Certificate issued by authentic authority/body as Electrician with a minimum of 8 years relevant work experience

- Supportive Notes

All notes and supportive material are available at the MHP lab