Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister’s Youth Skills Development Program

Course Contents / Lesson Plan

Course Title: Shuttering Carpenter for RCC Structures

Duration: 6 Months

Revised Edition

| Trainer Name |  |
| --- | --- |
| Course Title | Shuttering Carpenter for RCC Structures |
| Objectives and Expectations | Employable skills for youth who want to be Shuttering Carpenter for RCC Structures and like to hard working, it is an intensive course on Shuttering Carpenter for RCC Structures This is a special course designed to address unemployment in the youth. The course aims to achieve the above objective through hands on practical training delivery by a team of dedicated professionals having rich market/work experience. This course is therefore not just for developing a theoretical understanding/back ground of the trainees. Contrary to that it is primarily aimed at equipping the trainees to perform commercially in a market space in independent capacity or as a member of a team. The course therefore is designed to impart not only technical skills but also soft skills (i.e. interpersonal/communication skills; personal grooming of the trainees etc) as well as entrepreneurial skills (i.e. marketing skills; free lancing etc). The course also seeks to inculcate work ethics to foster better citizenship in general and improve the image of Pakistani work force in particular. Main Expectations: In short, the course under reference should be delivered by professional instructors in such a robust hand on manner that the trainees are comfortably able to employ their skills for earning money (through wage/self-employment) at its conclusion. This course thus clearly goes beyond the domain of the traditional training practices in vogue and underscores an expectation that a Key Features of Training& Special Modules market centric approach will be adopted as the main driving force while delivering it. The instructors should therefore be experienced enough to be able to identify the training needs for the possible market roles Available out there. Moreover, they should also know the strengths and weaknesses of each individual trainee to prepare them for such market Roles during/after the training. i. Specially designed practical tasks to be performed by the trainees have been included in the Annexure-I to this Document. The record of all tasks performed individually or in groups must be preserved by the management of the training Institute clearly labeling name, trade, session etc. so that these are ready to be physically inspected/verified through Monitoring visits from time to time. The weekly distribution of tasks have also been indicated in the weekly lesson plan Given in this document. ii. In order to materialize the main expectations, a special module on Job Search & Entrepreneurial Skills has been included in the later part of this course (5th & 6th month) through which, the trainees will be made aware of the Job search techniques in the local as well as international job markets (Gulf countries). Awareness around the visa process and immigration laws of the most favored labour destination countries also form a part of this module. Moreover, the trainees would also be encouraged to venture into self-employment and exposed to the main requirements in this regard. It is also expected that a sense of civic duties/roles and responsibilities will also be inculcated in the trainees to make them responsible citizens of the country. Training Tools/ Methodology iii. A module on Work Place Ethics has also been included to highlight the importance of good and positive behavior at work place in the line with the best practices elsewhere in the World. An outline of such qualities has been given in the Appendix to this document. Its importance should be conveyed in a format that is attractive and interesting for the trainees such as through PPT slides +short video Documentaries. Needless to say that if the training provider puts his heart and soul into these otherwise non-technical components, the image of Pakistani workforce would undergo a positive transformation in the local as well as International job markets. In order to maintain interest and motivation of the trainees throughout the course, modern techniques such as: • Motivational Lecture • Success Stories • Case Studies These techniques would be employed as an additional training tool wherever possible (these are explained in the subsequent section on Training Methodology). Lastly, evaluation of the competencies acquired by the trainees will be done objectively at various stages of the training and proper record of the same will be maintained. Suffice to say that for such evaluations, practical tasks would be designed by the training providers to gauge the problem-solving abilities of the trainees. (i) Motivational Lecture The proposed methodology for the training under reference employs motivation as a tool. Hence besides the purely technical content, a trainer is required to include elements of motivation in his/her lecture to inspire the trainees to utilize the training opportunity to the full and strive towards professional excellence. Motivational lectures may also include general topics such as the importance of moral values and civic role & responsibilities as a Pakistani. A Motivational Lecture should be delivered with enough zeal to produce a deep impact on the trainees. It may comprise of the following: Clear Purpose to convey message to trainees effectively. Personal Story to quote as an example to follow. Trainees Fit so that the situation is actionable by trainees and not represent a just idealism. Ending Points to persuade the trainees on changing themselves. A good Motivational Lecture should help drive creativity, curiosity and spark the desire needed for trainees to want to learn more. Impact of a successful motivational strategy is amongst others Commonly visible in increased class participation ratios. It increases the trainees’ willingness to be engaged on the practical tasks for longer time without boredom and loss of interest because they can clearly see in their mind's eye where their hard work would take them in short (1-3 years); medium (3 -10 years) and long term (more than 10 years). As this tool is expected that the training providers would make arrangements for regular well planned Motivational Lecture(For further detail please see Page No: 4)s as part of a coordinated strategy interspersed throughout the training period as suggested in the weekly Lesson plans in this document. (ii) Success Stories Another effective way of motivating the trainees is by means of Success Stories. Its inclusion in the weekly lesson plan at regular Intervals have been recommended till the end of the training. A success story may be disseminated orally, through a presentation or by means of a video/documentary of someone that has risen to fortune, acclaim, or brilliant achievement. A success story shows how a person achieved his goal through hard work, dedication and devotion. An inspiring success story contains compelling and significant facts Articulated clearly and easily comprehendible words. Moreover, it is helpful if it is assumed that the reader/listener knows nothing of what is Being revealed. Optimum impact is created when the story is revealed in the form of: - Directly in person (At least 2-3 cases must be arranged by the training institute) Through an audio / videotaped message (2-3 high quality videos must be arranged by the training institute) It is expected that the training provider would collect relevant high quality success stories for inclusion in the training as suggested in the Weekly lesson plan given in this document. Suggestive structure and sequence of a sample success story and its Various shapes can be seen at annexure III. (iii) Case Studies Where a situation allows, case studies can also be presented to the trainees to widen their understanding of the real life specific Problem/situation and to explore the solutions. In simple terms, the case study method of teaching uses a real life case example/a typical case to demonstrate a phenomenon in action and explain theoretical as well as practical aspects of the knowledge related to the same. It is an effective way to help the trainees comprehend in depth both the theoretical and practical aspects of the Complex phenomenon in depth with ease. Case teaching can also stimulate the trainees to participate in discussions and thereby boost their confidence. It also makes class room atmosphere interesting thus Maintaining the trainee interest in training till the end of the course. Depending on suitability to the trade, the weekly lesson plan in this Document may suggest case studies to be presented to the trainees. The trainer may adopt a power point presentation or video format for such case studies whichever is deemed suitable but it’s important that Only those cases are selected that are relevant and of a learning value. The Trainees should be required and supervised to carefully analyze The cases. For the purpose they must be encouraged to inquire and collect specific information / data, actively participate in the discussions and Intended solutions of the problem / situation. Case studies can be implemented in the following ways: - - A good quality trade specific documentary (At least 2-3 Documentaries must be arranged by the training institute). - Health & Safety case studies (2 cases regarding safety and industrial accidents must be arranged by the training institute) - Field visits (At least one visit to a trade specific major industry/ site must be arranged by the training institute) |
| Entry-level of trainees | Since intake level is Middle / Matric so expectations of the trainees are: - · To have knowledge of Shuttering Carpenter for RCC Structures concept · To have studied Shuttering Carpenter for RCC Structures tools with its uses · To have concept of safety during workplace |
| Learning Outcomes of the course | After completion of this course, the trainees must be able to: 1. Technical Knowledge - Understand the properties and uses of masonry materials, including bricks, stones, concrete blocks, cement, sand, and aggregates. - Explain the types of mortar and their appropriate applications in construction. Recognize different types of masonry structures 2. Practical Skills - Prepare, mix, and apply mortar in the correct proportions for different tasks, Lay bricks, stones, and blocks in straight lines, corners, and other configurations with accuracy. - Use tools and equipment like trowels, levels, hammers, and saws safely and effectively. - Perform shuttering, scaffolding and finishing techniques to achieve a smooth and durable surface. 3. Safety and Workplace Practices - Identify and mitigate common hazards associated with masonry work. - Use personal protective equipment (PPE) appropriately during all phases of construction. Follow site cleanliness and waste management practices. 4. Communication and Collaboration - Communicate effectively with supervisors, colleagues, and other tradespeople. Follow verbal and written instructions accurately for construction tasks. 7. Industry Standards and Sustainability - Comply with building codes, quality standards, and construction regulations. Apply sustainable practices in masonry, such as minimizing waste and using eco-friendly materials. - Understand advancements in masonry technologies and tools. |
| Course Execution Plan | The total duration of the course: 6 months (24 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 480 hours |
| Companies offering jobs in the respective trade | Besides overseas employment, the following Pakistani companies/firms/Organizations are also offering jobs as well, with details as under: 1. Construction Industry 2. Hospitality 3. Factories. 4. Warehouses. 5. Public Sector and Government, airports. 6. Residential homes, Commercial buildings like offices, malls. |
| Job Opportunities | The field of Shuttering Carpentry for RCC Structures offers a variety of job opportunities across different sectors. Professionals can work as Shuttering Carpenters, responsible for preparing and assembling shuttering systems for RCC structures in residential, commercial, or industrial construction. Formwork Installers focus on setting up formwork for elements like beams, columns, and slabs. Shuttering Supervisors manage teams of carpenters, ensuring the quality and safety of the formwork installation. Formwork Technicians specialize in maintaining and repairing formwork tools and equipment. Project Managers oversee large construction projects, ensuring that shuttering tasks are completed on time and within budget. Construction Foremen lead teams on-site, ensuring the correct installation of formwork. Opportunities are available in construction, infrastructure development, civil engineering, and industrial maintenance, offering a rewarding career path combining craftsmanship with technical skills |
| No of Students | 25 |
| Learning Place | Classroom / Lab |

MODULES

| Scheduled Weeks | Module Title | Days | Learning Units | Home Assignment |
| --- | --- | --- | --- | --- |
| Week 1 | Maintain safe environment at construction site | Day 1 | Discuss safety signs and symbols. Identify and interpret common safety signs. | - Task 1 Details may be seen at Annexure-I |
|  |  |  | common hazards in the construction environment. Able to assess risk levels associated with hazards. |  |
|  |  |  | Recognizing hazards in real-life scenarios |  |
|  |  |  | Work collaboratively to recognize hazards and safety signs. |  |
|  |  | Day 2 | how to erect proper safety barriers and signage. |  |
|  |  |  | Recognize the common causes of slip, trip, and fall hazards. The preventive measures to minimize risks. |  |
|  |  |  | Gain practical experience in setting up safety measures. Identify fall hazards and take action. |  |
|  |  |  | Develop problem-solving skills for managing hazards. |  |
|  |  | Day 3 | Different types of fall protection equipment. & How to select and use fall protection gear. |  |
|  |  |  | Live demonstration of fall protection in use & when and how to apply fall protection methods. |  |
|  |  |  | Gain hands-on experience with fall protection tools. Assess when fall protection is required. |  |
|  |  |  | Practice applying fall protection measures in team settings & importance of consistency in safety. |  |
|  |  | Day 4 | Understand the importance of workplace cleanliness for safety and identify potential housekeeping hazards. |  |
|  |  |  | Practices for keeping the workplace clean and free of hazards. |  |
|  |  |  | Work in teams to improve cleanliness and order at a construction site. |  |
|  |  |  | Reinforce the role of housekeeping in overall safety and risk management. |  |
|  |  | Day 5 | importance of chemical labeling and storage. |  |
|  |  |  | See a demonstration of safe chemical storage and labeling procedures. |  |
|  |  |  | practical experience in storing chemicals safely |  |
|  |  |  | Reinforce chemical safety practices through review |  |
| Week 2 | Perform firefighting | Day 1 | Overview of fire safety at construction sites | - Task 2 Details may be seen at Annexure-I |
|  |  |  | Describe General rules for fire prevention. |  |
|  |  |  | Identifying common sources of fire at construction sites. How to spot fire hazards early. |  |
|  |  |  | Discuss firefighting techniques and tools. Types of fire extinguishers. |  |
|  |  | Day 2 | Describe fire risks and sources in construction environments. |  |
|  |  |  | Importance of early fire detection. Step-by-step process for raising alarms in case of fire. |  |
|  |  |  | Describe Types of fire extinguishers and their correct uses. |  |
|  |  |  | Training on inspecting fire extinguishers, ensuring they are in working condition. |  |
|  |  | Day 3 | Training on the PASS technique (Pull, Aim, Squeeze, Sweep) for using fire extinguishers. |  |
|  |  |  | Hands-on practice of using fire extinguishers and applying the PASS technique. |  |
|  |  |  | Discuss the role of wind direction in firefighting and safety precautions. |  |
|  |  |  | Identifying emergency exits on site and understanding the evacuation plan. |  |
|  |  | Day 4 | Revisiting key fire safety points covered so far, with a focus on practical application. |  |
|  |  |  | Step-by-step guide for effective site evacuation in case of fire. |  |
|  |  |  | Conduct safety assessment of construction sites. Identifying potential fire hazards. |  |
|  |  |  | Simulated fire drills to practice skills like raising alarms, using extinguishers, and evacuating. |  |
|  |  | Day 5 | Describe all key concepts and safety procedures learned during the week. |  |
|  |  |  | Hands-on testing of skills learned – from identifying fire sources to using extinguishers. |  |
|  |  |  | Q&A and Clarification |  |
| Week 3 | Select & wear the PPEs | Day 1 | Introduction to Safety at Construction Site (Overview of safety protocols) | - Task 3 Details may be seen at Annexure-I |
|  |  |  | Understanding Risk Identification or Identifying risks in construction |  |
|  |  |  | Describe types of PPE and their functions |  |
|  |  | Day 2 | Discus Clothing Requirements for Work |  |
|  |  |  | Selecting Appropriate PPEs for the Job |  |
|  |  |  | Practical demonstration of PPE use |  |
|  |  | Day 3 | Revisiting Risk and PPE Selection |  |
|  |  |  | Hands-On PPE Training Practice with various PPEs |  |
|  |  |  | Mock Performance for Safety Tasks |  |
|  |  | Day 4 | Describe first aid treatment |  |
|  |  |  | Discuss essential components of a first aid kit. |  |
|  |  |  | Detailed explanation of COVID-19 protocols for construction sites. |  |
|  |  |  | Discus Importance of checking medicine expiry dates in the first aid kit and ensuring the kit is fully stocked |  |
|  |  | Day 5 | Overview of common injuries on construction sites and their treatment. |  |
|  |  |  | Hands-on practice of performing basic first aid on minor injuries. |  |
|  |  |  | Improvement of first aid treatments through mock scenarios. |  |
|  |  |  | Final review of first aid techniques and evaluation of understanding and skills. |  |
| WEEK 5 | Perform emergency response activity | Day 1 | Describe importance of emergency response protocols. | - Task 5 Details may be seen at Annexure-I |
|  |  |  | Categorize different types of emergencies. |  |
|  |  |  | Discus how to raise alarms and alert rescue teams effectively. |  |
|  |  |  | Describe the use of fire extinguishers in emergencies. |  |
|  |  | Day 2 | Master evacuation procedures in emergency situations. |  |
|  |  |  | Organize evacuation and conduct headcounts. |  |
|  |  |  | Describe the safe way to rescue trapped or injured individuals. |  |
|  |  |  | Discus the basics of first aid to handle minor injuries on-site. |  |
|  |  | Day 3 | Discus the role-play activities to reinforce emergency procedures. |  |
|  |  |  | Practice a full-scale emergency drill with the team. |  |
|  |  |  | Discus strategies for staying calm and managing stress during emergencies. |  |
|  |  |  | Describe how to assess the site and minimize potential hazards. |  |
|  |  | Day 4 | Describe the legal obligations related to safety on construction sites. |  |
|  |  |  | Describe how to assess risks and apply effective safety measures. |  |
|  |  |  | Describe how to document and report incidents in a structured manner. |  |
|  |  |  | Test response times and coordination in simulated emergencies. |  |
|  |  | Day 5 | Discus various safety equipment and tools used in construction sites. Demonstrate knowledge and proficiency in emergency response activities. |  |
| Week 6 | Perform safe disposal of wastes | Day 1 | Discuss importance of waste management for safety and environmental protection. | - Task 6 Details may be seen at Annexure-I |
|  |  |  | Learn to identify various types of waste bins used for different types of waste (general, recyclable, hazardous, etc.). |  |
|  |  |  | Explain the principles and practices of segregating different types of waste at the site |  |
|  |  |  | Describe the nature of hazardous waste and the role of Material Safety Data Sheets (MSDS). |  |
|  |  | Day 2 | Learn to safely handle hazardous waste by following MSDS guidelines. |  |
|  |  |  | Discus step-by-step safety procedures for proper disposal of different types of waste. |  |
|  |  |  | Describe segregating and handling waste using appropriate bins and safety procedures. |  |
|  |  |  | Discuss real-life scenarios of improper waste disposal and the consequences. |  |
|  |  | Day 3 | Review key concepts and methods of segregating waste and safely disposing of it. |  |
|  |  |  | Describe relationship between proper waste disposal and maintaining site safety and cleanliness. |  |
|  |  |  | Discus the environmental impact of improper waste disposal practices and the importance of correct handling. |  |
|  |  |  | Describe the proper personal protective equipment (PPE) needed for handling hazardous waste. |  |
|  |  | Day 4 | Get hands-on practice with using waste disposal containers appropriately for different types of waste. |  |
|  |  |  | Describe the proper labeling techniques for hazardous waste to ensure safe handling and disposal. |  |
|  |  |  | Describe the procedure for handling and disposing of non-hazardous and recyclable waste. |  |
|  |  |  | Mock exercise for segregating and disposing of waste as per the standards. |  |
|  |  | Day 5 | Conduct a site inspection to identify potential issues related to waste management and disposal. |  |
|  |  |  | Review all concepts learned and gather feedback for improvement. |  |
| Week 7 | Obtain and convey Workplace information | Day 1 | Describe the importance of teamwork and effective communication in the workplace. | - Task 7 Details may be seen at Annexure-I |
|  |  |  | Identify and gather relevant information for workplace tasks. |  |
|  |  |  | Discus the various mediums of communication and when to use them. |  |
|  |  |  | Explain the role of body language, tone, and gestures in communication. |  |
|  |  | Day 2 | Brief how to identify clear and effective lines of communication within a team. |  |
|  |  |  | Practice conveying information clearly through appropriate communication channels. |  |
|  |  |  | Discus the workplace procedures for proper information storage and organization. |  |
|  |  |  | Describe how to inform co-workers and supervisors about any deviations from expected outcomes or procedures. |  |
|  |  | Day 3 | Practice clear and effective personal interaction within teams. |  |
|  |  |  | Describe active listening skills and how to provide constructive feedback in team settings. |  |
|  |  |  | Describe Role-play scenarios where students practice conveying information to team members. |  |
|  |  |  | Describe the methods for resolving conflicts and maintaining positive relationships in a team environment. |  |
|  |  | Day 4 | Discuss how to handle and process information according to workplace protocols. |  |
|  |  |  | Engage in exercises that emphasize the importance of non-verbal communication in teams. |  |
|  |  |  | Engage in an exercise using verbal, written, and digital communication to convey information in teams. |  |
|  |  |  | Simulate a team meeting where participants convey information, address issues, and give feedback. |  |
|  |  | Day 5 | Describe the roles and responsibilities of team members and how to communicate them clearly. |  |
|  |  |  | Review the flow of information within a team and how to handle deviations effectively. |  |
| Week 8 | Participate in workplace meetings and discussions | Day 1 | Discuss the importance of meetings in the workplace and the role of effective communication in discussions. | - Task 8 Details may be seen at Annexure-I - Task 9 Details may be seen at Annexure-I |
|  |  |  | Describe techniques for clearly and confidently expressing your own opinions in meetings. |  |
|  |  |  | Briefly explain how to listen to others’ viewpoints without interruption and how to respect differing opinions. |  |
|  |  |  | Discuss workplace communication protocols and the importance of being courteous during discussions. |  |
|  |  | Day 2 | Practice putting simple, relevant questions regarding workplace procedures or matters concerning working conditions. |  |
|  |  |  | Describe the role of questions in encouraging discussion and clarifying workplace matters. |  |
|  |  |  | Briefly explain the role of body language and non-verbal cues in supporting verbal communication. |  |
|  |  |  | Participate in a role-play to practice expressing opinions, listening actively, and following communication protocols. |  |
|  |  | Day 3 | Discuss how workplace meetings can be used to solve problems, clarify information, and improve team collaboration. |  |
|  |  |  | Describe methods to address disagreements and maintain a productive environment in workplace discussions. |  |
|  |  |  | Briefly explain how to apply communication protocols and questioning techniques in real-life workplace situations. |  |
|  |  |  | Participate in a final role-play or group discussion to assess participation and communication skills in a workplace meeting. |  |
|  |  | Day 4 | Discuss the concept of teamwork and identify the significance of understanding individual roles within a team. |  |
|  |  |  | Briefly explain how to identify and assess your own role and responsibilities within a team environment. |  |
|  |  |  | Describe how to recognize and respect the roles and responsibilities of others within the team. |  |
|  |  |  | Explain the importance of understanding and reporting relationships both within the team and with external stakeholders. |  |
|  |  | Day 5 | Discuss how communication plays a key role in maintaining effective relationships within and outside the team. |  |
|  |  |  | Describe how to effectively share reports with team members and ensure the information is clear and actionable. |  |
|  |  |  | Engage in role-play to practice reporting relationships and sharing information within a team. |  |
|  |  |  | Participate in a team activity to review and clarify roles, responsibilities, and communication within the group. |  |
| Week 9 | Support the co- workers | Day 1 | Describe the role and responsibilities of a team member in the workplace. | - Task 10 Details may be seen at Annexure-I |
|  |  |  | Discuss how to efficiently hand over materials and tools to the next team. |  |
|  |  |  | Explain the importance of effective communication and collaboration in a team. |  |
|  |  |  | Describe how to address co-worker issues in a timely and effective manner. |  |
|  |  | Day 2 | Discuss the impact of individual contributions on team performance |  |
|  |  |  | Explain how to resolve conflicts and maintain a cooperative team environment |  |
|  |  |  | Discuss the process of ensuring timely material and tool handover to avoid delays. |  |
|  |  | Day 3 | Discuss how to build trust and collaboration within a team |  |
|  |  |  | Describe how to identify and solve problems efficiently within the team. |  |
|  |  |  | Explain the process for providing clear and concise updates to a supervisor. |  |
|  |  | Day 4 | Discuss strategies for smooth and organized material and tool handovers. |  |
|  |  |  | Describe the qualities of a responsible team member. |  |
|  |  |  | Discuss techniques for giving constructive feedback to co-workers |  |
|  |  |  | Explain how to report team progress or issues clearly and professionally. |  |
|  |  | Day 5 | Discuss how to coordinate materials and tools with the team efficiently. |  |
|  |  |  | Explain how to balance individual tasks while contributing to team objectives. |  |
|  |  |  | Take a Quiz |  |
| Week 10 | Select appropriate construction Material | Day 1 | Describe the importance of selecting appropriate materials based on site conditions and project design. | - Task 10 Details may be seen at Annexure-I |
|  |  |  | Discuss how to identify materials suitable for different site conditions, considering factors like climate, soil type. |  |
|  |  |  | how to assess the design specifications and ensure material selection aligns with the project needs and site conditions. |  |
|  |  |  | how to compare various materials and select the most appropriate one considering factors such as cost, durability, and availability |  |
|  |  | Day 2 | Describe the key factors to consider when selecting materials, such as sustainability, cost-effectiveness, and environmental impact |  |
|  |  |  | Explain the process of evaluating materials based on their properties |  |
|  |  |  | Discuss the role of industry standards and regulations in material selection to ensure safety, quality, and compliance. |  |
|  |  |  | Describe a systematic approach to selecting the best materials |  |
|  |  | Day 3 | Describe the types of construction waste commonly encountered on a site (e.g., wood, metal, concrete). |  |
|  |  |  | Discuss how to identify different waste types based on materials used and project specifications. |  |
|  |  |  | Explain waste reduction strategies, such as material optimization and reusing excess materials during the construction process. |  |
|  |  |  | Describe how to categorize waste materials for reuse, including sorting wood, metal, and plastics for recycling or repurposing. |  |
|  |  | Day 4 | Explain the disposal process for unusable waste, ensuring it complies with local regulations and environmental standards |  |
|  |  |  | Discuss how to properly store reusable materials in designated areas to prevent contamination or degradation. |  |
|  |  |  | Describe the procedures for transporting waste materials to designated disposal or recycling areas on the construction site |  |
|  |  |  | Explain the role of effective waste management in promoting sustainability and reducing environmental impact during construction. |  |
|  |  | Day 5 | Describe the benefits of effective waste management, including cost savings, environmental protection, and improved project efficiency. |  |
|  |  |  | Discuss methods for identifying waste and applying reduction techniques to minimize waste generation during the construction process. |  |
|  |  |  | Explain how to categorize reusable materials and dispose of unusable waste in a safe and environmentally friendly manner. |  |
|  |  |  | Describe best practices for storing reusable materials and transporting waste to designated disposal areas on-site |  |
| Week 11 | Interpret layout drawing | Day 1 | Describe the role of layout drawings in guiding shuttering preparation. | - Task 11 Details may be seen at Annexure-I |
|  |  |  | Discuss how to identify structural components on layout drawings. |  |
|  |  |  | Explain how to ensure alignment between architectural and construction drawings. |  |
|  |  |  | Describe how to cross-check layout and structural drawings for accuracy. |  |
|  |  | Day 2 | Explain the purpose of layout drawings in construction and shuttering work |  |
|  |  |  | Discuss how to list and verify dimensions for structural components |  |
|  |  |  | Describe how to extract and verify dimensions from layout drawings |  |
|  |  |  | Explain how to verify dimensions for accurate material preparation |  |
|  |  | Day 3 | Describe the process of acquiring shuttering material based on the layout drawing and site requirements. |  |
|  |  |  | Discuss how to identify various structural components (e.g., beams, columns) on a layout drawing and their relevance to the project. |  |
|  |  |  | Explain how to tally architectural and construction drawings to ensure they align with each other and provide accurate project information. |  |
|  |  |  | Describe how to cross-check the layout drawings with the structural requirements, ensuring proper alignment and accuracy. |  |
|  |  | Day 4 | Describe the process of acquiring shuttering material based on the layout drawing and site requirements. |  |
|  |  |  | Discuss how to take accurate site measurements, referencing the layout drawing to ensure correctness. |  |
|  |  |  | Explain how to detect discrepancies in measurements and the importance of correcting them for material calculation accuracy. |  |
|  |  |  | Describe how discrepancies affect material calculations and how to adjust for them to ensure proper material quantities. |  |
|  |  | Day 5 | Describe how to ensure that the shuttering materials meet quality and quantity requirements before they are used in construction. |  |
|  |  |  | Discuss how accurate measurements and proper record-keeping contribute to effective material management and project progress |  |
|  |  |  | Explain how to recalculate material quantities when discrepancies are identified and adjust the acquired material list accordingly |  |
|  |  |  | Describe the full process of acquiring shuttering materials, ensuring all measurements are accurate and records are properly maintained. |  |
| Week 12 | Perform cutting and jointing of wooden members | Day 1 | Describe the importance of selecting proper material for shuttering based on specifications. | - Task 12 Details may be seen at Annexure-I |
|  |  |  | Discuss how to choose suitable materials for shuttering based on strength and project requirements. |  |
|  |  |  | Explain how to verify the material’s quality and suitability before beginning cutting and jointing. |  |
|  |  |  | Describe how material selection impacts the overall construction process and shuttering performance. |  |
|  |  | Day 2 | Describe how to perform precise sawing of wooden members, including using the correct tools |  |
|  |  |  | Explain the different sawing techniques and how to measure accurately before cutting |  |
|  |  |  | Discuss safety measures and precautions when performing sawing operations on wooden members. |  |
|  |  |  | Describe how to ensure consistency and accuracy when sawing wooden members to match project specifications |  |
|  |  | Day 3 | Describe how to prepare a shuttering component by securely joining wooden members using appropriate techniques. |  |
|  |  |  | Discuss the types of joints used in shuttering and the methods for joining wooden members, such as nails, screws, and adhesives |  |
|  |  |  | Explain how to ensure strong and durable joints that will meet the structural requirements of the shuttering |  |
|  |  |  | Describe how to inspect the quality and strength of the joints after preparation |  |
|  |  | Day 4 | Explain the importance of precision and accuracy in joining wooden members for proper shuttering |  |
|  |  |  | Describe how to check and adjust the alignment of wooden members to ensure proper fitting and stability of the shuttering components |  |
|  |  |  | Discuss the process of joining wooden members after sawing to form a complete shuttering component |  |
|  |  |  | Explain how the proper selection of materials and careful preparation of shuttering components contribute to the overall project success. |  |
|  |  | Day 5 | Describe the final checks and quality control measures to ensure the accuracy and strength of the shuttering components |  |
|  |  |  | Explain how to verify the correctness of cuts and joints before final assembly. |  |
|  |  |  | Discuss the role of proper jointing in the strength and effectiveness of the shuttering component |  |
|  |  |  | Describe how the final assembly of shuttering components is completed and the importance of ensuring all parts are securely joined. |  |
| Week 13 | Inspect metallic components | Day 1 | Describe the importance of inspecting metallic components for quality control. | - Task 13 Details may be seen at Annexure-I |
|  |  |  | Explain the process of safely disassembling metallic moulds. |  |
|  |  |  | Discuss tools and techniques for disassembling metallic moulds effectively. |  |
|  |  |  | Describe how to organize and document disassembled parts for reassembly. |  |
|  |  | Day 2 | Describe steps to evaluate metallic components during inspection. |  |
|  |  |  | Discuss how to identify uneven surfaces and damaged joints in metallic components. |  |
|  |  |  | Explain methods to detect damage or defects in metallic components. |  |
|  |  |  | Identify causes of damage and uneven surfaces in metallic components. |  |
|  |  | Day 3 | Describe how to assess the severity of issues in metallic components. |  |
|  |  |  | Explain how to plan for rectification of damaged components. |  |
|  |  |  | Discuss various rectification methods (e.g., welding, grinding). |  |
|  |  |  | Explain how to coordinate rectification tasks effectively with team members. |  |
|  |  | Day 4 | Describe how inspection ensures the longevity of metallic components. |  |
|  |  |  | Discuss how disassembly helps identify problems like damaged joints or uneven surfaces |  |
|  |  |  | Explain how to prioritize rectification tasks based on severity. |  |
|  |  |  | Describe how to manage the rectification process to meet specifications. |  |
|  |  | Day 5 | Describe the impact of proper inspection on safety and quality. Explain how to detect and assess the impact of joint damage or uneven surfaces. Describe how to finalize the inspection process, ensuring all issues are addressed. Discuss how to organize and track rectification progress. |  |
| Week 14 | Erect formwork for square / rectangular column | Day 1 | Describe shutter preparation for formwork. | - Task 14 Details may be seen at Annexure-I |
|  |  |  | Explain fixing plywood/metal sheets for shuttering. |  |
|  |  |  | Describe ensuring a smooth surface for shutter erection. |  |
|  |  |  | Explain applying oil on metallic sheet surfaces. |  |
|  |  | Day 2 | Describe assembling shutters along column starter. |  |
|  |  |  | Explain aligning shutters with the column starter. |  |
|  |  |  | Describe using a plump bob to ensure verticality |  |
|  |  |  | Explain fixing horizontal and vertical supports for shutter strength. |  |
|  |  | Day 3 | Describe fixing inclined supports to prevent sway. |  |
|  |  |  | Explain the role of inclined supports in maintaining verticality. |  |
|  |  |  | Describe fixing braces to stabilize shutters. |  |
|  |  |  | Explain when and why braces are needed for support. |  |
|  |  | Day 4 | Describe ensuring correct shutter alignment and verticality. |  |
|  |  |  | Explain using tools to check shutter alignment and verticality. |  |
|  |  |  | Describe adjusting misalignments in shuttering. |  |
|  |  |  | Explain rectifying alignment and verticality issues. |  |
|  |  | Day 5 | Describe impact of correct shutter alignment on quality. |  |
|  |  |  | Explain correcting verticality and alignment issues. |  |
|  |  |  | Describe the final inspection process for formwork quality. |  |
|  |  |  | Explain checking vertical and horizontal supports for stability |  |
| Week 15 | Erect formwork for circular column | Day 1 | Describe formwork and its role. | - Task 15 Details may be seen at Annexure-I |
|  |  |  | Discuss material selection for formwork. |  |
|  |  |  | Explain joining wooden members and plywood. |  |
|  |  |  | Describe tools for checking verticality. |  |
|  |  | Day 2 | Demonstrate joining wooden members and plywood. |  |
|  |  |  | Explain erecting semi-circular panels. |  |
|  |  |  | Discuss using iron clamps for formwork. |  |
|  |  |  | Explain using inclined supports. |  |
|  |  | Day 3 | Demonstrate tying panels with clamps. |  |
|  |  |  | Describe verticality check techniques. |  |
|  |  |  | Demonstrate verticality checks. |  |
|  |  |  | Explain correcting misalignments. |  |
|  |  | Day 4 | Discuss formwork materials, tools, and techniques. |  |
|  |  |  | Explain safety procedures. |  |
|  |  |  | Collaboratively erect formwork. |  |
|  |  |  | Check alignment and rectify issues. |  |
|  |  | Day 5 | Explain the formwork erection process. |  |
|  |  |  | Discuss troubleshooting techniques. |  |
|  |  |  | Demonstrate erecting formwork. |  |
|  |  |  | Assess and provide feedback. |  |
| Week 16 | Erect formwork for retaining / shear wall | Day 1 | Describe formwork and its role in retaining/shear wall construction. | - Task 16 Details may be seen at Annexure-I |
|  |  |  | Discuss materials and tools for constructing shuttering panels. |  |
|  |  |  | Explain how to join wooden members and fix sheets on the frame. |  |
|  |  |  | Describe the process of applying oil to metallic sheets. |  |
|  |  | Day 2 | Demonstrate the process of preparing the shuttering frame. |  |
|  |  |  | Demonstrate fixing sheets on the shuttering frame. |  |
|  |  |  | Explain the process of setting up the shuttering panel along the wall starter. |  |
|  |  |  | Describe how to fix horizontal and vertical supports for alignment. |  |
|  |  | Day 3 | Demonstrate how to attach tie rods between panels. |  |
|  |  |  | Describe using tools to check the verticality of the shuttering panel. |  |
|  |  |  | Explain how to fix inclined supports behind the shuttering panel. |  |
|  |  |  | Discuss how to fix braces between supports to maintain stability. |  |
|  |  | Day 4 | Describe tools and methods for checking alignment and verticality. |  |
|  |  |  | Explain how to rectify alignment and verticality issues. |  |
|  |  |  | Apply practical skills in fixing shuttering panels and supports. |  |
|  |  |  | Review the entire process of erecting formwork for shear walls. |  |
|  |  | Day 5 | Discuss common issues in shuttering formwork and troubleshooting methods. |  |
|  |  |  | Demonstrate assembling formwork for shear walls with guidance. |  |
|  |  |  | Apply all skills in erecting formwork for a retaining wall. |  |
|  |  |  | Assess student performance and provide feedback. |  |
| Week 17 | Erect steel shuttering | Day 1 | Describe steel shuttering and its role | - Task 17 Details may be seen at Annexure-I |
|  |  |  | Discuss materials and tools for shuttering. |  |
|  |  |  | How to apply oil to shuttering panels. |  |
|  |  |  | Ensure smooth surface for elevated panels. |  |
|  |  | Day 2 | Apply sealant to panel joints. |  |
|  |  |  | Fasten panels with nuts and bolts. |  |
|  |  |  | Coordinate scaffolding arrangement. |  |
|  |  |  | Set up scaffolding for shuttering. |  |
|  |  | Day 3 | Erect shuttering panels at column starter. |  |
|  |  |  | Check alignment and verticality of panels. |  |
|  |  |  | Verify alignment and verticality. |  |
|  |  |  | Correct alignment and verticality |  |
|  |  | Day 4 | Review the steps involved in erecting steel shuttering panels. |  |
|  |  |  | Explain the safety measures to follow while erecting steel shuttering. |  |
|  |  |  | Practice erecting steel shuttering panels under supervision. |  |
|  |  |  | Discuss common issues and troubleshooting methods in steel shuttering erection. |  |
|  |  | Day 5 | Demonstrate the entire process of erecting steel shuttering panels. |  |
|  |  |  | Collaborative practice session for erecting steel shuttering. |  |
|  |  |  | Apply skills in erecting panels with feedback from the instructor. |  |
|  |  |  | Assess performance and provide feedback on the erection of steel shuttering panels. |  |
| Week 18 | Erect formwork for foundation | Day 1 | Describe the role of steel shuttering in construction. | - Task 18 Details may be seen at Annexure-I |
|  |  |  | Discuss materials and tools for erecting steel shuttering. |  |
|  |  |  | How to Apply oil to steel shuttering panels. |  |
|  |  |  | Ensure a smooth surface before panel erection. |  |
|  |  | Day 2 | How to apply sealant to steel panel joints. |  |
|  |  |  | Fasten panels using nuts and bolts. |  |
|  |  |  | Assess performance and provide feedback. support for shuttering panels. |  |
|  |  |  | Set up scaffolding to support shuttering panels. |  |
|  |  | Day 3 | Erect shuttering panels along the column starter. |  |
|  |  |  | Check alignment and verticality using tools. |  |
|  |  |  | Verify and adjust panel alignment. |  |
|  |  |  | Correct alignment and verticality of panels. |  |
|  |  | Day 4 | Review the steps in erecting steel shuttering panels. |  |
|  |  |  | Discuss safety practices in shuttering erection. |  |
|  |  |  | Practice erecting steel shuttering panels. |  |
|  |  |  | Troubleshoot issues in steel shuttering erection. |  |
|  |  | Day 5 | Demonstrate the full steel shuttering erection process. |  |
|  |  |  | Collaborate with peers to erect steel shuttering. |  |
|  |  |  | Perform hands-on practice and receive feedback. |  |
|  |  |  | Assess student performance and provide feedback. |  |
| Week 19 | Erect formwork for lintel / beam | Day 1 | Describe the purpose and process of lintel/beam formwork. | - Task 19 Details may be seen at Annexure-I |
|  |  |  | Discuss materials and tools for lintel/beam formwork. |  |
|  |  |  | Explain how to fix sheets inside shutters for formwork. |  |
|  |  |  | Describe how to ensure smooth, hard surfaces before panel erection. |  |
|  |  | Day 2 | Explain the process of oil application on metallic sheets. |  |
|  |  |  | Describe how to uphold the bottom shutter with vertical supports. |  |
|  |  |  | Explain how to fix shutters on both sides of lintel/beam. |  |
|  |  |  | Discuss how to check and align shutters for lintel/beam. |  |
|  |  | Day 3 | Explain the process of fixing braces to keep shutters stable. |  |
|  |  |  | Practice fixing shutters and braces for lintel/beam formwork. |  |
|  |  |  | Demonstrate aligning and stabilizing shutters using tools. |  |
|  |  |  | Explain how to rectify misalignment in shuttering |  |
|  |  | Day 4 | Review key steps in erecting lintel/beam formwork. |  |
|  |  |  | Discuss safety measures during formwork installation. |  |
|  |  |  | Discuss troubleshooting and adjusting formwork during installation. |  |
|  |  |  | Demonstrate aligning and stabilizing shutters using tools. |  |
|  |  | Day 5 | Review key steps in erecting lintel/beam formwork. |  |
|  |  |  | Discuss safety measures during formwork installation. |  |
|  |  |  | Discuss troubleshooting and adjusting formwork during installation. |  |
| Week 20 | Erect formwork for slab (Ceiling) | Day 1 | Describe the process and purpose of slab (ceiling) formwork. | - Task 20 Details may be seen at Annexure-I |
|  |  |  | Explain how to inspect the bottom level of the slab according to the design. |  |
|  |  |  | Discuss how to ensure a smooth surface before supporting members are erected. |  |
|  |  |  | Describe how to prepare horizontal supports for the slab formwork. |  |
|  |  | Day 2 | Explain how to uphold horizontal supports with vertical supports. |  |
|  |  |  | How to fix shuttering panels/planks on horizontal supports. |  |
|  |  |  | Explain how to fix plywood or metallic sheets on the wooden planks |  |
|  |  |  | Discuss how to cover voids between panels to prevent concrete bleeding |  |
|  |  | Day 3 | Describe how to fix braces between supports for stability. |  |
|  |  |  | Explain how to apply oil to metallic sheet surfaces (if used) |  |
|  |  |  | Describe how to ensure alignment and level using tools. |  |
|  |  |  | Explain how to fix and align stoppers around the slab. |  |
|  |  | Day 4 | Review key steps in erecting formwork for slabs. |  |
|  |  |  | Safety precautions while installing slab formwork. |  |
|  |  |  | Practice erecting slab formwork under supervision. |  |
|  |  |  | Discuss troubleshooting and rectifying issues during |  |
|  |  | Day 5 | Demonstrate the complete process of erecting slab formwork. |  |
|  |  |  | Collaborate to install formwork for slab. |  |
|  |  |  | Perform hands-on practice with feedback. |  |
|  |  |  | Assess performance and provide feedback |  |
| Week 21 | Erect formwork for staircase | Day 1 | Define materials and tools used for shuttering. | - Task 21 Details may be seen at Annexure-I |
|  |  |  | Explain safety measures during formwork installation. |  |
|  |  |  | steps for preparing smooth surfaces before fixing supports. |  |
|  |  |  | Apply the correct procedures for setting up horizontal supports. |  |
|  |  | Day 2 | Define the key components and layout for staircase formwork. |  |
|  |  |  | Brief on fixing vertical supports for staircase flight and landing. |  |
|  |  |  | Describe the need for inclined supports in staircase formwork |  |
|  |  |  | Explain the process for fixing plywood/metallic sheets on wooden planks |  |
|  |  | Day 3 | Define tools used to fix inclined supports. |  |
|  |  |  | Explain how to position supports and ensure panel stability |  |
|  |  |  | Describe how to check alignment and level while installing sheets |  |
|  |  |  | Define the importance of covering gaps between panels to prevent concrete bleeding. |  |
|  |  | Day 4 | Explain how to fix braces to enhance support stability. |  |
|  |  |  | Describe the application of oil on exposed metal surfaces. |  |
|  |  |  | How to cover gaps and fix braces effectively. |  |
|  |  |  | Define the necessary tools and steps to fix braces. |  |
|  |  | Day 5 | Describe the final checks required for ensuring the quality of formwork. |  |
|  |  |  | Explain common problems and how to resolve them during formwork installation. |  |
|  |  |  | Recap the steps involved in setting up staircase formwork. |  |
|  |  |  | Identify Common issues such as gaps, misalignments, and instability in the shuttering. |  |
| Week 22 | Erect formwork for arch | Day 1 | Describe the importance of shuttering for arch and dome construction. | - Task 12 Details may be seen at Annexure-I |
|  |  |  | Define the basic principles and materials used in arch formwork. |  |
|  |  |  | Explain the methods of selecting materials (plywood, metallic sheets) for formwork. |  |
|  |  |  | Describe the procedure for drawing the arch shape accurately on a wooden board. |  |
|  |  | Day 2 | Define the basic principles/rules of formwork design for arches. |  |
|  |  |  | Explain how to prepare a smooth and hard surface before formwork erection. |  |
|  |  |  | How to draw the arch shape on a wooden board according to design. |  |
|  |  |  | Define the tools and materials required for fixing supports for the arch. |  |
|  |  | Day 3 | Describe the method of arranging wooden members in the required arch shape. |  |
|  |  |  | Describe the method of applying oil to exposed metallic sheet surfaces. |  |
|  |  |  | Discuss the importance of preventing bleeding in the concrete. |  |
|  |  |  | Describe how to rectify alignment issues in the arch formwork. |  |
|  |  | Day 4 | Discuss tools for measuring and verifying alignment. |  |
|  |  |  | Discuss tools for measuring and verifying alignment. |  |
|  |  |  | Discuss the importance of fixing braces between supports to stabilize the formwork. |  |
|  |  |  | Explain how to cover gaps between shuttering sheets to prevent concrete leakage. |  |
|  |  | Day 5 | Describe the oiling process for metallic sheet surfaces to ensure smooth removal after pouring concrete. |  |
|  |  |  | Define techniques for rectifying issues in alignment during installation. |  |
|  |  |  | Perform a practical evaluation to check the alignment, stability, and quality of the completed arch formwork setup. |  |
| Week 23 | Erect formwork for Dome | Day 1 | Describe the role of dome formwork. | - Task 23 Details may be seen at Annexure-I |
|  |  |  | Outline the dome formwork process. |  |
|  |  |  | Describe proper materials for dome formwork |  |
|  |  |  | How to select appropriate materials for dome formwork. |  |
|  |  | Day 2 | How to fix horizontal and vertical supports. |  |
|  |  |  | Demonstrate fixing supports for the dome |  |
|  |  |  | How to fix braces between wooden members. |  |
|  |  |  | Install plywood/metallic sheets on the dome frame. |  |
|  |  | Day 3 | Fix supports to maintain dome shape. |  |
|  |  |  | Fix wooden members and sheets over the dome frame |  |
|  |  |  | Cover gaps to prevent bleeding. |  |
|  |  |  | Apply oil and fix braces. |  |
|  |  | Day 4 | Apply oil to metallic surfaces. |  |
|  |  |  | Check alignment and shape using hand tools. |  |
|  |  |  | Inspect and ensure quality of dome formwork. |  |
|  |  |  | Demonstrate a complete dome formwork setup. |  |
|  |  | Day 5 | Discus How to select appropriate materials. |  |
|  |  |  | Ensure stability and surface preparation. |  |
|  |  |  | Check alignment and rectify issues. |  |
|  |  |  | Perform final inspection and evaluation. |  |
| Week 24 | Dismantle shuttering of vertical members | Day 1 | Describe the importance of dismantling shuttering. | - Task 24 Details may be seen at Annexure-I |
|  |  |  | Explain how to remove inclined supports. |  |
|  |  |  | Describe the process of removing horizontal supports from vertical shutters |  |
|  |  |  | Explain how to disassemble shutters and panels. |  |
|  |  | Day 2 | Explain cleaning techniques for shuttering material. |  |
|  |  |  | Explain the process of cleaning shuttering material before storage. |  |
|  |  |  | Describe how to store materials at the designated place. |  |
|  |  |  | Describe how to store materials at the designated place.. |  |
| Week 24 | Dismantle shuttering of horizontal / inclined / elevated semi-circular members | Day 3 | Describe the process and importance of dismantling shuttering for horizontal, inclined, and semi-circular members. |  |
|  |  |  | How to remove horizontal panels while considering safety precautions. |  |
|  |  |  | Demonstrate the removal of vertical and horizontal supports with proper precautions. |  |
|  |  |  | Define the different types of shuttering used in these members. |  |
|  |  | Day 4 | Discuss safety procedures when dismantling horizontal panels. |  |
|  |  |  | Describe the process of collecting scattered shuttering material. |  |
|  |  |  | Explain how to clean shuttering material before storage. |  |
|  |  |  | Explain the correct procedure to store shuttering material. |  |
|  |  | Day 5 | Discuss the tools and methods used for collecting material. |  |
|  |  |  | Describe cleaning techniques for different types of shuttering materials. |  |
|  |  |  | Explain safety precautions during final inspection. |  |
|  |  |  | How to review the dismantling process and record-keeping for stored materials. |  |

# Annexure-II:

Tasks for Certificate

Shuttering Carpenter for RCC Structures

| Task No. | Task | Description | Week |
| --- | --- | --- | --- |
| 1 | Tools and Equipment | Identify and handle the tools used in shuttering carpentry (measuring tapes, hammers, drills, etc.). | Week 1 |
| 2 | Safety and Hazards | Identify hazards on a construction site and practice safety protocols. | Week 2 |
| 3 | Site Preparation | Clear and level the site, marking boundaries and preparing for shuttering. | Week 3 |
| 4 | Material Selection | Learn about and select shuttering materials: plywood, timber, steel. | Week 4 |
| 5 | Shuttering for Columns (Square) | Set up shuttering for square columns, ensuring proper measurements and alignment. | Week 5 |
| 6 | Shuttering for Columns (Round) | Set up shuttering for round columns, focusing on the proper roundness and alignment. | Week 6 |
| 7 | Shuttering for Beams (Basic) | Construct shuttering for basic beam forms. Check for proper leveling and alignment. | Week 7 |
| 8 | Shuttering for Beams | Work with more complex beam forms, such as those with varying heights and widths. | Week 8 |
| 9 | Shuttering for Slabs | Prepare and install slab shuttering, ensuring proper level and alignment. | Week 9 |
| 10 | Shuttering for Stairs | Install shuttering for stairs with exact measurements and ensure proper angles. | Week 10 |
| 11 | Shuttering for Retaining Walls | Set up shuttering for retaining walls and other vertical structures. | Week 11 |
| 12 | Reinforcement Detailing | Incorporate reinforcement bars into shuttering systems for proper placement. | Week 12 |
| 13 | Bracing and Support Systems | Install bracing and support systems to prevent shifting during concrete pouring. | Week 13 |
| 14 | Inspection and Adjustments | Check and adjust shuttering installations for quality and accuracy. | Week 14 |
| 15 | Shuttering for Openings (Doors/Windows) | Prepare shuttering for openings like doors and windows in RCC walls. | Week 15 |
| 16 | Installation of Formwork for Curved Structures | Set up shuttering for curved structures like arches, ensuring correct radius | Week 16 |
| 17 | Reinforcement Placement & Shuttering | Work on combining shuttering with reinforcement bars for structural integrity. | Week 17 |
| 18 | Preparation for Concrete Pour | Prepare the site and shuttering for pouring concrete into forms. | Week 18 |
| 19 | Shuttering Adjustments for Quality Control | Perform quality checks and make necessary adjustments to ensure correct formwork. | Week 19 |
| 20 | Concrete Pouring and Monitoring | Observe the pouring process and ensure shuttering holds up under pressure. | Week 20 |
| 21 | Shuttering Removal (Early Stage) | Carefully remove shuttering from freshly poured concrete after initial setting. | Week 21 |
| 22 | Shuttering Removal (Complete) | Complete removal of all shuttering after the concrete has fully set. Inspect for damage. | Week 22 |
| 23 | Maintenance of Shuttering Tools | Clean, repair, and store all tools used in shuttering work to maintain their lifespan. | Week 23 |
| 24 | Final Assessment and Review | Review all tasks completed, assess competency, and discuss areas for improvement. | Week 24 |

# COMPLETE LIST OF TOOLS AND EQUIPMENT

| # SR# | # Tools & Equipment | # Quantity |
| --- | --- | --- |
|  | # Bucket (12L -15L) | # 13 |
|  | # Mixing board(18”x12”) | # 13 |
|  | # Shovel | # 13 |
|  | # Steel trowel(large, medium and small) | # 25 each size |
|  | # Measuring steel tape(5meter) | # 10 |
|  | # Straight edge aluminum (3”x1 ½ “) 4ft and 8ft | # 10 each |
|  | # Wooden float(18”,12’’,8”) | # 25 set |
|  | # Steel tape(30 meter) | # 5 |
|  | # Steel float (10”) | # 10 |
|  | # Mason hammer | # 13 |
|  | # Plumb bob | # 13 |
|  | # Scaffolding set (Batten2.5”x3”x 5’)+(Bamboo 12’) + (wooden plank 2”x12”x6’) | # 5 |
|  | # Marking gauge | # 13 |
|  | # Handsaw | # 13 |
|  | # Bar cutter | # 5 |
|  | # Bar bender | # 5 |
|  | # Steel square | # 13 |
|  | # Cold chisel | # 13 |
|  | # Hacksaw | # 13 |
|  | # Level hose(Hose length 50ft) | # 13 |
|  | # Straight edge | # 13 |
|  | # Spirit level | # 13 |
|  | # Claw hammer | # 13 |
|  | # Chalk line | # 13 |
|  | # Steel measuring box(0.5 cft,1 cft and 1.25cft) | # 5 Each |
|  | # Hand Hack saw frame | # 5 |
|  | # Hack saw blade (12”) | # 50 |
|  | # Tri-square(12”) | # 13 |
|  | # Tri-square(24”x18”) | # 5 |
|  | # Wheel barrow | # 5 |
|  | # Steel brush | # 50 |
|  | # Steel nails (1 ½”,2”,3”,4”) | # Each size 5kg |
|  | # Claw bar(4’x1”dia) | # 5 |
|  | # Sledge hammer | # 5 |
|  | # Rope ½ “ dia.(roll of 50ft) | # 25 |
|  | # Pulley(9” dia anchorage arrangement + jute rope 1/2” dia ) | # 5 |
|  | # Electric hand Drill Machine | # 5 |
|  | # Drill bit set each (1/8”, ¼”, 3/8”, ½”, ¾” ) | # 5 |
|  | # Plie (kassi) | # 13 |
|  | # Spade | # 13 |
|  | # Spackle Knife | # 13 |
|  | # Utility Knife | # 13 |
|  | # Plate Compactor | # 2 |
|  | # Rammer 5kg | # 13 |
|  | # Tamping Rod ¾” dia | # 13 |
|  | # Pedestal Drill Machine | # 2 |
|  | # Needle Vibrator(Shaft length 6’,needle size 1 ½ “x24”) | # 2 |
|  | # Chisel Set ( 18”, 12”, 9”) | # 13 |
|  | # Jack hammer | # 2 |
|  | # Laboratory concrete Mixer Machine (Motorized) | # 2 |
|  | # Mixing tray of GI sheet 3’x3’x3” | # 25 |
|  | # Mortar Pan | # 25 |
|  | # Stone / marble cutter machine | # 5 |
|  | # Tile cutter | # 5 |
|  | # Brick cutter machine | # 5 |
|  | # Diamond pointed pencil | # 5 |
|  | # Grinding Machine | # 13 |
|  | # Pointing Trowel | # 25 |
|  | # Grooving Tool | # 25 |
|  | # Pointing Tray | # 25 |
|  | # Point Tool | # 25 |
|  | # Batten (L 6’ and thickness 2 ½’’ and 3’’ ) | # 25 |
|  | # Wooden plank (L 6’, w 6’’, thickness 2’’) | # 25 |
|  | # Mild Steel pipe(L 10’,dia 2’’) | # 25 |
|  | # Mild Steel pipe(L 5’,dia 2’’) | # 25 |
|  | # Scaffolding joint( dia 2’’) | # 100 |
|  | # MS plate (3’x1’)welded over (1 ½”x1 ½”) angle iron frame | # 50 |
|  | # Plastic Drum ( 30 to 50 gallon) | # 2 |
|  | # Broom | # 25 |
|  | # Water hose and nozzle | # 10 |
|  | # Sponge | # 50 |
|  | # Scoop(12’’) | # 10 |
|  | # Paint Brush (4 inches) | # 25 |
|  | # Ladder (14 ft) | # 5 |
|  | # Steel Crib ( 4 ft) | # 10 |
|  | # Sieve( 3’x3’) -16 N0 | # 8 |
|  | # Lamination sheet ( 8’x4’x3/4”) | # 10 |
|  | # Pincer (8”) | # 10 |
|  | # Hand grinder machine | # 5 |
|  | # PPEs (Safety Goggles, Safety Gloves, Ear Plugs, Anti-Static Gloves, Safety Helmet, Safety Shoes, Apron, Mask, Respirator, Safety Belts) | # 25 SET |
|  | # First Aid Box | # 5 |
|  | # Fire extinguisher | # 5 |