Assessment Evidence Guide For “Industrial Electrician Level-3” Operate/Perform Associated Tests on Transformer (Formative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Operate/Perform Associated Tests on Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Operate Single Phase Transformer - Perform Tests on Single Phase Transformer - Operate Auto Transformer - Perform Tests on Auto Transformer - Operate Three Phase Transformer |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Operate Single Phase Transformer - Identify types of transformer. - Make transformer winding - Measure transformation ratio of single phase transformer. - Determine voltage regulation of single phase transformer with different load. - Perform parallel operation of single phase transformer. Perform Tests on Single Phase Transformer - Perform polarity test of single phase transformer. - Perform Open circuit test of transformer. - Perform Short circuit test of transformer. - Calculate efficiency of transformer by direct method. - Calculate efficiency of transformer by Back to Back test. Operate Auto Transformer - Identify the connection of auto transformer. - Calculate Voltage ratio of auto transformer. - Calculate Current ratio of auto transformer. Perform Tests on Auto Transformer - Perform open circuit test of auto transformer. - Perform short circuit test of auto transformer. - Calculate efficiency of auto transformer. Operate Three Phase Transformer - Make three phase transformer winding. - Perform star to star connection of three phase transformer. - Perform star to delta connection of three phase transformer. - Perform delta to delta connection of three phase transformer. - Perform delta to star connection of three phase transformer. - Connect two single phase transformers in open delta. - Perform parallel operation of 3 phase transformers |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Electrician |
| Competency Standard | Operate/Perform Associated Tests on Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Operate Single Phase Transformer - Perform Tests on Single Phase Transformer - Operate Auto Transformer - Perform Tests on Auto Transformer - Operate Three Phase Transformer. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify types of transformer. |  |  |
| - Make transformer winding |  |  |
| - Measure transformation ratio of single phase transformer. |  |  |
| - Determine voltage regulation of single phase transformer with different load. |  |  |
| - Perform parallel operation of single phase transformer. |  |  |
| - Perform polarity test of single phase transformer. |  |  |
| - Perform Open circuit test of transformer. |  |  |
| - Perform Short circuit test of transformer. |  |  |
| - Calculate efficiency of transformer by direct method. |  |  |
| - Calculate efficiency of transformer by Back to Back test. |  |  |
| - Identify the connection of auto transformer. |  |  |
| - Calculate Voltage ratio of auto transformer. |  |  |
| - Calculate Current ratio of auto transformer. |  |  |
| - Perform open circuit test of auto transformer. |  |  |
| - Perform short circuit test of auto transformer. |  |  |
| - Calculate efficiency of auto transformer. |  |  |
| - Make three phase transformer winding. |  |  |
| - Perform star to star connection of three phase transformer. |  |  |
| - Perform star to delta connection of three phase transformer. |  |  |
| - Perform delta to delta connection of three phase transformer. |  |  |
| - Perform delta to star connection of three phase transformer. |  |  |
| - Connect two single phase transformers in open delta. |  |  |
| - Perform parallel operation of 3 phase transformers |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Operate/Perform Associated Tests on Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Operate Single Phase Transformer - Perform Tests on Single Phase Transformer - Operate Auto Transformer - Perform Tests on Auto Transformer - Operate Three Phase Transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify types of transformer. |  |  |  |  |  |
|  | Make transformer winding |  |  |  |  |  |
|  | Measure transformation ratio of single phase transformer. |  |  |  |  |  |
|  | Determine voltage regulation of single phase transformer with different load. |  |  |  |  |  |
|  | Perform parallel operation of single phase transformer. |  |  |  |  |  |
|  | Perform polarity test of single phase transformer. |  |  |  |  |  |
|  | Perform Open circuit test of transformer. |  |  |  |  |  |
|  | Perform Short circuit test of transformer. |  |  |  |  |  |
|  | Calculate efficiency of transformer by direct method. |  |  |  |  |  |
|  | Calculate efficiency of transformer by Back to Back test. |  |  |  |  |  |
|  | Identify the connection of auto transformer. |  |  |  |  |  |
|  | Calculate Voltage ratio of auto transformer. |  |  |  |  |  |
|  | Calculate Current ratio of auto transformer. |  |  |  |  |  |
|  | Perform open circuit test of auto transformer. |  |  |  |  |  |
|  | Perform short circuit test of auto transformer. |  |  |  |  |  |
|  | Calculate efficiency of auto transformer. |  |  |  |  |  |
|  | Make three phase transformer winding. |  |  |  |  |  |
|  | Perform star to star connection of three phase transformer. |  |  |  |  |  |
|  | Perform star to delta connection of three phase transformer. |  |  |  |  |  |
|  | Perform delta to delta connection of three phase transformer. |  |  |  |  |  |
|  | Perform delta to star connection of three phase transformer. |  |  |  |  |  |
|  | Connect two single phase transformers in open delta. |  |  |  |  |  |
|  | Perform parallel operation of 3 phase transformers |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Operate/Perform Associated Tests on Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to select the wire for primary and secondary winding? |  |  |
|  | Explain winding procedure. |  |  |
|  | What is star connection? |  |  |
|  | Explain the relation between line voltage and phase voltage in star connection. |  |  |
|  | Describe the conditions for paralleling of the transformer |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________