Trade Registration Form

- Title of the Qualification.

Electrical Technology (Domestic/General Electrician) Level-2 (6th Months)

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| Middle | Level-2 | N/A | N/A |

- List of Competencies/Modules

Competency Standards/ Modules

Competency-1 Follow Occupational Health and Safety Practices

Competency-2 Demonstrate Basic Communication Skills

Competency-3 Prepare Estimates for Electrical Work

Competency-4 Follow basic green practices for Domestic/General Electrician

Competency-5 Install single-phase Electrical wiring.

Competency-6 Perform Testing of Electrical Wiring

Competency-7 Install Security & Electrical Communication Systems

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions (feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement |  |  |

- Machinery / Lab Equipment (with quantity/25 Students)

| Sr.No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Safety Helmet | 25 |
|  | Safety Goggles | 25 |
|  | Face Shield | 25 |
|  | Insulated Gloves | 25 |
|  | Safety Shoes | 25 |
|  | Ear Protection (Ear Muffs / Ear Plugs) | 25 |
|  | Dust Mask (Reusable) | 25 |
|  | Safety Harness | 25 |
|  | High-visibility Jacket | 25 |
|  | Apron | 25 |
|  | Insulated Mats | 5 |
|  | Safety Sign Boards (Metal/Plastic) | 10 |
|  | PPE Storage Cabinet | 2 |
|  | Electrician Tool Kit (128 items) | 25 |
|  | Torque Wrench | 5 |
|  | Circuit Breaker Cover | 10 |
|  | Torch (Rechargeable, heavy duty) | 10 |
|  | CPR Manikin (Adult) | 2 |
|  | CPR Manikin (Child/Infant) | 1 |
|  | AED Training Unit (Demo) | 1 |
|  | Training Mat (for CPR practice) | 2 |
|  | Stopwatch / Timer | 5 |
|  | Multimedia Projector / Screen | 1 |
|  | Emergency Alarm System (Sirens / Flash Alarms) | 2 |
|  | Fire Alarm Switch / Manual Call Point | 2 |
|  | Public Address (PA) System / Megaphone | 2 |
|  | Emergency Exit Signs (Illuminated/Glow) | 10 |
|  | Safety Cones / Barricade Tape | 10 |
|  | Rescue Tools (Fire Blanket) | 1 set |
|  | Desktop Computers / Laptops (with MS Office) | 5 |
|  | Printer | 1 |
|  | Ladder (small) | 5 |
|  | Megger Meter | 2 |
|  | Insulation Resistance Tester (digital) | 2 |
|  | Digital Multimeter | 5 |
|  | Clamp on Meter | 5 |
|  | Galvanometer (for cable fault test) | 5 |
|  | DC Power Supply (for test setup) | 2 |
|  | Wheatstone Bridge Setup | 2 |
|  | Measuring Tape | 25 |
|  | Soldering Iron with Stand | 10 |
|  | Bench Wise / Workbench | 5 |
|  | Pedestal Electric Drill Machine with Bits | 1 |
|  | Color-coded Dustbins (5 types) | 10 |
|  | Small Solar Panel PV | 10 |
|  | Multimedia Projector / Screen | 1 |
|  | Emergency Alarm System (Sirens / Flash Alarms) | 2 |
|  | Fire Alarm Switch / Manual Call Point | 2 |
|  | Public Address (PA) System / Megaphone | 2 |
|  | Emergency Exit Signs (Illuminated/Glow) | 10 |
|  | Safety Cones / Barricade Tape | 10 |
|  | Charge Controller | 5 |
|  | 12V Rechargeable Battery | 5 |
|  | CCTV Cameras / Sensors / Alarms (Demo Units) | 3 |
|  | UPS / Backup Power Supply (Demo) | 10 sets |
|  | Network CCTV IP Cameras (6 MP) | 5 |
|  | NVR (Network Video Recorder) | 2 |
|  | Network Switches (8 Port Gigabit POE Switch) | 2 |
|  | Network Switches Rack / Network Switches Rack | 2 |
|  | Smart LED: Size -32 INCHS | 1 |
|  | Crimping Tool RJ 45 (LAN Connector Tool) | 2 |

- Consumable (with quantity/25 Students)

| Sr.No. | Consumable | Quantity |
| --- | --- | --- |
|  | Safety Posters | 25 |
|  | Disposable Gloves | 500 pairs |
|  | Disposable Masks | 500 |
|  | Hand Sanitizer Bottles (500 ml) | 25 |
|  | Disinfectant Spray | 10 |
|  | Floor Safety Marking Tape | 20 rolls |
|  | Cleaning Cloths | 50 |
|  | First Aid Box | 2 |
|  | Scissors (Medical) | 5 |
|  | Tweezers | 5 |
|  | Cotton Rolls | 10 packs |
|  | Antiseptic Solution (Dettol) | 5 Liters |
|  | Pyodine Solution | 10 bottles |
|  | Antiseptic Cream | 10 tubes |
|  | Ointment | 10 tubes |
|  | Burn Cream | 10 tubes |
|  | Pain Relief Spray / Gel | 10 |
|  | Sterile Gloves (Disposable) | 250 pairs |
|  | Adhesive / Medical Tape | 20 rolls |
|  | Elastic Bandages (Crepe) | 20 |
|  | Burn Dressings / Gel Packs | 10 |
|  | Instant Cold Pack | 10 |
|  | Medicines (Painkillers, ORS, etc.) | As required |
|  | Fire Extinguishers (Water, CO₂, Dry Powder, Foam) | 4 |
|  | Inspection Tags | 50 |
|  | Checklist Sheets | 100 |
|  | Lubricating Oil | 5 Liters |
|  | Grease | 2 kg |
|  | Rust Remover Spray | 5 |
|  | Sandpaper / Emery Cloth | 25 sheets |
|  | A4 / Chart Papers | 500 sheets |
|  | Notebooks & Pens/Pencils | 25 |
|  | Sticky Notes | 10 pads |
|  | Printed Role-Play / Client Scenarios | 25 |
|  | Name Tags | 25 |
|  | Printer Ink / Toner | 2 |
|  | Job Report Templates (Printed) | 50 |
|  | Drawing Sheets | 200 |
|  | Market Price Lists / Quotations (Printed) | 25 sets |
|  | Estimation Templates (Printed) | 25 |
|  | Mild Detergent Solution | 5 Liters |
|  | Zip Lock Bags (for storage) | 50 |
|  | Adhesive Labels / Stickers | 50 |
|  | Connecting Wires (for Solar Kit) | 50 m |
|  | Electrical Tape | 50 rolls |
|  | Cable Ties | 500 |
|  | “Save Energy” Posters | 25 |
|  | Conventional Bulbs | 10 |
|  | LED Bulbs | 10 |
|  | PVC Wire 1/0.044” | 5 Coil |
|  | PVC Wire 3/0.029” | 10 Coil |
|  | PVC Wire 7/0.029” | 2 Coil |
|  | PVC Wire 23/0.076” | 4 Coil |
|  | Switches (Single/Two-Way) | 50 |
|  | Socket Outlets (5A/15A) | 25 |
|  | Lamp Holders + Bulbs | 25 |
|  | Junction Boxes | 25 |
|  | Screws / Wall Plugs / Clamps | 200 |
|  | Cable Lugs & Thimbles | 50 |
|  | Charcoal, Salt & Water (for earthing) | As required |
|  | Fuse (Rewire able) | 20 |
|  | Fault Simulation Sheets | 25 |
|  | Record Sheets / Test Logbooks | 50 |
|  | Network (LAN) Cable | 1 Coil |

- Student Teacher Ratio

25:1

- Teacher Qualification

  - B.Sc. Engineering and 2 years of relevant work experience; or

  - B-Tech and 3 years of relevant work experience; or

  - Diploma Associate Engineer (DAE) and 5 years relevant work experience; or

  - Certificate as Electrical G-II with 8 years relevant work experience

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 60 | 6 Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |