| DACUM Panel - Mr. Shahryar Khan Marwat AD Acad/Oper KP- TEVTA, Peshawar - Mr. Rehan Qureshi, Instructor GTTI, P-TEVTA, Lahore - Mr. Waqas Niaz, SDO, NTDC, Islamabad - Mr. Yusuf Mirza, Deputy Director GSTC Mughalpura, Lahore - Mr. Taha Rehman, Sr. Engineer Delta Electromechanical Works, Islamabad. - Mr. Hassan Abbas, GIS Circle, IESCO, Islamabad - Syed Waqar Azeem, Director Curriculum P-TEVTA, Lahore - Hafiz Waqar Hashmi, AD Curriculum, P-TEVTA, Lahore - Mr. Basit Ali, AD Curriculum, PVTC, Lahore - Mr. Atif Mahmood, Technical Advisor GIZ, Islamabad - Mr. Muhammad Naeem Akhtar, Technical Advisor GIZ, Islamabad - Mr. Muhammad Aasim, NAVTTC Coordinator, NAVTTC HQs, Islamabad DACUM Facilitator: Engr. Muhammad Aleem | Occupational Profile Chart of “Industrial Electrician- Level 3” |
| --- | --- |
|  | Date 10th-12th April, 2023 |
|  | Chamber of Commerce Lahore, Pakistan |
|  | National Vocational & Technical Training Commission |

Level 3- Industrial Electrician

| DUTIES and TASKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Verify Basic Laws of Electromagnetic induction |  |  |  |  |  |  |
| A1. Verify Faraday’s law by moving permanent magnet inside the coil. | A2. Verify Faraday’s law by moving coil near the magnet field. | A3. Verify Faraday’s law using relative motion of coil and magnet. | A4. Verify Faraday’s Law using simple loop generator. | A5. Verify Torque induce in a current carrying loop |  | A6. Verify Mutual induction |
| - Operate/Perform Associated Tests on Transformer |  |  |  |  |  |  |
| B1. Operate Single Phase Transformer | B2. Perform Tests on Single Phase Transformer | B3. Operate Auto Transformer | B4. Perform Tests on Auto Transformer | B5. Operate Three Phase Transformer |  |  |
| - Identify Vector Group of Three Phase Transformer |  |  |  |  |  |  |
| C1. Connect 3-phase transformers as per given vector group Yyo and Yy6 | C2. Connect 3-phase transformers as per given vector group Ddo and Dd6 | C3. Connect 3-phase transformers as per given vector group Yd11 and Yd1 |  |  |  |  |
| - Maintain Tools & Equipment for Three Phase |  |  |  |  |  |  |
| D1. Arrange Tools and Equipment | D2. Maintain Tool Box | D3. Insulate Tools and Equipment | D4. Calibrate measuring tools |  | D5. Manage Inventory of tools and equipment |  |
| E. Make Cable/Wire Joints for Three Phase |  |  |  |  |  |  |
| E1. Make Cross/Twist joint | E2. Make Straight/Married joint | E3. Make T- Joint | E4. Make Rat tail joint |  | E5. Make Britannia joint |  |

| - Install Three Phase Complex Electrical Wiring |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F1. Make and Install 3phase motor connection Reverse/ forward by Magnetic contactor |  | F2. Make and Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator. |  | F3. Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor. |  | F4. Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. |  | F5. Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor | F6. Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator |  |
| F7. Make and Install 3 phase motor connection 2 speed by Magnetic contactor. |  | F8. Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator |  | F9. Perform Electrical Work for Industrial Area |  |  |  |  |  |  |
| - Perform Testing of Electrical Three Phase Wiring |  |  |  |  |  |  |  |  |  |  |
| G1. Perform Open Circuit Test | G2. Perform Short Circuit Test |  | G3. Perform Continuity/Loop Test) |  | G4. Perform Visual Test |  | G5. Perform Polarity Test |  |  | G6. Perform Earth Resistance Test |
| G7. Perform BLAVIER & Earth Loop Test |  |  |  |  |  |  |  |  |  |  |
| - Repair/ Maintenance of Electrical Installations for Three Phase |  |  |  |  |  |  |  |  |  |  |
| H1. Analyze Fault in Electrical Installations | H1. Repair Fault in Electrical Installations |  |  |  |  |  |  |  |  |  |
| - Maintain professionalism in the workplace and advance Green Practices |  |  |  |  |  |  |  |  |  |  |
| I1. Establish personal work goals | I2. Set and meet own work priorities |  | I3 Develop and maintain professional competence |  | I4.Implement Advance Green Practices |  |  |  |  |  |

- Additional Information for General Electrician/Domestic Electrician

| Worker traits - Environment Friendly - Motivated for SDGs - Honest - Punctual - Knowledgeable about Green TVET - Interpersonal skills - Hard worker - Team worker - Collaborative - Confident - Communicative Skills | Entry Requirements *Level-2 in Electrical | Duration of Training Required The proposed duration for level-3 training is 6 months. | Career Paths - General Electrician/Domestic Electrician - Industrial Electrician |
| --- | --- | --- | --- |

List of Tools and equipment

| List of Tools / Equipment For 25 Trainee |  |  |
| --- | --- | --- |
| Sr. No. | Name of Tools / Equipment | Quantity |
|  | Screw Driver flat and plus type set off 4”, 6”, 8” | 25 Nos each |
|  | Neon phase tester light duty pocket size | 25 Nos |
|  | Insulated pliers with side cutter | 25 Nos |
|  | Insulated long nose pliers with side cutter | 25 Nos |
|  | Insulated wire cutter | 25 Nos |
|  | High insulation rubber hand gloves | 5 Nos |
|  | Insulated Electrical Knife | 25 Nos |
|  | Chisels 6”, 12” | 10 Nos each |
|  | Hammers 200 grm. | 25 Nos |
|  | Hand Hack saws 12”, 6” with blade | 25 Nos each |
|  | Electric soldering iron 45, 100 and150 watt 220V | 10 Nos each |
|  | Wire Strippers | 25 No’s |
|  | Philips screw driver No 1, 2, 3. | 25 Nos each |
|  | Measuring tap 3m | 25 Nos |
|  | Steel foot rule. | 25 Nos |
|  | Files (Flat) 250 x 1, 200 x 2 | 25 Nos each |
|  | Files (Triangular) 150 x 2 | 25 Nos |
|  | Files (Half round) 200 x 2 | 25 Nos |
|  | Files (Round) 200 x 1 | 25 Nos |
|  | Files (Raps cut) 150 | 25 Nos |
|  | Bench Vice 5” | 25 Nos |
|  | Tri square 150 x 100 mm | 25 Nos |
|  | Vernier caliper 150 mm | 25 Nos |
|  | Center punch | 25 Nos |
|  | Hammer 500 grm | 10 Nos |
|  | Scriber | 25 Nos |
|  | Rubber hammer | 10 Nos |
|  | Vice clamps | 25 Nos |
|  | Insulation Remover 150 mm | 25 Nos |
|  | Bearing puller | 2 Nos |
|  | Farmer chisels 8”. | 10 Nos |
|  | Wooden saw 300 mm | 10 Nos |
|  | Test boy tester with all accessories | 25 Nos |
|  | Volt meter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Ammeter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 Nos |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 25 Nos |
|  | Basic electrical trainer complete with all accessories and practical’s manual (TLM) | 25 No,s |
|  | Advance electrical trainer complete with all accessories and practical’s manual (TLM) | 25 No,s |
|  | Multimeter Analogue A.C / DC (voltage, Current, OHM) | 25 No,s |
|  | Tong tester/ clamp meter Digital | 10 Nos |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 25 Nos |
|  | Multimeter Analogue A.C / DC (voltage, Current, OHM) | 25 No,s |
|  | Voltage, current and power Digital Panel meter | 25 No,s |
|  | Ampere Digital Panel meter | 25 No,s |
|  | Power Digital Panel meter | 25 No,s |
|  | Electric Hand drill machine with hammering 0-13 mm | 5 Nos |
|  | Pedestal drill machine | 5 Nos |
|  | Jigsaw machine portable | 2 No |
|  | Insulated Scissor 6” | 25 Nos |
|  | Single phase energy meter 220V /10-20A | 5 Nos |
|  | Three phase energy meter 30 A | 5 Nos |
|  | Dust brush / File brush | 25 Nos each |
|  | Magnetic Contactors 2 + 2 220 Volts / 10 A 50Hz | 50 Nos. |
|  | Single Phase Motor 220 Volts 50Hz ½ HP | 5 Nos. |
|  | Three Phase Motor 380 Volts 50Hz 2 HP | 5 Nos. |
|  | Push Button Single Way / Two Way / Three Way | 25 Nos. Each |
|  | Drum Switch ON / OFF, REV / FOR, Star / Delta | 10 Nos. Each |
|  | Overload Relay 0.5 – 3.0 Amp | 25 Nos. |
|  | Motor Protection Switch Three Phase | 10 Nos. |
|  | Ac Motor trainer complete with all accessories and practical’s manual (TLM) | 4 trainers |
|  | Level multi dimension big and small | Each 10 No’s |