Trade Registration Form

- Title of the Qualification.

Electrical Technology (Industrial Electrician) Level-3(6th Months)

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| Level-2 | Level-3 | N/A | N/A |

- List of Competencies/Modules

Competency Standards/ Modules

Competency-1 Verify Basic Laws of Electromagnetic Induction

Competency-2 Operate/Perform Associated Tests on Transformer

Competency-3 Identify Vector Group of Three Phase Transformer

Competency-4 Install Three Phase Complex Electrical Wiring

Competency-5 Perform Testing of Electrical Three Phase Wiring

Competency-6 Repair/ Maintenance of Electrical Installations for three Phase

Competency-7 Maintain Professionalism in the Workplace and Advance Green Practices

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions (feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement |  |  |

- Machinery / Lab Equipment (with quantity/25 Students)

| Sr.No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Screw Driver flat and plus type set off 4”, 6”, 8” | 25 |
|  | Neon phase tester light duty pocket size | 25 |
|  | Insulated pliers with side cutter | 25 |
|  | Insulated long nose pliers with side cutter | 25 |
|  | Insulated wire cutter | 25 |
|  | High insulation rubber hand gloves | 5 |
|  | Insulated Electrical Knife | 25 |
|  | Chisels 6”, 12” | 10 |
|  | Hammers 200 gram. | 25 |
|  | Hand Hack saws 12”, 6” with blade | 25 |
|  | Electric soldering iron 45, 100 and150 watt 220V | 10 |
|  | Wire Strippers | 25 |
|  | Philips screw driver No 1, 2, 3. | 25 |
|  | Measuring tap 3m | 25 |
|  | Steel foot rule. | 25 |
|  | Files (Flat) 250 x 1, 200 x 2 | 5 |
|  | Files (Triangular) 150 x 2 | 5 |
|  | Files (Half round) 200 x 2 | 5 |
|  | Files (Round) 200 x 1 | 5 |
|  | Files (Raps cut) 150 | 5 |
|  | Bench Vice 5” | 5 |
|  | Tri square 150 x 100 mm | 5 |
|  | Vernier calliper 150 mm (Digital) | 5 |
|  | Centre punch | 5 |
|  | Hammer 500 gram | 5 |
|  | Scriber | 5 |
|  | Rubber hammer | 5 |
|  | Vice clamps | 5 |
|  | Insulation Remover 150 mm | 5 |
|  | Bearing puller | 2 |
|  | Farmer chisels 8”. | 2 |
|  | Wooden saw 300 mm | 5 |
|  | Test boy tester with all accessories | 25 |
|  | Volt meter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 |
|  | Ammeter Analogue (Panel type 4” x 4”) 0-300V-AC 50 HZ | 25 |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 25 |
|  | Basic electrical trainer completes with DC Power supply with suitable voltage for law. # Basic Electrical Trainer – With All Accessories and Practical’s Manual (TLM) verify fundamental laws of electromagnetism and transformer principles: - Verify Basic Laws of Electromagnetic Induction by: (Moving a permanent magnet inside the coil, Moving the coil near the magnetic field, Using relative motion of coil and magnet) - Perform Faraday’s Law using a Simple Loop Generator - Verify Torque Induced in a Current-Carrying Loop - Verify Mutual Induction using coupled coils ### Trainer Components Coils & Magnetic Setup: Air-core and iron-core coils /Permanent magnets and electromagnet arrangements - Simple Loop Generator Assembly - Coupled Coils for Mutual Induction - DC/AC Power Supply (Low Voltage, Safe for Lab Use) - Digital Meters: Voltmeter, Ammeter, Galvanometer provision for induced emf detection - Load Resistors & Variable Rheostat - Connecting Leads & Safety Terminals Accessories Provided-(Test leads, Switches, fuses, and protection devices, Mechanical stand/fixtures for magnet–coil movement, Digital/analogue measurement devices all accessories and practical’s manual (TLM) | 2 |
|  | Advance electrical trainer complete – consist of transformers Test supply (1-Phase-230V /3-Phase -400V) test provision of Single-Phase Test (•Open circuit test •short circuit test •Voltage regulation Test) 3-Phase transformer Test •make connection provision of (Star-Delta, Delta-Delta, Delta-Star), (•vector group Yayo and Yy6, •vector group Ddo and Dd6, • vector group Yd11 and Yd1) With measuring instruments of Digital Meter (Volt, Current, Power, power factor, phase angle),3-phase inductive load and 3-phase Resistive load with all accessories and practical’s operational manual (TLM)including practical diagrams | 2 |
|  | Megger | 5 |
|  | Tong tester/ clamp meter Digital | 5 |
|  | Multi-meter A.C / D.C (Digital) (voltage, Current, OHM, frequency, Uf, Continuity and Diode test) | 5 |
|  | Insulation Test digital | 5 |
|  | Voltage, current and power Digital Panel meter | 5 |
|  | Ampere Digital Panel meter | 5 |
|  | Power Digital Panel meter | 5 |
|  | Electric Hand drill machine with hammering 0-13 mm | 2 |
|  | Pedestal drill machine | 1 |
|  | Jigsaw machine portable | 2 |
|  | Insulated Scissor 6” | 25 |
|  | Single phase energy meter 220V /10-20A | 5 |
|  | Three phase energy meter 30 A | 5 |
|  | Dust brush / File brush | 5 |
|  | Magnetic Contactors 2 + 2 220 Volts / 10 A 50Hz | 50 |
|  | Single Phase Motor 220 Volts 50Hz ½ HP | 3 |
|  | Three Phase Motor 380 Volts 50Hz 2 HP | 3 |
|  | Push Button (1-NC&1NO / 2NC&2 NO / 3 NO&3 NC) | 25 |
|  | Change Over Switch -400V/32A | 5 |
|  | Overload Relay 0.5 – 3.0 Amp | 25 |
|  | Motor Protection Switch Three Phase-400/10A | 5 |
|  | AC Motor trainer consist of 3-Induction motor (400V/1KW) Copper winding-1-Nos, Magnetic Connector – (Main contact-400V/10A , 2NO,2NC, Coil voltage -220V )-4Nos , Overload Relay-1Nos , Circuit Breaker –(4-Poles- 400V, ELCB ), Push Button- (11NO,NC) 4-Nos,Change Over switch(400V/10A) -1 Nos, indicators – 3Nos , Timer -1 No, connection leads -100Nos , complete with all accessories and practical’s manual (TLM) | 2 |
|  | Level multi dimension | 10 |
|  | Electrician Toolkit – (128-Pcs) | 12 |
|  | Transformer voltage rating 220V /6V -1A with connection terminal on primary / secondary for training purpose copper winding- with connection Leads – 50Nos | 6 |
|  | Transformer voltage rating 220V /12V+12V -5A with connection terminal on primary / secondary for training purpose copper winding- - with connection Leads – 50Nos | 6 |
|  | Transformer voltage rating 400V / 24V 1000VA current rating -5A iron steel sheet core, with connection terminal on primary / secondary for training purpose copper winding- with connection Leads – 50Nos | 6 |
|  | Auto Transformer three phase rating (2000VA, 0-400V/5A) for training purpose with connection Leads – 20Nos | 5 |
|  | Auto transformer single phase rating (1000VA, 0-230V, 5 Amp, 50c/s) copper winding for training purpose - with connection Leads – 20Nos | 5 |
|  | Tachometer (RPM) digital | 3 |
|  | Variable Power Supply for AC Voltage/ single phase voltage (1 - 230V) current rating -5A with output terminal connection Leads – 20Nos includes the operation instruction manual | 3 |
|  | Variable Power Supply for AC Voltage/ 3-Phase voltage (1 - 400V) current rating -5A output terminal with connection Leads – 20Nos includes the operation instruction manual | 3 |
|  | Variable DC power supply Output Voltage: 0-30V, Input Voltage: 230V AC, Display: digital Multi O/P 0-30V, 5A/15V, 2A. Short circuit protection, overload protection. Better Load & Line Regulation. Very Low Ripple. Sturdy | 3 |
|  | Digital Power Clamp Meterwith specification AC current (A)-400A, AC voltage (V)600V- Active power (W)0.01kW~600kW, Apparent power (VA), 0.01kVA~600kV-A, Reactive power (VAr)0.01kVAr~600kVAr, Power factor 0.3~1, Phase angle (°), 0°~360°, Active energy (Wh)-1kWh~9999kWh, True RMS-(AC Voltage/AC Current), with all accessories | 3 |
|  | Phase Sequence 400 V 3-phase power phase sequence - (Digital) | 5 |
|  | Coils with iron core | 5 |
|  | Galvanometer | 5 |
|  | Magnet Bar | 5 |
|  | Winding Machine with digital counter | 3 |
|  | Rheostats | 5 |
|  | Earth Tester Meter | 2 |
|  | Lug Punching Machine (Manual & Hydraulic) | 2 |
|  | Computer with Internet | 1 |
|  | Stationary | 1 |
|  | Sign boards | 1 |
|  | Multimedia | 1 |
|  | Printer | 1 |

- Consumable (with quantity/25 Students)

| Sr.No. | Consumable | Quantity |
| --- | --- | --- |
|  | Solder wire.500-gram 60/40 | 5 reals |
|  | Soldering paste /Risen | 10 ten |
|  | Grinder Disks | 5 |
|  | PVC Pipe/Duct. ½ and ¾ Length of 10 feet | 25 each size |
|  | PVC clamp. / Saddle | 5 packets |
|  | PVC board.3x3 | 200 |
|  | Distribution Box 12’’x12” | 10 |
|  | Circuit Breaker. 5A, 10A, 20A ,32A | 10 |
|  | Wooden Screw ½, 1, 1.5 and 2 ‘’ | 5 boxes |
|  | Single pole switch. 10-A, Piano | 100 |
|  | Lamp holder pin type, Screw Type | 50 each |
|  | Lamp, 100 and 200 watts | 25 |
|  | Junction Box ½ and ¾ | 10 dozen |
|  | PVC Slotted Wiring Duct | 100 Length |
|  | Power plug 30A | 25 |
|  | Sockets 3 pin- 30A | 50 |
|  | PVC wire 1/0.044 | 15 coils |
|  | PVC wire 3/0.029 | 15 coils |
|  | PVC wire 7/0.029’’ | 10 coils |
|  | PVC Cable 4 core 3/0.029’’ | 02 coil |
|  | PVC Cable 4 core 1/0.044’’ | 02 coil |
|  | Magnetic Contactor (400-V) coil voltages 220V 2+2, 16A and 10A | 50 |
|  | Overload relay 10A and 6A | 10 |
|  | Hacksaw Blade | 30 |
|  | Drill bits kit | 15 |
|  | Electrical PVC tapes in a different colour | 1000 length |
|  | Timer with base | 10 |
|  | Indicator Lamp | 100 |
|  | Connector Bar 10A | 5 Box |
|  | Battery 9V | 5 Packet |
|  | Cell 1.5 V | 5 Packet |
|  | Connection Leads | 100 |
|  | Photo copy Paper (Ream) | 10 |
|  | File Cover | 30 |
|  | Bana Plug Connectors | 200 |
|  | Winding wires assorted size | 05 Kg |
|  | Transformer iron core | 02 Kg |
|  | Transformer -230V | 06 No |
|  | PVC Insulation Sleave | 06 dozen |
|  | PVC connector Bar -20A | 06 dozen |
|  | Earth wire -size 10-mm | 01 Coil |
|  | Circuit breaker -230/400V-(ELCB) | 12 |
|  | Heat Sleaves | 06 dozen |
|  | Lugs (Copper)-assorted sized and types | 20- dozen |
|  | Transformer PVC BOBBINS- assorted sized and types | 06 dozen |

- Student Teacher Ratio

25:1

- Teacher Qualification

  - B.Sc. Engineering with 2 years of relevant work experience; or

  - B-Tech and 3 years of relevant work experience; or

  - Diploma Associate Engineer (DAE) with 5 years relevant work experience; or

  - Certificate as Electrical G-II with 8 years relevant work experience

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 60 | 6 Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |