National Vocational Certificate Level – 2 in

“Automation & Process Control”

Curriculum

Date of validation: 09/11/2020

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	1

1.1.	Purpose of the training program:	2

1.2.	Overall objectives of training program:	2

1.3.	Competencies to be gained after completion of course:	3

1.4.	Possible available job opportunities available immediately and later in the future	10

1.5.	Entry level of trainees:	10

1.6.	Minimum qualification of trainer/instructor:	11

1.7.	Recommended trainer: trainee ratio	11

1.8.	Medium of instruction i.e. language of instruction:	12

1.9.	Duration of the course (Total time, Theory & Practical time):	12

2.	Overview of the Curriculum for Automation & Process Control Technology:	14

A- Maintain Occupational Health and Safety	22

0714E&A1: Maintain Health and Safety	22

0714E&A2: Perform safety practices at workplace	33

0714E&A3: Develop professionalism.	41

B- Automation Workshop Practice	48

0714E&A4: Connect Tubing and Fittings	48

0714E&A5: Perform Basic Machining Operation.	53

0714E&A6: Perform Arc Welding.	57

C- Basic Electrical Wiring (Single Phase)	62

0714E&A7: Maintain Tools & Equipment.	62

0714E&A8: Make Cable/Wire Joints	64

0714E&A9: Prepare and Install Distribution Boards	67

0714E&A10: Carryout Basic Electrical Installation	69

0714E&A11: Install Simple Electrical Wiring	72

0714E&A12: Perform Testing of Electrical Wiring	77

0714E&A13: Repair/ Maintenance of Electrical Installations	82

0714E&A14: Carry Out Electrical Planning and Estimation	84

D- Basic Electrical Engineering	88

0714E&A31: Operate Measuring Instruments.	88

0714E&A32: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.	89

0714E&A33: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence	92

0714E&A35: Implement Electromagnet to See Various Effects & Verify Faradays Law	95

0714E&A36: Verify Series and Parallel Combination of Capacitors & Determine Break down Voltage of Capacitor	98

E-Engineering Drawing	100

0714E&A44: Perform Basic Manual Drawing.	100

0714E&A45: Construct different Engineering Curves	109

0714E&A46: Construct Multi-View Drawings.	120

0714E&A47: Perform CAD Software.	129

0714E&A48: Develop 2D using CAD software.	131

0714E&A49: Develop 3D drawing using CAD software.	133

0714E&A50: Identify Instrumentation Drawing	135

0714E&A51: Construct Instrumentation Drawing	141

0714E&A52: Construct Instrumentation Loop diagram or Loop sheet	145

G-Basic Electronics (Analog)	147

0714E&A37: Identify Basic Electronics Components	147

0714E&A38: Design Rectifier using Diode	149

0714E&A39: Carry out Diode Application	152

0714E&A40: Implement Bipolar Junction Transistor (BJT) in Different Applications	153

0714E&A41: Implement Field Effect Transistor (FET) in Different Applications	156

0714E&A42: Implement Thyristor Family in Various Application	160

0714E&A43: Application of Operational Amplifier	162

H- Metrology	165

0714E&A53: Take measurements with graduated tools	165

0714E&A54: Take measurements with combination set	168

0714E&A00: Perform Leveling.	171

0714E&A55: Take measurements with gauges	173

0714E&A56: Perform measurements through Micrometer	175

0714E&A57: Measure dimensions with Vernier tools	177

0714E&A58:  Measure angles with angle measuring Instruments.	179

0714E&A00: Measure Threads and Gears	181

J-Sensors & Actuators	183

0714E&A64: Interface of Sensor	183

0714E&A65: Interface of Actuator	188

K-Process Variable Measurements	190

0714E&A66: Calibrate Flow Instrument	190

0714E&A67: Calibrate Pressure Instrument	196

0714E&A68: Calibrate Level Instrument	199

0714E&A69: Calibrate Temperature Instrument	203

L-Digital Electronics	208

0714E&A70: Verify truth table using digital gates.	208

0714E&A71: Construct and verify combinational logic circuits.	212

0714E&A72: Construct and verify functions of flip flop.	217

0714E&A73: Use 555 Timer IC as Multivibrator	219

M- Industrial Electronics	221

0714E&A74: Implement diode and Thyristor in power control application.	221

0714E&A75: Construct single phase and Three phase Inverter	224

0714E&A76: Operate Digital Sensor Switches	226

0714E&A77: Control Speed of DC/AC Motors	228

N- Electrical instrumentation and Calibration	231

0714E&A78: Perform Test / Calibrate Flow Sensor	231

0714E&A79: Perform Test / Calibrate Level Sensor	235

0714E&A80: Perform Test / Calibrate Pressure Sensor	238

0714E&A81: Perform Test / Calibrate Temperature Sensor	241

O- Electrical Machines	245

0714E&A82: Verify Basic Laws of Electrical Machines	245

0714E&A83: Analyze DC Generator	250

0714E&A84: Analyze DC Motors	256

0714E&A85: Perform Tests On DC Motors	259

0714E&A86: Repair/ Maintenance and Service of Dc Motors and Dc Generators.	270

0714E&A87: Operate Single Phase Motors.	275

0714E&A88: Operate Special Purpose Motors	278

0714E&A89: Analyze Three Phase Motors	283

Q-Pneumatics & Hydraulics	298

0714E&A100: Install / service Compressed Air Generating Units	298

Objective: This Module covers the knowledge and skills required to install/operate and service compressed air generating units.	298

0714E&A101:  Install Pneumatic Circuit Elements.	300

0714E&A102:  Install / Service Hydraulic Power Pack	302

R-Programming	309

0714E&A103:  Programming- I	309

0714E&A104: Programming- II	311

0714E&A105: Programming- III	317

S-PLC Supervisor	326

0714E&A106:  Install PLC software and Simulator	326

0714E&A107: Interface PLC with system - I	331

0714E&A108: Program PLC using Ladder Logic	333

0714E&A109: Commissioning and Testing of PLC	336

0714E&A110: Install Relays and Switches in circuits	342

0714E&A111: Carry out Industrial Automation on PLC	345

0714E&A112:  Interface PLC with system-II	350

T-Industrial Instrumentation & Control	353

0714E&A113:  Install Transducers & Transmitters in Industrial Application	353

0714E&A114:  Install the Process regulators	357

0714E&A115:  Install the Variable Frequency Drive	360

0714E&A116:  Install Pneumatic & Hydraulic system in the Industry	361

0714E&A117:  Installation & Setup Procedure for Digital Pressure, Temperature, Level & Flow Controllers	364

U-Repair & Maintenance of Automation Equipment	369

0714E&A118:  Identify Fault in Automation/ Process Equipment Installation.	369

0714E&A119:  Perform Troubleshooting of equipment.	372

0714E&A120:  Perform Preventive Maintenance of Equipment.	373

V-Boiler Instrumentation	375

0714E&A121:  Operate Boiler Control system	375

0714E&A122:  Install the Boiler Control system	379

W-Application of Automation in daily life	383

0714E&A123:  Operate Product Counter	383

0714E&A124:  Operate ON / OFF / Delay Timers	385

0714E&A125:  Operate speed controller	387

0714E&A126:  Operate Level Detector	389

0714E&A127:  Operate Digital Weighing Scale	391

0714E&A128:  Operate Temperature Controller	393

0714E&A129:  Operate Pressure Controller	394

X-Building Automation System Supervisor	396

0714E&A130:  Designing of Building Automation System	396

0714E&A131:  Perform Security Automation	399

0714E&A132:  Perform Energy management and Monitoring	401

0714E&A133:  Perform HVAC inspection & Maintenance	404

0714E&A134:  Perform Elevator Maintenance	407

List of Tools and Equipment:	411

6.	Members of the Curriculum Development Committee	419

7.	Members of the Curriculum Review & Validation Committee	420

# 1. 	Introduction

This qualification introduces “Automation and Process Control” so that the student will have the competence to install and implement automated process control systems. This is done by presenting relevant topics from PLC, sensors, actuators, calibration of instruments and control systems, and computer vision. Python, Raspberry programming is an important part of the course is to ensure that the student acquires skills in kinematics and computer vision systems for automated process control by using computer vision and contact force sensors will be presented.

Students will gain hands on experience in automated process control system installation, calibration, repair & maintenance along with the some fabrication and machining work.

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

The National Competency Standards could be used as a referral document for the development of curriculum by training institutions.

## Purpose of the training program:

This qualification will help in the installation and calibration of automated process control systems. The candidate will be able to perform fundamental operations of automated process control functions, systems, understand the concepts of various process control systems, their functions and designs, grasp concepts of various process control systems and their integration with various digital system and there troubleshooting. This qualification will help candidate to assembling, synchronization and construct the automated process control system, identify and implement certain automation components, elaborate linkage between the components and their industrial workability & maintenance of various process equipment and devices.

This course enables the youth with greater employment opportunities and entrepreneurial skills.

  - Overall objectives of training program:

The overall objective of the Automation & Process Control program is to enable students to:

The Automation & Process Control technology qualification consists of level 2-5 theoretical and practical competences, which enabling trainee to learn operational techniques of Robotics technology.

The main objectives of the Automation & Process Control qualification are as follows:

- Maintain Occupational Health and Safety

- Automation Workshop Practice

- Basic Electrical Wiring (Single Phase)

- Basic Electrical Engineering

- Engineering Drawing

- Digital skills

- Basic Electronics (Analog)

- Metrology

- Manage IT Skills

- Sensors & Actuators

- Process Variable Measurements

- Digital Electronics

- Industrial Electronics

- Electrical instrumentation and Calibration

- Electrical Machines

- Manage Soft Skills

- Pneumatics & Hydraulics

- Programming

- PLC Supervisor

- Industrial Instrumentation & Control

- Repair & Maintenance of Automation Equipment

- Boiler Instrumentation

- Application of Automation in daily life

- Building Automation System Supervisor

- Develop Entrepreneur Skills

## Competencies to be gained after completion of course:

At the end of the course, the trainee has attained the following competencies:

National Qualification in Automation & Process Control level 2.

- Maintain Health and Safety

- Perform Safety Practices at Workplace

- Develop Professionalism.

- Connect Tubing and Fittings

- Perform Basic Machining Operations

- Perform Arc Welding

- Maintain Tools & Equipment.

- Make Cable/Wire Joints

- Prepare and Install Distribution Boards

- Carryout Basic Electrical Installation

- Install Simple Electrical Wiring

- Perform Testing of Electrical Wiring

- Repair/ Maintenance of Electrical Installations

- Carryout Estimation and Planning

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

- Perform Basic Manual Drawing

- Construct different Engineering Curves

- Construct multi-view drawings

- Install CAD Software

- Develop 2D CAD drawings

- Develop 3D CAD drawings

- Construct Instrumentation Drawing

- Construct Instrumentation loop diagram or loop sheet

National Qualification in Automation & Process Control level 3

- Install Computer Operating Systems and Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform Writing and Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools for Collaboration and Engagement

- E-Commerce

- Use Digital Devices

- Identify Basic Electronics Components

- Design a Rectifier using Diode

- Carry out Diode Application

- Implement Bipolar Junction Transistor (BJT) in Different Applications

- Implement Field Effect Transistor (FET) in Different Applications

- Implement Thyristor Family in Various Application

- Applications of Operation Amplifier

- Take measurements with graduated tools

- Take measurements with combination set

- Perform Levelling

- Take measurements with gauges

- Perform measurements through Micrometer

- Measure dimensions with Vernier tools

- Measure angles with angle measuring Instruments

- Measure Threads and Gears

National Qualification in Automation & Process Control level 4

- Operate Basic Computer Functions

- Perform Basic computer Application

- Develop computer application skills

- Develop advance computer application skills

- Explore computer application skills for careers

- Interface of Sensor

- Interface of Actuator

- Calibrate Flow instrument

- Calibrate Pressure Instrument

- Calibrate Level Instrument

- Calibrate Temperature Instrument

- Verify the Truth Tables for Logic Gates

- Construct & Verify the Logic Circuits

- Construct the Flip Flops

- Use 555 IC as a Multi-Vibrator

- Implement the Thyristors in Electronic Circuits

- Implement Single Phase and Three Phase Inverter

- Operate Digital Sensor Switches

- Control speed of DC/AC Motor

- Perform Test / Calibrate Flow Sensor

- Perform Test/Calibrate Level Sensor

- Perform Test / Calibrate Pressure Sensor

- Perform Test / Calibrate Temperature Sensor

- Verify Basic Laws of Electrical Machines

- Analyze Dc Generators

- Perform Tests on Dc Generators

- Analyze Dc Motors

- Perform Tests on Dc Motors

- Repair/ Maintenance and Service of Dc Motors and Dc Generators.

- Operate Single Phase Motors.

- Operate Special Purpose Motors

- Analyze Three Phase Motors

- Follow Basic Communication skills

- Perform Basic Communication

- Communicate at workplace

- Perform Advanced Communication

- Perform managerial Communication skills

National Qualification in Automation & Process Control level 5

- Install / Service Compressed Air Generating Units

- Install Pneumatic Circuit Elements

- Install / Service Hydraulic Power Pack

- Programming-I

- Programming-II

- Programming-III

- Install PLC software and Simulator

- Interface PLC with system-I

- Program PLC using Ladder Logic

- Commissioning and Testing of PLC

- Install Relays and Switches in circuits

- Carry out Industrial Automation on PLC

- Interface PLC with system-II

- Install Transducer & Transmitter in Industrial Application

- Install the process Regulators

- Install the Variable Frequency Drive ( VFD )

- Install Pneumatic & Hydraulic systems in industry

- Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers

- Identify Fault in Automation/ Process Equipment Installation

- Perform Troubleshooting

- Perform Preventive maintenance

- Operate a Boiler Control System

- Install the Boiler Control System

- Operate Product Counter

- Operate ON / OFF / Delay Timers

- Operate Speed Controller

- Operate Level Detector

- Operate Digital Weighing Scale

- Operate Temperature Controller

- Operate Pressure Controller

- Designing of Building Automation System

- Perform Security Automation

- Perform Energy management and Monitoring

- Perform HVAC inspection & Maintenance

- Perform Elevator Maintenance

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

## Possible available job opportunities available immediately and later in the future

Skilled personnel in the field of Automation & Process Control technology usually get hired in areas pertaining to the light, medium and heavy engineering sector. They can become:

- Maintenance Technician

- Industrial Automation Technician

- Process Control Technician

- Building Automation Technician

- Calibration Lab Technician

- Entrepreneur

- Instructor/trainer (Level 4)

- Associate Automation & Process Control Engineer

Some experienced personnel in the field of Automation & Process Control technology achieve a high level of salaries. There are good prospects for travel both within Pakistan and abroad. The employment outlook in this occupation will be influenced by a wide variety of factors including:

- Trends and events affecting overall employment (especially in the manufacturing industry)

- Location in Pakistan

- Employment turnover (work opportunities generated by people leaving existing positions)

- Occupational growth (work opportunities resulting from the creation of new positions that never existed before)

- Size of the industry

- Flexibility of the applicant (concerning location and schedule of work)

## Entry level of trainees:

The entry for National Vocational Certificate level 2-5, in “Automation & Process Contorol” are given below:

| Title | Entry requirements |
| --- | --- |
| National Vocational Certificate level 2, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 1. |
| National Vocational Certificate level 3, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 2. |
| National Vocational Certificate level 4, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 3. |
| National Vocational Certificate level 5, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 4. |

## Minimum qualification of trainer/instructor:

    - Must be a holder of Bachelor of Technology in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (With three years of experience) or Bachelor of Engineering in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (with one years of experience).

    - Must be able to communicate effectively both orally and in written form.

    - Must be able to perform all competences, given in Automation & Process Control Technology Level 5.

## Recommended trainer: trainee ratio

The recommended maximum trainer: trainee ratio for this program is 1 trainer for 20 to 25 trainees.

## Medium of instruction i.e. language of instruction:

Instructions will be in Urdu/ English/ Local language.

## Duration of the course (Total time, Theory & Practical time):

This curriculum comprises 24 modules. The recommended delivery time is 4070 hours. Delivery of the course could therefore be full time, 5or 6 days a week, for 3 years. Training providers are at liberty to develop other models of delivery, including part-time and evening delivery.

The distribution of contact hours is given below:

Total		-	3600 hours.

Theory	-	955 hours (26.5%)

Practical	-	2645 hours (73.5%)

Description and structure of the course

Following is the structure of the course:

| Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total | Hours |
| Level 2 |  |  |  |  |  |  |
| Perform Safety Practices at Workplace | Level 2 | Functional | 10 | 30 | 40 | 4 |
| Develop Professionalism. | Level 2 | Functional | 15 | 30 | 45 | 4.5 |
| Connect Tubing and Fittings | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Perform Arc Welding. | Level 2 | Technical | 12 | 24 | 36 | 3.6 |
| Maintain Tools & Equipment. | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Make Cable/Wire Joints | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Prepare and Install Distribution Boards | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Carryout Basic Electrical Installation | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Install Simple Electrical Wiring | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Perform Testing of Electrical Wiring | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Repair/ Maintenance of Electrical Installations | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Carryout Electrical planning and Installation | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Operate Measuring Instruments. | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Implement Electromagnet to See Various Effects & Verify Faradays Laws. | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Series and Parallel Combination of Capacitor and Determine Break down voltage of Capacitor. | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Perform Basic Manual Drawing | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Construct different Engineering Curves | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Construct multi-view drawings | Level 2 | Technical | 9 | 27 | 36 | 3.6 |
| Install CAD Software | Level 2 | Technical | 6 | 18 | 24 | 2.4 |
| Develop 2D CAD drawings | Level 2 | Technical | 9 | 27 | 36 | 3.6 |
| Develop 3D CAD drawings | Level 2 | Technical | 9 | 27 | 36 | 3.6 |
| Construct Instrumentation Drawing | Level 2 | Technical | 9 | 27 | 36 | 3.6 |
| Construct Instrumentation loop diagram or loop sheet | Level 2 | Technical | 9 | 27 | 36 | 3.6 |
|  |  |  | 35 | 130 | 165 | 16.5 |
| Level 2 Total Hours |  |  | 125 | 475 | 600 | 60 |

# 2.	Overview of the Curriculum for Automation & Process Control Technology:

| Module Title and Aim | Learning Units | Theory Days/hours | Workplace Days/hours | Timeframe of Modules |
| --- | --- | --- | --- | --- |
| Module A: Maintain Occupational Health and Safety Aim: The aim of this module is to develop knowledge, skills and understanding to establish and maintain the occupational health and safety system. | LU-1: Maintain Health and Safety LU-2: Perform Safety Practices at Workplace LU-3: Develop Professionalism. | 20 | 70 | 90 |
| Module B: Automation Workshop Practice Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Automation Workshop Practice. | LU-1: Connect Tubing and Fittings LU-2: Perform Basic Machining Operations LU-3: Perform Arc Welding. | 15 | 60 | 75 |
| Module C: Basic Electrical Wiring (Single Phase) Aim: The aim of this module is to develop knowledge, skills and understanding to carryout electrical wiring (Single Phase). | LU-1: Maintain Tools & Equipment. LU-2: Make Cable/Wire Joints LU-3: Prepare and Install Distribution Boards LU-4: Carryout Basic Electrical Installation LU-5: Install Simple Electrical Wiring LU-6: Perform Testing of Electrical Wiring LU-7: Repair/ Maintenance of Electrical Installations LU-8: Carryout Electrical planning and Installation | 30 | 120 | 150 |
| Module D: Basic Electrical Engineering Aim: The aim of this module is to develop knowledge, skills and understanding to Measure and understand the various electrical measuring equipment. | LU1: Operate Measuring Instruments. LU2: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. LU3: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence LU4: Implement Electromagnet to See Various Effects & Verify Faradays Laws. LU5: Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor. | 25 | 95 | 120 |
| Module E: Engineering Drawing Aim: The aim of this module is to develop knowledge, skills and understanding to perform manual drawing & CAD software operations. | LU-1: Perform Basic Manual Drawing LU-2: Construct different Engineering Curves LU-3: Construct multi-view drawings LU-4: Install CAD Software LU-5: Develop 2D CAD drawings LU-6: Develop 3D CAD drawings LU-7: Construct Instrumentation Drawing LU-8: Construct Instrumentation loop diagram or loop sheet | 35 | 130 | 165 |
| Module F: Digital Skills Aim: The aim of this module is to develop knowledge, skills and understanding to operate computer, use digital devices and computer applications. | LU-1: Install Computer Operating Systems and Hardware LU-2: Operate Word-Processing Applications LU-3: Operate Spreadsheet Applications LU-4: Operate Presentation Packages LU-5: Perform Writing And Editing Tasks LU-6: Perform Computer Operations LU-7: Use Computer Applications LU-8: Create User Documentation LU-9: Create Technical Documentation LU-10: Create Basic Databases LU-11: Operate Digital Media Technology LU-12: Use Social Media Tools For Collaboration And Engagement LU-13: E-Commerce LU-14: Use Digital Devices | 60 | 235 | 295 |
| Module G: Basic Electronics (Analog) Aim: The aim of this module is to develop knowledge, skills and understanding to identify electronic components & Thyrister family application. | LU1: Identify Basic Electronics Components LU2: Design a Rectifier using Diode LU3: Carry out Diode Application LU4: Implement Bipolar Junction Transistor (BJT) in Different Applications LU5: Implement Field Effect Transistor (FET) in Different Applications LU6: Implement Thyristor Family in Various Application LU7: Applications of Operation Amplifier | 35 | 125 | 160 |
| Module H: Metrology Aim: The aim of this module is to develop knowledge, skills and understanding to perform measurements through different measuring tools. | LU-1: Take measurements with graduated tools LU-2: Take measurements with combination set LU-3: Perform Levelling LU-4: Take measurements through various gauges LU-5: Perform measurements through Micrometer LU-6: Measure dimensions with Vernier tools LU-7: Measure angles with angle measuring Instruments LU-8: Measure Threads and Gears | 30 | 115 | 145 |
| Module I: Manage IT Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage IT Skills. | LU-1: Operate Basic Computer Functions LU-2: Perform Basic computer Application LU-3: Develop computer application skills LU-4: Develop advance computer application skills LU-5: Explore computer application skills for careers | 25 | 90 | 115 |
| Module J: Sensors & Actuators Aim: The aim of this module is to develop knowledge, skills and understanding to perform interfacing with Sensors & Actuators. | LU-1: Interface of Sensor LU-2: Interface of Actuator | 15 | 50 | 65 |
| Module K: Process Variable Measurements Aim: The aim of this module is to develop knowledge, skills and understanding to perform process variables measurements. | LU-1: Calibrate Flow instrument LU-2: Calibrate Pressure Instrument LU-3: Calibrate Level Instrument LU-4: Calibrate Temperature Instrument | 30 | 120 | 150 |
| Module L: Digital Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to construct logic circuits, function of flip flops and design operation of amplifier. | LU-1: Verify truth tables of digital gates LU-2: Construct & Verify Combinational logic circuit LU-3: Construct and Verify function of Flip Flops LU-4: Use 555 IC as Multi vibrator | 30 | 120 | 150 |
| Module M: Industrial Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to carryout industrial electronic devices. | LU-1: Implement Thyristor in power control application. LU-2: Implement single phase and Three phase Inverter LU-3: Operate Digital Sensor Switches LU-4: Control speed of DC/AC Motor | 35 | 130 | 165 |
| Module N: Electrical instrumentation and Calibration Aim: The aim of this module is to develop knowledge, skills and understanding to carryout calibration of Electrical process control instrumentation. | LU-1: Perform Test / Calibrate Flow Sensor LU-2: Perform Test/Calibrate Level Sensor LU-3: Perform Test / Calibrate Pressure Sensor LU-4: Perform Test / Calibrate Temperature Sensor | 35 | 120 | 155 |
| Module O: Electrical Machines Aim: The aim of this module is to develop knowledge, skills and understanding to perform test and analyze on DC generators & operate and test of stepper & servo motors. | LU-1: Verify Basic Laws of Electrical Machines LU-2: Analyze Dc Generators LU-3: Perform Tests On Dc Generators LU-4: Analyze Dc Motors LU-5: Perform Tests On Dc Motors LU-6: Repair/ Maintenance and Service of Dc Motors and Dc Generators. LU-7: Operate Single Phase Motors. LU-8: Operate Special Purpose Motors LU-9: Analyze Three Phase Motors | 50 | 200 | 250 |
| Module P: Soft Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage work planning and development of soft skills. | LU-1: Develop Workplace Policy and Procedures for Sustainability LU-2: Maintain Professionalism in the Workplace LU-3: Manage Personal Work Priorities and Professional Development LU-4: Manage Workforce Planning LU-5: Undertake Project Work LU-6: Prepare and Implement Negotiation LU-7: Manage Meetings LU-8: Organize Schedules LU-9: Identify and Communicate Trends in Career Development LU-10: Apply Specialist Interpersonal and Counseling Interview Skills | 30 | 120 | 150 |
| Module Q: Pneumatics & Hydraulics Aim: The aim of this module is to develop knowledge, skills and understanding to Install / Service of pneumatic & hydraulic units | LU-1: Install / Service Compressed Air Generating Units LU-2: Install Pneumatic Circuit Elements LU-3: Install / Service Hydraulic Power Pack | 20 | 40 | 60 |
| Module R: Programming Aim: The aim of this module is to develop knowledge, skills and understanding to carryout programming. | LU-1: Programming-I LU-2: Programming-II LU-3: Programming-III | 40 | 65 | 105 |
| Module S: PLC Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to manage PLC system. | LU-1: Install PLC software and Simulator LU-2: Interface PLC with system-I LU-3: Program PLC using Ladder Logic LU-4: Commissioning and Testing of PLC LU-5: Install Relays and Switches in circuits LU-6: Carry out Industrial Automation on PLC LU-7: Interface PLC with system-II | 100 | 180 | 280 |
| Module T: Industrial Instrumentation & Control Aim: The aim of this module is to develop knowledge, skills and understanding to perform to install and setup of various Industrial Instrumentation. | LU-1: Install Transducer & Transmitter in Industrial Application LU-2: Install the process Regulators LU-3: Install the Variable Frequency Drive ( VFD ) LU-4: Install Pneumatic & Hydraulic systems in industry LU-5: Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers | 45 | 75 | 120 |
| Module U: Repair & Maintenance of Automation Equipment Aim: The aim of this module is to develop knowledge; skills and understanding to carryout Repair & Maintenance of Automation Equipment. | LU-1: Identify Fault in Automation/ Process Equipment Installation LU-2: Perform Troubleshooting LU-3: Perform Preventive maintenance | 30 | 50 | 80 |
| Module V: Boiler Instrumentation Aim: The aim of this module is to develop knowledge, skills and understanding to Operate and Install a Boiler Control System. | LU-1: Operate a Boiler Control System LU-2: Install the Boiler Control System | 30 | 50 | 80 |
| Module W: Application of Automation in daily life Aim: The aim of this module is to develop knowledge, skills and understanding Application of Automation in daily life. | LU-1: Operate Product Counter LU-2: Operate ON / OFF / Delay Timers LU-3: Operate Speed Controller LU-4: Operate Level Detector LU-5: Operate Digital Weighing Scale LU-6: Operate Temperature Controller LU-7: Operate Pressure Controller | 40 | 60 | 100 |
| Module X: Building Automation System Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Building Automation System. | LU-1: Designing of Building Automation System LU-2: Perform Security Automation LU-3: Perform Energy management and Monitoring LU-4: Perform HVAC inspection & Maintenance LU-5: Perform Elevator Maintenance | 50 | 75 | 125 |
| Module Y: Develop Entrepreneur Skills Aim: The aim of this module is to develop knowledge, skills and understanding to perform entrepreneur ship. | LU-1: Investigate Microbusiness Opportunities LU-2: Develop A Micro Business Proposal LU-3: Develop A marketing Plan LU-4: Develop And Review A Business Plan LU-5: Organize Finances For The Micro Business LU-6: Manage Human Resources LU-7: Market Products And Services LU-8: Monitor And Review Business Performance LU-9: Negotiate For Resolving Business Issues LU-10: Manage Personal Finances LU-11: Coordinate A Work Team LU-12: Lead Small Teams | 100 | 150 | 250 |
| TOTAL |  | 955 | 2645 | 3600 |

# A- Maintain Occupational Health and Safety

## 0714E&A1: Maintain Health and Safety

Objective: This module covers the skills and knowledge required to ensure safety of machine, knowledge of safety alarm in robotic working area, personal protective equipment (PPE), Maintain First-aid Box, Maintain Fire protection and Machines safety.

Duration:  40 Hours						Theory: 10 Hours						Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Ensure safeguarding devices Off condition | Trainee will be able to: - Check the alarm or indicator or devices which represent the Human Presence in the Robotic working area. - Check and test the working of mechanical limits and Robotic working area. - Check and test the fixed barrier devices, which prevent contact with moving parts of Robot. - Check and test the interlock barrier and guards during off load. - Analyze and interpret the data. - Report the results. | - Explain how to check the safeguard devices. - Describe critical check points of safeguard devices. - Knowledge and understanding of possible risk to maintain cleanliness and safety. Practical Activity: Make a workshop layout and mark safety devices in this layout. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Safety alarm - Barrier - Electrician tool kit - Flat screw driver set - General tools kit - Insulation tester - Multimedia projector - Computer - Safe guard device - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes - Work bench (8ftx4ftx3ft) - Cable tie (assorted sizes) - Contact cleaner - Cotton gloves - Cotton waste - Emery paper - Fuses (0.01A to 20A) - Insulation tape - Lugs (1~10mm) - Permanent marker - PVC tape - Teflon tape - Emery paper (200-400) - WD-40 - Different tags and locks - Equipment maintenance manuals - Logbook - Handbooks - Design books/ sheets - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Printing paper A4 | Class Room Training Workshop. Lab/ Field Visit. |
| - Ensure Safeguarding devices in on condition | Trainee will be able to: - Locate and distinguish the various types’ areas, i.e. Supervisor area, operator area, user area and restricted area for area labeling. - Check and observe the absence of human presence in the restricted area with the naked eye and verify with the Human presence sensor output. - Check and test the starting parameter for starting Robot, i.e. input power, frequency, lubrication, etc. - Check and test working of the Emergency braking mechanism, while emergency power stop is not recommended. - Analyse and interpret the data. - Report the results. | - Define Guarding methods. - Explain how to check the safeguard devices. - Describe critical check points of safeguard devices. - Knowledge and understanding of possible risk to maintain cleanliness and safety. Practical Activity: Make a safety audit action plan and check sheet. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Safety alarm - Barrier - Electrician tool kit - Flat screw driver set - General tools kit - Insulation tester - Safe guard device - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes - Work bench (8ftx4ftx3ft) - Cable tie (assorted sizes) - Contact cleaner - Cotton gloves - Cotton waste - Emery paper - Fuses (0.01A to 20A) - Insulation tape - Lugs (1~10mm) - Permanent marker - PVC tape - Teflon tape - Emery paper (200-400) - WD-40 - Different tags and locks - Equipment maintenance manuals - Logbook - Handbooks - Design books/ sheets - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Printing paper A4 | Class Room Training Workshop. Lab/ Field Visit. |
| - Ensure safety devices during ON load condition | Trainee will be able to: - Check and test the ON load sensing devices, interlocks, ON/OFF load torque and feedback mechanism. - Compare the on load and offload data. - Analyze and interpret data. - Report the results. | - Explain how to check the safeguard devices. - Define Guarding methods before the load condition. - Describe critical check points of safeguard devices. - Knowledge and understanding of possible risk to maintain cleanliness and safety. Practical Activity: Make a list of check points, which are to be verifying before a loading on devices. | Total: 4 Hrs Theory: 01 Hrs Practical: 03 Hrs | - Load sensing device. - interlocks - Electrician tool kit - Flat screw driver set - General tools kit - Insulation tester - Safe guard device - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes - Work bench (8ftx4ftx3ft) - Cable tie (assorted sizes) - Contact cleaner - Cotton gloves - Cotton waste - Emery paper - Fuses (0.01A to 20A) - Insulation tape - Lugs (1~10mm) - Permanent marker - PVC tape - Teflon tape - Emery paper (200-400) - WD-40 - Different tags and locks - Equipment maintenance manuals - Logbook - Handbooks - Design books/ sheets - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Printing paper A4 | Class Room Training Workshop. Lab/ Field Visit. |
| - Ensure Personal Protective Equipment (PPE). | Trainee will be able to: - Arrange personal protective equipment as per requirements - Wear correct personal protective equipment - Store PPE at appropriate place after use. | - Explain why we need (PPEs) Personal protective equipment. - Describe the application of PPEs. - Knowledge and understanding of possible risk to maintain cleanliness and safety. Practical Activity: - Identify PPEs. - Identify PPEs according to the work environment/requirement or condition. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Personal Protective Equipment - Cotton gloves - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes - Printer - Multimedia projector - Computer - Printer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Printing paper A4 | Class Room Training Workshop. Lab/ Field Visit. |
| - Maintain First-aid Box | Trainee will be able to: - Ensure availability of first aid box - Check first aid box for requisite emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. | - Describe First-Aid-Box. - Define periodic checkups of First Aid Box. - Knowledge about the necessary steps to be taken in case of accident or incident. Practical Activity: Make a list of First Aid Box items. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - First Aid Box with First Aid Kit. - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit. |
| - Maintain Fire Extinguisher | Trainee will be able to: - Check expiry of fire extinguisher. - Operate fire extinguisher. - Replace fire extinguisher. - Ensure that the fire brigade is at stand by (for major emergency). | - Describe types of fire. - Define the PASS technique for using fire extinguisher. - Define application of different types of fire extinguishers. - Define periodic checkups of Ffire extinguisher. - Knowledge about the necessary steps to be taken in case of accident or incident. Practical Activity: Demonstrate the use of fire extinguisher. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - Fire Extinguisher - Fire Bucket - Fire Blanket - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit. |
| - Ensure Safeguard of Machines | Trainee will be able to: - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors | - Define Guarding methods. - Describe types of safe guards. - Explain how to check the safeguard devices. - Describe critical check points of safeguard devices. - Knowledge and understanding of possible risk to maintain cleanliness and safety. Practical Activity: Demonstrate the safeguarding of any available machine. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - Fix Safe guards - Moveable safe guards. - Safety Tape - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit. |

## 0714E&A2: Perform safety practices at workplace

Objective: This module covers the skills and knowledge required to ensure safety of machine, knowledge of safety alarm in robotic working area, personal protective equipment (PPE), Maintain First-aid Box, Maintain Fire protection and Machines safety.

Duration:  40 Hours							Theory: 10 Hours						Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Adopt company policies and procedures | Trainee will be able to: - Ensure company’s safety policy. - Adopt company safety procedure. - Advocate worker with company safety policy. - Implement Safety sign board as per standard. | - Describe what the safety policy matters are. - Explain different safety signs and precautions in the work place. Practical Activity: - Prescribe safety sign according to work and work place requirements. - Perform advocacy at the work safety requirements. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - PPEs - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Safety Tape - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - Attain health & safety training | Trainee will be able to: - Take required health and safety training. - Implement work hazardous material information system (WHMIS). - Adopt first aid cardio respiratory, resuscitation and CPR. | - Explain different safety signs and precautions in the work place. - Knowledge and understanding of possible risk to identify hazardous. - Describe CPR techniques. Practical Activity: - Perform CPR. - Identify hazardous material at work place. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - PPEs - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Safety Tape - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - Prepare for emergencies | Trainee will be able to: - Check Take emergency response training. - Ensure practice of emergency exercises. - Check the emergency alarms. - Ensure regular practice of gathering the workers in assembly area during the emergency. | - Explain safety exit requirements. - Describe safety steps in account of emergencies. - Describe types of safety alarms and their inspection. Practical Activity: - Make a workshop layout and mark safety devices in this layout. - Make a safety audit action plan and check sheet. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - Respond to emergencies | Trainee will be able to: - Arrange Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by (for emergency) | - Explain the safety precautions in the workshop. - Describe safety precautionary steps in case of emergencies. - Knowledge to operate emergency response equipment i.e. Fire extinguisher etc. Practical Activity: - Make an emergency plan. - Demonstrate to operate fire extinguisher. | Total: 4 Hrs Theory: 1 Hrs Practical: 03 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - CU5. Maintain First-aid Box | Trainee will be able to: - Ensure availability of first aid box - Check first aid box for requisite emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. | - Explain why we need First Aid Box at work place. - Describe the items contain in First Aid Box. - Knowledge about preliminary first aid treatment. Practical Activity: - Demonstrate preliminary first aid treatment. - Make a first aid box items list. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - First Aid Box - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - Maintain Fire Extinguisher | Trainee will be able to: - Check expiry of fire extinguisher. - Operate fire extinguisher. - Replace fire extinguisher. - Ensure that the fire brigade is at stand by (for major emergency). | - Knowledge to operate emergency response equipment i.e. Fire extinguisher etc. Practical Activity: - Demonstrate to operate fire extinguisher. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |
| - Ensure Safeguard of Machines | Trainee will be able to: - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors | - Identify the safety precautions in the workshop. Practical Activity: - Make a workshop layout and mark safety devices in this layout. - Make a safety audit action plan and check sheet. | Total: 8 Hrs Theory: 2 Hrs Practical: 06 Hrs | - Safety shoes - Helmet - Safety gloves - Safety cloth - First Aid kits - Fire extinguisher - Fire blanket - Fix Safe guards - Moveable Safe guards - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files |  | Class Room Training Workshop. Lab/ Field Visit. |  |

## 0714E&A3: Develop professionalism.

Objective: This module covers the skills and knowledge required to Demonstrate work ethic, Aware of factors affecting personal health, Resolve problems or disagreements with others, participate in professional development, Work with others, Work independently, Speak and listen effectively, interpret documentation, communicate using signals, and communicate Using electronic equipment.

Duration:  45 Hours							Theory: 15Hours						Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Demonstrate work ethic | Trainee will be able to: - Follow principles of work ethics in all situations - Adopt professional behavior | - Explain verbal communication. - Describe written communication - Knowledge of two way communication and Communication ethics (Parent to Child & Child to Parent). Practical Activity: - Demonstrate a role as a manager and communicate with sub ordinate. - Demonstrate a role as a sub ordinate and communicate with manager. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit. |
| - Select factors affecting personal health | Trainee will be able to: - Follow factors affecting personal health - Aware about the situations/conditions that cause stress in professional and personal life | - Knowledge and Understanding about how to establish a system for keeping occupational health and safety - Knowledge and understanding about hazard identification and risk assessment Practical Activity: Make a healthy diet plan. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit. |
| - Resolve problems or disagreements with others | Trainee will be able to: - Communicate effectively - Adopt peaceful approach - Regulate cause of problem or disagreement - Resolve issues | - Explain conflict management - Describe effective communication method Practical Activity: Demonstrate a conflict settlement with colleague. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Participate in professional development | Trainee will be able to: - Assess own knowledge and skills - Acquire information about training opportunities - Adopt to Learn through various methods, such as on job training, reading, courses and co-workers | - Knowledge and Understanding to measure the efficiency gaps against the job requirement. - Knowledge and understanding about types of organizational communication: Formal and informal communication - Define Directional communication - Define Internal and external communication - Explain Oral and written communication Practical Activity: Take information from different institution for on professional development courses. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Work with others | Trainee will be able to: - Work as a team member to achieve common goals - Keep mind open. - Participate in work place meetings - Communicate accurately and clearly - Co-ordinate job related activities - Cooperate with others | - Knowledge and understanding about types of organizational communication: Formal and informal communication - Define Directional communication - Describe Internal and external communication - Explain Oral and written communication Practical Activity: Demonstrate an effective communication with colleague. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Work independently | Trainee will be able to: - Confirm and clarify assignment - Take initiative, anticipate and prepare for next steps in job - Identify and resolve potential and actual problems - Communicate with other site personnel - Complete assignment | - Explain PDA (Plan, Do, Action) Cycle. - Describe effective communication method Practical Activity: Demonstrate the work independently, at given assignment. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Speak and listen effectively | Trainee will be able to: - Listen carefully to what is said - Confirm understanding, such as repeat instructions - Communicate message clearly and accurately to others - Exchange information with others, such as supervisor, signaler, general public, inspectors, other operators and trade people | - Explain verbal communication. - Describe written communication - Knowledge of two way communication ethic (Parent to Child & Child to Parent). Practical Activity: - Demonstrate a role as a manager and communicate with sub ordinate. - Demonstrate a role as a sub ordinate and communicate with manager. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Interpret documentation | Trainee will be able to: - Access and maintain documents - Provide complete, legible and accurate information in documents - Interpret equipment inspection documentation from previous shifts before conducting pre-operational inspection | - Describe written communication. - Define file management. - Define (BOM) Bill Practical Activity: Take information of operation from any machine catalogue. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Communicate with signals | Trainee will be able to: - Identify and work with signals - Communicate with audible signals, such as back-up alarm, and site emergency horn - Communicate with hand signals | - Define the safety precautions in the workshop. - Describe hand signals of overhead or mobile crane. - Describe hand signals of Emergency. Practical Activity: - Demonstrate a communication with hand signals of Emergency. - Identify hand signals of overhead or mobile crane. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |
| - Communicate with electronic equipment | Trainee will be able to: - Check communication devices to verify operating condition, such as complete radio checks - Deliver and receive messages using communication equipment - Follow communication protocol | - Define different communication with electronic equipment i.e. Fax, Short-wave Radio, Radio Broadcast, Satellite Phone etc. - Describe different communication protocols i.e. Video Conferencing, Texting Telephony. Skype, email etc. Practical Activity: Perform communication on different types of communication protocols i.e. Video Conferencing, Texting Telephony. Skype, email etc. | Total: 4.5Hrs Theory: 1.5Hrs Practical: 03Hrs | - FAX machine - Android Mobile - Printer - Multimedia projector - Computer - Pencils - Erasers - Pencil - sharpeners - Paper cutter - Scissors - Color pencils - White chart paper - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files | Class Room Training Workshop. Lab/ Field Visit |

# B- Automation Workshop Practice

## 0714E&A4: Connect Tubing and Fittings

Objective: This module covers the knowledge and skills required to arrange tools/equipment, maintain tool box, insulate tools/equipment, calibrate measuring tools and manage proper inventory of used/unused tools/equipment. Trainee will be expected to follow the procedures to maintain the tools/equipment. Select appropriate device or equipment, obtain measurements using a range of measuring devices.

Duration: 30 Hours				Theory: 06 Hours						Practical: 24Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Measure the parameters using different instruments. | Trainee will be able to: - Determine measurement requirements from specifications. - Select appropriate instrument for the measurement - Apply correct measuring techniques as required. - Record the measurements as per requirements. - Generate an output report. | - Describe safety at workstation - Describe types of Vernier Caliper - Describe types of micrometer - Demonstrate measuring using Vernier caliper - Demonstrate measuring using micrometer. Practical Activity: Measure the dia. of a cylinder using micrometer. Measure the length of cylinder using vernier caliper and calculate the volume of cylinder. | Total- 7.5Hrs Theory- 1.5Hrs Practical- 06Hrs | - Vernier Caliper - Steel rule - External Micrometer - Internal Micrometer - Bevel Protector - Samples for measurement e.g Mild Steel Cylinder, sphere - Stationary - Micrometer clamp - Work Bench with Bench Vice - Multimedia projector - Desktop computer - Computer table & Chair - Felt cloth - Stationary - Cotton gloves - Cotton waste | Class Room and Workshop |
| LU-2: Use the Hand & Power Tools | Trainee will be able to: - Select the appropriate hand/power tool. - Use hand/power tools to achieve desired outcome - Identify the unsafe & faulty tools and forward them for repair - Store hand tools safely in appropriate location as per organizational SOPs - Perform adjustment/ alignments over a range of Hand/ power tools. - Sharpen the hand tools if required. | - Describe safety at work station - Describe types of hand tools. - Define uses of hand tools. - Define safety precautions for hand tools - Demonstrate method for cutting a tube. - Demonstrate method for bending a tube according to required dimension Practical task: Cut a tube according to given length and bend it to an angle of 45 degree. | Total- 7.5Hrs Theory- 1.5Hrs Practical- 06Hrs | - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - Half round 6” file - MS , Copper , Stainless steel & Aluminum tube of different dia - Flat file - Work Bench with bench vice - Tube Holder - Hand drill machine - Drill bit set - Hand grinder - Grinding wheels - Nibbler - Spanner set - Plier set - Screw driver set - Allen Key set - Cotton gloves - Safety glasses - Safety shoes - Cotton waste - Stationary - Multimedia projector - Desktop Computer - Computer Table and Chair | Class Room and Workshop |
| LU-3: Prepare the tubes for operations | Trainee will be able to: - Gather materials, required for the work. - Select tools, equipment and testing devices required for operation. - Check the workability of tools. - Perform calculations for bends and radius. | - Describe safety protocol at work station - Define brazing process and brazing materials. - Describe mechanical properties of copper and steel tubes Practical Activity: Cut tubes of length 200 mm and 100 mm. Braze the tube of length 100 mm to opposite end. | Total- 7.5Hrs Theory- 1.5Hrs Practical- 06Hrs | - Vernier Caliper - Measuring tape - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - MS , Copper , Stainless steel & Aluminum tube of different dia - Flat file - Work Bench with bench vice - Tube Holder - Hand drill machine - Drill bit set - Hand grinder - Grinding wheels - Nibbler - Spanner set - Plier set - Screw driver set - Allen Key set - Cotton hand gloves - Safety glasses - Safety Shoes - Face Shield - Multimedia Projecitor - Desktop computer - Computer Table & Chair - Stationary | Class Room and Workshop |
| LU-4: Attach Fittings to the tubing | Trainee will be able to: - Perform following operations to prepare the tube for installation. - Cut, flare, swage, bend, braze - Attach the tubing as per the circuit diagram. - Perform the Test Run on Equipment - Check for leakages & rectify where applicable. | - Define safety protocol at work station - Describe flaring/ swaging a tube - Define brazing process and brazing materials. - Define leakage testing of brazed joints. - Define types of fittings for tubes. Practical Activity: Cut copper tube to a length of 80.5 mm and make a 90˚bend from 35 mm from one end. Fit an elbow and attach a tube of length 150 mm to other end. | Total- 7.5Hrs Theory- 1.5Hrs Practical- 06Hrs | - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - Half round 6” file - Soldering & brazing equipment - Vernier Caliper - Measuring tape - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - MS , Copper , Stainless steel & Alumunium tube of different dia - Flat file - Work Bench with bench vice - Tube Holder - Hand drill machine - Hand grinder - Grinding wheels - Nibbler - Spanner set - Plaer set - Screw driver set - Allen Key set - Cotton Hand gloves - Safety shoes - Safety Glasses - Face Shield - Cotton Waste - Multimedia Projector - Desktop Computer - Computer Table & Chair | Class Room and Workshop |

## 0714E&A5: Perform Basic Machining Operation.

Objective: This modules covers the knowledge and skills required to prepare material and perform machining operations of drilling, Lathe and Grinding.

Duration: 45 Hours				Theory: 15 Hours						Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Prepare material & machine for operations | Trainee will be able to: - Sketch & interpret the mechanical drawings - Select materials according to the specifications. - Mark & center punch the work piece - Select the appropriate machine for operation - Set speed and feed on the machine. - Check the workability of machine and its tools & accessories. - Perform a test run on the machine | - Describe Safety Protocol at work Station - Describe mechanical drawing. - Define mechanical properties of ferrous and non-ferrous materials. - Demonstrate parts and working of pedestal drill machine. - Define specifications & types of drill bits Practical Activity: Set a speed of 100 RPM on drill machine and hold drill bit on drill chuck. | Total- 9.5Hrs Theory- 3.5Hrs Practical- 06Hrs | - Marking table - Height Gauge with Scriber - Angle Plate - Scriber - Hammer - Centre punch - Steel rule - Work Holding Devices - Screw Driver Set - Spanner Set - Allen Key set - Cotton Gloves - Safety Shoes - Safety Glasses - Cotton waste - Stationary - White Board with Markers - Marking Tools - Measuring tape - Machine Vice - Multimedia Projector - Desktop Computer - Computer Table with Chair - Oil Can with Lube Oil | Class Room and Workshop |
| LU-2: Operate the Drilling machine | Trainee will be able to: - Select the suitable Drill bit for operation - Perform drilling operation as per operations manual of machine - Perform counter sinking/ counter Boring - Perform Reaming operation. - Perform post-operative measures on the machine and work piece. | - Describe safety protocol at workstation - Describe working of drill machines. - Describe types of drill bits, counter bore, counter sink , - Define hand & machine reaming operation and types of reamers. Practical Activity: Drill a hole of dia 5.75 mm on a Mild steel plate and perform counter boring and machine reaming. | Total- 9.5Hrs Theory- 3.5Hrs Practical- 06Hrs | - Bench drilling machine - Set of Drill bits & Reamers - Hand Drilling machine - Vernier Caliper - Scriber - Steel Rule - Center Punch - Hammer - Screw Driver Set - Spanner set - Allen Key Set - Oil Can - Bench Brush - Work Bench with Vice - White Board with Marker - Stationary - Marking Tools - Measuring tape - Multimedia Projector | Class Room and Workshop |
| LU-3: Perform Grinding operations | Trainee will be able to: - Select the suitable Grinding wheel for operation - Perform Grinding operation as per operations manual of machine - Perform operations for checking the surface finish - Perform post-operative measures on the machine and work piece. | - Describe Safety Protocol at Work Place - Describe types and applications of grinding wheels. - Demonstrate measurement of surface finish. - Demonstrate working, operation, and setting of grinding machines. - Define work holding devices. Practical activity: Select a suitable grinding wheel for grinding high carbon steel with 63 HRC. Perform surface grinding. | Total- 13Hrs Theory- 4Hrs Practical- 09Hrs | - Grinding Accessories - Grinding wheels - Milling Machine and accessories - Wheel balancing & dressing attachment - Work Holding Devices - Stationary - Spanner Set - Screw driver set - Allen key set - Scriber - Center Punch - Hammer - Bench Brush - Hand File 6 inch - Oil Can - Measuring tape - Wheel Balancer - Work bench with Vice - End mill and shell end mill cutters - White Board with Markers - Multimedia Projector - Desktop Computer - Computer Table & Chair | Class Room and Workshop |
| LU-4: Operate the Lathe machine | Trainee will be able to: - Select the suitable turning/boring tools for operation - Perform Turning operation as per operations manual of machine - Perform Facing operation as per operations manual of machine - Perform Drilling/Boring operation as per operations manual of machine - Perform Reaming operation. - Perform post-operative measures on the machine and work piece. | - Describe Safety Protocol at Work Station - Demonstrate operation and setting of lathe machine. - Demonstrate grinding HSS lathe tool for finishing and roughing. - Define understand use of boring tool and reamers. Practical Activity: Turn a work piece of diameter 50 mm and length 70 mm. Pre drill dia. 13 mm and bore a hole of 35 mm. | Total- 13Hrs Theory- 4Hrs Practical- 09Hrs | - Lathe machine accessories and tools - Tool Lathe - Turning Tools - Boring Tools - Set of Drill bits - Work holding devices - Spanner Set - Screw Driver Set - Allen Key Set - Hammer - Oil Can - Cleaning brush - Chip Breaker - Stationary - Hard Hat - Cotton Gloves - Safety Glasses - Safety Shoes - Marking Tools - Vernier Caliper - Micrometer External/ Internal - Hand File 6 inch - Measuring tape - Multimedia Projector - Desktop Computer - Computer Table with Chair | Class Room and Workshop |

## 0714E&A6: Perform Arc Welding.

Objective: This modules covers the knowledge and skills required to  Prepare Welding Machine and Accessories for Arc Welding, Make Fillet Weld on Carbon Steel Plate, Make Groove Weld on Carbon Steel Plate and Perform Post Welding Operations

Duration: 36 Hours				Theory: 12 Hours						Practical: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Prepare Welding Machine and Accessories for Arc Welding | Trainee will be able to: - Identify welding requirements from the job, welding procedure specifications and/or technical drawings - Prepare Arc welding machine in accordance with welding procedure specifications/manufacturer instructions - Set up welding machine accessories and consumables as per job requirements, welding procedure specifications and/or manufacturer instructions - Connect welding machine to an independent power supply - Set polarity indicated in the welding procedure specifications | - Describe safety protocol at work station - Describe mechanical drawing. - Define mechanical properties of Arc Welding. - Demonstrate parts and working of Arc Welding - Demonstrate types of Welding Machine Practical Activity: Demonstrate the welding of two metal plates of size 100x100x10 mm at angle of 90 degree by electric arc welding. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Arc Welding Machine - Transformer type Welding machine - Welding Table - Work bench with Bench Vice - Leather Welding sleeves - Tong and Clamp - Wire Brush - Welding Face Mask - Fire Protection equipment - Welding electrode of different of different dia. - Measuring tape - Try Square - Classroom furniture - White board with markers - Multimedia Projector - Desktop computer - Computer Table & Chair - Wire brush - Cotton waste - Stationary - Tong & Toggle Clamp - Workbench - Bench Vice - Practical Task Drawing | Class Room and Workshop |
| LU-2: Make Fillet Weld on Carbon Steel Plate | Trainee will be able to: - Adjust welding parameters (current, voltage, wire feed speed, welding speed etc.) as per welding procedure specifications/job requirements to produce acceptable weld - Maintain gap between electrode and base metal as per standard practices - Carry out welding in 1F position following standard procedures - Follow applicable manufacturing codes and standards for acceptance criteria of visual welding defects. | - Describe safety protocol at workstation - Describe working of Fillet weld - Define types of Carbon Steel - Demonstrate setting of welding machine for Fillet Welding - Define parameters of Fillet Welding Practical Activity: Join two pieces of stainless steel plate by Arc Welding at 90 degree using an inside Fillet Corner as shown in Fig | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Fillet welding machine - Carbon Steel plates - Toggle Clamp - Wire Brush - Welding Table - Tong and Toggle Clamp - Leather Welding sleeves - Welding Face Mask - Fire Protection equipment - Welding electrode of different of different dia. - Measuring tape - Try Square - Cotton Waste - Classroom furniture - Multimedia Projector - Desktop Computer - Computer table with chair - Stationary - Workbench - Bench vice | Class Room and Workshop |
| LU-3: Make Groove Weld on Carbon Steel Plate | Trainee will be able to: - Adjust welding parameters (current, voltage, wire feed speed, welding speed etc.) as per welding procedure specifications/job requirements to produce acceptable weld - Maintain gap between electrode and base metal as per standard practices - Carry out welding in 1G position following standard procedures - Deposit root pass as per welding procedure specifications/job requirements - Deposit filling passes as per welding procedure specifications/job requirements - Deposit capping pass as per welding procedure specifications/job requirements - Check root, filling and capping passes for any visual discontinuities as per acceptance standards - Follow applicable manufacturing codes and standards for acceptance criteria of visual welding defects | - Describe Safety at Work Station - Describe types and applications of Groove Weld. - Demonstrate groove weld equipment - Demonstrate types of groove welding Practical activity: Make a Groove weld joint as per given figure | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Groove welding machine - Carbon Steel plates - Welding Tong - Toggle Clamp - Welding Table - Leather Welding sleeves - Welding Face Mask - Fire Protection equipment - Welding electrode of different of different dia. - Measuring tape - Try Square - Classroom furniture - Multimedia Projector - Desktop Computer - Computer Table with chair - White board with marker - Wire brush - Stationary Toggle Clamp - Workbench - Bench vice | Class Room and Workshop |
| LU-4: Perform Post Welding Operations | Trainee will be able to: - Carry out finishing work of welds following standard procedures - Inspect weld visually and mark any visual defects, as required - Carry out repair work in accordance with approved procedures, as required - Clean work area in accordance with workplace safety practices - Maintain and store tools/equipment/consumable materials in accordance with organization guidelines | - Describe Safety at Work Station - Demonstrate operation and setting of Welding machine - Define welding process for different materials - Describe procedure for welding operation Practical Activity: Perform a post welding for Butt Welding of two metal plates using Electric Arc Welding. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Welding Tong - Welding Table - Leather Welding sleeves - Welding Face Mask - Fire Protection equipment - Welding electrode of different dia. - Measuring tape - Try Square - Classroom furniture - Multimedia Projector - Desktop Computer - Computer Table & Chair - Whiteboard - Wire brush - Stationary - Tong - Workbench - Bench vice | Class Room and Workshop |

# C- Basic Electrical Wiring (Single Phase)

## 0714E&A7: Maintain Tools & Equipment.

Objective: This module covers the skills and knowledge related to arrange tools/equipment, maintain tool box, insulate tools/equipment, calibrate measuring tools and manage proper inventory of used/unused tools/equipment. Trainee will be expected to follow the procedures to maintain the tools/equipment.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Arrange Tools and Equipment | Trainee would be able to: - Identify tools and equipment. - Interpret job card. - Prepare list of tools and equipment as per requirement. - Collect tools and equipment from store. | - Define tool usage w.r.t job. - Differentiate similar tools as per assigned job. - Explain the proper protection of tools before and after use. Practical Activity: List the necessary tools for wire cutting and jointing. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. | Class Room and Workshop |
| LU2. Maintain Tool Box | Trainee would be able to: - Check physical conditions of tools and equipment before use - Perform preventive maintenance as per standards - Perform corrective maintenance of tools as per requirements - Clean tools and equipment after use - Place tools and equipment at appropriate place. | - Define the cleaning method for metallic/ nonmetallic tools. - Define the parameter considered before using sharp tools. - Define the criteria for handling electric test equipment. - Define the storage method for sensitive test equipment’s Practical Activity: Inspect the malfunction issue in the meters used in the defined job | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - PCB Kit | Class Room and Workshop |
| LU3. Insulate Tools and Equipment | Trainee would be able to: - Select insulated tools and equipment - Apply insulated tools and equipment as per standards. | - Define the importance of insulation. - Explain the material used in insulation of tools. Practical Activity: Insulate damaged insulated tools available in workshop. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - CombinationPlier. - Cutter Plier - Nose plier. | Class Room and Workshop |
| LU4. Calibrate measuring tools | Trainee would be able to: - Check calibration status of the measuring tools - Perform calibration of measuring tools as per standards - Record calibration test results. | - Define the term calibration. - Define calibration process in measurement tools. - Define the method for result keeping as record. Practical Activity: Test the measuring instrument’s calibration for accurate measurement. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Analog Multimeter - Digital Multimeter - Wattmeter - Voltmeter - Ammeter | Class Room and Workshop |
| LU5. Manage Inventory of tools and equipment | Trainee would be able to: - Check tools and equipment as per record - Report for faulty tools and equipment to supervisor - Generate demand for deficit tools and equipment - Maintain all records of tools and Equipment. | - Define the format (performa) for faulty tool reporting. - Explain the method for presenting the demand/replacement for/of new tool. - List the inventory of tools as per record. Practical Activity: Prepare a list of old and new tool as merge list and discard the old tool. | Total 11 Hrs. Theory: 02Hrs. Practical: 09 Hrs | - Wire Stripper - Solder wire - Soldering paste - CombinationPlier. - Cutter Plier - Nose plier - Multimeter | Class Room and Workshop |

## 0714E&A8: Make Cable/Wire Joints

Objective: This module covers the skills and knowledge related to make joints of cable during wiring and breakage of wires, Make Cross/Twist joint, Make Straight/Married joint, Make T- Joint, Make Rat tail joint, Make Britannia joint.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Make Cross/Twist joint | Trainee would be able to: - Select the cable. - Strip the wire according to 50mm. - Twist the conductors. - Solder the conductors - Insulate the joint | - Define joint and its application. - Define the term wire insulation. - Define the uses of Cross/Twist joint. - Explain the soldering techniques. - Explain the importance of wire insulation. Practical Activity: Make Cross/Twist joint and insulate it. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU2. Make Straight/Married joint | Trainee would be able to: - Select the cable. - Strip wire to 75mm according to joint requirement. - Intermingle the conductors to 60mm into each other. - Twist 60mm conductors leaving behind 15mm of each cable. - Solder the conductor. - Insulate the joint. | - Explain straight / married joint and its application. - Define the term wire insulation. - Define the uses of straight/Married joint. - Explain the soldering techniques for strengthen the joint. - Explain the importance of wire insulation. Practical Activity: Make the straight / Married joint and insulate it. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier. - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU3. Make T-Joint | Trainee would be able to: - Select the cable - Remove the insulation of cable 1 to 50mm from where a connection is required - Separate conductors of cable 1 equally - Take another 12 mm stripped wire 2 - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable - Solder the joint. | - Explain Make T-Joint and its application. - Define the term wire insulation. - Define the uses of T-Joint joint. - How soldering strength, the joint. - Highlight the importance of wire insulation in terms of protection. Practical Activity: Make the T-joint and insulate it. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - Solder | Class Room and Workshop |
| LU4. Make Rat-tail joint | Trainee would be able to: - Select the single conductor wires - Strip both the wires to 5mm - Twist the conductor - Insulate the joint - Solder the joint | - Explain Rat tail joint and its application. - Explain the term wire insulation. - Define the uses of rat tail joint. - Explain soldering strength of the joint. Practical Activity: Make the Rat tail joint and insulate it. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU5. Make Britannia joint | Trainee would be able to: - Select the cable. - Strip both cables to 75mm. - Bend the tips of both cable right angle about to 6mm. - Hold the two cables overlap 50mm with tips in opposite direction. - Take another bare conductor of 1mm and wrap around in both directions to 6mm. - Solder the joint. - Insulate the joint. | - Explain Britannia joint and its application. - Define the wire insulation. - Define the uses of Britannia joint. Practical Activity: Make the Make Britannia joint and insulate it. | Total 11 Hrs. Theory: 02Hrs. Practical: 09 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |

## 0714E&A9: Prepare and Install Distribution Boards

Objective: This module covers the skills and knowledge required to prepare and install distribution board according to provide protection and load division to wiring, prepare estimate for wiring material, Prepare Distribution Board, Install Distribution Board and wiring.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1.Prepare estimate for wiring material. | Trainee would be able to: - Develop Basic Drawing - Perform Estimation of Materials - Calculate Labour Cost | - Define the importance of wiring plan (drawing). - Define the term cost estimation. - Define the attributes of Labour cost. - Explain calculation chart for labour cost Practical Activity: Analyze the available resource and estimate the cost of wiring material as per given budget. | Total 06 Hrs. Theory: 03 Hrs. Practical: 03 Hrs | - Cables - Wires. - Minature Circuit Breaker (MCB) - Molded Case Circuit Breaker (MCCB) - Resudual Current Device (RCD) - Earth Leakage Circuit Breaker (ELCB) - Distribution Board (DB) - Socket and switches | Class Room and Workshop |
| LU2.Prepare Distribution Board | Trainee would be able to - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity - Select outgoing Miniature Circuit Breaker (MCB) according to load - Provide space for in DB for further MCB - Select Voltmeter, ampere meter and indicator according to load and phases - Select wire according to load and for wiring in Distribution Board (DB) - Make neutral common for all load - Connect accessories according to the circuit diagram | - Define the types of circuit breakers. - Differentiate between RCCB/MCB. - Explain different types of distribution board. - Explain the uses of different types of indicating instrument. - Explain importance of Neutral wire in distribution board. - Explain different accessories use in distribution wiring. Practical Activity: Inspect the overall requirement for as electrical distribution system as per the designated 3 phase load. | Total 12 Hrs. Theory: 03 Hrs. Practical: 09 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Nose plier. - Insulation remover. - Solder. - MCB - MCCB - RCD - ELCB - DB - Socket and switches | Class Room and Workshop |
| LU3. Install Distribution Board and wiring | Trainee would be able to - Fix the distribution board - Take wire from DB to load without joint - Distribute load equally on all phases | - Define the DB installation with earthling and insulation. - Explain the method to expand the wiring distribution in home or office from the distribution board. - Define how to distribute the load. Practical Activity: Develop the single phase distribution board for designated work place. | Total 12 Hrs. Theory: 03 Hrs. Practical: 09 Hrs | - Cables - Wires. - Wire stripper. - Combination Plier - Cutter Plier - Nose plier.. - MCB - MCCB - RCD - ELCB - DB - Socket and switches | Class Room and Workshop |

## 0714E&A10: Carryout Basic Electrical Installation

Objective: This module covers the skills and knowledge required to lay cables, perform single & three phase connections, basic electric wiring and wiring test for carrying out basic electrical Air Condition (AC) installation. The trainee will be required to follow company guidelines as well as the procedure for carrying out basic electrical AC installation.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Basic Electrical wiring | Trainee would be able to - Measure cables as per requirement - Connect cables - Perform joints - Insulate Joints | - Define different types of cable. - Explain simple electrical circuit - Define the difference between cable and wire. - Discuss different electrical wiring diagrams. Practical Activity: Develop the single-phase distribution wiring network for a single floor building. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |
| - Conduct wiring Test | Trainee would be able to - Operate multi-meter for voltage and current - Perform continuity test - Perform polarity test - Perform earthling test - Perform insulation test - Record test results | - Define multi meter analog/ DMM. - Describe the use of megger and earth tester. - Define the importance of meter precision. - Define the process of insulation test. Practical Activity: Test the following attributes of the wire - Insulation test. - Current voltage test. - Earthing test. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Wire stripper - Plier - Nose plier - Solder wire - Soldering paste - Megger | Class Room and Workshop |
| - Lay Cables | Trainee would be able to - Interpret electrical drawing / document - Identify cables - Lay cable. - Perform earthling | - Define different types of cable - Define key features of earthling with examples. - Explain the cable laying process in different ground conditions. - Explain the types of earthling w.r.t service area (domestic, industrial, commercial) Practical Activity: Setup an earth pit for 120 yards house. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover - Earth plate. | Class Room and Workshop |
| - Perform single-phase Connection | Trainee would be able to - Select cable gauge - Select cables colours - Connect cables - Insulate Joints | - Define the AC fundamentals. - Define the wire gauge and its calculation. - Explain the cable connection and its joints. - Explain the process of insulation of cable. Practical Activity: Develop a cable joint for wire connection in the distribution board. | Total 05 Hrs. Theory: 02Hrs. Practical: 03 Hrs | - Cables - Solder - Wire stripper - CombinationPlier - Nose plier - Solder wire - Soldering paste | Class Room and Workshop |
| - Perform three phase Connection | Trainee would be able to - Select cable Gauge - Select cables colours - Connect cables - Insulate Joints | - Define the AC fundamentals. - Define the wire gauge and its calculation. - Explain the difference in single and three phase circuits of electrical distribution. - Explain the three phase 3 wire and three phase 4 wire circuits. - Define the difference between cable and wire. Practical Activity: Connect a 3 phase Motor with a contactor using RYB phase configuration. | Total 11 Hrs. Theory: 02Hrs. Practical: 09 Hrs | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |

## 0714E&A11: Install Simple Electrical Wiring

Objective: This module covers the skills and knowledge required to make single pole switch circuit, make single pole switch socket circuit, make two-way switch circuit, make series/test lamp circuit. Make intermediate switch circuit. Make of Tunnel circuit, Make of impulse switch circuit.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Make single pole switch circuit. | Trainee would be able to - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the term pole and throw in a switch. - Define the various types of switch working and applications. - Define various types of wire types and ducting’s w.r.t specification. - Name various connectors and lug used in cable connections. - Explain various types of electrical supply standards. Practical Activity: Test and install the electrical wire/ cable as per given cable plan with distribution board. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Screw - Single pole switch. - Bulb holder - Bulb - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make single pole switch socket circuit. | Trainee would be able to - Draw wiring diagram of single pole switch socket circuit. - Draw Current path diagram of single pole switch socket circuit. - Draw layout diagram of single pole switch socket circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the phase, neutral, earth in a switch and socket. - Define various types of wire types and ducting’s w.r.t specification. - Define connectors used in switch socket connections. - Define various types of electrical supply standards for 2/3 pin switch sockets. - Explain the connections of multiple switch socket arrangements in an electrical board as per current requirement. Practical Activity: Test and install the electrical wire/ cable as per given cable plan and mentioned specifications for an electrical working board based on multi socket arrangement. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make two-way switch circuit. | Trainee would be able to - Draw wiring diagram of two-way switch circuit. - Draw Current path diagram of two-way switch circuit. - Draw layout diagram of two-way switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the various types of switch working and applications. - Define structure of Two way switch with application and operation. Practical Activity: Develop a start case wiring for 2 floors. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make series/test lamp circuit. | Trainee would be able to - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define series circuit. - Define parallel circuit - Discuss the difference between series and parallel circuit. - Explain the test procedure of Series circuit. - Selection of resistive load for series circuit. - Define the series circuit installation for testing purpose. Practical Activity: Develop a series test lap for testing purpose. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make intermediate switch circuit. | Trainee would be able to - Draw wiring diagram of intermediate switch circuit. - Draw Current path diagram of intermediate switch circuit. - Draw layout diagram of intermediate switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the various types of switch working and applications. - Define structure of intermediate switch with application and operation. - Explain multi stage intermediate switch with applications. Practical Activity: Develop an electrical system to operate load from various location using intermediate switch. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make of Tunnel circuit | Trainee would be able to - Draw wiring diagram of tunnel circuit. - Draw Current path diagram of tunnel circuit. - Draw layout diagram of tunnel circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the term pole and throw in an electrical switch. - Define the various types of switch working and applications. - Explain the function and operation of tunnel wiring with applications. - Explain multi location tunnel circuit with applications Practical Activity: Design a demonstration circuit for mine engineers. | Total 03 Hrs. Theory: 00 Hrs. Practical: 03 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |

## 0714E&A12: Perform Testing of Electrical Wiring

Objective: This module covers the skills and knowledge required to Perform Earth leakage Test, Perform Open Circuit Test, Perform Short Circuit Test, Perform Continuity/Loop Test, Perform Visual Test, Perform Insulation Test, Perform Polarity Test, Perform Earth Resistance Test, Perform Murray Loop Test, and Perform BLAVIER & Earth Loop Test.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Open Circuit Test | Trainee would be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect ohmmeter between starting and ending terminals of live conductor. - Ensure the reading must be near to 0 ohm. - Repeat P2 to P3 for neutral and earth conductor. | - Define open circuit. - Define open circuit attributes. - Explain the ohm resistance in the open circuit. Practical Activity: Test the cable for open circuit using earth tester. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Short Circuit Test | Trainee would be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect one terminal of ohmmeter with live conductor. - Connect the other terminals of ohmmeter with neutral conductor. - Ensure the reading must be infinity (No reading). - Connect ohmmeter between live conductor and earth conductor. - Ensure the reading must be infinity (No reading) | - Define short circuit. - Define short circuit attributes. - Explain the ohm resistance in the short circuit. Practical Activity: Test the cable for short circuit using earth tester. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Continuity/Loop Test | Trainee would be able to - Connect all metal clad switches, metal parts, conduits with earth. - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and earth. - Measure the resistance value with tester which must not be more than 1 ohm. | - Define the term circuit continuity. - Define short circuit attributes. - Explain the ohm resistance and circuit continuity or loop test. Practical Activity: Test the transmission link for ensuring continuity of the cable using earth tester. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| - Perform Visual Test | Trainee would be able to - Check the wires joints. - Check if there is any spark. - Check over heating of wires. - Check all the appliances are on or fluctuating. - Check all indications of meters. - Check Voltages on all phases. - Check the DB and Breakers. - Check the main supply is coming properly. | - Define the cable visual test methods. - Define the physical state of the damage cable. - Observe structural change in the cable due to spark or heat. - Define the cause of increase in resistance due to damage in the cable. - Define the importance of cable grounding. Practical Activity: A fan was operating at its maximum speed. It stops and get out of order. Perform the visual test for fault finding. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Insulation Test | Trainee would be able to - Switch off the main breaker. - Short circuit all lighting connections. - Connect merger between line and earth. - Rotate the merger to generate the voltage. - Read the merger dial and ensure that the insulation resistance should not be less than 50M ohm of any single circuit. | - Define the need of insulation testing. - Define the loss caused due to weak insulation. - Explain various insulation testing method. Practical Activity: Test a cable for its insulation integrity using insulation tester. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| - Perform Polarity Test | Trainee would be able to - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect ohm meter between main line and all the terminal of sockets and load points one by one. - Ensure meter reading value must be less than 1 ohm. | - Define the term polarity. - Explain the importance of circuit polarity. - Define the visual inspection method to test polarity. - Define the continuity test method to test polarity. - Define the ohmic effect on polarity. Practical Activity: Test the polarity of a lighting circuit using ohm meter. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| - Perform Earth Resistance Test | Trainee would be able to - Place 3 electrodes in earth at distance of 10m apart between every electrode. - Connect terminal E of earth resistance tester to first electrode. - Connect terminal P of earth resistance tester to the second electrode. - Connect terminal C of the earth resistance tester with third electrode. - Measure the resistances after applying specific voltage. - Repeat P1 to P5 by interacting earthling regions. - Ensure 3 readings must be equal. | - Define the term earth resistance. - Define the function of electrodes. - Define working of Earth tester with example. - Define the standard range of earth resistance. - Define connection procedure of earth resistance tester. Practical Activity: An electricity lab is being setup for research purpose. Find the earth resistance to insulate the lab by making earthling pit at the location using earth resistance tester. | Total 2.5 Hrs. Theory: 01 Hrs. Practical: 1.5 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| - Perform Earth leakage Test. | Trainee would be able to - Ensure the socket must be at least 13A for RCD plug in. - Adjust the sensitivity of RCD. - Ensure tripping time must not exceed than 200msec. - Plug the RCD in socket and switch on socket outlet. - Ensure P-N and - P-E light up. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move the selection switch to 180o. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move selection switch to 00. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec | - Define earthling and its purpose. - Explain the operation of Earth leakage tester. - Define the indicators used in earth tester. - Explain the procedural steps involve in earth leakage testing. Practical Activity: Measure the earth leakage current of the cable using earth tester. | Total 3.5Hrs. Theory: 02 Hrs. Practical: 1.5 Hrs | - Sockets - RCD - ELCB - Loads - Supply source - Distribution Box - Ohmmeter - Earth resistance tester - Continuity - Tester. - Breakers - Megger | Class Room and Workshop |

## 0714E&A13: Repair/ Maintenance of Electrical Installations

Objective: This module covers the skills and knowledge required to Analyse Fault in Electrical Installations, troubleshooting of electrical equipment’s and Carry out Preventive Maintenance. Carry out repair and maintenance of electrical installations at workplace in accordance with the manufacturer’s instructions and organizational requirements.

Duration: 30 Hours						Theory: 9 Hours					Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze Fault in Electrical Installations | Trainee would be able to - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the connection of installed equipment according to electrical drawing - Check the faulty components | - Define the term fault. - Define the importance of electrical drawing in diagnostics. - Define the basic operation of Switch gear. - Define the use of Insulation tester. Practical Activity: Elaborate the procedural steps involved in analyzing the fault in Electrical Installations. | Total Hrs. Theory: 03 Hrs. Practical: 07 Hrs. | - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |
| - Troubleshoot electrical equipment’s | - Gather information. - Identify the malfunction - Identify which parameters need to be evaluated - Identify the source of the problem - Perform root cause analysis - High resistance connection test results | - Define procedure of identifying root cause of fault - Define parameters of evaluating to identify the problem Practical Activity: Explain the general methods of troubleshooting the electrical equipment’s according to prescribe procedure. | Total 10 Hrs. Theory: 03 Hrs. Practical: 07 Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter |  |
| - Carry out Preventive Maintenance | Trainee would be able to - Perform preventive maintenance as specified by the manufacturers or SOP - Check out the equipment logging sheet and updates logging - Update Maintenance/service records as per requirement | - Define the term maintenance. - Define preventive maintenance. - Define key attributes of preventive maintenance. - Define advantages of preventive maintenance. - Explain the importance of data logging sheet in preventive maintenance activity. Practical Activity: An elevator is working error free from last six months. Describe the procedure for preventive maintenance to keep the elevator smooth run. | Total 10 Hrs. Theory: 03 Hrs. Practical: 07 Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |

## 0714E&A14: Carry Out Electrical Planning and Estimation

Objective: This module covers the skills and knowledge required to analyse customer requirement and specification, Plan and estimate domestic electric work, Plan and estimate commercial   electric work and Plan and estimate industrial electric work.

Duration: 30 Hours						Theory: 9 Hours						Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze customer requirement and specification | Trainee would be able to - Draw the general value chain of the end user. - Highlight the various stages and set of activities in the value chain drawing - Enlist the electrical appliances/materials required in electrical development process - Identify critical stages in the development - Identify the safety aspect required in the critical stages of the development - Enlist the possible energy efficient appliance/devices and global trends in electrical works - Analyse the client requirement at broad level. - Generate a report of various stages of electrical works. - Proposed appliance/materials as per global trends and clarify the technical specification. | - Define the term customer requirement and needs. - Define how to explore the customer requirement. - Define how to present the proposal to satisfy the customer need. - Explain how to develop cost effective and viable solution to fulfil customer needs. - Define how to suggest more than one solution to customer to keep the standard. Practical Activity: A customer is interested to make his work place an energy efficient office. Design a proposal as per defined requirement. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room |
| - Plan and estimate domestic electric work | Trainee would be able to - Plan the client requirement at broad level from the proposal. - Plan the electrical appliances/materials / used in different stages of the electrical development process - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for lighting and appliances - Plan a main and sub distribution board. - Ensure safety system. | - Define the survey process to formulate the domestic electrical plan. - Define various methods of data collection for cost and need analysis for domestic appliances and accessories. - Define how to present the material and cost estimation for the domestic need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. - Define how to suggest more than one solution to customer. Practical Activity: A newly constructed house need some electrification. Design a proposal as per customer requirement. Domestic standard appliances may be suggested in the proposal to keep it cost effective. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room and Workshop |
| - Plan and estimate commercial electric work. | Trainee would be able to - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan a main and sub distribution board. - Ensure safety measures in development process. - Enlist the material required. | - Define the survey process to formulate the commercial electrical plan. - Define various methods of data collection for cost and need analysis for commercial appliances and accessories. - Define how to present the material and cost estimation for the commercial need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. Define how to suggest more than one solution to customer Practical Activity: A supermarket has to start a new section of electronic appliances. Security system has to be installed in the area for surveillance purpose. Develop a proposal according to the work space design to provide ease to the byer so one can test the appliance before purchase. The proposal should present durable electrical fixtures & accessories for commercial use. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room and Workshop |
| - Plan and estimate industrial electric work. | Trainee would be able to - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan 3-phase line for heavy loads - Plan a separate control panel box for heavy machinery. - Plan a main and sub distribution board. - Design a safety system for protection of machinery and labour. - Assign color scheme for safety measures | - Define the survey process to formulate the industrial electrical plan. - Define various methods of data collection for cost and need analysis for industrial equipment and accessories. - Define how to present the material and cost estimation for the industrial need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. - Define how to suggest more than one solution to customer. Practical Activity: A Factory has to install a solar system to reduce its running cost. To fulfill its industrial need of the factory, develop an EOI or proposal to install the system and integrate it with the existing power system. Suggest high quality standard hardware which can ensure durability. | Total 06 Hrs. Theory: 03 Hrs. Practical: 03 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables . | Class Room and Workshop |

# D- Basic Electrical Engineering

## 0714E&A31: Operate Measuring Instruments.

Objective: This module covers the skills and knowledge required to Operate Ampere meter, Volt meter & Ohm meter.

Duration:  24 Hours							Theory: 6 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| LU1. Operate Ampere meter. | Trainee would be able to - Identify Ampere meter. - Make a parallel circuit with three different resistors on breadboard. - Adjust proper range of Ampere meter as per load. - Connect Ampere meter in series to each resistor to measure the current. - Turn on the supply and note the reading of current against each resistor. | - Define current and its units. - Define resistance and its units. - Describe series circuit. - Describe parallel circuit. - Enlist the name of various meters. - Describe purpose of Ampere meter. - Explain how Ampere meter is connected in the circuit. - How to use breadboard for circuit development? Practical Activity: Measure current across each resistor (connected in series) in an active circuit with the help of Ampere meter. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. | Class Room and Workshop |  |
| LU2. Operate Volt meter. | Trainee would be able to: - Identify volt meter. - Make a series circuit with three different resistors on bread board. - Adjust proper range of Volt meter as per load. - Connect volt meter in circuit. - Take the reading. | - Define voltage and its units. - Define resistance and its units. - Describe series circuit. - Describe purpose of Volt meter - Explain how voltmeter is connected in the circuit. Practical Activity: Measure voltage across each resistor (connected in series) in an active circuit with the help of Volt meter. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. | Class Room and Workshop |  |
| LU3. Operate Ohm meter. | Trainee would be able to: - Identify Ohm meter. - Adjust proper range of Ohm meter as per resistance value. - Connect Ohm meter with resistor. - Take the reading. | - Define resistance and its units. - Define Ohm’s Law. - Define variable resistor. - Describe purpose of Ohm meter. Practical Activity: Measure resistance across different resistors in an active circuit with the help of Ohm meter. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. - Variable Power supply |  | Class Room and Workshop |

## 0714E&A32: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

Objective: This module covers the skills and knowledge required to Make series circuit and measure voltage and verify KVL, make parallel circuit and measure current and verify KCL, verify resistance of a resistor, Find unknown value of ohms law.

Duration:  24 Hours							Theory: 6 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Make series circuit and measure voltage and verify KVL. | Trainee would be able to - Construct series circuit with different resistors on breadboard and give supply voltage. - Measure the voltage across each resistor. - Note the value of voltage against each resistor. - Sum the voltage of each resistor and verify is it equal to applied voltage. | - Describe characteristics of series circuit. - Describe relation between current, voltage and resistance - Explain Kirchhoff’s Voltage law (KVL). - Define Rheostat. - State laws of resistance. Practical Activity: Practically verify Kirchhoff's Voltage Law (KVL). | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Multi meters. - Resistors of different values. - DC power supply. - Connecting wires. - Rheostat. - Incandescent lamp of different watts. | Class Room and Workshop |
| LU2. Make parallel circuit and measure current and verify KCL. | Trainee would be able to - Construct parallel circuit with different resistors on bread board. - Measure the total current drawn by circuit. - Measure the value of current through each resistor individually. - Verify the law by putting all measured value into equation. | - Describe characteristics of series circuit. - Describe relation between current, voltage and resistance - Explain Kirchhoff’s current law (KCL). - Define Rheostat. - State laws of resistance Practical Activity: Practically verify Kirchhoff's Current Law (KCL). | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU3. Verify resistance of a resistor. | Trainee would be able to - Select the 4 colour band resistor. - Determine the nominal value of resistor using colour code including tolerances value. - Connect Ohm meter across the resistor and measure the value of resistance. - Compare both reading. | - Describe colour code and its use. - Describe the purpose of Ohm meter. - Describe how current, voltage and resistor interact with one another. - Define Rheostat. - State laws of resistance. Practical Activity: Practically verify Ohms law. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 02 Hrs | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU4. Verify Ohm’s Law | Trainee would be able to - Construct the complex circuit using different resistors. - Find I, V with proper meter and determine R using Ohms law. - Find I, R with proper meter and determine V using Ohm law. - Find R, V with proper meter and determine I using Ohm law. | - Explain Current, Voltage and resistance quantities - Explain Ohm’s law. - Describe mathematical expression of ohm’s law. Practical Activity: Calculate unknown values of I,V & R and verify Ohms law. | Total 03 Hrs. Theory: 01 Hrs. Practical: 02 Hrs | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU5. Measure resistance of Rheostat. | Trainee would be able to - Take sliding Rheostat of 17 Ω and Ohmmeter. (0 to 20 or more than 17 Ω) which is available. - Adjust zero with shortening the Ohm meter leads. - Take reading of rheostat when slide is full placed at end, (whole resistance of rheostat) with the Ohm meter like diagram shown above. - Note this result 17 Ω in your note book. - Repeat these reading when sliding exact in half of rheostat, and note this reading. | - Define Rheostat. - Explain procedure for measuring resistance of rheostat Practical Activity: Practically verify Ohms law by measuring resistance of Rheostat. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 02 Hrs | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU6. Measure resistance by using multimeter. | Trainee would be able to - Take multimeter of 0 to 10 M-Ohms or any range of multimeter, which is available at your lab store. - Adjust zero with shortening the multimeter leads. - Take the reading of multimeter like shown above, and note it on your note book. | - Describe the use of multi meter. - State laws of resistance. Practical Activity: Measure resistance by using multimeter. | Total 03 Hrs. Theory: 01 Hrs. Practical: 02 Hrs | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU7. Measure resistance of incandescent lamp. | Trainee would be able to - Take 40 W, lamp and multimeter. - Adjust zero with shortening the Ohm meter leads. - Connect the Ohm meter with its terminal and note its resistance. - Repeat this method for 60 & 100 W lamp. | - Describe characteristics of series circuit. - Describe characteristics of parallel circuit. - Describe colour code and its use. - Describe the purpose of Ohm meter. - Describe how current, voltage and resistor interact with one another. - Define Rheostat. - State laws of resistance. Practical Activity: Measure resistance of incandescent lamp by using Ohm meter. | Total 05 Hrs. Theory: 01 Hrs. Practical: 04 Hrs | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |

## 0714E&A33: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

Objective: This module covers the skills and knowledge required to Measure single phase and poly-phase electrical para meters using Volt-Ampere meter, watt meter & Measure consumed energy with Energy meter.

Duration:  24 Hours							Theory: 6 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure power using Multimeter method | Trainee would be able to - Construct Select the load to calculate the power and give supply. - Measure the voltage and current by using Multimeter. - Find power using power formula. | - Define AC/D.C power. - Explain how to measure power of the circuit with meter. - Differentiate between electrical and mechanical power - Describe the use of Volt meter and Ampere meter. Practical Activity: Measure single phase apparent power using Volt-Ampere meter method. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Voltmeter. - Ammeter. - Connecting Leads. - Power Supply. - Screw Driver & Pliers. - Single Phase Load or 100 watt lamp. | Class Room and Workshop |
| - Measure power using watt meter | Trainee would be able to - Construct Select a load to calculate the power and connect watt meter across the load. - Power-ON the supply and measure the power. | - Define watt meter - Explain construction of watt meter - Describe procedure of measuring power through watt meter Practical Activity: Calculate real power of single phase load with the help of watt meter. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Wattmeter. - Connecting Leads. - Power Supply. - Screw Driver & Pliers. - Single Phase Load or 100 watt lamp. | Class Room and Workshop |
| - Measure single phase AC Power | Trainee would be able to - Select a load to calculate the power and appropriate supply. - Measure the voltage and current using Multimeter. - Calculate the power using power. | - Explain single phase network - Describe calculation of measuring power by power formula - Explain measurement procedure of voltage and current with multimeter Practical Activity: Demonstrate the two wattmeter method of measuring the power in single phase networks. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 02 Hrs . | - Voltmeter - Ampere meter - Multimeter - Combination plier - Phase tester - Cutter plier | Class Room and Workshop |
| - Measure three phase AC Power. | Trainee would be able to - Select a load to calculate the power with appropriate supply. - Measure the voltage, current using Multimeter for each phase. - Calculate the power using power formula. | - Explain three phase network - Describe calculation of measuring power by power formula - Explain measurement procedure of voltage and current with multimeter. Practical Activity: Demonstrate the two wattmeter method of measuring the power in 3-phase networks. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 02 Hrs | - Wattmeter. - Connecting Leads. - Power Supply. - Screw Driver & Plier. - Three Phase Load (3 phase Motor) | Class Room and Workshop |
| - Measure consumed energy with Energy meter | Trainee would be able to - Connect phase line of AC supply to the energy meter. - Connect AC load to the output terminals of energy meter. - Power up the supply and take reading of energy in terms of unit after few minutes form display. | - Explain energy meter in detail - Explain the procedure for measuring consumed energy with energy meter - Describe formula to calculate energy Practical Activity: Connect energy meter with domestic load of single story building | Total 03 Hrs. Theory: 01 Hrs. Practical: 02 Hrs. | - Connecting Leads. - Power Supply. - Screw driver & pliers. - Energy meter | Class Room and Workshop |
| - Measure power factor with voltmeter, ampere meter and watt meter | Trainee would be able to - Connect voltmeter & ampere meter with inductive load (Motor) - Connect watt meter and measure. - Connect AC supply and take the readings of volt, ampere and watt meter. - Utilize the above readings and calculate power factor using power formula P=VI Cos Ø | - Explain power factor - Describe formula for calculating power factor - Explain procedure for calculating power factor with voltmeter, Ampere meter and watt meter Practical Activity: Measure power factor by connecting voltmeter, ampere meter and watt meter. | Total 4 Hrs. Theory: 1.0 Hrs. Practical: 3 Hrs. | - Power factor meter - Voltmeter - Ampere meter - Watt meter - Load (Lamp) - Connecting leads - Power Source | Class Room and Workshop |
| - Measure power factor with power factor meter. | Trainee would be able to - Connect current coil of power factor meter in series to the load. - Voltage coil of power factor meter in parallel to the load. - Power the supply and measure the value of power factor form the meter. | - Explain the reasons of power factor lagging - Describe procedures to improve power factor of an A.C inductive circuit - Explain the leading power factor - Explain function of power factor meter - Explain procedure for calculating power factor with power factor meter. Practical Activity: Measure power factor with power factor meter. | Total 4 Hrs. Theory: 1.0 Hrs. Practical: 3 Hrs. | - Power factor meter - Voltmeter - Ampere meter - Watt meter - Load (Lamp) - Connecting leads - Power Source | Class Room and Workshop |

## 0714E&A35: Implement Electromagnet to See Various Effects & Verify Faradays Law

Objective: This module covers the skills and knowledge related to Implement Electromagnet, Implement circuit to determine the effect on current carrying conductor in magnetic field, Determine the effect on conductor by varying the current with the help of rheostat, plot magnetic lines of forces of bar magnet, Verify Faradays law by moving magnet in side coil, Verify Faradays law by moving coil near the magnet field, Verify EMF through induction.

Duration:  24 Hours							Theory: 6 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Implement Electromagnet. | Trainee would be able to - Take iron nail (approximately 3 inches in length) as iron core and make 30 to 40 turns of thin coated copper wire to form a coil. - Connect dry cell battery with coil wound on the iron nail. - Bring iron nail near the iron pieces and demonstrate the observation. | - Define magnet and magnetism. - Define electromagnet. - Define function of iron core. - Define magnetic lines of force. - Define magnetic field. Practical Activity: Observe how current can create a magnetic field. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 02 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. | Class Room and Workshop |
| - Implement circuit to determine the effect on current carrying conductor in magnetic field. | Trainee would be able to - Take copper rod (5cm in length) and connect wires across it. - Give DC supply to copper rod through rheostat. - Place current carrying copper rod inside the horse shoe magnet. - Observe the rod movement. - Change the polarity of supply and observe the rod again. | - Explain Fleming’s left-hand rule. - Define the term induction - Explain Faraday’s law of electro-magnetic induction. Practical Activity: Calculate the magnetic force on a current-carrying conductor. | Total 2.5 Hrs. Theory: 0.5 Hrs. Practical: 2.0 Hrs. | - Iron nail as core - Thin coated copper wire - Rheostat - Current carrying conductor - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer - Compass needle - Coil - Bar Magnet - Paper - Lead pencil. - Galvanometer | Class Room and Workshop |
| - Determine the effect on conductor by varying the current with the help of rheostat. | Trainee would be able to - Reduce the rheostat resistance. - Record the effect on copper rod. - Increase the rheostat resistance. - Record the effect on copper rod. | - Define function of iron core. - Describe procedure of making magnetic strength of electromagnet. Practical Activity: Measure the effects of a magnetic field on a current carrying conductor with the help of rheostat. | Total 03 Hrs. Theory: 01 Hrs. Practical: 2 Hrs. | - Rheostat. - Current carrying conductor. | Class Room and Workshop |
| - Plot magnetic lines of forces of bar magnet. | Trainee would be able to - Place a bar magnet on paper and outline its boundary with the help of lead pencil. - Place a compass needle at one side the magnet. - Mark points on paper where the compass needle stops. - Repeat the same procedure till compass reach at the other end of magnet. - Change the position of compass needle near the magnetic pole and repeat the procedure for 3 to 4. | - Explain Fleming’s left-hand rule - Explain the direction of magnetic lines of forces Practical Activity: Observe the magnetic field associated with a bar magnet and construct the magnetic field lines. | Total 03 Hrs. Theory: 01 Hrs. Practical: 2 Hrs. | - Iron nail as core - Thin coated copper wire - Rheostat - Current carrying conductor - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil | Class Room and Workshop |
| - Verify Faradays law by moving magnet in side coil. | Trainee would be able to - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow and record the effect on reading of Galvanometer. - Hold the magnet inside the coil and do not move, now record the effect on reading of Galvanometer. | - Explain procedure of connecting galvanometer with the coil - Explain Faraday’s law of electromagnetic induction Practical Activity: Verify Faradys law with the help of galvanometer. | Total 03 Hrs. Theory: 1 Hrs. Practical: 2 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil. - Galvanometer. | Class Room and Workshop |
| - Verify Faraday’s law by moving coil near the magnet field. | Trainee would be able to - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it and record the effect on reading of Galvanometer. - Hold the coil near the magnetic field do not move, now record the effect on reading of Galvanometer. | - Explain Lenz’s Law - Explain procedure of moving coil near static magnetic field Practical Activity: Determine the direction of the current induced in a coil as a result of a change in the magnetic flux inside the coil. | Total 03 Hrs. Theory: 01 Hrs. Practical: 02 Hrs | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil. - Galvanometer. | Class Room and Workshop |
| - Verify EMF through induction. | Trainee would be able to - Take step down transformer and connect its secondary with a Galvanometer and primary winding with a DC battery through a rheostat. - Continuously vary the rheostat and observe the reading on the Galvanometer. | - Define term induction - Explain Lenz’s Law for the direction of induced EMF - Explain reason of high and low EMF induction in coil. Practical Activity: Verify Farady’s law by changing magnetic flux and induced current associated with Faraday’s Law of Induction. | Total 2.5 Hrs. Theory: 1.0 Hrs. Practical: 1.5 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil. - Galvanometer. | Class Room and Workshop |

## 0714E&A36: Verify Series and Parallel Combination of Capacitors & Determine Break down Voltage of Capacitor

Objective: This module covers the skills and knowledge related to Implement a series circuit of capacitors, implement a parallel circuit of capacitors, and determines the breakdown voltage of low voltage capacitor.

Duration:  24 Hours							Theory: 6 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration |  | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Implement a series circuit of capacitors. | Trainee would be able to - Assemble a series circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors - Measure the voltage across each capacitor connected in series - Add the voltage of each capacitor and verify is it equal to applied voltage. - Use voltage of each capacitor and its value to find the charge on each capacitor. | - Define the capacitance of capacitors. - Explain the principles of capacitance. - Describe the basic units of capacitance. - Explain different types of capacitors. - Determine total capacitance in series circuits. Practical Activity: Connect up-to 3 capacitors in series and find the value of total capacitance | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - D.C. power supply unit. - Bridging plugs. - Connecting leads. - Multimeter. (With option of Capacitance measurement). |  |  | Class Room and Workshop |
| - Implement a parallel circuit of capacitors. | Trainee would be able to - Assemble a parallel circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors. - Use applied voltage and value of capacitor to find the charge on each capacitor. - Use total voltage and total capacitance to verify the net charge on the capacitor. | - Define the capacitance of capacitors. - Explain the principles of capacitance. - Describe the basic units of capacitance. - Explain different types of capacitors. - Determine total capacitance in parallel circuits. Practical Activity: Connect up-to 3 capacitors in parallel and find the value of total capacitance | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - D.C. power supply unit. - Bridging plugs. - Connecting leads. - Multimeter. (With option of Capacitance measurement). |  |  | Class Room and Workshop |
| - Determine the breakdown voltage of low voltage capacitor. | Trainee would be able to - Take a capacitor of 6.3 rated volts. - Connect it across a 0-30 volts D.C variable supply - Very slowly increased the voltage of variable supply from zero to rated 6.3v, and then higher than rated, and observed carefully the capacitor and to voltmeter reading. - After slowly increasing at critical position of voltage, the capacitor will be burnt, and smoked. Note that | - Explain breakdown voltage of capacitors? - Explain factor can affect the life of a capacitor? - Define charging of capacitor? - Explain factors affecting capacitance. Practical Activity: Construct a RC circuit to measure breakdown voltage | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - Connecting leads. - D.C. power supply unit. - Bridging plugs - Multimeter. (With option of Capacitance measurement). - Variable D.C powers supply 0-30 Voltas. - Capacitor (Sanyo Operated Volts 6.3 V, SE 30) - D.C Analog or Preferably Digital voltmeter Range 0-50V. - L.E.D (3 to 9 V) Optional. |  |  | Class Room and Workshop |

# E-Engineering Drawing

## 0714E&A44: Perform Basic Manual Drawing.

Objective: This module covers the skills and knowledge required to Draw single stroke capital vertical lettering, Draw single stroke capital inclined lettering, Draw horizontal, vertical and inclined lines, Use of compass, circles, half circles, radius, Drawing Centre   lines, centres, curves, and crossing of lines, Construction of parallel-lines, perpendicular, bisects line, angles and equal division of lines, Draw round corners, circles elements, quadrilaterals inside and outside circle and Construction of angles and triangles.

Duration:  24 Hours					Theory: 06Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Draw single stroke capital vertical lettering | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Use Proper pencil for lettering with holding techniques. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. - Start Writing Vertical Lettering with different style like Gothic, Roman and free hand lettering. | - Define Importance of Technical Drawing. - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe Style of letters. - Define General rules for lettering - Describe List of drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. Practical Activity - Perform to draw single stroke capital vertical lettering. | Total: 3.5Hrs Theory: 0.5Hrs Practical:3Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-Square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Draw single stroke capital inclined lettering. | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Draw upper and lower lines for lettering according to standards. - Start Writing inclined Lettering with different style like Gothic, Roman and free hand lettering. | - Define Importance of Technical Drawing. - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe Style of letters. - Define General rules for lettering - Describe List of drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. Practical Activity: - Perform to draw single stroke capital inclined lettering. | Total: 3.5Hrs Theory: 0.5Hrs Practical: 3Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-Square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Draw horizontal, vertical and inclined lines. | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw lines at 30°, 45°, 60°, 90° and 120° angles. | - Define Importance of Technical Drawing. - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe Style of letters. - Define General rules for lettering - Describe List of drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. Practical Activity: - Perform to construct vertical, horizontal, angular lines. | Total: 03Hrs Theory: 1Hrs Practical: 2Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Draw circles, half circles, radius with compass | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Make different dia meter circles and half circles. | - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Define General rules for lettering - Describe drawing equipment’s - Define Basic lines - Describe Introduction to geometry - Define Introduction to sketching techniques. - Describe Techniques of sketching straight lines in different directions. Practical Activity: - Perform to draw circles, half circles, radius with compass | Total: 03Hrs Theory: 01 Hrs Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Draw Lines | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw Centre lines, - Draw parallel-lines, - Draw perpendicular & bisects line, - Draw equal division of lines - Make different angle curves. - Draw crossing line | - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. - Define Application of lines. - Define Introduction to sketching techniques. - Describe Techniques of sketching straight lines in different directions. Practical Activity: - Construct a different weight lines and different types of lines. | Total: 04 Hrs Theory: 01 Hrs Practical: 03 Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Draw round corners, circles elements, quadrilaterals inside and outside circle. | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Make different dia circles. - Make inside and outside different types of diagrams that touch the circles at the tangent points. | - Define Importance of Technical Drawing. - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe Style of letters. - Define General rules for lettering - Describe List of drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. - Define Application of lines. - Describe Introduction to geometry - Define Introduction to sketching techniques. - Describe Techniques of sketching straight lines in different directions. Practical Activity: - Construct a hexagon with inscribed circle or circumscribed circle method. | Total: 03Hrs Theory: 1Hrs Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |
| - Construct angles and triangles | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw Equilateral Triangle, Isosceles triangle, Scalene Triangle, Right Triangle, Obtuse Triangle, Acute Triangle. | - Define Importance of Technical Drawing. - Describe Language of engineering terminology. - Define application of Technical Drawing - Describe Type of Drawing - Describe Drawing Pencil, their grading, sharpening and using techniques. - Describe Style of letters. - Define General rules for lettering - Describe List of drawing equipment’s - Define Basic lines - Describe Importance of lines - Describe Common Types of lines and correct line weightage. - Define Application of lines. - Describe Introduction to geometry - Define Introduction to sketching techniques. - Describe Techniques of sketching straight lines in different directions. - Define Triangles, Quadrilateral, and Polygons. Practical Activity: - Perform to construct angles and triangles. | Total: 04Hrs Theory: 1Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets |  | Class Room or Demonstration Room Workshop |

## 0714E&A45: Construct different Engineering Curves

Objective: This module covers the skills and knowledge required to Construct inscribe and circumscribe figures, Construct a pentagon, Hexagon and Octagon by circumscribe method, Construct a pentagon, Hexagon and Octagon by inscribe method, Construct a Tangents of circles (Inside & Outside) When the centre of the given circle is known and when the circle of centre is not known, Construct an Ellipse by Concentric Circle Method, Rectangle Method, Oblong Method, Arcs of Circle Method, Rhombus Method and Basic Locus Method, Construct a parabola curve by Rectangle Method, Method of Tangents( Triangle Method) and Basic Locus Method, Construct a hyperbola curve, Construct a Archimedean Spiral curve, Construct a involutes curve of square rectangle hexagon and circle and Construct of cycloid, epicycloids, and hypocycloid.

Duration:  24 Hours					Theory: 06Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct inscribe and circumscribe figures. | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw square, triangle and hexagon according to dimension. | - Describe techniques of sketching straight lines in different directions - Define Triangles, Quadrilateral and Polygons - Describe circular arc using different line method - Describe circular arc - Define types of Geometric Shape Practical Activity - Perform to construct pentagon, Hexagon and Octagon by circumscribe method. | Total: 1.5Hrs Theory: 0.5Hrs Practical: 01Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct a pentagon, Hexagon and Octagon by circumscribe method. | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw pentagon, Hexagon and Octagon | - Describe techniques of sketching straight lines in different directions - Define Triangles, Quadrilateral and Polygons - Describe circular arc using different line method - Describe circular arc - Define types of Geometric Shape - Define two-dimensional shapes - Define three-dimensional shapes - Define types of Geometric Shape Practical Activity - Perform to construct pentagon, Hexagon and Octagon by circumscribe method. | Total: 1.5Hrs Theory: 0.5Hrs Practical: 01Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct pentagon, Hexagon and Octagon by inscribe method | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw pentagon, Hexagon and Octagon. | - Describe techniques of sketching straight lines in different directions - Define Triangles, Quadrilateral and Polygons - Describe circular arc using different line method - Describe circular arc - Define types of Geometric Shape - Define two-dimensional shapes - Define three-dimensional shapes - Define types of Geometric Shape Practical Activity - Perform to Construct pentagon, Hexagon and Octagon by inscribe method | Total: 2.5Hrs Theory: 0.5Hrs Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct Tangents of circles (Inside & Outside) | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw Tangents Inside of a circle when the center of the circle is known. - Draw Tangents Inside of a circle When the center of the circle is unknown - Draw Tangents outside of a circle When the centre of the circle is known - Draw Tangents outside of a circle When the centre of the circle is unknown | - Define methods of drawing Tangents & Normal - Define regular Polyhedrons - Define methods of drawing Tangents & Normal - Describe ellipse - Describe different methods of sketching ellipse - Describe parabola - Describe different methods of parabola - Describe hyperbola curve - Describe different methods of hyperbola curve. Practical Activity - Construct tangent on circle. | Total: 1.5Hrs Theory: 0.5Hrs Practical: 01Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct Ellipse | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw an Ellipse by Concentric Circle. - Draw an Ellipse by Rectangle Method - Draw an Ellipse by Oblong Method - Draw an Ellipse by Arcs of Circle Method - Draw an Ellipse by Rhombus Method. - Draw an Ellipse by Basic Locus Method | - Describe spiral curve - Describe involute curve - Describe cycloid - Describe epicycloids - Describe hypocycloid - Describe ellipse Practical Activity - Perform to Construct Ellipse. | Total: 2.5Hrs Theory: 0.5Hrs Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct a parabola curve | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw a parabola curve by Rectangle - Draw a parabola curve by Method of Tangents( Triangle Method) - Draw a parabola curve by Basic Locus Method | - Describe parabola - Describe different methods of parabola - Describe spiral curve - Describe involute curve Practical Activity - Perform to construct parabola curve. | Total: 04Hrs Theory: 01 Hr Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct a hyperbola curve | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw a hyperbola curve. | - Describe hyperbola curve - Describe different methods of hyperbola curve. - Describe spiral curve - Describe involute curve Practical Activity - Perform to construct hyperbola curve. | Total: 2.5Hrs Theory: 0.5Hr Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct a Archimedean Spiral curve | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw spiral curve. | - Describe cycloid - Describe epicycloids - Describe hypocycloid Practical Activity - Perform to Construct spiral curve. | Total: 04Hrs Theory: 01 Hr Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct involute curve | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw involute curve by square - Draw involute curve by rectangle - Draw involute curve by hexagon - Draw involute curve by circle. | - Describe cycloid - Describe epicycloids - Describe hypocycloid Practical Activity - Perform to construct involute curve. | Total: 2.5Hrs Theory: 0.5 Hr Practical: 02Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct of cycloid, epicycloid, and hypocycloid | Trainee would be able to: - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in different equal parts. - Draw the generating circle and the base line equal to the circumference of the generating circle - Divide the circle and the base line in to equal number of parts - Complete the cycloid, epicycloids, and hypocycloid. | - Describe cycloid - Describe epicycloids - Describe hypocycloid Practical Activity - Perform to construct cycloid, epicycloid, and hypocycloid. | Total: 1.5Hrs Theory: 0.5 Hr Practical: 01Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |

## 0714E&A46: Construct Multi-View Drawings.

Objective: This module covers the skills and knowledge required to Sketch Orthographic projection 1st angle, Sketch Orthographic projection 3rd angle, Sketch Oblique Drawing, Construct multi view drawing of Simple Bearing, Construct multi view drawing of Open Bearing, Sketch prism, Sketch cone and Draw pyramid.

Duration:  36 Hours						Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required |  |
| --- | --- | --- | --- | --- | --- |
| - Sketch Orthographic projection in 1st angle of Projection | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Draw plan view - Draw front view - Draw side view | - Explain Orthographic projection 1st angle. - Define how to show hidden features in projection drawing. - Describe Front, Side and top views and its placement in 1st angle projection. - Describe 1st angle projection symbol. Practical Activity - Perform to draw 1st angle projection drawing on any given object/part. | Total: 04Hrs Theory: 01Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Sketch Orthographic projection 3rd angle of Projection | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Draw plan view - Draw front view - Draw side view | - Explain Orthographic projection 3rd angle. - Define how to show hidden features in projection drawing. - Describe Front, Side and top views and its placement in 3rdt angle projection. - Describe 3rd angle projection symbol. Practical Activity - Perform to draw 3rd angle projection drawing on any given object/part. | Total: 04Hrs Theory: 01Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Sketch Oblique Drawing | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts - Draw the front or side view of the object. | - Explain Oblique Drawing. - Define types of oblique drawing. - Describe uses of oblique drawing. - Explain general oblique. Practical Activity - Perform to draw oblique view drawing on any given object/part. | Total: 04Hrs Theory: 01Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct multi view drawing of Simple Bearing. | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Draw plan view of simple bearing - Draw front view of simple bearing - Draw side view of simple bearing | - Explain Multi view drawing of Simple Bearing. - Define object symbols and schematic. Practical Activity - Perform to construct multi view drawing of Simple Bearing. | Total: 04Hrs Theory: 01Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Construct multi view drawing of Open Bearing | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Draw plan view of open bearing - Draw front view of open bearing - Draw side view of open bearing | - Explain Multi view drawing of Simple Bearing. - Define object symbols and schematic. Practical Activity - Perform to construct multi view drawing of open Bearing. | Total: 04Hrs Theory: 01Hrs Practical: 03Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Sketch prism | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Sketch prism | - Explain Prism, Cone and pyramid. - Define 3D pattern development through parallel line method. Practical Activity - Perform to construct a 3D pattern of prism on given dimensions i.e. L x W x H. | Total: 05Hrs Theory: 01Hrs Practical: 04Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Sketch cone | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Start with a horizontal oval - draw the two sides of a triangle which meets at a common point | - Explain Prism, Cone and pyramid. - Define 3D pattern development through radial line method. Practical Activity - Perform to construct a 3D pattern of cone on given dimensions i.e. Base Dia x H. | Total: 05Hrs Theory: 01Hrs Practical: 04Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |
| - Draw pyramid | - Prepare Drawing sheet. - Select the tools. - Draw Boundaries lines as per standards. - Make title bar - Divide the sheets in equal parts. - Sketch pyramid | - Explain Prism, Cone and pyramid. - Define 3D pattern development through radial line method. Practical Activity - Perform to construct a 3D pattern of cone on given dimensions i.e. Base size x H. | Total: 06Hrs Theory: 02Hrs Practical: 04Hrs | - Steel Scale - Drawing sheet - Drawing bench or board - Set Square - Compass - French curve - T-square - Pencils different grades - Erasers - sharpeners - Paper cutter - Scissors - Adhesive tape - Printer - Multimedia projector - Computer - White chart paper - White board - White board markers (red, blue, green, black) - Permanent markers (black) - File covers - Box files - Graphics and drawing sheets | Class Room or Demonstration Room Workshop |

## 0714E&A47: Perform CAD Software.

Objective: This module covers the skills and knowledge required to install CAD software and create new file and create basic drawing.

Duration:  24 Hours					Theory: 06Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Install software and Create New File | - Install latest software version - Create New Template - Save the File - Create Drawing - Select units as per requirements - Select drawing Limits | - Define CAD software installation procedure. - Basic Drawing Settings - Unit setting - Limits setting - User coordinate system Workspace setting - Object Snap Settings Practical Activity - Perform Install CAD software and Create New File | Total: 12Hrs Theory: 03Hrs Practical: 09Hrs | - Computer System - Computer table - CAD software. |  | Class Room or Demonstration Room Workshop |
| - Create Basic Drawings | - Select Coordinate System as per requirements - Draw a rectangle using line command - Draw an ARC - Draw a circle with given requirements - Draw a circle with 3-P touching outer corner of Equilateral Triangle - Use the Erase Command | - Basic Commands and Concepts Angles and lines in CAD software. - Differentiate between absolute, relative and polar system - DIMSTYLE and MTEXT commands - HATCHING concepts in CAD - Differentiate between CHAMFER and FILLET command - Types of Array - OFFSET, CIRCLE and ROTATE short commands - Zooming options - Tools palettes window Practical Activity - Perform to Create Basic Drawings on CAD software. | Total: 12Hrs Theory: 03Hrs Practical: 09Hrs | - Computer System - Computer table - CAD software. |  | Class Room or Demonstration Room Workshop |

## 0714E&A48: Develop 2D using CAD software.

Objective: This module covers the skills and knowledge required to Develop and prepares 2D objects

Duration:  36 Hours					Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Develop 2D Objects | - Setup drawing interface for required specifications - Setup user interface settings for required specifications - Save CAD drawing files in different file formats (DWG/IGS/etc., PDF, and JPG). - Create 2D Objects with given measurements - Edit 2D Objects to meet set standards | - Describe Basic Drawing Settings - Describe Unit setting - Describe Limits setting - Define User coordinate system Workspace setting - Describe Object Snap Settings - Describe Basic Commands and Concepts Angles and lines in CAD. - Define Differentiate between absolute, relative and polar system - Define DIMSTYLE and MTEXT commands - Describe HATCHING concepts in CAD - Describe Differentiate between CHAMFER and FILLET command - Describe Types of Array - Define OFFSET, CIRCLE and ROTATE short commands Practical Activity. - Create 2D drawing of given object/part by using CAD software. | Total: 19Hrs Theory: 05Hrs Practical: 14Hrs | - Computer System - Computer table - CAD software. |  | Class Room or Demonstration Room Workshop |
| - Prepare Final Set of 2D Drawings | - Use appropriate command and tools to develop 2D Drawing - Develop 2D Drawing with given project specifications and measurements - Create title block layout as required - Plot drawing on scale according to required size and orientation | - Describe Zooming options - Describe Tools palettes window - Describe Design center - Define Scale and paper sizes Practical Activity. - Develop 2D Drawing with given project specifications and measurements | Total: 17Hrs Theory: 04Hrs Practical: 13Hrs | - Computer System - Computer table - CAD software |  | Class Room or Demonstration Room Workshop |

## 0714E&A49: Develop 3D drawing using CAD software.

Objective: This module covers the skills and knowledge required to Prepare to load machine and attachments, Load or assist with loading machine and attachments, Assist with securing machine and attachments, Unload or assist with unloading machine and attachments, Prepare rubber-tired machine for road travel and Drive rubber tired machine on public roads.

Duration:  36 Hours								Theory: 9 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - LU1. Develop 3D Objects | - Setup & save 3D drawing interface for required specifications. - Setup 3D user interface settings for required specifications. - Create 3D objects with given measurements. | - Describe 3D modeling in CAD - Describe 3D solids, - Describe surfaces, meshes, and Wireframe objects. Practical Activity - Develop 3D Objects on given object/part by using CAD software. | Total:12Hrs Theory: 03Hrs Practical: 09Hrs | - Computer System - Computer table - CAD software |  | Class Room or Demonstration Room Workshop |
| - LU2. Manipulate 3D objects using 3D Editing Tools | - Modify 3D objects in line with the requirements. - Make customized 3D models according to the requirement of given job. - Convert 3D Face objects into a single mesh objects. | - Describe Difference between Surface Modeling and Solid Modeling. - Define 3D face and Edges - Define Boolean operation concepts - Describe Subtraction - Describe Intersection - Describe Union - Define 3D Navigate control Practical Activity - Manipulate 3D objects by using 3D Editing Tools | Total:12Hrs Theory: 03Hrs Practical: 09Hrs | - Computer System - Computer table - CAD software |  | Class Room or Demonstration Room Workshop |
| LU3. Render 3D Model | - Apply material to required 3D Model as per given specification - Apply lights to get the requisite scene of required 3D model - Assign cameras to execute different views of required 3D Model. - Render and print the 3D model according to required size & orientation. - Apply texture to 3D model as per given specification. | - Describe functions of different camera settings. - Define Importance of scene creation - Describe preset views such as isometric, top, bottom, front, left, etc. - Describe perspective projection and parallel projection - Define Walk - Describe Constrained Orbit - Describe Material and light control - Describe Planner mapping - Describe Texture map - Describe Opacity control - Define Render context - Describe Render sampling Practical Activity - Perform Render a 3D Model | Total:12Hrs Theory: 03Hrs Practical: 09Hrs | - Computer System - Computer table - CAD software |  | Class Room or Demonstration Room Workshop |

## 0714E&A51: Construct Instrumentation Drawing

Objective: This module covers the specific skills and knowledge related to identifies the Use of engineering drawings and software’s including Process Flow Diagrams (PFDs), Piping and Instrument Diagrams (P&IDs).The loop diagram is the most detailed form of diagram for a control system as a whole and as such it must contain all details omitted by PFDs P&IDs alike.

Duration:    36    Hours	                                           Theory:    09   Hours	                                                              Practical:   27   Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Create instrumentation drawings using application software. | Trainee will be able to: - Create Basic Diagram such as Circular Diagram, Venn diagram, Pyramid Diagram, List Diagram, Arrow Diagram, Circle Spoke Diagram, and Timeline using CAD software. - Create Charts and Graphs using CAD software. - Create Basic Flowchart, Workflow Diagram, Cross-functional Flowchart, Data Flow Diagram Process Flowchart using CAD software. - Create Engineering Diagram such as Basic Electrical Diagram, Circuits and Logic Diagram CAD software. - Create Industry Control System Diagram, Schematic Diagram, Wiring Diagram, Process Flow Diagram, Piping and Instrumentation Diagram using CAD software. | - Define instrument drawing by using CAD application software - Define Location and selection of correct drawings for units or systems - Define how to Read and interpret PFDs - Define P&IDs for the general flow of plant processes and equipment - Describe basics of creating basic instrument drawing, flow chart and symbolic diagrams using CAD application software. Practical Activity Create given Instrumentation drawing by using CAD software | Total-12Hrs Theory-03 Hrs Practical-09Hrs | - Stationery - Computers with enhanced graphic card & 20-inch Display - Electrical CAD software. - Plotter/printer. - drafting board - T-square - drafting machine - French Curves - Rulers - Compass - Templates - Perspective machines - Tracing tube - Dry transfer | Class Room and Workshop |
| LU2: Implement the instrumentation drawings, specification and standard. | Trainee will be able to: - Create neat free hand instrumentation drawing. - Draw Instrumentation drawings, specification, standards on cad software such as Electrical CAD software such as Lucid chart, PROCAD, E draw Max, Smart Draw, Microsoft Visio etc. Interpret Instrumentation drawings using knowledge of process controls and instrumentation drawing layouts, conventions and symbols. - Identify and Extract the Dimensions (or BOM) from the instrument drawings and diagrams. - Determined the Location of equipment from the given instrumentation drawings and specification. - Identify the Connections between pneumatic, hydraulic and electrical equipment are determined from instrumentation drawings and specifications. | - Describe freehand instrument drawing. - Define instrument drawing by using CAD application software. - Define editing and interpreting instrument drawing. - Define dimension and connection inside the instrument drawing. - Define critical reviews of engineering drawings and designs. Practical Activity Implement provided instrumentation drawings, specification and standard. | Total-12Hrs Theory-03 Hrs Practical-09Hrs | - Stationery - Computers with enhanced graphic card & 20-inch Display - Electrical CAD software Plotter/printer. - drafting board - T-square - drafting machine - French Curves - Rulers - Compass - Templates - Perspective machines - Tracing tube - Dry transfer | Class Room and Workshop |
| LU3: Identify and draw instrument hook up drawings | Trainee will be able to: - Create Basic Diagram such as Circular Diagram, Venn diagram, Pyramid Diagram, List Diagram, Arrow Diagram, Circle Spoke Diagram, and Timeline using CAD software. - Create Charts and Graphs using CAD software. - Create Basic Flowchart, Workflow Diagram, Cross-functional Flowchart, Data Flow Diagram Process Flowchart using CAD software. - Create Engineering Diagram such as Basic Electrical Diagram, Circuits and Logic Diagram CAD software. - Create Industry Control System Diagram, Schematic Diagram, Wiring Diagram, Process Flow Diagram, Piping and Instrumentation Diagram using CAD software drive, centrifugal pump turbine drive etc.) | - Describe freehand instrument drawing. - Define editing and interpreting instrument drawing. - Define dimension and connection inside the instrument drawing. - Define Basic Process Flow - Define Basic Flow Sheet and Line Symbols. - Define Basic Instrument Symbol. - Define Basic Logic Function , PLC and Distributed Control Display Symbols - Define Basic Piping and Fluid Power Symbols. Practical Activity: Draw provided instrument hook up drawings in software | Total-12Hrs Theory-03 Hrs Practical-09Hrs | - Stationery - Computers with enhanced graphic card & 20-inch Display - Electrical CAD software Plotter/printer. - drafting board - T-square - drafting machine - French Curves - Rulers - Compass - Templates - Perspective machines - Tracing tube - Dry transfer | Class Room and Workshop |

## 0714E&A52: Construct Instrumentation Loop diagram or Loop sheet

Objective: This module covers the specific skills and knowledge related to identifies the Use of engineering drawings and software’s including Process Flow Diagrams (PFDs), Piping and Instrument Diagrams (P&IDs).The loop diagram is the most detailed form of diagram for a control system as a whole and as such it must contain all details omitted by PFDs P&IDs alike.

Duration:    36   Hours	                                              Theory:     09    Hours                                                             Practical:   27    Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Identify and draw loop documents using application software. | Trainee will be able to: - Draw control loop - Create general control loop diagram - Automated production of Instrument Data Sheets. (In MS-EXCEL Format) - Automated production of Instrument Index report. - Automated production of Bill of materials report. - Automated production of Cables Schedule report. - Automated production of wire interconnection lists. - Automated production of conductor/core interconnection lists. - Automated production of USER defined reports. - Project Management and Revision tracking. - Automated project drawing index list. - Automated materials quantity summary report. - Automated wire label / ferrule lists. - Tag name duplication cross referencing report. - Automated warnings summary. - Revision comparison reports for all parts and | - Define Scope and purpose of loop diagram - Define diagram and format. - Describe PFDs - Describe P&IDs for the general flow of plant processes and equipment. - Define Basic Process Flow Sheet Symbols. - Define Basic Flow Sheet and Line Symbols. - Define Basic Instrument Symbol. - Define Basic Piping and Fluid Power Symbols. - Define basics of creating basic instrument drawing, flow chart and symbolic diagrams using CAD application software. - Describe creating freehand instrument drawing Practical Activity: Draw provided loop documents using application software. | Total-21Hrs Theory - 06 Hrs Practical-15Hrs | - Stationery - Computers with enhanced graphic card & 20-inch Display - Electrical CAD software - Plotter/printer. - Drafting board - T-square - drafting machine - French Curves - Rulers - Compass - Templates - Perspective machines - Tracing tube - Dry transfer | Class Room and Workshop |
| LU2: Identify and draw instrument Loop diagram using application software. | Trainee will be able to: - Automated production of Loop Diagrams. (In CAD Format) - Automated production of Hook up Diagrams. (In CAD Format) - Automated production of Wiring /Terminal Strip diagrams (In CAD Format) | - Define instrument drawing using CAD application software. - Define editing and interpreting instrument drawing. - Define dimension and connection inside the instrument drawing. - Define critical reviews of engineering drawings and designs. Practical Activity Draw Provided instrument Loop diagram using application software | Total-15Hrs Theory- 03Hrs Practical-12Hrs | - Stationery - Computers with enhanced graphic card & 20-inch Display - Electrical CAD software Plotter/printer. - drafting board - T-square - drafting machine - French Curves - Rulers - Compass - Templates - Perspective machines - Tracing tube - Dry transfer | Class Room and Workshop |

# List of Tools and Equipment:

(FOR A CLASS OF 25 STUDENTS)

| Sr. # | Description | Quantity |
| --- | --- | --- |
| 1 | Steel-toed footwear, | 25 Nos. |
| 2 | hard hat, | 25 Nos. |
| 3 | safety gloves, | 25 Sets |
| 4 | appropriate safety glasses, | 25 Nos. |
| 5 | high visibility vest, | 25 Nos. |
| 6 | hearing protection, | 25 Nos. |
| 7 | respirators, masks, | 25 Nos. |
| 8 | De-electric boots and gloves for protection from electrical shock. | 25 Nos. |
| 9 | First Aid Box (Include all necessary bandages and medicines) | 02 Sets |
| 10 | fire extinguishers, | 04 Nos. |
| 11 | fire blankets, | 04 Nos. |
| 12 | Sand Bucket with stand | 02 Sets |
| 13 | basic tools, such as grease gun, air pump etc | 10 Sets |
| 14 | Allen Key | 10 Sets |
| 15 | Work Bench (able to hold 06 bench wises) | 05 Nos. |
| 16 | Bench Wise | 30 Nos. |
| 17 | hammer, | 05 each size |
| 18 | screwdrivers, | 05 each size |
| 19 | pliers, | 05 each size |
| 20 | self-locking pliers, | 05 each size |
| 21 | adjustable wrench, | 05 each size |
| 22 | Assorted other wrenches, measuring tape(100m) | 05 each size |
| 23 | Basic supplies, such as grease, oil, window cleaner, rags, ice scraper, whisk broom. | 05 each |
| 24 | Color-code cards, utility documentation. Logbooks Service Manuals, OHS Regulation, | 10 sets |
| 25 | Fix Safe guards | 04 Nos |
| 26 | Moveable Safe guards | 04 N0s. |
| 27 | Solder | 04 N0s. |
| 28 | Wire stripper | 04 N0s. |
| 29 | Nose plier | 04 N0s. |
| 30 | Solder wire | 04 N0s. |
| 31 | Insulation remover | 04 N0s. |
| 32 | Flat File | 25 Nos. |
| 33 | Half round file | 10 Nos. |
| 34 | Round File | 10 Nos. |
| 35 | Mild Steel Sheet (4 x 8 ft) | 02 Nos |
| 36 | Mild Steel round work piece (Dia 30) | 10 ft |
| 37 | Mild Steel flat bar (W:50xL:100xT:20mm) | 25 Nos. |
| 38 | GI pipe 1”, 2” | 20 Feet each |
| 39 | Lathe machine (5 ft) | 02 Nos |
| 40 | Revolving center | 02 Nos |
| 41 | Dead center | 02 Nos |
| 42 | Draw bar | 02 Nos |
| 43 | Face plate | 02 Nos |
| 44 | Knurling Tool | 02 Nos |
| 45 | HSS Tool bit | 10 Nos |
| 46 | Pedestal Drill machine | 02 Nos |
| 47 | Hand Grinder | 02 Nos |
| 48 | Drill bits | 02 Set |
| 49 | Drill shank | 02 Set |
| 50 | Drill chuck | 02 Nos |
| 51 | Counter sink tool | 02 Nos |
| 52 | Counter bore tool | 02 Nos |
| 53 | Machine reamer set | 02 Set |
| 54 | Hand Reamer set | 02 Set |
| 55 | Universal Milling machine | 01 Nos. |
| 56 | Machine wise | 01 Nos. |
| 57 | Tail stock with dead center | 01 Set |
| 58 | Portable welding machine 3 Phase 300 Amps. | 02 Nos, |
| 59 | Welding table | 03 Nos, |
| 60 | Toggle | 02 Nos, |
| 61 | Leather gloves | 01 Nos, |
| 62 | Welding apron | 05 Nos, |
| 63 | Oxygen Cylinder with protector cap | 01 Nos, |
| 64 | Acetylene Cylinder with protector cap | 01 Nos. |
| 65 | Welding Torch | 01 Nos. |
| 66 | Welding Tip (Nozzle) | 01 Set |
| 67 | Pressure Regulators | 01 Nos. |
| 68 | Hose & Hose fittings | 30 ft. |
| 69 | Filler Rod | 01 Box |
| 70 | Flux Material | 500 gm. |
| 71 | Surface Table | 01 Nos. |
| 72 | Surface plate. | 02 Nos. |
| 73 | Steps and collars. | 02 Set |
| 74 | Folding rule | 02 Nos. |
| 75 | Combination set. | 02 Nos. |
| 76 | Scriber. | 02 Nos. |
| 77 | Tri square. | 02 Nos. |
| 78 | Divider. | 02 Nos. |
| 79 | Spirit level | 02 Nos. |
| 80 | Radius gauge | 02 Nos. |
| 81 | Filler gauge | 02 Nos. |
| 82 | Plug gauge | 02 Set |
| 83 | Ring gauge | 02 Set |
| 84 | Outside micrometer | 02 Nos. |
| 85 | Inside micrometer | 02 Nos. |
| 86 | Depth micrometer. | 02 Nos. |
| 87 | Bevel protractor. | 02 Nos. |
| 88 | Vernier Bevel protractor. | 02 Nos. |
| 89 | Dial protractor. | 02 Nos. |
| 90 | Sine bar. | 02 Nos. |
| 91 | Sine block | 02 Nos. |
| 92 | Sine plate. | 02 Nos. |
| 93 | Sine table. | 02 Nos. |
| 94 | Sine center. | 02 Nos. |
| 95 | Gear tooth caliper | 02 Nos. |
| 96 | Gear Inspection machine. | 01 Nos. |
| 97 | Gear testing machine. | 01 Nos. |
| 98 | Parkinson Gear Tester. | 01 Nos. |
| 99 | Multi meters | 02 Nos. |
| 100 | Resistors of different values | 04 Nos. (Each) |
| 101 | Small pieces of copper wire | 01 roll |
| 102 | Small pieces of copper wire | 01 roll |
| 103 | Breadboard. | 04 Nos. |
| 104 | Connecting wires | 02 Rolls |
| 105 | Incandescent lamp of different watts. | 04 Nos. |
| 106 | Voltmeter | 04 Nos. |
| 107 | Ampere meter | 04 Nos. |
| 108 | Multimeter | 04 Nos. |
| 109 | Combination plier | 04 Nos. |
| 110 | Phase tester | 04 Nos. |
| 111 | Energy meter | 04 Nos. |
| 112 | Thin coated copper wire. | 02 Rolls |
| 113 | Dry cell battery | 04 Nos. |
| 114 | Horse shoe magnet. | 04 Nos. |
| 115 | Transformer. | 02 Nos. |
| 116 | Compass needle. | 02 Nos. |
| 117 | Bar Magnet. | 04 Nos. |
| 118 | Galvanometer. | 02 Nos. |
| 119 | Capacitors, 4.7 μF | 04 Nos. |
| 120 | Capacitors, 10, 100 & 8.2 μF. | 04 Nos. (each) |
| 121 | Voltmeter. | 04 Nos. |
| 122 | D.C. power supply unit. | 02 Nos. |
| 123 | Bridging plugs. | 04 Nos. |
| 124 | Connecting leads. | 4 |
| 125 | Multimeter. (With option of Capacitance measurement) | 04 Nos. |
| 126 | D.C. power supply unit | 02 Nos. |
| 127 | Variable D.C powers supply 0-30 Voltas | 2 |
| 128 | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | 02 Nos. (each) |
| 129 | D.C Analog or Preferably Digital voltmeter Range 0-50V. | 02 Nos. (each) |
| 130 | Digital Multimeter | 04 Nos. |
| 131 | Oscilloscope Diode | 04 Nos. |
| 132 | Wire cutter | 04 Nos. |
| 133 | Wire stripper | 04 Nos. |
| 134 | White chart paper | 100 Nos. |
| 135 | Graphics and drawing sheets | 200 Nos. |
| 136 | Pencil | 30 Nos. |
| 137 | Eraser | 30 Nos. |
| 138 | Sharpener | 30 Nos. |
| 139 | Tee | 25 Nos. |
| 140 | Drawing Board | 25 Nos. |
| 141 | Set Square | 25 Nos. |
| 142 | Geometry set | 25 Nos. |
| 143 | French Curve | 25 Nos. |
| 144 | Printer | 01 Nos. |
| 145 | Multimedia projector | 01 Nos. |
| 146 | Computer | 25 Nos. |
| 147 | CAD software (Multi user) | 1 |
| 148 | IDE Software (C Language) | 1 |
| 149 | Digital clock | 04 Nos. |
| 150 | 555 IC | 2 |
| 151 | Connecting leads. | 02 Rolls |
| 152 | Coil | 02 Rolls |
| 153 | Armature | 02 Nos. |
| 154 | Winding machine | 02 Nos. |
| 155 | Insolating paper | 02 Nos. |
| 156 | Carbon brushes | 04 Nos. |
| 157 | Soldering wire | 02 Rolls |
| 158 | Stator frame | 02 Nos. |
| 159 | Spring balance | 02 Nos. |
| 160 | Ohm meter | 02 Nos. |
| 161 | DC compound motor | 02 Nos. |
| 162 | Electro dynamo meter | 02 Nos. |
| 163 | AC series motor | 02 Nos. |
| 164 | Reluctance motor | 02 Nos. |
| 165 | Hysteresis motor | 02 Nos. |
| 166 | Stepper motor | 02 Nos. |
| 167 | Servo motor | 02 Nos. |
| 168 | Control circuit | 02 Nos. |
| 169 | Temperature sensors. | 02 Nos. |
| 170 | IDE Software (C++ Language) | 1 |
| 171 | Nuts | 02 Dozen (each size) |
| 172 | Bolts | 02 Dozen (each size) |
| 173 | Screws | 02 Dozen (each size) |
| 174 | Grippers | 02 Nos. |
| 175 | Conveyor belt | 02 Nos. |
| 176 | Sensor | 02 Nos. |
| 177 | Actuator | 02 Nos. |
| 178 | Jumpers | 02 Nos. |
| 179 | SD card | 02 Nos. |
| 180 | LED | 02 Nos. |
| 181 | Power Adaptor | 02 Nos. |
| 182 | HDMI cable | 02 Rolls |
| 183 | Humidity sensor | 02 Nos. |
| 184 | Calculator | 02 Nos. |
| 185 | calibration standards measuring devices | 01 Nos. |
| 186 | calibration angles measuring devices | 01 Nos. |
| 187 | OHS Standard Manual | 1 |
| 188 | Capacitive pressure sensor | 02 Nos. |
| 189 | Electromagnetic pressure sensor | 02 Nos. |
| 190 | Optical pressure sensor | 02 Nos. |
| 191 | Force balancing | 02 Nos. |
| 192 | Pressure sensor | 02 Nos. |
| 193 | Lm35 ic solid state temperature sensor | 02 Nos. |
| 194 | Negative temperature coefficient (ntc) thermistor | 02 Nos. |
| 195 | Resistance temperature detector (rtd) | 02 Nos. |
| 196 | Thermocouple | 02 Nos. |
| 197 | Semiconductor-based sensors | 02 Nos. |
| 198 | Retro-reflective sensors | 02 Nos. |
| 199 | Diffuse reflection sensors | 02 Nos. |
| 200 | Hydraulic bench | 02 Nos. |
| 201 | Control Valve | 02 Nos. |
| 202 | Centrifugal pump | 02 Nos. |
| 203 | Sump tank | 02 Nos. |
| 204 | Vertical pipe | 02 Nos. |
| 205 | Channel | 02 Nos. |
| 206 | Drain Valve | 02 Nos. |

# 6.	Members of the Curriculum Development Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Taufiq Ahmed | Automation Engineer | Dewan Cement |
| 2 | Mr. Aurangzeb Ansari | UIT | Usman Institute of Technology |
| 3 | Mr. Usama Khan | Assistant Manager, Maintenance | PCI, Automotive Pvt. Ltd. |
| 4 | Mr. Baber Sayeed | Chief Instructor. | Pak Swiss Training Center, Karachi |
| 5 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 6 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 7 | Mr. Syed Farhan Hamid Ali | Sr. Instructor. | Pak Swiss Training Center, Karachi |
| 8 | Mr. Safwan | Automation Engineer | Dewan Cement |
| 9 | Mr. Yasir Arafat | Assistant Director | NAVTTC |
| 10 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |

# 7.	Members of the Curriculum Review & Validation Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |
| 2 | Engr. Rizwan Iqbal | Assistant Professor | Dawood University of Engineering & Technology, Karachi |
| 3 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 4 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 5 | Sohail Gull | Assistant Professor | GCT Peshawar |
| 6 | Mr. Muhammad Yasir | Deputy Director | NAVTTC |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace