Assessors Judgment Guide

| Qualification | Workshop Practice-I (Electrical wiring) |
| --- | --- |
| Competency Standard(s) | Carry out OH & S requirement Maintain Safety Measure Properties of Electricity Construct Circuits Install Electrical System Perform Electrical Wiring |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for safe work practices - Find out resistance - Construct parallel circuit for two lamps - Provide Power Supply to machine - Perform Checking & Testing of electrical wiring |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select personal protective equipment (PPE) |  |  |  |  |  |
|  | Select tools and equipment consistent with safe work practice requirements |  |  |  |  |  |
|  | Determine and erect required barricades, hoardings and signage |  |  |  |  |  |
|  | Identify and apply Material safety data sheets (MSDS) |  |  |  |  |  |
|  | Identify safety signs in terms of colour and shape, symbols and alarms |  |  |  |  |  |
|  | Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
|  | Identify, handle and store hazardous chemicals and materials maintaining the safety to self, others and the environment |  |  |  |  |  |
|  | Measure & record value of voltage according to specification |  |  |  |  |  |
|  | Measure & record value of current according to specification |  |  |  |  |  |
|  | Calculate resistance by ohm’s law |  |  |  |  |  |
|  | Draw diagram of parallel circuits for two lamps. |  |  |  |  |  |
|  | Perform preliminary marking before termination of cables. |  |  |  |  |  |
|  | Follow drawing to perform wiring and for reporting/ record purpose. |  |  |  |  |  |
|  | Perform verification of electrical supply as per operations manual |  |  |  |  |  |
|  | Perform communication with all concerned persons for electrical appliance dry-run |  |  |  |  |  |
|  | Check continuity using line of terminal |  |  |  |  |  |
|  | Perform test to identify open/close circuits |  |  |  |  |  |
|  | Perform live test for verification of wiring |  |  |  |  |  |
|  | Verify proper grounding / Panel Earthing (PE) on designated locations |  |  |  |  |  |
| Competent |  |  | Yet not Competent |  |  |  |

Knowledge Assessment

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Carry out OH & S requirement Maintain Safety Measure Properties of Electricity Construct Circuits Install Electrical System Perform Electrical Wiring |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist safety equipment’s used in wiring systems? |  |  |
|  | Define risk? |  |  |
|  | Enlist accessories used in wiring? |  |  |
|  | Define use of fish wire? |  |  |
|  | Define PVC? |  |  |
|  | What is the minimum size of cable used to supply electric power from control switch to ceiling fan? |  |  |
|  | Define importance of testing of wiring? |  |  |
|  | What instrument is used to perform wiring test? |  |  |
|  | Define earthing? |  |  |
|  | Define importance of drawing? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ____________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Workshop Practice-I (electrical wiring) |
| Competency Standards | Carry out OH & S requirement Maintain Safety Measure Properties of Electricity Construct Circuits Install Electrical System Perform Electrical Wiring |
| Assessment Task | - Plan and prepare for safe work practices - Find out resistance - Construct parallel circuit for two lamps - Provide Power Supply to machine - Perform Checking & Testing of electrical wiring |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select personal protective equipment (PPE) |  |  |
| - Select tools and equipment consistent with safe work practice requirements |  |  |
| - Determine and erect required barricades, hoardings and signage |  |  |
| - Identify and apply Material safety data sheets (MSDS) |  |  |
| - Identify safety signs in terms of colour and shape, symbols and alarms |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Identify, handle and store hazardous chemicals and materials maintaining the safety to self, others and the environment |  |  |
| - Measure & record value of voltage according to specification |  |  |
| - Measure & record value of current according to specification |  |  |
| - Calculate resistance by ohm’s law |  |  |
| - Draw diagram of parallel circuits for two lamps. |  |  |
| - Perform preliminary marking before termination of cables. |  |  |
| - Follow drawing to perform wiring and for reporting/ record purpose. |  |  |
| - Perform verification of electrical supply as per operations manual |  |  |
| - Perform communication with all concerned persons for electrical appliance dry-run |  |  |
| - Check continuity using line of terminal |  |  |
| - Perform test to identify open/close circuits |  |  |
| - Perform live test for verification of wiring |  |  |
| - Verify proper grounding / Panel Earthing (PE) on designated locations |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Carry out OH & S requirement Maintain Safety Measure Properties of Electricity Construct Circuits Install Electrical System Perform Electrical Wiring |
| Purpose of Assessment | Summative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Plan and prepare for safe work practices - Find out resistance - Construct parallel circuit for two lamps - Provide Power Supply to machine - Perform Checking & Testing of electrical wiring |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Select personal protective equipment (PPE) - Select tools and equipment consistent with safe work practice requirements - Determine and erect required barricades, hoardings and signage - Identify and apply Material safety data sheets (MSDS) - Identify safety signs in terms of colour and shape, symbols and alarms - Arrange backup resources for lighting, power and safety purposes as per job requirement - Identify, handle and store hazardous chemicals and materials maintaining the safety to self, others and the environment - Measure & record value of voltage according to specification - Measure & record value of current according to specification - Calculate resistance by ohm’s law - Draw diagram of parallel circuits for two lamps. - Perform preliminary marking before termination of cables. - Follow drawing to perform wiring and for reporting/ record purpose. - Perform verification of electrical supply as per operations manual - Perform communication with all concerned persons for electrical appliance dry-run - Check continuity using line of terminal - Perform test to identify open/close circuits - Perform live test for verification of wiring - Verify proper grounding / Panel Earthing (PE) on designated locations |
| Minimum Evidence Required |  |