National Vocational Certificate Level 1&2 in Electrical Technology

(Domestic Wiring Electrician)

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	4

1.1.	Purpose of the Training Program:	5

1.2.	Overall Objectives of Training Program	6

1.3.	Competencies to be gained after Completion of Course	7

1.4.	Entry Level of Trainees	8

1.5.	Minimum Qualification for Teachers	8

1.6.	Medium of Instruction	8

1.7.	Duration of the Course:	9

1.8.	Description and structure of the course	10

1.9.	Overview of the Curriculum for Electrical Technology (Level 1-5)	12

1.10.	Detail of Modules.	48

Safety Supervisor	48

1.10.1.	Maintain Occupational Health and Safety.	48

1.10.2.	Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace.	52

Domestic Electrician (Single Phase)	57

1.10.3.	Maintain Tools & Equipment for Single Phase Wiring.	57

1.10.4.	Make Cable/Wire Joints for Single Phase Wiring	60

1.10.5.	Prepare and Install Distribution Boards for Single Phase Wiring.	63

1.10.6.	Carryout Basic Electrical Installation for Single Phase	66

1.10.7.	Install Simple Single Phase Electrical Wiring	69

1.10.8.	Install Single Phase Complex Electrical Wiring	75

1.10.9.	Perform Testing of Electrical Wiring	90

1.10.10.	Repair/ Maintenance of Electrical Installations in Single Phase	95

1.10.11.	Repair/ Maintenance and Service of Home Appliance.	98

Machine Shop Technician	108

1.10.12.	Perform Cleaning, Oiling and Centering the Job	108

1.10.13.	Perform Facing, Straight Turning, Center Drilling	112

1.10.14.	Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe	116

1.10.15.	Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting Metric Threads.	122

1.10.16.	Perform Basic Metal Work	128

1.10.17.	Perform Wood Work	136

1.10.18.	Perform Oxy Acetylene Welding	146

1.10.19.	Perform Arc Welding	157

List of Personal Protective Equipment	168

Complete List of Tools, Equipment, Machines and Consumables	169

# 1. 	Introduction

The Technical and Vocational is a profession that is increasingly getting attention in Pakistan, not only among the youth seeking to enter the industry but also among adults who wish to polish their skills to develop a career out of it. Scope and demand of Electrical engineers, supervisors, operator, and technician is very high in Pakistan due to fast growing economic zone like CPEC. There are more job opportunities for electrical technician and supervisors in Pakistan than any other field of engineering. Pakistan is still facing energy crises, for need for more power houses, renewable energy sources is being felt which will definitely result in more demand of electrical engineers.

CBT based level 5 course in Electrical Technology with updated concepts, not only allows students to equip with growing Industrial trends but will be beneficial in capturing the job market across the globe. The course is divided into sub fields like electronics, computer engineering, power engineering, telecommunications, control systems, and microelectronics. Many of these sub disciplines overlap with other engineering branches, spanning a huge number of specializations such as hardware engineering, power electronics, avionics, Electrical and nanotechnology.

Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector, Reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.”

“Power sector reform should be a top priority, as few other reforms could yield economic gains of a similar magnitude so quickly, based on findings from this report, and says Fan Zhang, Senior Economist at the World Bank. If well designed, these reforms will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.”

## Purpose of the Training Program:

The purpose of the training is to set the high professional standards for the Electrical technological sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of the skills attained through formal or informal pathways

- Improve the quality and effectiveness of the training and assessment for Electrical Technological sector

- Enabling / helping / facilitating the existing workforce to indulge themselves in new technologies and methods.

Based upon this demand of industry, these competency‐based qualifications for Electrical Technology are developed under National Vocational Qualification Framework (Level 1 to 5). The qualifications mainly cover competencies along with related knowledge and professional attitude which is essential for getting a job or self-employed.

The qualifications are also in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF). This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Vocational & Technical Training Commission (NAVTTC) has approved the Qualification Development Committee (QDC) for Textile Chefs Technology.The QDC consists experts from the relevant industries from different geographical locations across Pakistan and academicians who were consulted during the development process to ensure input and ownership of all the stakeholders. The National Modules could be used as a referral document for the development of curricula to be used by training institutions.

The purpose of the training is to provide skilled manpower to improve the quality of value added products of industrial sector. This training will provide the basic skills to the trainees in the field of Electrical and convert it into value added product which is acceptable by International market reducing the line losses and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

## Overall Objectives of Training Program

The Electrical qualifications of level 1&2 consists of both the theoretical and practical details and having the following Occupations:

- Safety Supervisor.

- Domestic Electrician.

- Machine Shop Technician

## Competencies to be gained after Completion of Course

Detail of the modules included in qualification are given below:

Safety Supervisor

- Maintain Occupational Health and Safety

- Adopt Safety Regulations, Labor Protection Laws, Environmental Protection Laws at Workplace

Domestic Electrician

- Maintain Tools & Equipment.

- Make Cable/Wire Joints

- Prepare and Install Main Distribution Boards (Single Phase)

- Carryout Basic Electrical Installation

- Install Simple Single Phase Electrical Wiring

- Install Single Phase Complex Electrical Wiring

- Perform Testing of Electrical Wiring

- Repair/ Maintenance of Electrical Installations

- Repair/ Maintenance and Service of Home Appliances

Machine Shop Technician

- Perform Cleaning, Oiling and Centering the Job.

- Perform Facing, Straight Turning, Center Drilling

- Perform Drilling, Step Turning, Knurling and Boring a Straight Hole On Lathe.

- Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting

- Perform Basic Metal Work.

- Perform Oxy Acetylene Welding.

- Perform Wood Work.

- Perform Arc Welding.

## Entry Level of Trainees

The entry level for National Vocational Certificate Level 1&2 in Electrical Technology is:

- A person having Middle certificate.

## Minimum Qualification for Teachers

- B.Sc. / B.E. in Electrical Engineering.

- 4 Years B. Tech in Electrical Technology with 3 Years teaching experience.

- D. A. E. in Electrical Technology with 7 Years teaching experience

- Must be able to communicate effectively

## Medium of Instruction

English, and Urdu.

## Duration of the Course:

The proposed curriculum is composed of 155 modules that will be covered in 4,170 Learning hours. Duration of the course is proposed to be Three years.

Level- 1&2 = 6 months.

The distribution of contact hours is given below:

Total.		600 hours.

Theory: 	120 hours (20%)

Practical.	480 hours (80%)

## Description and structure of the course

Following is the structure of the course:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 2 |  |  |  |  |  |  |  |
| Maintain Occupational Health and Safety | Safety Supervisor | Level 2 | Functional | 6 | 24 | 30 | 3 |
| Adopt Safety Regulations, Labour Protection Laws, Environmental Protection Laws at Workplace |  | Level 2 | Functional | 6 | 24 | 30 | 3 |
| Maintain Tools & Equipment for Single Phase Wiring | Domestic Wiring Electrician | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Make Cable/Wire Joints for Single Phase Wiring |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Prepare and Install Distribution Boards for Single Phase Wiring |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Carryout Basic Electrical Installation for Single phase |  | Level 2 | Technical | 9 | 24 | 33 | 3.3 |
| Install Simple Single Phase Electrical Wiring |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Install Single Phase Complex Electrical Wiring |  | Level 2 | Technical | 9 | 24 | 33 | 3.3 |
| Perform Testing of Electrical Wiring |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Repair/ Maintenance of Electrical Installations in Single Phase |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Repair/ Maintenance and Service of Home Appliance |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Perform Cleaning, Oiling and Centering the Job. | Machine Shop Technician | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Facing, Straight Turning, Centre Drilling |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Drilling, Step Turning, Knurling and Boring a Straight Hole On Lathe. |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Basic Metal Work. |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Wood Work. |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Oxy Acetylene Welding. |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Perform Arc Welding. |  | Level 2 | Technical | 6 | 27 | 33 | 3.3 |
| Total |  |  |  | 120 | 480 | 600 | 60 |
| Percentage |  |  |  | 20 | 80 |  |  |

## Overview of the Curriculum for Electrical Technology (Level 1-5)

| Module Title and Aim | Learning Units |  | Th Days/hours | Workplace Days/hours | Timeframe of modules |
| --- | --- | --- | --- | --- | --- |
| Module 3.1.1 Maintain Occupational Health and Safety | - Ensure the use of personal protective equipment (PPE). - Maintain First-aid Box - Maintain Fire Extinguisher. - Ensure Safeguard of Machines. - Adopt company policies and procedures. - Attain health & safety training. - Prepare for emergencies. - Respond to emergencies |  |  |  |  |
| Module 3.1.2 Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace | - Implement International Safety Standards in your work environment. - Implement National Safety Standards in your work environment - Implement International and National Labor Protection Laws - Implement National and International Environmental protection laws. - Prepare for emergencies. - Respond to emergencies. - Adopt company policies and procedures. |  |  |  |  |
| Module 3.2.1 Maintain Tools & Equipment for Single Phase Wiring | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |  |
| Module 3.2.2 Make Cable/Wire Joints for Single Phase Wiring | - Make Cross/Twist joint - Make Straight/Married joint - Make T-Joint - Make Rat-tail joint - Make Britannia joint |  |  |  |  |
| Module 3.2.3 Prepare and Install Distribution Boards for Single Phase Wiring. | - Prepare estimate for wiring material. - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |  |
| Module 3.2.4 Carryout Basic Electrical Installation for Single Phase | - Perform Basic Electrical wiring - Conduct wiring Test - Lay Cables - Perform single-phase Connection - Perform three phase Connection |  |  |  |  |
| Module 3.2.5 Install Simple Single Phase Electrical Wiring | - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit - Make series/ test lamp circuit - Make intermediate switch circuit. - Make of Tunnel circuit |  |  |  |  |
| Module 3.2.6 Install Single Phase Complex Electrical Wiring | - Design/Develop and Install Kitchen wiring - Install Drawing room circuit - Install Sleeping room circuit - Install hall wiring. - Install impulse switch - Install Bell indicator circuit. - Install timer/time switch circuit - Make fluorescent tube circuit and install - Perform Domestic Electrical Work |  |  |  |  |
| Module 3.2.7 Perform Testing of Electrical Wiring | - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Earth leakage Test. |  |  |  |  |
| Module 3.2.8 Repair/ Maintenance of Electrical Installations in Single Phase | - Analyze Fault in Electrical Installations - Troubleshoot electrical equipment’s - Carry out Preventive Maintenance |  |  |  |  |
| Module 3.2.9 Repair/ Maintenance and Service of Home Appliance | - Diagnose fault and repair electric iron - Repair/ maintenance of Pedestal Fan and Ceiling Fan. - Repair/ maintenance of Juicer and grinder - Repair/ maintenance Refrigerator /Air conditioner - Repair/ maintenance of sandwich maker/toaster - Repair/ maintenance of washing machine/dryer |  |  |  |  |
| Module 3.4.1 Operate Measuring Instruments | - Operate Ampere meter. - Operate Volt meter. - Operate Ohm meter |  |  |  |  |
| Module 3.4.2 Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits | - Make series circuit and measure voltage and verify KVL. - Make parallel circuit and measure current and verify KCL - Verify resistance of resistors - Verify Ohm’s Law - Measure resistance of Rheostat - . Measure resistance by using Multimeter - . Measure resistance of incandescent lamp |  |  |  |  |
| Module 3.4.3 Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |  | - Measure power using Multimeter method - Measure power using Multimeter method - Measure single phase AC Power - Measure three phase AC Power. - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter - Measure power factor with power factor - Improve power factor & measure it with power factor meter - Determine phase sequence with phase sequence meter. |  |  |  |
| Module 3.4.4 Operate Oscilloscope |  | - Measure AC voltage with oscilloscope. - Measure current with oscilloscope - Measure frequency of AC signal with oscilloscope - Measure time period of AC signal with oscilloscope - Measure RMS value of AC signal with oscilloscope - Measure average value of AC signal with oscilloscope |  |  |  |
| Module 3.4.5 Implement Electromagnet to See Various Effects & Verify Faradays Law |  | - Implement Electromagnet - Implement circuit to determine the effect on current carrying conductor in magnetic field - Determine the effect on conductor by varying the current with the help of rheostat. - Plot magnetic lines of forces of bar magnet - Verify Faradays law by moving magnet in side coil. - Verify Faraday’s law by moving coil near the magnet field - Verify EMF through induction. |  |  |  |
| Module 3.4.6 Verify law of Combination of Capacitors & Determine Break Down Voltage of Capacitor |  | - Implement a series circuit of capacitors - Implement a parallel circuit of capacitors - Determine the breakdown voltage of low voltage capacitor |  |  |  |
| Module 3.5.1 Perform Cleaning, Oiling and Centering the Job |  | - Perform Cleaning and Oiling of the Lathe Machine - Perform Centering the Job By Tool Method - Perform Centering The Job Held In a Four Jaw Chuck Of Face Plate |  |  |  |
| Module 3.5.2 Perform Facing, Straight Turning, Center Drilling |  | - Perform Facing - Perform Straight Turning - Perform Center Drilling |  |  |  |
| Module 3.5.3 Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe |  | - Perform Drilling On Lathe - Perform Step Turning - Perform Knurling - Perform Boring a Straight Hole |  |  |  |
| Module 3.5.4 Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting Metric Threads. |  | - Perform Step Or Counter Boring - Perform Reaming - Perform Tool Grinding - Perform Taper Turning By Compound Rest Method - Perform Cutting Metric Threads On Lathe Machine |  |  |  |
| Module 3.5.5 Perform Basic Metal Work |  | - Develop Name Plate manually - Carryout Sawing - Prepration of Inside Calliper - Prepration of Bottle Opener - Prepration of Dovetail Joint - Prepration of small size Tri Square - Produce internal Threads in Work Piece - Prepration of Funnel - Prepration of Drawer Handle - Produce Pipe Threads - Prepare a spanner of (small size) |  |  |  |
| Module 3.5.6 Perform Wood Work |  | - Planning and Squaring to dimensions - Sawing Exercise - Making Mortise and Tendon Joint - Making Dado Joint - Making Cross-lap Joint - Making holes of different Diameters in Wood - Nailing and Wood Screwing Process - Making Middle Half Cross lap joint - Making Dovetail Joint |  |  |  |
| Module 3.5.7 Perform Oxy Acetylene Welding |  | - Make flame for gas welding carburizing flam, Neutral flam, oxidizing flam - Make Pool - Make Bead - Make Edge Joint - Make Open square butt joint (M.S Flat 3mm OR 5mm Thickness) - Make ‘V’ Groove butt joint ( Flat Position) - Make Corner joint - Make Open square brazing Butt joint(M.S Flat 5mm thick |  |  |  |
| Module 3.5.8 Perform Arc Welding |  | - Make Arc - Make Bead - Make Open Square Butt Joint (MS Flat 5 mm Thick) - Make V Groove Butt Joint - Make Lap Joint - Make Corner Joint Flat Position - Make Corner Joint Vertical Position - Make Spot Welding Practice (0.5 mm MS Sheet) - Make Seam Welding Practice (0.5 mm MS Sheet) |  |  |  |
| Module 3.6.1 Maintain Tools & Equipment for Three Phase |  | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |
| Module 3.6.2 Make Cable/Wire Joints for Three Phase |  | - Make Cross/Twist joint - Make Straight/Married joint - Make T- Joint - Make Rat tail joint - Make Britannia joint |  |  |  |
| Module 3.6.3 Prepare and Install Distribution Boards for Three Phase |  | - Prepare estimate for wiring material - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |
| Module 3.6.4 Install Three Phase Electrical Wiring |  | - Make and Install 3 phase motor connection ON/OFF by CAM Switch - Make and Install 3 phase motor connection reversing by CAM Switch - Make and Install 3 phase motor connection ON/OFF by Magnetic Contactor - Perform Electrical Work in Commercial Area. |  |  |  |
| Module 3.6.5 Install Three Phase Complex Electrical Wiring |  | - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor. - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator - Make and Install 3 phase motor connection 2 speed by Magnetic contactor - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator |  |  |  |
| Module 3.6.6 Perform Testing of Electrical Wiring |  | - Perform Earth leakage Test - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Murray Loop Test - Perform BLAVIER & Earth Loop Test |  |  |  |
| Module 3.6.7 Diagnose Electrical Fault in Generator |  | - Inspect and service Ignition system. - Inspect and service alternator - Inspect and service display panel - Inspect and service governor /Actuator System - Inspect and service charging system - Inspect and service warning system - Inspect and repair wiring |  |  |  |
| Module 3.6.8 Repair/ Maintenance of Electrical Installations for Three Phase |  | - Analyze Fault in Electrical Installations |  |  |  |
| Module 3.6.9 Carry Out Manual Electrical Planning and Estimation |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work. |  |  |  |
| Module 3.6.10 Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension |  | - Measure current with Galvanometer - Measure voltage with Galvanometer - Make multiplier for Galvanometer range extension |  |  |  |
| Module 3.6.11 Measure Temperature, Earth Resistance, Light Intensity |  | - Measure temperature with thermocouple by voltage method - Measure the earth resistance by using earth resistance tester - Measure the light intensity with lux meter |  |  |  |
| Module 3.6.12 Measure the Resistance, Measure High Dc Current by Using Shunt. |  | - Measure the resistance by using wheat stone bridge - Measure the resistance by ohm meter - Measure the resistance by AVO meter - Measure high DC current by using shunt |  |  |  |
| Module 3.6.13 Measure Voltage, Frequency, Capacitance & Inductance by CRO |  | - Measure voltage using CRO - Measure frequency using CRO - Measure capacitance using CRO - Measure inductance using CRO |  |  |  |
| Module 3.6.14 Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments |  | - Measure Capacitance by RCL Meter - Measure Inductance by RCL Meter - Dismantle and assemble the moving iron and permanent magnet type instrument |  |  |  |
| Module 3.6.15 Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Maggar |  | - Identify parts and connection of Energy meter(Single/3-phase) - Identify different types of PF meter, its parts and connect it in circuit. - Identify MDI meter parts and use it on line - Measure insulation resistance by Meager |  |  |  |
| Module 3.6.16 Calibrate Electrical Equipment’s |  | - Perform Pre-Calibration activity - Calibrate Ammeter - Calibrate Voltmeter - Calibrate Ohmmeter - Calibrate multimeter - Calibrate 2-terminal/4-terminal Resistor (Direct method) - Calibrate 2-terminal/4-terminal Resistor (Indirect method) - Calibrate Standard Capacitor - Calibrate Standard Inductor - Prepare calibration report |  |  |  |
| Module 3.7.1 Select Computer Specification and Work with Windows |  | - Identify computer requirements and assemble procedures - Make a set of requirements for a personal computer - Work on windows Environment and Install the required operating System with Device drivers |  |  |  |
| Module 3.7.2 Process Data with MS Office |  | - Use MS OFFICE (MS-WORD) - Use MS OFFICE (MS-EXCEL) - Use MS- OFFICE (MS-POWER POINT) |  |  |  |
| Module 3.7.3 Carryout Basic Programming |  | - Make a program to perform arithmetic operations - Make a program in C++ to preparing logical operation - Make a program to sort a string of numbers. |  |  |  |
| Module 3.7.4 Perform Internet Browsing |  | - Draw pin diagram of electronic IC using of search engine - Browse data sheets and symbols - Browse manuals |  |  |  |
| Module 3.7.5 The Different Engineering Curves Used in Various Mechanisms |  | - Construct inscribe and circumscribe figures. - Construct a pentagon, Hexagon and Octagon by circumscribe method. - Construct a pentagon, Hexagon and Octagon by inscribe method - Construct a Tangents of circles (Inside &Outside) when the centre of the given circle is known and when the circle of centre is not known. - Construct an Ellipse by Concentric Circle Method, Rectangle Method, and Oblong Method, Arcs of Circle Method, Rhombus Method and Basic Locus Method. - Construct a parabola curve by Rectangle Method, Method of Tangents( Triangle Method) and Basic Locus Method - Construct a hyperbola curve. - Construct a Archimedean Spiral curve - Construct a involutes curve of square rectangle hexagon and circle. - Construct of cycloid, epicycloids, and hypocycloid |  |  |  |
| Module 3.7.6 Perform Multi-View Drawings |  | - Sketch Orthographic projection 1st angle - Sketch Orthographic projection 3rd angle. - Sketch Oblique Drawing - Construct multi view drawing of Simple Bearing. - Construct multi view drawing of Open Bearing - Sketch prism - Sketch cone - Draw pyramid |  |  |  |
| Module 3.7.7 Draw Production Drawing |  | - .Draw the assembly drawing of Boiler Stop Valve - Draw the views of Connecting Rod in detail and assembly drawing - Draw the assembly drawing of Screw Jack - Draw the assembly of Tail Stock in full section showing its parts |  |  |  |
| Module 3.7.8 Design and Simulate the Electronic Circuit by Using Computer Aided Design (CAD) Software |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work |  |  |  |
| Module 3.8.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.8.2 Analyze DC Generators |  | - Calculate different terms used in armature winding of DC machines. - Develop Single Layer Lap Winding - Develop Double Layer Wave Winding. - Measure the resistance of field winding, armature winding and terminal polarity - Identify DC shunt generator - Identify DC series generator - Identify DC compound generator |  |  |  |
| Module 3.8.3 Perform Tests on DC Generators |  | - Plot the Open circuit characteristics of a Separately excited D.C generator - . Plot the Open circuit characteristics of a D.C shunt generator - Plot the load characteristics of D.C shunt generator - Plot the load characteristics of D.C series generator. - Plot the load characteristics of D.C compound generator for under, flat and over compounding - Perform parallel operation of two DC shunt generators - . Determine copper, iron & friction losses of shunt generator by actual loading |  |  |  |
| Module 3.8.4 Analyze DC Motor |  | - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |  |  |  |
| Module 3.8.5 Perform Tests on DC Motors |  | - Plot the load characteristics of D.C shunt motor - Plot the load characteristics of D.C series motor - Plot the load characteristics of D.C compound motor - Control the speed of DC series motor - Control the speed of DC shunt motor - Start DC shunts motor with 3 point starter. - Identify the effect of back EMF in DC motor - Calculate Brake Horse Power (BHP) of motor by Brake test. - Calculate efficiency of the motor by Swinburne Test - Perform Regenerative / Hopkinson/ Back to back Test |  |  |  |
| Module 3.8.6 Repair/Maintenance and servicing of DC Motors and DC Generator |  | - Diagnose Fault in DC Motor - Carry out Service / Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.9.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil And magnet. - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.9.2 Operate Single Phase Transformer |  | - Identify types of transformer - Measure transformation ratio of single phase transformer - Make transformer winding - Determine voltage regulation of single phase transformer with different loads. - Perform parallel operation of single phase transformer. |  |  |  |
| Module 3.9.3 Perform Tests on Single Phase Transformer |  | - Perform polarity test of single phase transformer - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method - Calculate efficiency of transformer by Back to Back test. |  |  |  |
| Module 3.9.4 Operate Auto Transformer |  | - Identify the connection of auto transformer - Calculate Voltage ratio of Auto Transformer - Calculate Current ratio of Auto Transformer |  |  |  |
| Module 3.9.5 Perform Tests on Auto Transformer |  | - Perform open circuit Test of auto transformer - Perform short circuit test of auto transformer - Calculate efficiency of auto transformer. |  |  |  |
| Module 3.9.6 Operate Three Phase Transformer |  | - Make Three Phase Transformer Winding. - Perform Star to Star Connection Of Three Phase Transformer - Perform Star To Delta Connection Of Three Phase Transformer - Perform Delta to Delta Connection Of Three Phase Transformer - Perform Delta to Star Connection Of Three Phase Transformer - Connect Two Single Phase Transformers In Open Delta. - Perform Parallel operation of 3 phase transformers |  |  |  |
| Module 3.9.7 Identify Vector Group of Three Phase Transformer |  | - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |  |  |  |
| Module 3.9.8 Repair/ Maintenance and Service of Transformer |  | - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |  |  |  |
| Module 3.11.1 Perform Pre-Electroplating Activities. |  | - Perform Disassembly and Stripping - Perform Mechanical Cleaning - Perform Chemical Cleaning |  |  |  |
| Module 3.11.2 Perform Electroplating |  | - Ensure safety at workshop - Select appropriate chemical solution - Prepare chemical solutions - Perform plating of Zinc, Cadmium, Tin, Silver, Gold and Brass |  |  |  |
| Module 3.11.3 Perform Post-Electroplating Activities and Tests. |  | - Carry Out Quenching/ Cooling Of The Metal. - Carry Out Visual Inspection And Physical Examination Of The Electroplated Part. - Perform adhesion tests by various methods - Perform thickness and corrosion resistance test |  |  |  |
| Module 3.11.4 Plan an Electroplating Shop |  | - Prepare a layout for the electroplating workshop - Setup pre-Electroplating workstation - Setup Electroplating workshop - Setup post-Electroplating workstation - Prepare an Estimate for Finance and Budgeting |  |  |  |
| Module 3.12.1 Perform Basic Mathematics Calculations in C++ |  | - Generate Addition Program - Generate Subtraction Program - Generate Multiplication Program - Generate Division Program - Generate Program For Power Calculations - Generate Program For Roots Calculations - Generate Program For Exponential Calculations - Generate Trigonometric Function Program - Generate Inverse Trigonometric Function Program - Generate The Program And Calculate Impedance In Polar - Generate The Program And Calculate Impedance In Rectangular - Generate Rectangular To Polar Form Conversion program - Generate Polar Form To Rectangular Form program |  |  |  |
| Module 3.12.2 Perform Basic Circuit Analysis in C++ |  | - Generate Series Circuit Function Program - Generate Parallel Circuit Function Program |  |  |  |
| Module 3.12.3 Perform Electrical Analysis in C++ |  | - Calculate A.C Powers Solution Program - Solve Active Component Function Program - Solve Reactive Component Of Function Program - Generate Program For Improvement Of Power Factor |  |  |  |
| Module 3.12.4 Develop and Analyze Electrical Circuit with MULTISM |  | - Identify computer software component - Install and operate MULTISM - Idenitify toolbox and libraries - Develop RC circuit - Develop RLC circuit - construct active filter - construct passive filter - Construct Amplifier frequency response - Construct half wave rectifier - Construct full wave rectifier |  |  |  |
| Module 3.12.5 Develop and Analyze Electrical circuit with PSPICE software |  | - Install and operate PSPICE - Develop filters - Develop rectifier - Construct CE Amplifier - construct CS Amplifier - construct CC amplifier - Design WEIN Bridge Oscillator |  |  |  |
| Module 3.12.6 Carry out Electrical Planning and Estimation in Computer |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work - Plan and estimate industrial electric work |  |  |  |
| Module 3.12.7 Carry out Industrial Automation and PLC Installation |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specification |  |  |  |
| Module 3.13.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator. - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.13.2 Analyze an Alternator |  | - Measure the stator winding resistance with DC test. - Perform no load test - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage. - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |  |  |  |
| Module 3.13.3 Analyze Single Phase Motors. |  | - Operate split phase single phase AC motor. - Operate capacitor start and Capacitor run single phase AC motor. - Operate shaded pole single phase motor. |  |  |  |
| Module 3.13.4 Analyze Special Purpose Motors. |  | - Operate and speed control of AC series motor. - Operate miniature (reluctance and hysteresis) single phase AC motors. - Construct and operate stepper motor. - Construct, Operate and develop control circuit of servo motor |  |  |  |
| Module 3.13.5 Analyze Three Phase Motors. |  | - Identify and operate 3 phase Squirrel cage motor - Verify rotating magnetic field - Measure the starting and running current of three phase induction motor. - Draw torque slip curve of three phase induction motor - Determine the slip of 3 phase induction motor by stroboscope - Start, 3 phase Induction motor with direct on line. - Start, 3 phase Induction motor with Auto transformer starter. - Start, 3 phase Induction motor with Star Delta starter. - Make connection to reverse the direction of induction motor. - Determine the efficiency of three phase induction motor - Control the speed of three phase induction motor by changing primary voltage - Control the speed of three phase induction motor by rotor resistance control method - Operate two motors in cascade - Start the synchronous motor using external prime mover. - Identify the effect of field current on three phase synchronous motor. |  |  |  |
| Module 3.13.6 Repairs/Maintenance and Service of AC Electric Motors and Generators |  | - Diagnose Fault in Electric Motor - Carry out Service/Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.14.1 Identify Basic Electronics Components |  | - Identify Various Diodes - Identify Resistors in circuit - Identify Capacitor in circuit - Identify Inductor in circuit - Identify transistor and its types |  |  |  |
| Module 3.14.2 Design a Rectifier using Diode |  | - Identify The parameter of Diode and Draw the characteristic curve of Diode - Design half wave and Full Wave Rectifier (two diode rectifier - Design Full Wave Bridge rectifier |  |  |  |
| Module 3.14.3 Carry out Diode Application |  | - Make voltage regulator using Zener diode - Make Seven Segment Using Light Emitting Diode |  |  |  |
| Module 3.14.4 Implement Bipolar Junction Transistor (BJT) in Different Applications |  | - Perform the Biasing of Transistors - Implement Transistor as an amplifier using CB configuration - Implement Transistor as an amplifier using CC Configuration - Implement Transistor as an amplifier using CE Configuration. - Implement BJT as a switch. - Design the circuit of Class A Power Amplifier |  |  |  |
| Module 3.14.5 Implement Field Effect Transistor (FET) in Different Applications |  | - Perform the Biasing of FET - Implement MOSFET as a switch. - Draw the VI characteristics curves for FETs - Design the circuit of Common Drain (CD) Amplifier - Design the circuit of Common Gate (CG) amplifier. - Construct a Low voltage transistor based regulated power supply |  |  |  |
| Module 3.14.5 Implement Thyristor Family in Various Application |  | - Implement the SCR in electronic circuits as switch - Implement the UJT in electronic circuits as switch - Construct the dimmer circuit using Diac &Triac |  |  |  |
| Module 3.14.6 Application of Operational Amplifier |  | - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct a integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |  |  |  |
| Module 3.14.7 Verify Truth Table of Digital Gates |  | - Verify the truth table of AND gate - Verify the truth table of OR gate - Verify the truth table of NOT gate - Verify the truth table of NAND gate - Verify the truth table of NOR gate - Verify the truth table of XOR gate - Verify the truth table of XNOR gate |  |  |  |
| Module 3.14.8 Construct & Verify Combinational Logic Circuit |  | - Apply Karnaugh mapping & Boolean algebra to simplify logic expressions - Construct & verify the truth table of Half adder - Construct & verify the truth table of Full adder - Construct & verify the truth table of Half Subtraction - Construct & verify the truth table of Full Subtraction - Verify Decoder - Operate seven segment display with seven segment decoder - Verify Encoder - Verify multiplexer and DE- multiplexer |  |  |  |
| Module 3.14.9 Construct and Verify Function of Flip Flops |  | - Construct and verify the truth table of RS latch using NAND gate - Construct and verify the truth table of clocked RS latch using NAND gate - Verify function of D flip flop. - Verify function of JK/T flip flop |  |  |  |
| Module 3.14.10 Use 555 IC as Multivibrator |  | - Construct 555 IC as Astable Multivibrator - Construct 555 IC as Mono-stable Multivibrator - Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction |  |  |  |
| Module 3.14.11 Construct Shift Registers and Counters with The Help of Flip Flops |  | - Construct a 4 bit shift register by Using Flip Flops - Construct a4-bit binary counter Using Flip Flops - Construct 4-bitsynchronous Counter with D flip-Flops Troubleshoot - different combinational logic circuits. |  |  |  |
| Module 3.15.1 Implement Diode and Thyristor in Power Control Application |  | - Build forward bias circuit of diode and observe its behavior - Build reverse bias circuit of diode and observe its behavior - Use SCR to build Phase control rectifier - Build force commutated circuit for SCR - Build full wave converter and observe natural commutation |  |  |  |
| Module 3.15.2 Implement Single Phase and Three Phase Inverter |  | - Construct single phase half bridge inverter and observe its output - Construct single phase full bridge inverter and observe its output - Construct three phase bridge inverter and observe its output |  |  |  |
| Module 3.15.3 Control Speed of DC/AC Motors |  | - Implement armature control method to control the speed of DC motor with 3 phase control bridge Rectifier - Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier - Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier. - Implement AC to AC converter to control the speed of 3 phase AC motor. - Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. - Implement synchros’s to transmit torque |  |  |  |
| Module 3.15.4 Program PLC using Ladder Logic |  | - Install PLC software and Simulator - Program a PLC using simulator |  |  |  |
| Module 3.15.5 Carry out Industrial Automation and PLC Installation |  | - Analyze user requirements and specifications for PLC installation - Prepare work plan for PLC Installation - Design and program PLC - Test the PLC - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.15.6 Install PLC Software and Simulator |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specifications |  |  |  |
| Module 3.15.7 Design and Test the PLC |  | - Prepare work plan - Design and program PLC - Test the PLC |  |  |  |
| Module 3.15.8 Installation, Commissioning and Maintenance of PLC. |  | - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.16.1 Identify the Parts of Analog & Digital Telephone Set & Verify their Function |  | - Dismantle and identify the parts of analog telephone set - Dismantle and identify the parts of digital telephone set - Demonstrate the operation of Telephone buzzer - Perform the operation of Transmitter & receiver - Identify the parts of rotary dial & verify its function - Identify the parts of digital dial& verify its function. |  |  |  |
| Module 3.16.2 Carry Out Modulation, Demodulation, Multiplexing, De Multiplexing of Information Signal |  | - Perform Amplitude Modulation of Information Signal - Perform Demodulation of Modulated AM Signal - Calculate band width and modulation index - Perform Frequency Modulation of Information Signal - Perform Demodulation of Modulated FM Signal - Perform Pulse Code Modulation (PCM) of an analog signal - Perform Time Division Multiplexing (TDM) and De-multiplexing - Perform Frequency Division Multiplexing and De-multiplexing |  |  |  |
| Module 3.16.3 Install Cord Less Telephone, PABX & Satellite Dish System. |  | - Install cord less telephone system - Install and Configure of Private Automatic Branch Exchange(PABX) - Install Home satellite dish system |  |  |  |
| Module 3.16.4 Install Power Supply |  | - Construct full wave rectifier/Bridge Rectifier - Construct filtered power supply - Construct Zener diode regulated power supply - Installation and Commissioning of Telecom Rectifier /UPS system - Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery - Perform Maintenance Of Valve regulated lead Acid Battery |  |  |  |
| Module 3.16.6 Maintain Lead Acid Batteries and Implement Their Series Parallel Combination |  | - Construct series combination of batteries - Construct Parallel combination of batteries - Prepare Electrolyte for battery - Check specific gravity of Electrolyte - Determine internal resistance of cell - Charge the battery with the help of Charger |  |  |  |
| Module 3.17.1 Operate Hydro Power Plant |  | - Inspect Hydropower Plant equipment - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.2 Operate Thermal Power Plant |  | - Carry out General Inspection of the Thermal power plant - Operate steam power plant - Inspect and Monitor Boiler Operation. - Inspect and Operate Ash handling plant - Inspect and Operate Coal Handling plant - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.3 Operate Diesel Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities - Generate Report |  |  |  |
| Module 3.17.4 Operate Nuclear Power Plant |  | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report. |  |  |  |
| Module 3.17.5 Design a Solar Power Plant |  | - Ensure Personal safety - Calculate load for solar PV system design - Plan for installation of solar panel - Install the solar panel frame - Install the solar panel - Perform testing |  |  |  |
| Module 3.17.6 Operate Solar Power Plant |  | - Carry out General Inspection of the power plant - Operate solar plant equipment. - Respond to equipment - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.7 Operate Wind Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.8 Utilize Electrical Energy in Building |  | - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting system - Specify the requirements and characteristics of ventilation and air-conditioning systems |  |  |  |
| Module 3.17.9 Utilize Natural Energy in Building |  | - Design Natural lightning system - Design Natural Cooling and ventilation system - Design Natural heating system |  |  |  |
| Module 3.17.10 Calculate Tariffs and Economics |  | - Calculate Tariff for Hydro Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |  |  |  |
| Module 3.18.1 Carryout Transmission of Electrical Power |  | - Select the Conductor for Transmission line - Sort different effects on transmission lines during conduction. - Select the right insulator from different types according to the requirement - Make Foundation and Erect poles and towers. - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement |  |  |  |
| Module 3.18.2 Carryout Distribution of Electrical Power |  | - Select the Conductor for Distribution of power - Improve the Power factor - Select the correct insulator from different types according to the requirement - Make Foundation and Erect poles and structures - Supervise construction of Trenches ,Cable try and select appropriate cable - Perform stringing work and sag of distribution lines - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Install the equipment for grounding of Substation/Transmission lines - Select and justify the use of reactor in a system - Install Lightning Arrester in a Distribution system as per requirement |  |  |  |
| Module 3.18.3 Carryout Protection of Distribution and Transmission System |  | - Categorize and rectify the symmetrical and asymmetrical faults - Install Circuit breaker in a distribution system (Substation/Grid station) - Install an isolator at grid station/sub station - Install appropriate relays for the protection of power system - Carry out Bus Bar protection - Carry out time graded protection of feeder - Install a fuse in a circuit (Transformer and Distribution panels) - Supervise Protection of power transformer - Carryout protection arrangement for alternator |  |  |  |

## Detail of Modules.

## Safety Supervisor

### Maintain Occupational Health and Safety.

Objective: After the completion of this module, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 30 Hours			Theory: 06 Hours			Practice: 24 Hours			Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Ensure the use of personal protective equipment (PPE). | Trainee will be able to: - Arrange the required personal protective equipment - Check functional condition of PPE’s - Wear personal protective equipment - Store PPE at appropriate place after use. | - PPE and its applications. - PPE handling and storage Practical Activity: Demonstrate the use of PPE. | Th-1 Hrs. Pr-3 Hrs. Total-4Hrs. | - Safe guard device - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes | Class Room Training Workshop. Lab/ Field Visit |
| LU2. Maintain First-aid Box. | Trainee must be able to: - Ensure availability of first aid box - Check first aid box for requisite emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. | - Importance of first aid box. - Essential items in first aid kit. - First aid as lifesaving technique Practical Activity: Demonstrate the use of First aid box in case of emergency | Th-1 Hrs. Pr-3 Hrs. Total- 4 Hrs. | - First Aid box - First aid kit | Class Room Training Workshop. Lab/ Field Visit |
| LU3. Maintain Fire Extinguisher. | Trainee must be able to: - Check expiry of fire extinguisher - Operate fire extinguisher - Replace fire extinguisher - Ensure that the fire brigade is at stand by (for major emergency). | - Fire Extinguisher and its application. - Operating technique of fire extinguisher. Practical Activity: Demonstrate the use of fire extinguisher | Th-0.5 Hrs. Pr-3 Hrs. Total- 3.5Hrs. | - Fire Extinguisher | Class Room Training Workshop. Lab/ Field Visit |
| LU4. Ensure Safeguard of Machines. | Trainee must be able to: - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors. | - Various protective mechanisms in machines - Insulation methods Practical Activity: Demonstrate the precautionary measures in order to safeguard a machine. | Th-1 Hrs. Pr-3 Hrs. Total- 4Hrs. | - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes | Class Room Training Workshop. Lab/ Field Visit |
| LU5. Adopt company policies and procedures. | Trainee must be able to: - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard. | - Company’s safety policy - Safety signs and symbols Practical Activity: Prepare a chart of safety symbols and display in your classroom | Th-1 Hrs. Pr-3 Hrs. Total- 4Hrs. | - Safety Manual - SOP manual | Class Room Training Workshop. Lab/ Field Visit |
| LU6. Attain health & safety training. | Trainee must be able to: - Take required health and safety training - Implement work hazardous material information system (WHMIS) - Adopt first aid cardio respiratory, resuscitation and CPR. | - Safety training - WHMIS - Respiratory, Resuscitation and CPR. Practical Activity: Demonstrate the safety training. | Th-0.5 Hrs. Pr-3 Hrs. Total-3.5Hrs | - Safety symbols - Respiratory process display charts | Class Room Training Workshop. Lab/ Field Visit |
| LU7. Prepare for emergencies. | Trainee must be able to: - Take emergency response training - Ensure practice of emergency exercises - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. | - Emergency response training - Assembly area and its requirements Practical Activity: Demonstrate the gathering procedure at assembly area. | Th-0.5 Hrs. Pr-3 Hrs. Total-3.5Hrs | - Emergency alarms - Fire detector - Emergency response Plan - Fall Protection Plan | Class Room Training Workshop. Lab/ Field Visit |
| LU8. Respond to emergencies. | Trainee must be able to: - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by (for emergency). | - Emergency exit plan - Effective communication techniques | Th-0.5 Hrs. Pr-3 Hrs. Total- 3.5Hrs. | - Safety alarm - Electrician tool kit - Flat screw driver set - General tools kit - Insulation tester | Class Room Training Workshop. Lab/ Field Visit |

### Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace.

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required to maintain Occupational Safety, Health and Environment at the workplace according to the National and International Protection Agencies Standards and take remedial measures for Personal, Occupational and Environmental Protection. The Trainee will be able to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 30 Hours				Theory: 06 Hours			Practice: 24 Hours 			Cr. Hours:  3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Implement International Safety Standards in your work environment. | Trainee will be able to: - Recognize Electrical Safety hazards as per International Electro- Technical Commission (IEC) Standards - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify Electrical Safety Hazards as per Institute of Electrical and Electronics Engineers (IEE) standards - Categorize the Electrical Safety Hazards as per Electrical Safety Foundation International(ESFI) standards - Identify Labor Protection Laws as per International Labor Organization(ILO) rules - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Prepare a report for all the above activity. | - Various International Industrial standards and its details, such as: - IEC Standards - EPA Standards - IEE Standards - ESFI Standards - ILO Standards - Electrical Hazards and the risk associated with it. - Environmental Pollution Practical Activity: Prepare a chart for International Safety Standards ,applicable in your working environment | Th-1 Hrs. Pr-3 Hrs. Total-4 Hrs. | - Safety manual - PC - Internet | Class Room Training Workshop. Lab/ Field Visit. |
| LU2. Implement National Safety Standards in your work environment. | Trainee must be able to: - Identify Factory associated hazard as per Chapter 3 of Factories Act, 1934 - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the workplace hazards as per Occupational health and safety (OHS) standards - Identify the steps to minimize the Electrical hazards, Environmental Pollution and Labor Safety - Prepare a report for all the above activity. | - National safety standards such as: - Factories act,1934 - Pakistan Environmental Protection Act, 1997 - Labor Protection Policy 2006 - Occupational Health and safety (OHS) standards - Professional report writing. Practical Activity: Prepare a chart for National Safety Standards ,applicable in your working environment | Th-1 Hrs. Pr-3 Hrs. Total- 4 Hrs. | - Safety Manuals | Class Room Training Workshop. Lab/ Field Visit. |
| LU3. Implement International and National Labor Protection Laws | Trainee must be able to: - Identify Labor Protection Laws as per International Labor Organization(ILO) rules - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the Bonded Labor and Child Labor policy. - Determine the leaves policy and compensation policy for the Labor. - Recognize the minimum wage for the Labor - Identify the remedial steps for protection and prosperity of Labor. - Prepare a report for all the above activity. | - International and national labor policies such as: - International Labor Organization(ILO) rules - Child Labor policy. - Leaves and Compensation policy - Remedial steps for protection and prosperity of Labor - Professional report writing. Practical Activity: Prepare a chart for International and National Labor Protection Laws ,applicable in your working environment | Th-1 Hrs. Pr-3 Hrs. Total-4 Hrs. | - Safety Manual | Class Room Training Workshop. Lab/ Field Visit. |
| LU4. Implement National and International Environmental protection laws. | Trainee must be able to: - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Identify the requirements for Initial Environmental Examination (IEE) - Identify the requirements for Environmental Impact Assessment (EIA) - Prepare a report for all the above activity. | National and International Environmental protection laws. such as: - EPA Standards - Environmental Pollution - Electrical Hazards - Environmental protection act Practical Activity: Prepare a chart for National and International Environmental protection laws | Th-1 Hrs. Pr-3 Hrs. Total- 4 Hrs. | - Safety Manual | Class Room Training Workshop. Lab/ Field Visit. |
| LU5. Prepare for emergencies. | Trainee must be able to: - Take emergency response training - Ensure practice of emergency exercises - Ensure the availability of first aid box and fire extinguisher - Check the expiry of medicines and fire extinguishers - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. | - Emergency response training - Fire extinguisher and its applications - Emergency alarms - Assembly area Practical Activity: Demonstrate the emergency procedures | Th-0.5 Hrs. Pr-3 Hrs. Total-3.5 Hrs | - Emergency alarms - Fire detector - Emergency plan | Class Room Training Workshop. Lab/ Field Visit. |
| LU6. Respond to emergencies. | Trainee must be able to: - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance and fire brigade is at stand by (for major emergency). | - Emergency response plan - Emergency equipment operation Practical Activity: Execute the emergency plan | Th-0.5 Hrs. Pr-6 Hrs. Total- 6.5Hrs | - Emergency alarms - Fire detector - Emergency response Plan - Fall Protection Plan | Class Room Training Workshop. Lab/ Field Visit. |
| LU7. Adopt company policies and procedures. | Trainee must be able to: - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard. | - Companies safety policy - Safety symbols - Hazard lights Practical Activity: Prepare a report of company SOP(s) | Th-1 Hrs. Pr-3 Hrs. Total- 4 Hrs. | - SOP Manual - Safety Manual | Class Room Training Workshop. Lab/ Field Visit. |

## Domestic Electrician (Single Phase)

### Maintain Tools & Equipment for Single Phase Wiring.

Objective: This module covers the skills and knowledge related to arrange tools/equipment, maintain tool box, insulate tools/equipment, calibrate measuring tools and manage proper inventory of used/unused tools/equipment. Trainee will be expected to follow the procedures to maintain the tools/equipment.

Duration: 30 Hours				Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Arrange Tools and Equipment | Trainee will be able to: - Identify tools and equipment. - Interpret job card. - Prepare list of tools and equipment as per requirement. - Collect tools and equipment from store. | - Explanation of tool usage w.r.t job. - Differentiate similar tools as per assigned job. - Protection techniques of tools before and after use. Practical Activity: Prepare a list of necessary tools for wire cutting and jointing. | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. | Class Room and Workshop |
| LU2. Maintain Tool Box | Trainee will be able to: - Check physical conditions of tools and equipment before use - Perform preventive maintenance as per standards - Perform corrective maintenance of tools as per requirements - Clean tools and equipment after use - Place tools and equipment at appropriate place. | - Cleaning method for metallic/ nonmetallic tools. - Parameter considered before using sharp tools. - Criteria for handling electric test equipment. - Storage methods for sensitive test equipment. Practical Activity: Inspect the malfunction issue in the meters used in the Definition of job | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - PCB Kit | Class Room and Workshop |
| LU3. Insulate Tools and Equipment | Trainee will be able to: - Select damaged insulated tools and equipment - Apply insulation on tools and equipment as per standards. | - Importance of insulation. - Types of material used in insulation of tools. Practical Activity: Insulate damaged insulated tools available in workshop. | Total 06 Hrs. Th. 01 Hrs. Practical: 05 Hrs. | - CombinationPlier. - Cutter Plier - Nose plier. | Class Room and Workshop |
| LU4. Calibrate measuring tools | Trainee will be able to: - Check calibration status of the measuring tools - Perform calibration of measuring tools as per standards - Record calibration test results. | - Definition of the term calibration. - Calibration process in measuring tools. - Methods of result keeping. Practical Activity: Test the measuring instrument’s calibration for accurate measurement. | Total 06 Hrs. Th. 01 Hrs. Practical: 05 Hrs. | - Analog Multimeter - Digital Multimeter - Wattmeter - Voltmeter - Ammeter | Class Room and Workshop |
| LU5. Manage Inventory of tools and equipment | Trainee will be able to: - Check tools and equipment as per record - Report for faulty tools and equipment to supervisor - Generate demand for deficit tools and equipment - Maintain all records of tools and Equipment. | - Preparation of format (performa) for faulty tool reporting. - Methods for presenting the demand/replacement for/of new tool. - List the inventory of tools as per record. Practical Activity: Prepare a list of old and new tool as merge list and discard the old tool. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Wire Stripper - Solder wire - Soldering paste - CombinationPlier. - Cutter Plier - Nose plier - Multimeter | Class Room and Workshop |

### Make Cable/Wire Joints for Single Phase Wiring

Objective: This module covers the skills and knowledge related to make joints of cable during wiring and breakage of wires, Make Cross/Twist joint, Make Straight/Married joint, Make T- Joint, Make Rat tail joint, Make Britannia joint.

Duration: 30 Hours				Theory: 6 Hours				Practical: 24 Hours			Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1.Make Cross/Twist joint | Trainee will be able to: - Select the cable. - Strip the wire according to 50mm. - Twist the conductors. - Solder the conductors - Insulate the joint | - Explanation of Cross/Twist joint and its application. - Wire insulation techniques. - Definition of Cross/Twist joint. - Explanation of soldering techniques. - Importance of wire insulation. Practical Activity: Make Cross/Twist joint and insulate it. | Total 06 Hrs. Th. 02 Hrs. Practical: 04 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU2. Make Straight/Married joint | Trainee will be able to: - Select the cable. - Strip wire to 75mm according to joint requirement. - Intermingle the conductors to 60mm into each other. - Twist 60mm conductors leaving behind 15mm of each cable. - Solder the conductor. - Insulate the joint. | - Explanation of straight / married joint and its application. - Wire insulation techniques. - Definition of straight/Married joint. - Explanation of the soldering techniques for strengthen the joint. - Importance of wire insulation. Practical Activity: Make the straight / Married joint and insulate it. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier. - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU3. Make T-Joint | Trainee will be able to: - Select the cable - Remove the insulation of cable 1 to 50mm from where a connection is required - Separate conductors of cable 1 equally - Take another 12 mm stripped wire 2 - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable - Solder the joint. | - Explanation of T-Joint and its application. - Wire insulation techniques. - Uses of T-Joint joint. - Soldering techniques for strengthen the joints. - Importance of wire insulation in terms of protection. Practical Activity: Make the T-joint and insulate it. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - Solder | Class Room and Workshop |
| LU4. Make Rat-tail joint | Trainee will be able to: - Select the single conductor wires - Strip both the wires to 5mm - Twist the conductor - Insulate the joint - Solder the joint | - Explanation of Rat tail joint and its application. - Importance of the wire insulation. - Uses of rat tail joint. - Soldering techniques for strengthen the joints Practical Activity: Make the Rat tail joint and insulate it. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU5. Make Britannia joint | Trainee will be able to: - Select the cable. - Strip both cables to 75mm. - Bend the tips of both cable right angle about to 6mm. - Hold the two cables overlap 50mm with tips in opposite direction. - Take another bare conductor of 1mm and wrap around in both directions to 6mm. - Solder the joint. - Insulate the joint. | - Explanation of Britannia joint and its application. - Importance of the wire insulation. - Uses of Britannia joint. Practical Activity: Make the Britannia joint and insulate it. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |

### Prepare and Install Distribution Boards for Single Phase Wiring.

Objective: This module covers the skills and knowledge required to prepare and install distribution board according to provide protection and load division to wiring, prepare estimate for wiring material, Prepare Distribution Board, Install Distribution Board and wiring.

Duration: 30 Hours			Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1.Prepare estimate for wiring material. | Trainee will be able to: - Develop Basic Drawing - Perform Estimation of Materials - Calculate Labor Cost | - Importance of wiring plan (drawing). - Term cost estimation. - Attributes of Labor cost. - Calculation chart for labor cost Practical Activity: Analyze the available resource and estimate the cost of wiring material as per given budget. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Cables - Wires. - Miniature Circuit Breaker (MCB) - Molded Case Circuit Breaker (MCCB) - Residual Current Device (RCD) - Earth Leakage Circuit Breaker (ELCB) - Distribution Board (DB) - Socket and switches | Class Room and Workshop |
| LU2.Prepare Distribution Board | Trainee will be able to - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity - Select outgoing Miniature Circuit Breaker (MCB) according to load - Provide space for in DB for further MCB - Select Voltmeter, ampere meter and indicator according to load and phases - Select wire according to load and for wiring in Distribution Board (DB) - Make neutral common for all load - Connect accessories according to the circuit diagram | - Types of circuit breakers. - Differentiation between RCCB/MCB. - Types of distribution board. - Uses of different types of indicating instrument. - Importance of Neutral wire in distribution board. - Types of accessories used in distribution wiring. Practical Activity: Inspect the overall requirement for as electrical distribution system as per the designated 3 phase load. | Total 13 Hrs. Th. 03 Hrs. Practical: 10 Hrs. | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier - Nose plier. - Insulation remover. - Solder. - MCB - MCCB - RCD - ELCB - DB - Socket and switches | Class Room and Workshop |
| LU3. Install Distribution Board and wiring | Trainee will be able to - Fix the distribution board - Take wire from DB to load without joint - Distribute load equally on all phases | - Techniques of DB installation with earthing. - Method to lay the wiring distribution in home or office from the distribution board. - Load distribution technique. Practical Activity: Develop the single phase distribution board for designated work place. | Total 12 Hrs. Th. 02 Hrs. Practical: 10 Hrs. | - Cables - Wires. - Wire stripper. - Combination Plier - Cutter Plier - MCB - MCCB - DB - Socket and switches | Class Room and Workshop |

### Carryout Basic Electrical Installation for Single Phase

Objective:This module covers the skills and knowledge required to lay cables, perform single & three phase connections, basic electric wiring and wiring test for carrying out basic electrical Air Condition (AC) installation. The trainee will be required to follow company guidelines as well as the procedure for carrying out basic electrical AC installation.

Duration: 33 Hours				Theory: 9 Hours			Practical: 24 Hours			Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Basic Electrical wiring | Trainee will be able to - Measure cables as per requirement - Connect cables - Perform joints - Insulate Joints | - Different types of cable. - Explanation of simple electrical circuit - Difference between cable and wire. - Types of electrical wiring diagrams. Practical Activity: Develop the single phase distribution wiring network for a single floor building. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |
| - Conduct wiring Test | Trainee will be able to - Operate multi-meter for voltage and current - Perform continuity test - Perform polarity test - Perform earthling test - Perform insulation test - Record test results | - Types of multi meter. - Use of magger and earth tester. - Importance of meter precision. - Process of insulation test. Practical Activity: Test the following attributes of the wire - Insulation test. - Current voltage test. - Earthing test. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Cables - Wire stripper - Plier - Nose plier - Solder wire - Soldering paste - Megger | Class Room and Workshop |
| - Lay Cables | Trainee will be able to - Interpret electrical drawing / document - Identify cables - Lay cable. - Perform earthling | - Types of cable - Key features of earthing with examples. - Cable laying process in different ground conditions. - Types of earthling w.r.t service area (domestic, industrial, commercial) Practical Activity: Setup an earth pit for 120 yards house. | Total 06 Hrs. Th. 02 Hrs. Practical: 04 Hrs. | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover - Earth plate. | Class Room and Workshop |
| - Perform single-phase Connection | Trainee will be able to - Select cable gauge - Select cables colours - Connect cables - Insulate Joints | - AC fundamentals. - Wire gauge and its calculation. - Cable connection and its joints. - Process of insulation of cable. Practical Activity: Develop a cable joint for wire connection in the distribution board. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Cables - Solder - Wire stripper - CombinationPlier - Nose plier - Solder wire - Soldering paste | Class Room and Workshop |
| - Perform three phase Connection | Trainee will be able to - Select cable Gauge - Select cables colours - Connect cables - Insulate Joints | - AC fundamentals. - Wire gauge and its calculation. - Difference in single and three phase circuits of electrical distribution. - Explanation of the three phase 3 wire and three phase 4 wire circuits. - Difference between cable and wire. Practical Activity: Connect a 3 phase Motor with a contactor using RYB phase configuration. | Total 08 Hrs. Th. 04 Hrs. Practical: 04 Hrs. | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |

### Install Simple Single Phase Electrical Wiring

Objective:This module covers the skills and knowledge required to make single pole switch circuit, make single pole switch socket circuit, make two-way switch circuit, make series/test lamp circuit. Make intermediate switch circuit. Make of Tunnel circuit, Make of impulse switch circuit.

Duration: 30 Hours				Theory: 6 Hours			Practical: 24 Hours				Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Make single pole switch circuit. | Trainee will be able to - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Explanation of term pole and throw in a switch. - Types of switches and its applications. - Types of wire and ducting’s w.r.t specification. - Name various connectors and lug used in cable connections. - Types of electrical supply standards. Practical Activity: Test and install the electrical wire/ cable as per given cable plan with distribution board. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Screw - Single pole switch. - Bulb holder - Bulb - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make single pole switch socket circuit. | Trainee will be able to - Draw wiring diagram of single pole switch socket circuit. - Draw Current path diagram of single pole switch socket circuit. - Draw layout diagram of single pole switch socket circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Explanation of the phase, neutral, earth in a switch and socket. - Types of wire types and ducting’s w.r.t specification. - Connectors used in switch socket connections. - Types of electrical supply standards for 2/3 pin switch sockets. - Explanation of the connections of multiple switch socket arrangements in an electrical board as per current requirement. Practical Activity: Test and install the electrical wire/ cable as per given cable plan and mentioned specifications for an electrical working board based on multi socket arrangement. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make two-way switch circuit. | Trainee will be able to - Draw wiring diagram of two-way switch circuit. - Draw Current path diagram of two-way switch circuit. - Draw layout diagram of two-way switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of switches used and its applications. - Structure of two way switch with application and operation. Practical Activity: Develop a stair case wiring for 2 floors. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make series/ test lamp circuit. | Trainee will be able to - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Definition of series circuit. - Definition of parallel circuit - Difference between series and parallel circuit. - Test procedure of Series circuit. - Resistive load for series circuit. - Series circuit installation for testing purpose. Practical Activity: Develop a series test lap for testing purpose. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make intermediate switch circuit. | Trainee will be able to - Draw wiring diagram of intermediate switch circuit. - Draw Current path diagram of intermediate switch circuit. - Draw layout diagram of intermediate switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of switch working and applications. - Structure of intermediate switch with its application and operation. - Multi stage intermediate switch with its applications. Practical Activity: Develop an electrical system to operate load from various location using intermediate switch. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make of Tunnel circuit | Trainee will be able to - Draw wiring diagram of tunnel circuit. - Draw Current path diagram of tunnel circuit. - Draw layout diagram of tunnel circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Explanation of the term pole and throw in an electrical switch. - Types of switch working and its applications. - Function and operation of tunnel circuit with its applications. - Multi location tunnel circuit with its applications Practical Activity: Design a demonstration circuit for mine engineers. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |

### Install Single Phase Complex Electrical Wiring

Objective: This module covers the knowledge and  skills required to Install kitchen circuit, Install Drawing room circuit, Install Sleeping room circuit, install hall wiring, install impulse switch, Install Bell indicator circuit, install timer/time switch circuit, prepare fluorescent tube circuit and install.

Duration: 33 Hours				Theory: 09 Hours				Practice: 24 Hours 		Credit Hours: 3.3

|  | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Design/Develop and Install Kitchen wiring | Trainee will be able to: - Draw wiring diagram of kitchen circuit. - Draw Current path diagram of kitchen circuit. - Draw layout diagram of kitchen circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of kitchen circuit after attaching main supply. Practical Activity: Design/Develop and Install Kitchen wiring. | Th. 1Hrs. Practical 3 Hrs. Total 4 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Exhaust fan - Fan - Series board - Impulse switch | Class Room and Workshop |
| - Install Drawing room circuit | Trainee will be able to: - Draw wiring diagram of Drawing room circuit. - Draw Current path diagram of Drawing room circuit. - Draw layout diagram of Drawing room circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of drawing room circuit after attaching main supply. Practical Activity: Design/Develop and Install drawing room wiring. | Th. 1Hrs. Practical 3 Hrs. Total 4 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Exhaust fan - Fan - Series board - Impulse switch - Power plug. - Three pin socket and switch. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter | Class Room and workshop |
| - Install Sleeping room circuit | Trainee will be able to: - Draw wiring diagram of sleeping room circuit. - Draw Current path diagram of sleeping room circuit. - Draw layout diagram of sleeping room circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of sleeping room circuit after attaching main supply. - Protective measures against too high voltage. - Explanation of electrical protection used in sleeping room. Practical Activity: Design/Develop and Install sleeping room wiring. | Th. 1Hrs. Practical 3 Hrs. Total 4 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Exhaust fan - Fan - Series board - Impulse switch - Power plug. - Three pin socket and switch. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set. | Class Room and workshop |
| - Install hall wiring. | Trainee will be able to - Draw wiring diagram of Hall circuit. - Draw Current path diagram of Hall circuit. - Draw layout diagram of Hall circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of hall circuit after attaching main supply. - Explanation of electrical protection used in hall. - Explanation of electrical points in wiring. - Explanation of hall distribution of load. - Purpose of tie, thimble used in wiring. Practical Activity: Design/Develop and Install hall wiring. | Th. 1Hrs. Practical 3 Hrs. Total 4 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Exhaust fan - Fan - Series board - Impulse switch - Power plug. - Three pin socket and switch. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter | Class Room and workshop |
| - Install impulse switch | Trainee will be able to - Draw wiring diagram of impulse switch circuit. - Draw Current path diagram of impulse switch circuit. - Draw layout diagram of impulse switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply. | - Types of wiring diagram. - Marking and installation of accessories. - Checking of circuit after attaching main supply. - Definition of impulse switch. - Electrical protection used in impulse switch circuit. - Method of making impulse switch from single pole switch. - Purpose of tie and thimble used in wiring. Practical Activity: Design/Develop and Install impulse switch in wiring. | Th. 0.5 Hrs. Practical 2 Hrs. Total 2.5 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Impulse switch - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter | Class Room and Workshop |
| - Install Bell indicator circuit. | Trainee will be able to: - Draw wiring diagram bell circuit. - Draw Current path diagram of bell circuit. - Draw layout diagram of bell circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of bell indicator circuit after attaching main supply - Explanation of bell circuit and protection used in bell indicator circuit. - Purpose of grounding. - Function of coil used in bell. - Definition of mutual induction in coil. - Definition of self-induction in coil. Practical Activity: Design/Develop and Install bell with bell indicator. | Th. 1Hrs. Practical 2 Hrs. Total 3 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Bell - Bell button - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter | Class Room and Workshop |
| - Install timer/time switch circuit. | Trainee will be able to: - Draw wiring diagram of timer/time switch. - Draw Current path diagram of timer/time switch. - Draw layout diagram of timer/time switch. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of timer/time switch circuit after attaching main supply. - Protection used in bell indicator circuit. - Purpose of grounding, timer and its application. Practical Activity: Design/Develop and Install timer in a circuit. | Th. 0.5 Hrs. Practical 2 Hrs. Total 2.5 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Timer/time relay. - Set of Screw Drivers - Set of Nose Pliers - Multimeter | Class Room and Workshop |
| - Make fluorescent tube circuit and install | Trainee will be able to: - Draw wiring diagram of fluorescent tube circuit. - Draw Current path diagram of fluorescent tube circuit. - Draw layout diagram of fluorescent tube circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Types of wiring diagram. - Marking and installation of accessories. - Checking of timer/time switch circuit after attaching main supply - Explanation of fluorescent tube circuit and protection used in circuit - Purpose of grounding, chock, starter and fluorescent material used in tube light. Practical Activity: Make and Install fluorescent tube in a circuit. | Th. 1Hrs. Practical 3 Hrs. Total 4 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Tube light. - Tube patti. - Chock. - Starter. - Sleeves - Set of Screw Drivers - Set of Nose Pliers - Multimeter | Class Room and Workshop |
| - Perform Domestic Electrical Work | Trainee will be able to: - Install wire for grounding - Perform pre Installation module based Tests. - Install conduits or Trunks in the building as per drawing - Install electrical wiring, as per drawing and standard. - Install main box and distribution box. - Install Electric Breakers in main box, as per load for safety measures - Install the appliances used in electric work as per drawing - Install emergency light system in main box, as per standard color scheme - Install Main Distribution Board. - Test the Installation and obtain Test Certificate | - Types of wiring diagram. - Marking and installation of accessories. - Checking of timer/time switch circuit after attaching main supply - Describe Fundamentals of installation engineering - Describe the Power overhead-line systems. - Describe Low-voltage switchgear and distribution systems. - Explanation of Mounting and connection of motor testing of installed plant. - Explanation of electrical protection used in domestic wiring. - Purpose of grounding, earth leakage, two pole circuit breaker and three pole circuit breaker. Practical Activity: Perform domestic electrical work having different tests and installation. | Th. 2Hrs. Practical 6 Hrs. Total 8 Hrs. | - Electrician Tool kit. - Single pole switch - Lamp Holder - Lamp - Wooden/PVC board - PVC Pipe/Duct - PVC clamp - Screw - PVC wire according to load - Circuit Breaker - AVO meter - Test Indicator - Exhaust fan - Fan - Series board - Impulse switch - Power plug. - Three pin socket and switch. - Protection equipment. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter | Class Room and Workshop |

### Perform Testing of Electrical Wiring

Objective::This module covers the skills and knowledge required to Perform Earth leakage Test, Perform Open Circuit Test, Perform Short Circuit Test, Perform Continuity/Loop Test, Perform Visual Test, Perform Insulation Test, Perform Polarity Test, Perform Earth Resistance Test, Perform Murray Loop Test, and Perform BLAVIER & Earth Loop Test.

Duration: 30 Hours				Theory: 6 Hours			Practical: 24 Hours				Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Open Circuit Test | Trainee will be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect ohmmeter between starting and ending terminals of live conductor. - Ensure the reading must be near to 0 ohm. - Repeat P2 to P3 for neutral and earth conductor. | - Definition of open circuit and open circuit attributes. - Purpose of ohm resistance in the open circuit. Practical Activity: Test the cable for open circuit using earth tester. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 02 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| Perform Short Circuit Test | Trainee will be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect one terminal of ohmmeter with live conductor. - Connect the other terminals of ohmmeter with neutral conductor. - Ensure the reading must be infinity (No reading). - Connect ohmmeter between live conductor and earth conductor. - Ensure the reading must be infinity (No reading) | - Definition of short circuit and short circuit attributes. - Purpose of ohm resistance in the short circuit. Practical Activity: Test the cable for short circuit using earth tester. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 02 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| Perform Continuity/Loop Test | Trainee will be able to - Connect all metal clad switches, metal parts, conduits with ear Theory: - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and ear Theory: - Measure the resistance value with tester which must not be more than 1 ohm. | - Definition of circuit continuity and short circuit attributes. - Purpose of ohm resistance and circuit continuity or loop test. Practical Activity: Test the transmission link for ensuring continuity of the cable using earth tester. | Total 2.5 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| Perform Visual Test | Trainee will be able to - Check the wires joints. - Check if there is any spark. - Check over heating of wires. - Check all the appliances are on or fluctuating. - Check all indications of meters. - Check Voltages on all phases. - Check the DB and Breakers. - Check the main supply is coming properly. | - Cable visual test methods. - Physical state of the damage cable. - Observe structural change in the cable due to spark or heat. - Cause of increase in resistance due to damage in the cable. - Importance of cable grounding. Practical Activity: A fan was operating at its maximum speed. It stops and get out of order. Perform the visual test for fault finding. | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| Perform Insulation Test | Trainee will be able to - Switch off the main breaker. - Short circuit all lighting connections. - Connect merger between line and ear Theory: - Rotate the merger to generate the voltage. - Read the merger dial and ensure that the insulation resistance should not be less than 50M ohm of any single circuit. | - Need of insulation testing. - Loss caused due to weak insulation. - Various methods of insulation testing. Practical Activity: Test a cable for its insulation integrity using insulation tester. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| Perform Polarity Test | Trainee will be able to - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect ohm meter between main line and all the terminal of sockets and load points one by one. - Ensure meter reading value must be less than 1 ohm. | - Definition of the term polarity. - Importance of circuit polarity. - Visual inspection method to test polarity. - Continuity test method to test polarity. - Ohmic effect on polarity. Practical Activity: Test the polarity of a lighting circuit using ohm meter. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| Perform Earth Resistance Test | Trainee will be able to - Place 3 electrodes in earth at distance of 10m apart between every electrode. - Connect terminal E of earth resistance tester to first electrode. - Connect terminal P of earth resistance tester to the second electrode. - Connect terminal C of the earth resistance tester with third electrode. - Measure the resistances after applying specific voltage. - Repeat P1 to P5 by interacting earthling regions. - Ensure 3 readings must be equal. | - Definition of the term earth resistance. - Working of electrodes, earth tester. - Standard range of earth resistance. - Connections of earth resistance tester. Practical Activity: An electricity lab is being setup for research purpose. Find the earth resistance to insulate the lab by making earthling pit at the location using earth resistance tester. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| Perform Earth leakage Test. | Trainee will be able to - Ensure the socket must be at least 13A for RCD plug in. - Adjust the sensitivity of RCD. - Ensure tripping time must not exceed than 200msec. - Plug the RCD in socket and switch on socket outlet. - Ensure P-N and - P-E light up. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move the selection switch to 180o. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move selection switch to 00. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec | - Purpose of earthing. - Operation of Earth leakage tester. - Indicators used in earth tester. - Procedural steps involve in earth leakage testing. Practical Activity: Measure the earth leakage current of the cable using earth tester. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Sockets - RCD - ELCB - Loads - Supply source - Distribution Box - Ohmmeter - Earth resistance tester - Continuity - Tester. - Breakers - Megger | Class Room and Workshop |

### Repair/ Maintenance of Electrical Installations in Single Phase

Objective:This module covers the skills and knowledge required to Analyse Fault in Electrical Installations, troubleshooting of electrical equipment’s and Carry out Preventive Maintenance. Carry out repair and maintenance of electrical installations at workplace in accordance with the manufacturer’s instructions and organizational requirements.

Duration: 30 Hours				Theory: 6 Hours			Practical: 24 Hours				Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Analyze Fault in Electrical Installations | Trainee will be able to - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the connection of installed equipment according to electrical drawing - Check the faulty components | - Definition of the term fault. - Importance of electrical drawing in diagnostics. - Basic operation of Switch gear. - Use of Insulation tester. Practical Activity: Elaborate the procedural steps involved in analyzing the fault in Electrical Installations. | Total 10 Hrs. Th. 02 Hrs. Practical: 8 Hrs. | - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |
| Troubleshoot electrical equipment’s | - Gather information. - Identify the malfunction - Identify which parameters need to be evaluated - Identify the source of the problem - Perform root cause analysis - High resistance connection test results | - Procedure of identifying root cause of fault - Definition of parameters used to identify the problem Practical Activity: Explanation of the general methods of troubleshooting the electrical equipment’s according to prescribe procedure. | Total 10 Hrs. Th. 02 Hrs. Practical: 08 Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter |  |
| Carry out Preventive Maintenance | Trainee will be able to - Perform preventive maintenance as specified by the manufacturers or SOP - Check out the equipment logging sheet and updates logging - Update Maintenance/service records as per requirement | - Definition of the term maintenance, preventive maintenance and key attributes of preventive maintenance. - Advantages of maintenance and preventive maintenance. - Importance of data logging sheet in preventive maintenance activity. Practical Activity: An elevator is working error free from last six months. Describe the procedure for preventive maintenance to keep the elevator smooth run. | Total 10 Hrs. Th. 02 Hrs. Practical: 08 Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |

### Repair/ Maintenance and Service of Home Appliance.

Objective:This module covers the skills and knowledge required to Diagnose fault and repair electric iron, Repair/ maintenance of Pedestal Fan and Ceiling Fan, Repair/ maintenance of Juicer and Kitchen and Repair/ maintenance Refrigerator /Air conditioner. Carry out repair and maintenance of home appliances in accordance with the manufacturer’s instructions.

Duration: 30 Hours				Theory: 6 Hours			Practical: 24 Hours				Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Diagnose fault and repair electric iron | Trainee will be able to - Dismantle the electric Iron for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and temperatures. - Check the thermostats by using specified test instruments to detect defects. - Diagnose the faulty area - Clean the parts of the iron with specified cleaning material - Repair/replace the faulty parts of iron as per diagnosed fault. - Re assembled the iron and check iron in test bench as per standard. | - Types, Construction and working principal of iron - Types of electrical measuring instruments used in testing electric iron - Working principal of thermostat. Practical Activity: Troubleshoot and repair a faulty electric iron. | Total 04 Hrs. Th. 01 Hrs. Practical: 3 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter. - Iron - Gloves | Class Room and Workshop |
| Repair/ maintenance of Pedestal Fan and Ceiling Fan. | Trainee will be able to - Dismantle the fan for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and temperatures. - Check the speed and capacitor - Check the winding by using specified test instruments to detect defects. - Diagnose the faulty parts - Clean the parts of the fan with specified cleaning material - Repair/replace the faulty parts of fan as per diagnosed fault. - Rewind the winding - Assembled and test fan as per standard. | - Type, Construction and working principal of fan - Types of electrical measuring instruments used in testing electric fans. - Working principal of capacitor. - Explanation of dimmer, winding, bearing, cast iron and angle of fins. Practical Activity: Troubleshoot and repair a faulty fan. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter - Fan - Capacitor. - Bearing - Bearing puller - Bench Vice. - Gloves. - Duct rod. - Phase sequence meter. - Spanner. - Safety Tools | Class Room and Workshop |
| Repair/ maintenance of Juicer and grinder | Trainee will be able to - Dismantle the juicer/grinder for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and temperatures. - Check the winding by using specified test instruments to detect defects. - Diagnose the faulty components Clean the parts of the fan with specified cleaning material - Repair/replace the faulty parts as per diagnosed fault. - Rewind the winding if wind is burnt - Re assembled the juicer/grinder and check juicer in test bench as per standard. | - Type, Construction and working principal of grinder and juicer. - Types of electrical measuring instruments used in testing electric grinder/juicer. - Working principal of motor, winding and induction. Practical Activity: Troubleshoot and repair a faulty electric juicer/grinder. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter - Juicer. - Grinder. - Safety tools. - Spanner. - Winding tools - Wire - Galvanized wire. - RPM meter. - Gloves. | Class Room and Workshop |
| Repair/ maintenance Refrigerator /Air conditioner | Trainee will be able to - Turn off the Refrigerator /Air conditioner - Dismantle the Refrigerator /Air conditioner for internal tests/servicing/repairs according to manufacturer’s instructions. - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and Check the cooling system of air conditioner. - Check the thermostat glitches - check the temperature/heat or condenser coil and identify the problems - Check the Helium gas pressure with pressure gauge - check the leaking or dirty ducts - Check the drainage of water - replace dirty filters - check ducts and thermostat with specified test equipment’s - Diagnose the faulty components Clean the parts of the fan with specified cleaning material - Repair/replace the faulty parts as per diagnosed fault. - Refill the gas up to required standard (10 to 20 psi) - Before refilling gas create vacuum in compressor or zero gas pressure - Assembled Refrigerator /Air conditioner and performed test bench as per standard | - Working principal of capacitor, condenser, compressor, helium gas and pressure gauges. - Understand Construction and working principal of Refrigerator /Air conditioner. - Working principal of electrical measuring instruments used in testing refrigerator /Air conditioner. Practical Activity: Troubleshoot and repair a faulty AC/refrigerator also charge and discharge gas in AC/refrigerator. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter - Refrigerator. - Air conditioner. - Safety tools. - Wire. - Gas - Compressor. - Circuit boards. - Series circuit. | Class Room and Workshop |
| Repair/ maintenance of sandwich maker/toaster | Trainee will be able to - Dismantle the sandwich maker/toaster for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and temperatures. - Check the element by using specified test instruments to detect defects. - Diagnose the faulty components Clean the parts of the sandwich maker/toaster with specified cleaning material - Repair/replace the faulty parts as per diagnosed fault. - Replace the heating element if that is burnt - Re assembled the sandwich maker/toaster and check sandwich maker/toaster in test bench as per standard. | - Type, Construction and working principal of sandwich maker/toaster. - Types of electrical measuring instruments used in testing electric grinder/juicer. - Working principal of element. - Heating principle of element. - Definition of induction. Practical Activity: Troubleshoot and repair a faulty electric sandwich maker/toaster | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter - Safety tools. - Spanner. - Winding tools - Wire - Galvanized wire. - RPM meter. - Gloves. - Sandwich maker. - Toaster | Class Room and Workshop |
| Repair/ maintenance of washing machine/dryer. | Trainee will be able to - Dismantle the washing machine/dryer for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual mechanical defect such as, loose connection, short circuit, insulation and temperatures. - Check the speed and capacitor - Check the winding by using specified test instruments to detect defects. - Diagnose the faulty parts - Clean the parts of the washing machine/dryer with specified cleaning material - Repair/replace the faulty parts of fan as per diagnosed fault. - Rewind the winding if required. - Assembled and test washing machine/dryer as per standard. | - Type, Construction and working principal of washing machine/dryer. - Types of electrical measuring instruments used in testing electric washing machine/dryer. - Working principal of capacitor, winding, bearing, and timer. Practical Activity: Troubleshoot and repair a faulty washing machine/dryer. | Total 07 Hrs. Th. 01 Hrs. Practical: 06 Hrs. | - Electrician tool kit. - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Combination Plier Set - Clamp Meter - Fan - Capacitor. - Bearing - Bearing puller - Bench Vice. - Gloves. - Duct rod. - Phase sequence meter. - Spanner. - Safety Tools - Washing machine. - Dryer. | Class Room and Workshop |

## Machine Shop Technician

### Perform Cleaning, Oiling and Centering the Job

Objective: This module covers the knowledge and  skills required to Perform Cleaning, Oiling and Centering the Job After completion of this module the students will be able to perform cleaning and oiling of the lathe machine, perform centering the job by tool method and perform centering the job held in a four jaw chuck of face plate.

Duration: 33 Hours				Theory: 6 Hours			Practice: 27 Hours	           Credit Hours:		3.3 Hrs.

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Cleaning and Oiling of the Lathe Machine | Trainee will be able to: - Properly clean spindle threads - Properly clean lead screw of machine - Clean oil cap and oil plug using cotton cloth - Properly bed ways, clean cross slide and compound slide - Clean spindle bore and quill of tail stock - Properly lubricate oil caps of machine - Oil spindle threads - Use prescribed grade of oil for oiling and lubrication | - Cleaning techniques of Lathe Machine - Define oiling - Define lubrication - Discuss oil grades. - Describe oiling /Lubrication techniques | Th-02Hrs. Pr-09Hrs. Total-11Hrs. | cotton cloth Lubricants Brush | Class Room and workshop |
| Perform Centering the Job By Tool Method | Trainee will be able to: - Prepare a M.S Round Bar as per drawing - Mount four jaw chuck on spindle of lathe machine - Clamp work piece 100mm out of chuck from one end - Clamp cutting tool on tool post of lathe machine - Touch cutting tool on surface of job and rotate chuck with hand to identify out centring - Loosen the opposite side jaw, where the job is out centerd - Tighten the chuck in the direction of marked line - Repeat that step if required to center the job | - Describe three jaw/ universal chuck. - Centring techniques by tool method. | Th-02Hrs. Pr-09Hrs. Total-11Hrs | Lathe cutting Tool M.S Round Bar | Class Room and workshop |
| Perform Centering The Job Held In a Four Jaw Chuck Of Face Plate | Trainee must be able to: - Prepare a M.S Round Bar as per drawing - Mount four jaw chuck on spindle of lathe machine - Clamp work piece 100mm out of chuck from one end - Mount surface gauge on bed ways of lathe machine - Mark lines on surface of job with help of surface gauge to identify out centring - Loosen the opposite side jaw, where the job is out centerd - Tighten the chuck in the direction of marked line - Repeat that step if required to center the job | - How to use four jaw/ independent chuck? - Define how to use surface gauge. - Mounting Techniques of four Jaw chuck on spindle. - Functions of face plate - Functions of surface gauge - Mounting Techniques of work piece in four Jaw chuck | Th-02Hrs. Pr-09Hrs. Total- 11Hrs | M.S Round Bar surface gauge | Class Room and workshop |

### Perform Facing, Straight Turning, Center Drilling

Objective: This module covers the knowledge and  skills required to Perform Facing, Straight Turning, Center Drilling. After completion of this module the students will be able to Perform Facing, Perform Straight Turning and Perform Center Drilling

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Facing | Trainee will be able to: - Prepare a M.S Round Bar as per drawing - Mount universal chuck on spindle of lathe machine - Clamp work piece 25 mm out of chuck from one end - Clamp right hand side facing tool on tool post - Check center height of tool nose - Set spindle speed by considering job dia and material of job - Face the work piece on both sides with help of cross slide - Check the length of job - Perform cleaning operation on machine | - Describe Facing operation - Define cutting speed - Define cutting feed - Describe angles of facing tool Practical activity: Perform facing. | Th-02Hrs. Pr-09Hrs. Total-11Hrs. | M.S Round Bar Lathe cutting Tool Outside calliper. Steel foot rule | Class Room and workshop |
| Perform Straight Turning | Trainee will be able to: - Clamp work piece 25 mm out of chuck from one end - Clamp right hand side turning tool on tool post - Check center height of tool nose - Set spindle speed by considering job dia and material of job - Face the work piece on both sides with help of cross slide - Take a trial cut to straighten the job - Turn off the machine and take measurement of diameter of work piece - Set the cross feed collar to zero - Set appropriate cut and turn the diameter of work piece - Set cutting depth of 0.5 mm for finishing the job and complete the job - Measure the diameter of job - Perform cleaning operation on machine | • Explain types of turning operations. • Techniques of Straight Turning. Practical activity: Perform Straight Turning | Th-02Hrs. Pr-09Hrs. Total-11Hrs. | M.S Round Bar Lathe cutting Tool Outside calliper. Steel foot rule | Class Room and workshop |
| Perform Center Drilling | Trainee must be able to: - Clamp work piece 25 mm out of chuck from one end - Clamp right hand side facing tool on tool post - Check center height of tool nose - Set spindle speed by considering job dia and material of job - Face the work piece on both sides - Clamp center drill in drilling chuck and mount it in tail stock spindle - Turn on the machine and slowly feed center drill towards work piece using tail stock hand wheel - Slide tail stock spindle Back and - Forth and complete center drilling operation - Use cutting oil during operation - Perform cleaning operation on machine | - Techniques of center drilling operation • Purpose of center drilling. Practical activity: Perform Center Drilling | Th-02Hrs. Pr-09Hrs. Total-11Hrs. | M.S Round Bar Lathe cutting Tool Outside calliper. Steel foot rule Center drill | Class Room and workshop |

### Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe

Objective: This module covers the knowledge and  skills required to Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe. After completion of this module the students will be able to Perform Drilling on Lathe, Perform Step Turning, perform   Knurling and Perform Boring a Straight Hole

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Drilling On Lathe | Trainee will be able to: - Prepare a M.S Round Bar as per drawing - Mount universal chuck on spindle of lathe machine - Clamp work piece 25 mm out of chuck from one end - Set drilling speed by considering material of job - Face the work piece on both sides - Check the angle point of drill - Perform center drilling operation - Clamp the drill of 5 mm dia and create pilot hole - Perform drilling operation as per drawing - Unclamp the job and debar the job - Perform cleaning operation on machine | - Define RPM. - Describe drilling operation - Explain purpose of pilot hole drill Practical activity: Perform Drilling On Lathe | Th-1.5Hrs. Pr-06 Hrs. Total-7.5 Hrs | M.S Round Bar Boring bar Vernier Caliper Steel rule Tool post key Drill chuck Center drill Flat file Drills of required dia Right hand side facing tool Right hand Turing tool | Class Room and workshop |
| Perform Step Turning | Trainee will be able to: - Prepare a M.S Round Bar as per drawing - Mount universal chuck on spindle of lathe machine - Clamp work piece 25 mm out of chuck from one end - Clamp right hand side turning and facing tool on tool post - Check center height of both tool nose - Set spindle speed by considering job dia and material of job - Face the work piece on one side - Mount center drill in tail stock spindle - Perform center hole drill on one side of job - Face other side of job to get required length - Clamp job as per drawing and support with dead center - Turn dia of 12 mm on the length of 47 mm - Turn dia of 17 mm on the length of 47 mm - Unclamp the job and change the side - Turn dia of 23 mm on the length of 47mm - Perform square shoulder turn operation on each step - Unclamp the job and debar the job - Perform cleaning operation on machine | - Define step turning - Define cutting feed - Describe r.p.m for step turning - Step turning techniques. Practical activity: Perform Step Turning | Th-1.5Hrs. Pr-06 Hrs. Total-7.5 Hrs | M.S Round Bar Parting Tool Vernier calliper Steel rule Drill chuck Center drill Flat file Right hand side facing tool Right hand Turing tool | Class Room and workshop |
| Perform Knurling | Trainee must be able to: - Prepare a M.S Round Bar as per drawing - Mount universal chuck on spindle of lathe machine - Clamp work piece 25mm out of chuck from one end - Clamp knurling tool on tool post - Check center height of knurling tool - Set spindle speed 75% lower than turning speed - Set knurling tool at 90* with job axis - Set carriage feed at 0.38 to 0.76mm/revolution - Touch knurling tool with job surface and feed 0.63mm towards job - Start the machine and take light cut - Stop the machine, inspect the job and adjust if required - Start the machine on automatic feed and complete the job | - Define types of knurling - Describe r.p.m for knurling - Explain purpose of knurling Practical activity: Perform Knurling | Th-1.5Hrs. Pr-06 Hrs. Total-7.5 Hrs | M.S Round Bar Knurling tool Vernier calliper Steel rule Drill chuck Center drill Flat file Right hand side facing tool Right hand Turing tool | Class Room and workshop |
| Perform Boring a Straight Hole | Trainee must be able to: - Clamp turning and facing tools in tool post - Check center height of both tools - Hold the job in chuck - Face the job on both sides and achieve the length of 48mm - Cut chamfer of 3x45* on both ends of job - Drill a through hole of 10mm - Drill a through hole of 16mm and 25mm - Clamp boring bar in tool post - Move carriage with hand to check if boring bar is not touching the sides of job - Set feed of 0.8 mm to 1.2 mm along longitudinal way - Touch boring bit point with internal circumference of job - Set appropriate depth of cut and complete the job with automatic fed | - Define types of boring - Describe r.p.m for boring - Explain purpose of boring bar Practical activity: Perform Boring a Straight Hole | Th-1.5Hrs. Pr-06Hrs. Total-7.5Hrs. | M.S Round Bar Boring bar Vernier caliper Steel rule Drill chuck Center drill Drills of required dia Right hand side facing tool |  |

### Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting Metric Threads.

Objective: This module covers the knowledge and  skills required to Perform Step Or Counter Boring, Perform Reaming, Perform Tool Grinding, Perform Taper Turning By Compound Rest Method and Perform Cutting Metric Threads On Lathe Machine

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Step Or Counter Boring | Trainee will be able to: - Clamp half-length of job outside chuck - Clamp facing tool in tool post - Check center height of tool - Face both ends of job as per drawing - Center drill one side of job - Drill through hole of dia 6 mm - Drill through hole of 12 mm - clamp boring bar on tool post - Move carriage with hand to check if boring bar is not touching the sides of job - Set feed of 0.8 mm to 1.2 mm along longitudinal way - Cut the bore of 16 mm throughout hole - Cut the bore dia of 20 mm on length of 24 mm - Check bore size on both sides | - Define types of counter boring - Describe r.p.m for counter boring - Explain purpose of counter boring bar. Practical activity: Perform Step Or Counter Boring | Th-01Hrs. Pr-03Hrs. Total-4Hrs. | Tool bit Vernier calliper Steel rule Tool post key Chuck key Boring bar Drill Bit | Class Room and workshop |
| Perform Reaming | Trainee will be able to: - Prepare a M.S Round Bar as per drawing - Mount universal chuck on spindle of lathe machine - Clamp work piece 25 mm out of chuck from one end - Set drilling speed by considering material of job - Face the work piece on both sides - Check the angle point of drill - Perform center drilling operation - Clamp the drill of 5 mm dia and create pilot hole - Perform drilling operation using drill of 11.8 mm dia - Clamp 12 mm dia reamer in drill chuck - Insert reamer in to work piece and use cutting fluid - Turn off the machine and slowly exert reamer | - What is Reaming? - Define types of reamer. - Reaming Techniques - Describe r.p.m for reaming. - Explain purpose of reaming Practical activity: Perform Reaming | Th-01Hrs. Pr-06Hrs. Total-07Hrs. | Tool bit Reamer Dia 12 mm Vernier calliper Steel rule | Class Room and workshop |
| Perform Tool Grinding | Trainee must be able to: - Dress the face of grinding wheel - Hold tool bit to grind appropriate cutting edge angle - Slide tool bit right to left on face of wheel - Grind cutting edge angle and end relief angle at same time - Check end relief angle - Produce minor radius on tool nose | - Define types of wheel dresser. - Describe r.p.m for grinding - Explain types of grinder Practical activity: Perform Tool Grinding | Th-01Hrs. Pr-06Hrs. Total-07Hrs. | Grinding gauge Tool bit Oil stone Wheel dresser Pedestal grinder Dead center Surface gauge angle gauge | Class Room and workshop |
| Perform Taper Turning By Compound Rest Method | Trainee must be able to: - Clamp work piece 25 mm out of chuck from one end and Clamp right hand side turning tool on tool post - Check center height of tool nose - Set spindle speed by considering job dia and material of job - Face the work piece on both sides with help of cross slide - Perform center hole drill on one side of job - Face other side of job to get required length - Clamp job as per drawing and support with dead center - Turn whole length of job on 23 mm dia - Set compound slide on angle of 1*-54’ - Set appropriate depth of cut - Control feed with compound slide knob and cut taper on job - Check the minor dia with help of Vernier caliper | - Define types of taper turning - Describe r.p.m for taper turning - Explain purpose of taper turning Practical activity: Perform Taper Turning By Compound Rest Method | Th-01Hrs. Pr-06Hrs. Total-07Hrs. | Tool bit Dead center Vernier calliper Steel rule angle gauge |  |
| Perform Cutting Metric Threads On Lathe Machine | Trainee must be able to: - Clamp work piece 25 mm out of chuck from one end and Clamp facing and turning tool on tool post - Check center height of tool nose - Face the work piece on both sides with help of cross slide - Perform center hole drill on one side of job - Clamp job as per drawing and support with dead center - Turn whole length of job on 22 mm dia - Set threading tool on 90* with axis of work piece using angle gauge - Touch threading tool with job surface and set cross feed | - Explain purpose of Threading - Describe types of Threads - Define angle of Thread - Thread Cutting Techniques Practical activity: Perform Cutting Metric Threads On Lathe Machine | Th-02Hrs. Pr-06Hrs. Total-08Hrs. | Threads gauge Tool bit Dead center Vernier calliper Steel rule |  |

### Perform Basic Metal Work

Objective: This module covers the knowledge and  skills required to  Develop  Name Plate manually, Carryout Sawing, Preparation of Inside Calliper, Preparation of Bottle Opener, Preparation of Dovetail Joint, Preparation of small size Tri Square, Produce Threads on Work Piece, Preparation of Funnel, Preparation of Drawer Handle, Produce Pipe Threads and Preparation of spanner(small size)

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Develop Name Plate manually | Trainee will be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Level the surface with tri-square - Mark the plate as per name requirements - Punch the marked area - Perform finishing with sand paper | - Define basic measurement - Measuring /Marking /cutting tools - Describe clamping/holding methods - Finishing Techniques with sand paper. Practical activity: Select marking tools from mechanical tools. | Th-0.5Hrs. Pr-2.5Hrs. Total- 3Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier caliper Flat File Number/alphabet punch | Class Room and workshop |
| Carryout Sawing | Trainee will be able to: - Mark the job according to given drawing - Select appropriate blade according to job requirement - Set blade in frame of hacksaw as per procedure - Ensure the work piece is clamped firmly and properly - Adopt methods and techniques for sawing that is appropriate to job requirement - Follow marked line during sawing to ensure accuracy | - Describe types of hacksaw frames - Define methods and techniques of sawing. Practical activity: Carryout Sawing | Th-0.5Hrs. Pr-2.5Hrs. Total-3Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber | Class Room and workshop |
| Prepration of Inside Calliper | Trainee must be able to: - Cut sheet as per drawing - Mark the job according to given drawing - Adopt appropriate methods and techniques of filing - Perform bending operation using hammer and bench vice. - Perform drilling operation using twist drill according job drawing - Perform riveting operation using cross peen hammer - Perform finishing with sand paper | - Describe the drilling procedure - Bending Techniques - Filing Techniques - Riveting Techniques. - Types of Hammers - Types of fits Practical activity: Prepare Inside Calliper | Th-01 Hrs. Pr-2.5 Hrs. Total-3.5Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File | Class Room and workshop |
| Prepration of Bottle Opener | Trainee must be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Level the surface with tri-square - Mark radius as per drawing - Develop radius as per drawing - Make the notch with round file - Perform finishing with sand paper | - Types and uses of files - Techniques for surface finishing with file - Radius marking Techniques Practical activity: Prepare Bottle Opener | Th-0.5Hrs. Pr-2.5Hrs. Total- 3Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File | Class Room and workshop |
| Prepration of Dovetail Joint | Trainee must be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Level the surface of both work pieces with tri-square - Mark both work pieces according to drawing - Create outer notch on work piece using flat file and hacksaw - Create inner notch using hacksaw and chisel - Compare both pieces by inserting outer notch into inner notch - Perform finishing with sand paper. | - Surface leveling techniques with Tri-square. - Cutting and Fitting Techniques of Dovetail Joint. - Chiseling techniques. Practical activity: Prepare Dovetail Joint | Th-0.5Hrs. Pr-2.5Hrs. Total- 3Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File | Class Room and workshop |
| Prepration of small size Tri Square | Trainee must be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Level the surface of both work pieces with tri-square - Mark both work pieces according to drawing - Cut 450 on one end of both work pieces and file accordingly - Create a narrow cut in handle to fit blade - Drill a hole in handle as per drawing and rivet that hole - Check the firm ability of handle and blade - Perform finishing with sand paper. | - Use of Tri Square - Angle Measurement techniques. Practical activity: Prepare small size Tri Square | Th-0.5Hrs. Pr-2.5Hrs. Total- 3Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier caliper Flat File | Class Room and workshop |
| Produce internal Threads in Work Piece | Trainee must be able to: - Identify different kind of taps & die according to requirement - Identify the work piece clamping method. - Apply tap and die alignment. - Apply lubricants while threading. - Avoid unwanted engraving and slips. - Identify proper threading procedure | - Kinds of taps - Calculation for drill size for internal threading | Th-0.5Hrs. Pr-2.5Hrs. Total- 03Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File Tap & Die Set Thread gauge | Class Room and workshop |
| Prepration of Funnel | Trainee must be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Mark the sheet according to drawing - Cut the sheet with hand shear - Create radius of funnel using appropriate tools - Perform flat lock seam bend using bench vice - Perform finishing with sand paper. | - Hand shearing Techniques - Flat lock seam Techniques Practical activity: Prepare Funnel | Th-0.5Hrs. Pr-2.5Hrs. Total- 03Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File Hand sheet cutter | Class Room and workshop |
| Prepration of Drawer Handle | Trainee must be able to: - Select marking tools - Cut MS Round as per drawing - Mark the round bar according to drawing - Bend the bar using bench vice according given radius - Check the radius on both ends of bar - Perform finishing with sand paper. | - Bending Techniques - Cutting Techniques of MS Round bar Practical activity: Prepare Drawer Handle | Th-0.5Hrs. Pr-2.5Hrs. Total- 03Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File Steel rule | Class Room and workshop |
| Produce Pipe Threads | Trainee must be able to: - Select marking tools - Cut pipe as per drawing - Select die as per pipe size - Set die into die holder - Select relevant vice for pipe clamping - Perform pipe threading using appropriate method - Perform finishing with sand paper. | - Techniques for Pipe Threads cutting - Procedure for cutting external threads on pipe | Th-01Hrs. Pr-2.5Hrs. Total-3.5Hrs. | Work bench Pipe vice Pipe cutter Hammer Tri-square Hand hacksaw Scriber Vernier calliper Flat File Die set | Class Room and workshop |
| Prepare a spanner of (small size) | Trainee must be able to: - Select marking tools - Cut sheet as per drawing - Perform surface finishing with file - Level the surface with tri-square - Mark radius as per drawing - Develop radius as per drawing - Make the notch with round file - Perform finishing with sand paper | - Marking Techniques of Half Hexagon - Cutting Techniques | Th-0.5Hrs. Pr-2Hrs. Total-2.5Hrs. | Work bench Bench vice Hammer Tri-square Hand hacksaw Scriber Vernier caliper Flat File | Class Room and workshop |

### Perform Wood Work

Objective: This module covers the knowledge and  skills required to Perform Wood Work After completion of this module the students will be able to Planning and Squaring to dimensions, Sawing Exercise, Making   Mortise and Tendon Joint, Making Dado Joint, Making Cross-lap Joint, Making holes of different Diameters in Wood, Nailing and Wood Screwing Process, Making Middle Half Cross lap joint and Making Dovetail Joint

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Planning and Squaring to dimensions | Trainee will be able to: - Select appropriate wooden piece according to drawing - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work pieces according to given dimensions in drawing - Perform planning operation using jack plane - Insure squaring of work piece by using tri square - Perform finishing with sand paper | - Basic measurement Techniques - Identification of measuring /Marking /cutting tools - Clamping/holding methods - Knowledge of jackplane types - uses of tri square - Techniques of squaring the work piece Practical activity: Plan and Square to dimensions | Th-01Hrs. Pr-03Hrs. Total- 4Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice | Class Room and workshop |
| Sawing Exercise | Trainee will be able to: - Mark the job according to given drawing - Select appropriate blade according to job requirement - Ensure the work piece is clamped firmly and properly - Adopt methods and techniques for sawing that is appropriate to job requirement - Follow marked line during sawing to ensure accuracy | - Types & uses of wood working saw - Methods and techniques of sawing. Practical activity: As per practice | Th-01Hrs. Pr-03Hrs. Total-4Hrs. | Work bench Punching tools Vernier caliper Scriber Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |
| Making Mortise and Tendon Joint | Trainee must be able to: - Select appropriate wooden piece for mortise - Select appropriate wooden piece for Tendon - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work pieces according to given dimensions in drawing - Prepare Mortise piece using wooden saw - Prepare Tendon piece using Tendon machine or using wooden chisel - Check joint firm ability by clamping both work pieces - Perform finishing with sand paper | - Knowledge of wooden chisels - Operational techniques of Tendon machine - Fitting techniques of joints Practical activity: Make Mortise and Tendon Joint | Th-01Hrs. Pr-03Hrs. Total-4Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |
| Making Dado Joint | Trainee must be able to: - Mark the job according to given drawing - Select appropriate blade according to job requirement - Ensure the work piece is clamped firmly and properly - Mark width using the actual piece. - Make a "knife wall" with a chisel - Saw down the knife wall lines - Work the way across the waste - Fit and glue - Perform finishing with sand paper | - Making techniques of Dado Joint. - Application of Dado Joints Practical activity: Make Dado Joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |
| Making Cross-lap Joint | Trainee must be able to: - Select appropriate wooden piece for upper lap - Select appropriate wooden piece for lower lap - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work pieces according to given dimensions in drawing - Cut the notch using wood saw - Finish the notch using wood chisel - Check joint firm ability by clamping both work pieces - Perform finishing with sand paper | - Constructional techniques of Cross-lap Joint. Practical activity: Make Cross-lap Joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |
| Making holes of different Diameters in Wood | Trainee must be able to: - Select appropriate wooden piece according to drawing - Select marking tools - Select relevant machine vice for wood clamping - Ensure the work piece is clamped properly - Mark work piece according to given dimensions in drawing - Perform planning operation using jack plane if required - Select drills according to drawing - Perform drilling operation according to drawing - Check diameter using plug gauge - Perform finishing with sand paper | - Knowledge of Drill Machines - Identification of different types of drill - Knowledge of glues use in wood work - Techniques to apply glue Practical activity: Make holes of different Diameters in Wood | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Punching tools Vernier caliper Scriber Tri-square Wood Marking tools Wood saws Drill machine with different drill bits. | Class Room and workshop |
| Nailing and Wood Screwing Process | Trainee must be able to: - Select appropriate wooden piece according to drawing - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work piece according to given dimensions in drawing - Join two pieces together with metal nail using claw hammer - Join two pieces together with flaw head screw using flat screw driver - Join two pieces together with Philip head screw using Philip screw driver - Perform finishing with sand paper | - Types of nails - Types of screws - Difference between nail and screw - Safety consideration while nailing, Screwing and fulling nails Practical activity: As per lab activity | Th-0.5 Hrs. Pr-03 Hrs. Total-3.5 Hrs. |  |  |
| Making Middle Half Cross lap joint | Trainee must be able to: - Select appropriate wooden piece for upper lap - Select appropriate wooden piece for lower lap - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work pieces according to given dimensions in drawing - Cut the notch in middle of work pieces using circular saw - Finish the notch using wood file - Check joint firm ability by clamping both work pieces - Perform finishing with sand paper | - Techniques for Making Middle Half Cross lap joint Practical activity: Make Middle Half Cross lap joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |
| Making Dovetail Joint | Trainee must be able to: - Select appropriate wooden piece for Tail - Select appropriate wooden piece for Pin - Select marking tools - Select relevant vice for wood clamping - Ensure the work piece is clamped properly - Mark work pieces according to given dimensions in drawing - Prepare Tail piece using hand saw and wooden chisel - Prepare Pin piece using hand saw and wooden chisel - Check joint firm ability by clamping both work pieces - Perform finishing with sand paper | - Constructional Techniques of Dovetail joint. Practical activity: Make Dovetail Joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Work bench Punching tools Vernier caliper Scriber Wood jackplane Flat File Tri-square Wood Marking tools Bench vice Wood saws | Class Room and workshop |

### Perform Oxy Acetylene Welding

Objective: This module covers the knowledge and  skills required to 0713E&E24 Perform Oxy Acetylene Welding. After completion of this module the trainee will be able to make Arc, Bead Making, Open Square Butt Joint (MS Flat 5mm Thick), V Groove Butt Joint, Lap Joint, Corner Joint Flat Position, Corner Joint Vertical Position, Spot Welding Practice (0.5mm MS Sheet), Seam Welding Practice (0.5mm MS Sheet).

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Make flame for gas welding carburizing flam, Neutral flam, oxidizing flam | Trainee will be able to: - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Open acetylene gas knob of welding torch - Ignite acetylene gas with help of spark lighter - Open oxygen gas knob of welding torch - Make carburizing flame by increasing acetylene gas quantity - Make neutral flame by adjusting both gases at same quantity - Make oxidizing flame by increasing oxygen gas quantity - Close valves of welding torch - Close both gas cylinders’ valves | The trainees must be able to understand: - acetylene gas and its properties - oxygen gas and its properties - back fire arrestor - flash back arrestor - pressure and its units - metal properties - temperature and its units - basic Mechanical drawing - Procedure for marking tools of - filler rod - marking tools - Procedure of making carburized flam - Procedure of making - Procedure of making oxidizing flam - Procedure of making Neutral flam Practical activity: Make Oxidized flam for gas wilding. | Th-01Hrs. Pr-3Hrs. Total-4Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter | Class Room and workshop |
| Make Pool | Trainee will be able to: - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Make the pool as per standard - Close welding torch valve - Close both gas cylinders’ valves - Clean with wire brush | The trainees must be able to understand: - Nozzle and types - Functionality of welding torch - Procedure of making pool - Application of making pool Practical activity: Make a pool. | Th-01Hrs. Pr-03Hrs. Total-4Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter | Class Room and workshop |
| Make Bead | Trainee must be able to: - Trainee must be able to: - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Draw the straight line on the job - Keep appropriate distance between end of the inner core and job surface - Establish the weld pool - Add filler rod to the pool - Slowly withdraw the flame near the left hand edge of the shield - Finish the job with wire brush | The trainees must be able to understand: - Procedure for making bead - Functionality of making bead - Application of bead. Practical activity: Make a Bead | Th-01Hrs. Pr-03Hrs. Total-4Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter | Class Room and workshop |
| Make Edge Joint | - . Perform marking as per drawing - Cut the metal sheet according to drawing using shearing machine - Straighten the material with help of hammer - File work if required - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Arrange filler material as per requirement - Set both plates at edge joint position - Weld both plate using filler rod - Finish the job with wire brush | The trainees must be able to understand: - joint symbols - Types of joints - Functionality of grinder - Welding - Types of welding - Properties of Edge joint - Procedure of making edge joint. Practical activity: Make Edge joint | Th-01Hrs. Pr-03Hrs. Total- 04Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter, Grinding machine | Class Room and workshop |
| Make Open square butt joint (M.S Flat 3mm OR 5mm Thickness) | Trainee must be able to: - Trainee must be able to: - Perform marking as per drawing - Cut the metal sheet according to drawing using shearing machine - Straighten the material with help of hammer - File work if required - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Arrange filler material as per requirement - Set gap in both plates according to joint - Weld both plate using filler rod - Finish the job with wire brush | The trainees must be able to understand: - Procedure of making square butt joint - Uses of square butt joint Practical activity: Make Open square butt joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter, Grinding machine, Shearing machine, Hammer. | Class Room and workshop |
| - . Make ‘V’ Groove butt joint ( Flat Position) | Trainee must be able to: - Perform marking as per drawing - Cut the metal sheet according to drawing using shearing machine - Straighten the material with help of hammer - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Set the both gas flame of welding torch as per standard - Arrange filler material as per requirement - Prepare 45* angle on edge of metal plate according to drawing - Align edges of both plates according to drawing - Weld both plate using filler rod - Finish the job with wire brush | The trainees must be able to understand: - Operation of shearing machine - Procedure of making “V” Groove butt joint - Application of Groove butt joint Practical activity: . Make ‘V’ Groove butt joint ( Flat Position) | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter, Grinding machine, Shearing machine, Hammer. | Class Room and workshop |
| Make Corner joint | Trainee must be able to: - . Perform marking as per drawing - Cut the metal sheet according to drawing using shearing machine - Straighten the material with help of hammer - File work if required - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Arrange filler material as per requirement - Set both plates at corner joint position - Weld both plate using filler rod - Finish the job with wire brush | The trainees must be able to understand: - Corner joint with symbol - Procedure of making corner joint - Application corner joint Practical activity: . Make Corner joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter, Grinding machine, Shearing machine, Hammer. | Class Room and workshop |
| Make Open square brazing Butt joint(M.S Flat 5mm thick) | Trainee must be able to: - Perform marking as per drawing - Cut the metal sheet according to drawing using shearing machine - Straighten the material with help of hammer - File work if required - Open gas cylinder with the help of cylinder key - Adjust pressure of both gas cylinders with the help of regulator - Select the correct size of the nozzle - Set the both gas flame of welding torch as per standard - Arrange brazing rod and flux as per requirement - Set both plates at corner joint position - Weld both plate using filler rod - Finish the job with wire brush | The trainees must be able to understand: - square brazing Butt joint with symbol - Procedure of making square brazing Butt joint. - Uses of square brazing Butt joint Practical activity: Make Open square brazing Butt joint(M.S Flat 5mm thick) | Th-0.5Hrs. Pr-06Hrs. Total-6.5Hrs. | Oxygen cylinder, Acetylene gas cylinder, Pressure regulators, Cylinder key, Welding torch, Rubber house pipe, Back fire arrester, Flash back arrester, Spark lighter, Grinding machine, Shearing machine, Hammer. | Class Room and workshop |

### Perform Arc Welding

Objective: This module covers the knowledge and  skills required to Perform Arc Welding. After completion of this module the students will be able to  make Arc, Bead Making, Open Square Butt Joint (MS Flat 5 mm Thick), V Groove Butt Joint, Lap Joint, Corner Joint Flat Position, Corner Joint Vertical Position, Spot Welding Practice(0.5 mm MS Sheet), Seam Welding Practice(0.5 mm MS Sheet).

Duration: 33 Hours				Theory: 6 Hours				Practice: 27 Hours		Credit Hours: 3.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Make Arc | Trainee will be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Place the work piece on welding table - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Touch the electrode with base metal - Ensure that pre heating is accomplished by moving short arc rapidly back and forward - Remove the slag with chipping hammer - clean with wire brush | - Knowledge about electricity, current, ampere, voltage, wattage etc. - Knowledge offsetting the current on welding machine - Understand types of electrodes - Understand motion of electrodes - Understand Arc temperature. - Positioning of electrode according to work - Techniques of setting the current on welding machine. Practical activity: Make Arc | Th-01Hrs. Pr-03Hrs. Total- 04Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| - . Make Bead | Trainee will be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Place the work piece on welding table - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Position the electrode leaning about 200 from vertical in the direction of travel - Prepare the arc by touching the end of electrode with the base metal and withdrawing it to proper gap - Ensure the width and length of arc by watching the puddle - Remove the slag with chipping hammer - Clean with wire brush | - Techniques of Bead making in arc welding - Importance of gap between electrode and base metal - Electrode positioning techniques according to work Practical activity: Make Bead | Th-01Hrs. Pr-03Hrs. Total- 04Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| Make Open Square Butt Joint (MS Flat 5 mm Thick) | Trainee must be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Place the work piece on welding table - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Hold the electrode at right angle - Set the current at 120-125 ampere - Tack both pieces of M.S Flat - Prepare the arc by touching the end of electrode with the base metal and withdrawing it to proper gap - Lean the electrode at 700 to the base metal and complete the bead to form an open square butt joint - Remove the slag with chipping hammer | - Techniques to Make Open Square Butt Joint - Electrode motion techniques in ARC welding Practical activity: Make Open Square Butt Joint (MS Flat 5 mm Thick) | Th-01Hrs. Pr-03Hrs. Total- 04Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| Make V Groove Butt Joint | Trainee must be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Place the work piece on welding table - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Grind the work pieces on pedestal grinder as per drawing - Place both work pieces on welding table with equal distance and parallel to each other - Tack both work pieces of M.S Flat - Set the current to 200 amperes - Prepare an arc by touching the end of electrode with base metal - Complete the bead by back hand welding technique - Remove the slag with chipping hammer - Clean with wire brush | - Knowledge of pedestal grinder. - Grinding Techniques for V shape groove. Practical activity: Make V Groove Butt Joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | MS flats Pedestal Grinder Tri-Square | Class Room and workshop |
| Make Lap Joint | Trainee must be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Mark parallel line with the help of scriber for positioning of overlap the plate - Place the work piece on welding table - Place the Bottom piece on work table and place the Top plate along the marked line - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Tack both work pieces of M.S Flat - Set the current to 200 amperes - Complete the bead by back hand welding technique - Remove the slag with chipping hammer - Clean with wire brush | - Making Techniques of Lap Joint - Back hand welding technique Practical activity: Make Lap Joint | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| Make Corner Joint Flat Position | Trainee must be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Grind the work pieces on grinding machine to prepare the edges flat and parallel to each other - Place the Bottom piece on work table and place the Top plate at 90* to each other as per drawing - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Tack both work pieces of M.S Flat - Lean the electrode and move along traverse direction - Remove the slag with chipping hammer - Clean with wire brush | - Making Techniques of Corner Joint Flat Position Practical activity: Make Corner Joint Flat Position | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| Make Corner Joint Vertical Position | Trainee must be able to: - Take M.S Flat as per drawing - Straiten it with the help of hammer and anvil - Grind the work pieces on grinding machine to prepare the edges flat and parallel to each other - Place the Bottom piece on work table and place the other piece vertically edge wise on it as per drawing - Hold the electrode in electrode holder - Set the current on welding machine as per standard - Check the squares of joint with try square. - Tack both work pieces of M.S Flat - Lean the electrode 20* downward and complete the joint by back hand technique - Remove the slag with chipping hammer - Clean with wire brush | - Making Techniques of Corner Joint Vertical Position Practical activity: Make Corner Joint Vertical Position | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Welding transformer or Welding rectifier Extension leads Chipping Hammer Wire brush Face shield Electrode holder Electrode MS flats | Class Room and workshop |
| Make Spot Welding Practice (0.5 mm MS Sheet) | Trainee must be able to: - Take M.S Sheet as per drawing - Straiten it with the help of rubber hammer and anvil - Mark parallel line with the help of scriber for positioning of overlap the plate - Grip the both part in Fixture - Switch on the spot welding machine and set the timer - Place the work piece on the lower electrode - Press down the pedal to make contact between the copper electrode to form spot weld for duration of 02 seconds - Perform this practice on the entire job as per drawing | - Knowledge of Resistant welding - Making Techniques of Spot Welding Practice (0.5 mm MS Sheet) - Importance of pressure and timing between electrode and base metal Practical activity: Make Spot Welding Practice (0.5 mm MS Sheet) | Th-0.5Hrs. Pr-03Hrs. Total-3.5Hrs. | Spot Welding machine (0.5 mm MS Sheets) | Class Room and workshop |
| Make Seam Welding Practice (0.5 mm MS Sheet) | Trainee must be able to: - Take M.S Sheet as per drawing - Straiten it with the help of rubber hammer and anvil - Check the squares of both work pieces - Mark parallel line with the help of scriber for positioning of overlap the plate - Grip the both part in Fixture - Switch on the seam welding machine and set the timer - Switch the motor to drive the electrode wheels - Place the work piece on the lower electrode - Press down the pedal to make contact between both electrode wheels - Perform this practice on the entire job as per drawing | - Knowledge of seam welding machine - Making Techniques of Seam Welding Practice (0.5 mm MS Sheet) - Importance of conductivity of Sheets - Knowledge of setting the timer on seam welding machine - Importance of cooling for seam welding Practical activity: Make Seam Welding Practice (0.5 mm MS Sheet) | Th-01Hrs. Pr-03Hrs. Total-3.5Hrs. | Seam Welding machine (0.5 mm MSsssss Sheet | Class Room and workshop |

# List of Personal Protective Equipment

(FOR A CLASS OF 25 STUDENTS)

| Name of Trade |  | Electrical Technology Diploma Level 5 |  |
| --- | --- | --- | --- |
| Duration of Course |  | 36 Months |  |
| Sr. # |  | Description |  | Quantity |
| 1. |  | Safety gloves, |  | 30 |
| 2. |  | Appropriate safety glasses, |  | 30 |
| 3. |  | Breathing apparatus, |  | 30 |
| 4. |  | Fire extinguishers, |  | 30 |
| 5. |  | Fire blankets, |  | 30 |
| 6. |  | Respirators, masks, |  | 30 |
| 7. |  | Fire hoses, |  | 04 |
| 8. |  | First aid kits, stretchers and other related tools and gear |  | 10 |

# Complete List of Tools, Equipment, Machines and Consumables

Tools

| S# | Description | Quantity |
| --- | --- | --- |
|  | Wire Stripper. | 25 |
|  | Plier. | 25 |
|  | Long Nose Plier. | 25 |
|  | Insulation Remover. | 25 |
|  | Combination Plier. | 25 |
|  | Cutter Plier | 25 |
|  | Insulation Remover | 25 |
|  | Electrician Tool Kit. | 25 |
|  | Bearing Puller | 25 |
|  | Bench Vice. | 25 |
|  | Spanner. | 25 |
|  | Philips Screw Drivers Set | 25 |
|  | Winding Tools | 25 |
|  | Safety Tools. | 25 |
|  | Set Of Screw Drivers | 25 |
|  | Set Of Nose Pliers | 25 |
|  | Combination Plier Set | 25 |
|  | Cutter Plier | 25 |
|  | Lathe Cutting Tool | 25 |
|  | Steel Foot Rule | 25 |
|  | Center Drill Bit | 25 |
|  | Hand Sheet Cutter | 25 |
|  | Tool Post Key | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Of Required Dia | 25 |
|  | Right Hand Side Facing Tool | 25 |
|  | Right Hand Turing Tool | 25 |
|  | Knurling Tool | 25 |
|  | Parting Tool | 25 |
|  | Boring Bar | 25 |
|  | Steel Rule | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Bits Of Required Dia | 25 |
|  | Reamer Dia 12 Mm | 25 |
|  | Wood Saws | 25 |
|  | Wood Jackplane | 25 |
|  | Wood Marking Tools | 25 |
|  | Die Set | 25 |
|  | Pipe Vice | 25 |
|  | Pipe Cutter | 25 |
|  | Electrode Holder | 25 |
|  | Tap & Die Set | 25 |
|  | Thread Gauge | 25 |
|  | Tri-Square | 25 |
|  | Grinding Gauge | 25 |
|  | Work Bench | 25 |
|  | Bench Vice | 25 |
|  | Hammer | 25 |
|  | Tri-Square | 25 |
|  | Hand Hacksaw | 25 |
|  | Scriber | 25 |
|  | Flat File | 25 |
|  | Tool Bit | 25 |
|  | Wheel Dresser | 25 |
|  | Dead Center | 25 |
|  | Surface Gauge | 25 |
|  | Angle Gauge | 25 |
|  | Threads Gauge | 25 |
|  | Number/Alphabet Punch | 25 |
|  | MS Flats | 25 |
|  | Chipping Hammer | 25 |
|  | Wire Brush | 25 |
|  | Face Shield | 25 |
|  | Electrode Holder | 25 |
|  | Electrical Measuring Tools | 25 |
|  | Wire Stripper | 25 |
|  | Wire Gauge | 25 |
|  | Drawing Tools | 25 |
|  | Drawing Board | 25 |
|  | Electrical Wiring Accessories | 25 |
|  | Tool Cleaning Kit | 25 |
|  | Tri-Square | 25 |
|  | Set Square | 25 |
|  | Temples | 25 |
|  | Geometry | 25 |
|  | Chain Block | 25 |
|  | Crimping Tool | 25 |
|  | Knife Installation Kit | 25 |
|  | Knife. | 25 |
|  | Pre Electroplating Tools. | 25 |
|  | Cleaning Solvents | 25 |
|  | Re-Electroplating Tools. | 25 |
|  | Tweezers | 25 |
|  | Test Bench | 25 |
|  | Test Probes | 25 |
|  | Wrenches | 25 |
|  | Box End Wrench Insulated. | 25 |
|  | Socket Wrench, Insulated. | 25 |
|  | Torque Wrench Calibrated In Inch-Pounds, Insulated. | 25 |
|  | Rubber Hammer. | 25 |
|  | Phase Tester. | 25 |
|  | Neon Tester | 25 |
|  | Allen Key Set | 25 |

Equipment

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | PCB Kits | 25 |
|  | Analog Multimeter | 25 |
|  | Digital Multimeter | 25 |
|  | Wattmeter | 25 |
|  | Voltmeter | 25 |
|  | Ammeter | 25 |
|  | Megger | 10 |
|  | AVO Meter. | 25 |
|  | Multimeter | 25 |
|  | Galvanized Wire. | 200 Mtr. |
|  | RPM Meter. | 10 |
|  | Phase Sequence Meter | 25 |
|  | Clamp Meter | 25 |
|  | Continuity Tester | 25 |
|  | AC/DC Supply Source | 10 |
|  | Protection Equipment. | 25 |
|  | Variable Power Supply | 10 |
|  | Power Factor Meter | 15 |
|  | Transformer. | 25 |
|  | Timer/Time Relay. | 50 |
|  | Compressor. | 25 |
|  | D.C. Power Supply Unit. | 10 |
|  | Multimeter. (With Option Of Capacitance Measurement). | 25 |
|  | Rheostat. | 25 |
|  | Horse Shoe Magnet. | 25 |
|  | D.C Analog Or Preferably Digital Voltmeter Range 0-50V. | 25 |
|  | Variable D.C Powers Supply 0-30 Voltas. | 15 |
|  | Galvanometer | 25 |
|  | Three Phase Load (3 Phase Motor) | 25 |
|  | Coil | 25 |
|  | Breadboard. | 25 |
|  | Compass Needle | 25 |
|  | Bar Magnet | 25 |
|  | Magnet. | 25 |
|  | Outside Caliper. | 25 |
|  | FM & AM Trainer | 10 |
|  | FM & AM Demodulation Trainers | 10 |
|  | RLC Meter | 25 |
|  | Theodolite | 25 |
|  | Power Factor Meter | 25 |
|  | Insulators For Transmission | 100 Mtr. |
|  | Poles | 15 |
|  | Lightning Arrestor | 10 |
|  | Earthing Loop | 10 |
|  | Impedance Meter | 25 |
|  | Flashlight | 10 |
|  | Electrical & Electronics Trainer For Experiments | 10 |
|  | Center Drill | 10 |
|  | Vernier Caliper | 25 |
|  | Power Cables | 25 |
|  | Multimedia | 2 |
|  | MS Office | 2 |
|  | Plotter | 1 |
|  | Drafting Table | 25 |
|  | Magnetic Compass | 25 |
|  | Armature Core | 25 |
|  | Armature Coils | 25 |
|  | Cammutator | 25 |
|  | Armature | 25 |
|  | Carbon Brush | 25 |
|  | Carbon Brush Holder | 25 |
|  | Rocker | 10 |
|  | Variable Load | 15 |
|  | Dynamometer | 10 |
|  | Tachometer | 15 |
|  | Variable DC Supply | 10 |
|  | 3 Point Starter | 15 |
|  | Brake Test Equipment | 10 |
|  | 4 Point DC Starter | 10 |
|  | Phase Angle Meter. | 15 |
|  | Thermometer | 25 |
|  | Frequency Meter | 20 |
|  | OHM Meter | 20 |
|  | Connecting Wires | 25 |
|  | Cam Switch. | 75 |
|  | Magnetic Contactors | 100 |
|  | Star/Delta Starter | 25 |
|  | Micro Meter Screw Gauge | 25 |
|  | Oil Sensor For Generator | 15 |
|  | Temperature Sensor For Generator | 15 |
|  | Fuel Sensor For Generator | 15 |
|  | Display Panel Of Generator | 10 |
|  | Earth Tester | 10 |
|  | Filler Gauge | 15 |
|  | Battery | 5 |
|  | Drawing Board/Table | 25 |
|  | Keyboard | 25 |
|  | Mouse | 25 |
|  | Dvds, Cds Etc. | 10 |
|  | Relevant Software Disks | 10 |
|  | 3 Phase Starter | 15 |
|  | Electro Dynamometer Apparatus | 20 |
|  | Stroboscope | 25 |
|  | 3 Phase DOL Starter | 25 |
|  | 3 Phase Auto Transformer Starter | 25 |
|  | 3 Phase Rheostat | 25 |
|  | 3 Phase Supply Synchronizing Panel | 25 |
|  | DC Motor Starter | 25 |
|  | Variable Field Resistance | 25 |
|  | Potentiometer 500 O | 15 |
|  | Power Electronics Trainer Kit | 10 |
|  | Electronic Hygrometer | 10 |
|  | Anemometer | 10 |
|  | Electronic Pressure Gauge | 10 |
|  | Simulating Software(Emulator) | 15 |
|  | Sensors/Transducers | 25 |
|  | Analog Telephone Set | 10 |
|  | Digital Telephone Set | 10 |
|  | Amplitude Modulation / Demodulation Trainer | 05 |
|  | Frequency Modulation Trainer | 05 |
|  | FM Demodulation Trainers | 05 |

Machines

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | Washing Machine | 10 |
|  | Dryer. | 10 |
|  | Juicer. | 10 |
|  | Grinder. | 10 |
|  | Sandwich Maker. | 10 |
|  | Toaster | 10 |
|  | Refrigerator. | 5 |
|  | Air Conditioner. | 5 |
|  | Exhaust Fan | 10 |
|  | Fan | 15 |
|  | AC/DC Supply Source | 5 |
|  | D.C. Power Supply Unit. | 5 |
|  | Variable Power Supply | 5 |
|  | Transformer. | 15 |
|  | Single Phase Transformers. | 2 |
|  | Three Phase Transformer. | 2 |
|  | Auto- Transformer | 2 |
|  | Center Tapped Transformer | 5 |
|  | Cathode-Ray Oscilloscope. | 3 |
|  | Oscillator/Signal Generator. | 10 |
|  | Function Generator. | 15 |
|  | Drill Machine With Different Drill Bits. | 5 |
|  | Pedestal Grinder | 2 |
|  | Spot Welding Machine (0.5 Mm MS Sheets) | 2 |
|  | Seam Welding Machine (0.5 Mm MS Sheet) | 2 |
|  | Welding Transformer Or Welding Rectifier | 2 |
|  | TIG/MIG Welding Plant | 2 |
|  | Flash Back Arrester | 2 |
|  | Spark Lighter | 2 |
|  | Back Fire Arrester, | 2 |
|  | Center Drill Machine | 5 |
|  | Grinding Machine | 5 |
|  | Shearing Machine | 5 |
|  | Lathe Machine | 5 |
|  | Universal Milling Machine | 5 |
|  | CNC Lathe Machine | 2 |
|  | CNC Milling Machine | 2 |
|  | Surface Grinder Machine | 5 |
|  | Computer | 25 |
|  | Printer. | 2 |
|  | Photo Copier | 1 |
|  | Scanner | 2 |
|  | Plotter | 1 |
|  | 3 Phase Motor | 2 |
|  | Universal Motor | 2 |
|  | DC Motors | 2 |
|  | 3 Phase Motor 2 Speed | 2 |
|  | Single Phase Induction Motor | 2 |
|  | Stepper Motor | 2 |
|  | 2 DC Machine Mechanically Coupled | 2 |
|  | Rewinding Machine | 2 |
|  | Single Phase Shaded Pole Motor | 2 |
|  | 3 Phase Special Purpose Motor | 2 |
|  | 3 Phase Wound Rotor Motors With Coupled Shafts | 2 |
|  | 3 Phase Synchronous Motor Coupled With DC Shunt Motor | 2 |
|  | Diesel Generator | 2 |
|  | Petrol Generator | 2 |
|  | Alternator | 2 |
|  | Simple Loop Generator | 10 |
|  | Variable DC Supply | 10 |
|  | Synchrony Transmitter & Receiver | 2 |
|  | Analog Telephone Set | 5 |
|  | Digital Telephone Set | 5 |
|  | Cordless Telephone | 5 |
|  | Signal Generator | 5 |
|  | Dish Receiver | 2 |
|  | Dish Antenna | 2 |
|  | TV Receiver | 2 |
|  | PBX | 2 |
|  | Crane | 1 |
|  | Flashlight | 5 |

Consumable

| S# | Description | Quantity |
| --- | --- | --- |
|  | Cables. | As required according to Practical |
|  | Wires. | As required according to Practical |
|  | Solder Wire. | As required according to Practical |
|  | Soldering Paste | As required according to Practical |
|  | PCB | As required according to Practical |
|  | Socket Of All Types | As required according to Practical |
|  | Switches Of All Types | As required according to Practical |
|  | Distribution Board (DB) | As required according to Practical |
|  | Miniature Circuit Breaker (MCB) | As required according to Practical |
|  | Molded Case Circuit Breaker (MCCB) | As required according to Practical |
|  | Residual Current Device (RCD) | As required according to Practical |
|  | Earth Leakage Circuit Breaker (ELCB) | As required according to Practical |
|  | Earth Plate. | As required according to Practical |
|  | PVC Pipe/Duct. | As required according to Practical |
|  | PVC Clamp. | As required according to Practical |
|  | Wooden/PVC Board. | As required according to Practical |
|  | PVC Wire According To Load | As required according to Practical |
|  | Screw | As required according to Practical |
|  | Single Pole And Two Pole Switch. | As required according to Practical |
|  | Bulb Holder | As required according to Practical |
|  | Bulb | As required according to Practical |
|  | Test Indicator | As required according to Practical |
|  | Capacitor. | As required according to Practical |
|  | Bearing | As required according to Practical |
|  | Duct Rod. | As required according to Practical |
|  | Gloves. | As required according to Practical |
|  | Wire. | As required according to Practical |
|  | Gas | As required according to Practical |
|  | Circuit Boards | As required according to Practical |
|  | Tube Light. | As required according to Practical |
|  | Tube Patti. | As required according to Practical |
|  | Chock. | As required according to Practical |
|  | Starter. | As required according to Practical |
|  | Sleeves | As required according to Practical |
|  | Series Board | As required according to Practical |
|  | Impulse Switch | As required according to Practical |
|  | Power Plug. | As required according to Practical |
|  | Three Pin Socket. | As required according to Practical |
|  | Three Pin Switch | As required according to Practical |
|  | Bell | As required according to Practical |
|  | Bell Button | As required according to Practical |
|  | Iron Nail As Core. | As required according to Practical |
|  | Thin Coated Copper Wire. | As required according to Practical |
|  | Current Carrying Conductor. | As required according to Practical |
|  | Capacitors Of Different Ratings | As required according to Practical |
|  | Bridging Plugs. | As required according to Practical |
|  | Connecting Leads. | As required according to Practical |
|  | Dry Cell Battery. | As required according to Practical |
|  | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | As required according to Practical |
|  | Resistor Of Different Ratings. | As required according to Practical |
|  | L.E.D (3 To 9 V) Optional. | As required according to Practical |
|  | Incandescent Lamp Of Different Watts. | As required according to Practical |
|  | Small Pieces Of Copper Wire. | As required according to Practical |
|  | Cotton Cloth | As required according to Practical |
|  | Lubricants | As required according to Practical |
|  | Brush | As required according to Practical |
|  | M.S Round Bar | As required according to Practical |
|  | Oxygen Cylinder, | As required according to Practical |
|  | Acetylene Gas Cylinder, | As required according to Practical |
|  | Rubber House Pipe, | As required according to Practical |
|  | Extension Leads | As required according to Practical |
|  | Electrode | As required according to Practical |
|  | Drawing Sheet, | As required according to Practical |
|  | Insulation Tape | As required according to Practical |
|  | Cables | As required according to Practical |
|  | Spark Plugs. | As required according to Practical |
|  | HT Leads | As required according to Practical |
|  | Graph And Drawing Sheet | As required according to Practical |
|  | Clutch Pencil | As required according to Practical |
|  | Calculation Sheet | As required according to Practical |
|  | Calculator | As required according to Practical |
|  | Psychometric Charts And Tables | As required according to Practical |
|  | Rust Removing Agents | As required according to Practical |
|  | Thermometer | As required according to Practical |
|  | MATLAB Software | As required according to Practical |
|  | P-Spice Software | As required according to Practical |
|  | PLC Software | As required according to Practical |
|  | Safety Signs | As required according to Practical |
|  | Hand Gloves. | As required according to Practical |
|  | Alkalis | As required according to Practical |
|  | Antidotes | As required according to Practical |
|  | Acids | As required according to Practical |
|  | Electroplate Solution. | As required according to Practical |
|  | Laboratory Dress | As required according to Practical |
|  | Cyanides | As required according to Practical |
|  | Hand Gloves | As required according to Practical |
|  | Brass Solution For Cyanide. | As required according to Practical |
|  | Different Colors For Plating | As required according to Practical |
|  | Electrodes. | As required according to Practical |
|  | Different Inductors | As required according to Practical |
|  | Different AC & DC Capacitors | As required according to Practical |
|  | Different Metals | As required according to Practical |
|  | 2 Pole Single Way Switch | As required according to Practical |
|  | 2 Pole 2 Way Switch | As required according to Practical |
|  | Transformer Oil | As required according to Practical |
|  | Transformer Oil Testing Set | As required according to Practical |
|  | Buffer | As required according to Practical |
|  | Electroplates | As required according to Practical |
|  | Centrifugal Switch | As required according to Practical |
|  | 3 Pole 2 Way Switch | As required according to Practical |
|  | Diode | As required according to Practical |
|  | Transistors | As required according to Practical |
|  | Bread Board | As required according to Practical |
|  | Data Sheets | As required according to Practical |
|  | Zener Diode | As required according to Practical |
|  | FET Transistor | As required according to Practical |
|  | MOSFET Transistor | As required according to Practical |
|  | UJT & BJT | As required according to Practical |
|  | SCR | As required according to Practical |
|  | Thyristor | As required according to Practical |
|  | DIAC | As required according to Practical |
|  | TRIAC | As required according to Practical |
|  | Op-Amplifier | As required according to Practical |
|  | AND Gate (7408 2-Input Quad) | As required according to Practical |
|  | OR Gate (7432 2-Input Quad) | As required according to Practical |
|  | NOT Gate (7404 Hex) | As required according to Practical |
|  | NAND Gate (7400 2-Input Quad) | As required according to Practical |
|  | NOR Gate (7402 2-Input Quad) | As required according to Practical |
|  | X-OR Gate (7486 2-Input Quad) | As required according to Practical |
|  | X-NOR Gate (74266 2-Input Quad) | As required according to Practical |
|  | Schottky Diodes | As required according to Practical |
|  | IC 7408 | As required according to Practical |
|  | Power Diodes | As required according to Practical |
|  | General Purpose Diode | As required according to Practical |
|  | Resistor Of 1to100 K Ohms | As required according to Practical |
|  | Power MOSFET IRF 840 | As required according to Practical |
|  | IC 7410 | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | DC Source 12V | As required according to Practical |
|  | IC 7404 | As required according to Practical |
|  | Controller IC | As required according to Practical |
|  | Firing Circuit | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | Psychometrics Chart | As required according to Practical |
|  | Data Loggers | As required according to Practical |
|  | HDMI CABLE | As required according to Practical |
|  | HMI Software For PLC | As required according to Practical |
|  | Change Over Switch | As required according to Practical |
|  | Wooden/Glass Rod | As required according to Practical |
|  | H2 SO4 | As required according to Practical |
|  | Different Glass Reflectors | As required according to Practical |
|  | Different Types Of Paints | As required according to Practical |
|  | HT & LT Conductors. | As required according to Practical |
|  | Fuses | As required according to Practical |
|  | RJ-11 Connectors | As required according to Practical |
|  | VGA Cable. | As required according to Practical |
|  | Coaxial Cable. | As required according to Practical |
|  | Nitric Acid | As required according to Practical |
|  | Copper Coated Sheet | As required according to Practical |
|  | DC Capacitors of Different Range. | As required according to Practical |

List of Stationary for 3 Years

| S# | Description | Quantity |
| --- | --- | --- |
|  | Handbooks | 25 |
|  | Design books | 25 |
|  | Pencils | 300 |
|  | Rubber | 300 |
|  | Sharpeners | 300 |
|  | Paper Cutter | 50 |
|  | Seizers | 25 |
|  | Colors | 15 each color (Read, Green, Yellow, Blue, white and Black) |
|  | White charts | 50 Nos. |
|  | Brown sheets | 100 Nos. |
|  | White board markers | 15 Dozen |
|  | Permanent markers | 3 Dozen |
|  | File cover and files | 50 Nos. |
|  | A4 Paper | 150 Ream |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace