National Vocational Certificate Level 3 in Electrical Technology

(Electric Lab Technician)

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	4

1.1.	Purpose of the Training Program:	5

1.2.	Overall Objectives of Training Program	6

1.3.	Competencies to be gained after Completion of Course	7

1.4.	Entry Level of Trainees	8

1.5.	Minimum Qualification for Teachers	8

1.6.	Medium of Instruction	8

1.7.	Duration of the Course:	9

1.8.	Description and structure of the course	10

1.9.	Overview of the Curriculum for Electrical Technology (Level 1-5)	13

1.10.	Detail of Modules.	49

1.10.1.	Operate Measuring Instruments.	49

1.10.2.	Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits	52

1.10.3.	Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence	57

1.10.4.	Operate Oscilloscope	64

1.10.5.	Implement Electromagnet to See Various Effects & Verify Faradays Law	69

1.10.6.	Verify law of Combination of Capacitors & Determine Break Down Voltage of Capacitor	77

1.10.7.	Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension	81

1.10.8.	Measure Temperature, Earth Resistance, Light Intensity	86

1.10.9.	Measure the Resistance and High DC Current by Using Shunt.	91

1.10.10.	Measure Voltage, Frequency, Capacitance &Inductance by CRO	94

1.10.11.	Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments.	100

1.10.12.	Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre.	104

1.10.13.	Calibrate Electrical Equipment	108

List of Personal Protective Equipment	123

Complete List of Tools, Equipment, Machines and Consumables	124

# 1. 	Introduction

The Technical and Vocational is a profession that is increasingly getting attention in Pakistan, not only among the youth seeking to enter the industry but also among adults who wish to polish their skills to develop a career out of it. Scope and demand of Electrical engineers, supervisors, operator, and technician is very high in Pakistan due to fast growing economic zone like CPEC. There are more job opportunities for electrical technician and supervisors in Pakistan than any other field of engineering. Pakistan is still facing energy crises, for need for more power houses, renewable energy sources is being felt which will definitely result in more demand of electrical engineers.

CBT based level 5 course in Electrical Technology with updated concepts, not only allows students to equip with growing Industrial trends but will be beneficial in capturing the job market across the globe. The course is divided into sub fields like electronics, computer engineering, power engineering, telecommunications, control systems, and microelectronics. Many of these sub disciplines overlap with other engineering branches, spanning a huge number of specializations such as hardware engineering, power electronics, avionics, Electrical and nanotechnology.

Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector, Reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.”

“Power sector reform should be a top priority, as few other reforms could yield economic gains of a similar magnitude so quickly, based on findings from this report, and says Fan Zhang, Senior Economist at the World Bank. If well designed, these reforms will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.”

## Purpose of the Training Program:

The purpose of the training is to set the high professional standards for the Electrical technological sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of the skills attained through formal or informal pathways

- Improve the quality and effectiveness of the training and assessment for Electrical Technological sector

- Enabling / helping / facilitating the existing workforce to indulge themselves in new technologies and methods.

Based upon this demand of industry, these competency‐based qualifications for Electrical Technology are developed under National Vocational Qualification Framework (Level 1 to 5). The qualifications mainly cover competencies along with related knowledge and professional attitude which is essential for getting a job or self-employed.

The qualifications are also in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF). This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Vocational & Technical Training Commission (NAVTTC) has approved the Qualification Development Committee (QDC) for Textile Chefs Technology.The QDC consists experts from the relevant industries from different geographical locations across Pakistan and academicians who were consulted during the development process to ensure input and ownership of all the stakeholders. The National Modules could be used as a referral document for the development of curricula to be used by training institutions.

The purpose of the training is to provide skilled manpower to improve the quality of value added products of industrial sector. This training will provide the basic skills to the trainees in the field of Electrical and convert it into value added product which is acceptable by International market reducing the line losses and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

## Overall Objectives of Training Program

The Electrical qualifications of level 1&2 consists of both the theoretical and practical details and having the following Occupations:

- Safety Supervisor.

- Domestic Electrician.

- Machine Shop Technician

## Competencies to be gained after Completion of Course

Detail of the modules included in qualification are given below:

Safety Supervisor

- Maintain Occupational Health and Safety

- Adopt Safety Regulations, Labor Protection Laws, Environmental Protection Laws at Workplace

Domestic Electrician

- Maintain Tools & Equipment.

- Make Cable/Wire Joints

- Prepare and Install Main Distribution Boards (Single Phase)

- Carryout Basic Electrical Installation

- Install Simple Single Phase Electrical Wiring

- Install Single Phase Complex Electrical Wiring

- Perform Testing of Electrical Wiring

- Repair/ Maintenance of Electrical Installations

- Repair/ Maintenance and Service of Home Appliances

Machine Shop Technician

- Perform Cleaning, Oiling and Centering the Job.

- Perform Facing, Straight Turning, Center Drilling

- Perform Drilling, Step Turning, Knurling and Boring a Straight Hole On Lathe.

- Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting

- Perform Basic Metal Work.

- Perform Oxy Acetylene Welding.

- Perform Wood Work.

- Perform Arc Welding.

## Entry Level of Trainees

The entry level for National Vocational Certificate Level 3 in Electrical Technology is:

- A person having National Vocational Certificate Level 1&2 in Electrical Technology

## Minimum Qualification for Teachers

- B.Sc. / B.E. in Electrical Engineering.

- 4 Years B. Tech in Electrical Technology with 3 Years teaching experience.

- D. A. E. in Electrical Technology with 7 Years teaching experience

- Must be able to communicate effectively

## Medium of Instruction

English, and Urdu.

## Duration of the Course:

The proposed curriculum is composed of 26 modules that will be covered in 600 Contact hours. Duration of the course is proposed to be Three years.

Level- 3 = 6 months.

The distribution of contact hours is given below:

Total.		600 hours.

Theory: 	120 hours (20%)

Practical.	480 hours (80%)

## Description and structure of the course

Following is the structure of the course:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 3 |  |  |  |  |  |  |  |
| Install Computer Operating Systems And Hardware | Digital Skills | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Word-Processing Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Spreadsheet Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Presentation Packages |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Perform Writing And Editing Tasks |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Perform Computer Operations |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Computer Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create User Documentation |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create Technical Documentation |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create Basic Databases |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Digital Media Technology |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Social Media Tools For Collaboration And Engagement |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Digital Devices |  | Level 3 | Generic | 6 | 18 | 24 | 2.4 |
| Operate Measuring Instruments. | Electrical Lab Technician | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Operate Oscilloscope |  | Level 3 | Technical | 6 | 21 | 27 | 2.7 |
| Implement Electromagnet to See Various Effects & Verify Faradays Laws. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension | Calibration Technician | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Temperature, Earth Resistance, Light Intensity |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure the Resistance, Measure High Dc Current by Using Shunt. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Voltage, Frequency, Capacitance & Inductance by CRO |  | Level 3 | Technical | 6 | 21 | 27 | 2.7 |
| Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Megger |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Calibrate Electrical Equipment’s |  | Level 3 | Technical | 6 | 24 | 30 | 3 |
| Total |  |  |  | 120 | 480 | 600 | 60 |
| Percentage |  |  |  | 20 | 80 |  |  |

## Overview of the Curriculum for Electrical Technology (Level 1-5)

| Module Title and Aim | Learning Units |  | Th Days/hours | Workplace Days/hours | Timeframe of modules |
| --- | --- | --- | --- | --- | --- |
| Module 3.1.1 Maintain Occupational Health and Safety | - Ensure the use of personal protective equipment (PPE). - Maintain First-aid Box - Maintain Fire Extinguisher. - Ensure Safeguard of Machines. - Adopt company policies and procedures. - Attain health & safety training. - Prepare for emergencies. - Respond to emergencies |  |  |  |  |
| Module 3.1.2 Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace | - Implement International Safety Standards in your work environment. - Implement National Safety Standards in your work environment - Implement International and National Labor Protection Laws - Implement National and International Environmental protection laws. - Prepare for emergencies. - Respond to emergencies. - Adopt company policies and procedures. |  |  |  |  |
| Module 3.2.1 Maintain Tools & Equipment for Single Phase Wiring | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |  |
| Module 3.2.2 Make Cable/Wire Joints for Single Phase Wiring | - Make Cross/Twist joint - Make Straight/Married joint - Make T-Joint - Make Rat-tail joint - Make Britannia joint |  |  |  |  |
| Module 3.2.3 Prepare and Install Distribution Boards for Single Phase Wiring. | - Prepare estimate for wiring material. - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |  |
| Module 3.2.4 Carryout Basic Electrical Installation for Single Phase | - Perform Basic Electrical wiring - Conduct wiring Test - Lay Cables - Perform single-phase Connection - Perform three phase Connection |  |  |  |  |
| Module 3.2.5 Install Simple Single Phase Electrical Wiring | - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit - Make series/ test lamp circuit - Make intermediate switch circuit. - Make of Tunnel circuit |  |  |  |  |
| Module 3.2.6 Install Single Phase Complex Electrical Wiring | - Design/Develop and Install Kitchen wiring - Install Drawing room circuit - Install Sleeping room circuit - Install hall wiring. - Install impulse switch - Install Bell indicator circuit. - Install timer/time switch circuit - Make fluorescent tube circuit and install - Perform Domestic Electrical Work |  |  |  |  |
| Module 3.2.7 Perform Testing of Electrical Wiring | - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Earth leakage Test. |  |  |  |  |
| Module 3.2.8 Repair/ Maintenance of Electrical Installations in Single Phase | - Analyze Fault in Electrical Installations - Troubleshoot electrical equipment’s - Carry out Preventive Maintenance |  |  |  |  |
| Module 3.2.9 Repair/ Maintenance and Service of Home Appliance | - Diagnose fault and repair electric iron - Repair/ maintenance of Pedestal Fan and Ceiling Fan. - Repair/ maintenance of Juicer and grinder - Repair/ maintenance Refrigerator /Air conditioner - Repair/ maintenance of sandwich maker/toaster - Repair/ maintenance of washing machine/dryer |  |  |  |  |
| Module 3.4.1 Operate Measuring Instruments | - Operate Ampere meter. - Operate Volt meter. - Operate Ohm meter |  |  |  |  |
| Module 3.4.2 Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits | - Make series circuit and measure voltage and verify KVL. - Make parallel circuit and measure current and verify KCL - Verify resistance of resistors - Verify Ohm’s Law - Measure resistance of Rheostat - . Measure resistance by using Multimeter - . Measure resistance of incandescent lamp |  |  |  |  |
| Module 3.4.3 Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |  | - Measure power using Multimeter method - Measure power using Multimeter method - Measure single phase AC Power - Measure three phase AC Power. - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter - Measure power factor with power factor - Improve power factor & measure it with power factor meter - Determine phase sequence with phase sequence meter. |  |  |  |
| Module 3.4.4 Operate Oscilloscope |  | - Measure AC voltage with oscilloscope. - Measure current with oscilloscope - Measure frequency of AC signal with oscilloscope - Measure time period of AC signal with oscilloscope - Measure RMS value of AC signal with oscilloscope - Measure average value of AC signal with oscilloscope |  |  |  |
| Module 3.4.5 Implement Electromagnet to See Various Effects & Verify Faradays Law |  | - Implement Electromagnet - Implement circuit to determine the effect on current carrying conductor in magnetic field - Determine the effect on conductor by varying the current with the help of rheostat. - Plot magnetic lines of forces of bar magnet - Verify Faradays law by moving magnet in side coil. - Verify Faraday’s law by moving coil near the magnet field - Verify EMF through induction. |  |  |  |
| Module 3.4.6 Verify law of Combination of Capacitors & Determine Break Down Voltage of Capacitor |  | - Implement a series circuit of capacitors - Implement a parallel circuit of capacitors - Determine the breakdown voltage of low voltage capacitor |  |  |  |
| Module 3.5.1 Perform Cleaning, Oiling and Centering the Job |  | - Perform Cleaning and Oiling of the Lathe Machine - Perform Centering the Job By Tool Method - Perform Centering The Job Held In a Four Jaw Chuck Of Face Plate |  |  |  |
| Module 3.5.2 Perform Facing, Straight Turning, Center Drilling |  | - Perform Facing - Perform Straight Turning - Perform Center Drilling |  |  |  |
| Module 3.5.3 Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe |  | - Perform Drilling On Lathe - Perform Step Turning - Perform Knurling - Perform Boring a Straight Hole |  |  |  |
| Module 3.5.4 Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting Metric Threads. |  | - Perform Step Or Counter Boring - Perform Reaming - Perform Tool Grinding - Perform Taper Turning By Compound Rest Method - Perform Cutting Metric Threads On Lathe Machine |  |  |  |
| Module 3.5.5 Perform Basic Metal Work |  | - Develop Name Plate manually - Carryout Sawing - Prepration of Inside Calliper - Prepration of Bottle Opener - Prepration of Dovetail Joint - Prepration of small size Tri Square - Produce internal Threads in Work Piece - Prepration of Funnel - Prepration of Drawer Handle - Produce Pipe Threads - Prepare a spanner of (small size) |  |  |  |
| Module 3.5.6 Perform Wood Work |  | - Planning and Squaring to dimensions - Sawing Exercise - Making Mortise and Tendon Joint - Making Dado Joint - Making Cross-lap Joint - Making holes of different Diameters in Wood - Nailing and Wood Screwing Process - Making Middle Half Cross lap joint - Making Dovetail Joint |  |  |  |
| Module 3.5.7 Perform Oxy Acetylene Welding |  | - Make flame for gas welding carburizing flam, Neutral flam, oxidizing flam - Make Pool - Make Bead - Make Edge Joint - Make Open square butt joint (M.S Flat 3mm OR 5mm Thickness) - Make ‘V’ Groove butt joint ( Flat Position) - Make Corner joint - Make Open square brazing Butt joint(M.S Flat 5mm thick |  |  |  |
| Module 3.5.8 Perform Arc Welding |  | - Make Arc - Make Bead - Make Open Square Butt Joint (MS Flat 5 mm Thick) - Make V Groove Butt Joint - Make Lap Joint - Make Corner Joint Flat Position - Make Corner Joint Vertical Position - Make Spot Welding Practice (0.5 mm MS Sheet) - Make Seam Welding Practice (0.5 mm MS Sheet) |  |  |  |
| Module 3.6.1 Maintain Tools & Equipment for Three Phase |  | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |
| Module 3.6.2 Make Cable/Wire Joints for Three Phase |  | - Make Cross/Twist joint - Make Straight/Married joint - Make T- Joint - Make Rat tail joint - Make Britannia joint |  |  |  |
| Module 3.6.3 Prepare and Install Distribution Boards for Three Phase |  | - Prepare estimate for wiring material - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |
| Module 3.6.4 Install Three Phase Electrical Wiring |  | - Make and Install 3 phase motor connection ON/OFF by CAM Switch - Make and Install 3 phase motor connection reversing by CAM Switch - Make and Install 3 phase motor connection ON/OFF by Magnetic Contactor - Perform Electrical Work in Commercial Area. |  |  |  |
| Module 3.6.5 Install Three Phase Complex Electrical Wiring |  | - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor. - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator - Make and Install 3 phase motor connection 2 speed by Magnetic contactor - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator |  |  |  |
| Module 3.6.6 Perform Testing of Electrical Wiring |  | - Perform Earth leakage Test - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Murray Loop Test - Perform BLAVIER & Earth Loop Test |  |  |  |
| Module 3.6.7 Diagnose Electrical Fault in Generator |  | - Inspect and service Ignition system. - Inspect and service alternator - Inspect and service display panel - Inspect and service governor /Actuator System - Inspect and service charging system - Inspect and service warning system - Inspect and repair wiring |  |  |  |
| Module 3.6.8 Repair/ Maintenance of Electrical Installations for Three Phase |  | - Analyze Fault in Electrical Installations |  |  |  |
| Module 3.6.9 Carry Out Manual Electrical Planning and Estimation |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work. |  |  |  |
| Module 3.6.10 Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension |  | - Measure current with Galvanometer - Measure voltage with Galvanometer - Make multiplier for Galvanometer range extension |  |  |  |
| Module 3.6.11 Measure Temperature, Earth Resistance, Light Intensity |  | - Measure temperature with thermocouple by voltage method - Measure the earth resistance by using earth resistance tester - Measure the light intensity with lux meter |  |  |  |
| Module 3.6.12 Measure the Resistance, Measure High Dc Current by Using Shunt. |  | - Measure the resistance by using wheat stone bridge - Measure the resistance by ohm meter - Measure the resistance by AVO meter - Measure high DC current by using shunt |  |  |  |
| Module 3.6.13 Measure Voltage, Frequency, Capacitance & Inductance by CRO |  | - Measure voltage using CRO - Measure frequency using CRO - Measure capacitance using CRO - Measure inductance using CRO |  |  |  |
| Module 3.6.14 Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments |  | - Measure Capacitance by RCL Meter - Measure Inductance by RCL Meter - Dismantle and assemble the moving iron and permanent magnet type instrument |  |  |  |
| Module 3.6.15 Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Maggar |  | - Identify parts and connection of Energy meter(Single/3-phase) - Identify different types of PF meter, its parts and connect it in circuit. - Identify MDI meter parts and use it on line - Measure insulation resistance by Meager |  |  |  |
| Module 3.6.16 Calibrate Electrical Equipment’s |  | - Perform Pre-Calibration activity - Calibrate Ammeter - Calibrate Voltmeter - Calibrate Ohmmeter - Calibrate multimeter - Calibrate 2-terminal/4-terminal Resistor (Direct method) - Calibrate 2-terminal/4-terminal Resistor (Indirect method) - Calibrate Standard Capacitor - Calibrate Standard Inductor - Prepare calibration report |  |  |  |
| Module 3.7.1 Select Computer Specification and Work with Windows |  | - Identify computer requirements and assemble procedures - Make a set of requirements for a personal computer - Work on windows Environment and Install the required operating System with Device drivers |  |  |  |
| Module 3.7.2 Process Data with MS Office |  | - Use MS OFFICE (MS-WORD) - Use MS OFFICE (MS-EXCEL) - Use MS- OFFICE (MS-POWER POINT) |  |  |  |
| Module 3.7.3 Carryout Basic Programming |  | - Make a program to perform arithmetic operations - Make a program in C++ to preparing logical operation - Make a program to sort a string of numbers. |  |  |  |
| Module 3.7.4 Perform Internet Browsing |  | - Draw pin diagram of electronic IC using of search engine - Browse data sheets and symbols - Browse manuals |  |  |  |
| Module 3.7.5 The Different Engineering Curves Used in Various Mechanisms |  | - Construct inscribe and circumscribe figures. - Construct a pentagon, Hexagon and Octagon by circumscribe method. - Construct a pentagon, Hexagon and Octagon by inscribe method - Construct a Tangents of circles (Inside &Outside) when the centre of the given circle is known and when the circle of centre is not known. - Construct an Ellipse by Concentric Circle Method, Rectangle Method, and Oblong Method, Arcs of Circle Method, Rhombus Method and Basic Locus Method. - Construct a parabola curve by Rectangle Method, Method of Tangents( Triangle Method) and Basic Locus Method - Construct a hyperbola curve. - Construct a Archimedean Spiral curve - Construct a involutes curve of square rectangle hexagon and circle. - Construct of cycloid, epicycloids, and hypocycloid |  |  |  |
| Module 3.7.6 Perform Multi-View Drawings |  | - Sketch Orthographic projection 1st angle - Sketch Orthographic projection 3rd angle. - Sketch Oblique Drawing - Construct multi view drawing of Simple Bearing. - Construct multi view drawing of Open Bearing - Sketch prism - Sketch cone - Draw pyramid |  |  |  |
| Module 3.7.7 Draw Production Drawing |  | - .Draw the assembly drawing of Boiler Stop Valve - Draw the views of Connecting Rod in detail and assembly drawing - Draw the assembly drawing of Screw Jack - Draw the assembly of Tail Stock in full section showing its parts |  |  |  |
| Module 3.7.8 Design and Simulate the Electronic Circuit by Using Computer Aided Design (CAD) Software |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work |  |  |  |
| Module 3.8.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.8.2 Analyze DC Generators |  | - Calculate different terms used in armature winding of DC machines. - Develop Single Layer Lap Winding - Develop Double Layer Wave Winding. - Measure the resistance of field winding, armature winding and terminal polarity - Identify DC shunt generator - Identify DC series generator - Identify DC compound generator |  |  |  |
| Module 3.8.3 Perform Tests on DC Generators |  | - Plot the Open circuit characteristics of a Separately excited D.C generator - . Plot the Open circuit characteristics of a D.C shunt generator - Plot the load characteristics of D.C shunt generator - Plot the load characteristics of D.C series generator. - Plot the load characteristics of D.C compound generator for under, flat and over compounding - Perform parallel operation of two DC shunt generators - . Determine copper, iron & friction losses of shunt generator by actual loading |  |  |  |
| Module 3.8.4 Analyze DC Motor |  | - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |  |  |  |
| Module 3.8.5 Perform Tests on DC Motors |  | - Plot the load characteristics of D.C shunt motor - Plot the load characteristics of D.C series motor - Plot the load characteristics of D.C compound motor - Control the speed of DC series motor - Control the speed of DC shunt motor - Start DC shunts motor with 3 point starter. - Identify the effect of back EMF in DC motor - Calculate Brake Horse Power (BHP) of motor by Brake test. - Calculate efficiency of the motor by Swinburne Test - Perform Regenerative / Hopkinson/ Back to back Test |  |  |  |
| Module 3.8.6 Repair/Maintenance and servicing of DC Motors and DC Generator |  | - Diagnose Fault in DC Motor - Carry out Service / Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.9.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil And magnet. - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.9.2 Operate Single Phase Transformer |  | - Identify types of transformer - Measure transformation ratio of single phase transformer - Make transformer winding - Determine voltage regulation of single phase transformer with different loads. - Perform parallel operation of single phase transformer. |  |  |  |
| Module 3.9.3 Perform Tests on Single Phase Transformer |  | - Perform polarity test of single phase transformer - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method - Calculate efficiency of transformer by Back to Back test. |  |  |  |
| Module 3.9.4 Operate Auto Transformer |  | - Identify the connection of auto transformer - Calculate Voltage ratio of Auto Transformer - Calculate Current ratio of Auto Transformer |  |  |  |
| Module 3.9.5 Perform Tests on Auto Transformer |  | - Perform open circuit Test of auto transformer - Perform short circuit test of auto transformer - Calculate efficiency of auto transformer. |  |  |  |
| Module 3.9.6 Operate Three Phase Transformer |  | - Make Three Phase Transformer Winding. - Perform Star to Star Connection Of Three Phase Transformer - Perform Star To Delta Connection Of Three Phase Transformer - Perform Delta to Delta Connection Of Three Phase Transformer - Perform Delta to Star Connection Of Three Phase Transformer - Connect Two Single Phase Transformers In Open Delta. - Perform Parallel operation of 3 phase transformers |  |  |  |
| Module 3.9.7 Identify Vector Group of Three Phase Transformer |  | - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |  |  |  |
| Module 3.9.8 Repair/ Maintenance and Service of Transformer |  | - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |  |  |  |
| Module 3.11.1 Perform Pre-Electroplating Activities. |  | - Perform Disassembly and Stripping - Perform Mechanical Cleaning - Perform Chemical Cleaning |  |  |  |
| Module 3.11.2 Perform Electroplating |  | - Ensure safety at workshop - Select appropriate chemical solution - Prepare chemical solutions - Perform plating of Zinc, Cadmium, Tin, Silver, Gold and Brass |  |  |  |
| Module 3.11.3 Perform Post-Electroplating Activities and Tests. |  | - Carry Out Quenching/ Cooling Of The Metal. - Carry Out Visual Inspection And Physical Examination Of The Electroplated Part. - Perform adhesion tests by various methods - Perform thickness and corrosion resistance test |  |  |  |
| Module 3.11.4 Plan an Electroplating Shop |  | - Prepare a layout for the electroplating workshop - Setup pre-Electroplating workstation - Setup Electroplating workshop - Setup post-Electroplating workstation - Prepare an Estimate for Finance and Budgeting |  |  |  |
| Module 3.12.1 Perform Basic Mathematics Calculations in C++ |  | - Generate Addition Program - Generate Subtraction Program - Generate Multiplication Program - Generate Division Program - Generate Program For Power Calculations - Generate Program For Roots Calculations - Generate Program For Exponential Calculations - Generate Trigonometric Function Program - Generate Inverse Trigonometric Function Program - Generate The Program And Calculate Impedance In Polar - Generate The Program And Calculate Impedance In Rectangular - Generate Rectangular To Polar Form Conversion program - Generate Polar Form To Rectangular Form program |  |  |  |
| Module 3.12.2 Perform Basic Circuit Analysis in C++ |  | - Generate Series Circuit Function Program - Generate Parallel Circuit Function Program |  |  |  |
| Module 3.12.3 Perform Electrical Analysis in C++ |  | - Calculate A.C Powers Solution Program - Solve Active Component Function Program - Solve Reactive Component Of Function Program - Generate Program For Improvement Of Power Factor |  |  |  |
| Module 3.12.4 Develop and Analyze Electrical Circuit with MULTISM |  | - Identify computer software component - Install and operate MULTISM - Idenitify toolbox and libraries - Develop RC circuit - Develop RLC circuit - construct active filter - construct passive filter - Construct Amplifier frequency response - Construct half wave rectifier - Construct full wave rectifier |  |  |  |
| Module 3.12.5 Develop and Analyze Electrical circuit with PSPICE software |  | - Install and operate PSPICE - Develop filters - Develop rectifier - Construct CE Amplifier - construct CS Amplifier - construct CC amplifier - Design WEIN Bridge Oscillator |  |  |  |
| Module 3.12.6 Carry out Electrical Planning and Estimation in Computer |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work - Plan and estimate industrial electric work |  |  |  |
| Module 3.12.7 Carry out Industrial Automation and PLC Installation |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specification |  |  |  |
| Module 3.13.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator. - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.13.2 Analyze an Alternator |  | - Measure the stator winding resistance with DC test. - Perform no load test - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage. - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |  |  |  |
| Module 3.13.3 Analyze Single Phase Motors. |  | - Operate split phase single phase AC motor. - Operate capacitor start and Capacitor run single phase AC motor. - Operate shaded pole single phase motor. |  |  |  |
| Module 3.13.4 Analyze Special Purpose Motors. |  | - Operate and speed control of AC series motor. - Operate miniature (reluctance and hysteresis) single phase AC motors. - Construct and operate stepper motor. - Construct, Operate and develop control circuit of servo motor |  |  |  |
| Module 3.13.5 Analyze Three Phase Motors. |  | - Identify and operate 3 phase Squirrel cage motor - Verify rotating magnetic field - Measure the starting and running current of three phase induction motor. - Draw torque slip curve of three phase induction motor - Determine the slip of 3 phase induction motor by stroboscope - Start, 3 phase Induction motor with direct on line. - Start, 3 phase Induction motor with Auto transformer starter. - Start, 3 phase Induction motor with Star Delta starter. - Make connection to reverse the direction of induction motor. - Determine the efficiency of three phase induction motor - Control the speed of three phase induction motor by changing primary voltage - Control the speed of three phase induction motor by rotor resistance control method - Operate two motors in cascade - Start the synchronous motor using external prime mover. - Identify the effect of field current on three phase synchronous motor. |  |  |  |
| Module 3.13.6 Repairs/Maintenance and Service of AC Electric Motors and Generators |  | - Diagnose Fault in Electric Motor - Carry out Service/Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.14.1 Identify Basic Electronics Components |  | - Identify Various Diodes - Identify Resistors in circuit - Identify Capacitor in circuit - Identify Inductor in circuit - Identify transistor and its types |  |  |  |
| Module 3.14.2 Design a Rectifier using Diode |  | - Identify The parameter of Diode and Draw the characteristic curve of Diode - Design half wave and Full Wave Rectifier (two diode rectifier - Design Full Wave Bridge rectifier |  |  |  |
| Module 3.14.3 Carry out Diode Application |  | - Make voltage regulator using Zener diode - Make Seven Segment Using Light Emitting Diode |  |  |  |
| Module 3.14.4 Implement Bipolar Junction Transistor (BJT) in Different Applications |  | - Perform the Biasing of Transistors - Implement Transistor as an amplifier using CB configuration - Implement Transistor as an amplifier using CC Configuration - Implement Transistor as an amplifier using CE Configuration. - Implement BJT as a switch. - Design the circuit of Class A Power Amplifier |  |  |  |
| Module 3.14.5 Implement Field Effect Transistor (FET) in Different Applications |  | - Perform the Biasing of FET - Implement MOSFET as a switch. - Draw the VI characteristics curves for FETs - Design the circuit of Common Drain (CD) Amplifier - Design the circuit of Common Gate (CG) amplifier. - Construct a Low voltage transistor based regulated power supply |  |  |  |
| Module 3.14.5 Implement Thyristor Family in Various Application |  | - Implement the SCR in electronic circuits as switch - Implement the UJT in electronic circuits as switch - Construct the dimmer circuit using Diac &Triac |  |  |  |
| Module 3.14.6 Application of Operational Amplifier |  | - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct a integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |  |  |  |
| Module 3.14.7 Verify Truth Table of Digital Gates |  | - Verify the truth table of AND gate - Verify the truth table of OR gate - Verify the truth table of NOT gate - Verify the truth table of NAND gate - Verify the truth table of NOR gate - Verify the truth table of XOR gate - Verify the truth table of XNOR gate |  |  |  |
| Module 3.14.8 Construct & Verify Combinational Logic Circuit |  | - Apply Karnaugh mapping & Boolean algebra to simplify logic expressions - Construct & verify the truth table of Half adder - Construct & verify the truth table of Full adder - Construct & verify the truth table of Half Subtraction - Construct & verify the truth table of Full Subtraction - Verify Decoder - Operate seven segment display with seven segment decoder - Verify Encoder - Verify multiplexer and DE- multiplexer |  |  |  |
| Module 3.14.9 Construct and Verify Function of Flip Flops |  | - Construct and verify the truth table of RS latch using NAND gate - Construct and verify the truth table of clocked RS latch using NAND gate - Verify function of D flip flop. - Verify function of JK/T flip flop |  |  |  |
| Module 3.14.10 Use 555 IC as Multivibrator |  | - Construct 555 IC as Astable Multivibrator - Construct 555 IC as Mono-stable Multivibrator - Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction |  |  |  |
| Module 3.14.11 Construct Shift Registers and Counters with The Help of Flip Flops |  | - Construct a 4 bit shift register by Using Flip Flops - Construct a4-bit binary counter Using Flip Flops - Construct 4-bitsynchronous Counter with D flip-Flops Troubleshoot - different combinational logic circuits. |  |  |  |
| Module 3.15.1 Implement Diode and Thyristor in Power Control Application |  | - Build forward bias circuit of diode and observe its behavior - Build reverse bias circuit of diode and observe its behavior - Use SCR to build Phase control rectifier - Build force commutated circuit for SCR - Build full wave converter and observe natural commutation |  |  |  |
| Module 3.15.2 Implement Single Phase and Three Phase Inverter |  | - Construct single phase half bridge inverter and observe its output - Construct single phase full bridge inverter and observe its output - Construct three phase bridge inverter and observe its output |  |  |  |
| Module 3.15.3 Control Speed of DC/AC Motors |  | - Implement armature control method to control the speed of DC motor with 3 phase control bridge Rectifier - Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier - Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier. - Implement AC to AC converter to control the speed of 3 phase AC motor. - Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. - Implement synchros’s to transmit torque |  |  |  |
| Module 3.15.4 Program PLC using Ladder Logic |  | - Install PLC software and Simulator - Program a PLC using simulator |  |  |  |
| Module 3.15.5 Carry out Industrial Automation and PLC Installation |  | - Analyze user requirements and specifications for PLC installation - Prepare work plan for PLC Installation - Design and program PLC - Test the PLC - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.15.6 Install PLC Software and Simulator |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specifications |  |  |  |
| Module 3.15.7 Design and Test the PLC |  | - Prepare work plan - Design and program PLC - Test the PLC |  |  |  |
| Module 3.15.8 Installation, Commissioning and Maintenance of PLC. |  | - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.16.1 Identify the Parts of Analog & Digital Telephone Set & Verify their Function |  | - Dismantle and identify the parts of analog telephone set - Dismantle and identify the parts of digital telephone set - Demonstrate the operation of Telephone buzzer - Perform the operation of Transmitter & receiver - Identify the parts of rotary dial & verify its function - Identify the parts of digital dial& verify its function. |  |  |  |
| Module 3.16.2 Carry Out Modulation, Demodulation, Multiplexing, De Multiplexing of Information Signal |  | - Perform Amplitude Modulation of Information Signal - Perform Demodulation of Modulated AM Signal - Calculate band width and modulation index - Perform Frequency Modulation of Information Signal - Perform Demodulation of Modulated FM Signal - Perform Pulse Code Modulation (PCM) of an analog signal - Perform Time Division Multiplexing (TDM) and De-multiplexing - Perform Frequency Division Multiplexing and De-multiplexing |  |  |  |
| Module 3.16.3 Install Cord Less Telephone, PABX & Satellite Dish System. |  | - Install cord less telephone system - Install and Configure of Private Automatic Branch Exchange(PABX) - Install Home satellite dish system |  |  |  |
| Module 3.16.4 Install Power Supply |  | - Construct full wave rectifier/Bridge Rectifier - Construct filtered power supply - Construct Zener diode regulated power supply - Installation and Commissioning of Telecom Rectifier /UPS system - Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery - Perform Maintenance Of Valve regulated lead Acid Battery |  |  |  |
| Module 3.16.6 Maintain Lead Acid Batteries and Implement Their Series Parallel Combination |  | - Construct series combination of batteries - Construct Parallel combination of batteries - Prepare Electrolyte for battery - Check specific gravity of Electrolyte - Determine internal resistance of cell - Charge the battery with the help of Charger |  |  |  |
| Module 3.17.1 Operate Hydro Power Plant |  | - Inspect Hydropower Plant equipment - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.2 Operate Thermal Power Plant |  | - Carry out General Inspection of the Thermal power plant - Operate steam power plant - Inspect and Monitor Boiler Operation. - Inspect and Operate Ash handling plant - Inspect and Operate Coal Handling plant - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.3 Operate Diesel Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities - Generate Report |  |  |  |
| Module 3.17.4 Operate Nuclear Power Plant |  | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report. |  |  |  |
| Module 3.17.5 Design a Solar Power Plant |  | - Ensure Personal safety - Calculate load for solar PV system design - Plan for installation of solar panel - Install the solar panel frame - Install the solar panel - Perform testing |  |  |  |
| Module 3.17.6 Operate Solar Power Plant |  | - Carry out General Inspection of the power plant - Operate solar plant equipment. - Respond to equipment - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.7 Operate Wind Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.8 Utilize Electrical Energy in Building |  | - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting system - Specify the requirements and characteristics of ventilation and air-conditioning systems |  |  |  |
| Module 3.17.9 Utilize Natural Energy in Building |  | - Design Natural lightning system - Design Natural Cooling and ventilation system - Design Natural heating system |  |  |  |
| Module 3.17.10 Calculate Tariffs and Economics |  | - Calculate Tariff for Hydro Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |  |  |  |
| Module 3.18.1 Carryout Transmission of Electrical Power |  | - Select the Conductor for Transmission line - Sort different effects on transmission lines during conduction. - Select the right insulator from different types according to the requirement - Make Foundation and Erect poles and towers. - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement |  |  |  |
| Module 3.18.2 Carryout Distribution of Electrical Power |  | - Select the Conductor for Distribution of power - Improve the Power factor - Select the correct insulator from different types according to the requirement - Make Foundation and Erect poles and structures - Supervise construction of Trenches ,Cable try and select appropriate cable - Perform stringing work and sag of distribution lines - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Install the equipment for grounding of Substation/Transmission lines - Select and justify the use of reactor in a system - Install Lightning Arrester in a Distribution system as per requirement |  |  |  |
| Module 3.18.3 Carryout Protection of Distribution and Transmission System |  | - Categorize and rectify the symmetrical and asymmetrical faults - Install Circuit breaker in a distribution system (Substation/Grid station) - Install an isolator at grid station/sub station - Install appropriate relays for the protection of power system - Carry out Bus Bar protection - Carry out time graded protection of feeder - Install a fuse in a circuit (Transformer and Distribution panels) - Supervise Protection of power transformer - Carryout protection arrangement for alternator |  |  |  |

## Detail of Modules.

### Operate Measuring Instruments.

Objective: This module covers the skills and knowledge required to Operate Ampere meter, Volt meter & Ohm meter.

Duration: 24 Hours				Theory: 6 Hours			Practical: 18 Hours			Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Operate Ampere meter. | Trainee would be able to - Identify Ampere meter. - Make a parallel circuit with three different resistors on breadboard. - Adjust proper range of Ampere meter as per load. - Connect Ampere meter in series to each resistor to measure the current. - Turn on the supply and note the reading of current against each resistor. | - Define current and its units. - Define resistance and its units. - Describe series circuit. - Describe parallel circuit. - Enlist the name of various meters. - Describe purpose of Ampere meter. - Explain how Ampere meter is connected in the circuit. - How to use breadboard for circuit development? Practical Activity: Measure current across each resistor (connected in series) in an active circuit with the help of Ampere meter. | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. | Class Room and Workshop |
| LU2. Operate Volt meter. | Trainee would be able to: - Identify volt meter. - Make a series circuit with three different resistors on bread board. - Adjust proper range of Volt meter as per load. - Connect volt meter in circuit. - Take the reading. | - Define voltage and its units. - Define resistance and its units. - Describe series circuit. - Describe purpose of Volt meter - Explain how voltmeter is connected in the circuit. Practical Activity: Measure voltage across each resistor (connected in series) in an active circuit with the help of Volt meter. | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. | Class Room and Workshop |
| LU3. Operate Ohm meter. | Trainee would be able to: - Identify Ohm meter. - Adjust proper range of Ohm meter as per resistance value. - Connect Ohm meter with resistor. - Take the reading. | - Define resistance and its units. - Define Ohm’s Law. - Define variable resistor. - Describe purpose of Ohm meter. Practical Activity: Measure resistance across different resistors in an active circuit with the help of Ohm meter. | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Small pieces of copper wire. - Breadboard. - Variable Power supply | Class Room and Workshop |

### Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits

Objective: This module covers the skills and knowledge required to Make series circuit and measure voltage and verify KVL, make parallel circuit and measure current and verify KCL, verify resistance of a resistor, Find unknown value of ohms law.

Duration: 24 Hours				Theory: 6 Hours			Practical: 18 Hours			Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Make series circuit and measure voltage and verify KVL. | Trainee would be able to - Construct series circuit with different resistors on breadboard and give supply voltage. - Measure the voltage across each resistor. - Note the value of voltage against each resistor. - Sum the voltage of each resistor and verify is it equal to applied voltage. | - Describe characteristics of series circuit. - Describe relation between current, voltage and resistance - Explain Kirchhoff’s Voltage law (KVL). - Define Rheostat. - State laws of resistance. Practical Activity: Practically verify Kirchhoff's Voltage Law (KVL). | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Multi meters. - Resistors of different values. - DC power supply. - Connecting wires. - Rheostat. - Incandescent lamp of different watts. | Class Room and Workshop |
| LU2. Make parallel circuit and measure current and verify KCL. | Trainee would be able to - Construct parallel circuit with different resistors on bread board. - Measure the total current drawn by circuit. - Measure the value of current through each resistor individually. - Verify the law by putting all measured value into equation. | - Describe characteristics of series circuit. - Describe relation between current, voltage and resistance - Explain Kirchhoff’s current law (KCL). - Define Rheostat. - State laws of resistance Practical Activity: Practically verify Kirchhoff's Current Law (KCL). | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU3. Verify resistance of a resistor. | Trainee would be able to - Select the 4 color band resistor. - Determine the nominal value of resistor using color code including tolerances value. - Connect Ohm meter across the resistor and measure the value of resistance. - Compare both reading. | - Describe color code and its use. - Describe the purpose of Ohm meter. - Describe how current, voltage and resistor interact with one another. - Define Rheostat. - State laws of resistance. Practical Activity: Practically verify Ohms law. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 02 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU4. Verify Ohm’s Law | Trainee would be able to - Construct the complex circuit using different resistors. - Find I, V with proper meter and determine R using Ohms law. - Find I, R with proper meter and determine V using Ohm law. - Find R, V with proper meter and determine I using Ohm law. | - Explain Current, Voltage and resistance quantities - Explain Ohm’s law. - Describe mathematical expression of ohm’s law. Practical Activity: Calculate unknown values of I,V & R and verify Ohms law. | Total 03 Hrs. Th. 01 Hrs. Practical: 02 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU5. Measure resistance of Rheostat. | Trainee would be able to - Take sliding Rheostat of 17 Ω and Ohmmeter. (0 to 20 or more than 17 Ω) which is available. - Adjust zero with shortening the Ohm meter leads. - Take reading of rheostat when slide is full placed at end, (whole resistance of rheostat) with the Ohm meter like diagram shown above. - Note this result 17 Ω in your note book. - Repeat these reading when sliding exact in half of rheostat, and note this reading. | - Define Rheostat. - Explain procedure for measuring resistance of rheostat Practical Activity: Practically verify Ohms law by measuring resistance of Rheostat. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 02 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU6. Measure resistance by using Multimeter. | Trainee would be able to - Take multi meter of 0 to 10 M-Ohms or any range of Multimeter, which is available at your lab store. - Adjust zero with shortening the Multimeter leads. - Take the reading of Multimeter like shown above, and note it on your note book. | - Describe the use of multi meter. - State laws of resistance. Practical Activity: Measure resistance by using Multimeter. | Total 03 Hrs. Th. 01 Hrs. Practical: 02 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |
| LU7. Measure resistance of incandescent lamp. | Trainee would be able to - Take 40 W, lamp and Multimeter. - Adjust zero with shortening the Ohm meter leads. - Connect the Ohm meter with its terminal and note its resistance. - Repeat this method for 60 & 100 W lamp. | - Describe characteristics of series circuit. - Describe characteristics of parallel circuit. - Describe color code and its use. - Describe the purpose of Ohm meter. - Describe how current, voltage and resistor interact with one another. - Define Rheostat. - State laws of resistance. Practical Activity: Measure resistance of incandescent lamp by using Ohm meter. | Total 05 Hrs. Th. 01 Hrs. Practical: 04 Hrs. | - Multi meters. - Resistors of different values. - DC power supply - Connecting wire. - Rheostat - Incandescent lamp of different watts. | Class Room and Workshop |

### Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

Objective: This module covers the skills and knowledge required to Measure single phase and poly-phase electrical para meters using Volt-Ampere meter, watt meter & Measure consumed energy with Energy meter.

Duration: 24 Hours			Theory: 6 Hours			Practical: 18 Hours				Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Measure power using Multimeter method | Trainee would be able to - Construct Select the load to calculate the power and give supply. - Measure the voltage and current by using Multimeter. - Find power using power formula. | - Define AC/D.C power. - Explain how to measure power of the circuit with meter. - Differentiate between electrical and mechanical power - Describe the use of Volt meter and Ampere meter. Practical Activity: Measure single phase apparent power using Volt-Ampere meter method. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Voltmeter. - Ammeter. - Connecting Leads. - Power Supply. - Screw Driver & Pliers. - Single Phase Load or 100 watt lamp. | Class Room and Workshop |
| Measure power using watt meter | Trainee would be able to - Construct Select a load to calculate the power and connect watt meter across the load. - Power-ON the supply and measure the power. | - Define watt meter - Explain construction of watt meter - Describe procedure of measuring power through watt meter Practical Activity: Calculate real power of single phase load with the help of watt meter. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Wattmeter. - Connecting Leads. - Power Supply. - Screw Driver & Pliers. - Single Phase Load or 100 watt lamp. | Class Room and Workshop |
| Measure single phase AC Power | Trainee would be able to - Select a load to calculate the power and appropriate supply. - Measure the voltage and current using Multimeter. - Calculate the power using power. | - Explain single phase network - Describe calculation of measuring power by power formula - Explain measurement procedure of voltage and current with Multimeter Practical Activity: Demonstrate the two wattmeter method of measuring the power in single phase networks. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Voltmeter - Ampere meter - Multimeter - Combination plier - Phase tester - Cutter plier | Class Room and Workshop |
| Measure three phase AC Power. | Trainee would be able to - Select a load to calculate the power with appropriate supply. - Measure the voltage, current using Multimeter for each phase. - Calculate the power using power formula. | - Explain three phase network - Describe calculation of measuring power by power formula - Explain measurement procedure of voltage and current with Multimeter. Practical Activity: - Demonstrate the two wattmeter method of measuring the power in 3-phase networks. - Demonstrate the three wattmeter method of measuring the power in 3-phase networks. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Wattmeter. - Connecting Leads. - Power Supply. - Screw Driver & Plier. - Three Phase Load (3 phase Motor) | Class Room and Workshop |
| Measure consumed energy with Energy meter | Trainee would be able to - Connect phase line of AC supply to the energy meter. - Connect AC load to the output terminals of energy meter. - Power up the supply and take reading of energy in terms of unit after few minutes form display. | - Explain energy meter in detail - Explain the procedure for measuring consumed energy with energy meter - Describe formula to calculate energy Practical Activity: Connect energy meter with domestic load of single story building | Total 3.0 Hrs. Th. 1.0 Hrs. Practical: 2.0 Hrs. | - Connecting Leads. - Power Supply. - Screw driver & pliers. - Energy meter | Class Room and Workshop |
| Measure power factor with voltmeter, ampere meter and watt meter | Trainee would be able to - Connect voltmeter & ampere meter with inductive load (Motor) - Connect watt meter and measure. - Connect AC supply and take the readings of volt, ampere and watt meter. - Utilize the above readings and calculate power factor using power formula P=VI Cos Ø | - Explain power factor - Describe formula for calculating power factor - Explain procedure for calculating power factor with voltmeter, Ampere meter and watt meter Practical Activity: Measure power factor by connecting voltmeter, ampere meter and watt meter. | Total 3.0 Hrs. Th. 1.0 Hrs. Practical: 2.0 Hrs. | - Power factor meter - Voltmeter - Ampere meter - Watt meter - Load (Lamp) - Connecting leads - Power Source | Class Room and Workshop |
| Measure power factor with power factor meter. | Trainee would be able to - Connect current coil of power factor meter in series to the load. - Voltage coil of power factor meter in parallel to the load. - Power the supply and measure the value of power factor form the meter. | - Explain the reasons of power factor lagging - Describe procedures to improve power factor of an A.C inductive circuit - Explain the leading power factor - Explain function of power factor meter - Explain procedure for calculating power factor with power factor meter. Practical Activity: Measure power factor with power factor meter. | Total 3.0 Hrs. Th. 1.0 Hrs. Practical: 2.0 Hrs. | - Power factor meter - Voltmeter - Ampere meter - Watt meter - Load (Lamp) - Connecting leads - Power Source | Class Room and Workshop |
| Improve power factor & measure it with power factor meter | - Connect ampere meter as well as current coil of power factor meter in series with load - Connect voltage coil of power factor meter in parallel to the load. - Connect a capacitor bank parallel to load. - Select the small value capacitor with the help of selector switch and give supply and note the value of power factor form power factor meter and current reading form ampere meter. - Now select the higher value of capacitor from capacitor bank with the help of selector switch and note its effect on power factor and load current. | - Explain the reasons of power factor lagging. - Describe procedures to improve power factor of an A.C inductive circuit - Explain the leading power factor - Explain function of power factor meter - Explain procedure for calculating power factor with power factor meter. Practical Activity: - Measure power factor with power factor meter and install equipment to improve power factor. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Power factor meter. - Connecting Leads. - Power Supply. - Screw driver & pliers. - Energy meter. | Class Room and Workshop |
| Determine phase sequence with phase sequence meter. | - Connect three phase supply with safety switch. - Connect all three leads of phase sequence meter with safety switch. - Push the button, and observe the direction of small induction motor, which is built-in in equipment. - Check the rotation of motor disc for correct phase sequence. - Check the rotation of motor disc for incorrect phase sequence. | - Explain the construction of phase sequence meter. - Describe procedures to install phase sequence meter. - Explain the leading power factor - Explain function of induction motor. Practical Activity: - Measure power factor with power factor meter and install equipment to improve power factor. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Phase sequence meter. - Connecting Leads. - Power Supply. - Screw Driver & Plier. - Three Phase Load (3 phase Motor) | Class Room and Workshop |

### Operate Oscilloscope

Objective: This module covers the skills and knowledge related to Measure AC voltage, current, frequency, time period with oscilloscope, RMS value and average value of AC signal with oscilloscope.

Duration: 27 Hours			Theory: 6 Hours			Practical: 21 Hours				Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Measure AC voltage with oscilloscope. | Trainee would be able to - Set function generator to generate ac voltage signal of suitable value of voltage and frequency. - Select a proper volt/division and give AC voltage to oscilloscope to visualize the signal. - Read number of divisions between the +ve and -ve peaks of the signal along the y-axis of screen. - Apply the formula to calculate the actual amplitude of AC voltage. - Apply the formula to calculate RMS value of AC voltage. - Apply the formula to calculate the average value of AC voltage. | - Explain calibration procedure of oscilloscope - Explain different controls of an oscilloscope. - Define trigger, channel, frequency, and time period. - Explain RMS value of AC signal. - Explain use of probes of oscilloscope Practical Activity: Make AC voltage measurement with the help of oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator. | Class Room and Workshop |
| Measure current with oscilloscope. | Trainee would be able to - Select the proper load to measure the current. - Connect the low value of resistance in series with the load. - Connect the oscilloscope across low value of resistor and measure the voltage. - Apply ohms law by using value of low value of resistor and voltage across it and find out current. - Apply formula to calculate RMS and Average value of current. | - Explain calibration procedure of oscilloscope - Explain procedure of current measurement - Explain Ohm’s Law. - Describe the procedure of calculating RMS and Average value Practical Activity: Measure RMS (Root Mean Square) and Peak value of AC signal with oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator. | Class Room and Workshop |
| Measure frequency of AC signal with oscilloscope. | Trainee would be able to - Select a proper time/division and give AC voltage to oscilloscope. - Calculate number of divisions between the one AC cycles of the AC signal. - Apply the formula to calculate the actual frequency of AC voltage. - Apply formula to calculate the period of signal. | - Explain calibration procedure of oscilloscope - Explain AC signal in detail. - Explain procedure of frequency measurement - Explain Ohm’s Law. - Describe the procedure of calculating frequency and period of a signal Practical Activity: Observe amplitude, frequency, period and phase shift of AC waveforms on oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator. | Class Room and Workshop |
| Measure time period of AC signal with oscilloscope | - Select a proper time/division and give AC voltage to oscilloscope. - Calculate number of divisions between the one AC cycles of the signal. - Apply the formula to calculate the actual frequency of AC voltage | - Explain calibration procedure of oscilloscope - Explain different controls of an oscilloscope. - Define trigger, channel, frequency, and time period. - Explain RMS value of AC signal. - Explain use of probes of oscilloscope Practical Activity: Measure time period of AC signal with the help of oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator |  |
| Measure RMS value of AC signal with oscilloscope | - Select a proper volt/division and give AC voltage to oscilloscope. - Record number of divisions between the +ve and -ve peaks of the signal. - Apply the formula to calculate Vp-p of AC voltage. - Calculate peak value form Vp-p - Calculate rams value form peak voltage of AC | - Explain calibration procedure of oscilloscope - Explain different controls of an oscilloscope. - Define trigger, channel, frequency, and time period. - Explain RMS value of AC signal. - Explain use of probes of oscilloscope Practical Activity: Measure RMS Value of AC signal with the help of oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator | Class Room and Workshop |
| Measure average value of AC signal with oscilloscope | - Select a proper volt/division and give AC voltage to oscilloscope. - Record number of divisions between the +ve and -ve peaks of the signal. - Apply the formula to calculate Vp-p of AC voltage. - Calculate peak value form Vp-p - Calculate average value form peak voltage of AC | - Explain calibration procedure of oscilloscope - Explain different controls of an oscilloscope. - Define trigger, channel, frequency, and time period. - Explain RMS value of AC signal. - Explain use of probes of oscilloscope Practical Activity: Measure average value of AC signal with the help of oscilloscope. | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Cathode-ray oscilloscope. - Multi-meter. - Oscillator/signal generator. - Resistor. - Breadboard. - DC power supply. - Function generator | Class Room and Workshop |

### Implement Electromagnet to See Various Effects & Verify Faradays Law

Objective: This module covers the skills and knowledge related to Implement Electromagnet, Implement circuit to determine the effect on current carrying conductor in magnetic field, Determine the effect on conductor by varying the current with the help of rheostat, plot magnetic lines of forces of bar magnet, Verify Faradays law by moving magnet in side coil, Verify Faradays law by moving coil near the magnet field, Verify EMF through induction.

Duration:  24 Hours				Theory: 6 Hours			Practical: 18 Hours			Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Implement Electromagnet | Trainee would be able to - Take iron nail (approximately 3 inches in length) as iron core and make 30 to 40 turns of thin coated copper wire to form a coil. - Connect dry cell battery with coil wound on the iron nail. - Bring iron nail near the iron pieces and demonstrate the observation. | - Define magnet and magnetism. - Define electromagnet. - Define function of iron core. - Define magnetic lines of force. - Define magnetic field. Practical Activity: Observe how current can create a magnetic field. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 02 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. | Class Room and Workshop |
| Implement circuit to determine the effect on current carrying conductor in magnetic field. | Trainee would be able to - Take copper rod (5cm in length) and connect wires across it. - Give DC supply to copper rod through rheostat. - Place current carrying copper rod inside the horse shoe magnet. - Observe the rod movement. - Change the polarity of supply and observe the rod again. | - Explain Fleming’s left-hand rule. - Define the term induction - Explain Faraday’s law of electro-magnetic induction. Practical Activity: Calculate the magnetic force on a current-carrying conductor. | Total 2.5 Hrs. Th. 0.5 Hrs. Practical: 2.0 Hrs. | - Iron nail as core - Thin coated copper wire - Rheostat - Current carrying conductor - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer - Compass needle - Coil - Bar Magnet - Paper - Lead pencil. - Galvanometer | Class Room and Workshop |
| Determine the effect on conductor by varying the current with the help of rheostat. | Trainee would be able to - Reduce the rheostat resistance. - Record the effect on copper rod. - Increase the rheostat resistance. - Record the effect on copper rod. | - Define function of iron core. - Describe procedure of making magnetic strength of electromagnet. Practical Activity: Measure the effects of a magnetic field on a current carrying conductor with the help of rheostat. | Total 03 Hrs. Th. 01 Hrs. Practical: 2 Hrs. | - Rheostat. - Current carrying conductor. | Class Room and Workshop |
| Plot magnetic lines of forces of bar magnet. | Trainee would be able to - Place a bar magnet on paper and outline its boundary with the help of lead pencil. - Place a compass needle at one side the magnet. - Mark points on paper where the compass needle stops. - Repeat the same procedure till compass reach at the other end of magnet. - Change the position of compass needle near the magnetic pole and repeat the procedure for 3 to 4. | - Explain Fleming’s left-hand rule - Explain the direction of magnetic lines of forces Practical Activity: Observe the magnetic field associated with a bar magnet and construct the magnetic field lines. | Total 03 Hrs. Th. 01 Hrs. Practical: 2 Hrs. | - Iron nail as core - Thin coated copper wire - Rheostat - Current carrying conductor - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil | Class Room and Workshop |
| Verify Faradays law by moving magnet in side coil. | Trainee would be able to - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow and record the effect on reading of Galvanometer. - Hold the magnet inside the coil and do not move, now record the effect on reading of Galvanometer. | - Explain procedure of connecting galvanometer with the coil - Explain Faraday’s law of electromagnetic induction Practical Activity: Verify Faradys law with the help of galvanometer. | Total 03 Hrs. Th. 1 Hrs. Practical: 2 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. | Class Room and Workshop |
| Verify Faraday’s law by moving coil near the magnet field. | Trainee would be able to - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it and record the effect on reading of Galvanometer. - Hold the coil near the magnetic field do not move, now record the effect on reading of Galvanometer. | - Explain Lenz’s Law - Explain procedure of moving coil near static magnetic field Practical Activity: Determine the direction of the current induced in a coil as a result of a change in the magnetic flux inside the coil. | Total 5 Hrs. Th. 1 Hrs. Practical: 4 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil. - Galvanometer. | Class Room and Workshop |
| Verify EMF through induction. | Trainee would be able to - Take step down transformer and connect its secondary with a Galvanometer and primary winding with a DC battery through a rheostat. - Continuously vary the rheostat and observe the reading on the Galvanometer. | - Define term induction - Explain Lenz’s Law for the direction of induced EMF - Explain reason of high and low EMF induction in coil. Practical Activity: Verify Farady’s law by changing magnetic flux and induced current associated with Faraday’s Law of Induction. | Total 5 Hrs. Th. 1 Hrs. Practical: 4 Hrs. | - Iron nail as core. - Thin coated copper wire. - Rheostat. - Current carrying conductor. - Horse shoe magnet. - Dry cell battery. - Magnet. - Connecting leads. - Transformer. - Compass needle. - Coil. - Bar Magnet. - Paper. - Lead pencil. - Galvanometer. | Class Room and Workshop |

### Verify law of Combination of Capacitors & Determine Break Down Voltage of Capacitor

Objective: This module covers the skills and knowledge related to Implement a series circuit of capacitors, implement a parallel circuit of capacitors, and determines the breakdown voltage of low voltage capacitor.

Duration:  24 Hours			Theory: 6 Hours			Practical: 18 Hours				Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Implement a series circuit of capacitors. | Trainee would be able to - Assemble a series circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors - Measure the voltage across each capacitor connected in series - Add the voltage of each capacitor and verify is it equal to applied voltage. - Use voltage of each capacitor and its value to find the charge on each capacitor. | - Define the capacitance of capacitors. - Explain the principles of capacitance. - Describe the basic units of capacitance. - Explain different types of capacitors. - Determine total capacitance in series circuits. Practical Activity: Connect up-to 3 capacitors in series and find the value of total capacitance | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - D.C. power supply unit. - Bridging plugs. - Connecting leads. - Multimeter. (With option of Capacitance measurement). | Class Room and Workshop |
| Implement a parallel circuit of capacitors. | Trainee would be able to - Assemble a parallel circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors. - Use applied voltage and value of capacitor to find the charge on each capacitor. - Use total voltage and total capacitance to verify the net charge on the capacitor. | - Define the capacitance of capacitors. - Explain the principles of capacitance. - Describe the basic units of capacitance. - Explain different types of capacitors. - Determine total capacitance in parallel circuits. Practical Activity: Connect up-to 3 capacitors in parallel and find the value of total capacitance | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - D.C. power supply unit. - Bridging plugs. - Connecting leads. - Multimeter. (With option of Capacitance measurement). | Class Room and Workshop |
| Determine the breakdown voltage of low voltage capacitor. | Trainee would be able to - Take a capacitor of 6.3 rated volts. - Connect it across a 0-30 volts D.C variable supply - Very slowly increased the voltage of variable supply from zero to rated 6.3v, and then higher than rated, and observed carefully the capacitor and to voltmeter reading. - After slowly increasing at critical position of voltage, the capacitor will be burnt, and smoked. Note that | - Explain breakdown voltage of capacitors? - Explain factor can affect the life of a capacitor? - Define charging of capacitor? - Explain factors affecting capacitance. Practical Activity: Construct a RC circuit to measure breakdown voltage | Total 08 Hrs. Th. 02 Hrs. Practical: 06 Hrs. | - Capacitors, 4.7 μF - Capacitors, 10, 100 & 8.2 μF. - Voltmeter. - Connecting leads. - D.C. power supply unit. - Bridging plugs - Multimeter. (With option of Capacitance measurement). - Variable D.C powers supply 0-30 Voltas. - Capacitor (Sanyo Operated Volts 6.3 V, SE 30) - D.C Analog or Preferably Digital voltmeter Range 0-50V. - L.E.D (3 to 9 V) Optional. | Class Room and Workshop |

### Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension

Objective: This module covers the knowledge and  skills required to measure current with Galvanometer and Voltage with Galvanometer and make multiplier for galvanometer range extension.

Duration:  24 Hours			Theory: 6 Hours				Practice: 18 Hours                       Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure currentwith Galvanometer | Trainee will be able to: - Select tools and equipment. - Make connections as per standard - Measure current with galvanometer - Show the results on galvanometer - Obtain readings and interpret the results. | - Working of galvanometer. Practical Activity Connection of galvanometer as an ammeter . | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Galvanometer - Connecting cables - Test Bench - Resistance decade box - DC Power supply - Plier | Class Room and workshop |
| LU2. Measure voltage with Galvanometer | Trainee will be able to: - Select tools and equipment. - Make connections as per standard - Measure current with galvanometer - Show the results on galvanometer - Obtain readings and interpret the results. | - Use of galvanometer as a voltmeter. Practical Activity Connection of galvanometer as a voltmeter. | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Galvanometer - Connecting cables - Test Bench - Resistance decade box - DC Power supply - Plier | Class Room and workshop |
| LU3. Make multiplier for Galvanometer range extension | Trainee must be able to: - Select tools and equipment. - Connect a large multiplier resistance in series with the galvanometer - Calculate the range of voltmeter - Insert different multiplier resistances for different ranges. - Measure voltage with galvanometer - Obtain readings and interpret the results. | - Calculation of multiplier resistance in series with galvanometer. Practical Activity Connection of galvanometer with multiplier resistance for voltage range extension. | Total 08 Hrs. Theory: 02Hrs. Practical: 06Hrs | - Galvanometer - Connecting cables - Test Bench - Resistance decade box - DC Power supply - Plier | Class Room and workshop |

### Measure Temperature, Earth Resistance, Light Intensity

Objective: This module covers the knowledge and  skills required to measure temperature with thermocouple by voltage method, measure the Earth resistance by using earth resistance tester, measure light intensity with lux meter.

Duration:  24 Hours			Theory: 6 Hours				Practice: 18 Hours                       Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure temperature with thermocouple by voltage method | Trainee will be able to: - Pick K-type thermocouple - Put the Sensor tip in temperature source. - Connect the Multimeter on the other end of thermocouple. - Apply temperature by source and measure the voltage generated on multi meter - Record the readings. - Compare the measured value of voltage against temperature with ITS-90 table for K-typeTC. | - Working of thermocouple. Practical Activity Measure the temperature with thermocouple by voltage method. | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Multimeter - Oven (Temperature source) - Connecting cables - Thermocouples. | Class Room and workshop |
| LU2. Measure the earth resistance by using earth resistance tester | Trainee will be able to: - Short P1 and C1 terminals on the instrument (four terminal tester) and connected to the earth electrode under test - Drive C2 reference rod into the earth straight-out as far from the electrode under test as possible. - Potential reference P2 is then driven into the earth, at a set number of points, roughly on a straight line between C1 and C2. - Resistance readings are logged for each P2 point - Plot Measurements on a curve of resistance vs. distance. - Correct earth resistance is read from the curve for the distance that is roughly 62% of the total distance between C1 and C2. - Report the result. | - Working of earth resistance tester. Practical Activity Measure the earth resistance by using earth resistance tester. | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Earth resistance tester - Connecting cables - Electrodes - Test probes | Class Room and workshop |
| LU3. Measure the light intensity with lux meter | Trainee must be able to: - Locate three or more points at same height apart from each other. - Turn on the Lux meter and let it stabilize. - Take reading on each selected point. - Calculate the average of measurements and report the result. | - Use of lux meter Practical Activity Measure the light intensity with lux meter | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Connecting cables - Lux meter - Light source . | Class Room and workshop |

### Measure the Resistance and High DC Current by Using Shunt.

Objective: This module covers the knowledge and  skills required to measure the resistance by using wheat stone bridge, Measure the resistance by ohm meter, Measure the resistance by AVO meter and Measure high DC current by using shuntmeasure resistance with wheat stone bridge, ohmmeter and AVO meter and measure high DC current by using shunt.

Duration:  24 Hours			Theory: 6 Hours				Practice: 18 Hours                       Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure the resistance by using wheat stone bridge | Trainee will be able to: - Select the unknown resistor Rx - Connect it in a bridge circuit. - Balance the wheat stone bridge circuit - Calculate unknown resistance Rx. - Record the result. | - Working of wheat stone bridge. Practical Activity Measure the resistance by using wheat stone bridge | Total 06 Hrs. Theory: 01.5 Hrs. Practical: 4.5 Hrs | - Power supply - Test probes - Load - Resistors - Wheat stone bridge circuit | Class Room and workshop |
| LU2. Measure the resistance by ohm meter | Trainee will be able to: - Select the unknown resistor Rx - Connect the probes of ohmmeter across resistor. - Read the value from the display | - Use of ohm meter for resistance measurement. Practical Activity Measure the resistance by ohm meter. | Total 06 Hrs. Theory: 01.5 Hrs. Practical: 4.5 Hrs | - Power supply - Resistors - Ohmmeter - Test probes | Class Room and workshop |
| LU3. Measure the resistance by AVO meter | Trainee must be able to: - Select the unknown resistor Rx - Move the knob of AVO meter and set it on ohm. - Connect the probes of ohmmeter across resistor. - Read the value from the display | - Use of AVO meter for resistance measurement. Practical Activity Measure the resistance by AVO meter. | Total 06 Hrs. Theory: 01.5 Hrs. Practical: 4.5 Hrs | - Power supply - AVO meter - Resistors - Test probes | Class Room and workshop |
| LU4. Measure high DC current by using shunt | Trainee must be able to: - Select the appropriate shunt - Connect it in parallel with the Ammeter within a circuit. - Apply high current and find voltage drop against shunt. - Measure the reading and interpret result - Record the result. | - Measurement of high current with ammeter using shunt. Practical Activity Measure high DC current by using shunt. | Total 06 Hrs. Theory: 01.5 Hrs. Practical: 4.5 Hrs | - Power supply - Shunts - Test probes - Load - ammeter | Class Room and workshop |

### Measure Voltage, Frequency, Capacitance &Inductance by CRO

Objective: This module covers the knowledge and  skills required to measure voltage using CRO, Measure frequency using CRO, Measure capacitance using CRO and Measure inductance using CRO.measure voltage, frequency, capacitance & inductance using CRO (Cathode Ray Oscilloscope).

Duration:  27 Hours		Theory: 6 Hours				Practice: 21 Hours                   Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure voltage using CRO | Trainee will be able to: - Shut off the internal horizontal sweep generator - Calibrate the CRO against known voltage and adjust the vertical gain. - Keep the vertical gain unchanged, apply the unknown voltage to be measured, to the vertical input terminals of the oscilloscope - Measure the length of the vertical line obtained - Calculate the voltage and record the result. | - Calibrate the CRO against known voltage. - Measure the voltage with CRO. - Practical Activity Measure voltage using CRO. | Total 6.5 Hrs. Theory: 1.5 Hrs. Practical: 05 Hrs | - 10 kohm resistor - Voltage probes - Power supply - Function generator - 100 Ohm resistor - Test bench - Oscilloscope | Class Room and workshop |
| LU2. Measure frequency using CRO | Trainee will be able to: - Identify the inputs of CRO for frequency (vertical /horizontal) - Adjust various controls as per input frequency. - Apply frequency input and read the pattern obtained. - Interpret the pattern obtained to calculate frequency. - Record the result. | - Use of CRO for frequency measurement. Practical Activity Measure the frequency of ac source using CRO | Total 6.5 Hrs. Theory: 1.5 Hrs. Practical: 05 Hrs | - 10 kohm resistor - Voltage probes - Power supply - Function generator - 100 Ohm resistor - Test bench - Oscilloscope | Class Room and workshop |
| LU3. Measure capacitance using CRO | Trainee must be able to: - Connect 1kohm resistor in series with standard capacitor - Set the function generator to output a 1.9 V amplitude, 100 Hz sine wave. - Set the voltage and frequency. - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. - Connect probes of oscilloscope across capacitor. - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. - Calculate the impedance and capacitance from available data. - Record the result. | - Use of CRO for capacitance measurement. Practical Activity Measure the capacitance using CRO. | Total 7 Hrs. Theory: 1.5 Hrs. Practical: 05.5 Hrs | - 10 kohm resistor - Voltage probes - Power supply - Function generator - Standard capacitor - 100 Ohm resistor - Test bench - Oscilloscope | Class Room and workshop |
| LU4. Measure inductance using CRO | Trainee must be able to: - Connect 1kohm resistor in series with standard capacitor - Set the function generator to output a 1.9 V amplitude, 10kHz sine wave. - Set the voltage and frequency. - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. - Connect probes of oscilloscope across inductor. - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. - Calculate the impedance and inductance from available data. - Record the result. | - Use of CRO for inductance measurement. Practical Activity Measure inductance using CRO | Total 7 Hrs. Theory: 1.5 Hrs. Practical: 5.5 Hrs | - 10 kohm resistor - Voltage probes - Power supply - Standard Inductor - Function generator - 100 Ohm resistor - Test bench - Oscilloscope | Class Room and workshop |

### Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments.

Objective: This module covers the knowledge and  skills required to measure Capacitance by RCL Meter, Measure Inductance by RCL Meter and Dismantle and assemble the moving iron and permanent magnet type instrument, measure capacitance & inductance, dismantle and assemble the instruments.

Duration:  24 Hours			Theory: 6 Hours				Practice: 18 Hours       Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure Capacitance by RCL Meter | Trainee will be able to: - . Select Capacitance function on RCL Meter. - Short the test probes and zero the RCL meter - Connect probes across unknown capacitance - Read the value on display and record it. | - Use of RCL Meter for capacitance measurement. Practical Activity Measure Capacitance by RCL Meter . | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Power supply - RCL Meter - Capacitor | Class Room and workshop |
| LU2. Measure Inductance by RCL Meter | Trainee will be able to: - Select Inductance function on RCL Meter. - Short the test probes and zero the RCL meter - Connect probes across unknown inductance - Read the value on display and record it. | - Use of RCL Meter for inductance measurement. Practical Activity Measure Inductance by RCL Meter. | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Power supply - RCL Meter - Inductor | Class Room and workshop |
| LU3. Dismantle and assemble the moving iron and permanent magnet type instrument | Trainee must be able to: - Determine the instrument type (attraction/ repulsion/permanent magnet type) - Perform isolation of Instruments (if applicable) - Establish a method for disassembling activity as per SOP. - Use standard tools described in user manual - Apply disassembling techniques - Organize the tag-identification of the parts/components/wires of instruments. - Draw sketches of removable parts (coil, needle, scale, moving iron, balance and control weight, scale, air damping chamber, permanent magnet etc.) - Determine the quality of service required for performing the task. - Check for the proper operation/ functionality - Apply assembling techniques. | - Working of moving iron type instrument. - Working of permanent magnet type instrument Practical Activity Dismantle and assemble the moving iron and permanent magnet type instrument | Total 08 Hrs. Theory: 02Hrs. Practical: 06 Hrs | - Moving iron type instrument. - Permanent magnet type instrument | Class Room and workshop |

### Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre.

Objective: This module covers the knowledge and  skills required to identify parts of Energy meter, identify different types of PF meter, its parts and connect it in circuit, identify and implement MDI meter and measure insulation resistance by Meagre.

Duration:  24 Hours			Theory: 6 Hours			Practice: 18 Hours                   Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify parts and connection of Energy meter(Single/3-phase) | Trainee will be able to: - Identify the Energy meter(Single/3-phase) - Differentiate between driving, moving, braking and recording system - Identify aluminum disc, series and shunt electromagnet, copper shading ring, magnetic brake, pressure and current coil, permanent magnet and cyclometer - Connect Single Phase Energy meter in a load circuit - Connect 3phase Energy meter in a load circuit - Take the measurements and record. | - Parts of energy meter. Practical Activity Identify parts and connection of Energy meter(Single/3-phase). | Total 06 Hrs. Theory: 1.5 Hrs. Practical: 4.5 Hrs | - Power source Single/3-phase - Energy meters. | Class Room and workshop |
| LU2. Identify different types of PF meter, its parts and connect it in circuit. | Trainee will be able to: - Identify the PF meters (Electrodynamometer type/ Moving Iron type) - Differentiate between pressure coil and current coil - Identify inductive and resistive part of pressure coil in electrodynamometer type PF meter - Connect Single phase PF meter in a load circuit - Connect 3phase PF meter in a load circuit - Take the measurements and record. | - Working of PF meters (Electrodynamometer type/ Moving Iron type) Practical Activity Identify different types of PF meter, its parts and connect it in circuit. | Total 06 Hrs. Theory: 1.5 Hrs. Practical: 4.5 Hrs | - PF meters. | Class Room and workshop |
| LU3. Identify MDI meter parts and use it on line | Trainee must be able to: - Identify the parts of MDI meter - Select the MDI meter according to load. - Identify the connections and insert it on line as per procedure - Note down the reading and interpret it. | - Working of MDI meter. Practical Activity Online use of MDI meter. | Total 06 Hrs. Theory: 1.5 Hrs. Practical: 4.5 Hrs | - MDI meter. | Class Room and workshop |
| LU4. Measure insulation resistance by Meager | Trainee must be able to: - Isolate the unit under test - Connect the meager with cable of unknown insulation resistance as per standard - Hand crank the meager to generate voltage - Analyze the reading and note it down. - Interpret the measurements | - Working principle of Meager. Practical Activity Measure insulation resistance by Meager. | Total 06 Hrs. Theory: 1.5 Hrs. Practical: 4.5 Hrs | - Meager. | Class Room and workshop |

### Calibrate Electrical Equipment

Objective: This module covers the knowledge and  skills required to perform pre-calibration activity, calibrate  Ammeter, calibrate  Voltmeter, calibrate  ohmmeter, calibrate  multi meter, calibrate 2-terminal/4-terminal resistor (Direct method), calibrate 2-terminal/4-terminal resistor (Indirect method), calibrate standard capacitor, calibrate standard inductor and prepare calibration report

Duration: 30 Hours			Theory: 6 Hours			Practice: 24 Hours                   Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Pre-Calibration activity | Trainee will be able to: - Perform functional and physical check of under test equipment/UUT (Unit Under Test) - Prepare equipment receipt with specifications and allot unique code. - Keep the equipment in controlled environment for thermal stabilization as per its manual. - Turn ON the equipment for warm-up as per equipment manual - Record the under test equipment specifications, environmental condition of laboratory. | Pre-Calibration activity. Practical Activity Perform Pre-Calibration activity. | Total 03 Hrs. Theory: 01Hrs. Practical: 02 Hrs | - Ammeter - Voltmeter - Ohmmeter - Multimeter - Capacitor - Inductor - 2-wire Resistor - 4-wire Resistor - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate Ammeter | Trainee will be able to: - Select the Reference/Standard Current Source and connecting cable on the basis of under test ammeter range. - Connect the under test ammeter with Reference/Standard Current Source at current terminals. - Select calibration points on under test ammeter such that it may cover the whole range. - Perform zeroing on under test (if zero function available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying current - Apply the Reference current and record the value displayed on the under test ammeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the current source and remove the connecting cables. | - Calibration of ammeter . Practical Activity Calibrate ammeter . | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - Ammeter - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate Voltmeter | Trainee must be able to: - Select the Reference/Standard Voltage Source. - Connect the under test voltmeter with Reference/Standard Voltage Source at voltage terminals. - Select calibration points on under test voltmeter such that it may cover the whole range. - Perform zeroing on under test (if zero function available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying voltage - Apply the Reference voltage and record the value displayed on the under test voltmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the voltage source and remove the connecting cables. | - Calibration of voltmeter. Practical Activity Calibrate voltmeter. | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - Voltmeter - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate Ohmmeter | Trainee must be able to: - Select the Reference/Standard Resistance Source(Fixed/Discrete) - Connect the under test ohmmeter with Reference/Standard Resistance Source at resistance terminals. - Select calibration points on under test ohmmeter such that it may cover the whole range. - Check zero error by shortening the probes and perform zeroing on under test (if zero function/adjustment available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying resistance - Apply the Reference resistance and record the value displayed on the under test ohmmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the resistance source and remove the connecting cables. | - Calibration of ohmmeter Practical Activity Calibrate ohmmeter. | Total 03 Hrs. Theory: 0.5Hrs . Practical: 2.5 Hrs | - Ohmmeter - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| - Calibrate multimeter | Trainee must be able to: - Select the Reference/Standard according to the multimeter specifications. - Connect the under test multimeter with Reference/Standard as per selected parameter. - Select parameter(Voltage AC/DC, Current AC/DC, Resistance, Capacitance) on both Reference and under test equipment one by one. - Check zero error for each parameter and nullify (if zero function/adjustment available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying Reference value for each parameter - Apply the Reference value of each parameter and record the value displayed on the under test multimeter and Reference. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the Standard Reference and remove the connecting cables. | - Calibration of multimeter Practical Activity Calibrate multimeter. | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - Multimeter - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| - Calibrate 2-terminal/4-terminal Resistor (Direct method) | Trainee must be able to: - Select the Resistance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with the 2-terminal resistor/Current terminals(C1,C2) of 4-terminal resistor - Verify the connections are as per connection diagram. - Note the value marked on resistor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter | - Calibration of 2-terminal/4-terminal Resistor (Direct method) Practical Activity Calibrate 2-terminal/4-terminal Resistor (Direct method). | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - 2-wire Resistor - 4-wire Resistor - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate 2-terminal/4-terminal Resistor (Indirect method) | Trainee must be able to: - Connect the probes of Current Source with the 2-terminal resistor/Current terminals(C1,C2) of 4-terminal resistor - Select rated current to be applied to UUT and measure the corresponding value of voltage drop at the voltage terminals. - Put the applied values of current and measured value of voltage drop in Ohm’s Law i.e. (V = I x R) and calculate the corresponding resistance. - Take at least three set of measurement. - Remove the connecting probes of Current Source | - Calibration of 2-terminal/4-terminal Resistor - (Indirect method) Practical Activity Calibrate 2-terminal/4-terminal Resistor (Indirect method). | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - 2-wire Resistor - 4-wire Resistor - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate Standard Capacitor | Trainee must be able to: - Select the Capacitance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with Capacitor terminals - Verify the connections are as per connection diagram. - Note the value marked on Capacitor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter | - Calibration of Standard Capacitor Practical Activity Calibrate Standard Capacitor | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - Capacitor - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Calibrate Standard Inductor | Trainee must be able to: - Select the Inductance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with Inductor terminals - Verify the connections are as per connection diagram. - Note the value marked on Inductor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter | - Calibration of Standard Inductor Practical Activity Calibrate Standard Inductor | Total 03 Hrs. Theory: 0.5Hrs. Practical: 2.5 Hrs | - Inductor - Connecting Cables and Connectors - Reference Standard Current Source - Reference Standard Voltage Source | Class Room and workshop |
| Prepare calibration report | Trainee must be able to: - Prepare data sheet by filling in the details of equipment under test and reference equipment to be used. - Identify and mention the procedure details and traceability statement. - Calculate the average, error, standard deviation and type-A uncertainty from the measured values. - Identify and add B-type uncertainties from the factors affecting measurement - Calculate the Combined and expanded uncertainty from type A and B uncertainties - Report the final result which includes nominal value, measured value and expanded uncertainty. | - Preparation of calibration report Practical Activity Prepare calibration report. | Total 03 Hrs. Theory: 01Hrs. Practical: 02 Hrs | - Note pad | Class Room and workshop |

# List of Personal Protective Equipment

(FOR A CLASS OF 25 STUDENTS)

| Name of Trade |  | Electrical Technology Diploma Level 5 |  |
| --- | --- | --- | --- |
| Duration of Course |  | 36 Months |  |
| Sr. # |  | Description |  | Quantity |
| 1. |  | Safety gloves, |  | 30 |
| 2. |  | Appropriate safety glasses, |  | 30 |
| 3. |  | Breathing apparatus, |  | 30 |
| 4. |  | Fire extinguishers, |  | 30 |
| 5. |  | Fire blankets, |  | 30 |
| 6. |  | Respirators, masks, |  | 30 |
| 7. |  | Fire hoses, |  | 04 |
| 8. |  | First aid kits, stretchers and other related tools and gear |  | 10 |

# Complete List of Tools, Equipment, Machines and Consumables

Tools

| S# | Description | Quantity |
| --- | --- | --- |
|  | Wire Stripper. | 25 |
|  | Plier. | 25 |
|  | Long Nose Plier. | 25 |
|  | Insulation Remover. | 25 |
|  | Combination Plier. | 25 |
|  | Cutter Plier | 25 |
|  | Insulation Remover | 25 |
|  | Electrician Tool Kit. | 25 |
|  | Bearing Puller | 25 |
|  | Bench Vice. | 25 |
|  | Spanner. | 25 |
|  | Philips Screw Drivers Set | 25 |
|  | Winding Tools | 25 |
|  | Safety Tools. | 25 |
|  | Set Of Screw Drivers | 25 |
|  | Set Of Nose Pliers | 25 |
|  | Combination Plier Set | 25 |
|  | Cutter Plier | 25 |
|  | Lathe Cutting Tool | 25 |
|  | Steel Foot Rule | 25 |
|  | Center Drill Bit | 25 |
|  | Hand Sheet Cutter | 25 |
|  | Tool Post Key | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Of Required Dia | 25 |
|  | Right Hand Side Facing Tool | 25 |
|  | Right Hand Turing Tool | 25 |
|  | Knurling Tool | 25 |
|  | Parting Tool | 25 |
|  | Boring Bar | 25 |
|  | Steel Rule | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Bits Of Required Dia | 25 |
|  | Reamer Dia 12 Mm | 25 |
|  | Wood Saws | 25 |
|  | Wood Jackplane | 25 |
|  | Wood Marking Tools | 25 |
|  | Die Set | 25 |
|  | Pipe Vice | 25 |
|  | Pipe Cutter | 25 |
|  | Electrode Holder | 25 |
|  | Tap & Die Set | 25 |
|  | Thread Gauge | 25 |
|  | Tri-Square | 25 |
|  | Grinding Gauge | 25 |
|  | Work Bench | 25 |
|  | Bench Vice | 25 |
|  | Hammer | 25 |
|  | Tri-Square | 25 |
|  | Hand Hacksaw | 25 |
|  | Scriber | 25 |
|  | Flat File | 25 |
|  | Tool Bit | 25 |
|  | Wheel Dresser | 25 |
|  | Dead Center | 25 |
|  | Surface Gauge | 25 |
|  | Angle Gauge | 25 |
|  | Threads Gauge | 25 |
|  | Number/Alphabet Punch | 25 |
|  | MS Flats | 25 |
|  | Chipping Hammer | 25 |
|  | Wire Brush | 25 |
|  | Face Shield | 25 |
|  | Electrode Holder | 25 |
|  | Electrical Measuring Tools | 25 |
|  | Wire Stripper | 25 |
|  | Wire Gauge | 25 |
|  | Drawing Tools | 25 |
|  | Drawing Board | 25 |
|  | Electrical Wiring Accessories | 25 |
|  | Tool Cleaning Kit | 25 |
|  | Tri-Square | 25 |
|  | Set Square | 25 |
|  | Temples | 25 |
|  | Geometry | 25 |
|  | Chain Block | 25 |
|  | Crimping Tool | 25 |
|  | Knife Installation Kit | 25 |
|  | Knife. | 25 |
|  | Pre Electroplating Tools. | 25 |
|  | Cleaning Solvents | 25 |
|  | Re-Electroplating Tools. | 25 |
|  | Tweezers | 25 |
|  | Test Bench | 25 |
|  | Test Probes | 25 |
|  | Wrenches | 25 |
|  | Box End Wrench Insulated. | 25 |
|  | Socket Wrench, Insulated. | 25 |
|  | Torque Wrench Calibrated In Inch-Pounds, Insulated. | 25 |
|  | Rubber Hammer. | 25 |
|  | Phase Tester. | 25 |
|  | Neon Tester | 25 |
|  | Allen Key Set | 25 |

Equipment

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | PCB Kits | 25 |
|  | Analog Multimeter | 25 |
|  | Digital Multimeter | 25 |
|  | Wattmeter | 25 |
|  | Voltmeter | 25 |
|  | Ammeter | 25 |
|  | Megger | 10 |
|  | AVO Meter. | 25 |
|  | Multimeter | 25 |
|  | Galvanized Wire. | 200 Mtr. |
|  | RPM Meter. | 10 |
|  | Phase Sequence Meter | 25 |
|  | Clamp Meter | 25 |
|  | Continuity Tester | 25 |
|  | AC/DC Supply Source | 10 |
|  | Protection Equipment. | 25 |
|  | Variable Power Supply | 10 |
|  | Power Factor Meter | 15 |
|  | Transformer. | 25 |
|  | Timer/Time Relay. | 50 |
|  | Compressor. | 25 |
|  | D.C. Power Supply Unit. | 10 |
|  | Multimeter. (With Option Of Capacitance Measurement). | 25 |
|  | Rheostat. | 25 |
|  | Horse Shoe Magnet. | 25 |
|  | D.C Analog Or Preferably Digital Voltmeter Range 0-50V. | 25 |
|  | Variable D.C Powers Supply 0-30 Voltas. | 15 |
|  | Galvanometer | 25 |
|  | Three Phase Load (3 Phase Motor) | 25 |
|  | Coil | 25 |
|  | Breadboard. | 25 |
|  | Compass Needle | 25 |
|  | Bar Magnet | 25 |
|  | Magnet. | 25 |
|  | Outside Caliper. | 25 |
|  | FM & AM Trainer | 10 |
|  | FM & AM Demodulation Trainers | 10 |
|  | RLC Meter | 25 |
|  | Theodolite | 25 |
|  | Power Factor Meter | 25 |
|  | Insulators For Transmission | 100 Mtr. |
|  | Poles | 15 |
|  | Lightning Arrestor | 10 |
|  | Earthing Loop | 10 |
|  | Impedance Meter | 25 |
|  | Flashlight | 10 |
|  | Electrical & Electronics Trainer For Experiments | 10 |
|  | Center Drill | 10 |
|  | Vernier Caliper | 25 |
|  | Power Cables | 25 |
|  | Multimedia | 2 |
|  | MS Office | 2 |
|  | Plotter | 1 |
|  | Drafting Table | 25 |
|  | Magnetic Compass | 25 |
|  | Armature Core | 25 |
|  | Armature Coils | 25 |
|  | Cammutator | 25 |
|  | Armature | 25 |
|  | Carbon Brush | 25 |
|  | Carbon Brush Holder | 25 |
|  | Rocker | 10 |
|  | Variable Load | 15 |
|  | Dynamometer | 10 |
|  | Tachometer | 15 |
|  | Variable DC Supply | 10 |
|  | 3 Point Starter | 15 |
|  | Brake Test Equipment | 10 |
|  | 4 Point DC Starter | 10 |
|  | Phase Angle Meter. | 15 |
|  | Thermometer | 25 |
|  | Frequency Meter | 20 |
|  | OHM Meter | 20 |
|  | Connecting Wires | 25 |
|  | Cam Switch. | 75 |
|  | Magnetic Contactors | 100 |
|  | Star/Delta Starter | 25 |
|  | Micro Meter Screw Gauge | 25 |
|  | Oil Sensor For Generator | 15 |
|  | Temperature Sensor For Generator | 15 |
|  | Fuel Sensor For Generator | 15 |
|  | Display Panel Of Generator | 10 |
|  | Earth Tester | 10 |
|  | Filler Gauge | 15 |
|  | Battery | 5 |
|  | Drawing Board/Table | 25 |
|  | Keyboard | 25 |
|  | Mouse | 25 |
|  | Dvds, Cds Etc. | 10 |
|  | Relevant Software Disks | 10 |
|  | 3 Phase Starter | 15 |
|  | Electro Dynamometer Apparatus | 20 |
|  | Stroboscope | 25 |
|  | 3 Phase DOL Starter | 25 |
|  | 3 Phase Auto Transformer Starter | 25 |
|  | 3 Phase Rheostat | 25 |
|  | 3 Phase Supply Synchronizing Panel | 25 |
|  | DC Motor Starter | 25 |
|  | Variable Field Resistance | 25 |
|  | Potentiometer 500 O | 15 |
|  | Power Electronics Trainer Kit | 10 |
|  | Electronic Hygrometer | 10 |
|  | Anemometer | 10 |
|  | Electronic Pressure Gauge | 10 |
|  | Simulating Software(Emulator) | 15 |
|  | Sensors/Transducers | 25 |
|  | Analog Telephone Set | 10 |
|  | Digital Telephone Set | 10 |
|  | Amplitude Modulation / Demodulation Trainer | 05 |
|  | Frequency Modulation Trainer | 05 |
|  | FM Demodulation Trainers | 05 |

Machines

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | Washing Machine | 10 |
|  | Dryer. | 10 |
|  | Juicer. | 10 |
|  | Grinder. | 10 |
|  | Sandwich Maker. | 10 |
|  | Toaster | 10 |
|  | Refrigerator. | 5 |
|  | Air Conditioner. | 5 |
|  | Exhaust Fan | 10 |
|  | Fan | 15 |
|  | AC/DC Supply Source | 5 |
|  | D.C. Power Supply Unit. | 5 |
|  | Variable Power Supply | 5 |
|  | Transformer. | 15 |
|  | Single Phase Transformers. | 2 |
|  | Three Phase Transformer. | 2 |
|  | Auto- Transformer | 2 |
|  | Center Tapped Transformer | 5 |
|  | Cathode-Ray Oscilloscope. | 3 |
|  | Oscillator/Signal Generator. | 10 |
|  | Function Generator. | 15 |
|  | Drill Machine With Different Drill Bits. | 5 |
|  | Pedestal Grinder | 2 |
|  | Spot Welding Machine (0.5 Mm MS Sheets) | 2 |
|  | Seam Welding Machine (0.5 Mm MS Sheet) | 2 |
|  | Welding Transformer Or Welding Rectifier | 2 |
|  | TIG/MIG Welding Plant | 2 |
|  | Flash Back Arrester | 2 |
|  | Spark Lighter | 2 |
|  | Back Fire Arrester, | 2 |
|  | Center Drill Machine | 5 |
|  | Grinding Machine | 5 |
|  | Shearing Machine | 5 |
|  | Lathe Machine | 5 |
|  | Universal Milling Machine | 5 |
|  | CNC Lathe Machine | 2 |
|  | CNC Milling Machine | 2 |
|  | Surface Grinder Machine | 5 |
|  | Computer | 25 |
|  | Printer. | 2 |
|  | Photo Copier | 1 |
|  | Scanner | 2 |
|  | Plotter | 1 |
|  | 3 Phase Motor | 2 |
|  | Universal Motor | 2 |
|  | DC Motors | 2 |
|  | 3 Phase Motor 2 Speed | 2 |
|  | Single Phase Induction Motor | 2 |
|  | Stepper Motor | 2 |
|  | 2 DC Machine Mechanically Coupled | 2 |
|  | Rewinding Machine | 2 |
|  | Single Phase Shaded Pole Motor | 2 |
|  | 3 Phase Special Purpose Motor | 2 |
|  | 3 Phase Wound Rotor Motors With Coupled Shafts | 2 |
|  | 3 Phase Synchronous Motor Coupled With DC Shunt Motor | 2 |
|  | Diesel Generator | 2 |
|  | Petrol Generator | 2 |
|  | Alternator | 2 |
|  | Simple Loop Generator | 10 |
|  | Variable DC Supply | 10 |
|  | Synchrony Transmitter & Receiver | 2 |
|  | Analog Telephone Set | 5 |
|  | Digital Telephone Set | 5 |
|  | Cordless Telephone | 5 |
|  | Signal Generator | 5 |
|  | Dish Receiver | 2 |
|  | Dish Antenna | 2 |
|  | TV Receiver | 2 |
|  | PBX | 2 |
|  | Crane | 1 |
|  | Flashlight | 5 |

Consumable

| S# | Description | Quantity |
| --- | --- | --- |
|  | Cables. | As required according to Practical |
|  | Wires. | As required according to Practical |
|  | Solder Wire. | As required according to Practical |
|  | Soldering Paste | As required according to Practical |
|  | PCB | As required according to Practical |
|  | Socket Of All Types | As required according to Practical |
|  | Switches Of All Types | As required according to Practical |
|  | Distribution Board (DB) | As required according to Practical |
|  | Miniature Circuit Breaker (MCB) | As required according to Practical |
|  | Molded Case Circuit Breaker (MCCB) | As required according to Practical |
|  | Residual Current Device (RCD) | As required according to Practical |
|  | Earth Leakage Circuit Breaker (ELCB) | As required according to Practical |
|  | Earth Plate. | As required according to Practical |
|  | PVC Pipe/Duct. | As required according to Practical |
|  | PVC Clamp. | As required according to Practical |
|  | Wooden/PVC Board. | As required according to Practical |
|  | PVC Wire According To Load | As required according to Practical |
|  | Screw | As required according to Practical |
|  | Single Pole And Two Pole Switch. | As required according to Practical |
|  | Bulb Holder | As required according to Practical |
|  | Bulb | As required according to Practical |
|  | Test Indicator | As required according to Practical |
|  | Capacitor. | As required according to Practical |
|  | Bearing | As required according to Practical |
|  | Duct Rod. | As required according to Practical |
|  | Gloves. | As required according to Practical |
|  | Wire. | As required according to Practical |
|  | Gas | As required according to Practical |
|  | Circuit Boards | As required according to Practical |
|  | Tube Light. | As required according to Practical |
|  | Tube Patti. | As required according to Practical |
|  | Chock. | As required according to Practical |
|  | Starter. | As required according to Practical |
|  | Sleeves | As required according to Practical |
|  | Series Board | As required according to Practical |
|  | Impulse Switch | As required according to Practical |
|  | Power Plug. | As required according to Practical |
|  | Three Pin Socket. | As required according to Practical |
|  | Three Pin Switch | As required according to Practical |
|  | Bell | As required according to Practical |
|  | Bell Button | As required according to Practical |
|  | Iron Nail As Core. | As required according to Practical |
|  | Thin Coated Copper Wire. | As required according to Practical |
|  | Current Carrying Conductor. | As required according to Practical |
|  | Capacitors Of Different Ratings | As required according to Practical |
|  | Bridging Plugs. | As required according to Practical |
|  | Connecting Leads. | As required according to Practical |
|  | Dry Cell Battery. | As required according to Practical |
|  | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | As required according to Practical |
|  | Resistor Of Different Ratings. | As required according to Practical |
|  | L.E.D (3 To 9 V) Optional. | As required according to Practical |
|  | Incandescent Lamp Of Different Watts. | As required according to Practical |
|  | Small Pieces Of Copper Wire. | As required according to Practical |
|  | Cotton Cloth | As required according to Practical |
|  | Lubricants | As required according to Practical |
|  | Brush | As required according to Practical |
|  | M.S Round Bar | As required according to Practical |
|  | Oxygen Cylinder, | As required according to Practical |
|  | Acetylene Gas Cylinder, | As required according to Practical |
|  | Rubber House Pipe, | As required according to Practical |
|  | Extension Leads | As required according to Practical |
|  | Electrode | As required according to Practical |
|  | Drawing Sheet, | As required according to Practical |
|  | Insulation Tape | As required according to Practical |
|  | Cables | As required according to Practical |
|  | Spark Plugs. | As required according to Practical |
|  | HT Leads | As required according to Practical |
|  | Graph And Drawing Sheet | As required according to Practical |
|  | Clutch Pencil | As required according to Practical |
|  | Calculation Sheet | As required according to Practical |
|  | Calculator | As required according to Practical |
|  | Psychometric Charts And Tables | As required according to Practical |
|  | Rust Removing Agents | As required according to Practical |
|  | Thermometer | As required according to Practical |
|  | MATLAB Software | As required according to Practical |
|  | P-Spice Software | As required according to Practical |
|  | PLC Software | As required according to Practical |
|  | Safety Signs | As required according to Practical |
|  | Hand Gloves. | As required according to Practical |
|  | Alkalis | As required according to Practical |
|  | Antidotes | As required according to Practical |
|  | Acids | As required according to Practical |
|  | Electroplate Solution. | As required according to Practical |
|  | Laboratory Dress | As required according to Practical |
|  | Cyanides | As required according to Practical |
|  | Hand Gloves | As required according to Practical |
|  | Brass Solution For Cyanide. | As required according to Practical |
|  | Different Colors For Plating | As required according to Practical |
|  | Electrodes. | As required according to Practical |
|  | Different Inductors | As required according to Practical |
|  | Different AC & DC Capacitors | As required according to Practical |
|  | Different Metals | As required according to Practical |
|  | 2 Pole Single Way Switch | As required according to Practical |
|  | 2 Pole 2 Way Switch | As required according to Practical |
|  | Transformer Oil | As required according to Practical |
|  | Transformer Oil Testing Set | As required according to Practical |
|  | Buffer | As required according to Practical |
|  | Electroplates | As required according to Practical |
|  | Centrifugal Switch | As required according to Practical |
|  | 3 Pole 2 Way Switch | As required according to Practical |
|  | Diode | As required according to Practical |
|  | Transistors | As required according to Practical |
|  | Bread Board | As required according to Practical |
|  | Data Sheets | As required according to Practical |
|  | Zener Diode | As required according to Practical |
|  | FET Transistor | As required according to Practical |
|  | MOSFET Transistor | As required according to Practical |
|  | UJT & BJT | As required according to Practical |
|  | SCR | As required according to Practical |
|  | Thyristor | As required according to Practical |
|  | DIAC | As required according to Practical |
|  | TRIAC | As required according to Practical |
|  | Op-Amplifier | As required according to Practical |
|  | AND Gate (7408 2-Input Quad) | As required according to Practical |
|  | OR Gate (7432 2-Input Quad) | As required according to Practical |
|  | NOT Gate (7404 Hex) | As required according to Practical |
|  | NAND Gate (7400 2-Input Quad) | As required according to Practical |
|  | NOR Gate (7402 2-Input Quad) | As required according to Practical |
|  | X-OR Gate (7486 2-Input Quad) | As required according to Practical |
|  | X-NOR Gate (74266 2-Input Quad) | As required according to Practical |
|  | Schottky Diodes | As required according to Practical |
|  | IC 7408 | As required according to Practical |
|  | Power Diodes | As required according to Practical |
|  | General Purpose Diode | As required according to Practical |
|  | Resistor Of 1to100 K Ohms | As required according to Practical |
|  | Power MOSFET IRF 840 | As required according to Practical |
|  | IC 7410 | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | DC Source 12V | As required according to Practical |
|  | IC 7404 | As required according to Practical |
|  | Controller IC | As required according to Practical |
|  | Firing Circuit | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | Psychometrics Chart | As required according to Practical |
|  | Data Loggers | As required according to Practical |
|  | HDMI CABLE | As required according to Practical |
|  | HMI Software For PLC | As required according to Practical |
|  | Change Over Switch | As required according to Practical |
|  | Wooden/Glass Rod | As required according to Practical |
|  | H2 SO4 | As required according to Practical |
|  | Different Glass Reflectors | As required according to Practical |
|  | Different Types Of Paints | As required according to Practical |
|  | HT & LT Conductors. | As required according to Practical |
|  | Fuses | As required according to Practical |
|  | RJ-11 Connectors | As required according to Practical |
|  | VGA Cable. | As required according to Practical |
|  | Coaxial Cable. | As required according to Practical |
|  | Nitric Acid | As required according to Practical |
|  | Copper Coated Sheet | As required according to Practical |
|  | DC Capacitors of Different Range. | As required according to Practical |

List of Stationary for 3 Years

| S# | Description | Quantity |
| --- | --- | --- |
|  | Handbooks | 25 |
|  | Design books | 25 |
|  | Pencils | 300 |
|  | Rubber | 300 |
|  | Sharpeners | 300 |
|  | Paper Cutter | 50 |
|  | Seizers | 25 |
|  | Colors | 15 each color (Read, Green, Yellow, Blue, white and Black) |
|  | White charts | 50 Nos. |
|  | Brown sheets | 100 Nos. |
|  | White board markers | 15 Dozen |
|  | Permanent markers | 3 Dozen |
|  | File cover and files | 50 Nos. |
|  | A4 Paper | 150 Ream |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace