| Abdul Basit Mansoor Dacum Facilitator Gujaranwala Usama Asim Instructor GCT Gujranwala Assad Ali Shah instructor Electrical ,GCT Swat Muhammad Ali Instructor Electrical GCT Gujranwala Irfan Ali Junior instructor electrical, GPI TAHT BHAI. Abdur Rahim Senior instructor electrical, VTI Noorpur kasur. Syed Fawwad Ashraf GM K-Electric Hashim khan Deputy Manager K-Electric Asad Butt AXEN WAPDA M. Amir khalid ME&P Engineer MIDJAC, Islamabad | Assessment Evidence Guide For Electrical Line Distribution Worker Level-4 Summative Assessment Activity-1 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Electrical Line Distribution Worker Level-4 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedure - Perform Measurements of Electrical Parameters - Interpret Distribution Network - Demonstrate Power System Fundamentals - Maintain Tools & Equipment - Install & Commissioning Utility Services - Install Distribution Equipment & Supporting Structure - Energize PMT - Perform Electrical Line Isolation - Install Overhead Distribution Lines - Implement Electrical Network Protection Measures - Perform Planning & Estimation |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 hrs. time frame (for practical demonstration & assessment): Activity-1: Install, connect, test, and energize a mock PMT assembly, including HT and LT terminations, supporting devices, busbars, earthing, protection checks, and final energization, while applying all mandatory workplace safety procedures. |
| --- | --- |
| Time: 05 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Select required PPEs - Conduct Risk Assessment - Isolate lines - Apply Ground & Short - Apply LOTO - Install Supporting Structure & Accessories - Install & Connect HT ABC / HT Bare Conductors - Install & Connect LT ABC / LT Bare Conductors - Install Busbar &Jumpers - Install Required Protection Components - Perform Earthing & Continuity Tests - Remove Line Isolation - Energize PMT (Simulated) - Conduct Final Checks - Perform Documentation & Reporting |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-1: install, connect, test, and energize a mock PMT assembly, including HT and LT terminations, supporting devices, busbars, earthing, protection checks, and final energization, while applying all mandatory workplace safety procedures. |
| --- | --- |

I can…

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select required PPEs |  |  |
| - Conduct Risk Assessment |  |  |
| - Isolate lines |  |  |
| - Apply Ground & Short |  |  |
| - Apply LOTO |  |  |
| - Install Supporting Structure & Accessories |  |  |
| - Install & Connect HT ABC / HT Bare Conductors |  |  |
| - Install & Connect LT ABC / LT Bare Conductors |  |  |
| - Install Busbar &Jumpers |  |  |
| - Install Required Protection Components |  |  |
| - Perform Earthing & Continuity Tests |  |  |
| - Remove Line Isolation |  |  |
| - Energize PMT (Simulated) |  |  |
| - Conduct Final Checks |  |  |
| - Perform Documentation & Reporting |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Electrical Line Distribution Worker Level-4 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedure - Perform Measurements of Electrical Parameters - Interpret Distribution Network - Demonstrate Power System Fundamentals - Maintain Tools & Equipment - Install & Commissioning Utility Services - Install Distribution Equipment & Supporting Structure - Energize PMT - Perform Electrical Line Isolation - Install Overhead Distribution Lines - Implement Electrical Network Protection Measures - Perform Planning & Estimation |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | ✔ |  |  |  |  |
| Knowledge Assessment |  | ✔ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-1: install, connect, test, and energize a mock PMT assembly, including HT and LT terminations, supporting devices, busbars, earthing, protection checks, and final energization, while applying all mandatory workplace safety procedures. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected required PPEs |  |  |  |  |  |
|  | Conducted Risk Assessment |  |  |  |  |  |
|  | Isolated lines |  |  |  |  |  |
|  | Applied Ground & Short |  |  |  |  |  |
|  | Applied LOTO |  |  |  |  |  |
|  | Installed Supporting Structure & Accessories |  |  |  |  |  |
|  | Installed & Connected HT ABC / HT Bare Conductors |  |  |  |  |  |
|  | Installed & Connected LT ABC / LT Bare Conductors |  |  |  |  |  |
|  | Installed Busbar &Jumpers |  |  |  |  |  |
|  | Installed Required Protection Components |  |  |  |  |  |
|  | Performed Earthing & Continuity Tests |  |  |  |  |  |
|  | Removed Line Isolation |  |  |  |  |  |
|  | Energized PMT (Simulated) |  |  |  |  |  |
|  | Conducted Final Checks |  |  |  |  |  |
|  | Performed Documentation & Reporting |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of applying LOTO before working on a PMT? |  |  |
|  | Why do we check for “absence of voltage” before starting HT or LT work? |  |  |
|  | What PPE is mandatory when working on HT terminations? |  |  |
|  | What is the function of a DO (Drop-Out) fuse in a PMT? |  |  |
|  | Why is correct phase identification (RYB) important during LT connections? |  |  |
|  | What is the purpose of installing a busbar in the PMT assembly? |  |  |
|  | Why is earthing important for a transformer tank and LT distribution box? |  |  |
|  | How do you check that an earthing system has proper continuity? |  |  |
|  | What instrument is used to measure earth resistance? |  |  |
|  | What is the correct sequence for energizing a PMT? (HT → LT or LT → HT?) |  |  |
|  | Why do we inspect HT and LT leads before connecting them to the bushings? |  |  |
|  | What is the main reason for tightening all electrical joints properly? |  |  |
|  | What safety sign or barrier must be placed while energizing PMT? |  |  |
|  | What should be recorded in the PMT commissioning sheet after energization? |  |  |
|  | Why is a final load check important after energizing the PMT? |  |  |
|  | What is the purpose of applying LOTO before working on a PMT? |  |  |
|  | Why do we check for “absence of voltage” before starting HT or LT work? |  |  |
|  | What PPE is mandatory when working on HT terminations? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________