| Abdul Basit Mansoor Dacum Facilitator Gujaranwala Usama Asim Instructor GCT Gujranwala Assad Ali Shah instructor Electrical ,GCT Swat Muhammad Ali Instructor Electrical GCT Gujranwala Irfan Ali Junior instructor electrical, GPI TAHT BHAI. Abdur Rahim Senior instructor electrical, VTI Noorpur kasur. Syed Fawwad Ashraf GM K-Electric Hashim khan Deputy Manager K-Electric Asad Butt AXEN WAPDA M. Amir khalid ME&P Engineer MIDJAC, Islamabad | Assessment Evidence Guide For Electrical Line Distribution Worker Level-4 Summative Assessment Activity-2 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Electrical Line Distribution Worker Level-4 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedure - Perform Measurements of Electrical Parameters - Interpret Distribution Network - Demonstrate Power System Fundamentals - Maintain Tools & Equipment - Install & Commissioning Utility Services - Install Distribution Equipment & Supporting Structure - Energize PMT - Perform Electrical Line Isolation - Install Overhead Distribution Lines - Implement Electrical Network Protection Measures - Perform Planning & Estimation |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 hrs. time frame (for practical demonstration & assessment): Activity-2: Install, Joint, Test, and Energize a 3-Phase HT and LT Distribution Line (Mock Setup) |
| --- | --- |
| Time: 05 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Select required PPEs - Conduct Risk Assessment - Isolate lines - Apply Ground & Short - Apply LOTO - Install Supporting Structure & Accessories for HT and LT Lines - Install & Route HT & LT Conductors - Perform HT & LT Jointing & Termination - Install and Check HT & LT Protection - Remove Line Isolation - Perform Continuity & Voltage Testing - Energize lines - Conduct Final Checks - Perform Documentation & Reporting |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-2: Install, Joint, Test, and Energize a 3-Phase HT & LT Distribution Line (Mock Setup) |
| --- | --- |

I can…

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select required PPEs |  |  |
| - Conduct Risk Assessment |  |  |
| - Isolate lines |  |  |
| - Apply Ground & Short |  |  |
| - Apply LOTO |  |  |
| - Install Supporting Structure & Accessories for HT and LT Lines |  |  |
| - Install & Route HT & LT Conductors |  |  |
| - Perform HT & LT Jointing & Termination |  |  |
| - Install and Check HT & LT Protection |  |  |
| - Remove Line Isolation |  |  |
| - Perform Continuity & Voltage Testing |  |  |
| - Energize lines |  |  |
| - Conduct Final Checks |  |  |
| - Perform Documentation & Reporting |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Electrical Line Distribution Worker Level-4 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedure - Perform Measurements of Electrical Parameters - Interpret Distribution Network - Demonstrate Power System Fundamentals - Maintain Tools & Equipment - Install & Commissioning Utility Services - Install Distribution Equipment & Supporting Structure - Energize PMT - Perform Electrical Line Isolation - Install Overhead Distribution Lines - Implement Electrical Network Protection Measures - Perform Planning & Estimation |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | ✔ |  |  |  |  |
| Knowledge Assessment |  | ✔ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-2: Install, Joint, Test, and Energize a 3-Phase HT & LT Distribution Line (Mock Setup) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected required PPEs |  |  |  |  |  |
|  | Conducted Risk Assessment |  |  |  |  |  |
|  | Isolated lines |  |  |  |  |  |
|  | Appled Ground & Short |  |  |  |  |  |
|  | Applied LOTO |  |  |  |  |  |
|  | Installed Supporting Structure & Accessories for HT and LT Lines |  |  |  |  |  |
|  | Installed & Routed HT & LT Conductors |  |  |  |  |  |
|  | Performed HT & LT Jointing & Termination |  |  |  |  |  |
|  | Installed and Checked HT & LT Protection |  |  |  |  |  |
|  | Removed Line Isolation |  |  |  |  |  |
|  | Performed Continuity & Voltage Testing |  |  |  |  |  |
|  | Energized lines |  |  |  |  |  |
|  | Conducted Final Checks |  |  |  |  |  |
|  | Performed Documentation & Reporting |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the main purpose of maintaining correct sag in an LT overhead line? |  |  |
|  | Which clamp is commonly used for jointing LT bare conductors? |  |  |
|  | Which conductor is normally pulled first when installing an LT line? |  |  |
|  | What is the main reason for keeping correct phase sequence (R-Y-B) during LT termination? |  |  |
|  | What tool is used to maintain mechanical tension while pulling LT conductors? |  |  |
|  | What would you first do before terminating the LT Distribution Box? |  |  |
|  | Which protective device is typically installed on the LT side? |  |  |
|  | How should the PG clamp be tightened during the LT joint? |  |  |
|  | Which instrument is used to check continuity of an LT conductor before energization |  |  |
|  | Why must the neutral conductor be properly connected and tightened? |  |  |
|  | What is the primary safety precaution before starting LT line installation work? |  |  |
|  | What is the purpose of a stay/strut in LT line installation? |  |  |
|  | What should be done if the LT breaker trips immediately after energizing the line? |  |  |
|  | Why is proper tightening of LT terminations important? |  |  |
|  | When energizing an LT line, what is the correct sequence? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________