|  | Assessment Evidence Guide For Energy Optimization (Assistant Supervisor) Level-4 Summative Assessment Activity-2 |
| --- | --- |
|  | Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Energy Optimization (Assistant Supervisor) Level-4 |
| --- | --- |
| Competency Standards | - Maintain Follow Occupational Health & Safety - Apply Concepts of Energy Optimization - Adopt Energy Efficiency Conservation Strategies - Optimize Renewable Energy System - Install Smart Home Technologies - Set-up Energy Efficient System - Integrate IoT Devices for Enhanced Energy Optimization in System Management - Carry-out Energy Optimization using PLC - Perform Troubleshooting and Problem Solving for Energy Optimization - Conduct Energy Audit - Plan for Project Management - Develop Entrepreneurship / Business |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): To meet this assessment, you are required to complete the following within 00 Hrs. time frame (for practical demonstration & assessment): Scenario: A University is facing high electricity bills and inefficient energy use in its Engineering Laboratory building. The Dean has assigned the final-year energy systems team to conduct a complete energy assessment and retrofit proposal. You are part of an interdisciplinary team tasked with Activity1: Setup lighting plan to reduce the energy consumption of a classroom /laboratory. Compare the retrofitted plan with traditional. Perform Load Flow Analysis Using Electrical Simulation Software, also Perform cost analysis and financial modeling of assigned renewable energy system (solar or wind). |
| --- | --- |
| Time: 04Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Follow health, safety, and environmental procedures according to OHS standards. - Interpret the smart solar and IoT-integrated system installation against design specifications. - Inspect solar panels and mounting structures for correct installation and alignment. - Inspect wiring and connections for safety, proper insulation, and compliance with design. - Verify correct installation and operation of IoT sensors and control devices. - Check inverter and power management components for proper function. - Confirm proper integration of the solar system with the building’s electrical network. - Test the IoT system’s ability to collect and transmit real-time energy data. - Configure devices and automation settings to optimize energy efficiency. - Measure system performance parameters (energy generation, consumption, and efficiency). - Monitor the operation of all control and safety devices. - Test system response to different loads and conditions. - Record all installation and test data accurately in the commissioning log. - Confirm that energy optimization goals are achieved according to design. - Demonstrate that the system operates safely, efficiently, and reliably. |

(Bold Statements in the above performance Criteria are critical)

Section A2: Self-Assessment Checklist

| Assessment Task | Activity 1: Setup lighting plan to reduce the energy consumption of a classroom /laboratory. Compare the retrofitted plan with traditional. Perform Load Flow Analysis Using Electrical Simulation Software, also Perform cost analysis and financial modeling of assigned renewable energy system (solar or wind). |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow health, safety, and environmental procedures according to OHS standards. |  |  |
| - Interpret the smart solar and IoT-integrated system installation against design specifications. |  |  |
| - Inspect solar panels and mounting structures for correct installation and alignment. |  |  |
| - Inspect wiring and connections for safety, proper insulation, and compliance with design. |  |  |
| - Verify correct installation and operation of IoT sensors and control devices. |  |  |
| - Check inverter and power management components for proper function. |  |  |
| - Confirm proper integration of the solar system with the building’s electrical network. |  |  |
| - Test the IoT system’s ability to collect and transmit real-time energy data. |  |  |
| - Configure devices and automation settings to optimize energy efficiency. |  |  |
| - Measure system performance parameters (energy generation, consumption, and efficiency). |  |  |
| - Monitor the operation of all control and safety devices. |  |  |
| - Test system response to different loads and conditions. |  |  |
| - Confirm that energy optimization goals are achieved according to design. |  |  |
| - Demonstrate that the system operates safely, efficiently, and reliably. |  |  |

(Bold Statements in the above performance Criteria are critical)

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Energy Optimization (Assistant Supervisor) Level-4 |
| --- | --- |
| Competency Standards | - Maintain Follow Occupational Health & Safety - Apply Concepts of Energy Optimization - Adopt Energy Efficiency Conservation Strategies - Optimize Renewable Energy System - Install Smart Home Technologies - Set-up Energy Efficient System - Integrate IoT Devices for Enhanced Energy Optimization in System Management - Carry-out Energy Optimization using PLC - Perform Troubleshooting and Problem Solving for Energy Optimization - Conduct Energy Audit - Plan for Project Management - Develop Entrepreneurship / Business |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1: You are required to install a smart solar energy system integrated with IoT devices. You must ensure the system is optimized for energy savings and complies with Occupational Health & Safety (OHS) standards. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow health, safety, and environmental procedures according to OHS standards. |  |  |  |  |  |
|  | Interpret the smart solar and IoT-integrated system installation against design specifications. |  |  |  |  |  |
|  | Inspect solar panels and mounting structures for correct installation and alignment. |  |  |  |  |  |
|  | Inspect wiring and connections for safety, proper insulation, and compliance with design. |  |  |  |  |  |
|  | Verify correct installation and operation of IoT sensors and control devices. |  |  |  |  |  |
|  | Check inverter and power management components for proper function. |  |  |  |  |  |
|  | Confirm proper integration of the solar system with the building’s electrical network. |  |  |  |  |  |
|  | Test the IoT system’s ability to collect and transmit real-time energy data. |  |  |  |  |  |
|  | Configure devices and automation settings to optimize energy efficiency. |  |  |  |  |  |
|  | Measure system performance parameters (energy generation, consumption, and efficiency). |  |  |  |  |  |
|  | Monitor the operation of all control and safety devices. |  |  |  |  |  |
|  | Test system response to different loads and conditions. |  |  |  |  |  |
|  | Confirm that energy optimization goals are achieved according to design. |  |  |  |  |  |
|  | Demonstrate that the system operates safely, efficiently, and reliably. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

(Bold Statements in the above performance Criteria are critical)

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | List any three key practices to ensure safety while working with energy systems? |  |  |
| 2 | Name two common tools or software used during an energy audit and briefly states their purpose? |  |  |
| 3 | Mention two benefits of integrating IoT devices in energy system management? |  |  |
| 4 | Write two examples of renewable energy systems and state one method to optimize their performance? |  |  |
| 5 | List any three features of smart home technologies that help in reducing energy consumption? |  |  |
| 6 | What does a smart thermostat do in a smart home system? |  |  |
| 7 | Mention one key difference between a project plan and a business plan? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________