| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R41. Operate Tools, Instruments and Equipment) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R41. Operate Tools Instruments, and Equipment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Operate hand and power tools 2. Operate electrical measuring instruments 3. Operate pressure gauges and manifolds 4. Operate vacuum pumps and recovery units 5. Calibrate instruments Activity: Operate Tools and Equipment. as per SOP through Operating hand and power tools, operating electrical measuring instruments, Operating pressure gauges and manifolds, Operate vacuum pumps and recovery units and Calibration of instruments |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Select, set up, and use appropriate tools, gauges, and equipment following standard procedures. - Check, calibrate, and verify the condition and accuracy of tools and instruments before use. - Handle, connect, and operate instruments and gauges safely using correct techniques. - Take accurate readings at proper intervals and record data clearly. - Interpret test results correctly and report any faulty or unsafe instruments. - Maintain tools and equipment by cleaning, storing properly, and updating calibration records/stickers. - Monitor operations for stability, check connections for leaks, and log all activities as required. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - Operate Tools and Equipment. as per SOP through Operating hand and power tools, operating electrical measuring instruments, Operating pressure gauges and manifolds, Operate vacuum pumps and recovery units and Calibration of instruments |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select, set up, and use appropriate tools, gauges, and equipment following standard procedures. |  |  |
| - Check, calibrate, and verify the condition and accuracy of tools and instruments before use. |  |  |
| - Handle, connect, and operate instruments and gauges safely using correct techniques. |  |  |
| - Take accurate readings at proper intervals and record data clearly. |  |  |
| - Interpret test results correctly and report any faulty or unsafe instruments. |  |  |
| - Maintain tools and equipment by cleaning, storing properly, and updating calibration records/stickers. |  |  |
| - Monitor operations for stability, check connections for leaks, and log all activities as required. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R41. Operate Tools, Instruments and Equipment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Operate Tools and Equipment. as per SOP through Operating hand and power tools, operating electrical measuring instruments, Operating pressure gauges and manifolds, Operate vacuum pumps and recovery units and Calibration of instruments |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select, set up, and use appropriate tools, gauges, and equipment following standard procedures. |  |  |  |  |  |
|  | Check, calibrate, and verify the condition and accuracy of tools and instruments before use. |  |  |  |  |  |
|  | Handle, connect, and operate instruments and gauges safely using correct techniques. |  |  |  |  |  |
|  | Take accurate readings at proper intervals and record data clearly. |  |  |  |  |  |
|  | Interpret test results correctly and report any faulty or unsafe instruments. |  |  |  |  |  |
|  | Maintain tools and equipment by cleaning, storing properly, and updating calibration records/stickers. |  |  |  |  |  |
|  | Monitor operations for stability, check connections for leaks, and log all activities as required. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Name any five hand tools used in HVACR maintenance and their specific function. |  |  |
| 2 | Identify three signs that a tool is damaged or unsafe. |  |  |
| 3 | List four safety procedures for using power tools. |  |  |
| 4 | State the steps for routine cleaning of HVACR tools. |  |  |
| 5 | Give two methods for proper storage of tools to prevent damage. |  |  |
| 6 | State the importance of calibrating HVACR instruments regularly. |  |  |
| 7 | List four safety precautions during electrical measurements. |  |  |
| 8 | State the correct method to take a reading using a multimeter. |  |  |
| 9 | Interpret steps to connect a pressure gauge to a refrigeration system. |  |  |
| 10 | Name two techniques to ensure stable and efficient pumping during system operation. |  |  |
| 11 | State how to verify the accuracy of a gauge. |  |  |
| 12 | Give three techniques to handle and store sensitive gauges safely. |  |  |
| 13 | Identify methods to detect leakage in a refrigeration system. |  |  |
| 14 | List two routine maintenance tasks for HVACR equipment. |  |  |
| 15 | Identify two indicators that a pump or system is operating unstably. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________