| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R410. Install and Service Ventilation Systems) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R410. Install and Service Ventilation Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Install Fan and blower 2. Service air handling unit 3. Clean ductwork system 4. Install Exhaust system 5. Repair defective ventilation components Activity: Install and service ventilation system as per SOP through Installation of Fan and blower, Servicing air handling unit, cleaning ductwork system, installing Exhaust system and repairing defective ventilation components |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: - Select Correct fan type. - Align and mount Fans securely. - Connect Electrical wiring properly. - Fit Vibration isolators. - Verify Fan performance. - Clean or replace Filters. - Wash Coils with approved chemicals. - Check Drain pans for clogging. - Inspect Motors and belts. - Keep Balance Airflow. - Open Access panels safely. - Remove Dust and debris thoroughly. - Brush HEPA vacuums. - Inspect Duct insulation. - Keep record for Cleaning. - Position Exhaust fans as per design. - Route Ducting with minimal bends. - Install Dampers where required. - Take measures to control Noise. - Verify Exhaust performance. - Identify Faulty motors or impellers. - Replace Bearings as required. - Rectify Electrical faults. - Rebalance System after repair. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Install and service ventilation system as per SOP through Installation of Fan and blower, Servicing air handling unit, cleaning ductwork system, installing Exhaust system and repairing defective ventilation components |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select Correct fan type. |  |  |
| - Align and mount Fans securely. |  |  |
| - Connect Electrical wiring properly. |  |  |
| - Fit Vibration isolators. |  |  |
| - Verify Fan performance. |  |  |
| - Clean or replace Filters. |  |  |
| - Wash Coils with approved chemicals. |  |  |
| - Check Drain pans for clogging. |  |  |
| - Inspect Motors and belts. |  |  |
| - Keep Balance Airflow. |  |  |
| - Open Access panels safely. |  |  |
| - Remove Dust and debris thoroughly. |  |  |
| - Brush HEPA vacuums. |  |  |
| - Inspect Duct insulation. |  |  |
| - Keep record for Cleaning. |  |  |
| - Position Exhaust fans as per design. |  |  |
| - Route Ducting with minimal bends. |  |  |
| - Install Dampers where required. |  |  |
| - Take measures to control Noise. |  |  |
| - Verify Exhaust performance. |  |  |
| - Identify Faulty motors or impellers. |  |  |
| - Replace Bearings as required. |  |  |
| - Rectify Electrical faults. |  |  |
| - Rebalance System after repair. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B: Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R410. Install and Service Ventilation Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Install and service ventilation system as per SOP through Installation of Fan and blower, Servicing air handling unit, cleaning ductwork system, installing Exhaust system and repairing defective ventilation components |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select Correct fan type. |  |  |  |  |  |
|  | Align and mount Fans securely. |  |  |  |  |  |
|  | Connect Electrical wiring properly. |  |  |  |  |  |
|  | Fit Vibration isolators. |  |  |  |  |  |
|  | Verify Fan performance. |  |  |  |  |  |
|  | Clean or replace Filters. |  |  |  |  |  |
|  | Wash Coils with approved chemicals. |  |  |  |  |  |
|  | Check Drain pans for clogging. |  |  |  |  |  |
|  | Inspect Motors and belts. |  |  |  |  |  |
|  | Keep Balance Airflow. |  |  |  |  |  |
|  | Open Access panels safely. |  |  |  |  |  |
|  | Remove Dust and debris thoroughly. |  |  |  |  |  |
|  | Brush HEPA vacuums. |  |  |  |  |  |
|  | Inspect Duct insulation. |  |  |  |  |  |
|  | Keep record for Cleaning. |  |  |  |  |  |
|  | Position Exhaust fans as per design. |  |  |  |  |  |
|  | Route Ducting with minimal bends. |  |  |  |  |  |
|  | Install Dampers where required. |  |  |  |  |  |
|  | Take measures to control Noise. |  |  |  |  |  |
|  | Verify Exhaust performance. |  |  |  |  |  |
|  | Identify Faulty motors or impellers. |  |  |  |  |  |
|  | Replace Bearings as required. |  |  |  |  |  |
|  | Rectify Electrical faults. |  |  |  |  |  |
|  | Rebalance System after repair. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the main purpose of a fan in a ventilation system? |  |  |
|  | Name one tool used when installing a blower. |  |  |
|  | What part of an AHU is responsible for filtering air? |  |  |
|  | Why is it important to clean ductwork? |  |  |
|  | What instrument measures airflow? |  |  |
|  | State one sign of a faulty exhaust fan. |  |  |
|  | What is used to seal duct joints? |  |  |
|  | Name one component inside an air handling unit. |  |  |
|  | What causes a blower to produce noise? |  |  |
|  | Why should an AHU filter be replaced regularly? |  |  |
|  | What is the function of a damper in an exhaust system? |  |  |
|  | What should be checked before repairing a ventilation motor? |  |  |
|  | Mention one method used to clean ducts. |  |  |
|  | What fault can occur if the fan belt is loose? |  |  |
|  | Why is proper alignment important when installing a fan? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________