| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R42. Install Industrial HVACR Systems) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R42. Install Industrial HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Interpret installation drawings and specifications 2. Assemble HVACR components 3. Install ducting systems 4. Install HVACR Piping 5. Connect electrical wiring and controls Activity: Install Industrial HVACR Systems. as per SOP through Interpreting installation drawings with Specifications, Assembling HVACR components, installing ducting/Piping systems, and connecting electrical wiring and controls |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Interpret Drawings, blueprints, layout and requirements. - Check Specifications against project scope and client needs - Assemble Components according to manufacturer’s guidelines. - Check Alignment and positioning before fastening. - Install Correct fittings and connectors. - Follow Safety procedures during assembly - Cut and joint Ducts without leaks - Seal and test brazed Joints properly for leak. - Select Correct wire gauges and circuit protection - Complete Control wiring and earthing properly - Test Electrical connections for continuity |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - Install Industrial HVACR Systems. as per SOP through Interpreting installation drawings with Specifications, Assembling HVACR components, installing ducting/Piping systems, and connecting electrical wiring and controls |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Interpret Drawings, blueprints, layout and requirements. |  |  |
| - Check Specifications against project scope and client needs |  |  |
| - Assemble Components according to manufacturer’s guidelines. |  |  |
| - Check Alignment and positioning before fastening. |  |  |
| - Install Correct fittings and connectors. |  |  |
| - Follow Safety procedures during assembly |  |  |
| - Cut and joint Ducts without leaks |  |  |
| - Seal and test brazed Joints properly for leak. |  |  |
| - Select Correct wire gauges and circuit protection |  |  |
| - Complete Control wiring and earthing properly |  |  |
| - Test Electrical connections for continuity |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R42. Install Industrial HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Install Industrial HVACR Systems. as per SOP through Interpreting installation drawings with Specifications, Assembling HVACR components, installing ducting/Piping systems, and connecting electrical wiring and controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Interpret Drawings, blueprints, layout and requirements. |  |  |  |  |  |
|  | Check Specifications against project scope and client needs |  |  |  |  |  |
|  | Assemble Components according to manufacturer’s guidelines. |  |  |  |  |  |
|  | Check Alignment and positioning before fastening. |  |  |  |  |  |
|  | Install Correct fittings and connectors. |  |  |  |  |  |
|  | Follow Safety procedures during assembly |  |  |  |  |  |
|  | Cut and joint Ducts without leaks |  |  |  |  |  |
|  | Seal and test brazed Joints properly for leak. |  |  |  |  |  |
|  | Select Correct wire gauges and circuit protection |  |  |  |  |  |
|  | Complete Control wiring and earthing properly |  |  |  |  |  |
|  | Test Electrical connections for continuity |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the purpose of using standardized symbols on HVACR drawings and how they support installation work. |  |  |
|  | Clarify how scale and dimensions assist a technician during layout and measurement on drawings. |  |  |
|  | State the role of drawing views and layouts in understanding component placement and routing. |  |  |
|  | Identify the key requirements of construction-drawing standards that must be followed before installation. |  |  |
|  | Present the main function of essential HVACR components such as compressors, condensers and evaporators. |  |  |
|  | Outline the basic safety steps followed during the handling and assembly of HVACR parts. |  |  |
|  | Summarize the standard sequence followed during assembly operations from preparation to completion. |  |  |
|  | Provide the major considerations needed to ensure correct installation of HVACR components. |  |  |
|  | Indicate the effects that result from incorrect alignment, fastening or assembly of HVACR units. |  |  |
|  | Describe the purpose of ducting and the major factors that influence proper duct layout. |  |  |
|  | Present the importance of accuracy in duct layout for airflow and energy efficiency. |  |  |
|  | List the key tools and equipment used for duct fabrication and installation along with their main purpose. |  |  |
|  | State the function of supports and hangers in ducting and how correct installation ensures system stability. |  |  |
|  | Outline the basic leak-testing technique used for duct systems and its significance for system performance. |  |  |
|  | Describe the major types of insulation used in HVACR work and the important points for proper installation. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________