| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R43. Maintain and Service HVACR Systems) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R43. Maintain and Service HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Perform routine inspection of systems 2. Clean and replace air filters 3. Service HVACR units 4. Lubricate moving parts 5. Test safety and control devices Activity: Maintain and Servicing HVACR Systems as per SOP through Performing routine inspection of systems, Cleaning and replacing air filters, Servicing HVACR units, lubricating moving parts, Testing safety and control devices, |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: - Check and tighten all nuts and bolts. - Record temperature and pressure readings. - Restore system performance to optimal levels. - Select lubricants according to standards. - Lubricate bearings, shafts, and bushes. - Remove excess lubricant to prevent damage. - Check system operation after lubrication. - Update maintenance log after completion. - Adjust pressure and temperature devices. - Test safety ranges (cut-in and cut-out) for required load. - Adjust sensors according to standards. - Replace faulty control components |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Maintain and Servicing HVACR Systems as per SOP through Performing routine inspection of systems, Cleaning and replacing air filters, Servicing HVACR units, lubricating moving parts, Testing safety and control devices, |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check and tighten all nuts and bolts. |  |  |
| - Record temperature and pressure readings. |  |  |
| - Restore system performance to optimal levels. |  |  |
| - Select lubricants according to standards. |  |  |
| - Lubricate bearings, shafts, and bushes. |  |  |
| - Remove excess lubricant to prevent damage. |  |  |
| - Check system operation after lubrication. |  |  |
| - Update maintenance log after completion. |  |  |
| - Adjust pressure and temperature devices. |  |  |
| - Test safety ranges (cut-in and cut-out) for required load. |  |  |
| - Adjust sensors according to standards. |  |  |
| - Replace faulty control components |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R43. Maintain and Service HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Maintain and Servicing HVACR Systems as per SOP through Performing routine inspection of systems, Cleaning and replacing air filters, Servicing HVACR units, lubricating moving parts, Testing safety and control devices, |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check and tighten all nuts and bolts. |  |  |  |  |  |
|  | Record temperature and pressure readings. |  |  |  |  |  |
|  | Restore system performance to optimal levels. |  |  |  |  |  |
|  | Select lubricants according to standards. |  |  |  |  |  |
|  | Lubricate bearings, shafts, and bushes. |  |  |  |  |  |
|  | Remove excess lubricant to prevent damage. |  |  |  |  |  |
|  | Check system operation after lubrication. |  |  |  |  |  |
|  | Update maintenance log after completion. |  |  |  |  |  |
|  | Adjust pressure and temperature devices. |  |  |  |  |  |
|  | Test safety ranges (cut-in and cut-out) for required load. |  |  |  |  |  |
|  | Adjust sensors according to standards. |  |  |  |  |  |
|  | Replace faulty control components |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the first step in inspecting an HVACR system? |  |  |
|  | Name one key component to check during system inspection? |  |  |
|  | How often should routine inspections be performed? |  |  |
|  | Why is it important to clean or replace air filters? |  |  |
|  | How can you identify a clogged air filter? |  |  |
|  | What tool is commonly used to remove filters safely? |  |  |
|  | What is the purpose of servicing HVACR units? |  |  |
|  | Name one common maintenance activity during HVACR servicing? |  |  |
|  | How frequently should HVACR units be serviced? |  |  |
|  | Why is lubrication necessary for moving parts? |  |  |
|  | Which parts of an HVACR system usually require lubrication? |  |  |
|  | What type of lubricant is suitable for HVACR components? |  |  |
|  | Name one safety device that should be tested in HVACR systems? |  |  |
|  | How do you check if a control device is functioning properly? |  |  |
|  | Why is it important to regularly test safety devices? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________