| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R44. Diagnose and Repair Faults) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R44. Diagnose and Repair Faults |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Identify refrigeration system faults 2. Repair electrical faults. 3. Rectify air distribution issues. 4. Replace defective compressors. 5. Repair leaks in HVACR system. 6. Restore system after repair Activity: Diagnose and Repair Faults, as per SOP through identifying refrigeration system faults, repairing electrical faults, rectifying air distribution issues, replacing defective compressors, repairing leaks in HVACR system and restoring system after repair. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: - Match Fault symptoms with system behavior. - Compare Pressure and temperature readings with standards. - Detect Leak with correct tools. - Carried out Fault diagnosis systematically. - Prepare Accurate fault report. - Trace Faulty wiring with testing instruments. - Identify Defective switches, relays, or contactors. - Replace Faulty parts with correct ratings. - Follow Safety lockout procedures. - Retest System for proper operation - Take Airflow measurements at outlets. - Identify Blockages or leaks in ducting. - Adjust Dampers and diffusers correctly. - Check alignment of Fans and blowers. - Balance Air distribution as per design - Disconnect Faulty compressor safely. - Select Correct replacement unit. - Recover and stored Refrigerant safely. - Install and connect new compressor. - Test System for correct operation - Arrange tools and equipment - Detect leak in HVACR system - Repair leak in HVACR system - Test leaks in HVACR system - Evacuate and charge refrigerant in HVACR system - Conduct performance test - Recharge System with refrigerant. - Check Oil and lubrication levels. - Perform Test run for stable operation. - Record and compare Parameters with standards. - Submit Final report to supervisor. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Diagnose and Repair Faults, as per SOP through identifying refrigeration system faults, repairing electrical faults, rectifying air distribution issues, replacing defective compressors, repairing leaks in HVACR system and restoring system after repair. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Match Fault symptoms with system behavior. |  |  |
| - Compare Pressure and temperature readings with standards. |  |  |
| - Detect Leak with correct tools. |  |  |
| - Carried out Fault diagnosis systematically. |  |  |
| - Prepare Accurate fault report. |  |  |
| - Trace Faulty wiring with testing instruments. |  |  |
| - Identify Defective switches, relays, or contactors. |  |  |
| - Replace Faulty parts with correct ratings. |  |  |
| - Follow Safety lockout procedures. |  |  |
| - Retest System for proper operation |  |  |
| - Take Airflow measurements at outlets. |  |  |
| - Identify Blockages or leaks in ducting. |  |  |
| - Adjust Dampers and diffusers correctly. |  |  |
| - Check alignment of Fans and blowers. |  |  |
| - Balance Air distribution as per design |  |  |
| - Disconnect Faulty compressor safely. |  |  |
| - Select Correct replacement unit. |  |  |
| - Recover and stored Refrigerant safely. |  |  |
| - Install and connect new compressor. |  |  |
| - Test System for correct operation |  |  |
| - Arrange tools and equipment |  |  |
| - Detect leak in HVACR system |  |  |
| - Repair leak in HVACR system |  |  |
| - Test leaks in HVACR system |  |  |
| - Evacuate and charge refrigerant in HVACR system |  |  |
| - Conduct performance test |  |  |
| - Recharge System with refrigerant. |  |  |
| - Check Oil and lubrication levels. |  |  |
| - Perform Test run for stable operation. |  |  |
| - Record and compare Parameters with standards. |  |  |
| - Submit Final report to supervisor. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R44. Diagnose and Repair Faults |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Diagnose and Repair Faults, as per SOP through identifying refrigeration system faults, repairing electrical faults, rectifying air distribution issues, replacing defective compressors, repairing leaks in HVACR system and restoring system after repair. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Match Fault symptoms with system behavior. |  |  |  |  |  |
|  | Compare Pressure and temperature readings with standards. |  |  |  |  |  |
|  | Detect Leak with correct tools. |  |  |  |  |  |
|  | Carried out Fault diagnosis systematically. |  |  |  |  |  |
|  | Prepare Accurate fault report. |  |  |  |  |  |
|  | Trace Faulty wiring with testing instruments. |  |  |  |  |  |
|  | Identify Defective switches, relays, or contactors. |  |  |  |  |  |
|  | Replace Faulty parts with correct ratings. |  |  |  |  |  |
|  | Follow Safety lockout procedures. |  |  |  |  |  |
|  | Retest System for proper operation |  |  |  |  |  |
|  | Take Airflow measurements at outlets. |  |  |  |  |  |
|  | Identify Blockages or leaks in ducting. |  |  |  |  |  |
|  | Adjust Dampers and diffusers correctly. |  |  |  |  |  |
|  | Check alignment of Fans and blowers. |  |  |  |  |  |
|  | Balance Air distribution as per design |  |  |  |  |  |
|  | Disconnect Faulty compressor safely. |  |  |  |  |  |
|  | Select Correct replacement unit. |  |  |  |  |  |
|  | Recover and stored Refrigerant safely. |  |  |  |  |  |
|  | Install and connect new compressor. |  |  |  |  |  |
|  | Test System for correct operation |  |  |  |  |  |
|  | Arrange tools and equipment |  |  |  |  |  |
|  | Detect leak in HVACR system |  |  |  |  |  |
|  | Repair leak in HVACR system |  |  |  |  |  |
|  | Test leaks in HVACR system |  |  |  |  |  |
|  | Evacuate and charge refrigerant in HVACR system |  |  |  |  |  |
|  | Conduct performance test |  |  |  |  |  |
|  | Recharge System with refrigerant. |  |  |  |  |  |
|  | Check Oil and lubrication levels. |  |  |  |  |  |
|  | Perform Test run for stable operation. |  |  |  |  |  |
|  | Record and compare Parameters with standards. |  |  |  |  |  |
|  | Submit Final report to supervisor. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is one common sign of low refrigerant in a refrigeration system? |  |  |
|  | Why does ice form on the evaporator coil? |  |  |
|  | What does high discharge pressure usually indicate? |  |  |
|  | Why is it important to check for loose electrical connections? |  |  |
|  | What tool is used to measure voltage in HVAC systems? |  |  |
|  | What is one cause of a blown fuse in an HVAC unit? |  |  |
|  | Why does a blocked air filter reduce system efficiency? |  |  |
|  | What is one reason for uneven cooling in rooms? |  |  |
|  | How does a disconnected duct affect air distribution? |  |  |
|  | Why must the system be pumped down before replacing a compressor? |  |  |
|  | What does a “grounded compressor” mean? |  |  |
|  | Why is proper vacuuming important after compressor installation? |  |  |
|  | How do you confirm a refrigerant leak using the soap bubble method? |  |  |
|  | Why must all leaks be repaired before charging refrigerant? |  |  |
|  | What is the purpose of the final operational check after repairing a system? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________