| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R45. Commission HVACR Systems) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R45. Commission HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Perform pre commissioning checks. 2. Perform Visual and Mechanical Inspection 3. Adjust control systems 4. Conduct performance test 5. Handover system to client Activity: Commission HVACR Systems, as per SOP through performing pre commissioning checks, performing visual and mechanical inspection, adjusting control systems, conducting performance test and hanging over system to client. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: - Verify system installation is against drawings. - Inspect all connections and joints - Check electrical continuity - Perform pressurizing and leak testing - Complete Pre-commissioning checklist. - Inspect fan, blowers, compressors, pumps, for correct rotation and alignment - Inspect filters, strainers and air dampers - Confirm oil level and gas pressure - Check belt tension and pulley alignment - Inspect tightness of fasteners and supports. - Set thermostats to correct parameters. - Adjust positioning of sensors required standard. - Configure control panels as per design. - Test alarms and cut-outs. - Update documentation of adjustment data - Measure Airflow and compared with design. - Verify cooling and heating loads - Record Energy consumption. - Assess Noise and vibration levels - Prepare System performance report. - Provide Operating manual to client. - Interpret Safety procedures. - Brief Maintenance requirements - Communicate Warranty terms. - Fill, Sign and handover documents. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Commission HVACR Systems, as per SOP through performing pre commissioning checks, performing visual and mechanical inspection, adjusting control systems, conducting performance test and hanging over system to client. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Verify system installation is against drawings. |  |  |
| - Inspect all connections and joints |  |  |
| - Check electrical continuity |  |  |
| - Perform pressurizing and leak testing |  |  |
| - Complete Pre-commissioning checklist. |  |  |
| - Inspect fan, blowers, compressors, pumps, for correct rotation and alignment |  |  |
| - Inspect filters, strainers and air dampers |  |  |
| - Confirm oil level and gas pressure |  |  |
| - Check belt tension and pulley alignment |  |  |
| - Inspect tightness of fasteners and supports. |  |  |
| - Set thermostats to correct parameters. |  |  |
| - Adjust positioning of sensors required standard. |  |  |
| - Configure control panels as per design. |  |  |
| - Test alarms and cut-outs. |  |  |
| - Update documentation of adjustment data |  |  |
| - Measure Airflow and compared with design. |  |  |
| - Verify cooling and heating loads |  |  |
| - Record Energy consumption. |  |  |
| - Assess Noise and vibration levels |  |  |
| - Prepare System performance report. |  |  |
| - Provide Operating manual to client. |  |  |
| - Interpret Safety procedures. |  |  |
| - Brief Maintenance requirements |  |  |
| - Communicate Warranty terms. |  |  |
| - Fill, Sign and handover documents. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B: Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R45. Commission HVACR Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Commission HVACR Systems, as per SOP through performing pre commissioning checks, performing visual and mechanical inspection, adjusting control systems, conducting performance test and hanging over system to client. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Verify system installation is against drawings. |  |  |  |  |  |
|  | Inspect all connections and joints |  |  |  |  |  |
|  | Check electrical continuity |  |  |  |  |  |
|  | Perform pressurizing and leak testing |  |  |  |  |  |
|  | Complete Pre-commissioning checklist. |  |  |  |  |  |
|  | Inspect fan, blowers, compressors, pumps, for correct rotation and alignment |  |  |  |  |  |
|  | Inspect filters, strainers and air dampers |  |  |  |  |  |
|  | Confirm oil level and gas pressure |  |  |  |  |  |
|  | Check belt tension and pulley alignment |  |  |  |  |  |
|  | Inspect tightness of fasteners and supports. |  |  |  |  |  |
|  | Set thermostats to correct parameters. |  |  |  |  |  |
|  | Adjust positioning of sensors required standard. |  |  |  |  |  |
|  | Configure control panels as per design. |  |  |  |  |  |
|  | Test alarms and cut-outs. |  |  |  |  |  |
|  | Update documentation of adjustment data |  |  |  |  |  |
|  | Measure Airflow and compared with design. |  |  |  |  |  |
|  | Verify cooling and heating loads |  |  |  |  |  |
|  | Record Energy consumption. |  |  |  |  |  |
|  | Assess Noise and vibration levels |  |  |  |  |  |
|  | Prepare System performance report. |  |  |  |  |  |
|  | Provide Operating manual to client. |  |  |  |  |  |
|  | Interpret Safety procedures. |  |  |  |  |  |
|  | Brief Maintenance requirements |  |  |  |  |  |
|  | Communicate Warranty terms. |  |  |  |  |  |
|  | Fill, Sign and handover documents. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory |  | Not Satisfactory |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | What is the purpose of pre-commissioning checks? |  |  |  |  |
|  | Why must electrical connections be checked before starting the system? |  |  |  |  |
|  | What does check duct leakage help verify? |  |  |  |  |
|  | Why is leak testing performed before refrigerant charging? |  |  |  |  |
|  | What information must be recorded after refrigerant charging? |  |  |  |  |
|  | Name one common leak testing method. |  |  |  |  |
|  | What is meant by “control system calibration”? |  |  |  |  |
|  | Why is thermostat calibration important? |  |  |  |  |
|  | What tool is used to confirm correct temperature settings? |  |  |  |  |
|  | What is the purpose of performance testing in HVACR systems? |  |  |  |  |
|  | Why must pressures and temperatures be recorded? |  |  |  |  |
|  | How does performance data help the client? |  |  |  |  |
|  | What is the importance of client handover at the end of commissioning? |  |  |  |  |
|  | Name one document that must be provided during handover. |  |  |  |  |
|  | Why should maintenance instructions be explained to the client? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________