| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment 0713A&R47. Perform System Testing and Troubleshooting |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R47. Perform System Testing and Troubleshooting |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Perform vacuum and dehydration of system 2. Conduct electrical system tests 3. Test airflow and duct integrity 4. Verify system efficiency Activity: Perform System Testing and Troubleshooting. as per SOP through Performing vacuum and dehydration of system, conducting electrical system tests, Testing of airflow and duct integrity and Verification of system efficiency |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: - Connect, set up, and operate HVACR test equipment safely and correctly. - Gradually pressurize systems and monitor for stability while detecting and rectifying leaks. - Operate vacuum pumps to evacuate systems, check moisture levels, and confirm tightness. - Measure electrical parameters, including continuity, insulation resistance, voltage, and current, using standard methods. - Perform load tests and compare measured values against design standards for efficiency and performance. - Measure airflow, static and dynamic pressures, and confirm air distribution balance in ducts. - Record, document, and report all test results, including dehydration, energy consumption, temperature differentials, and coefficient of performance (COP). - Analyze performance data and provide recommendations for system improvements. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Perform System Testing and Troubleshooting. as per SOP through Performing vacuum and dehydration of system, conducting electrical system tests, Testing of airflow and duct integrity and Verification of system efficiency |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Connect, set up, and operate HVACR test equipment safely and correctly. |  |  |
| - Gradually pressurize systems and monitor for stability while detecting and rectifying leaks. |  |  |
| - Operate vacuum pumps to evacuate systems, check moisture levels, and confirm tightness. |  |  |
| - Measure electrical parameters, including continuity, insulation resistance, voltage, and current, using standard methods. |  |  |
| - Perform load tests and compare measured values against design standards for efficiency and performance. |  |  |
| - Measure airflow, static and dynamic pressures, and confirm air distribution balance in ducts. |  |  |
| - Record, document, and report all test results, including dehydration, energy consumption, temperature differentials, and coefficient of performance (COP). |  |  |
| - Analyze performance data and provide recommendations for system improvements. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B: Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R47. Perform System Testing and Troubleshooting |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Perform System Testing and Troubleshooting. as per SOP through Performing vacuum and dehydration of system, conducting electrical system tests, Testing of airflow and duct integrity and Verification of system efficiency |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Connect, set up, and operate HVACR test equipment safely and correctly. |  |  |  |  |  |
|  | Gradually pressurize systems and monitor for stability while detecting and rectifying leaks. |  |  |  |  |  |
|  | Operate vacuum pumps to evacuate systems, check moisture levels, and confirm tightness. |  |  |  |  |  |
|  | Measure electrical parameters, including continuity, insulation resistance, voltage, and current, using standard methods. |  |  |  |  |  |
|  | Perform load tests and compare measured values against design standards for efficiency and performance. |  |  |  |  |  |
|  | Measure airflow, static and dynamic pressures, and confirm air distribution balance in ducts. |  |  |  |  |  |
|  | Record, document, and report all test results, including dehydration, energy consumption, temperature differentials, and coefficient of performance (COP). |  |  |  |  |  |
|  | Analyze performance data and provide recommendations for system improvements. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the correct steps to connect HVACR test equipment to ensure safe operation. |  |  |
|  | State why pressurizing the system gradually is important for accurate testing. |  |  |
|  | List the main signs that indicate a leak in an HVACR system. |  |  |
|  | What is the importance of recording test results clearly and accurately. |  |  |
|  | State the purpose of evacuating an HVACR system using a vacuum pump. |  |  |
|  | Compare single-stage and two-stage vacuum pumps and their appropriate applications. |  |  |
|  | What is the role of a micron gauge in verifying vacuum levels. |  |  |
|  | How to confirm that a system has no leaks and no residual moisture. |  |  |
|  | State the significance of the initial micron reading after the vacuum pump is shut off. |  |  |
|  | How continuity testing in electrical circuits helps ensure safe operation. |  |  |
|  | Why load testing is performed on HVACR electrical systems. |  |  |
|  | State the importance of insulation resistance testing for electrical safety and system reliability. |  |  |
|  | What is the method of measuring airflow and static/dynamic pressures in HVACR ducts. |  |  |
|  | Why duct leak testing and air distribution balancing are necessary for proper system performance. |  |  |
|  | State how calculating Coefficient of Performance (COP) and measuring energy consumption helps improve HVACR system efficiency. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________