| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in HVACR Technician (Industrial) Level- 4 Formative Assessment (0713A&R48. Install and Maintain Chillers and Cooling Tower) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R48. Install and Maintain Chillers and Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to 1. Install chiller systems 2. Install cooling tower 3. Service chiller units 4. Service cooling towers 5. Test water quality in cooling tower 6. Repair defective chiller components Activity: Install and Maintain Chillers and Cooling Tower as per SOP through Servicing chiller units, Servicing cooling towers, testing water quality in cooling tower, Repairing defective chiller components |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Interpret layout drawings for chiller and cooling tower. - Prepare foundations according to specifications. - Position equipment using lifting tools safely. - Perform levelling and alignment of installed units. - Carry out piping installation and leak testing. - Install auxiliary components such as compression tanks. - Execute electrical and electronic connections. - Charge refrigerant and verify oil/refrigerant levels. - Check operational performance against design standards. - Clean condenser tubes and lubricate moving parts. - Inspect safety controls, leakages, fans, drives, and drift eliminators. - Apply water-treatment chemicals and clean basins to prevent scaling/algae. - Collect water samples; measure pH, conductivity, and analyze corrosion/scaling indicators. - Adjust chemical treatment dosages based on test results. - Record water flow, temperature, and document all test findings. - Select standard spare parts and repair faulty components as per manufacturer guidelines. - Conduct system pressure tests after repair. - Update service logs and perform post-commissioning procedures. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Install and Maintain Chillers and Cooling Tower as per SOP through Servicing chiller units, Servicing cooling towers, testing water quality in cooling tower, Repairing defective chiller components |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Interpret layout drawings for chiller and cooling tower. |  |  |
| - Prepare foundations according to specifications. |  |  |
| - Position equipment using lifting tools safely. |  |  |
| - Perform levelling and alignment of installed units. |  |  |
| - Carry out piping installation and leak testing. |  |  |
| - Install auxiliary components such as compression tanks. |  |  |
| - Execute electrical and electronic connections. |  |  |
| - Charge refrigerant and verify oil/refrigerant levels. |  |  |
| - Check operational performance against design standards. |  |  |
| - Clean condenser tubes and lubricate moving parts. |  |  |
| - Inspect safety controls, leakages, fans, drives, and drift eliminators. |  |  |
| - Apply water-treatment chemicals and clean basins to prevent scaling/algae. |  |  |
| - Collect water samples; measure pH, conductivity, and analyze corrosion/scaling indicators. |  |  |
| - Adjust chemical treatment dosages based on test results. |  |  |
| - Record water flow, temperature, and document all test findings. |  |  |
| - Select standard spare parts and repair faulty components as per manufacturer guidelines. |  |  |
| - Conduct system pressure tests after repair. |  |  |
| - Update service logs and perform post-commissioning procedures. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standard(s) | 0713A&R48. Install and Maintain Chillers and Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Install and Maintain Chillers and Cooling Tower as per SOP through Servicing chiller units, Servicing cooling towers, testing water quality in cooling tower, Repairing defective chiller components |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Interpret layout drawings for chiller and cooling tower. |  |  |  |  |  |
|  | Prepare foundations according to specifications. |  |  |  |  |  |
|  | Position equipment using lifting tools safely. |  |  |  |  |  |
|  | Perform levelling and alignment of installed units. |  |  |  |  |  |
|  | Carry out piping installation and leak testing. |  |  |  |  |  |
|  | Install auxiliary components such as compression tanks. |  |  |  |  |  |
|  | Execute electrical and electronic connections. |  |  |  |  |  |
|  | Charge refrigerant and verify oil/refrigerant levels. |  |  |  |  |  |
|  | Check operational performance against design standards. |  |  |  |  |  |
|  | Clean condenser tubes and lubricate moving parts. |  |  |  |  |  |
|  | Inspect safety controls, leakages, fans, drives, and drift eliminators. |  |  |  |  |  |
|  | Apply water-treatment chemicals and clean basins to prevent scaling/algae. |  |  |  |  |  |
|  | Collect water samples; measure pH, conductivity, and analyze corrosion/scaling indicators. |  |  |  |  |  |
|  | Adjust chemical treatment dosages based on test results. |  |  |  |  |  |
|  | Record water flow, temperature, and document all test findings. |  |  |  |  |  |
|  | Select standard spare parts and repair faulty components as per manufacturer guidelines. |  |  |  |  |  |
|  | Conduct system pressure tests after repair. |  |  |  |  |  |
|  | Update service logs and perform post-commissioning procedures. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What drawing should be checked before installing a chiller system? |  |  |
|  | Why is proper foundation important for installing a cooling tower? |  |  |
|  | What tool is commonly used to lift and position a chiller safely? |  |  |
|  | Why must a chiller be level during installation? |  |  |
|  | What is the purpose of performing leak testing after piping connection? |  |  |
|  | Name one routine service task for a chiller unit. |  |  |
|  | Why is cleaning condenser tubes important? |  |  |
|  | What component of a cooling tower helps reduce water loss? |  |  |
|  | Why is basin cleaning necessary in cooling towers? |  |  |
|  | What two water quality parameters are commonly tested in a cooling tower? |  |  |
|  | Why are chemicals added to cooling tower water? |  |  |
|  | What should be done first when repairing a defective chiller component? |  |  |
|  | Why must standard spare parts be used during repairs? |  |  |
|  | What does pressure testing confirm after repairing a chiller? |  |  |
|  | Why is it important to record service and maintenance activities |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________