### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: For a given digital or analog multimeter (Unit under Test; UUT), calibrate voltage, current, and resistance parameters using the direct comparison method by connecting to reference standard sources, recording values across calibration points, and ensuring readings fall within permissible error limits |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: For a given digital or analog multimeter (Unit under Test; UUT), calibrate voltage, current, and resistance parameters using the direct comparison method by connecting to reference standard sources, recording values across calibration points, and ensuring readings fall within permissible error limits - Perform functional and physical check of under test equipment (Unit under Test; UUT) as per SOPs. - Keep the equipment in controlled environment for thermal stabilization as per SOPs. - Select reference/Standard Current Source as per SOPs. - Select calibration points on under test ammeter as per SOPs. - Apply the Reference current and record the value displayed on the under-test ammeter and Reference. - Select the Reference/Standard Voltage Source as per SOPs. - Apply the Reference voltage and record the value displayed on the under-test voltmeter and Reference. - Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. - Apply the Reference resistance and record the value displayed on the under-test ohmmeter and Reference. - Apply the Reference value of each parameter and record the value displayed on the under-test Multimeter and Reference. |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: For a given digital or analog multimeter (Unit under Test; UUT), calibrate voltage, current, and resistance parameters using the direct comparison method by connecting to reference standard sources, recording values across calibration points, and ensuring readings fall within permissible error limits |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform functional and physical check of under test equipment (Unit under Test; UUT) as per SOPs. |  |  |
| - Keep the equipment in controlled environment for thermal stabilization as per SOPs. |  |  |
| - Select reference/Standard Current Source as per SOPs. |  |  |
| - Select calibration points on under test ammeter as per SOPs. |  |  |
| - Apply the Reference current and record the value displayed on the under-test ammeter and Reference. |  |  |
| - Select the Reference/Standard Voltage Source as per SOPs. |  |  |
| - Apply the Reference voltage and record the value displayed on the under-test voltmeter and Reference. |  |  |
| - Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. |  |  |
| - Apply the Reference resistance and record the value displayed on the under-test ohmmeter and Reference. |  |  |
| - Apply the Reference value of each parameter and record the value displayed on the under-test Multimeter and Reference. |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: For a given digital or analog multimeter (Unit under Test; UUT), calibrate voltage, current, and resistance parameters using the direct comparison method by connecting to reference standard sources, recording values across calibration points, and ensuring readings fall within permissible error limits |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform functional and physical check of under test equipment (Unit under Test; UUT) as per SOPs. |  |  |  |  |  |
|  | Keep the equipment in controlled environment for thermal stabilization as per SOPs. |  |  |  |  |  |
|  | Select reference/Standard Current Source as per SOPs. |  |  |  |  |  |
|  | Select calibration points on under test ammeter as per SOPs. |  |  |  |  |  |
|  | Apply the Reference current and record the value displayed on the under-test ammeter and Reference. |  |  |  |  |  |
|  | Select the Reference/Standard Voltage Source as per SOPs. |  |  |  |  |  |
|  | Apply the Reference voltage and record the value displayed on the under-test voltmeter and Reference. |  |  |  |  |  |
|  | Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. |  |  |  |  |  |
|  | Apply the Reference resistance and record the value displayed on the under-test ohmmeter and Reference. |  |  |  |  |  |
|  | Apply the Reference value of each parameter and record the value displayed on the under-test Multimeter and Reference. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of thermal stabilization before calibrating an electrical instrument? |  |  |
|  | Name any two parameters that can be calibrated using a multimeter. |  |  |
|  | What is the function of a reference standard in the calibration process? |  |  |
|  | Why is it important to take calibration readings in ascending, descending, and ascending order? |  |  |
|  | How do you check for zero error in an ohmmeter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________