### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: For a given load (up to 1000w) and voltage (380/220v) level select and Install Transmission/Distribution line conductor with required Numbers and types of insulators by providing proper earthing with permissible earth resistance value. Assessment Task 2: For an installed Transmission/Distribution line calculate the sag & ground clearance for conductor and adjust as per WAPDA/NTDCL standards |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: For a given load (up to 1000w) and voltage (380/220v) level select and Install Transmission/Distribution line conductor with required Numbers and types of insulators by providing proper earthing with permissible earth resistance value. - Select tools and equipment as per requirement - Select and measure voltage level for Transmission/Distribution as per requirement - Select the conductor as per requirement by using Data tables - Inspect and Select Healthy Transmission/Distribution insulator as per requirement - Select Lightening Arrestors for Substation/Grid station as per requirement - Install lightning arrestor as per WAPDA standards - Adopt safety measures Assessment Task 2: For an installed Transmission/Distribution line calculate the sag & ground clearance for conductor and adjust as per WAPDA/NTDCL standards - Check Transmission/Distribution line for no voltage. - Identify transmission/Distribution line measuring points - Calculate sag of Transmission/Distribution and bring it in accordance with Clearance standards of WPADA/NTDCL. - Adjust sag in transmission line - Carryout connections for grounding - Select Lightening Arrestors for Substation/Grid station as per requirement - Install lightning arrestor as per WAPDA standards - Adopt safety measures |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: For a given load (up to 1000w) and voltage (380/220v) level select and Install Transmission/Distribution line conductor with required Numbers and types of insulators by providing proper earthing with permissible earth resistance value. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select tools and equipment as per requirement |  |  |
| - Select and measure voltage level for Transmission/ Distribution as per requirement |  |  |
| - Select the conductor as per requirement by using Data tables |  |  |
| - Inspect and Select Healthy Transmission/Distribution insulator as per requirement |  |  |
| - Select Lightening Arrestors for Substation/Grid station as per requirement |  |  |
| - Install lightning arrestor as per WAPDA standards |  |  |
| - Adopt safety measures |  |  |

| Assessment Task 2 | Activity: For an installed Transmission/Distribution line calculate the sag & ground clearance for conductor and adjust as per WAPDA/NTDCL standards. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check Transmission/Distribution line for no voltage. |  |  |
| - Identify transmission/Distribution line measuring points |  |  |
| - Calculate sag of Transmission/Distribution and bring it in accordance with clearance standards of WPADA/NTDCL. |  |  |
| - Adjust sag in transmission line |  |  |
| - Carryout connections for grounding |  |  |
| - Select Lightening Arrestors for Substation/Grid station as per requirement |  |  |
| - Install lightning arrestor as per WAPDA standards |  |  |
| - Adopt safety measures |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: For a given load (up to 1000w) and voltage (380/220v) level select and Install Transmission/Distribution line conductor with required Numbers and types of insulators by providing proper earthing with permissible earth resistance value. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select tools and equipment as per requirement |  |  |  |  |  |
|  | Select and measure voltage level for Transmission/ Distribution as per requirement |  |  |  |  |  |
|  | Select the conductor as per requirement by using Data tables |  |  |  |  |  |
|  | Inspect and Select Healthy Transmission/Distribution insulator as per requirement |  |  |  |  |  |
|  | Select Lightening Arrestors for Substation/Grid station as per requirement |  |  |  |  |  |
|  | Install lightning arrestor as per WAPDA standards |  |  |  |  |  |
|  | Adopt safety measures |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: For an installed Transmission/Distribution line calculate the sag & ground clearance for conductor and adjust as per WAPDA/NTDCL standards |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check Transmission/Distribution line for no voltage. |  |  |  |  |  |
|  | Identify transmission/Distribution line measuring points |  |  |  |  |  |
|  | Calculate sag of Transmission/Distribution and bring it in accordance with clearance standards of WPADA/NTDCL. |  |  |  |  |  |
|  | Adjust sag in transmission line |  |  |  |  |  |
|  | Carryout connections for grounding |  |  |  |  |  |
|  | Select Lightening Arrestors for Substation/Grid station as per requirement |  |  |  |  |  |
|  | Install lightning arrestor as per WAPDA standards |  |  |  |  |  |
|  | - Adopt safety measures |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | What is sag in Transmission line? |  |  |  |  |
|  | state the function of insulator in transmission line |  |  |  |  |
|  | Name the most commonly used conductor in transmission lines. |  |  |  |  |
| 4. | State one the purpose of earthing in power system |  |  |  |  |
| 5. | state the function of lightning Arrestor |  |  |  |  |
| 6. | What is Relay? |  |  |  |  |
| 7. | what is the purpose of overload relay? |  |  |  |  |
| 8. | state the purpose of Deferential relay |  |  |  |  |
| 9. | Enlist different parts of Substation grounding |  |  |  |  |
| 10. | Enlist different equipment’s used in substation |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________