### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Install, configure and connect overload relay with current transformer for power transformer protection as per given circuit diagram and ensure its functionality in overloading condition. Assessment Task 2: Install, configure and connect differential relay with using current transformer as per given circuit diagram for busbar differential protection. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Install, configure and connect overload relay with current transformer for power transformer protection as per given circuit diagram and ensure its functionality in overloading condition. - Select tools and equipment’s as required. - Select overload relay and current transformer as per requirement. - Test overload relay before installation. - Install and connect relay and current transformer as per given circuit diagram. - Use relay different terminals as per given task. - Connect load on transformer output. - Configure basic settings of overload relay as per requirement. - Check relay functionality. - Adopt safety measures. Assessment Task 2: Install, configure and connect differential relay with using current transformer as per given circuit diagram for busbar differential protection. - Select proper tools and equipment’s. - Select differential protection relay and current transformer as per requirement. - Test differential relay before installation. - Install and connect differential relay and current. transformer as per circuit diagram. - Check connection of differential relay and current transformer. - Use relay different terminals as per given task. - Configure basic settings of differential relay as per requirement. - Check relay functionality. - Adopt safety measures. |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Install, configure and connect overload relay with current transformer for power transformer protection as per given circuit diagram and ensure its functionality in overloading condition. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select tools and equipment’s as required. |  |  |
| - Select overload relay and current transformer as per requirement. |  |  |
| - Test overload relay before installation. |  |  |
| - Install and connect relay and current transformer as per given circuit diagram. |  |  |
| - Use relay different terminals as per given task. |  |  |
| - Connect load on transformer output. |  |  |
| - Configure basic settings of overload relay as per requirements |  |  |
| - Check relay functionality. |  |  |
| - Adopt safety measures. |  |  |

| Assessment Task 2 | Activity: Install, configure and connect differential relay with using current transformer as per given circuit diagram for busbar differential protection. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select proper tools and equipment’s. |  |  |
| - Select differential protection relay and current transformer as per requirement. |  |  |
| - Test differential relay before installation. |  |  |
| - Install and connect differential relay and current. |  |  |
| - Check connection of differential relay and current transformer. |  |  |
| - Use relay different terminals as per given task. |  |  |
| - Configure basic settings of differential relay as per requirement. |  |  |
| Check relay functionality. |  |  |
| - Adopt safety measures. |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Install, configure and connect overload relay with current transformer for power transformer protection as per given circuit diagram and ensure its functionality in overloading condition. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select tools and equipment’s as required. |  |  |  |  |  |
|  | Select overload relay and current transformer as per requirement. |  |  |  |  |  |
|  | Test overload relay before installation. |  |  |  |  |  |
|  | Install and connect relay and current transformer as per given circuit diagram. |  |  |  |  |  |
|  | Use relay different terminals as per given task. |  |  |  |  |  |
|  | Connect load on transformer output. |  |  |  |  |  |
|  | Configure basic settings of overload relay as per requirements |  |  |  |  |  |
|  | Check relay functionality. |  |  |  |  |  |
|  | Adopt safety measures. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: Install, configure and connect differential relay with using current transformer as per given circuit diagram for busbar differential protection. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select proper tools and equipment’s. |  |  |  |  |  |
|  | Select differential protection relay and current transformer as per requirement. |  |  |  |  |  |
|  | Test differential relay before installation. |  |  |  |  |  |
|  | Install and connect differential relay and current. |  |  |  |  |  |
|  | Check connection of differential relay and current transformer. |  |  |  |  |  |
|  | Use relay different terminals as per given task. |  |  |  |  |  |
|  | Configure basic settings of differential relay as per requirement. |  |  |  |  |  |
|  | Check relay functionality. |  |  |  |  |  |
|  | Adopt safety measures. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Define Overload protection relay? |  |  |  |  |
|  | Define Differential protection relay? |  |  |  |  |
|  | What is the purpose of current transformer? |  |  |  |  |
| 4. | What is the purpose of relay in electrical system? |  |  |  |  |
| 5. | why earthing of electrical equipment is necessary? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________