### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: You have been assigned as a junior technician in a hydroelectric project aimed at providing power to a small remote village. You are responsible for the installation, alignment, commissioning and testing of a hydro turbine –Generator system according to given specifications and standard operating procedures (SOPs). Further to generate report according the given parameters. (Physical Inspection, Coupling, Alignment, output voltage, frequency etc.) |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: You have been assigned as a junior technician in a hydroelectric project aimed at providing power to a small remote village. You are responsible for the installation, alignment, commissioning and testing of a hydro turbine –Generator system according to given specifications and standard operating procedures (SOPs). Further to generate report according the given parameters. (Physical Inspection, Coupling, Alignment, output voltage, frequency etc.) - Install and connect necessary systems as per procedures. - Install the coupling between the turbine shaft and generator shaft as per procedures. - Perform calibration of the control systems as per procedures. - Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. - Conduct operational tests as per procedures. - Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. - Connect power output terminals with transformer/panel board as per SOPs. - Select tools according to the job requirement. - Perform a test run to verify that the coupling functions correctly as per SOPs. - Check the output voltage and frequency. - Compile report of inspection as per SOPs. |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity You have been assigned as a junior technician in a hydroelectric project aimed at providing power to a small remote village. You are responsible for the installation, alignment, commissioning and testing of a hydro turbine –Generator system according to given specifications and standard operating procedures (SOPs). Further to generate report according the given parameters. (Physical Inspection, Coupling, Alignment, output voltage, frequency etc.) |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Install and connect necessary systems as per procedures. |  |  |
| - Install the coupling between the turbine shaft and generator shaft as per procedures. |  |  |
| - Perform calibration of the control systems as per procedures. |  |  |
| - Conduct operational tests as per procedures. |  |  |
| - Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. |  |  |
| - Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. |  |  |
| - Connect power output terminals with transformer/panel board as per SOPs. |  |  |
| - Select tools according to the job requirement. |  |  |
| - Perform a test run to verify that the coupling functions correctly as per SOPs. |  |  |
| - Check the output voltage and frequency. |  |  |
| - Compile report of inspection as per SOPs. |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Operate Hydraulics Machines - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Transmission of Electrical Power - Carryout Distribution of Electrical Power - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control HP plant shutdown for emergency standby electrical systems - Analyze faults in HP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: You have been assigned as a junior technician in a hydroelectric project aimed at providing power to a small remote village. You are responsible for the installation, alignment, commissioning and testing of a hydro turbine –Generator system according to given specifications and standard operating procedures (SOPs). Further to generate report according the given parameters. (Physical Inspection, Coupling, Alignment, output voltage, frequency etc.) . |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Install and connect necessary systems as per procedures. |  |  |  |  |  |
|  | Install the coupling between the turbine shaft and generator shaft as per procedures. |  |  |  |  |  |
|  | Perform calibration of the control systems as per procedures. |  |  |  |  |  |
|  | Conduct operational tests as per procedures. |  |  |  |  |  |
|  | Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. |  |  |  |  |  |
|  | Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. |  |  |  |  |  |
|  | Connect power output terminals with transformer/panel board as per SOPs. |  |  |  |  |  |
|  | Select tools according to the job requirement. |  |  |  |  |  |
|  | Perform a test run to verify that the coupling functions correctly as per SOPs. |  |  |  |  |  |
|  | Check the output voltage and frequency. |  |  |  |  |  |
|  | Compile report of inspection as per SOPs. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the working principle of a hydro turbine? |  |  |
|  | What is the function of a draft tube in a hydro turbine system? |  |  |
|  | Which equipment is used to check the rotation speed of a turbine? |  |  |
|  | List two types of hydro turbines and where each type is typically used? |  |  |
|  | What kind of tests are performed during dry commissioning of a hydro turbine? |  |  |
|  | Name any two types of A.C. generators? |  |  |
|  | List three main components of an A.C. generator? |  |  |
|  | What are CT and PT, and why are they used in transformer connections? |  |  |
|  | Give two symptoms that indicate generator misalignment? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________