National Vocation Certificate Level- 2 in Instrumentation Technology

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	6

1.1.	Purpose of the training program:	6

1.2.	Overall objectives of training program:	7

1.3.	Competencies to be gained after completion of course:	9

1.4.	Entry level of trainees:	15

1.5.	Minimum qualification for teachers:	15

1.6.	Medium of instruction:	15

1.7.	Duration of the course:	16

1.8.	Description and structure of the course	17

Health and Safety	26

Module 0714E&A1: Maintain Occupation Health and Safety.	26

Module 0714E&A2: Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace.	31

Principles of Electrical & Electronics	36

MODULE 0714E&A3.	VERIFY THE DC FUNDAMENTALS	36

MODULE 0714E&A4.	APPLY THE AC FUNDAMENTALS	41

MODULE 0714E&A5.	INSTALL RELAYS AND SWITCHES IN VARIOUS DOMESTIC AND INDUSTRIAL CIRCUITS	43

MODULE 0714E&A6.	INSTALL DIFFERENT TYPES OF TRANSFORMERS	45

Computer Application	47

MODULE 0714E&A7.	APPLY BASIC COMPUTER SKILLS TO CREATE A VARIETY OF DOCUMENT	47

Basic Electrical Wiring (Single Phase):	52

MODULE 0714E&A8.	MAINTAIN TOOLS & EQUIPMENT.	52

MODULE 0714E&A9.	MAKE CABLE/WIRE JOINTS	54

MODULE 0714E&A10.	PREPARE AND INSTALL DISTRIBUTION BOARDS	58

MODULE 0714E&A11.	CARRYOUT BASIC ELECTRICAL INSTALLATION	61

MODULE 0714E&A12.	INSTALL SIMPLE ELECTRICAL WIRING	64

MODULE 0714E&A13.	PERFORM TESTING OF ELECTRICAL WIRING	69

MODULE 0714E&A14.	REPAIR/ MAINTENANCE OF ELECTRICAL INSTALLATIONS	74

MODULE 0714E&A15.	CARRY OUT ELECTRICAL PLANNING AND ESTIMATION	76

Process Variable Measurements	80

MODULE 0714E&A33.	INSTALL TEMPERATURE & PRESSURE MEASUREMENT INSTRUMENT/DEVICES	80

MODULE 0714E&A34.	INSTALL LEVEL MEASURING INSTRUMENT/DEVICES	83

MODULE 0714E&A35.	INSTALL FLOW LEVEL MEASURING INSTRUMENT/DEVICES	86

Metrology	89

MODULE 0714E&A36.	TAKE MEASUREMENTS WITH GRADUATED TOOLS	89

MODULE 0714E&A37.	TAKE MEASUREMENTS WITH COMBINATION SET	92

MODULE 0714E&A38.	TAKE MEASUREMENTS WITH GAUGES	96

MODULE 0714E&A39.	PERFORM MEASUREMENTS THROUGH MICROMETER	98

MODULE 0714E&A40.	MEASURE DIMENSIONS WITH VERNIER TOOLS	101

MODULE 0714E&A42.	MEASURE THREADS AND GEARS	106

Basic Electrical Engineering:	109

MODULE 0714E&A42.	OPERATE MEASURING INSTRUMENTS.	109

MODULE 0714E&A43.	VERIFY OHM’S LAW & KIRCHHOFF’S LAW BY IMPLEMENTING SERIES/PARALLEL CIRCUITS	111

MODULE 0714E&A44.	MEASURE ELECTRICAL POWER, ENERGY, POWER FACTOR & DETERMINE PHASE SEQUENCE	115

MODULE 0714E&A45.	DEMONSTRATE ELECTROMAGNET TO SEE VARIOUS EFFECTS & VERIFY FARADAYS LAW	118

MODULE 0714E&A46.	VERIFY SERIES AND PARALLEL COMBINATION OF CAPACITORS & DETERMINE BREAK DOWN VOLTAGE OF CAPACITOR	122

Basic Electronics (Analog)	125

MODULE 0714E&A47.	IDENTIFY BASIC ELECTRONICS COMPONENTS	125

MODULE 0714E&A48.	DESIGN RECTIFIER USING DIODE	129

MODULE 0714E&A49.	CARRY OUT DIODE APPLICATION	131

MODULE 0714E&A50.	IMPLEMENT BIPOLAR JUNCTION TRANSISTOR (BJT) IN DIFFERENT APPLICATIONS	133

MODULE 0714E&A51.	IMPLEMENT FIELD EFFECT TRANSISTOR (FET) IN DIFFERENT APPLICATIONS	137

MODULE 0714E&A52.	IMPLEMENT THYRISTOR FAMILY IN VARIOUS APPLICATION	141

MODULE 0714E&A53.	APPLICATION OF OPERATIONAL AMPLIFIER	143

Electrical & Electronic Measuring Instruments	147

MODULE 0714E&A64.	OPERATE MEASURING INSTRUMENTS	147

Instrumentation Workshop Practice	153

MODULE 0714E&A65.	Connect Tubing and Fittings	153

MODULE 0714E&A66.	Perform Basic Machining Operation.	156

Electrical Circuit Analysis	159

MODULE 0714E&A67.	APPLY FUNDAMENTAL DC LAWS IN ELECTRIC CIRCUITS	159

Instrumentation Drawing	163

MODULE 0714E&A69- USE ENGINEERING DRAWING TECHNIQUES TO PRODUCE INSTRUMENTATION DRAWINGS	163

Instrument Servicing & Calibration	172

MODULE 0714E&A70.	CALIBRATE THE MEASURING INSTRUMENTS	172

Sensor & Transducers	181

MODULE 0714E&A72.	SENSOR & TRANSDUCERS	181

Semi-Conductor Devices and Electronic Circuit	186

MODULE 0714E&A73.	CHARACTERIZE BJT AMPLIFIERS.	186

MODULE 0714E&A74.	Characterize Diodes Application	195

MODULE 0714E&A75.	Characterize Various FET Amplifiers.	198

MODULE 0714E&A76.	DESIGN AN OPERATION AMPLIFIER	205

MODULE 0714E&A77.	CHARACTERIZE VARIOUS OSCILLATORS.	208

Analytical Instruments	215

MODULE 0714E&A78.	MEASURE TEMPERATURE & HUMIDITY	215

MODULE 0714E&A79.	MEASURE THE DENSITY & POWER OF HYDROGEN	218

MODULE 0714E&A80.	MEASURE THE CONCENTRATION OF ENVIRONMENTAL GASES	221

MODULE 0714E&A82.	PERFORM THE SPECTRO SCOPIC CHARACTERIZTION	229

Industrial Instrumentation & Control	243

MODULE 0714E&A84.	INSTALL THE TRANSDUCERS & INDUSTRIAL TRANSMITTERS	243

MODULE 0714E&A85.	INSTALL THE VARIABLE FREQUENCY DRIVE	245

Digital Circuits & Microprocessor Applications	246

MODULE 0714E&A88.	Classify the Digital Logic Gates	246

MODULE 0714E&A89.	Design Microprocessor applications	253

MODULE 0714E&A90.	DESIGN MICROCONTROLLER APPLICATIONS	256

Advance Control System:	260

MODULE 0714E&A91.	CONSTRUCT AN ADVANCE AUTOMATION & CONTROL SYSTEM	260

Boiler & Instrumentation:	262

MODULE 0714E&A92.	INSTALL THE BOILER CONTROL SYSTEM	262

MODULE 0714E&A93.	OPERATE THE BOILER SYSTEM	265

4.	List of Tools and Equipment	270

5.	Members of the Curriculum Development Committee	283

# 1. 	Introduction

Instrumentation Technology is specifically designed for students of Electronics/Electrical and touches upon a variety of fundamental topics. This course will cover a major portion of Instrumentation Technology. This training program will also build upon these general concepts to cover object-oriented Instrumentation terminology.

This specialization covers topics ranging from basic Electrical & Electronics Measuring Instrumentation, basic engineering drawing & CAD, Instrumentation drawing, Instrumentation servicing & calibration,  Industrial Instrumentation . You will learn fundamental concepts of Microprocessor applications. We also get practical exposure of Boiler Installation & operation.     By the end of this course, trainee will understand the basics of Instrumentation Technology & able to work in an Industry

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

## Purpose of the training program:

The purpose of the training is to provide skilled manpower to improve the existing capacity of Instrumentation sector. This training will provide the requisite skills to the trainees to deal with Instrumentation field. Further, to improve the skill level of the Instrumentation technician and prepare them for the Electrical and Electronics industry to meet the market competition nationally and internationally.

  - Overall objectives of training program:

The Instrumentation qualification level 2-5 consists of theoretical and practical details required to learn operational techniques of Calibration, Operation, and Maintenance of Instruments.

The main objectives of the qualification are as follows:

1.	Health and Safety

2.	Computer Application

3.	Principles of Electrical & Electronics

4.	Soft skills

5.	Electrical & Electronics Measuring Instruments

6.	Basic Engineering drawing and CAD

7.	Instrumentation workshop practice

8.	Process Variable Measurement

9.	Electrical Circuit Analysis

10.	Instrumentation drawing

11.	Semi-Conductor devices and Electronics circuit

12.	Instruments servicing and calibration

13.	Digital Skills

14.	Analytical Instruments

15.	Industrial Instrumentation and control

16.	Digital Circuits and Microprocessor application

17.	Advance control system

18.	Sensor and Transducer

19.	Boiler Instrumentation

20.	Entrepreneurship

## Competencies to be gained after completion of course:

The detail of the competency standards included in this qualification is given below:

National Certificate level 2 in “Instrumentation Technology”

- Maintain Occupational Health & Safety

- Adopt safety Regulations, Labour Protection Laws, Environment

- Develop Professionalism

- Apply the AC Fundamentals

- Verify the DC Fundamentals

- Operate the Measuring Instruments

- Connect Tubing and Fittings

- Perform Basic Machining Operation

- Install Relays & Switches in Domestic and Industrial Applications

- Install different types of Transformers

- Apply Basic Computer Skills to create variety of documents

- Maintain tools & Equipment

- Make Cable / Wire Joints

- Prepare and Install Distribution Boards

- Carryout Basic Electrical Installation

- Install Simple Electrical Wiring

- Repair / Maintenance of Electrical Installations

National Certificate level 3, in “Instrumentation Technology”

- Install Computer Operating Systems and Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform Writing And Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools for Collaboration And Engagement

- E-Commerce

- Use Digital Devices

- Apply basic CAD, Solid works software for designing and drawing

- Install Temperature & Pressure measuring instruments/devices

- Install level measuring instruments/devices

- Install the flow measuring instruments/devices

- Characterize Diodes Application

- Characterize various BJT amplifiers

- Characterize various FET amplifiers

- Characterize various Oscillators

- Design an Operational Amplifier

- Take measurements with graduated tools

- Take measurements with combination set

- Take measurements through various gauges

- Perform measurements through Micrometer

- Measure dimensions with Vernier tools

- Perform different measurements

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Operate Oscilloscope

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

- Basic Electronics (Analog)

- Identify Basic Electronics Components

- Design a Rectifier using Diode

- Carry out Diode Application

- Implement Bipolar Junction Transistor (BJT) in Different Applications

- Implement Field Effect Transistor (FET) in Different Applications

- Implement Thyristor Family in Various Application

- Applications of Operation Amplifier

National Certificate level 4, in “Instrumentation Technology”

- Develop Workplace Policy and Procedures for Sustainability

- Maintain Professionalism in the Workplace

- Manage Personal Work Priorities and Professional Development

- Manage Workforce Planning

- Undertake Project Work

- Prepare and Implement Negotiation

- Manage Meetings

- Organize Schedules

- Identify and Communicate Trends in Career Development

- Apply Specialist Interpersonal and Counseling Interview Skills

- Apply fundamental laws of DC in electrical circuits

- Apply fundamental laws of AC in electrical circuits

- Use engineering drawing techniques to produce Instrumentation Drawings

- Interface the Sensor & Transducers

National Certificate level 5, in “Instrumentation Technology”

- Measure the Temperature & humidity

- Measure the Density and Power of Hydrogen Ion (pH)

- Measure the concentration of environmental gases

- Calibrate the Measuring instruments (Metrological Instruments)

- Analyze the gas chromatography

- Perform the spectroscopic characterization

- Install Transducer & Transmitter in Industrial Application

- Install the process Regulators

- Install the Variable Frequency Drive ( VFD )

- Install Pneumatic & Hydraulic systems in industry

- Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers

- Classify the Digital logic Gates

- Design Microprocessor applications

- Design Microcontroller applications

- Construct an Advance Automation and Control system

- Install the advance control system

- Install the Boiler Control System

- Operate a Boiler Control System

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

## Entry level of trainees:

The entry for National Vocational Certificate level 2-5, in (Instrumentation Sector) “Electrical & Electronics” are given below:

| Title | Entry requirements |
| --- | --- |
| National Certificate level 2, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification may require skills and knowledge equivalent to middle (Grade 8). |
| National Certificate level 3, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 2, in (Instrumentation) “Electrical & Electronics” |
| National Certificate level 4, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 3, in (Instrumentation) “Electrical & Electronics” |
| National Certificate level 5, in “Instrumentation Technology” | Entry for assessment for this qualification is open. However, entry into formal training institute for this qualification is person having National Vocational Certificate level 4, in (Instrumentation) “Electrical & Electronics” |

## Minimum qualification for teachers:

    - B.Sc. / BE Engineering in Electronics/Mechatronics/Instrumentation.

    - B.Tech-Hons (4 Years) in Electronics/Mechatronics/ Instrumentationv along with 3 years teaching/industry post qualification experience.

    - Diploma in Electronics/Mechatronics/Instrumentation (Level 5) along with 7 years teaching/industry post qualification experience.

## Medium of instruction:

English/Urdu

## Duration of the course:

The proposed curriculum is composed of 20 modules that will be covered in 4825 learning hours. It is proposed that the course may be delivered in three years period.

The distribution of contact hours is given below:

Total		-	4825 hours.

Theory	-	1343.5 hours (27.84%)

Practical	-	3481.5 hours (72.15%)

## Description and structure of the course

Following is the structure of the course:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 2 |  |  |  |  |  |  |  |
| Maintain Occupational Health and Safety | Safety supervisor | Level 2 | Functional | 6 | 21 | 27 | 2.7 |
| Adopt Safety Regulations, Labour Protection Laws, Environmental Protection Laws at Workplace |  | Level 2 | Functional | 9 | 21 | 30 | 3 |
| Develop Professionalism |  | Level 2 | Generic | 6 | 21 | 27 | 2.7 |
| Verify the DC Fundamentals | Jr. Technician | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Apply the AC Fundamentals |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Install Relays & Switches in domestic & industrial applications |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Install different type of transformers |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Operate the Measuring Instruments |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Connect Tubing & Fittings |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Perform basic machining operations |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Apply basic computer skills to create a variety of documents | Computer Application | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Maintain Tools & Equipment. | Basic Electrical Wiring (Single Phase) | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Make Cable/Wire Joints |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Prepare and Install Distribution Boards |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Carryout Basic Electrical Installation |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Install Simple Electrical Wiring |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Perform Testing of Electrical Wiring |  | Level 2 | Technical | 6 | 30 | 36 | 3.6 |
| Repair/ Maintenance of Electrical Installations |  | Level 2 | Technical | 6 | 24 | 30 | 3 |
| Carryout Electrical planning and estimation |  | Level 2 | Technical | 9 | 21 | 30 | 3 |
| Total |  |  |  | 120 | 480 | 600 | 60 |
| Percentage |  |  |  | 20 | 80 |  |  |

# Health and Safety

## Module 0714E&A1: Maintain Occupation Health and Safety.

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration:  27	Hours			Theory:   06	 Hours			Practice: 21	 Hours                   Credit Hours:  2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Ensure the use of personal protective equipment (PPE). | Trainee will be able to: - Arrange the required personal protective equipment - Check functional condition of PPE’s - Wear personal protective equipment - Store PPE at appropriate place after use. | - PPE and its applications. - PPE handling and storage Practical Activity: Demonstrate the use of PPE | Theory- 0.5 Hrs Practical-0 Hrs Total- .5 Hrs | - Safe guard device - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes | Class Room Training Workshop. Lab/ Field Visit |
| LU2. Maintain First-aid Box. | Trainee must be able to: - Ensure availability of first aid box - Check first aid box for requisite emergency - Check expiry of medicines - Perform first aid treatment against electric shocks - Perform first aid treatment/bandages against minor injuries. | - Importance of first aid box. - Essential items in first aid kit. - First aid as lifesaving technique Practical Activity: Demonstrate the use of First aid box in case of emergency Display the signs and safety charts. | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs | - First Aid box - First aid kit | Class Room Training Workshop. Lab/ Field Visit |
| LU3. Maintain Fire Extinguisher. | Trainee must be able to: - Check expiry of fire extinguisher - Operate fire extinguisher - Replace fire extinguisher - Ensure that the fire brigade is at stand by (for major emergency). | - Fire Extinguisher and its application. - Operating technique of fire extinguisher. Practical Activity: Demonstrate the use of fire extinguisher Water buckets should be available over there | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs | - Fire Extinguisher - Water buckets should be available over there | Class Room Training Workshop. Lab/ Field Visit |
| LU4. Ensure Safeguard of Machines. | Trainee must be able to: - Maintain radiator shield - Maintain alternator fan shield - Maintain heat resister material on silencer - Cover main circuit breaker - Lock canopy doors. | - Various protective mechanisms in machines - Insulation methods Practical Activity: Demonstrate the precautionary measures in order to safeguard a machine. | Theory-0.5 Hrs Practical-3 Hrs Total-3. 5 Hrs | - Safety goggles - Safety harness belt - Safety helmet - Safety mask - Safety Shoes | Class Room Training Workshop. Lab/ Field Visit |
| LU5. Adopt company policies and procedures. | Trainee must be able to: - Ensure company’s safety policy - Adopt company safety procedure - Advocate worker with company safety policy - Implement Safety sign board as per standard. | - Company’s safety policy - Safety signs and symbols Practical Activity: - Prepare a chart of safety symbols and display in your classroom - Familiar with Latest Labor laws to be displayed | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Safety Manual | Class Room Training Workshop. Lab/ Field Visit |
| LU6. Attain health & safety training. | Trainee must be able to: - Take required health and safety training - Implement work hazardous material information system (WHMIS) - Adopt first aid cardio respiratory, resuscitation and CPR. | - Safety training - WHMIS - Respiratory, Resuscitation and CPR. - (Cardiopulmonary resuscitation) Practical Activity: Demonstrate the safety training. | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Safety symbols - Respiratory process display charts | Class Room Training Workshop. Lab/ Field Visit |
| LU7. Prepare for emergencies. | Trainee must be able to: - Take emergency response training - Ensure practice of emergency exercises - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. | - Emergency response training - Assembly area and its requirements Practical Activity: Demonstrate the gathering procedure at assembly area. | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Emergency alarms - Fire detector - Emergency plan | Class Room Training Workshop. Lab/ Field Visit |
| LU8. Respond to emergencies. | Trainee must be able to: - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by (for emergency). | - Emergency exit plan - Effective communication techniques | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Safety alarm - Barrier - Electrician tool kit - Flat screw driver set - General tools kit - Insulation tester | Class Room Training Workshop. Lab/ Field Visit |

## Module 0714E&A2: Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace.

Objective: After the completion of this Competency Standard, the Trainee will be able to develop skill and competence required to maintain Occupational Safety, Health and Environment at the workplace according to the National and International Protection Agencies Standards and take remedial measures for Personal, Occupational and Environmental Protection. The Trainee will be able to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration:  30 Hours			Theory:  09 Hours				Practice: 21 Hours                 Credit Hours:  3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Implement International Safety Standards in your work environment. | Trainee will be able to: - Recognize Electrical Safety hazards as per International Electro- Technical Commission (IEC) Standards - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify Electrical Safety Hazards as per Institute of Electrical and Electronics Engineers (IEE) standards - Categorize the Electrical Safety Hazards as per Electrical Safety Foundation International(ESFI) standards - Identify Labour Protection Laws as per International Water buckets should be available over there Organization(ILO) rules - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Prepare a report for all the above activity. | - Various International Industrial standards and its details, such as: - IEC Standards - EPA Standards - IEE Standards - ESFI Standards - ILO Standards - Electrical Hazards and the risk associated with it. - Environmental Pollution - Solid waste management protection procedures - water pollution protection | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | - Safety manual - PC - Internet | Class Room Training Workshop. Lab/ Field Visit. |
| LU2. Implement National Safety Standards in your work environment. | Trainee must be able to: - Identify Factory associated hazard as per Chapter 3 of Factories Act, 1934 - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the workplace hazards as per Occupational health and safety (OHS) standards - Identify the steps to minimize the Electrical hazards, Environmental Pollution and Labor Safety - Prepare a report for all the above activity. | - National safety standards such as: - Factories act,1934 - Pakistan Environmental Protection Act, 1997 - Labor Protection Policy 2006 - Occupational Health and safety (OHS) standards - Professional report writing. | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | - Safety Manuals | Class Room Training Workshop. Lab/ Field Visit. |
| LU3. Implement International and National Labor Protection Laws | Trainee must be able to: - Identify Labor Protection Laws as per International Labor Organization(ILO) rules - Recognize the Labor protection laws as per Labor Protection Policy 2006 - Identify the Bonded Labor and Child Labor policy. - Determine the leaves policy and compensation policy for the Labor. - Recognize the minimum wage for the Labor - Identify the remedial steps for protection and prosperity of Labor. - Prepare a report for all the above activity. | - International and national labour policies such as: - International Labor Organization(ILO) rules - Child Labor policy. - Leaves and Compensation policy - Remedial steps for protection and prosperity of Labor - Professional report writing. | Theory-2 Hrs Practical-6 Hrs Total- 8 Hrs | - Safety Manual | Class Room Training Workshop. Lab/ Field Visit. |
| LU4. Implement National and International Environmental protection laws. | Trainee must be able to: - Determine Environmental Pollution risk factors as per Protection Agency (EPA) standards - Identify the steps to minimize the Electrical hazards and Environmental Pollution. - Determine Environmental Pollution factors as per Pakistan Environmental Protection Act, 1997 - Identify the requirements for Initial Environmental Examination (IEE) - Identify the requirements for Environmental Impact Assessment (EIA) - Prepare a report for all the above activity. | National and International Environmental protection laws. such as: - EPA Standards - Environmental Pollution - Electrical Hazards - Environmental protection act | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Safety Manual | Class Room Training Workshop. Lab/ Field Visit. |
| LU5. Prepare for emergencies. | Trainee must be able to: - Take emergency response training - Ensure practice of emergency exercises - Ensure the availability of first aid box and fire extinguisher - Check the expiry of medicines and fire extinguishers - Check the emergency alarms - Ensure regular practice of gathering the workers in assembly area during the emergency. | - Emergency response training - Fire extinguisher and its applications - Emergency alarms - Assembly area | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs |  | Class Room Training Workshop. Lab/ Field Visit. |
| LU6. Respond to emergencies. | Trainee must be able to: - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance and fire brigade is at stand by (for major emergency). | - Emergency response plan - Emergency equipment operation - Practical use of fire extinguisher | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs |  | Class Room Training Workshop. Lab/ Field Visit. |

## Module: Develop Professionalism

Objective: After the completion of this competency standard, the Trainee will be able to maintain a professional image in the
workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

Duration:  27 Hours			Theory:  06 Hours			Practice:  21 Hours          	        Credit Hours:  2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Respect work timeframes | Trainee will be able to: - Demonstrate punctuality in meeting, set working hours and times. - Utilize working hours only for working and follow company regulations. - Complete work tasks within deadlines according to order of priority - Supervisors are informed of any potential delays in work times or projects | - Explain application of good manners and right conduct - Outline the company code of conduct/values | Theory- 2 Hrs Practical- 06Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Maintain personal appearance and hygiene | Trainee will be able to: - Clean hair, body and nails regularly. - Wear suitable cloths for the workplace, and respect local and cultural contexts - Meet specific company dress code requirements | - Describe common products used for oral and personal hygiene | Theory- 2 Hrs Practical-03 Hrs Total- 5 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain adequate distance with colleagues and clients | Trainee will be able to: - Respect personal space of colleagues and clients with reference to local customs and cultural contexts. - Keep sufficient distance from others - Avoid cross transmission of infections (especially through respiration) | - State workplace hygiene standards - Explain basic practices for oral and personal hygiene | Theory- 1 Hrs Practical- 6Hrs Total- 7 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Mulmediaprojector | Class Room |
| LU4. Work in an ethical manner | Trainee will be able to: - Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. - Use company resources in accordance with company ethical standards. - Conduct personal behavior and relationships in accord with ethical standards and company policies. - Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. - Instruct co-workers on ethical, lawful and reasonable directives. - Share company values /practices with co-workers using appropriate behavior and language. - Report work incidents /situations and/or resolved in accordance with company protocol /guidelines. | - Outline the Company regulations, performance and ethical standards - Explain work responsibilities/job functions - Describe communication skills | Theory- 1 Hrs Practical- 06Hrs Total- 07 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

# Principles of Electrical & Electronics

- VERIFY THE DC FUNDAMENTALS

Objective: After this competency standard the student will be able to identify variety of circuits related to DC Fundamentals and their usage in industry.

Duration:  30 Hours					Theory: 6Hours						Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Verify Ohm’s Law | Trainee will be able to: - Identify the Resistor - Calculate the resistance of available resistor via Color coding chart - Draw the different circuits with the aid of Resistors. - (Series Circuit, Parallel Circuit, Series-Parallel Circuit) - Interface the resistor with LED for demonstrating the Ohm’s Law. - Install the Voltmeter, Ammeter and Wattmeter in Resistors based circuits for calculations of results and parameters. | - Explain resistors and their applications - Describe procedure of various types of resistors identification - Explain the resistor via numbers and color coding - Explain series & parallel circuits - Define the relationship of Current and Voltage . - Explain the working of Voltmeter, Ammeter and Wattmeter Practical Activity: - Construct a series-parallel circuit and measure voltages, current at random point | Theory- 01Hrs Practical- 03Hrs Total- 4Hrs | - Test Bench - Resistors - Color Coding Chart - Breadboard - Jumper wires - Digital Multi meter | Class Room and Workshop |
| - Implement the variable resistor as a potentiometer and Rheostat | Trainee will be able to: - Identify the Variable Resistor Read the value of Resistor also measure by using Multi-meter. - Connect variable resistor with Multi-meter and check the resistance variation by using wiper of Variable Resistor of good condition of variable resistor. - Use variable resistor to control the DC motor voltage level - Connect variable resistor with DC motor for controlling the current level of motor. | - Explain range values of variable resistors - Explain the difference between potentiometer and rheostat - Explain the construction and working of variable resistors - Explain the role of resistor in DC motor speed control - Explain the role of variable resistor in current controlling Practical Activity: - Construct an DC motor control circuit with variable speed | Theory- 01Hrs Practical- 03Hrs Total- 4Hrs | - Test Bench - Resistors - Potentio-meter - Rheostat - Breadboard - Jumper wires - Digital Multi meter - DC motor | Class Room and Workshop |
| - Use inductors in circuit | Trainee will be able to: - Classify the inductor and its types - Use inductors in series and parallel circuits - Draw LC Circuit for demonstration of LC affects. - Draw RL Circuit for demonstration of RL affects. - Calculate inductance of an inductor in an inductor circuits theoretically and practically. - Use inductance as a damping circuit | - Explain construction and working of inductors - Explain inductors in series parallel circuits - Describe the impact of frequency on impedance - Explain RL/LC circuits and their application - Explain damping operation of inductors Practical Activity: - Construct a RC circuit - Construct a RL circuit and demonstrate damping operation. | Theory- 01Hrs Practical- 03Hrs Total- 4Hrs | - Test Bench - Resistors - Inductors - Capacitors - Breadboard - Jumper wires - Digital Multi meter - Watch - Oscilloscope | Class Room and Workshop |
| - Use capacitors in electrical circuits | Trainee will be able to: - Classify the capacitors, its types and capacity. - Use Capacitors in series and parallel circuits - Draw RC Circuit for demonstration of ON/OFF Delay and Decayed Timer circuits. - Perform Calculations of capacitor based circuits theoretically and practically. | - Explain construction and working of capacitors - Explain capacitors in serial parallel circuits - Describe the impact of frequency on impedance - Explain RC/LC circuits and their application Practical Activity: - Construct a delay ON and delay OFF timer circuit | Theory- 01Hrs Practical- 03Hrs Total- 4Hrs | - Test Bench - Resistors - Inductors - Capacitors - Breadboard - Dupont wires - Digital Multi meter - Watch - Oscilloscope - LED | Class Room and Lab /Workshop |
| - Apply theorems on circuits | Trainee will be able to: - Apply Kirchhoff’s Current Law on circuits for developing the concept effectively. - Apply Kirchhoff’s Voltage Law on circuits for developing the concept effectively. - Apply superposition theorem on circuits for developing the concept effectively. - Apply maximum power transfer theorem on circuits for developing the concept effectively. - Apply thevenin’s theorem on circuits for developing the concept effectively. - Apply Norton’s theorem on circuits for developing the concept effectively - Apply Mesh theorem on circuits for developing the concept effectively. - Star Delta and Delta Star Transformations of circuits. | - Explain Kirchhoff’s law - Explain current and voltage calculation via Kirchhoff’s law - Explain the calculation associated with Kirchhoff’s law - Explain Superposition theorem and its application - Explain max power transformer theorem and its application - Explain Thevenin’s theorem and its application - Explain Norton Theorem and its application - Explain Mesh Theorem and its application - Understand Star and Delta circuits and their working - Describe the application of star-delta transformation circuits Practical Activity: - Construct a circuit to demonstrate & verify - Kirchhoff’s Law - Superposition Theorem - Maximum Power Transfer Theorem - Thevenin’s Theorem - Norton Theorem - Mesh Theorem - Construct a star-delta circuit to run Three phase AC motor and describe its operation | Theory- 01Hrs Practical- 6Hrs Total- 07Hrs | - Test Bench - Resistors - Breadboard - Dupont wires - Digital Multi meter - Three phase motor - Wiring cables - Relays - Magnetic Contactor | Class Room and Workshop |
| - Apply Heat and Light sensors in circuits | Trainee will be able to: - Design an LDR based Dark/Light detector circuit. - Design a thermistor (NTC or PTC) based Heat Sensor circuit. | - Explain construction and working of LDR - Explain LDR in Dark/Light circuits - Explain relationship of resistance and light illumination(lux) - Explain intrinsic and extrinsic photo resistors - Explain the construction and working of thermistor (NTC & PTC) Practical Activity: - Construct outdoor light circuit based on day/night auto-operation. | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Test Bench - LDR - Thermistor - LED - bulbs - sockets - Buttons - Breadboard - Dupont wires - Digital Multi meter | Class Room and Workshop |

## APPLY THE AC FUNDAMENTALS

Objective: After this competency standard the student will be able to identify variety of circuits related to AC Fundamentals and their usage in industry.

Duration:  30 Hours					Theory: 6Hours						Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure Alternating Current and Voltage | Trainee will be able to: - Perform a task on electric board & three phase panel via Multi-meter - Identify the AC and DC Voltage. - Differentiate the AC and DC Generator practically via suitable task | - Explain Alternating Current and Voltage - Explain AC and DC Generators and state their application - Explain Single & Three phase wiring - Explain Multi-meter and its functions Practical Activity: Construct a AC generator and measure current and voltage | Theory- 03Hrs Practical- 12Hrs Total- 15Hrs | - Test Bench - DC Motor - AC Motor - Three - Clamp meter - Isolation Tester - Sequence Tester - Multi meter | Class Room and Workshop |
| - Analyze the AC Circuits | Trainee will be able to: - Perform a task with AC loads (resistive, capacitive and inductive). - Calculate the AC parameters - Perform a task for understanding RLC Series and Parallel circuits with AC source. - Demonstrate the resonance in parallel and series circuits & calculate the related parameters. | - Describe the parameters related to AC/DC circuits - Explain the calculations (source, load) - Explain use of Sequence Tester, Insulation tester, Power Source - Explain resonance and its effects due to frequency - Explain use of Clamp Meters - Explain Impedance in AC circuits Practical Activity: Analyze the AC circuit and perform calculations for voltage, current, power factor and resonance response | Theory- 03Hrs Practical- 12Hrs Total- 15Hrs | - Test Bench - DC Motor - AC Motor - Three - Clamp meter - Isolation Tester - Sequence Tester - Power Quality Analyzer - Multi meter | Class Room and Workshop |

## INSTALL RELAYS AND SWITCHES IN VARIOUS DOMESTIC AND INDUSTRIAL CIRCUITS

Objective: After this competency standard the student will be able to identify variety of relays and switches and their usage in industry.

Duration:  30 Hours					Theory: 06Hours						Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Implement Relays in circuits | Trainee will be able to: - Design a circuit which can automate the DC load by using SSR and mechanical Relays. - Design a circuit which can automate the DC load and AC load by using DPDT (Double Pole Double Through) Relay. | - Describe the construction and types of relays - Explain operation of electromagnetic relays - Describe the construction and types of SSR (Solid State Relay) - Describe the operation of SSR relays in circuits Practical Activity: Construct a relay based load switching circuit and measure voltage and current | Theory- 03Hrs Practical- 12Hrs Total-15Hrs | - Test Bench - Electro-magnetic relay - SSR - DPDT - Load Bank - Multi meter | Class Room and Workshop |
| - Implement switches | Trainee will be able to: - Design a circuit which can cutoff the DC load by using Limit switch. - Design a circuit which can cutoff the DC load and AC load by using SPDT (Single Pole Double Through) switch | - Describe the construction and types of switches - Explain the operation of switches - Explain the cutoff circuits and series parallel circuit of switches - Describe construction, operation and implementation of SPDT Practical Activity: Construct a Switch based load switching circuit and measure voltage and current | Theory- 03Hrs Practical- 12Hrs Total-15Hrs | - Test Bench - Limit switch - Proximity switch - DPDT - Load Bank - Multi meter | Class Room and Workshop |

## INSTALL DIFFERENT TYPES OF TRANSFORMERS

Objective: After this competency standard the student will be able to identify variety of circuits related to DC Fundamentals and their usage in industry.

Duration:  30 Hours					Theory: 06Hours						Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Use transformer with diode | Trainee will be able to: - Design a circuit which can perform the half wave rectification with the help of diode and transformer. - Design a circuit which can perform the full wave rectification with the help of bridge rectifier and transformer. - Record their waveforms on digital oscilloscope. | - Define transformer - State the types of transformer - State the uses of transformer - Differentiate the primary and secondary winding - State tranformer working principle - Differentiate between self-induction and mutual induction - State tranformer turn-ratio - Explain output waveform on digital oscilloscope - Practical Activity: Construct a step down and step up transformer with an appropriate ratio. | Theory- 03Hrs Practical- 12Hrs Total-15Hrs | - Test Bench - Transformer - Diode - Capacitors - Rectifier IC - Transformer - Load Bank - Wiring cables - Multi meter | Class Room and Workshop |
| - Make Star and Delta connection of three phase transformer | Trainee will be able to: - Plan a delta connection on primary side of transformer and star connection on secondary side of transformer - Demonstrate the PMT. - Record waveforms and parameters. | - Explain star topology - Explain delta topology - Describe the operation of star-delta circuit in three phase motor - Define PMT(Pole Mounted Tranformer) and its features Practical Activity: Construct a star-delta connection via three phase transformer and record load variations | Theory- 03Hrs Practical- 12Hrs Total-15Hrs | - Test Bench - PMT - Junction Box - Star Delta Plates - Transformer - Load Bank - Wiring cables - Multi meter | Class Room and Workshop |

# Basic Electrical Engineering:

## OPERATE MEASURING INSTRUMENTS.

Objective: This competency standard covers the skills and knowledge required to Operate Ampere meter, Volt meter & Ohm meter.

Duration:  30 Hours			Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| LU1. Operate Ampere meter. | Trainee would be able to - Identify Ampere meter. - Make a parallel circuit with three different resistors on breadboard. - Adjust proper range of Ampere meter as per load. - Connect Ampere meter in series to each resistor to measure the current. - Turn on the supply and note the reading of current against each resistor. | - Define current and its units. - Define resistance and its units. - Describe series circuit. - Describe parallel circuit. - Enlist the name of various meters. - Describe purpose of Ampere meter. - Explain how Ampere meter is connected in the circuit. - Explain the Meter adjustment as per the desired scale. - How to use breadboard for circuit development? Practical Activity: Measure current across each resistor (connected in series) in an active circuit with the help of Ampere meter. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09 Hrs. | - Multi meters. - Resistors of different values. - Jumper wire. - Breadboard. | Class Room and Workshop |  |
| LU2. Operate Volt meter. | Trainee would be able to: - Identify volt meter. - Make a series circuit with three different resistors on bread board. - Adjust proper range of Volt meter as per load. - Connect volt meter in circuit. - Take the reading. | - Define voltage and its units. - Define resistance and its units. - Describe series circuit. - Describe purpose of Volt meter - Explain the Meter adjustment as per the desired scale. - Explain how voltmeter is connected in the circuit. Practical Activity: Measure voltage across each resistor (connected in series) in an active circuit with the help of Volt meter. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09 Hrs. | - Multi meters. - Resistors of different values. - Jumper wire. - Breadboard. | Class Room and Workshop |  |
| LU3. Operate Ohm meter. | Trainee would be able to: - Identify Ohm meter. - Adjust proper range of Ohm meter as per resistance value. - Connect Ohm meter with resistor. - Take the reading. | - Define resistance and its units. - Define Ohm’s Law. - Define variable resistor. Potentiometer. Rheostat. - Explain the Meter adjustment as per the desired scale. - Describe purpose of Ohm meter. Practical Activity: Measure resistance across different resistors in an active circuit with the help of Ohm meter. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs. | - Multi meters. - Resistors of different values. - Jumper wires. - Breadboard. - Variable Power supply |  | Class Room and Workshop |

# Instrumentation Workshop Practice

- Connect Tubing and Fittings

Objective: After this competency standard the student will be able to select appropriate device or equipment, Obtain measurements using a range of measuring devices.

Duration: 36 Hours				Theory: 06 Hours						Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Measure the parameters using Vernier Caliper & Micrometer | Trainee will be able to: - Identify measurement requirements from specifications. - Select appropriate instrument for the measurement - Apply correct measuring techniques as required. - Record the measurements as per requirements. - Generate an output report. | - Explain measurement techniques. - Explain Vernier caliper - Explain Micrometer Practical task: Measure the dia. of a cylinder using micrometer. Measure the length of cylinder using vernier caliper and calculate the volume of cylinder. | Theory- 02Hrs Practical- 12Hrs Total- 14Hrs | - VernierCalliper - Steel rule - Micrometer - Measurement samples - Iron Bar - Iron Cylinder | Class Room and Workshop |
| LU-2: Use the Hand & Power Tools (Tube Cutter, Tube Bender ) | Trainee will be able to: - Select the appropriate hand/power tool. - Use hand/power tools to achieve desired outcome - Identify the unsafe & faulty tools and forward them for repair - Store hand tools safely in appropriate location as per organizational SOPs - Perform adjustment/ alignments over a range of Hand/ power tools. - Sharpen the hand tools if required. | - Explain types of hand tools. - Explain uses of hand tools. - Explain safety precautions for hand tools - Describe method for bending pipes and tube according to required dimension Practical task: Cut a tube according to given length and bend it to an angle of 45 degree. | Theory- 02Hrs Practical- 06 Hrs Total- 8Hrs | - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - Half round 6” file - Copper Tube | Class Room and Workshop |
| LU-3: Prepare the tubes for operations | Trainee will be able to: - Gather materials, required for the work. - Select tools, equipment and testing devices required for operation. - Check the workability of tools. - Perform calculations for bends and radius. | - Explain brazing process and brazing materials. - Describe mechanical properties of copper and steel tubes Practical task: Cut tubes of length 200 mm and 100 mm. Braze the tube of length 100 mm to opposite end. | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Electronic Calculator - Steel rule - Copper Tube - Brazing Equipment | Class Room and Workshop |
| LU-4: Attach Fittings to the tubing | Trainee will be able to: - Perform following operations to prepare the tube for installation. - Cut, flare, swage, bend, braze - Attach the tubing as per the circuit diagram. - Perform the Test Run on Equipment - Check for leakages & rectify where applicable. | - Demonstration of flaring/ swaging a tube - Demonstration of brazing process and brazing - materials. - Demonstration of leakage testing of brazed joints. - Demonstrate different types of fittings for tubes. Practical task: Cut copper tube to a length of 80.5 mm and make a 90˚bend from 35 mm from one end. Fit an elbow and attach a tube of length 150 mm to other end. | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Tube cutter - Tube benders - Steel rule - Swaging tools - Flaring Tool - Half round 6” file - Soldering & brazing equipment | Class Room and Workshop |

- Perform Basic Machining Operation.

Objective: After this competency standard the student will be able to select appropriate device or equipment, Obtain measurements using a range of measuring devices.

Duration: 36 Hours				Theory: 06 Hours						Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Prepare material & machine for operations | Trainee will be able to: - Sketch & interpret the mechanical drawings - Select materials according to the specifications. - Mark & center punch the work piece - Select the appropriate machine for operation - Set speed and feed on the machine. - Check the workability of machine and its tools & accessories. - Perform a test run on the machine | - Describe properties of ferrous and nonferrous material. - Explain parts and working of pedestal drill machine. - Explain Specifications, types of drill bits Practical Activity: Set a speed of 100 RPM on drill machine and hold drill bit on drill chuck. | Theory- 01Hrs Practical- 09Hrs Total- 10Hrts | - Marking table - Height Gauge with Scriber - Angle Plate - Scriber - Hammer - Centre punch - Steel rule - Drill Machine | Class Room and Workshop |
| LU-2: Operate the Drilling machine | Trainee will be able to: - Select the suitable Drill bit for operation - Perform drilling operation as per operations manual of machine - Perform counter sinking/ counter Boring - Perform Reaming operation. - Perform post-operative measures on the machine and work piece. | - Explain types & working of drill machines. - Explain types of drill bits, counter bore, counter sink , - Explain hand and machine reaming operation and reamers. Practical Activity: Drill a hole of dia 5.75 mm on a Mild steel plate and perform counter boring and machine reaming. | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Bench drilling machine - Drill bits & Reamers - Hand Drilling machine - Measuring & marking tools - Mild Steel Plate | Class Room and Workshop |
| LU-3: Perform Grinding operations | Trainee will be able to: - Select the suitable Grinding wheel for operation - Perform Grinding operation as per operations manual of machine - Perform operations for checking the surface finish - Perform post-operative measures on the machine and work piece. | - Explain types and applications of grinding wheels. - Measurement of surface finish. - Describe Working, operation, and setting of grinding machines. - Explain work holding devices. Practical activity: select a suitable grinding wheel for grinding high carbon steel with 63 HRC. Perform surface grinding. | Theory- 01Hrs Practical- 6Hrs Total- 07Hrs | - Grinding Accessories - Grinding wheels - Milling Machine and accessories - Wheel balancing & dressing attachment - Carbon Steel 63 HRC | Class Room and Workshop |
| LU-4: Operate the Lathe machine | Trainee will be able to: - Select the suitable turning/boring tools for operation - Perform Turning operation as per operations manual of machine - Perform Facing operation as per operations manual of machine - Perform Drilling/Boring operation as per operations manual of machine - Perform Reaming operation. - Perform post-operative measures on the machine and work piece. | - Explain operation and setting of lathe machine. - Explain Grinding HSS lathe tool for finishing and roughing. - Explain use of boring tool and reamers. Practical Activity: Turn a work piece of diameter 50 mm and length 70 mm. Pre drill dia. 13 mm and bore a hole of 35 mm. | Theory- 03Hrs Practical- 09Hrs Total- 12Hrs | - Lathe machine ,accessories and tools - Tool Lathe - Turning Tools - Work holding devices - Hand Tools | Class Room and Workshop |

# Computer Application

## APPLY BASIC COMPUTER SKILLS TO CREATE A VARIETY OF DOCUMENT

Objective: After completing this competency, the student will be able to apply computing fundamentals and concepts & key critical thinking skills and will be hands on experienced in practicing ethical and appropriate behavior required for the responsible use of technology.

Duration: 30 Hours				Theory: 06 Hours						Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Determination of computer requirements and assemble procedures | - Classify the hardware components of Computer. - Assemble the motherboard and other peripherals in casing. - Install the computer software for operations of peripherals | - Describe the basic input and out devices and their use. - Explain the basic hardware configuration required for operating software. Practical Activity: Assemble hardware components. | Theory- 0.5 Hrs Practical-6 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU-2: Installation, Testing and inspection of operating system and applications. | - Install the required operating System with Device drivers. - Install and execute test of required Application Software - Install the necessary plug-ins and other software’s and Making the Ghost of Hard Disk and data recovery - Check the appropriate operation and execution of system as per standard and demonstrate the test results for the (system requirements) customer satisfaction. | - Describe installation and configuration procedures of computer hardware and operating system Practical Activity: Install operating system (windows) | Theory- 0.5 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU-3: Apply Input Methods and Execute Basic Computer Operations | - Record the speed, accuracy via utilizing keyboarding techniques. - Use system tools and program interface - Utilize resources to obtain assistance - Implement proper network user I.D and procedures, protocol - Identify the file formats and extensions. - Copy, Paste and send to data from various sources or storage devices - Design a (requirement) paperwork to purchase a computer using hardware and software specifications - Installation of drivers according to system requirement. | - Explain the basics of creating documents in Spreadsheet in Excel, word and PDF Applications. - Describe uses and functions/formulas, charts and graphs Practical Activity: Install Drivers as per system requirements and Copy, Paste and send data from various sources to storage devices. | Theory- 1 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU4. Prepare/Construct Documents using Spreadsheet Applications | - Create, design, Format and edit spreadsheets, charts and graphs - Create basic functions/formulas - Manipulate multiple worksheets in a workbook - Apply advanced functions/formulas | - Explain the basics of creating documents in Spreadsheet in Excel, word and PDF Applications. - Understand the uses and functions/formulas, charts and graphs Practical Activity: Make a spread sheet by using functions formulae, charts or Graph | Theory- 1 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU5. Construct (prepare) Documents using power point presentation/ Applications. | - Demonstrate oral presentation Using a specified slide number, duration and a selected theme and back ground - Design, create, and deliver a self-running electronic slideshow - Design &create Effective Power Point Presentation using advance features. | - Explain creating the PowerPoint presentations, Formatting and editing, adding, subtracting slide text etc. Practical Activity: Prepare a simple presentation on power point and show by slides | Theory- 1 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU6.Construct (prepare) Documents using Database Applications | - Create and manipulate a database - Modify database using queries - Use import/export features - Construct Business Documents using Presentation Applications - Apply design and layout principles to presentations | - Describe database. - Explain how to create database and its manipulation. - Describe database queries. - Define import / Export features - Describe business document by using presentation application. - Describe design and layout principles to presentation. - Explain the concepts of public domain, copy protection, licensing etc. - Explain the database import/export to other Office apps. Practical Activity: Prepare a data base document and show by applying design and layout to presentation. | Theory- 1 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos/ Demos - Desktop computer - Computer table - MS Office | - Class Room - I.T Lab |
| LU7. Use the Communication Networks | - Integrate input from software applications - Design the Online Classroom Portals - Exercise internet surfing. - Identify copyright principles before accepting - Utilize online productivity tools - Apply the security applications. | - Explain the safe internet browsing. - Explain Security applications Practical Activity: Design online classroom portals by on-line productivity tools | Theory- 1 Hrs Practical-3 Hrs Total- 4 Hrs | - Multimedia for Videos / Demos - Desktop Computer & Accessories - Computer table - MS Office - Internet connection | - Class Room - I.T Lab |

# Basic Electrical Wiring (Single Phase):

## MAINTAIN TOOLS & EQUIPMENT.

Objective: This competency standard covers the skills and knowledge related to arrange tools/equipment, maintain tool box, insulate tools/equipment, calibrate measuring tools and manage proper inventory of used/unused tools/equipment. Trainee will be expected to follow the procedures to maintain the tools/equipment.

Duration: 30 Hours			Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Arrange Tools and Equipment | Trainee would be able to: - Identify tools and equipment. - Interpret job card. - Prepare list of tools and equipment as per requirement. - Collect tools and equipment from store. | - Define tool usage w.r.t job. - Differentiate similar tools as per assigned job. - Explain the proper protection of tools before and after use. Practical Activity: List the necessary tools for wire cutting and jointing. | Total 03 Hrs. Theory: 01Hrs. Practical: 02 Hrs | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. | Class Room and Workshop |
| LU2. Maintain Tool Box | Trainee would be able to: - Check physical conditions of tools and equipment before use - Perform preventive maintenance as per standards - Perform corrective maintenance of tools as per requirements - Clean tools and equipment after use - Place tools and equipment at appropriate place. | - Define the cleaning method for metallic/ nonmetallic tools. - Define the parameter considered before using sharp tools. - Define the criteria for handling electric test equipment. - Define the storage method for sensitive test equipment’s Practical Activity: Inspect the malfunction issue in the meters used in the defined job | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Cables. - Wires. - Wire stripper. - Soldering Iron - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - PCB Kit | Class Room and Workshop |
| LU3. Insulate Tools and Equipment | Trainee would be able to: - Select insulated tools and equipment - Apply insulated tools and equipment as per standards. | - Define the importance of insulation. - Explain the material used in insulation of tools. Practical Activity: Insulate damaged insulated tools available in workshop. | Total 06 Hrs. Theory: 01 Hrs. Practical: 05 Hrs | - CombinationPlier. - Cutter Plier - Nose plier. | Class Room and Workshop |
| LU4. Calibrate measuring tools | Trainee would be able to: - Check calibration status of the measuring tools - Perform calibration of measuring tools as per standards - Record calibration test results. | - Define the term calibration. - Define calibration process in measurement tools. - Define the method for result keeping as record. Practical Activity: Test the measuring instrument’s calibration for accurate measurement. | Total 06 Hrs. Theory: 01 Hrs. Practical: 05 Hrs | - Analog Multimeter - Digital Multimeter - Wattmeter - Voltmeter - Ammeter | Class Room and Workshop |
| LU5. Manage Inventory of tools and equipment | Trainee would be able to: - Check tools and equipment as per record - Report for faulty tools and equipment to supervisor - Generate demand for deficit tools and equipment - Maintain all records of tools and Equipment. | - Define the format (Performa) for faulty tool reporting. - Explain the method for presenting the demand/replacement for/of new tool. - List the inventory of tools as per record. Practical Activity: Prepare a list of old and new tool as merge list and discard the old tool. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs | - Wire Stripper - Solder wire - Soldering paste - CombinationPlier. - Cutter Plier - Nose plier - Multimeter | Class Room and Workshop |

## MAKE CABLE/WIRE JOINTS

Objective: This competency standard covers the skills and knowledge related to make joints of cable during wiring and breakage of wires, Make Cross/Twist joint, Make Straight/Married joint, Make T- Joint, Make Rat tail joint, Make Britannia joint.

Duration: 30 Hours			Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Make Cross/Twist joint | Trainee would be able to: - Select the cable. - Strip the wire according to 50mm. - Twist the conductors. - Solder the conductors - Insulate the joint | - Define joint and its application. - Define the term wire insulation. - Define the uses of Cross/Twist joint. - Explain the soldering techniques. - Explain the importance of wire insulation. Practical Activity: Make Cross/Twist joint and insulate it. | Total 06 Hrs. Theory: 02 Hrs. Practical: 04 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU2. Make Straight/Married joint | Trainee would be able to: - Select the cable. - Strip wire to 75mm according to joint requirement. - Intermingle the conductors to 60mm into each other. - Twist 60mm conductors leaving behind 15mm of each cable. - Solder the conductor. - Insulate the joint. | - Explain straight / married joint and its application. - Define the term wire insulation. - Define the uses of straight/Married joint. - Explain the soldering techniques for strengthen the joint. - Explain the importance of wire insulation. Practical Activity: Make the straight / Married joint and insulate it. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Combination Plier. - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU3. Make T-Joint | Trainee would be able to: - Select the cable - Remove the insulation of cable 1 to 50mm from where a connection is required - Separate conductors of cable 1 equally - Take another 12 mm stripped wire 2 - Insert between two equally half conductors of cable 1 and twist. Half conductors clockwise and half anti-clock wise of cable - Solder the joint. | - Explain Make T-Joint and its application. - Define the term wire insulation. - Define the uses of T-Joint joint. - How soldering strength, the joint. - Highlight the importance of wire insulation in terms of protection. Practical Activity: Make the T-joint and insulate it. | Total 05 Hrs. Theory: 01 Hrs. Practical: 04 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - Plier. - Nose plier. - Insulation remover. - Solder | Class Room and Workshop |
| LU4. Make Rat-tail joint | Trainee would be able to: - Select the single conductor wires - Strip both the wires to 5mm - Twist the conductor - Insulate the joint - Solder the joint | - Explain Rat tail joint and its application. - Explain the term wire insulation. - Define the uses of rat tail joint. - Explain soldering strength of the joint. Practical Activity: Make the Rat tail joint and insulate it. | Total 05 Hrs. Theory: 01 Hrs. Practical: 04 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |
| LU5. Make Britannia joint | Trainee would be able to: - Select the cable. - Strip both cables to 75mm. - Bend the tips of both cable right angle about to 6mm. - Hold the two cables overlap 50mm with tips in opposite direction. - Take another bare conductor of 1mm and wrap around in both directions to 6mm. - Solder the joint. - Insulate the joint. | - Explain Britannia joint and its application. - Define the wire insulation. - Define the uses of Britannia joint. Practical Activity: Make the Make Britannia joint and insulate it. | Total 05 Hrs. Theory: 01 Hrs. Practical: 04 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Cutter Plier - Nose plier. - Solder Iron | Class Room and Workshop |

## PREPARE AND INSTALL DISTRIBUTION BOARDS

Objective: This competency standard covers the skills and knowledge required to prepare and install distribution board according to provide protection and load division to wiring, prepare estimate for wiring material, Prepare Distribution Board, Install Distribution Board and wiring.

Duration: 36 Hours			Theory: 6 Hours			Practical: 30 Hours			Credit Hours: 3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1.Prepare estimate for wiring material. | Trainee would be able to: - Develop Basic Drawing - Perform Estimation of Materials - Calculate Labour Cost | - Define the importance of wiring plan (drawing). - Define the term cost estimation. - Define the attributes of Labour cost. - Explain calculation chart for labour cost Practical Activity: Analyze the available resource and estimate the cost of wiring material as per given budget. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09 Hrs | - Cables - Wires. - Minature Circuit Breaker (MCB) - Molded Case Circuit Breaker (MCCB) - Resudual Current Device (RCD) - Earth Leakage Circuit Breaker (ELCB) - Distribution Board (DB) - Socket and switches | Class Room and Workshop |
| LU2.Prepare Distribution Board | Trainee would be able to - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity - Select outgoing Miniature Circuit Breaker (MCB) according to load - Provide space for in DB for further MCB - Select Voltmeter, ampere meter and indicator according to load and phases - Select wire according to load and for wiring in Distribution Board (DB) - Make neutral common for all load - Connect accessories according to the circuit diagram | - Define the types of circuit breakers. - Differentiate between RCCB(Residual current circuit breaker)/MCB.(miniature circuit breaker. - Explain different types of distribution board. - Explain the uses of different types of indicating instrument. - Explain importance of Neutral wire in distribution board. - Explain different accessories use in distribution wiring. Practical Activity: Inspect the overall requirement for as electrical distribution system as per the designated 3 phase load. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Cables - Wires. - Wire stripper. - Solder wire. - Soldering paste - CombinationPlier - Nose plier. - Insulation remover. - Solder. - MCB - MCCB - RCD - ELCB - DB - Socket and switches | Class Room and Workshop |
| LU3. Install Distribution Board and wiring | Trainee would be able to - Fix the distribution board - Take wire from DB to load without joint - Distribute load equally on all phases | - Define the DB installation with earthling and insulation. - Explain the method to expand the wiring distribution in home or office from the distribution board. - Define how to distribute the load. Practical Activity: Develop the single phase distribution board for designated work place. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09 Hrs | - Cables - Wires. - Wire stripper. - Combination Plier - Cutter Plier - Nose plier.. - MCB - MCCB - RCD - ELCB - DB - Socket and switches | Class Room and Workshop |

## CARRYOUT BASIC ELECTRICAL INSTALLATION

Objective:This competency standard covers the skills and knowledge required to lay cables, perform single & three phase connections, basic electric wiring and wiring test for carrying out basic electrical Air Condition (AC) installation. The trainee will be required to follow company guidelines as well as the procedure for carrying out basic electrical AC installation.

Duration: 36 Hours			Theory: 6 Hours			Practical: 30 Hours			Credit Hours: 3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Basic Electrical wiring | Trainee would be able to - Measure cables as per requirement - Connect cables - Perform joints - Insulate Joints | - Define different types of cable. - Explain simple electrical circuit - Define the difference between cable and wire. - Discuss different electrical wiring diagrams. Practical Activity: Develop the single phase distribution wiring network for a single floor building. | Total 09 Hrs. Theory: 03 Hrs. Practical: 06 Hrs | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |
| - Conduct wiring Test | Trainee would be able to - Operate multi-meter for voltage and current - Perform continuity test - Perform polarity test - Perform earthling test - Perform insulation test - Record test results | - Define multi meter analog/ DMM. - Describe the use of megger and earth tester. - Define the importance of meter precision. - Define the process of insulation test. Practical Activity: Test the following attributes of the wire - Insulation test. - Current voltage test. - Earthing test. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Cables - Wire stripper - Plier - Nose plier - Solder wire - Soldering paste - Megger | Class Room and Workshop |
| - Lay Cables | Trainee would be able to - Interpret electrical drawing / document - Identify cables - Lay cable. - Perform earthling | - Define different types of cable - Define key features of earthling with examples. - Explain the cable laying process in different ground conditions. - Explain the types of earthling w.r.t service area (domestic, industrial, commercial) Practical Activity: Setup an earth pit for 120 yards house. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover - Earth plate. | Class Room and Workshop |
| - Perform single-phase Connection | Trainee would be able to - Select cable gauge - Select cables colours - Connect cables - Insulate Joints | - Define the AC fundamentals. - Define the wire gauge and its calculation. - Explain the cable connection and its joints. - Explain the process of insulation of cable. Practical Activity: Develop a cable joint for wire connection in the distribution board. | Total 05 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Cables - Solder - Wire stripper - CombinationPlier - Nose plier - Solder wire - Soldering paste | Class Room and Workshop |
| - Perform three phase Connection | Trainee would be able to - Select cable Gauge - Select cables colours - Connect cables - Insulate Joints | - Define the AC fundamentals. - Define the wire gauge and its calculation. - Explain the difference in single and three phase circuits of electrical distribution. - Explain the three phase 3 wire and three phase 4 wire circuits. - Define the difference between cable and wire. Practical Activity: Connect a 3 phase Motor with a contactor using RYB phase configuration. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Cables - Solder - Wire stripper - Plier - Wires - Nose plier - Solder wire - Soldering paste - Insulation remover | Class Room and Workshop |

## INSTALL SIMPLE ELECTRICAL WIRING

Objective:This competency standard covers the skills and knowledge required to make single pole switch circuit, make single pole switch socket circuit, make two-way switch circuit, make series/test lamp circuit. Make intermediate switch circuit. Make of Tunnel circuit, Make of impulse switch circuit.

Duration: 36 Hours			Theory: 6 Hours			Practical: 30 Hours			Credit Hours: 3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Make single pole switch circuit. | Trainee would be able to - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the term pole and throw in a switch. - Define the various types of switch working and applications. - Define various types of wire types and ducting’s w.r.t specification. - Name various connectors and lug used in cable connections. - Explain various types of electrical supply standards. Practical Activity: Test and install the electrical wire/ cable as per given cable plan with distribution board. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Screw - Single pole switch. - Bulb holder - Bulb - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make single pole switch socket circuit. | Trainee would be able to - Draw wiring diagram of single pole switch socket circuit. - Draw Current path diagram of single pole switch socket circuit. - Draw layout diagram of single pole switch socket circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the phase, neutral, earth in a switch and socket. - Define various types of wire types and ducting’s w.r.t specification. - Define connectors used in switch socket connections. - Define various types of electrical supply standards for 2/3 pin switch sockets. - Explain the connections of multiple switch socket arrangements in an electrical board as per current requirement. Practical Activity: Test and install the electrical wire/ cable as per given cable plan and mentioned specifications for an electrical working board based on multi socket arrangement. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make two-way switch circuit. | Trainee would be able to - Draw wiring diagram of two-way switch circuit. - Draw Current path diagram of two-way switch circuit. - Draw layout diagram of two-way switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the various types of switch working and applications. - Define structure of Two way switch with application and operation. Practical Activity: Develop a start case wiring for 2 floors. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make series/test lamp circuit. | Trainee would be able to - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define series circuit. - Define parallel circuit - Discuss the difference between series and parallel circuit. - Explain the test procedure of Series circuit. - Selection of resistive load for series circuit. - Define the series circuit installation for testing purpose. Practical Activity: Develop a series test lap for testing purpose. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make intermediate switch circuit. | Trainee would be able to - Draw wiring diagram of intermediate switch circuit. - Draw Current path diagram of intermediate switch circuit. - Draw layout diagram of intermediate switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the various types of switch working and applications. - Define structure of intermediate switch with application and operation. - Explain multi stage intermediate switch with applications. Practical Activity: Develop an electrical system to operate load from various location using intermediate switch. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |
| - Make of Tunnel circuit | Trainee would be able to - Draw wiring diagram of tunnel circuit. - Draw Current path diagram of tunnel circuit. - Draw layout diagram of tunnel circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Define the term pole and throw in an electrical switch. - Define the various types of switch working and applications. - Explain the function and operation of tunnel wiring with applications. - Explain multi location tunnel circuit with applications Practical Activity: Design a demonstration circuit for mine engineers. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs. | - Electrician Tool kit. - PVC Pipe/Duct. - PVC clamp. - Wooden/PVC board. - PVC wire according to load - Circuit Breaker. - Screw - Single pole switch. - Lamp holder - Lamp - AVO meter. - Test Indicator | Class Room and Workshop |

## PERFORM TESTING OF ELECTRICAL WIRING

Objective::This competency standard covers the skills and knowledge required to Perform Earth leakage Test, Perform Open Circuit Test, Perform Short Circuit Test, Perform Continuity/Loop Test, Perform Visual Test, Perform Insulation Test, Perform Polarity Test, Perform Earth Resistance Test, Perform Murray Loop Test, and Perform BLAVIER & Earth Loop Test.

Duration: 36 Hours			Theory: 6 Hours			Practical: 30 Hours			Credit Hours: 3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Open Circuit Test | Trainee would be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect ohmmeter between starting and ending terminals of live conductor. - Ensure the reading must be near to 0 ohm. - Repeat P2 to P3 for neutral and earth conductor. | - Define open circuit. - Define open circuit attributes. - Explain the ohm resistance in the open circuit. Practical Activity: Test the cable for open circuit using earth tester. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Short Circuit Test | Trainee would be able to - Disconnect the supply source, neutral conductor and earth conductor from distribution fuse box. - Connect one terminal of ohmmeter with live conductor. - Connect the other terminals of ohmmeter with neutral conductor. - Ensure the reading must be infinity (No reading). - Connect ohmmeter between live conductor and earth conductor. - Ensure the reading must be infinity (No reading) | - Define short circuit. - Define short circuit attributes. - Explain the ohm resistance in the short circuit. Practical Activity: Test the cable for short circuit using earth tester. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Continuity/Loop Test | Trainee would be able to - Connect all metal clad switches, metal parts, conduits with earth. - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and earth. - Measure the resistance value with tester which must not be more than 1 ohm. | - Define the term circuit continuity. - Define short circuit attributes. - Explain the ohm resistance and circuit continuity or loop test. Practical Activity: Test the transmission link for ensuring continuity of the cable using earth tester. | Total 3.5 Hrs. Theory: 0.5Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| - Perform Visual Test | Trainee would be able to - Check the wires joints. - Check if there is any spark. - Check over heating of wires. - Check all the appliances are on or fluctuating. - Check all indications of meters. - Check Voltages on all phases. - Check the DB and Breakers. - Check the main supply is coming properly. | - Define the cable visual test methods. - Define the physical state of the damage cable. - Observe structural change in the cable due to spark or heat. - Define the cause of increase in resistance due to damage in the cable. - Define the importance of cable grounding. Practical Activity: A fan was operating at its maximum speed. It stops and get out of order. Perform the visual test for fault finding. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity - Tester. - Breakers | Class Room and Workshop |
| - Perform Insulation Test | Trainee would be able to - Switch off the main breaker. - Short circuit all lighting connections. - Connect merger between line and earth. - Rotate the merger to generate the voltage. - Read the merger dial and ensure that the insulation resistance should not be less than 50M ohm of any single circuit. | - Define the need of insulation testing. - Define the loss caused due to weak insulation. - Explain various insulation testing method. Practical Activity: Test a cable for its insulation integrity using insulation tester. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| - Perform Polarity Test | Trainee would be able to - Switch off the main switch. - Disconnect all loads. - Switch on all circuit control switches. - Connect ohm meter between main line and all the terminal of sockets and load points one by one. - Ensure meter reading value must be less than 1 ohm. | - Define the term polarity. - Explain the importance of circuit polarity. - Define the visual inspection method to test polarity. - Define the continuity test method to test polarity. - Define the ohmic effect on polarity. Practical Activity: Test the polarity of a lighting circuit using ohm meter. | Total 04 Hrs. Theory: 01 Hrs. Practical: 03 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers | Class Room and Workshop |
| - Perform Earth Resistance Test | Trainee would be able to - Place 3 electrodes in earth at distance of 10m apart between every electrode. - Connect terminal E of earth resistance tester to first electrode. - Connect terminal P of earth resistance tester to the second electrode. - Connect terminal C of the earth resistance tester with third electrode. - Measure the resistances after applying specific voltage. - Repeat P1 to P5 by interacting earthling regions. - Ensure 3 readings must be equal. | - Define the term earth resistance. - Define the function of electrodes. - Define working of Earth tester with example. - Define the standard range of earth resistance. - Define connection procedure of earth resistance tester. Practical Activity: An electricity lab is being setup for research purpose. Find the earth resistance to insulate the lab by making earthling pit at the location using earth resistance tester. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs | - Sockets - Loads - Supply source - Distribution Box - Ohmmeter - Continuity Tester. - Breakers - Megger | Class Room and Workshop |
| - Perform Earth leakage Test. | Trainee would be able to - Ensure the socket must be at least 13A for RCD plug in. - Adjust the sensitivity of RCD. - Ensure tripping time must not exceed than 200msec. - Plug the RCD in socket and switch on socket outlet. - Ensure P-N and - P-E light up. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move the selection switch to 180o. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec. - Move selection switch to 00. - Press the test button. - Ensure that RCD will trip and reading must be shown less than 200msec | - Define earthling and its purpose. - Explain the operation of Earth leakage tester. - Define the indicators used in earth tester. - Explain the procedural steps involve in earth leakage testing. Practical Activity: Measure the earth leakage current of the cable using earth tester. | Total 07 Hrs. Theory: 01 Hrs. Practical: 06 Hrs | - Sockets - RCD - ELCB - Loads - Supply source - Distribution Box - Ohmmeter - Earth resistance tester - Continuity - Tester. - Breakers - Megger | Class Room and Workshop |

## REPAIR/ MAINTENANCE OF ELECTRICAL INSTALLATIONS

Objective:This competency standard covers the skills and knowledge required to Analyse Fault in Electrical Installations, troubleshooting of electrical equipment’s and Carry out Preventive Maintenance. Carry out repair and maintenance of electrical installations at workplace in accordance with the manufacturer’s instructions and organizational requirements.

Duration: 30 Hours			Theory: 6 Hours			Practical: 24 Hours			Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze Fault in Electrical Installations | Trainee would be able to - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the connection of installed equipment according to electrical drawing - Check the faulty components | - Define the term fault. - Define the importance of electrical drawing in diagnostics. - Define the basic operation of Switch gear. - Define the use of Insulation tester. Practical Activity: Elaborate the procedural steps involved in analyzing the fault in Electrical Installations. | Total 08 Hrs. Theory: 02 Hrs. Practical: 6 Hrs. | - Set of Screw Drivers - Set of Nose Pliers - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |
| - Troubleshoot electrical equipment’s | - Gather information. - Identify the malfunction - Identify which parameters need to be evaluated - Identify the source of the problem - Perform root cause analysis - High resistance connection test results | - Define procedure of identifying root cause of fault - Define parameters of evaluating to identify the problem Practical Activity: Explain the general methods of troubleshooting the electrical equipment’s according to prescribe procedure. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter |  |
| - Carry out Preventive Maintenance | Trainee would be able to - Perform preventive maintenance as specified by the manufacturers or SOP - Check out the equipment logging sheet and updates logging - Update Maintenance/service records as per requirement | - Define the term maintenance. - Define preventive maintenance. - Define key attributes of preventive maintenance. - Define advantages of preventive maintenance. - Explain the importance of data logging sheet in preventive maintenance activity. Practical Activity: An elevator is working error free from last six months. Describe the procedure for preventive maintenance to keep the elevator smooth run. | Total 11 Hrs. Theory: 02 Hrs. Practical: 09 Hrs. | - Multimeter - Phase Sequence Meter - Philips Screw drivers Set - Megger (Insulation Tester) - Combination Plier Set - Clamp Meter | Class Room and Workshop |

## CARRY OUT ELECTRICAL PLANNING AND ESTIMATION

Objective:This competency standard covers the skills and knowledge required to analyse customer requirement and specification, Plan and estimate domestic electric work, Plan and estimate commercial   electric work and Plan and estimate industrial electric work.

Duration: 30 Hours			Theory: 9 Hours			Practical: 21 Hours			Credit Hours: 3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze customer requirement and specification | Trainee would be able to - Draw the general value chain of the end user. - Highlight the various stages and set of activities in the value chain drawing - Enlist the electrical appliances/materials required in electrical development process - Identify critical stages in the development - Identify the safety aspect required in the critical stages of the development - Enlist the possible energy efficient appliance/devices and global trends in electrical works - Analyse the client requirement at broad level. - Generate a report of various stages of electrical works. - Proposed appliance/materials as per global trends and clarify the technical specification. | - Define the term customer requirement and needs. - Define how to explore the customer requirement. - Define how to present the proposal to satisfy the customer need. - Explain how to develop cost effective and viable solution to fulfil customer needs. - Define how to suggest more than one solution to customer to keep the standard. Practical Activity: A customer is interested to make his work place an energy efficient office. Design a proposal as per defined requirement. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room |
| - Plan and estimate domestic electric work | Trainee would be able to - Plan the client requirement at broad level from the proposal. - Plan the electrical appliances/materials / used in different stages of the electrical development process - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for lighting and appliances - Plan a main and sub distribution board. - Ensure safety system. | - Define the survey process to formulate the domestic electrical plan. - Define various methods of data collection for cost and need analysis for domestic appliances and accessories. - Define how to present the material and cost estimation for the domestic need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. - Define how to suggest more than one solution to customer. Practical Activity: A newly constructed house needs some electrification. Design a proposal as per customer requirement. Domestic standard appliances may be suggested in the proposal to keep it cost effective. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room and Workshop |
| - Plan and estimate commercial electric work. | Trainee would be able to - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan a main and sub distribution board. - Ensure safety measures in development process. - Enlist the material required. | - Define the survey process to formulate the commercial electrical plan. - Define various methods of data collection for cost and need analysis for commercial appliances and accessories. - Define how to present the material and cost estimation for the commercial need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. Define how to suggest more than one solution to customer Practical Activity: A supermarket has to start a new section of electronic appliances. Security system has to be installed in the area for surveillance purpose. Develop a proposal according to the work space design to provide ease to the byer so one can test the appliance before purchase. The proposal should present durable electrical fixtures & accessories for commercial use. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables | Class Room and Workshop |
| - Plan and estimate industrial electric work. | Trainee would be able to - Analyse the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan 3-phase line for heavy loads - Plan a separate control panel box for heavy machinery. - Plan a main and sub distribution board. - Design a safety system for protection of machinery and labour. - Assign color scheme for safety measures | - Define the survey process to formulate the industrial electrical plan. - Define various methods of data collection for cost and need analysis for industrial equipment and accessories. - Define how to present the material and cost estimation for the industrial need. - Explain how to estimate the cost with market comparison. - Explain how to develop the proposal to for customer. - Define how to suggest more than one solution to customer. Practical Activity: A Factory has to install a solar system to reduce its running cost. To fulfill its industrial need of the factory, develop an EOI or proposal to install the system and integrate it with the existing power system. Suggest high quality standard hardware which can ensure durability. | Total 06 Hrs. Theory: 03 Hrs. Practical: 03 Hrs | - Reference Material - Clipboard - Calculation Sheet - Calculator - Psychometric Charts and Tables . | Class Room and Workshop |

# 4.	List of Tools and Equipment

(FOR A CLASS OF 25 STUDENTS)

| Name of Trade |  | Instrumentation Technology |  |
| --- | --- | --- | --- |
| Sr. # |  | Description |  | Quantity |
| 1. |  | Steel-toed footwear, |  | 25 Nos. |
| 2. |  | hard hat, |  | 25 Nos. |
| 3. |  | safety gloves, |  | 25 Sets |
| 4. |  | appropriate safety glasses, |  | 25 Nos. |
| 5. |  | high visibility vest, |  | 25 Nos. |
| 6. |  | hearing protection, |  | 25 Nos. |
| 7. |  | respirators, masks, |  | 25 Nos. |
| 8. |  | De-electric boots and gloves for protection from electrical shock. |  | 25 Nos. |
| 9. |  | First Aid Box (Include all necessary bandages and medicines) |  | 02 Sets |
| 10. |  | fire extinguishers, |  | 04 Nos. |
| 11. |  | fire blankets, |  | 04 Nos. |
| 12. |  | Sand Bucket with stand |  | 02 Sets |
| 13 |  | basic tools, such as grease gun, air pump etc |  | 10 Sets |
| 14 |  | Allen Key |  | 10 Sets |
| 15 |  | Work Bench (able to hold 06 bench wises) |  | 05 Nos. |
| 16 |  | Bench Wise |  | 30 Nos. |
| 17. |  | hammer, |  | 05 each size |
| 18 |  | screwdrivers, |  | 05 each size |
| 19. |  | pliers, |  | 05 each size |
| 20. |  | self-locking pliers, |  | 05 each size |
| 21. |  | adjustable wrench, |  | 05 each size |
| 22. |  | assorted other wrenches, measuring tape(100m) |  | 05 each size |
| 23. |  | Basic supplies, such as grease, oil, window cleaner, rags, ice scraper, whisk broom. |  | 05 each |
| 24. |  | Color-code cards, utility documentation. Logbooks Service Manuals, OHS Regulation, |  | 10 sets |
| 25 |  | Fix Safe guards |  | 04 Nos |
| 26 |  | Moveable Safe guards |  | 04 N0s. |
| 27 |  | Solder |  | 04 N0s. |
| 28 |  | Wire stripper |  | 04 N0s. |
| 29 |  | Nose plier |  | 04 N0s. |
| 30 |  | Solder wire |  | 04 N0s. |
| 31 |  | Insulation remover |  | 04 N0s. |
| 32 |  | Flat File |  | 25 Nos. |
| 33 |  | Half round file |  | 10 Nos. |
| 34 |  | Round File |  | 10 Nos. |
| 35 |  | Mild Steel Sheet (4 x 8 ft) |  | 02 Nos |
| 36 |  | Mild Steel round work piece (Dia 30) |  | 10 ft |
| 37 |  | Mild Steel flat bar (W:50xL:100xT:20mm) |  | 25 Nos. |
| 38 |  | GI pipe 1”, 2” |  | 20 Feet each |
| 39 |  | Lathe machine (5 ft) |  | 02 Nos |
| 40 |  | Revolving center |  | 02 Nos |
| 41 |  | Dead center |  | 02 Nos |
| 42 |  | Draw bar |  | 02 Nos |
| 43 |  | Face plate |  | 02 Nos |
| 44 |  | Knurling Tool |  | 02 Nos |
| 45 |  | HSS Tool bit |  | 10 Nos |
| 46 |  | Pedestal Drill machine |  | 02 Nos |
| 47 |  | Hand Grinder |  | 02 Nos |
| 48 |  | Drill bits |  | 02 Set |
| 49 |  | Drill shank |  | 02 Set |
| 50 |  | Drill chuck |  | 02 Nos |
| 51 |  | Counter sink tool |  | 02 Nos |
| 52 |  | Counter bore tool |  | 02 Nos |
| 53 |  | Machine reamer set |  | 02 Set |
| 54 |  | Hand Reamer set |  | 02 Set |
| 55 |  | Universal Milling machine |  | 01 Nos. |
| 56 |  | Machine wise |  | 01 Nos. |
| 57 |  | Tail stock with dead center |  | 01 Set |
| 58 |  | Indexing head |  | 01 Nos. |
| 59 |  | Indexing plate set |  | 01 Set |
| 60 |  | Gear cutting tool set |  | 01 Set |
| 61 |  | T-slot cutting tool |  | 02 Nos. |
| 62 |  | Woodruff cutter |  | 02 Nos |
| 63 |  | End mill cutter |  | 02 Nos |
| 64 |  | Portable welding machine 3 Phase 300 Amps. |  | 02 Nos, |
| 65 |  | Welding table |  | 03 Nos, |
| 66 |  | Toggle |  | 02 Nos, |
| 67 |  | Leather gloves |  | 01 Nos, |
| 68 |  | Welding apron |  | 05 Nos, |
| 69 |  | Oxygen Cylinder with protector cap |  | 01 Nos, |
| 70 |  | Acetylene Cylinder with protector cap |  | 01 Nos. |
| 71 |  | Welding Torch |  | 01 Nos. |
| 72 |  | Welding Tip (Nozzle) |  | 01 Set |
| 73 |  | Pressure Regulators |  | 01 Nos. |
| 74 |  | Hose & Hose fittings |  | 30 ft. |
| 75 |  | Filler Rod |  | 01 Box |
| 76 |  | Flux Material |  | 500 gm. |
| 77 |  | Surface Table |  | 01 Nos. |
| 78 |  | - Surface plate. |  | 02 Nos. |
| 79 |  | - Steps and collars. |  | 02 Set |
| 80 |  | Folding rule |  | 02 Nos. |
| 81 |  | Combination set. |  | 02 Nos. |
| 82 |  | Scriber. |  | 02 Nos. |
| 83 |  | Tri square. |  | 02 Nos. |
| 84 |  | Divider. |  | 02 Nos. |
| 85 |  | Spirit level |  | 02 Nos. |
| 86 |  | Radius gauge |  | 02 Nos. |
| 87 |  | Filler gauge |  | 02 Nos. |
| 88 |  | Plug gauge |  | 02 Set |
| 89 |  | Ring gauge |  | 02 Set |
| 90 |  | Outside micrometer |  | 02 Nos. |
| 91 |  | Inside micrometer |  | 02 Nos. |
| 92 |  | Depth micrometer. |  | 02 Nos. |
| 93 |  | Bevel protractor. |  | 02 Nos. |
| 94 |  | Vernier Bevel protractor. |  | 02 Nos. |
| 95 |  | Dial protractor. |  | 02 Nos. |
| 96 |  | Sine bar. |  | 02 Nos. |
| 97 |  | Sine block |  | 02 Nos. |
| 98 |  | Sine plate. |  | 02 Nos. |
| 99 |  | Sine table. |  | 02 Nos. |
| 100 |  | Sine center. |  | 02 Nos. |
| 101 |  | Gear tooth caliper |  | 02 Nos. |
| 102 |  | Gear Inspection machine. |  | 01 Nos. |
| 103 |  | Gear testing machine. |  | 01 Nos. |
| 104 |  | Parkinson Gear Tester. |  | 01 Nos. |
| 105 |  | Multi meters |  | 02 Nos. |
| 106 |  | Resistors of different values |  | 04 Nos. (Each) |
| 107 |  | Small pieces of copper wire |  | 01 roll |
| 108 |  | Breadboard. |  | 04 Nos. |
| 109 |  | Connecting wires |  | 02 Rolls |
| 110 |  | Rheostat. |  | 04 Nos. |
| 111 |  | Incandescent lamp of different watts. |  | 04 Nos. |
| 112 |  | Voltmeter |  | 04 Nos. |
| 113 |  | Ampere meter |  | 04 Nos. |
| 114 |  | Multimeter |  | 04 Nos. |
| 115 |  | Combination plier |  | 04 Nos. |
| 116 |  | Phase tester |  | 04 Nos. |
| 117 |  | Energy meter |  | 04 Nos. |
| 118 |  | Thin coated copper wire. |  | 02 Rolls |
| 119 |  | Dry cell battery |  | 04 Nos. |
| 120 |  | Horse shoe magnet. |  | 04 Nos. |
| 121 |  | Transformer. |  | 02 Nos. |
| 122 |  | Compass needle. |  | 02 Nos. |
| 123 |  | Bar Magnet. |  | 04 Nos. |
| 124 |  | Galvanometer. |  | 02 Nos. |
| 125 |  | Capacitors, 4.7 μF |  | 04 Nos. |
| 126 |  | Capacitors, 10, 100 & 8.2 μF. |  | 04 Nos. (each) |
| 127 |  | Voltmeter. |  | 04 Nos. |
| 128 |  | D.C. power supply unit. |  | 02 Nos. |
| 129 |  | Bridging plugs. |  | 04 Nos. |
| 130 |  | Connecting leads. |  | 04 |
| 131 |  | Multimeter. (With option of Capacitance measurement) |  | 04 Nos. |
| 132 |  | D.C. power supply unit |  | 02 Nos. |
| 133 |  | Variable D.C powers supply 0-30 Voltas |  | 02 |
| 134 |  | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) |  | 02 Nos. (each) |
| 135 |  | D.C Analog or Preferably Digital voltmeter Range 0-50V. |  | 02 Nos. (each) |
| 136 |  | L.E.D (3 to 9 V) |  | 02 Nos. (each) |
| 137 |  | Diode |  | 04 Nos. |
| 138 |  | Resistor |  | 04 Nos. |
| 139 |  | Bread board |  | 04 Nos. |
| 140 |  | Digital Multimeter |  | 04 Nos. |
| 141 |  | Oscilloscope Diode |  | 04 Nos. |
| 142 |  | Wire cutter |  | 04 Nos. |
| 143 |  | Wire stripper |  | 04 Nos. |
| 144 |  | Zener diode |  | 04 Nos. |
| 145 |  | Light Emitting diode |  | 04 Nos. |
| 146 |  | Soldering iron |  | 04 Nos. |
| 147 |  | FET Transistor |  | 04 Nos. |
| 148 |  | MOSFET Transistor |  | 04 Nos. |
| 149 |  | UJT |  | 04 Nos. |
| 150 |  | SCR |  | 04 Nos. |
| 151 |  | Breadboard or trainer |  | 01 Nos. |
| 152 |  | DIAC |  | 04 Nos. |
| 153 |  | TRIAC |  | 04 Nos. |
| 154 |  | Functions Generator |  | 01 Nos. |
| 155 |  | Op-Amp |  | 04 Nos. |
| 156 |  | White chart paper |  | 100 Nos. |
| 157 |  | Graphics and drawing sheets |  | 200 Nos. |
| 158 |  | Pencil |  | 30 Nos. |
| 159 |  | Eraser |  | 30 Nos. |
| 160 |  | Sharpener |  | 30 Nos. |
| 161 |  | Tee |  | 25 Nos. |
| 162 |  | Drawing Board |  | 25 Nos. |
| 163 |  | Set Square |  | 25 Nos. |
| 164 |  | Geometry set |  | 25 Nos. |
| 165 |  | French Curve |  | 25 Nos. |
| 166 |  | Printer |  | 01 Nos. |
| 167 |  | Multimedia projector |  | 01 Nos. |
| 168 |  | Computer |  | 25 Nos. |
| 169 |  | CAD software |  | 01 |
| 170 |  | IDE Software (C Language) |  | 01 |
| 171 |  | Power supply |  | 02 |
| 172 |  | AND gate |  | 02 Nos. |
| 173 |  | OR gate |  | 02 Nos. |
| 174 |  | NAND gate |  | 02 Nos. |
| 175 |  | XOR gate |  | 02 Nos. |
| 176 |  | NOR gate |  | 02 Nos. |
| 177 |  | NOT gate |  | 02 Nos. |
| 178 |  | Tool set |  | 02 Nos. |
| 179 |  | Bread board |  | 02 Nos. |
| 180 |  | Wire 0.5 mm |  | 02 Rolls |
| 181 |  | Digital clock |  | 04 Nos. |
| 182 |  | 555 IC |  | 02 |
| 183 |  | - Connecting leads. |  | 02 Rolls |
| 184 |  | Coil |  | 02 Rolls |
| 185 |  | - Armature |  | 02 Nos. |
| 186 |  | - Winding machine |  | 02 Nos. |
| 187 |  | - Insolating paper |  | 02 Nos. |
| 188 |  | - Carbon brushes |  | 04 Nos. |
| 189 |  | - Soldering wire |  | 02 Rolls |
| 190 |  | Stator frame |  | 02 Nos. |
| 191 |  | - Spring balance |  | 02 Nos. |
| 192 |  | - Ohm meter |  | 02 Nos. |
| 193 |  | - DC compound motor |  | 02 Nos. |
| 194 |  | Electro dynamo meter |  | 02 Nos. |
| 195 |  | - AC series motor |  | 02 Nos. |
| 196 |  | - Reluctance motor |  | 02 Nos. |
| 197 |  | - Hysteresis motor |  | 02 Nos. |
| 198 |  | - Stepper motor |  | 02 Nos. |
| 199 |  | - Servo motor |  | 02 Nos. |
| 200 |  | Control circuit |  | 02 Nos. |
| 201 |  | Temperature sensors. |  | 02 Nos. |
| 202 |  | IDE Software (C++ Language) |  | 01 |
| 203 |  | Sound sensors. |  | 02 Nos. |
| 204 |  | Proximity sensors. |  | 02 Nos. |
| 205 |  | Pressure sensors. |  | 02 Nos. |
| 206 |  | Light sensors. |  | 02 Nos. |
| 207 |  | Position sensors. |  | 02 Nos. |
| 208 |  | Voltage sensors. |  | 02 Nos. |
| 209 |  | Current sensors. |  | 02 Nos. |
| 210 |  | Vision sensors. |  | 02 Nos. |
| 211 |  | Microcontroller |  | 02 Nos. |
| 212 |  | - Arduino Uno |  | 02 Nos. |
| 213 |  | - Arduino Mega |  | 02 Nos. |
| 214 |  | Raspberry pi |  | 01 |
| 215 |  | Software of various microcontroller |  | 01 |
| 216 |  | - Links |  | 02 |
| 217 |  | - Joints |  | 02 |
| 218 |  | - End effectors |  | 02 |
| 219 |  | - Nuts |  | 02 Dozen (each size) |
| 220 |  | - Bolts |  | 02 Dozen (each size) |
| 221 |  | Screws |  | 02 Dozen (each size) |
| 222 |  | - Grippers |  | 02 Nos. |
| 223 |  | Conveyor belt |  | 02 Nos. |
| 224 |  | Sensor |  | 02 Nos. |
| 225 |  | Actuator |  | 02 Nos. |
| 226 |  | - Jumpers |  | 02 Nos. |
| 227 |  | - SD card |  | 02 Nos. |
| 228 |  | - LED |  | 02 Nos. |
| 229 |  | - Power Adaptor |  | 02 Nos. |
| 230 |  | HDMI cable |  | 02 Rolls |
| 231 |  | Humidity sensor |  | 02 Nos. |
| 232 |  | Robotic fastening tool kit |  | 02 Nos. |
| 233 |  | Measuring tool kit |  | 02 Nos. |
| 234 |  | Manipulator links and joints |  | 02 Set |
| 235 |  | Complete design of the Robot |  | 02 Nos. |
| 236 |  | Complete design of the sensor assembly |  | 02 Nos. |
| 237 |  | Robot operating software |  | 01 |
| 238 |  | Camera |  | 02 Nos. |
| 239 |  | Actuator (Robotics Arm) |  | 02 Nos. |
| 240 |  | Potentiometer |  | 02 Nos. |
| 241 |  | Calculator |  | 02 Nos. |
| 242 |  | - Basic ROV components |  | 02 Nos. |
| 243 |  | - Complete design of the ROV |  | 02 Nos. |
| 244 |  | - Remotely Operated Robot (ROR) Trainer |  | 01 Nos. |
| 245 |  | calibration standards measuring devices |  | 01 Nos. |
| 246 |  | - calibration angles measuring devices |  | 01 Nos. |
| 247 |  | - Robots geometry/Length angle alignment measuring device |  | 01 Nos. |
| 248 |  | Robotic Arm |  | 02 Nos. |
| 249 |  | - OHS Standard Manual |  | 01 |
| 250 |  | - friction Measuring Device |  | 01 Nos. |
| 251 |  | Model error detection devices |  | 01 Nos. |
| 252 |  | Strain gauge |  | 02 Nos. |
| 253 |  | Capacitive pressure sensor |  | 02 Nos. |
| 254 |  | Electromagnetic pressure sensor |  | 02 Nos. |
| 255 |  | Optical pressure sensor |  | 02 Nos. |
| 256 |  | Force balancing |  | 02 Nos. |
| 257 |  | Pressure sensor |  | 02 Nos. |
| 258 |  | Lm35 ic solid state temperature sensor |  | 02 Nos. |
| 259 |  | Negative temperature coefficient (ntc) thermistor |  | 02 Nos. |
| 260 |  | Resistance temperature detector (rtd) |  | 02 Nos. |
| 261 |  | Thermocouple |  | 02 Nos. |
| 262 |  | Semiconductor-based sensors |  | 02 Nos. |
| 263 |  | Retro-reflective sensors |  | 02 Nos. |
| 264 |  | Diffuse reflection sensors |  | 02 Nos. |
| 265 |  | BLDC motor |  | 02 Nos. |
| 266 |  | Solenoid valve |  | 02 Nos. |
| 267 |  | Robot Installation Manual |  | 02 Nos. |
| 268 |  | - Error detection tool kit |  | 02 Nos. |
| 269 |  | - Inclinometer |  | 02 Nos. |
| 270 |  | - Mechanical strength measuring tools |  | 01 Nos. |
| 271 |  | - Coordinate calibration tools |  | 01 Nos. |
| 272 |  | Tool Box |  | 02 Nos. |
| 273 |  | - ISO9283 |  | 01 |
| 274 |  | - Vibration sensors |  | 02 Nos. |
| 275 |  | - Jumpers |  | 02 Nos. |
| 276 |  | Turbo C, C++, Code block |  | 01 |
| 277 |  | Line following trainer kit |  | 01 |
| 278 |  | Jumper wires |  | 02 Rolls |
| 279 |  | Chassis for line following robot |  | 01 |
| 280 |  | Bluetooth transceiver |  | 02 Nos. |
| 281 |  | Smart phone |  | 02 Nos. |
| 282 |  | Relay control board |  | 02 Nos. |
| 283 |  | WiFi module |  | 01 Nos. |
| 284 |  | - Door Lock Mechanism |  | 01 Nos. |
| 285 |  | - Controller (Arduino) |  | 01 Nos. |
| 286 |  | - Android Application (Dabble) |  | 01 Nos. |
| 287 |  | - Security System Mechanism |  | 01 Nos. |
| 288 |  | Water level indication Mechanism |  | 01 Nos. |
| 289 |  | - 28 pin DIP IC Socket |  | 01 Nos. |
| 290 |  | - 16MHz Crystal Oscillator |  | 01 Nos. |
| 291 |  | - USB to Serial adapter |  | 01 Nos. |
| 292 |  | - ICs |  | 01 Nos. |
| 293 |  | - Mini Servo Motor |  | 01 Nos. |
| 294 |  | - DVD/CD Drives |  | 01 Nos. |
| 295 |  | - PCB Circuit Board |  | 01 Nos. |
| 296 |  | - 2pins Screw Terminal |  | 01 Nos. |
| 297 |  | 2x 4 pins Screw Terminal Connector |  | 01 Nos. |
| 298 |  | Mobile robot base |  | 01 Nos. |
| 299 |  | Power diode |  | 01 Nos. |
| 300 |  | Resistor of 1 K ohms |  | 01 Nos. |
| 301 |  | Centre tapped transformer |  | 01 Nos. |
| 302 |  | Inductor 2mH |  | 01 Nos. |
| 303 |  | Resistor of 10 K & 100 K ohms |  | 01 Nos. |
| 304 |  | Power MOSFET IRF 840 |  | 01 Nos. |
| 305 |  | Power Diode 1N4007 |  | 01 Nos. |
| 306 |  | DC Source 12V |  | 01 Nos. |
| 307 |  | Resistor 10K |  | 01 Nos. |
| 308 |  | - IC 7404 |  | 01 Nos. |
| 309 |  | Controller IC |  | 02 Nos. |
| 310 |  | Hydraulic bench |  | 02 Nos. |
| 311 |  | Control Valve |  | 02 Nos. |
| 312 |  | Centrifugal pump |  | 02 Nos. |
| 313 |  | Sump tank |  | 02 Nos. |
| 314 |  | Vertical pipe |  | 02 Nos. |
| 315 |  | Channel |  | 02 Nos. |
| 316 |  | Drain Valve |  | 02 Nos. |

# 5.	Members of the Curriculum Development Committee

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Engr. Shazia Feroz | Assistant Professor | Benazir Bhutto Shaheed University of Technology |
|  | Engr. Liaqat Ali Jamro | Director Academics | STEVTA |
|  | Mr. Baber Sayeed | Chief Instructor. | Pak Swiss Training Center, Karachi |
|  | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
|  | Engr. Syed Farhan Hamid Ali | Sr. Instructor. | Pak Swiss Training Center, Karachi |
|  | Engr. Safwan | Automation Engineer | Dewan Cement |
|  | Engr. Altaf Hussain Solangi | Sr. Instructor. | Amantech |
|  | Engr. Hassan | Instrumentation Engineer | Dewan Cement |
|  | Engr. Umair | Automation Engineer | Port Qasim Power Plant |
|  | Engr. Aijaz Ahmed Zia | Automation Engineer | Intech Process Automation |
|  | Engr. Muhammad Yasir | Deputy Director SS&C | NAVTTC |