Instruction Sheet for the Candidate

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standard | Preform Metallography of Metallic Materials |
| Purpose of Assessment | Formative Assessment – Metallography of Metallic Materials |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Preparation of specimen - Demonstrate the working of metallurgical microscope |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “Sample Preparation and the working of metallurgical microscope “ demonstrating the following criteria: |
| Minimum Evidence Required | - Select the material to perform metallography and cut the specimen according to specifications. - Mount the specimen by ensuring level and obtain flat specimen surface. - Rough polish the specimen with round grinder - Fine polish the specimen using emery paper from low mesh number to high mesh number and use cloth polishing as final polishing step. - Etch the polished specimen using advised etchant - To observe the sample under metallurgical microscope, put the specimen on the mechanical stage of microscope - Use plasticine to level its surface. - Use various magnifications to observe the microstructure of specimen. - Throw light on the surface of metallic specimen to see its microstructure. Also observe the light throwing procedure in the microscope. - Observe a bright refection of the work piece through eye piece and observe the microstructure through eye piece - Note the results - Repeat the procedure using various specimen. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Heat Treatment and Material Testing |
| Competency Standards | Preform Metallography of Metallic Materials |
| Purpose of Assessment | Formative Assessment – Metallography of Metallic Materials |
| Assessment Task | - Preparation of specimen - Demonstrate the working of metallurgical microscope |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the material to perform metallography |  |  |
| - Cut the specimen according to specifications |  |  |
| - Mount the specimen by ensuring level |  |  |
| - Obtain flat specimen surface |  |  |
| - Rough polish the specimen with round grinder |  |  |
| - Fine polish the specimen using emery paper from low mesh number to high mesh number |  |  |
| - use cloth polishing as final polishing step |  |  |
| - Etch the polished specimen using advised etchant |  |  |
| - Observe the work piece under metallurgical microscope |  |  |
| - Prepare the metallic specimen according to metallographic procedures |  |  |
| - Put the specimen on the mechanical stage of microscope |  |  |
| - Use plasticine to level its surface |  |  |
| - use various magnifications to observe the microstructure of specimen |  |  |
| - throw light on the surface of metallic specimen to see its microstructures |  |  |
| - observe the light throwing procedure in the microscope |  |  |
| - observe a bright refection of the work piece through eye piece |  |  |
| - observe the microstructure through eye piece |  |  |
| - Note the results |  |  |
| - Repeat the procedure using various specimen |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

ANNUXURE-A

Assessors Judgment Guide

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standards | Preform Metallography of Metallic Materials |
| Purpose of Assessment | Formative Assessment – Metallography of Metallic Materials |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Preparation of specimen - Demonstrate the working of metallurgical microscope |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select the material to perform metallography |  |  |  |  |  |
|  | Cut the specimen according to specifications |  |  |  |  |  |
|  | Mount the specimen by ensuring level |  |  |  |  |  |
|  | Obtain flat specimen surface |  |  |  |  |  |
|  | Rough polish the specimen with round grinder |  |  |  |  |  |
|  | Fine polish the specimen using emery paper from low mesh number to high mesh number |  |  |  |  |  |
|  | use cloth polishing as final polishing step |  |  |  |  |  |
|  | Etch the polished specimen using advised etchant |  |  |  |  |  |
|  | Observe the work piece under metallurgical microscope |  |  |  |  |  |
|  | Prepare the metallic specimen according to metallographic procedures |  |  |  |  |  |
|  | Put the specimen on the mechanical stage of microscope |  |  |  |  |  |
|  | Use plasticine to level its surface |  |  |  |  |  |
|  | use various magnifications to observe the microstructure of specimen |  |  |  |  |  |
|  | throw light on the surface of metallic specimen to see its microstructures |  |  |  |  |  |
|  | observe the light throwing procedure in the microscope |  |  |  |  |  |
|  | observe a bright refection of the work piece through eye piece |  |  |  |  |  |
|  | observe the microstructure through eye piece |  |  |  |  |  |
|  | Note the results |  |  |  |  |  |
|  | Repeat the procedure using various specimen |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Knowledge Assessment

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standards | Preform Metallography of Metallic Materials |
| Purpose of Assessment | Formative Assessment – Metallography of Metallic Materials |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Question Describe the steps of metallography Process? |  |  |
|  | Candidate’s response |  |  |
|  | Question Describe various emery paper mesh sizes? |  |  |
|  | Candidate’s response |  |  |
|  | Question What are etchants and their applications? |  |  |
|  | Candidate’s response |  |  |
|  | Question Importance of Metallurgical Microscope? |  |  |
|  | Candidate’s response |  |  |
|  | Question What are the reasons to need proper care, when handling of the microscope? |  |  |
|  | Candidate’s response |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________