Instruction Sheet for the Candidate

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standard | Perform Mechanical Testing on Universal Testing Machine |
| Purpose of Assessment | Formative Assessment – Perform Mechanical Testing on Universal Testing Machine |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Measure tensile properties of standard specimen using universal testing machine - Measure bend strength of material using universal testing machine |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to “ Measure tensile properties of standard specimen using universal testing machine OR Measure bend strength of material using universal testing machine “ demonstrating the following criteria: |
| Minimum Evidence Required | - Prepare sample as per standard requirement. - Measure the dimensions and mark gauge length according to standard - Prepare the machine for testing. - Install the fixture of tensile test specimen according to sample dimension and shape. - Perform tearing of the main scale. - Clamp the samples in the grips properly. - Clamp the extensometer on the sample - Set the machine speed according to sample. - Note the yield force and maximum force at break for tensile test . - Draw stress/strain curve from data for tensile test. - Calculate % elongation and % area reduction, yield strength, tensile strength and modulus of elasticity for tensile test. - Observe the specimen for marks or cracks for bend test. - Measure the bend strength / modulus of elasticity by calculating deflection from formula for bend test. - Record the results. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Heat Treatment and Material Testing |
| Competency Standards | Perform Mechanical Testing on Universal Testing Machine |
| Purpose of Assessment | Formative Assessment – Perform Mechanical Testing on Universal Testing Machine |
| Assessment Task | - Measure tensile properties of standard specimen using universal testing machine - Measure bend strength of material using universal testing machine |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare sample as per standard requirement. |  |  |
| - Measure the dimensions and mark gauge length according to standard |  |  |
| - Prepare the machine for testing. |  |  |
| - Install the fixture of tensile test specimen according to sample dimension and shape. |  |  |
| - Perform tearing of the main scale. |  |  |
| - Clamp the samples in the grips properly. |  |  |
| - Clamp the extensometer on the sample |  |  |
| - Set the machine speed according to sample. |  |  |
| - Note the yield force and maximum force at break for tensile test . |  |  |
| - Draw stress/strain curve from data for tensile test. |  |  |
| - Calculate % elongation and % area reduction, yield strength, tensile strength and modulus of elasticity for tensile test. |  |  |
| - Observe the specimen for marks or cracks for bend test. |  |  |
| - Measure the bend strength / modulus of elasticity by calculating deflection from formula for bend test. |  |  |
| - Record the results. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

ANNUXURE-A

Assessors Judgment Guide

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standards | Perform Mechanical Testing on Universal Testing Machine |
| Purpose of Assessment | Formative Assessment – Perform Mechanical Testing on Universal Testing Machine |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. 1. Measure tensile properties of standard specimen using universal testing machine 2. Measure bend strength of material using universal testing machine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare sample as per standard requirement. |  |  |  |  |  |
|  | Measure the dimensions and mark gauge length according to standard |  |  |  |  |  |
|  | Prepare the machine for testing. |  |  |  |  |  |
|  | Install the fixture of tensile test specimen according to sample dimension and shape. |  |  |  |  |  |
|  | Perform tearing of the main scale. |  |  |  |  |  |
|  | Clamp the samples in the grips properly. |  |  |  |  |  |
|  | Clamp the extensometer on the sample |  |  |  |  |  |
|  | Set the machine speed according to sample. |  |  |  |  |  |
|  | Note the yield force and maximum force at break for tensile test . |  |  |  |  |  |
|  | Draw stress/strain curve from data for tensile test. |  |  |  |  |  |
|  | Calculate % elongation and % area reduction, yield strength, tensile strength and modulus of elasticity for tensile test. |  |  |  |  |  |
|  | Observe the specimen for marks or cracks for bend test. |  |  |  |  |  |
|  | Measure the bend strength / modulus of elasticity by calculating deflection from formula for bend test. |  |  |  |  |  |
|  | Record the results. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Knowledge Assessment

| Qualification | Heat Treatment and Material Testing |
| --- | --- |
| Competency Standards | Perform Mechanical Testing on Universal Testing Machine |
| Purpose of Assessment | Formative Assessment – Perform Mechanical Testing on Universal Testing Machine |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Question Define yield strength and ultimate strength? |  |  |
|  | Candidate’s response |  |  |
|  | Question Describe UTM machine? |  |  |
|  | Candidate’s response |  |  |
|  | Question Tools required for tensile test? |  |  |
|  | Candidate’s response |  |  |
|  | Question Importance of measuring tensile and bend test?. |  |  |
|  | Candidate’s response |  |  |
|  | Question What are standard use for tensile and bend testing? |  |  |
|  | Candidate’s response |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________