Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit - Make intermediate switch circuit - Make of Tunnel circuit - Make impulse switch circuit |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Make single pole switch circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make single pole switch socket circuit. - Draw wiring diagram of single pole switch socket circuit. - Draw Current path diagram of single pole switch socket circuit. - Draw layout diagram of single pole switch socket circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make two-way switch circuit. - Draw wiring diagram of two-way switch circuit. - Draw Current path diagram of two-way switch circuit. - Draw layout diagram of two-way switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make series/test lamp circuit - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make intermediate switch circuit - Draw wiring diagram of intermediate switch circuit. - Draw Current path diagram of intermediate switch circuit. - Draw layout diagram of intermediate switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make of Tunnel circuit - Draw wiring diagram of tunnel circuit. - Draw Current path diagram of tunnel circuit. - Draw layout diagram of tunnel circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Make impulse switch circuit - Draw wiring diagram of impulse switch circuit. - Draw Current path diagram of impulse switch circuit. - Draw layout diagram of impulse switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| Competency Standard | Install Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit - Make intermediate switch circuit - Make of Tunnel circuit - Make impulse switch circuit |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw wiring diagram of single pole switch circuit. |  |  |
| - Draw Current path diagram of single pole switch circuit. |  |  |
| - Draw layout diagram of single pole switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of single pole switch socket circuit. |  |  |
| - Draw Current path diagram of single pole switch socket circuit. |  |  |
| - Draw layout diagram of single pole switch socket circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of two-way switch circuit. |  |  |
| - Draw Current path diagram of two-way switch circuit. |  |  |
| - Draw layout diagram of two-way switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of series circuit. |  |  |
| - Draw Current path diagram of series circuit. |  |  |
| - Draw layout diagram of series circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of intermediate switch circuit. |  |  |
| - Draw Current path diagram of intermediate switch circuit. |  |  |
| - Draw layout diagram of intermediate switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of tunnel circuit. |  |  |
| - Draw Current path diagram of tunnel circuit. |  |  |
| - Draw layout diagram of tunnel circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram of impulse switch circuit. |  |  |
| - Draw Current path diagram of impulse switch circuit. |  |  |
| - Draw layout diagram of impulse switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit - Make intermediate switch circuit - Make of Tunnel circuit - Make impulse switch circuit |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Draw wiring diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of single pole switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of single pole switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of single pole switch socket circuit. |  |  |  |  |  |
|  | Draw Current path diagram of single pole switch socket circuit. |  |  |  |  |  |
|  | Draw layout diagram of single pole switch socket circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of two-way switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of two-way switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of two-way switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of series circuit. |  |  |  |  |  |
|  | Draw Current path diagram of series circuit. |  |  |  |  |  |
|  | Draw layout diagram of series circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of intermediate switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of intermediate switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of intermediate switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of tunnel circuit. |  |  |  |  |  |
|  | Draw Current path diagram of tunnel circuit. |  |  |  |  |  |
|  | Draw layout diagram of tunnel circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram of impulse switch circuit. |  |  |  |  |  |
|  | Draw Current path diagram of impulse switch circuit. |  |  |  |  |  |
|  | Draw layout diagram of impulse switch circuit. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________