Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Measure power using Multi meter method - Measure power using watt meter - Measure single phase AC Power - Measure three phase AC Power - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter. - Measure power factor with power factor meter |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Measure power using Multi meter method - Select the load to calculate the power and give supply. - Measure the voltage and current by using Multi meter. - Find power using power formula Measure power using watt meter - Select a load to calculate the power and connect watt meter across the load. - Power-ON the supply and measure the power. Measure single phase AC Power - Select a load to calculate the power with appropriate supply. - Measure the voltage and current using Multimeter. - Calculate the power using powermeter Measure three phase AC Power - Select a load to calculate the power with appropriate supply. - Measure the voltage, current using Multimeter for each phase. - Calculate the power using power formula. Measure consumed energy with Energy meter - Connect phase line of AC supply to the energy meter. - Connect AC load to the output terminals of energy meter. - Power up the supply and take reading of energy in terms of unit after few minutes form display. Measure power factor with voltmeter, ampere meter and watt meter. - Connect voltmeter & ampere meter with inductive load (Motor) - Connect watt meter and measure. - Connect AC supply and take the readings of volt, ampere and watt meter. - Utilize the above readings and calculate power factor using power formula P=VI Measure power factor with power factor meter - Connect current coil of power factor meter in series to the load. - Voltage coil of power factor meter in parallel to the load. - Power the supply and measure the value of power factor form the meter |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| Competency Standard | Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure power using Multi meter method - Measure power using watt meter - Measure single phase AC Power - Measure three phase AC Power - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter. - Measure power factor with power factor meter |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the load to calculate the power and give supply. |  |  |
| - Measure the voltage and current by using Multi meter. |  |  |
| - Find power using power formula |  |  |
| - Select a load to calculate the power and connect watt meter across the load. |  |  |
| - Power-ON the supply and measure the power. |  |  |
| - Select a load to calculate the power with appropriate supply |  |  |
| - Measure the voltage and current using Multimeter |  |  |
| - Calculate the power using powermeter |  |  |
| - Select a load to calculate the power with appropriate supply. |  |  |
| - Measure the voltage, current using Multimeter for each phase. |  |  |
| - Calculate the power using power formula |  |  |
| - Connect phase line of AC supply to the energy meter. |  |  |
| - Connect AC load to the output terminals of energy meter. |  |  |
| - Power up the supply and take reading of energy in terms of unit after few minutes form display. |  |  |
| - Connect voltmeter & ampere meter with inductive load (Motor) |  |  |
| - Connect watt meter and measure |  |  |
| - Connect AC supply and take the readings of volt, ampere and watt meter. |  |  |
| - Utilize the above readings and calculate power factor using power formula P=VI |  |  |
| - Connect current coil of power factor meter in series to the load |  |  |
| - Voltage coil of power factor meter in parallel to the load |  |  |
| - Power the supply and measure the value of power factor form the meter. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure power using Multi meter method - Measure power using watt meter - Measure single phase AC Power - Measure three phase AC Power - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter. - Measure power factor with power factor meter |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select the load to calculate the power and give supply. |  |  |  |  |  |
|  | Measure the voltage and current by using Multi meter. |  |  |  |  |  |
|  | Find power using power formula |  |  |  |  |  |
|  | Select a load to calculate the power and connect watt meter across the load. |  |  |  |  |  |
|  | Power-ON the supply and measure the power. |  |  |  |  |  |
|  | Select a load to calculate the power with appropriate supply |  |  |  |  |  |
|  | Measure the voltage and current using Multimeter |  |  |  |  |  |
|  | Calculate the power using powermeter |  |  |  |  |  |
|  | Select a load to calculate the power with appropriate supply. |  |  |  |  |  |
|  | Measure the voltage, current using Multimeter for each phase. |  |  |  |  |  |
|  | Calculate the power using power formula |  |  |  |  |  |
|  | Connect phase line of AC supply to the energy meter. |  |  |  |  |  |
|  | Connect AC load to the output terminals of energy meter. |  |  |  |  |  |
|  | Power up the supply and take reading of energy in terms of unit after few minutes form display. |  |  |  |  |  |
|  | Connect voltmeter & ampere meter with inductive load (Motor) |  |  |  |  |  |
|  | Connect watt meter and measure |  |  |  |  |  |
|  | Connect AC supply and take the readings of volt, ampere and watt meter. |  |  |  |  |  |
|  | Utilize the above readings and calculate power factor using power formula P=VI |  |  |  |  |  |
|  | Connect current coil of power factor meter in series to the load |  |  |  |  |  |
|  | Voltage coil of power factor meter in parallel to the load |  |  |  |  |  |
|  | Power the supply and measure the value of power factor form the meter. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________