Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Operate Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Identify types of transformer - Measure transformation ratio of single phase transformer. - Make transformer winding - Determine voltage regulation of single phase transformer with different load - Perform parallel operation of single phase transformer |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Identify types of transformer - Identify no of windings on primary and secondary side of transformer. - Identify the types of transformer cores. - Identify connection of the windings. - Separate single phase, three phase and auto transformer Measure transformation ratio of single phase transformer - Connect volt meters on both side of the transformer. - Apply rated voltage to the primary. - Note the volt meter reading. - Calculate transformation ratio using ratio formula. - Repeat Step 1 to Step 4 for different secondary tapping. Make transformer winding - Design the core of transformer according to the transformer rating. - Select the wire for primary and secondary winding. - Perform winding according to require turns with the help of winding machine. - Cover the winding with insulating paper. - Adjust the core pieces into the winding. - Remove the insulation of enameled wire. - Cover the ends of wire with sleeve. - Perform continuity test with ohm meter. Determine voltage regulation of single phase transformer with different load - Connect watt meter, ampere meter, and volt meter to the primary side of transformer. - Connect the voltmeter to secondary side of transformer. - Connect resistive load to secondary side. - Apply rated voltage to primary side of transformer. - Calculate voltage drop and voltage regulations (%) from meter readings. - Repeat from Step 1 to Step 5 for inductive load. - Repeat from Step 1 to Step 5 for capacitive load. Perform parallel operation of single phase transformer - Identify two transformer having same rated voltage, frequency and transformation ratio. - Mark the terminals with the help of polarity test. - Connect secondary sides of both transformers in parallel. - Connect secondary sides of both transformers with load bus bar having ampere meters between them. - Connect the primary side of both transformers in parallel. - Connect primary side of transformer with generation bus bar. - Adjust the ammeter readings to zero by adding inductor and resistor in series with secondary side of the transformer. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| Competency Standard | Operate Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify types of transformer - Measure transformation ratio of single phase transformer. - Make transformer winding - Determine voltage regulation of single phase transformer with different load - Perform parallel operation of single phase transformer |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify no of windings on primary and secondary side of transformer. |  |  |
| - Identify the types of transformer cores. |  |  |
| - Identify connection of the windings. |  |  |
| - Separate single phase, three phase and auto transformer. |  |  |
| - Connect volt meters on both side of the transformer. |  |  |
| - Apply rated voltage to the primary. |  |  |
| - Note the volt meter reading. |  |  |
| - Calculate transformation ratio using ratio formula. |  |  |
| - Repeat P1 to P4 for different secondary tapping |  |  |
| - Design the core of transformer according to the transformer rating. |  |  |
| - Select the wire for primary and secondary winding. |  |  |
| - Perform winding according to require turns with the help of winding machine. |  |  |
| - Cover the winding with insulating paper. |  |  |
| - Adjust the core pieces into the winding. |  |  |
| - Remove the insulation of enameled wire. |  |  |
| - Cover the ends of wire with sleeve. |  |  |
| - Perform continuity test with ohm meter |  |  |
| - Connect watt meter, ampere meter, and volt meter to the primary side of transformer. |  |  |
| - Connect the voltmeter to secondary side of transformer. |  |  |
| - Connect resistive load to secondary side. |  |  |
| - Apply rated voltage to primary side of transformer. |  |  |
| - Calculate voltage drop and voltage regulations (%) from meter readings. |  |  |
| - Repeat from Step1 to Step 5 for inductive load. |  |  |
| - Repeat from Step1 to Step 5 for capacitive load. |  |  |
| - Identify two transformer having same rated voltage, frequency and transformation ratio. |  |  |
| - Mark the terminals with the help of polarity test. |  |  |
| - Connect secondary sides of both transformers in parallel. |  |  |
| - Connect secondary sides of both transformers with load bus bar having ampere meters between them. |  |  |
| - Connect the primary side of both transformers in parallel. |  |  |
| - Connect primary side of transformer with generation bus bar. |  |  |
| - Adjust the ammeter readings to zero by adding inductor and resistor in series with secondary side of the transformer. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Operate Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify types of transformer - Measure transformation ratio of single phase transformer. - Make transformer winding - Determine voltage regulation of single phase transformer with different load - Perform parallel operation of single phase transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify no of windings on primary and secondary side of transformer. |  |  |  |  |  |
|  | Identify the types of transformer cores. |  |  |  |  |  |
|  | Identify connection of the windings. |  |  |  |  |  |
|  | Separate single phase, three phase and auto transformer. |  |  |  |  |  |
|  | Connect volt meters on both side of the transformer. |  |  |  |  |  |
|  | Apply rated voltage to the primary. |  |  |  |  |  |
|  | Note the volt meter reading. |  |  |  |  |  |
|  | Calculate transformation ratio using ratio formula. |  |  |  |  |  |
|  | Repeat Step1 to Step 4 for different secondary tapping |  |  |  |  |  |
|  | Design the core of transformer according to the transformer rating. |  |  |  |  |  |
|  | Select the wire for primary and secondary winding. |  |  |  |  |  |
|  | Perform winding according to require turns with the help of winding machine. |  |  |  |  |  |
|  | Cover the winding with insulating paper. |  |  |  |  |  |
|  | Adjust the core pieces into the winding. |  |  |  |  |  |
|  | Remove the insulation of enameled wire. |  |  |  |  |  |
|  | Cover the ends of wire with sleeve. |  |  |  |  |  |
|  | Perform continuity test with ohm meter |  |  |  |  |  |
|  | Connect watt meter, ampere meter, and volt meter to the primary side of transformer. |  |  |  |  |  |
|  | Connect the voltmeter to secondary side of transformer. |  |  |  |  |  |
|  | Connect resistive load to secondary side. |  |  |  |  |  |
|  | Apply rated voltage to primary side of transformer. |  |  |  |  |  |
|  | Calculate voltage drop and voltage regulations (%) from meter readings. |  |  |  |  |  |
|  | Repeat from P1 to P5 for inductive load. |  |  |  |  |  |
|  | Repeat from P1 to P5 for capacitive load. |  |  |  |  |  |
|  | Identify two transformer having same rated voltage, frequency and transformation ratio. |  |  |  |  |  |
|  | Mark the terminals with the help of polarity test. |  |  |  |  |  |
|  | Connect secondary sides of both transformers in parallel. |  |  |  |  |  |
|  | Connect secondary sides of both transformers with load bus bar having ampere meters between them. |  |  |  |  |  |
|  | Connect the primary side of both transformers in parallel. |  |  |  |  |  |
|  | Connect primary side of transformer with generation bus bar. |  |  |  |  |  |
|  | Adjust the ammeter readings to zero by adding inductor and resistor in series with secondary side of the transformer. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 1&2 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Operate Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________