Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Mechatronics Technology. |
| --- | --- |
| Competency Standard | Performs Test On Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Perform polarity test of single phase transformer. - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method. - Calculate efficiency of transformer by Back to Back test |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Perform polarity test of single phase transformer Connect the circuit according to the diagram. Note the reading of both voltmeter. Identify additive and subtractive polarity. Mark the terminal according to the additive and subtractive polarity. Perform Open circuit test of transformer - Connect watt meter, ampere meter, and volt meter to the lower voltage side of transformer. - Open the high voltage side of transformer. - Apply rated voltage to lower voltage side of transformer. - Read the instrument/meters reading. - Calculate iron losses and excitation branch component (Ro, Xo). Perform Short circuit Test of Transformer - Connect watt meter, ampere meter, and volt meter to the higher voltage side of transformer. - Connect lower voltage side terminal with each other (Short Circuit) - Apply 10 % to 15 % of rated voltage to higher voltage side of transformer. - Read the instrument/meters readings. - Calculate copper losses and winding component (Ro1, Xo1 Calculate efficiency of transformer by direct method. - Perform open circuit test. - Perform short circuit test. - Calculate iron losses and copper losses from above tests. - Calculate input power and output power. - Calculate efficiency from calculated powers. Calculate efficiency of transformer by Back to Back test - Identify two transformer of same rating. - Connect both transformer in parallel. - Connect another variable voltage transformer to secondary side of parallel transformers. . |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Mechatronics Technologyy |
| Competency Standard | Performs Test On Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform polarity test of single phase transformer. - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method. - Calculate efficiency of transformer by Back to Back test |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Connect the circuit according to the diagram. |  |  |
| - Note the reading of both voltmeter. |  |  |
| - Identify additive and subtractive polarity. |  |  |
| - Mark the terminal according to the additive and subtractive polarity. |  |  |
| - Connect watt meter, ampere meter, and volt meter to the lower voltage side of transformer. |  |  |
| - Open the high voltage side of transformer. |  |  |
| - Apply rated voltage to lower voltage side of transformer. |  |  |
| - Read the instrument/meters reading. |  |  |
| - Calculate iron losses and excitation branch component (Ro, Xo). |  |  |
| - Connect watt meter, ampere meter, and volt meter to the higher voltage side of transformer. |  |  |
| - Connect lower voltage side terminal with each other (Short Circuit) |  |  |
| - Apply 10 % to 15 % of rated voltage to higher voltage side of transformer. |  |  |
| - Read the instrument/meters readings. |  |  |
| - Calculate copper losses and winding component (Ro1, Xo1 |  |  |
| - Perform open circuit test. |  |  |
| - Perform short circuit test. |  |  |
| - Calculate iron losses and copper losses from above tests. |  |  |
| - Calculate input power and output power. |  |  |
| - Calculate efficiency from calculated powers |  |  |
| - Identify two transformer of same rating. |  |  |
| - Connect both transformer in parallel. |  |  |
| - Connect another variable voltage transformer to secondary side of parallel transformers. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Mechatronics Technologyy |
| --- | --- |
| Competency Standard | Performs Test On Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform polarity test of single phase transformer. - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method. - Calculate efficiency of transformer by Back to Back test |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Connect the circuit according to the diagram. |  |  |  |  |  |
|  | Note the reading of both voltmeter. |  |  |  |  |  |
|  | Identify additive and subtractive polarity. |  |  |  |  |  |
|  | Mark the terminal according to the additive and subtractive polarity. |  |  |  |  |  |
|  | Connect watt meter, ampere meter, and volt meter to the lower voltage side of transformer. |  |  |  |  |  |
|  | Open the high voltage side of transformer. |  |  |  |  |  |
|  | Apply rated voltage to lower voltage side of transformer. |  |  |  |  |  |
|  | Read the instrument/meters reading. |  |  |  |  |  |
|  | Calculate iron losses and excitation branch component (Ro, Xo). |  |  |  |  |  |
|  | Connect watt meter, ampere meter, and volt meter to the higher voltage side of transformer. |  |  |  |  |  |
|  | Connect lower voltage side terminal with each other (Short Circuit) |  |  |  |  |  |
|  | Apply 10 % to 15 % of rated voltage to higher voltage side of transformer. |  |  |  |  |  |
|  | Read the instrument/meters readings. |  |  |  |  |  |
|  | Calculate copper losses and winding component (Ro1, Xo1 |  |  |  |  |  |
|  | Perform open circuit test. |  |  |  |  |  |
|  | Perform short circuit test. |  |  |  |  |  |
|  | Calculate iron losses and copper losses from above tests. |  |  |  |  |  |
|  | Calculate input power and output power. |  |  |  |  |  |
|  | Calculate efficiency from calculated powers |  |  |  |  |  |
|  | Identify two transformer of same rating. |  |  |  |  |  |
|  | Connect both transformer in parallel. |  |  |  |  |  |
|  | Connect another variable voltage transformer to secondary side of parallel transformers. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Mechatronics Technologyy |
| --- | --- |
| Competency Standard | Performs Test On Single Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________