Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Analyze Three Phase Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 01 Hourtime frame (for practical demonstration & assessment): - Operate split phase single phase AC motor. - Operate capacitor start and Capacitor run single phase AC motor. - Operate shaded pole single phase motor. |
| Time: 01 Hour. | During a practical assessment, under observation by an assessor, you are required to: |
| Minimum Evidence Required | - Operate split phase single phase AC motor. - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure RPM and direction of rotation. - Disconnect the auxiliary winding from centrifugal switch. - Check the effect of this change. - Operate capacitor start and Capacitor run single phase AC motor. - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure the RPM. - Remove the starting capacitor with centrifugal switch. - Measure the RPM again. - Check the effect of starting capacitor on motor torque. - Operate shaded pole single phase motor - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Change the applied voltage to measure the effect on motor speed. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| Competency Standard | Analyze Three Phase Motors |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Operate and speed control of AC series motor - Operate miniature (reluctance and hysteresis) single phase AC motors. - Construct and operate stepper motor - Construct, Operate and develop control circuit of servo motor. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Make connections according to circuit diagram. |  |  |
| - Apply rated voltage to the stator. |  |  |
| - Measure RPM and direction of rotation. |  |  |
| - Disconnect the auxiliary winding from centrifugal switch. |  |  |
| - Check the effect of this change. |  |  |
| - Make connections according to circuit diagram. |  |  |
| - Apply rated voltage to the stator. |  |  |
| - Measure the RPM. |  |  |
| - Remove the starting capacitor with centrifugal switch. |  |  |
| - Measure the RPM again. |  |  |
| - Check the effect of starting capacitor on motor torque |  |  |
| - Make connections according to circuit diagram. |  |  |
| - Apply rated voltage to the stator. |  |  |
| - Change the applied voltage to measure the effect on motor speed. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Analyze Three Phase Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify Operate split phase single phase AC motor. - IdentifyOperate capacitor start and Capacitor run single phase AC motor. - IdentifyOperate shaded pole single phase motor. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified Make connections according to circuit diagram. |  |  |  |  |  |
|  | IdentifiedApply rated voltage to the stator. |  |  |  |  |  |
|  | Identified Measure RPM and direction of rotation. |  |  |  |  |  |
|  | Identified Disconnect the auxiliary winding from centrifugal switch. |  |  |  |  |  |
|  | Identified Check the effect of this change. |  |  |  |  |  |
|  | Identified Make connections according to circuit diagram. |  |  |  |  |  |
|  | Identified Apply rated voltage to the stator. |  |  |  |  |  |
|  | Identified Measure the RPM. |  |  |  |  |  |
|  | Identified Remove the starting capacitor with centrifugal switch. |  |  |  |  |  |
|  | Identified Measure the RPM again. |  |  |  |  |  |
|  | Identified Check the effect of starting capacitor on motor torque |  |  |  |  |  |
|  | Make connections according to circuit diagram. |  |  |  |  |  |
|  | Identified Apply rated voltage to the stator. |  |  |  |  |  |
|  | Identified Change the applied voltage to measure the effect on motor speed. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Analyze Three Phase Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain starting winding? |  |  |
|  | How to rotate magnetic field in single phase motor |  |  |
|  | Explain the connect capacitor with starting winding |  |  |
|  | Explain the effect of capacitor on starting torque |  |  |
|  | Explain starting &running winding |  |  |
|  | Which type of voltage applied to the stator of shaded pole motor |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________