Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Analyze an Alternator |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Measure the stator winding resistance with DC test. - Perform no load test. - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Measure the stator winding resistance with DC test. Connect DC Ampere meter in series with armature. Apply DC voltage to any one of the other two phases. Measure current and voltage. Measure the resistance per phase by ohm’s law. - Perform no load test. Make connection according to diagram. Run the alternator with prime mover to its rated speed. Supply the field current to make the terminal voltage to its rated value. Measure Iron losses from watt meter - Perform short circuit test. Make connection according to diagram. Run the alternator with prime mover to its rated speed. Supply the field current to make the terminal voltage 10 to 15% to its rated value. Measure the copper loss from the watt meter - Measure the efficiency of an alternator. Perform no load test to measure Iron losses. Perform short circuit test to measure copper losses. Apply formula to find efficiency - Measure the effect of field current on terminal voltage Run the alternator with prime mover to its rated speed. Supply the field current to make the terminal voltage to its rated value. Draw no load curve between field current and terminal voltage - Measure the effect of speed changes on alternator frequency and active power. Run the alternator with prime mover to its rated speed. Supply the field current to make the terminal voltage to its rated value. Apply electrical load on alternator. Measure the effects of load on alternator speed and frequency. Adjust the prime mover speed to its rated value. Measure the effect of this change on alternator speed and frequency - Perform parallel operation of Alternators. Run the incoming alternator to its rated speed. Supply the field current to make the terminal voltage to its rated value. Use synchronous scope to synchronize alternator’s frequency and phase angle. Check the phase sequence with dark lamp method. Check the voltage of bus bar and incoming machine with volt meter. Switch on the breaker after completing parallel operation. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| Competency Standard | Analyze an Alternator |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure the stator winding resistance with DC test. - Perform no load test. - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Connect DC Ampere meter in series with armature. |  |  |
| - Apply DC voltage to any one of the other two phases. |  |  |
| - Measure current and voltage. |  |  |
| - Measure the resistance per phase by ohm’s law. |  |  |
| - Make connection according to diagram. |  |  |
| - Run the alternator with prime mover to its rated speed. |  |  |
| - Supply the field current to make the terminal voltage to its rated value. |  |  |
| - Measure Iron losses from watt meter |  |  |
| - Make connection according to diagram. |  |  |
| - Run the alternator with prime mover to its rated speed. |  |  |
| - Supply the field current to make the terminal voltage 10 to 15% to its rated value. |  |  |
| - Measure the copper loss from the watt meter |  |  |
| - Perform no load test to measure Iron losses. |  |  |
| - Perform short circuit test to measure copper losses. |  |  |
| - Apply formula to find efficiency |  |  |
| - Run the alternator with prime mover to its rated speed. |  |  |
| - Supply the field current to make the terminal voltage to its rated value. |  |  |
| - Draw no load curve between field current and terminal voltage |  |  |
| - Run the alternator with prime mover to its rated speed. |  |  |
| - Supply the field current to make the terminal voltage to its rated value. |  |  |
| - Apply electrical load on alternator. |  |  |
| - Measure the effects of load on alternator speed and frequency. |  |  |
| - Adjust the prime mover speed to its rated value. |  |  |
| - Measure the effect of this change on alternator speed and frequency |  |  |
| - Run the incoming alternator to its rated speed. |  |  |
| - Supply the field current to make the terminal voltage to its rated value. |  |  |
| - Use synchronous scope to synchronize alternator’s frequency and phase angle. |  |  |
| - Check the phase sequence with dark lamp method. |  |  |
| - Check the voltage of bus bar and incoming machine with volt meter. |  |  |
| - Switch on the breaker after completing parallel operation |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Analyze an Alternator |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure the stator winding resistance with DC test. - Perform no load test. - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Connect DC Ampere meter in series with armature. |  |  |  |  |  |
|  | Apply DC voltage to any one of the other two phases. |  |  |  |  |  |
|  | Measure current and voltage. |  |  |  |  |  |
|  | Measure the resistance per phase by ohm’s law. |  |  |  |  |  |
|  | Make connection according to diagram. |  |  |  |  |  |
|  | Run the alternator with prime mover to its rated speed. |  |  |  |  |  |
|  | Supply the field current to make the terminal voltage to its rated value. |  |  |  |  |  |
|  | Measure Iron losses from watt meter |  |  |  |  |  |
|  | Make connection according to diagram. |  |  |  |  |  |
|  | Run the alternator with prime mover to its rated speed. |  |  |  |  |  |
|  | Supply the field current to make the terminal voltage 10 to 15% to its rated value. |  |  |  |  |  |
|  | Measure the copper loss from the watt meter |  |  |  |  |  |
|  | Perform no load test to measure Iron losses. |  |  |  |  |  |
|  | Perform short circuit test to measure copper losses. |  |  |  |  |  |
|  | Apply formula to find efficiency |  |  |  |  |  |
|  | Run the alternator with prime mover to its rated speed. |  |  |  |  |  |
|  | Supply the field current to make the terminal voltage to its rated value. |  |  |  |  |  |
|  | Draw no load curve between field current and terminal voltage |  |  |  |  |  |
|  | Run the alternator with prime mover to its rated speed. |  |  |  |  |  |
|  | Supply the field current to make the terminal voltage to its rated value. |  |  |  |  |  |
|  | Apply electrical load on alternator. |  |  |  |  |  |
|  | Measure the effects of load on alternator speed and frequency. |  |  |  |  |  |
|  | Adjust the prime mover speed to its rated value. |  |  |  |  |  |
|  | Measure the effect of this change on alternator speed and frequency |  |  |  |  |  |
|  | Run the incoming alternator to its rated speed. |  |  |  |  |  |
|  | Supply the field current to make the terminal voltage to its rated value. |  |  |  |  |  |
|  | Use synchronous scope to synchronize alternator’s frequency and phase angle. |  |  |  |  |  |
|  | Check the phase sequence with dark lamp method. |  |  |  |  |  |
|  | Check the voltage of bus bar and incoming machine with volt meter. |  |  |  |  |  |
|  | Switch on the breaker after completing parallel operation |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Perform Tests On DC Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Which type of losses is found with no load test |  |  |  |
|  | How to connect DC source with three phase stator? |  |  |  |
|  | Explain the effect of field current on terminal voltage |  |  |  |
|  | - Which type of losses are found with short circuit test. |  |  |  |
|  | Explain the effect of rheostat resistance on terminal voltage |  |  |  |
|  | How to change the RPM of the generator |  |  |  |
|  | Explain phase sequence & angle? |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________