Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Design & Implement a process control |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 01 Hourtime frame (for practical demonstration & assessment): - Design an Open Loop Process Control circuit - Design a Closed Loop Process control circuit - Implement the ON/OFF Control Mode - Implement the PID Control Mode |
| Time: 01 Hour. | During a practical assessment, under observation by an assessor, you are required to: |
| Minimum Evidence Required | A. Design an Open Loop Process Control circuit - Specify the open loop system which is to be analyzed. - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. - Specify the input to the system. - Select type of instrument for process variable measurement. - Construct the open-loop process control circuit. - Generate and display the output reading. B. Design a Closed Loop Process control circuit - Specify the close loop system which is to be analyzed. - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. - Specify the input to the system. - Select type of instrument for process variable measurement. - Construct the closed-loop process control circuit. - Generate and display the output reading. C. Implement the ON/OFF Control Mode - Specify the ON/OFF type of control mode to be installed - Select the appropriate type of control mode - Install the desired control mode type as per the installation instructions - Perform a test run on the ON/OFF control mode - Generate the Output reading D. Implement the PID Control Mode - Specify the closed system which is to be analyzed. - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. - Select the appropriate type of control mode - Install the desired control mode type as per the installation instructions - Perform a test run on the P control mode - Perform a test run on the PI control mode - Perform a test run on the PID control mode - Generate the Output report |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| Competency Standard | Design & Implement a process control |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Design an Open loop Process Control circuit - Design a Closed Loop Process control circuit - Implement the ON/OFF Control Mode - Implement the PID Control Mode |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Specify the system which is to be analyzed. |  |  |
| - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |
| - Specify the input to the system. |  |  |
| - Select type of instrument for process variable measurement. |  |  |
| - Construct the open-loop process control circuit. |  |  |
| - Generate and display the output reading. |  |  |
| - Specify the system which is to be analyzed. |  |  |
| - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |
| - Specify the input to the system. |  |  |
| - Select type of instrument for process variable measurement. |  |  |
| - Construct the closed-loop process control circuit. |  |  |
| - Generate and display the output reading. |  |  |
| - Specify the type of control mode to be installed |  |  |
| - Select the appropriate type of control mode |  |  |
| - Install the desired control mode type as per the installation instructions |  |  |
| - Perform a test run on the ON/OFF control mode |  |  |
| - Generate the Output reading |  |  |
| - Specify the system which is to be analysed. |  |  |
| - Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |
| - Select the appropriate type of control mode |  |  |
| - Install the desired control mode type as per the installation instructions |  |  |
| - Perform a test run on the P control mode |  |  |
| - Perform a test run on the PI control mode |  |  |
| - Perform a test run on the PID control mode |  |  |
| - Generate the Output report |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Design & Implement a process control |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Design an Open loop Process Control circuit - Design a Closed Loop Process control circuit - Implement the ON/OFF Control Mode - Implement the PID Control Mode |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Specified the open loop system which is to be analyzed. |  |  |  |  |  |
|  | Selected the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |  |  |  |
|  | Specified the input to the system. |  |  |  |  |  |
|  | Selected type of instrument for process variable measurement. |  |  |  |  |  |
|  | Constructed the open-loop process control circuit. |  |  |  |  |  |
|  | Generated and display the output reading. |  |  |  |  |  |
|  | Specified the close loop system which is to be analyzed. |  |  |  |  |  |
|  | Selected the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |  |  |  |
|  | Specify the input to the system. |  |  |  |  |  |
|  | Select type of instrument for process variable measurement. |  |  |  |  |  |
|  | Construct the closed-loop process control circuit. |  |  |  |  |  |
|  | Generate and display the output reading. |  |  |  |  |  |
|  | Specify the ON/OFF type of control mode to be installed |  |  |  |  |  |
|  | Select the appropriate type of control mode |  |  |  |  |  |
|  | Install the desired control mode type as per the installation instructions |  |  |  |  |  |
|  | Perform a test run on the ON/OFF control mode |  |  |  |  |  |
|  | Generate the Output reading |  |  |  |  |  |
|  | Specify the close loop system which is to be analyzed. |  |  |  |  |  |
|  | Select the type of process variable for the measurement, such as, pressure, temperature, level, flow, velocity, etc. |  |  |  |  |  |
|  | Select the appropriate type of control mode |  |  |  |  |  |
|  | Install the desired control mode type as per the installation instructions |  |  |  |  |  |
|  | Perform a test run on the P control mode |  |  |  |  |  |
|  | Perform a test run on the PI control mode |  |  |  |  |  |
|  | Perform a test run on the PID control mode |  |  |  |  |  |
|  | Generate the Output report |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Design & Implement a process control |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define process control?? |  |  |
|  | Explain process variable to be measure or controlled.? |  |  |
|  | Explain different types of sensors for the instrumentation? |  |  |
|  | Explain the process variable measuring instruments? |  |  |
|  | Explain the purpose of an amplifier for the instrumentation.? |  |  |
|  | Define open and close loops systems? |  |  |
|  | Explain the function of analogue to digital conversion and vice versa? |  |  |
|  | Describe the Industrial control phenomenon? |  |  |
|  | Define process control, its working principles and uses in industry? |  |  |
|  | Explain the PID and ON/OFF control mode? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________