Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Transducer & Transmitters used in Industrial Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 01 Hourtime frame (for practical demonstration & assessment): - Apply the P/I and I/P Transducers - Install the Differential Pressure Transmitters - Install the Pneumatic Transmitter in Industry |
| Time: 01 Hour. | During a practical assessment, under observation by an assessor, you are required to: |
| Minimum Evidence Required | A. Apply the P/I and I/P Transducers. - Specify the type of transducer to be installed - Install the desired type of transducer as per the installations manual - Perform the post installation measures - Generate an output report for the transducer. B. Install the Differential Pressure Transmitters. - Analyze the type of DP Transmitter to be installed - Locate the point of installation for DP transmitter - Install the DP Transmitter as per the installations manual. - Perform Post Installation measures. - Generate an output report for the transmitter C. Install the Pneumatic Transmitter in Industry - Analyze the type of Pneumatic Transmitter to be installed - Locate the point of installation for Pneumatic transmitter - Install the Pneumatic Transmitter as per the installations manual. - Perform Post Installation measures. - Generate an output report for the transmitter |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| Competency Standard | Install Transducer & Transmitters used in Industrial Applications |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Apply the P/I and I/P Transducers - Install the Differential Pressure Transmitters - Install the Pneumatic Transmitter in Industry |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Specify the type of transducer to be installed |  |  |
| - Install the desired type of transducer as per the installations manual |  |  |
| - Perform the post installation measures |  |  |
| - Generate an output report for the transducer. |  |  |
| - Analyze the type of DP Transmitter to be installed |  |  |
| - Locate the point of installation for DP transmitter |  |  |
| - Install the DP Transmitter as per the installations manual. |  |  |
| - Perform Post Installation measures. |  |  |
| - Generate an output report for the transmitter |  |  |
| - Analyze the type of Pneumatic Transmitter to be installed |  |  |
| - Locate the point of installation for Pneumatic transmitter |  |  |
| - Install the Pneumatic Transmitter as per the installations manual. |  |  |
| - Perform Post Installation measures. |  |  |
| - Generate an output report for the transmitter |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Transducer & Transmitters used in Industrial Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Apply the P/I and I/P Transducers - Install the Differential Pressure Transmitters - Install the Pneumatic Transmitter in Industry |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Specified the type of transducer to be installed |  |  |  |  |  |
|  | Installed the desired type of transducer as per the installations manual |  |  |  |  |  |
|  | Performed the post installation measures |  |  |  |  |  |
|  | Generated an output report for the transducer. |  |  |  |  |  |
|  | Analyzed the type of DP Transmitter to be installed |  |  |  |  |  |
|  | Located the point of installation for DP transmitter |  |  |  |  |  |
|  | Installed the DP Transmitter as per the installations manual. |  |  |  |  |  |
|  | Performed Post Installation measures. |  |  |  |  |  |
|  | Generated an output report for the transmitter |  |  |  |  |  |
|  | Analyzed the type of Pneumatic Transmitter to be installed |  |  |  |  |  |
|  | Located the point of installation for Pneumatic transmitter |  |  |  |  |  |
|  | Installed the Pneumatic Transmitter as per the installations manual. |  |  |  |  |  |
|  | Performed Post Installation measures. |  |  |  |  |  |
|  | Generated an output report for the transmitter |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Install Transducer & Transmitters used in Industrial Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the working principles of P/I (pressure to current) Transducers.? |  |  |
|  | Describe the working principles of I/P (current ot pressure) Transducers? |  |  |
|  | Explain the applications of P/I & I/P transducers in industry? |  |  |
|  | Explain the criteria of installation of P/I,I/P transducers? |  |  |
|  | Explain the criteria of calibration of P/I,I/P transducers? |  |  |
|  | Explain the differential pressure (DP) transmitter and its types? |  |  |
|  | Describe the working principle of DP transmitter? |  |  |
|  | Explain the Installation procedures of DP transmitter? |  |  |
|  | Explain the calibration procedures of DP transmitter? |  |  |
|  | Explain the Pneumatic transmitter and its types? |  |  |
|  | Describe the working principle of Pneumatic transmitter? |  |  |
|  | Explain the Installation procedures of Pneumatic transmitter? |  |  |
|  | Explain the calibration procedures of Pneumatic transmitter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________