Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Interface PLC with System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): CU1 Interface Relay/Push button with PLC for I) Start/Stop Relay Logic ii) Single Push Button On/Off Logic. CU2 Interface Pneumatic linear Actuator and Pressure Sensor with PLC to i) Apply pressure on a body ii) To measure the linear distance covered by actuator. CU3 Interface Servo motor with PLC to i) control rpm ii) Rotary Position. CU4 Interface Stepper motor with PLC to control rotary Position |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | A. Interface Relay/Push button with PLC for I) Start/Stop Relay Logic ii) Single Push Button On/Off Logic. - Connect the components (Relay, Push Button) as per layout. - Make and test ladder logic PLC code. - Upload code to PLC - Run PLC and perform task - Monitor the results. B. Interface Pneumatic linear Actuator and Pressure Sensor with PLC to i) Apply pressure on a body ii) To measure the linear distance covered by actuator. - Identify and enlist the components and sensors as per requirement. - Draw circuit diagram of Pneumatic/electric. - Connect the components (pneumatic linear actuator) as per layout. - Make and test ladder logic PLC code - Upload code to PLC - Run PLC and perform task C. Interface Servo motor with PLC to i) Control rpm ii) Rotary Position. - Identify and enlist the components and sensors as per requirement. - Draw connection layout of all hardware. - Connect the components (pneumatic linear actuator) as per layout. - Make and test ladder logic PLC code - Upload code to PLC - Run PLC and perform task D. Interface Stepper motor with PLC to control rotary Position - Identify and enlist the components and sensors as per requirement. - Draw connection layout of all hardware. - Connect the components (pneumatic linear actuator) as per layout. - Make and test ladder logic code PLC |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| Competency Standard | Interface PLC with System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | CU1 Interface Relay/Push button with PLC for I) Start/Stop Relay Logic ii) Single Push Button On/Off Logic. CU2 Interface Pneumatic linear Actuator and Pressure Sensor with PLC to i) Apply pressure on a body ii) To measure the linear distance covered by actuator. CU3 Interface Servo motor with PLC to i) control rpm ii) Rotary Position. CU4 Interface Stepper motor with PLC to control rotary Position |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Connect the components (Relay, Push Button) as per layout. |  |  |
| - Make and test ladder logic PLC code. |  |  |
| - Upload code to PLC |  |  |
| - Run PLC and perform task |  |  |
| - Monitor the results. |  |  |
| - Identify and enlist the components and sensors as per requirement. |  |  |
| - Draw circuit diagram of Pneumatic/electric. |  |  |
| - Connect the components (pneumatic linear actuator) as per layout. |  |  |
| - Make and test ladder logic PLC code |  |  |
| - Upload code to PLC |  |  |
| - Run PLC and perform task |  |  |
| - Identify and enlist the components and sensors as per requirement. |  |  |
| - Draw connection layout of all hardware. |  |  |
| - Connect the components (pneumatic linear actuator) as per layout. |  |  |
| - Make and test ladder logic PLC code |  |  |
| - Upload code to PLC |  |  |
| - Run PLC and perform task |  |  |
| - Identify and enlist the components and sensors as per requirement. |  |  |
| - Draw connection layout of all hardware. |  |  |
| - Connect the components (pneumatic linear actuator) as per layout. |  |  |
| - Make and test ladder logic code PLC |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Interface PLC with System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | CU1 Interface Relay/Push button with PLC for I) Start/Stop Relay Logic ii) Single Push Button On/Off Logic. CU2 Interface Pneumatic linear Actuator and Pressure Sensor with PLC to i) Apply pressure on a body ii) To measure the linear distance covered by actuator. CU3 Interface Servo motor with PLC to i) control rpm ii) Rotary Position. CU4 Interface Stepper motor with PLC to control rotary Position |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Connected the components (Relay, Push Button) as per layout. |  |  |  |  |  |
|  | Made and test ladder logic PLC code. |  |  |  |  |  |
|  | Uploaded code to PLC |  |  |  |  |  |
|  | Ran PLC and perform task |  |  |  |  |  |
|  | Monitored the results. |  |  |  |  |  |
|  | Identified and enlist the components and sensors as per requirement. |  |  |  |  |  |
|  | Drawn Pneumatic / Electric circuit diagram. |  |  |  |  |  |
|  | Connected the components (pneumatic linear actuator) as per layout. |  |  |  |  |  |
|  | Made and test ladder logic PLC code. |  |  |  |  |  |
|  | Uploaded code to PLC. |  |  |  |  |  |
|  | Ran PLC and perform task. |  |  |  |  |  |
|  | Identified and enlist the components and sensors as per requirement. |  |  |  |  |  |
|  | Drawn connection layout of all hardware. |  |  |  |  |  |
|  | Connected the components (pneumatic linear actuator) as per layout. |  |  |  |  |  |
|  | Connected the components (Relay, Push Button) as per layout. |  |  |  |  |  |
|  | Identified and enlist the components and sensors as per requirement. |  |  |  |  |  |
|  | Drawn connection layout of all hardware. |  |  |  |  |  |
|  | Connected the components (pneumatic linear actuator) as per layout. |  |  |  |  |  |
|  | Uploaded code to PLC |  |  |  |  |  |
|  | Made and test ladder logic PLC code |  |  |  |  |  |
|  | Ran PLC and perform task |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Mechatronics Technology |
| --- | --- |
| Competency Standard | Interface PLC with System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | State the difference between AC and DC relay ? |  |  |
|  | State three different types of relay contacts ? |  |  |
|  | What is the difference between Servo motor & DC motor ? |  |  |
|  | What is the difference between AC servo DC servo ? |  |  |
|  | Write down the formula to calculate the RPM of servo motor ? |  |  |
|  | What is micro-stepping of stepper motor ? |  |  |
|  | Draw the circuit diagram of relay latching circuit ? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________