|  | Assessment Evidence Guide For Water Quality Technician Level 4 Formative Assessment 0712EPT1101 Perform Sampling of Water |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1101 Perform Sampling of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare field sample kit - Collect water sample - Collect wastewater sample - Perform field test analysis - Perform sample handling Activity: The trainee is required to perform sampling of water. You are required to collect & test field parameters and handle samples for transportation. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify source for water sample collection - Collect water sample as per required test - Clean sampling bottle three times with sample water - Preserve sample as per requirement. - Record physical testing results - Seal sample bottles with paper tape - Place samples inside the insulated ice boxes |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Technician Level 4 |
| Competency Standard | 0712EPT1101 Perform Sampling of Water |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare field sample kit - Collect water sample - Collect wastewater sample - Perform field test analysis - Perform sample handling Activity: The trainee is required to perform sampling of water. You are required to collect & test field parameters and handle samples for transportation. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify sample bottles required for sampling |  |  |
| - Calibrate field analysis equipment |  |  |
| - Check functionality of field testing kit and equipment |  |  |
| - Identify source for water sample collection |  |  |
| - Collect water sample as per required test |  |  |
| - Clean sampling bottle three times with sample water |  |  |
| - Preserve sample as per requirement. |  |  |
| - Record physical testing results |  |  |
| - Label required sample bottles as per SOP |  |  |
| - Seal sample bottles with paper tape |  |  |
| - Place samples inside the insulated ice boxes |  |  |
| - Maintain required temperature during transportation |  |  |
| - Transport samples to laboratory as per required SOP |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1101 Perform Sampling of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare field sample kit - Collect water sample - Collect wastewater sample - Perform field test analysis - Perform sample handling Activity: The trainee is required to perform sampling of water. You are required to collect & test field parameters and handle samples for transportation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify sample bottles required for sampling |  |  |  |  |  |
|  | Calibrate field analysis equipment |  |  |  |  |  |
|  | Check functionality of field testing kit and equipment |  |  |  |  |  |
|  | Identify source for water sample collection |  |  |  |  |  |
|  | Collect water sample as per required test |  |  |  |  |  |
|  | Clean sampling bottle three times with sample water |  |  |  |  |  |
|  | Preserve sample as per requirement. |  |  |  |  |  |
|  | Record physical testing results |  |  |  |  |  |
|  | Label required sample bottles as per SOP |  |  |  |  |  |
|  | Seal sample bottles with paper tape |  |  |  |  |  |
|  | Place samples inside the insulated ice boxes |  |  |  |  |  |
|  | Maintain required temperature during transportation |  |  |  |  |  |
|  | Transport samples to laboratory as per required SOP |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1101 Perform Sampling of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the purpose of water sampling in water quality testing? |  |  |
|  |  | What types of containers are suitable for collecting water samples? |  |  |
|  |  | Is sample container required to rinse before collecting water samples for chemical testing? |  |  |
|  |  | Which three key water quality parameters are commonly tested? |  |  |
|  |  | Which type of container is used for chemical water analysis? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |