|  | Assessment Evidence Guide For Water Quality Technician Level 4 Formative Assessment 0712EPT1103 Conduct Advance Physical testing of Wastewater 0712EPT1103 Conduct Advance Chemical testing of Wastewater |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1103 Conduct Advance Physical testing of Wastewater 0712EPT1103 Conduct Advance Chemical testing of Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform oil & grease test - Perform total suspended solids test - Perform sulfate test - Perform ammonia test - Perform phosphate test - Perform chemical oxygen demand test - Perform biological oxygen demand test - Perform hexavalent chromium test - Perform total arsenic - Perform total nitrogen Activity: The trainee is required to perform testing of wastewater sample. You are required to perform the following advance physical and chemical test in laboratory (Oil & grease, Total suspended Solids, Ammonia, & Total arsenic) |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform pretreatment of sample before analysis as per method requirement - Perform oil & grease in n-hexane - Perform filtration to evaluate total suspended solids - Perform qualitative ammonia by kit. - Perform Arsenic using kit method by color comparison method. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Technician Level 4 |
| Competency Standard | 0712EPT1103 Conduct Advance Physical testing of Wastewater 0712EPT1103 Conduct Advance Chemical testing of Wastewater |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform oil & grease test - Perform total suspended solids test - Perform sulfate test - Perform ammonia test - Perform phosphate test - Perform chemical oxygen demand test - Perform biological oxygen demand test - Perform hexavalent chromium test - Perform total arsenic - Perform total nitrogen Activity: The trainee is required to perform testing of wastewater sample. You are required to perform the following advance physical and chemical test in laboratory (Oil & grease, Total suspended Solids, Ammonia, & Total arsenic) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify sample for test |  |  |
| - Perform pretreatment of sample before analysis as per method requirement |  |  |
| - Preparation of Standard Solution |  |  |
| - Perform calibration of equipment as method requirement |  |  |
| - Perform oil & grease in n-hexane |  |  |
| - Perform filtration to evaluate total suspended solids |  |  |
| - Perform qualitative ammonia by kit. |  |  |
| - Perform Arsenic using kit method by color comparison method. |  |  |
| - Calculate concentration in mg/L for each test of sample |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1103 Conduct Advance Physical testing of Wastewater 0712EPT1103 Conduct Advance Chemical testing of Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform oil & grease test - Perform total suspended solids test - Perform sulfate test - Perform ammonia test - Perform phosphate test - Perform chemical oxygen demand test - Perform biological oxygen demand test - Perform hexavalent chromium test - Perform total arsenic - Perform total nitrogen Activity: The trainee is required to perform testing of wastewater sample. You are required to perform the following advance physical and chemical test in laboratory (Oil & grease, Total suspended Solids, Ammonia, & Total arsenic) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify sample for test |  |  |  |  |  |
|  | Perform pretreatment of sample before analysis as per method requirement |  |  |  |  |  |
|  | Preparation of Standard Solution |  |  |  |  |  |
|  | Perform calibration of equipment as method requirement |  |  |  |  |  |
|  | Perform oil & grease in n-hexane |  |  |  |  |  |
|  | Perform filtration to evaluate total suspended solids |  |  |  |  |  |
|  | Perform qualitative ammonia by kit. |  |  |  |  |  |
|  | Perform Arsenic using kit method by color comparison method. |  |  |  |  |  |
|  | Calculate concentration in mg/L for each test of sample |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1103 Conduct Advance Physical testing of Wastewater 0712EPT1103 Conduct Advance Chemical testing of Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | Which parameter indicates water cloudiness? |  |  |
|  |  | Which parameter measures the intensity of water color? |  |  |
|  |  | Name the device used to measure turbidity directly. |  |  |
|  |  | Which method is used to determine total suspended solids in water? |  |  |
|  |  | What is unit of Total Dissolved Solids (TDS)? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |