|  | Assessment Evidence Guide For Water Quality Technician Level 4 Formative Assessment 0712EPT1104 Conduct Advance Chemical testing of Water |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1104 Conduct Advance Chemical testing of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform sodium test - Perform potassium test - Perform nitrite test - Perform nitrate test - Perform iron test - Perform fluoride test Activity: The trainee is required to Perform testing of water sample. You are required to perform the following advance chemical test in laboratory (Sodium & Fluoride) |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform pretreatment of sample before analysis as per method requirement - Preparation of standard solution - Perform calibration of equipments as method requirement - Perform sodium on flame photometer - Perform fluoride test by absorbance measurement on spectrophotometer. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Technician Level 4 |
| Competency Standard | 0712EPT1104 Conduct Advance Chemical testing of Water |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform sodium test - Perform potassium test - Perform nitrite test - Perform nitrate test - Perform iron test - Perform fluoride test Activity: The trainee is required to Perform testing of water sample. You are required to perform the following advance chemical test in laboratory (Sodium & Fluoride) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify sample for test |  |  |
| - Perform pretreatment of sample before analysis as per method requirement |  |  |
| - Preparation of standard solution |  |  |
| - Perform calibration of equipments as method requirement |  |  |
| - Perform sodium on flame photometer |  |  |
| - Perform fluoride test by absorbance measurement on spectrophotometer. |  |  |
| - Calculate concentration in mg/L for each test of sample |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1104 Conduct Advance Chemical testing of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform sodium test - Perform potassium test - Perform nitrite test - Perform nitrate test - Perform iron test - Perform fluoride test Activity: The trainee is required to Perform testing of water sample. You are required to perform the following advance chemical test in laboratory (Sodium & Fluoride) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify sample for test |  |  |  |  |  |
|  | Perform pretreatment of sample before analysis as per method requirement |  |  |  |  |  |
|  | Preparation of standard solution |  |  |  |  |  |
|  | Perform calibration of equipments as method requirement |  |  |  |  |  |
|  | Perform sodium on flame photometer |  |  |  |  |  |
|  | Perform fluoride test by absorbance measurement on spectrophotometer. |  |  |  |  |  |
|  | Calculate concentration in mg/L for each test of sample |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1104 Conduct Advance Chemical testing of Water |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What do you mean by the term OEM? |  |  |
|  |  | Which instrument is used for sodium test in water? |  |  |
|  |  | Which reagent is used for iron determination? |  |  |
|  |  | Which wavelength is set on Spectrophotometer for Fluoride determination? |  |  |
|  |  | Which technique is used to measure the Nitrate concentration? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |