|  | Assessment Evidence Guide For Water Quality Technician Level 4 Formative Assessment 0712EPT1107 Implement Quality Assurance Procedure in Water Testing |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1107 Implement Quality Assurance Procedure in Water Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Calibrate analytical instruments - Apply internal quality procedure Activity: The trainee is required to ensure quality control activities in laboratory. You are required to calibrate the flame photometer by potassium working standards and ensure the activities by following the quality control procedure. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Validate instrument performance using reference materials - Document calibration data in instrument logbooks - Troubleshoot malfunctioning of instrument, if any - Identify non-conformances in analytical processes - Implement corrective and preventive actions to eliminate cause of malfunction - Verify effectiveness of corrective actions through re-analysis - Maintain records for audit reference |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Technician Level 4 |
| Competency Standard | 0712EPT1107 Implement Quality Assurance Procedure in Water Testing |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Calibrate analytical instruments - Apply internal quality procedure Activity: The trainee is required to ensure quality control activities in laboratory. You are required to calibrate the flame photometer by potassium working standards and ensure the activities by following the quality control procedure. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select calibration standards for each required instrument |  |  |
| - Calibrate instruments according to OEM |  |  |
| - Validate instrument performance using reference materials |  |  |
| - Document calibration data in instrument logbooks |  |  |
| - Troubleshoot malfunctioning of instrument, if any |  |  |
| - Verify calibration status before analytical use |  |  |
| - Identify non-conformances in analytical processes |  |  |
| - Implement corrective and preventive actions to eliminate cause of malfunction |  |  |
| - Verify effectiveness of corrective actions through re-analysis |  |  |
| - Maintain records for audit reference |  |  |
| - Report corrective actions to relevant personnel |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1107 Implement Quality Assurance Procedure in Water Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Calibrate analytical instruments - Apply internal quality procedure Activity: The trainee is required to ensure quality control activities in laboratory. You are required to calibrate the flame photometer by potassium working standards and ensure the activities by following the quality control procedure. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select calibration standards for each required instrument |  |  |  |  |  |
|  | Calibrate instruments according to OEM |  |  |  |  |  |
|  | Validate instrument performance using reference materials |  |  |  |  |  |
|  | Document calibration data in instrument logbooks |  |  |  |  |  |
|  | Troubleshoot malfunctioning of instrument, if any |  |  |  |  |  |
|  | Verify calibration status before analytical use |  |  |  |  |  |
|  | Identify non-conformances in analytical processes |  |  |  |  |  |
|  | Implement corrective and preventive actions to eliminate cause of malfunction |  |  |  |  |  |
|  | Verify effectiveness of corrective actions through re-analysis |  |  |  |  |  |
|  | Maintain records for audit reference |  |  |  |  |  |
|  | Report corrective actions to relevant personnel |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1107 Implement Quality Assurance Procedure in Water Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What procedure ensure accuracy and realiability of laboratory result? |  |  |
|  |  | What is accuracy? |  |  |
|  |  | What is meant by SOP? |  |  |
|  |  | Where test findings are recorded? |  |  |
|  |  | What do you mean by the term CRM? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |