|  | Assessment Evidence Guide For Water Quality Technician Level 4 Formative Assessment 0712EPT1108 Manage Data in Water Testing Operations |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1108 Manage Data in Water Testing Operations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain analytical data - Maintain chain of custody documentation - Validate data integrity - Prepare analytical reports Activity: The trainee is required to manage the obtained laboratory data of provided sample. You are required to manage data including testing & reporting in compliance to quality control. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Assign unique identification codes to each sample. - Record all sample transfers in chain-of-custody forms - Record all analytical results in laboratory logs - Check analytical results with corresponding QC - Verify completeness of recorded data - Compile verified analytical results into standard report templates |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Technician Level 4 |
| Competency Standard | 0712EPT1108 Manage Data in Water Testing Operations |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Maintain analytical data - Maintain chain of custody documentation - Validate data integrity - Prepare analytical reports Activity: The trainee is required to manage the obtained laboratory data of provided sample. You are required to manage data including testing & reporting in compliance to quality control. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Assign unique identification codes to each sample. |  |  |
| - Record all sample transfers in chain-of-custody forms |  |  |
| - Verify storage conditions during custody |  |  |
| - Record all analytical results in laboratory logs |  |  |
| - Check analytical results with corresponding QC |  |  |
| - Authenticate documentation with signatures and timestamps |  |  |
| - Verify completeness of recorded data |  |  |
| - Review report contents for accuracy, completeness and compliance |  |  |
| - Compile verified analytical results into standard report templates |  |  |
| - Report discrepancies to supervisor |  |  |
| - Back up data periodically as per requirement |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1108 Manage Data in Water Testing Operations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain analytical data - Maintain chain of custody documentation - Validate data integrity - Prepare analytical reports Activity: The trainee is required to manage the obtained laboratory data of provided sample. You are required to manage data including testing & reporting in compliance to quality control. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Assign unique identification codes to each sample. |  |  |  |  |  |
|  | Record all sample transfers in chain-of-custody forms |  |  |  |  |  |
|  | Verify storage conditions during custody |  |  |  |  |  |
|  | Record all analytical results in laboratory logs |  |  |  |  |  |
|  | Check analytical results with corresponding QC |  |  |  |  |  |
|  | Authenticate documentation with signatures and timestamps |  |  |  |  |  |
|  | Verify completeness of recorded data |  |  |  |  |  |
|  | Review report contents for accuracy, completeness and compliance |  |  |  |  |  |
|  | Compile verified analytical results into standard report templates |  |  |  |  |  |
|  | Report discrepancies to supervisor |  |  |  |  |  |
|  | Back up data periodically as per requirement |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standard | 0712EPT1108 Manage Data in Water Testing Operations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is zero error? |  |  |
|  |  | What is meant by precision? |  |  |
|  |  | For how long a data is retained in laboratory? |  |  |
|  |  | What prevents data loss during system failure? |  |  |
|  |  | Who is informed when discrepancies are found? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |