Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0712EPT11-National Diploma Level 4 in Water Quality Technician |
| --- | --- |
| ## Date of Development | 17th – 21th November, 2025 |
| ## Entry Requirement | National Vocational Qualification for Water Quality Assistant Level – 3 OR Secondary School Certificate in Science with at least 6 Month of relevant work experience certificate |
| ## Minimum qualification for teachers/Instructor | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1-year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-year experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-year experience in relevant field. |
| ## Medium of instruction | Urdu, English or local language |
| ## Duration of Course | Total. 823 hours. Theory. 97 hours Practical. 726 hours On Job Training. 240 hours |

- List of Competencies/Modules

| Code | Competency standard | Competency Level | Category |
| --- | --- | --- | --- |
| 0712EPT1101 | Perform Sampling of Water | L-4 | Technical |
| 0712EPT1102 | Perform disposal of Waste | L-4 | Technical |
| 0712EPT1103 | Conduct Advance Physical Testing of Wastewater | L-4 | Technical |
| 0712EPT1104 | Conduct Advance Chemical Testing of Water | L-4 | Technical |
| 0712EPT1105 | Conduct Advance Chemical Testing of Wastewater | L-4 | Technical |
| 0712EPT1106 | Conduct Advance Microbiological Testing of Water | L-4 | Technical |
| 0712EPT1107 | Implement Quality Assurance Procedure in Water Testing Operations | L-4 | Technical |
| 0712EPT1108 | Manage Data in Water Testing Operations | L-4 | Technical |
| 0712EPT1109 | Maintain Environmental Compliance in Water Testing | L-4 | Technical |
| 0712EPT1110 | On-Job Training | L-4 | Technical |

- Class / Workshop Size/ Dimension (25 Trainees Capacity)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory | Yes |  |
| Any other Requirement | As prescribed by the respective provincial Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity/25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Electrical Conductivity Meter | 1 |
|  | TDS Meter | 1 |
|  | pH meter | 1 |
|  | Dissolved Oxygen Meter | 1 |
|  | Total and Free Chlorine kit | 1 |
|  | Thermometer | 1 |
|  | GPS | 1 |
|  | Lab coat | 25 |
|  | Disposable gloves | 25 |
|  | Face mask | 25 |
|  | Safety goggles | 25 |
|  | Safety shoes | 25 |
|  | Head cap | 25 |
|  | Collection trolleys or carts | 03 |
|  | Spill containment trays | 01 |
|  | Autoclave unit | 01 |
|  | Incinerator | 01 |
|  | Chemical disinfectant containers | 01 |
|  | Measuring cylinders | 03 |
|  | Shredder or crusher | 03 |
|  | Brushes, mops, and cleaning cloths | 03 |
|  | Wastewater disposal hoses | 02 |
|  | First aid kit | 01 |
|  | Absorbent pads | 02 |
|  | Drying oven 250ºC | 1 unit |
|  | Electronic analytical balance, capacity 220g | 1unit |
|  | Funnels 100 mm, | 5 |
|  | Cylinders (50ml, 100ml) | 4 |
|  | Separating funnel, capacity 250 ml | 5 |
|  | Tripod stand | 5 |
|  | Flame Photometer with accessories (LPG Cylinder, CRMs for Sodium & potassium) | 01 No |
|  | UV/VIS Spectrophotometer with variable sample holder and accessories | 01 Unit |
|  | Cyanide Distillation Assembly | 01 Unit |
|  | Heating Mantle 500 mL 350 C | 1 Unit |
|  | Muffle Furnace 1100 C | 1 Unit |
|  | COD Reactor 150 C, having 16 mm wells | 01 Unit |
|  | COD Vials 1500 mg/L | 25 Nos. |
|  | Arsenic Test Kit | 01 Kit |
|  | China Dish 100 cc | 10 Nos. |
|  | Whatmann Filter Papers 42 ash-less | 1 Pack |
|  | Kjeldhal Digestion and Distillation Apparatus 500mL | 01Set |
|  | Glass Beads | 500 gm |
|  | Glass Burette 50 mL0 | 02 Nos. |
|  | Laminar hood | 1 |
|  | Autoclave | 1 |
|  | Incubators | 3 |
|  | Colony counter | 1 |
|  | Filtration Assembly | 1 |
|  | Micropipettes set and accessories | 2 |
|  | Glass tubes | 100 |
|  | Petri plates disposable | 500 |
|  | Glass beakers | 100 |
|  | Erlenmeyer flasks | 50 |
|  | Filter papers (0.4 µ) | 1 box |
|  | Projector/Multimedia/White board | 1 |
|  | MS Office Suite | 1 |
|  | Turbidimeter | 01 |
|  | PPEs | 01 |

- Consumable (with quantity/25 Trainees)

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Sodium hypochlorite or bleach solution | 05 |
|  | Detergents and disinfectants | 05 |
|  | Sodium Chloride | 500 gm |
|  | Potassium Chloride | 500 gm |
|  | Sodium Nitrite | 500 gm |
|  | Potassium Nitrate | 500 gm |
|  | Ferrous ammonium sulfate | 500 gm |
|  | SPADNS Reagent for Fluoride | 500 mL |
|  | chloramine-T | 100 gm |
|  | Lead carbonate, PbCO3 | 250 gm |
|  | Sulfamic acid, NH2SO3H | 250 gm |
|  | Potassium Cyanide | 250 gm |
|  | Barbituric acid | 250 gm |
|  | Pyridine | 500 mL |
|  | sodium acetate trihydrate (NaC2H3O2 _ 3H2O) | 500 gm |
|  | Glacial Acetic Acid | 2.5 L |
|  | Barium Chloride | 500 gm |
|  | Hydrochloric Acid | 2.5 L |
|  | Sodium Hydroxide | 500 gm |
|  | Boric Acid | 500 gm |
|  | Sulfuric Acid | 2.5 L |
|  | Methyl Orange Indicator | 100 gm |
|  | methyl red Indicator | 100 gm |
|  | methylene blue Indicator | 100 gm |
|  | Ammonium Molybdate | 100 gm |
|  | Stannous Chloride | 100 gm |
|  | ammonium metavanadate | 100 gm |
|  | di-Potassium hydrogen phosphate (K2HPO4) | 250 gm |
|  | Sodium Sulfate | 500 gm |
|  | Potassium hydrogen phthalate | 500 gm |
|  | Calcium chloride | 500 gm |
|  | Magnesium sulfate | 500 gm |
|  | Ferric chloride | 500 gm |
|  | potassium dihydrogen phosphate KH2PO4 | 250 gm |
|  | sodium phosphate dibasic heptahydrate Na2HPO4_7H2O | 250 gm |
|  | Ammonium Chloride (NH4Cl) | 500 gm |
|  | Magnesium Sulfate MgSO4_7H2O | 500 gm |
|  | Nitrification Inhibitor | 100 gm |
|  | Glucose | 250 gm |
|  | Glutamic Acid | 250 gm |
|  | Potassium Dichromate | 500 gm |
|  | 1,5-diphenylcarbazide | 100 gm |
|  | Nitric Acid | 2.5 L |
|  | Potassium Sulfate (K2SO4) | 500 gm |
|  | Copper Sulfate (CuSO4) | 500 gm |
|  | Sodium Thiosulfate (Na2S2O3 5H2O) | 500 gm |
|  | Ethyl Alcohol | 3L |
|  | Lauryl Tryptose Sulfate Agar | 1 bottle |
|  | Brilliant Green Bile Agar | 1 bottle |
|  | Escherichia coli Broth | 1 bottle |
|  | Plate Count Agar | 1 bottle |
|  | Butterfield’s Phosphate Buffer | 1 bottle |
|  | Potato Dextrose Agar | 1 bottle |
|  | Tryptone Broth | 1 bottle |
|  | Kovac’s reagent | 1 bottle |
|  | Laboratory Information Management System | As per requirement |
|  | ISO/IEC 17025 Standard | As per requirement |
|  | NEQS/WHO water quality guidelines | As per requirement |
|  | SOP Manuals | As per requirement |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |