Curriculum for National Diploma Level 4 in Water Management Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level 4 Water Management Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction:	1

1.1.	Date of development	1

1.2.	Date of review and validation	1

1.3.	Entry requirement	1

1.4.	Minimum qualification for teachers	1

1.5.	Codes of qualification (ISCED)	1

1.6.	Medium of instruction	1

1.7.	Duration of course	1

2.	Scheme of Studies:	2

3.	Daily Contact Hours	2

4.	Details of Modules	3

4.1 0031PSD01 Perform Basic Communication	3

4.2	0811WM0101 Analyze Hydrometric measurement	5

4.3 0811WM0102 Carry Out Physical Testing of Water	7

4.4 0811WM0103 Design Rainwater harvest System	12

4.5 0811WM0104 Conduct Reconnaissance Survey	15

4.6 0811WM0105 Analyze Topographic Survey	18

4.7 0811WM0106 Manage Groundwater Assessment	20

4.8 0811WM0107 Perform Installation of water structures	23

4.9 0811WM0108 Manage maintenance of water infrastructures	25

4.10 0811WM0109 Conduct field level water governance practices	27

4.11 0811WM0110 Manage plantation activities in watershed	29

5.	Tools, Equipment and Consumables Required for Qualification	31

6.	Members of Curriculum Development Committee:	34

# Introduction:

This Water Management Course is designed to address a critical gap in Pakistan’s environmental and resource-management sector by preparing certified Water Management Technician Level 4 professionals, a qualification currently in limited supply within the country. The course aims to equip learners with essential skills, knowledge, and attitudes required to ensure efficient water use across agricultural, industrial, commercial, and residential sectors. As water scarcity increases and environmental challenges intensify, the ability to manage, conserve, and optimize water resources has become vital for sustainable development. Throughout this course, participants will study advanced concepts, techniques, and methodologies for assessing water consumption, identifying wastage, and implementing effective water-saving strategies.

The course also includes training on conducting water audits, understanding the financial aspects of water-management projects, and developing effective project-management plans. A strong focus on entrepreneurship will motivate participants to design innovative and sustainable water-management solutions for communities and industries.

This course is ideal for individuals aiming to enhance their competence in water management, whether in agriculture, industry, commercial settings, or household environments. By the end of the program, learners will be fully prepared to implement effective water-management practices, promoting efficiency, sustainability, and responsible resource use within their communities.

| ## Date of development | 17th – 21st November 2025 |
| --- | --- |
| ## Date of review and validation |  |
| ## Entry requirement | Secondary School Certificate or Equivalent |
| ## Minimum qualification for teachers | Minimum Diploma in Civil / hydrogeologist with 5 years of hands-on experience in Water Management OR Minimum Diploma in Environmental sciences/Engineering with 5 years of hands-on experience in Water Management OR F.sc with 5 years Industrial experience preferably having certification in Water Resource Management OR Bachelors in integrated water Recourses Management with 3 years’ Experience OR M.SC in integrated water Recourses Management with 1 year experience |
| ## Codes of qualification (ISCED) | Code: 0811WM01 Description: National Diploma Level 4 “Water Management Technician” |
| ## Medium of instruction | English |
| ## Duration of course | Total: 804 Hours Theory: 0 116 Hours Practical: 688 Hours On Job Training: 240 Hours |

# Scheme of Studies:

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0031PSD01 | Perform Basic Communication | L-2 | Generic | 4 | 12 | 16 | 1 |
| 0811WM0101 | Analyze Hydrometric measurement | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0811WM0102 | Evaluate Physical Water Quality Parameters | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0103 | Design Rainwater Harvest System | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0104 | Conduct Reconnaissance Survey | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0105 | Analyze Topographic Survey | L-4 | Technical | 11 | 48 | 59 | 3.5 |
| 0811WM0106 | Manage Groundwater Exploitation | L-4 | Technical | 15 | 60 | 75 | 4.5 |
| 0811WM0107 | Perform Installation of Water Structures | L-4 | Technical | 15 | 60 | 75 | 4.5 |
| 0811WM0108 | Manage Maintenance of Water Infrastructure | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0811WM0109 | Conduct Field Level Water Governance Practices | L-4 | Technical | 14 | 52 | 66 | 4 |
| 0811WM0110 | Manage Plantation Activities in Watershed | L-4 | Technical | 9 | 42 | 51 | 3 |
| 08111WM111 | On Job Training | L-4 | Technical | - | - | 240 | 6.0 |
| Total |  |  |  | 116 | 688 | 804 | 40 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 4.1 0031PSD01 Perform Basic Communication

Objective: This module covers the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

Duration: 16 Hours			Theory: 04 Hours			Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Follow workplace Instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on written instructions received. - Compose workplace notes and memos. | - Mode of communication - Questioning Techniques - Rules on how to write memos, notes, messages - Understand feedback process Practical Activity: Scenario The candidate is required to follow the instructions of the instructor. The instructor will ask to execute a simple task having three steps and student must do the task following the same three steps. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of safety manual | - Classroom |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. | - Communication technology relevant to the workplace - Effective communication (body language) - Basic workplace documentation - Introduction to workplace harassment Practical Activity: Roleplay Candidates will roleplay a scenario in pairs where a new employee introduces themselves to colleagues and ask for help in understanding their first task and colleagues will help them guide to perform the task. | Theory-01Hrs Practice-03Hrs Total- 04Hrs |  | - Classroom |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback | - Hierarchy of command - Communication tools and equipment Practical Activity: Roleplay Candidates will roleplay a scenario in pairs where a team leader will give instructions for a task having three steps while other will listen, ask questions and execute the task following the three steps completely. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | Consumables - Printouts of communication skills | - Classroom |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form. | - Types of Customers - Speaking skills Practical Activity: Roleplay Candidates will roleplay a scenario in pairs where one act as a customer asking for information about a product and other act as staff member who listens and respond to the queries to satisfy the customer | Theory-01Hrs Practice-03Hrs Total- 04Hrs | Consumables - Printouts of safety manual | - Classroom |

## 0811WM0101 Analyze Hydrometric measurement

Objective: This module covers the skills and knowledge required for trainees to perform essential hydrometric measurements, including streamflow gauging, water-level monitoring, and rainfall observation, while ensuring accurate data collection, documentation, and proper equipment handling at field sites.

Duration: 51 Hours	 Theory: 9 Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Calibrate flow measurement instruments | - Check the hydrometric instruments - Set up the equipment’s as per requirements - Stabilize the hydrometric Instrument - Record the instrument readings - Compute the calibration error - Recheck the instrumental working | - Introduction to flow measurement Instruments - Types of flow measurement Instruments - Working of flow measurement instruments - Calibration of flow meters Practical Activity Check and set up the hydrometric instruments, stabilize them, record readings, compute calibration error, and recheck performance. | Theory-03Hrs Practice-20Hrs Total- 23Hrs . | - Current meter - Ultrasonic Flow Meter - Staff gauge - Tipping Bucket Rain gauge - Ultrasonic Level Transmitter - Measuring tape - Stopwatch - GPS device | - Classroom - Lab/Field |
| LU2. Record precipitation according to SOPs | - Inspect the rain gauge site - Check the gauge condition as per standards - Note the observation time - Measure received precipitation - Remove water from Gauge | - Introduction to meteorological variables - Types of Rain Gauge - Rain Gauge operation - Rain Gauge Inspection Practical Activity Inspect the rain gauge site, check the gauge condition as per standards, note the observation time, measure the received precipitation, and remove the collected water. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Tipping Bucket Rain gauge - GPS device | - Classroom - Lab - Field |
| LU3. Record flow measurement | - Select suitable measuring site - Observe flow parameters - Calculate discharge from field data | - Site Selection - Introduction to Flow Parameters - Procedure for Flow measurements - Methods of Discharge Calculation Practical Activity: Select a suitable measuring site, observe the flow parameters, and calculate the discharge from the collected field data | Theory-03Hrs Practice-10Hrs Total- 13Hrs | - Current meter - Ultrasonic Flow Meter - Staff gauge - Measuring tape - Stopwatch - GPS device | - Classroom - Lab - Field |
| LU4. Maintain hydrometric logbook | - Check all hydrometric equipment quantity - Record available items in inventory register - Label hydrometric tools - Update inventory after issuance - Store equipment safely | - Procedures for Hydrometric Equipment Inventory - Method of Hydrometric Tool Identification - Protocols of Equipment Storage Practical Activity Check all hydrometric equipment quantities, record available items in the inventory register, label the tools, update the inventory after issuance, and store the equipment safely | Theory-03Hrs Practice-08Hrs Total- 11Hrs | - Pen - Register | - Classroom - Field |

## 4.3 0811WM0102 Carry Out Physical Testing of Water

Objective: This module covers the skills and knowledge required for trainees to perform basic physical tests, measure parameters like temperature, pH, turbidity, conductivity, Oduor, accurately record and interpret results for water quality assessment.

Duration: 40 Hours		Theory: 10 Hours		Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare testing reagents for water | - Check chemical labels for correct reagents. - Measure required quantity using balance or measuring cylinder. - Mix reagents in clean container as per instructions. - Label prepared reagents with name and date. - Store reagents safely for use in tests. | - Introduction to basic calculations of concentration - Procedures for Reagent Preparation - Protocols of Reagent Storage Practical Activity: Prepare Electrical Conductivity and pH standard reagents | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Analytical balance - Measuring cylinder - Standards/Chemicals - Glassware’s including beakers, flasks, pipets etc - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - Digital temperature probe - Reagent bottels - Sample container (plastic or glass) | - Classroom - Lab |
| LU2. Perform temperature test | - Check thermometer for calibration. - Collect water sample in clean container. - Note stabilized temperature reading. - Record temperature in the field log. | - Temperature Measurement and Units - Process of Thermometer Calibration - Procedure for Temperature Measurement Practical Activity Check the temperature of a given water sample in different temperature units | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Laboratory / field thermometer - Digital temperature probe - Glasswares - Sample container (plastic or glass) | - Classroom - Lab |
| LU3. Perform pH test | - Check pH meter or pH strips for proper function. - Collect water sample in a clean container. - Note the stabilized recording of pH. - Record pH value in logbook. | - Introduction to water pH - pH Measurement methods - Procedure for pH Recording Practical Activity: Check the pH meter or strips for proper function, collect the water sample in a clean container, note the stabilized pH reading, and record the pH value in the logbook | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - cylinder - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - Sample container (plastic or glass) - Digital pH meter (portable) - pH (4. 7 and 10) buffer solutions pH test strips | - Classroom - Lab |
| LU4. Perform electrical conductivity test | - Check EC meter for calibration. - Collect water sample in a clean container. - Note stabilized reading. - Record EC value in logbook. | - Introduction of Electrical Conductivity Meter - Procedure for Record Electrical Conductivity Practical Activity: Check the EC meter for calibration, collect the water sample in a clean container, note the stabilized reading, and record the EC value in the logbook | Theory-1.5Hrs Practice-03Hrs Total- 4.5Hrs | - Glass wares - Measuring cylinder - Conical and volumetric flasks - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - EC meter / conductivity meter - Standard calibration solution - Potassium Chloride | - Classroom - Lab |
| LU5 Perform TDS test | - Check TDS meter for calibration. - Collect water sample in a clean container. - Insert TDS probe into the sample. - Note stabilized reading. | - Knowledge of TDS Instrument - Methods of Water Sampling - Procedure of TDS Measurement Practical Activity: Check the TDS meter for calibration, collect the water sample in a clean container, insert the TDS probe, and note the stabilized reading | Theory-1.5 Hrs Practice- 06Hrs Total- 7.5 Hrs | - Glass wares - Measuring cylinder - Conical and volumetric flasks - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - TDS meter - Standard calibration solution | - Classroom - Lab |
| LU6 Measure turbidity levels | - Clean turbidity meter before use. - Collect water sample in a clean container. - Read turbidity value after display stabilizes. - Record reading in the test log. | - Introduction of Turbidity Meter - Methods of Water Sample Collection - Procedure for Turbidity Reading Practical Activity: Clean the turbidity meter before use, collect the water sample in a clean container, read the stabilized turbidity value, and record it in the test log | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Glassware’s including - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - Turbidity meter (portable nephelometer) - Turbidity standards - Barium Chloride Water bath / warm plate | - Classroom - Lab |
| LU7 Evaluate water odor characteristics | - Collect freshwater sample in a clean bottle. - Warm sample slightly to release odor. - Identify any unusual or strong odor. - Record observation in the logbook. | - Knowledge of Water Sample Collection - Procedure of Odor Assessment - Methods of Odor Observation Practical Activity: Collect a freshwater sample in a clean bottle, warm it slightly to release odor, identify any unusual or strong odor, and record the observation in the logbook | Theory-01Hrs Practice-03Hrs Total-04Hrs | - Glass wares including measuring cylinder - Beakers / mixing containers - Glass stirring rod - Labeling tape & marker - Water bath / warm plate - Odor reference chart | - Classroom - Lab |

## 4.4 0811WM0103 Design Rainwater harvest System

Objective: This module covers the skills and knowledge required for trainees to perform rainwater harvesting activities, including identifying collection areas, installing, maintaining harvesting structures, and monitoring stored water for sustainable use.

Duration: 40 Hours			Theory: 10 Hours				Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare material for rainwater harvesting | - Check list of required materials. - Collect pipes, tanks, and filters from storage. - Inspect materials for damage or defects. - Clean tanks and fittings before use. - Arrange materials near installation site. | - Introduction to rainwater harvesting - Identification of required materials - Procedure for Preparation RWH Practical activity Prepare and organize materials for a rainwater harvesting system by inspecting, cleaning, and arranging pipes, tanks, and filters. | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Measuring Tape - Spade / Shovel - Spirit Level - PVC Pipe Cutter - Hacksaw - Hammer - Screwdriver Set - Adjustable Wrench - Plumb Bob - Nylon String Line - Plastic or Galvanized Gutter Section - Downpipe (PVC) | - Classroom - Field |
| LU2. Prepare site for rainwater harvesting | - Select suitable location. - Clear site of debris or vegetation. - Level ground for proper placement. - Mark layout for tanks or channels. - Check drainage slope for smooth flow. | - Overview of site preparation requirements - Guidelines for structure layout - Methods of concrete finishing Practical activity Select RWH Site, Prepare Site, and Perform Concrete Finishing & Curing | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Shovel - Wheel barrow - Mortar pan - Buckets - Water hose pipe - Concrete Mixer - Trowel - Steel Float - Wooden Float - Spirit Level - Plumb bob - Measuring Tape - Poker vibrator | - Classroom - Field |
| LU3. Install a Roof Top RWH system | - Fix gutters along the roof edges. - Connect downpipes to direct water flow. - Attach filter unit to remove impurities. - Link outlet to storage tank or pit. - Test system for proper water flow | - Roof Top Rainwater Harvesting System - Rainwater conveyance system layout Practical Activity Install Gutter, Connect Pipes, Attach Filter, and Conduct System Testing | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Shovel - Wheel barrow - Mortar pan - Buckets - Water hose pipe - Concrete Mixer - Trowel - Steel Float - Wooden Float - Spirit Level - Plumb bob - Measuring Tape - Brick Hammer - Masonry Chisel - Mortar pan - Tuck Pointer - Straight edge | - Classroom - Field |
| LU4. Construct surface run off collection systems | - Construct surface run-off collection system - Survey area to locate runoff path. - Excavate shallow channels for flow collection. - Lay lining or stone pitching to prevent erosion. - Install silt traps at entry points | - RWH surface runoff systems - Runoff Path Surveying - Methods of channel preparation Practical Activity Construct surface runoff channels with lining and silt traps following surveyed flow paths and standard procedures. | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Nails - String - Wire brush - Line and Pins - Sponge - Plastering Sponge Float - Shovel - Wheel barrow - Mortar pan - Buckets - Water hose pipe - Concrete Mixer - Trowel - Steel Float - Wooden Float - Spirit Level | - Classroom - Field |
| LU5. Construct surface storage system | - Construct surface storage system - Select suitable low-lying area for storage. - Mark boundary of storage structure. - Excavate pit/pond to required depth. - Line base with clay/plastic sheet. - Build inlet/outlet for controlled flow. | - RWH surface storage systems - Site Selection criteria - Excavation of pond - Methods of Storage Structure Construction Practical Activity Select Site, Mark Boundaries, Excavate, and Construct Inlet & Outlet Structures | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Nails - String - Wire brush - Line and Pins - Sponge - Plastering Sponge Float - Shovel - Wheel barrow - Mortar pan - Buckets - Water hose pipe - Concrete Mixer - Trowel - Steel Float - Wooden Float Spirit Level | - Classroom - Field |

## 4.5 0811WM0104 Conduct Reconnaissance Survey

Objective: This module covers the skills and knowledge required for trainees to observe, collect, and record basic field information essential for planning hydrological and engineering surveys.

Duration: 40 Hours        	Theory: 10 Hours 	Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Collect Preliminary Field Data | - Select a survey area with suitable observation points - Prepare maps, tools or data - Observe site features | - Introduction to Surveying - Preparation of Tools - Field observation and feature documentation Practical activity Conduct a reconnaissance survey of a selected site by identifying observation points, assessing terrain features, and recording relevant data for analysis through a field-based case study. | Theory-01Hrs Practice-09Hrs Total-10Hrs | - Notebook - Pencil - Drawing paper - Scale - Eraser - Sharpener | - Classroom - Lab - Field |
| LU2. Review of relevant collected data | - Gather relevant records - Review report or documents - Identify errors of data - Compile verified data | - Desk Data Collection - Review of Documents and Reports - Data Verification - Methods of Data compilation Practical Activity Conduct a review of Collected Records, Verify Data, and Compile Information. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Electrical Wires (1.5mm2 ,2.5mm2, 4mm2) - Electrical Conduit (PVC) - Switches - Sockets - Junction Boxes (PVC) - Earthing Rod - Earthing Wires - Cable Clips with nails - Electrical Insulation Tape - Wire Connectors - Mounting Plates - Labels (for marking installation points) - Distribution Box (DB) - Tool Kit - Cable Stripper - Thimble Plier | - Classroom - Lab |
| LU3. Perform demarcation activities | - Locate survey boundaries - Mark Reference points - Place temporary markers - Record marked positions - Carry out Earthing as per SOPs. - Fix all the accessories as per given wiring diagram. | - Methods of Boundary Identification - Reference Point placement - Accessories Installation Practical Activity Perform demarcation by locating survey boundaries, marking reference points, placing temporary markers, recording positions, and completing earthing and accessory installation | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Electrical Wires - Electrical Conduit (PVC) - Switches - Sockets - Junction Boxes - Earthing Rod - Earthing Wires - Cable Clips - Electrical Insulation Tape - Wire Connectors - Mounting Plates - Labels (for marking installation points) - Distribution Box (DB) - Tool Kit - Cable Stripper - Thimble Plier | - Classroom - Field |
| LU4. Perform activities using Virtual Global Platforms | - Use google earth pro for the measurement of length, area, elevation profile, location etc. - Identify survey area - Assess terrain features - Extract relevant data | - Virtual platforms for Geospatial analysis - Methods of Data Extraction Practical Activity Perform a virtual survey using Google Earth Pro to identify survey areas, assess terrain features, measure length, area, and elevation profiles, and extract relevant geospatial data for analysis | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Insulation Materials - Test Points or Terminals - Grounding Wires - Earthing Rods - Wire Connectors - Markers or Labels (for marking test points) - Cable Sleeves - Junction Boxes (if required for testing setup) - Digital Multimeter - Insulation tester - Earth resistance tester | - Classroom - Field |

## 4.6 0811WM0105 Analyze Topographic Survey

Objective: This module covers the skills and knowledge required for trainees to perform topographic surveys, measuring, recording, and representing water resource features accurately for effective planning, design, and management.

Duration: 59 Hours        	Theory: 11 Hours 	Practice: 48 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Conduct handling of survey tools | - Check survey tools for efficient use - Setup instruments on site - Calibrate tools before measurements - Operate instruments to collect data | - Survey Tools Inspection - Procedure for calibration measurements - Data Collection Using Survey Instruments Practical activity: Verify Survey Tools, Set Up Instruments, and Collect Data | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Wooden Pegs - Nails - Ranging rods - Measuring Tape - EDM - Mallet - Arrows - Ball peen hammer - Plumb bob | - Class Room - Survey field |
| LU2. Perform site set-up activities | - Identify survey locations - Mark reference points - Position instruments securely - Level equipment precisely Check site before measurements | - Identification of Survey Location - Procedure for Reference Point Marking - Instrument Positioning Practical Activity Identify Survey Location, Mark Reference Points, and Position Instruments | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Pegs - Nails - Field book - Pencils - Erasers - Sharpener - Tripod - Auto Level - Levelling Staff - Umbrella with stand - Ranging rods - Calculator - Mallet | - Class Room - Field |
| LU3. Collect Topographic field data | - Measure elevation at survey points - Record coordinates of landmarks - Examine terrain features - Record contours at site - Check collected data | - Elevation Measurement Techniques - Landmarks Coordinate Recording - Terrain Feature Assessment Practical Activity Measure Elevation, Record Coordinates, Examine Terrain Features, and Verify Field Data | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Pegs - Nails - String - Field book - Pencils - Erasers - Sharpener - Tripod - Auto Level - Levelling Staff - Umbrella with stand - Ranging rods - Calculator - Mallet - Measuring Tape - Plumb bob | - Classroom - field |
| LU4. Process and analyze surveyed data | - Compile collected field measurements. - Check data for errors. - Calculate elevations. - Plot contours on map. - Check processed data for accuracy. | - Compilation of Field Measurements - Data Verification - Elevation Calculation - Procedure for Contour Mapping Practical Activity Compile Field Data, Calculate Elevation, and Plot Contours | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Sharpener/ Sand paper - Drawing sheet - Eraser - Pencils HB, H, 2H, 3H - Scotch tape - Thumb Pins - Duster - Drawing board with stand - T square - Set square - Protractor - Compass - Handkerchief - Divider - Ruler / Scale (Engineering & Metric) | - Classroom - Lab |

## 4.7 0811WM0106 Manage Groundwater Assessment

Objective: This module covers the knowledge and skills required for trainees to collect and record groundwater data to support sustainable water use and management.

Duration: 75 Hours        	Theory: 15 Hours 	Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Conduct groundwater survey | - Select survey locations. - Install observation wells. - Measure water levels. - Record all observations accurately. | - Site selection criteria for survey location - Installation of Observation Well - Groundwater Level Measurement Practical Activity: Demonstrate Installation of Observation Well, Measure Water Level, and Record Field Observations | Theory-4 Hrs Practical-15 Hrs Total- 19 Hrs | - Sharpener/ Sand paper - Drawing sheet - Eraser - Pencils HB, H, 2H, 3H - Scotch tape - Thumb Pins - Duster - Drawing board with stand - T square - Set square - Protractor - Compass - Handkerchief - Divider - Ruler / Scale (Engineering & Metric) | - Classroom - Field |
| Record and analyze well data | - Measure water level in the well. - Document readings in the field notebook. - Check recorded data for accuracy. | - Measurement of the Well water level - Field Data Documentation Practical Activity: Measure Water Levels at different installed wells | Theory-4 Hrs Practical-15 Hrs Total- 19 Hrs | - Sharpener/ Sand paper - Drawing sheet - Eraser - Pencils HB, H, 2H, 3H - Scotch tape - Thumb Pins - Duster - Drawing board with stand - T square - Set square - Stencils - Protractor - Compass - Handkerchief - Divider - Ruler / Scale (Engineering & Metric) | - Classroom - Field |
| Monitor groundwater Recharge levels | - Identify recharge zones. - Measure groundwater levels periodically. - Record rainfall and surface water inflow. | - Assessment of Groundwater Recharge Zone - Measurement of hydrological data Practical Activity: Identify Recharge Zones and Measure Hydrological Data, including surface runoff and precipitation | Theory-4 Hrs Practical-15 Hrs Total- 19 Hrs | - Sharpener/ Sand paper - Drawing sheet - Eraser - Pencils HB, H, 2H, 3H - Scotch tape - Thumb Pins - Duster - Drawing board with stand - T square - Set square - Stencils - Protractor - Compass - Handkerchief - Divider - Ruler / Scale (Engineering & Metric) | - Classroom - Field |
| Maintain well installation | - Inspect well structure regularly. - Clean well casing and surroundings. - Lubricate pumps or mechanical parts. - Record maintenance activities for reference. | - Well Structure Inspection - Pump maintenance procedures - Casing cleaning and lubrication techniques - Maintenance of Mechanical Components Practical Activity: Inspect Well Structure and demonstrate Maintenance Operation | Theory-3 Hrs Practical-15 Hrs Total- 18 Hrs | - Sharpener/ Sand paper - Drawing sheet - Eraser - Pencils HB, H, 2H, 3H - Scotch tape - Thumb Pins - Duster - Drawing board with stand - T square - Set square - Stencils - Protractor - Compass - Handkerchief - Divider - Ruler / Scale (Engineering & Metric) | - Classroom - Field |

## 4.8 0811WM0107 Perform Installation of water structures

Objective: This module covers the skills and knowledge required for trainees to prepare sites, assemble water structures, and ensure their proper functioning for efficient water management, conservation, and supply.

Duration: 75 Hours			Theory: 15 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare material for installation | - Identify required materials. - Inspect materials for quality. - Collect materials at the site. - Organize materials for easy access. - Record material details for reference. | - Introduction to drawings - Material requirements - Material Selection and inspection - Understanding of documentation Practical activity Select Materials, Conduct Inspection, and Complete Documentation | Theory-04Hrs Practice-12Hrs Total- 16Hrs | - Notebook - Pen - Board marker - Whiteboard - Projector/ Multimedia | - Classroom - In Lab - Field visit |
| LU2. Assemble the components | - Position parts at designated locations. - Join components securely. - Align parts accurately. | - Assembly drawings - Component positioning procedure - Joining techniques - Awareness of safety practices Practical activity Place Components and Ensure Assembly Alignment | Theory-03Hrs. Practical-18Hrs. Total-21Hrs | - Plumb Bob - Spanner Set - Adjustable Wrench - Drill Machine - Masonry Tool Kit - PVC Pipe Cutter | - Classroom - Lab |
| LU3. Install water structure | - Select safe and accessible site for installation. - Clear the ground to prepare the base. - Place the structure parts in the correct position. - Secure the structure using bolts, cement, or supports. - Check the structure to ensure it is stable and functional. | - Site Selection Criteria - Foundation Preparation Methods - Structural Installation Procedures Practical activity Select Site, Prepare Ground, Place Structure, and Verify Installation | Theory-04Hrs Practice-15Hrs Total- 19Hrs | - Plumb Bob - Spanner Set - Adjustable Wrench - Drill Machine - Masonry Tool Kit - PVC Pipe Cutter - Pressure Gauge - GPS (Handheld) - Safety Kit - Toolbox - Mixing Tub / Bucket | - Classroom - Workshop - Field Visit |
| LU4. Check working of installed infrastructure | - Inspect the installed structure for visible defects. - Test water flow through the structure. - Measure output or capacity as per design. - Observe for leaks or blockages. - Record performance data for future reference. | - Inspection techniques for water infrastructure - Water flow testing methods - Measuring capacity as per design Practical Activity Inspect Structure, Measure Performance, and Record Data | Theory-04Hrs Practice-15Hrs Total- 19Hrs | - Pressure Gauge - Flow Meter (Portable) - Leak Detection Dye - GPS (Handheld) - Safety Kit - Toolbox | - Classroom - Workshop |

## 4.9 0811WM0108 Manage maintenance of water infrastructures

Objective: This module covers the skills and knowledge required for trainees to maintain water infrastructures, including site preparation, assembly, and ensuring proper functioning for efficient water management, conservation, and supply.

Duration: 51 Hours			Theory: 9 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Conduct testing of installed infrastructures | - Check infrastructure for visible damage. - Run pumps or valves to test flow. - Measure water output or pressure. - Observe leaks or blockages. - Record results in maintenance log . | - Inspection techniques of water infrastructure - Operational testing - Performance parameters - Detecting operational issues Practical activity Inspect Infrastructure, Conduct Flow Testing, and Maintain Data Records | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Pressure Gauge - Flow Meter (Portable Ultrasonic) - Water Level Indicator - Wrench Set (Adjustable & Fixed) - Pipe Wrench - Screwdriver Set - Cleaning Rod / Debris Hook - Safety Kit - Torch / Inspection Light | - Classroom - Workshop |
| LU2. Commission water management systems | - Inspect all components for proper installation. - Connect power or water supply to the system. - Operate the system to check functionality. - Monitor performance during initial operation. - Record observations and adjustments made. | - Component Installation Verification - Operational testing - Performance monitoring - Documenting observations Practical activity Inspect Components, Conduct Operational Testing, and Record Observations | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Pressure Gauge - Flow Meter (Portable Ultrasonic) - Water Level Indicator - Wrench Set (Adjustable & Fixed) - Pipe Wrench - Screwdriver Set - Cleaning Rod / Debris Hook - Safety Kit - Torch / Inspection Light | - Classroom - Workshop - Field visit |
| LU3. Manage debris in water infrastructures | - Inspect channels, inlets/outlets for debris. - Remove blockages manually/mechanically. - Dispose of debris at designated locations. - Check for remaining obstructions after cleaning. - Record cleaning activities in the maintenance log. | - Channel Inspection Procedures - Blockage Removal Methods - Debris Disposal Practices - Maintenance Activity Recording Practical Activity Inspect Channel, Remove Debris, and Verify Post-Cleaning | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - Pressure Gauge - Flow Meter (Portable Ultrasonic) - Water Level Indicator - Wrench Set (Adjustable & Fixed) - Pipe Wrench - Screwdriver Set - Cleaning Rod / Debris Hook - Safety Kit - Torch / Inspection Light | - Classroom - Field Visit |
| LU4. Perform fine-tuning of accessories | - Inspect accessories for alignment/damage. - Adjust settings according to specifications. - Test each accessory for proper operation. - Check performance after adjustments. - Record changes and results in the log. | - Knowledge of System Accessories - Understanding of adjustment procedures - Verifying performance after adjustment Practical Activity Inspect Accessories, Conduct Operational Testing, and Record Results | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Pressure Gauge - Flow Mete(Portable Ultrasonic) - Water Level Indicator - Wrench Set (Adjustable & Fixed) - Pipe Wrench - Screwdriver Set - Cleaning Rod / Debris Hook - Safety Kit - Torch / Inspection Light | - Classroom - Workshop |

## 4.10 0811WM0109 Conduct field level water governance practices

Objective: This module covers the skills and knowledge required for trainees to implement field level water governance practices, including monitoring allocation, coordinating with users, enforcing regulations, and maintaining records for efficient and conflict free water management.

Duration: 66 Hours			Theory: 52 Hours				Practice: 14 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Measure water uses rates under field conditions | - Place measuring devices at water outlets. - Record flow/volume over time. - Compare usage with allocations. | - Methods of Flow Data Measurement - Water Usage Verification Procedures Practical activity Place measuring devices at water outlets, record flow or volume over time, and compare usage with allocations | Theory-04Hrs Practice-12Hrs Total- 16Hrs | - Notebook/ Fieldbook - Pen - Flow Meter - Staff Gauge - Measuring Tape - Bucket - Marker Flags - Personal Computers | - Classroom - Field |
| LU2. Operate pumping stations and control valves | - Check pumps/valves for proper condition. - Start pumps according to operational schedule. - Adjust valves to control water flow. - Monitor water levels and pressure continuously. - Record operational data for reporting. | - Introduction to Pumps and Valves - Operational Scheduling Procedures - Flow Monitoring and Control - Operational Data Recording Practical activity Check pumps and valves for proper condition, start pumps as per operational schedule, adjust valves to control water flow, monitor water levels and pressure continuously, and record operational data | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Notebook/ Fieldbook - Pen - Flow Meter - Staff Gauge - Measuring Tape - Bucket - Marker Flags - Personal Computers | - Classroom - Construction yard |
| LU3. Distribute water in compliance with legal framework | - Identify beneficiaries and water allocation quotas. - Monitor water delivery at each outlet. - Measure volumes to ensure compliance with allocation. | - Water Allocation Monitoring - Procedure of Flow Compliance Measurement Practical Activity Identify beneficiaries and water allocation quotas, monitor water delivery at each outlet, and measure volumes to ensure compliance with allocations | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Notebook/ Fieldbook - Pen - Flow Meter - Staff Gauge - Measuring Tape - Bucket - Marker Flags - Personal Computers | - Classroom - Field |
| LU4. Perform fine tuning of accessories | - Inspect accessories for alignment/damage. - Adjust settings according to specifications. - Test each accessory for proper operation. - Check performance after adjustments. - Record changes and results in the log. | - Procedures for Accessory Inspection - Methods of Test Performance - Techniques of Adjustment Verification Practical Activity Inspect accessories for alignment or damage, adjust settings as per specifications, test each for proper operation, check performance after adjustments, and record changes and results in the log | Theory-04Hrs Practice-15Hrs Total- 19Hrs | - Notebook/ Fieldbook - Pen - Flow Meter - Staff Gauge - Measuring Tape - Bucket - Marker Flags - Personal Computers | - Classroom - Field |

### 4.11 0811WM0110 Manage plantation activities in watershed

Objective: This module covers the skills and knowledge required for trainees to perform plantation activities in watersheds, including selecting plant species, preparing land, planting, and maintaining vegetation to reduce erosion, enhance water retention, and support sustainable management.

Duration: 51 Hours			Theory: 9 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Manage plantation on designated sites | - Plant seedlings at designated locations. - Water and protect plants from damage. - Monitor growth of plants. - Protect vegetation from insect’s pests | - Seedling Planting Techniques - Plant Care Methods - Techniques for Monitoring the Vegetation Practical activity Plant seedlings at designated locations, water and protect them from damage and pests, and monitor their growth | Theory-03Hrs Practice-15Hrs Total- 18Hrs | - Soil Moisture Meter - Soil Auger / Sampler - Spade - Shovel | - Classroom - Field |
| LU2. Perform land preparation activities | - Clear the site of debris and weeds. - Level the land to remove uneven areas. - Plow soil to loosen the top layer. - Fertilize soil for planting. - Mark planting lines/plots. | - Methods of Land Preparation - Soil Plowing Fertilization Methods - Planting Layout Practical activity Clear the site of debris and weeds, level the land, plow and fertilize the soil, and mark planting lines or plots | Theory-03Hrs Practice-15Hrs Total- 18Hrs | - Soil Moisture Meter - Soil Auger / Sampler - Spade - Shovel | - Classroom - Field |
| LU3. Maintain vegetation in watershed area | - Check plants for health. - Remove weeds near plants. - Water plants when dry. - Protect plants from animals. - Note plant growth in records. | - Plant Health Assessment - Weed Control - Methods of Irrigation Practical Activity Check plants for health, remove nearby weeds, water when dry, protect from animals, and record plant growth | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Soil Moisture Meter - Soil Auger / Sampler - Spade - Shovel | - Classroom - Field |

# Tools, Equipment and Consumables Required for Qualification

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | Quantity Required |
| 01 | Buffer solution | 5 ml |
| 02 | Cleaning cloths | 20 Pieces |
| 03 | Detergents | 5 Lt |
| 04 | Disinfectant | 5 Lt |
| 05 | Lab coat | 25 Pieces |
| 06 | Log books | 10 Pieces |
| 07 | PPEs (Gloves, Facemask, hair cap) | 25 pieces each |
| 08 | Sample bottles | 20 Units |
| 09 | Shoe cover | 10 packs |
| 10 | Sanitizer | 5 Lt |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | Quantity Required |
| 01 | Adjustable Wrench | 3 Units |
| 02 | Analytical balance | 2 Units |
| 03 | Beakers / mixing containers | 3 Units |
| 04 | Bucket | 5 Units |
| 05 | Cleaning Brush | 3 Units |
| 06 | Cleaning Rod / Debris Hook | 2 Units |
| 07 | Compass | 5 Units |
| 08 | Computer / Laptop | 3 Units |
| 09 | Current Meter | 5 Units |
| 10 | Digital pH meter (portable) | 5 Units |
| 11 | Digital temperature probe | 2 Units |
| 12 | Downpipe (PVC) | 5 Units |
| 13 | Drill Machine | 2 Units |
| 14 | EC meter / conductivity meter | 2 Units |
| 15 | Field Map / Layout Sheet | 5 Units |
| 16 | Field Maps | 5 Units |
| 17 | Flow Meter (Portable Ultrasonic) | 2 Units |
| 18 | Glass stirring rod | 2 Units |
| 19 | GPS (Handheld) | 5 Units |
| 20 | Gravel-Sand Filter Unit | 2 Units |
| 21 | Hacksaw | 5 Units |
| 22 | Hammer | 5 Units |
| 23 | Labeling tape & marker | 2 Units |
| 24 | Laboratory / field thermometer | 2 Units |
| 25 | Leak Detection Dye | 3 Units |
| 26 | Logbook | 5 Units |
| 27 | Marker Flags | 2 Units |
| 28 | Masonry Tool Kit | 3 Units |
| 29 | Measuring cylinder | 3 Units |
| 30 | Measuring Tape | 5 Units |
| 31 | Mixing Tub / Bucket | 5 Units |
| 32 | Nylon String Line | 4 Units |
| 33 | Odor reference chart | 5 Units |
| 34 | pH buffer solutions | 2 Units |
| 35 | pH test strips | 5 Units |
| 36 | Plane Table Aluminium Tripod | 2 Units |
| 37 | Plastic or Galvanized Gutter Section | 2 Units |
| 38 | Plumb Bob | 4 Units |
| 39 | Pressure Gauge | 3 Units |
| 40 | PVC Pipe Cutter | 5 Units |
| 41 | Ranging Rods | 5 Units |
| 42 | Safety Kit | 25 Units |
| 43 | Sample container (plastic or glass) | 3 Units |
| 44 | Screwdriver Set | 1 Units |
| 45 | Soil Auger / Sampler | 5 Units |
| 46 | Soil Moisture Meter | 1 Units |
| 47 | Spade / Shovel | 5 Units |
| 48 | Spanner Set | 5 Units |
| 49 | Spirit Level | 5 Units |
| 50 | Staff Gauge | 5 Units |
| 51 | Standard calibration solution | 3 Units |
| 52 | Standard TDS calibration solution | 3 Units |
| 53 | Storage Tank (HDPE) | 3 Units |
| 54 | TDS meter (digital handheld) | 2 Units |
| 55 | Tipping Bucket Rain Gauge | 2 Units |
| 56 | Tool Box | 5 Units |
| 57 | Torch / Inspection Light | 2 Units |
| 58 | Total Station | 2 Units |
| 59 | Tripod | 2 Units |
| 60 | Turbidity meter (portable nephelometer) | 2 Units |
| 61 | Ultrasonic Level Transmitter | 1 Units |
| 62 | Water bath / warm plate | 3 Units |
| 63 | Water Level Indicator | 5 Units |

# Members of Curriculum Development Committee:

The Curriculum Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Mr. Sajid Iqbal | Assistant Professor, | UET, Lahore |
|  | Mr. Aman Jan, | Lecturer, | Lasbela University, Balochistan |
|  | Engr. Amir Khalid | MEP Engineer, | MIDJAC, Islamabad |
|  | Engr. Abdul Basit | Civil Engineer | PWD, Pakistan |
|  | Mr. Arsalan | Expert | PCRWR, Lahore |
|  | Dr Sumaira Maqsood | Assistant Professor | Kohsar Univesity , Muree |
|  | Engr. Qurbat Zahra | DACUM FACILITATOR | DACCUM Facilitator, Lahore |
|  | Mr. Muhammad Ishaq | Deputy Director | NAVTTC HQs, ISB |