|  | Assessment Evidence Guide For National Vocational Certificate in Water Treatment Technician Level-4 Formative Assessment 0712WTT08 Monitor National & International Policy Rules & Regulations 0712WTT09 Perform Wastewater Treatment |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level in Water Treatment Technician L-4 |
| --- | --- |
| Competency Standard | 0712WTT08 Monitor National & International Policy Rules & Regulations 0712WTT09 Perform Wastewater Treatment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Monitor NEQS for wastewater parameters - Monitor regulatory & monitoring authority - Monitor zero discharge of hazardous chemicals policy - Perform aerobic wastewater treatment - Perform anaerobic wastewater treatment - Perform decentralized wastewater treatment - Perform wetland treatment - Perform bioremediation - Perform chemical treatment Activity 1:Monitor national and international policies and regulations Activity 2: Carry Out Basic Wastewater Treatment Process |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Identifies relevant national policies, acts, or rules applicable to the sector. - Identifies relevant international conventions, standards, or guidelines. - Differentiates between national and international regulatory frameworks. Activity 2 - Identifies different stages of wastewater treatment (preliminary, primary, secondary). - Performs screening and grit removal correctly. - Performs biological treatment (e.g., aeration or activated sludge simulation). - Monitors basic parameters (color, odor, turbidity). |

Section A2: Self-Assessment Checklist

| Assessment Task | - Monitor NEQS for wastewater parameters - Monitor regulatory & monitoring authority - Monitor zero discharge of hazardous chemicals policy - Perform aerobic wastewater treatment - Perform anaerobic wastewater treatment - Perform decentralized wastewater treatment - Perform wetland treatment - Perform bioremediation - Perform chemical treatment Activity 1: Monitor national and international policies and regulations OR Activity 2: Carry Out Basic Wastewater Treatment Process |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Identifies relevant national policies, acts, or rules applicable to the sector. |  |  |
| - Identifies relevant international conventions, standards, or guidelines. |  |  |
| - Differentiates between national and international regulatory frameworks. |  |  |
| Activity 2 |  |  |
| - Identifies different stages of wastewater treatment (preliminary, primary, secondary). |  |  |
| - Performs screening and grit removal correctly. |  |  |
| - Performs biological treatment (e.g., aeration or activated sludge simulation). |  |  |
| - Monitors basic parameters (color, odor, turbidity). |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate in Water Treatment Technician L-4 |
| --- | --- |
| Competency Standard | 0712WTT08 Monitor National & International Policy Rules & Regulations 0712WTT09 Perform Wastewater Treatment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1: Monitor national and international policies and regulations Activity 2: Carry Out Basic Wastewater Treatment Process |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
|  | Identifies relevant national policies, acts, or rules applicable to the sector. |  |  |  |  |  |
|  | Identifies relevant international conventions, standards, or guidelines. |  |  |  |  |  |
|  | Differentiates between national and international regulatory frameworks. |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Identifies different stages of wastewater treatment (preliminary, primary, secondary). |  |  |  |  |  |
| 2. | Performs screening and grit removal correctly. |  |  |  |  |  |
| 3. | Performs biological treatment (e.g., aeration or activated sludge simulation). |  |  |  |  |  |
| 4. | Monitors basic parameters (color, odor, turbidity). |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of screening in wastewater treatment? |  |  |
|  | Which process is used to remove settleable solids from wastewater? |  |  |
|  | What is meant by primary treatment of wastewater? |  |  |
|  | Why is aeration important in biological wastewater treatment? |  |  |
|  | Name one safety precaution to be followed during wastewater treatment. |  |  |
| 6 | Mention one parameter used to check the effectiveness of wastewater treatment. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________