Competency Standards

for

National Competency Standards for Level 3

in

Water Treatment Assistant

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Treatment Assistant. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the industry experts from CDA, PCRWR, WWF and other private industries, Academic experts from different universities, experts of TEVTAs work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1 Date of development:	4

1.2 Date of review	4

1.3 Entry requirement of trainee	…4

1.4 Trainer Qualification Requirement	4

1.5 Codes of qualification (ISCED)	4

2.	Summary of Competencies	4

3.	Qualification Levelling and Packaging	5

5.1 1022OHS01 Apply Workplace Safety Procedures	5

5.2 0612CS01 Perform Basic Computer Operations	7

5.3 0712WTA03 Identify Water Treatment	9

5.4 0712WTA04 Monitor Water Quality & Analysis.	10

5.5 0712WTT05 Perform Water Treatment	12

5.6 0712WTT06 Perform Water Filtration Techniques	13

5.7 0712WTA07 On-Job Training	16

# Introduction

A Water Treatment Technician is a skilled professional responsible for ensuring that water used for drinking, industrial processes, or wastewater discharge meets quality and safety standards.
They operate, monitor, and maintain water treatment systems such as filtration, chemical dosing, reverse osmosis, and disinfection units. Their main duties include testing water samples, adjusting treatment processes, maintaining equipment, and recording operational data to ensure compliance with environmental and health regulations. In simple terms, a Water Treatment Technician plays a key role in protecting public health and the environment by ensuring that clean, safe, and sustainable water is available for all uses.

| ## 1.1 Date of development: | 13th October 2025 – 17th October 2025 |
| --- | --- |
| ## 1.2 Date of review | October 2027 |
| ## 1.3 Entry requirement of trainee | Must have Secondary School Certificate |
| ## 1.4 Trainer Qualification Requirement | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1-year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-year experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-year experience in relevant field |
| ## 1.5 Codes of qualification (ISCED) | Code: 0712WTA00 Description: National Vocational Certificate Level 3 in Water Sector (Water Treatment Assistant) |

# Summary of Competencies

| CODE | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr. Hr. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 1022OHS01 | Apply Workplace Safety Procedures | L-2 | Generic | 9 | 42 | 51 | 3 |
| 0612CS01 | Perform Basic Computer Operations | L-2 | Functional | 9 | 42 | 51 | 3 |
| 0712WTA03 | Identify Water Treatment | L-3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA04 | Monitor Water Quality & Analysis. | L-3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA05 | Perform Water Treatment | L-3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA06 | Perform Water Filtration Techniques | L-3 | Technical | 4 | 44 | 48 | 2 |
| 0712WTA07 | On-Job-Training | L-3 | Technical |  |  | 120 | 3 |
|  | Total |  |  | 40 | 260 | 300 | 20 |

# Qualification Levelling and Packaging

| S.No | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
|  | N/A | N/A | N/A | N/A | N/A |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| N/A | Water Treatment Assistant | Water Treatment Technician | N/A |

- Competency Standards

### 5.1 1022OHS01 Apply Workplace Safety Procedures

Overview:

This Competency Standard identifies the competencies required to apply health safety procedures at the workplace according to the industry’s approved guidelines. The underpinning knowledge regarding Workplace safety practices will be sufficient to provide the basis for the job at the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Prepare for safe work practices | - Identify safety requirements of the job. - Identify emergency procedures and evacuation steps for workplace incidents. - Wear personal protective equipment - Follow safety instructions and signs during work. - Identify workplace hazards - Report hazards, incidents, and injuries using workplace procedures. |
| CU2. Perform safe handling of tools and equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment. - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor |
| CU3. Maintain fire extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher - Operate fire extinguisher - Refill expired fire extinguisher |
| CU4. Perform basic first aid | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform basic first aid for minor injuries |
| CU5. Respond to emergencies | - Assess risk and determine course of action - Follow emergency plan - Implement evacuation procedures as per SOP - Operate emergency equipment and supplies |
| CU6. Organization general code of practices with policies | - Follow Organizational Code of Practices - Operate Computer System Safely - Maintain Data Privacy - Observe security - Report Work Activities |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety rules and regulations of organization

- Safety signs and symbols

- Causes of workplace accidents relevant to the work environment

- Hierarchy of risk at workplace

- Techniques to handle emergency situations in different forms and contexts

- Workplace response to emergencies

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Use fire extinguishers and personal protective equipment correctly.

- Submit a report containing identified risk and hazard at workplace to concerned

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | First Aid Kit | 1 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Fire Extinguisher | 1 |

### 5.2 0612CS01 Perform Basic Computer Operations

Overview:

This competency standard will provide skills and knowledge related to basic computer hardware, software, applications and troubleshooting. Trainee will be able to demonstrate your skills in operating a computer system and software such as MS Office as well as installation and troubleshooting of operating system and software.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform basic configuration of computer system | - Connect computer components and peripherals as per requirement. - Install Drivers and applications according to the software specification. - Troubleshoot Applications to trace and fix faults if any |
| Perform software installation | - Download relevant software - Follow the Setup Wizard - Launch Software |
| Demonstrate computer and internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices |
| Perform basic documentation and presentation skills using MS office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint |
| Cu5. Manage electronic mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email |
| Cu6. Apply security best practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identifying computer components and peripherals.

- Installing drivers and application software.

- Troubleshooting basic software and hardware issues.

- Software types, installation steps, and licensing.

- Accessing internet-based tools and practicing safe browsing.

- Creating and formatting documents, spreadsheets, and presentations using MS Office.

- Setting up and managing email accounts, composing, sending, and organizing emails.

- Cybersecurity best practices including strong passwords, MFA, antivirus, and firewalls.

- Backing up important data securely and adjusting privacy settings appropriately.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Submit formatted document using MS Word and make a presentation on it

- Configure Email Account, compose an email with document attachment and send the email.

- Submit a downloaded video from the internet and play it offline

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | MS Office Suite | As per requirement |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Personal computer with basic accessories at least core i7 with 8th generation or above with minimum ram 8 GB and minimum 512 SSD | 25 |
| 02 | Internet Connection | 10 MB |
| 03 | Projector or Multimedia | 1 |

### 5.3 0712WTA03 Identify Water Treatment

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to investigate the fundamental concepts of Enterprise Resource Planning (ERP), including understanding ERP models, documenting architecture and components, and enlisting its importance.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify sources of water | - Identification of water sources - Handle water samples - Interpret data |
| Identify water pollution effects | - Identification of water pollution activities - Observe water samples - Identify indicators of water pollution - Assess effects of water pollution |
| Identify water treatment plants | - Identify functions of water treatment plants - Demonstrate components of treatment process - Observe flow sequence of water - Check operational signs, gauges, instruments |
| Identify roles and responsibilities of a water treatment assistant | - Prepare for work in a water treatment facility - Demonstrate workplace communication - Maintain tools, equipment - Maintain safety, cleanliness - Report work activities |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Definition and importance of water treatment in domestic, industrial, and municipal applications.

- Able to know sources of water (surface water, groundwater, rainwater, recycled water).

- Common water treatment equipment

- Safe handling and storage of treatment chemicals.

- Documentation and recordkeeping according to organizational policies.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Correctly identified components and layout of a typical water treatment plant

- Completed records and data sheets accurately according to workplace or training center procedures.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Apron or lab coat | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Funnels and filter papers | 25 |
| 02 | Measuring tape | 25 |

### 5.4 0712WTA04 Monitor Water Quality & Analysis.

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to assess, monitor, and maintain the quality of water used for domestic, industrial, or environmental purposes. It focuses on understanding water quality parameters, proper sampling techniques, testing procedures, and interpretation of analytical results in accordance with national and international standards.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify types of water sources | - Classify Water Sources - Handle Water Samples Safely - Interpret Field Data |
| CU2. Identify sources of water contamination | - Conduct Field Observation - Identify Contamination Sources - Handle Water Samples Correctly - Analyze Field Data |
| CU3. Observe national environment quality standards | - Introduction of NEQS - Introduction of WHO Guidelines - Identification of onsite parameters - Identification Lab parameters - Compliance with NEQS/WHO |
| CU4. Identify water standard | - Introduction of NEQS - Introduction of WHO Guidelines - Compare Results with Water Quality Standards - Maintain hygienic Work Practices |
| CU5. Collect water sampling techniques | - Perform Water Sampling Procedure - Handle, Label, Transport Samples - Maintain Tools and Equipment - Prepare proper Documentation and Reporting |
| CU6. Perform basic water quality analysis parameter | - Observe Basic Water Quality Tests - Compare with relevant water quality standards - Identify any abnormal results - Disposal of residues safely according to environmental procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Definition and classification of water sources

- Characteristics of each water source

- Importance of water source identification in water quality management.

- Major types of contaminants

- Purpose and importance of water quality standards and regulations.

- Overview of NEQS (National Environmental Quality Standards)

- Recording, interpreting, and comparing test results to standards.

- Proper disposal of laboratory waste according to environmental protocols.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Correctly identifies various types of water sources

- Recognizes and describes sources and types of water contamination

- Explains the impact of pollutants on water quality

- Ensures samples are properly labeled, preserved, and transported to the testing area without contamination.

- Interprets analytical results by comparing them with standard quality limits.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Field Notebook | As per requirement |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Topographic maps and water source maps | 25 |
| 02 | GPS device | 25 |
| 03 | Water sampling containers (for different sources) | 25 |
| 04 | Flow measuring device (portable flow meter) | 25 |

### 5.5 0712WTT05 Perform Water Treatment

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to carry out various water treatment processes to produce safe, clean, and usable water for domestic, industrial, and commercial applications. It involves the understanding and operation of different treatment systems — including groundwater, surface water, desalination, and advanced purification techniques — while maintaining compliance with environmental and safety standards

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform ground water treatment | - Collect Ground Water Samples - Observe Ground Water Treatment System - Monitor Treatment Process - Conduct Post-Treatment Activities |
| CU2. Perform surface water treatment | - Prepare for Surface Water Treatment Operations - Removal of Contaminants - Conduct Coagulation and Flocculation - Checked for proper flow - Operate Filtration System - Conduct Disinfection - Record Process Parameters |
| CU3. Perform desalination | - Set Up Desalination System - Operate Desalination Process - Perform Cleaning Procedures |
| CU4. Perform physical treatment | - Check for serviceability of equipment - Check Safety signs, barricades, and ventilation systems are placed - Conduct Screening and Grit Removal - Inspect the different tanks - Monitor Process parameters |
| CU5. Perform chemical treatment | - Identify the required Chemicals - Select Appropriate Personal Protective Equipment - Calculate Chemical quantities are based on dosage rate - Strictly follow chemical handling procedures - Monitor mixing and reaction times |
| CU6. Perform biological treatment | - Operate Biological Treatment System - Maintain System Performance - Disposal of Chemicals and sludge |
| CU7. Perform advanced treatment | - Observe Specialized Water Treatment Systems - Identify any system alarms, leaks, or abnormal noises - Interpreted test result to evaluate system performance. |
| CU8. Perform demineralized water | - Identify Demineralization unit - Observe Water Quality Tests - Compare Test results with specified standards |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Sources and characteristics of groundwater

- Safety procedures in handling groundwater systems

- Characteristics of surface water and its contamination sources.

- Principles of desalination and its necessity in water-scarce areas.

- Pretreatment requirements before desalination.

- Principles and applications of physical treatment methods.

- Basic chemistry of water and chemical reactions in treatment.

- Types and safe handling of treatment chemicals

- Principles of biological wastewater treatment.

- Maintenance and troubleshooting of specialized units.

- Principles and purpose of demineralization.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Correctly identify and classify different sources of water.

- Monitor treatment parameters

- Perform treatment processes

- Compare results with acceptable water quality standards and identify any deviations.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Air compressor (for aeration) | 10 |
| 02 | Chlorine dosing pump and solution tank | 10 |
| 03 | Sedimentation tank | 05 |

### 5.6 0712WTT06 Perform Water Filtration Techniques

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to operate, monitor, and maintain advanced water filtration plants including media, nano, ultra, reverse osmosis, forward osmosis, and demineralization systems. Learners will ensure efficient operation, troubleshoot issues, and maintain water quality and safety standards in treatment processes

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Operate media filtration plant | - Check system components and prepare for operation. - Operate plant safely as per procedures. - Monitor pressure, flow, and turbidity levels. - Perform backwashing and rinsing as required. - Identify and report system faults or leaks. - Record operational data and maintain logs. - Perform safety and environmental guidelines. |
| CU2. Operate nano filtration plant | - Prepare and inspect the nano filtration system. - operate the plant as per procedures. - Monitor flow, pressure, and water quality. - Identify and report faults or leaks. - Perform membrane cleaning and maintenance. - Record operational data accurately. - Perform safety and environmental procedures. - Shut down system safely. |
| CU3. Operate ultra filtration plant | - Prepare and inspect system before operation. - Check feed water quality. - Operate plant as per SOPs. - Monitor key parameters and adjust settings. - Identify and report faults or fouling. - Perform backwash and cleaning. - Record data and maintain logs. - Perform safety and quality standards. |
| CU4. Operate reverse osmosis filtration plant | - Check RO system components. - Start up plant as per procedures and safety rules. - Monitor pressure, flow, and water quality. - Adjust parameters for optimal performance. - Identify and report faults or leaks. - Clean and flush membranes regularly. - Operation and maintenance data. |
| CU5. Operate forward osmosis filtration plant | - Inspect system components before operation. - Perform and run the plant as per procedures. - Monitor flow, pressure, and concentration levels. - Adjust parameters for optimal performance. - Prepare Record operational data. - Check and report faults or leaks. - Clean and maintain membranes and equipment. |
| CU6. Operate demineralization plant | - Prepare the plant for safe operation. - Check inlet water quality and system parameters. - Operate ion exchange or membrane units as per SOPs. - Perform flow, pressure, and conductivity levels. - Identify and report faults or leaks. - Check Flush and rinse system after regeneration. - Check treated water quality. - Maintain equipment and dosing systems. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Principles and processes of media, nano, ultra, reverse osmosis, forward osmosis, and demineralization filtration systems.

- Functions and components of each filtration plant, including pumps, membranes, valves, and control panels.

- Water quality parameters such as turbidity, TDS, pH, and conductivity.

- Operation and monitoring procedures for filtration systems.

- Routine maintenance and cleaning of filters and membranes.

- Common operational faults and troubleshooting techniques.

- Safety, health, and environmental regulations in plant operation.

- Data recording, reporting, and performance evaluation of filtration units.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Operate and monitor all filtration plants as per SOPs.

- Record key parameters (pressure, flow, quality).

- Identify and fix operational faults and leaks.

- Perform routine maintenance and cleaning.

- Follow safety and environmental procedures.

- Maintain logs and prepare operation reports.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Pressure gauges and flow meters | 10 |
| 02 | pH and conductivity meters | 10 |
| 03 | Turbidity meter / TDS meter | 05 |
| 04 | Water sampling kits and testing reagents | 05 |
| 05 | Control panel and monitoring instruments | 10 |
| 06 | Valves, piping tools, and wrenches | 05 |
| 07 | Backwash pumps and dosing pumps | 05 |
| 08 | Chemical dosing system (chlorine, anti-scalant, coagulant) |  |
| 09 | Membrane cleaning tools and cartridges | 10 |
| 10 | Safety gear (gloves, goggles, masks, boots) | 10 |
| 11 | Maintenance toolkit (spanners, screwdrivers, pliers) | 10 |
| 12 | Flow control and monitoring software/interface | 05 |

### 5.7 0712WTA07 On-Job Training

Overview

The On-Job Training (OJT) segment of this qualification enables learners to apply their theoretical knowledge and technical skills in real-world water testing and laboratory environments. During this phase, learners are placed in foundational or support roles such as Water Quality Assistant, Laboratory Technician, Water Sampling Assistant, Wastewater Testing Assistant, or Environmental Laboratory Support Staff. These positions are offered across diverse sectors including public health, environmental monitoring, municipal services, industrial quality control, and water treatment facilities.

In case of unavailability of relevant industry for OJT, the following project may be carried out for the fulfilment of OJT requirement.

- List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebooks / Business Planning Diaries | 25 |
| 02 | Ballpoint Pens, Highlighters, Markers (Mixed Colors) | 75 pieces each |
| 03 | A4 Paper Rims (Reports, Proposals) | 10 rims |
| 04 | USB Flash Drives | 10 |
| 05 | Sticky Notes and Index Labels | 100 pads |
| 06 | Printed Templates (Water Treatment Process Plans) | 25 sets |
| 07 | Safety Signage / Regulatory Posters | 5 sets |
| 08 | Stationery Sets (Ruler, Sharpener, Eraser, etc.) | 25 sets |
| 09 | Lab Notebooks / Recording Sheets | 25 sets |
| 10 | A4 & A3 Drawing Sheets | 300 sheets |
| 11 | Graph Papers | 200 sheets |
| 12 | Plotter Paper Rolls | 4 rolls |
| 13 | Printer Ink Cartridges / Toners | 2 sets |
| 14 | Pencils (HB, 2H, 4H) | 100 pieces |
| 15 | Drafting Tape | 20 rolls |
| 16 | Transparent Plastic Scales (1:50, 1:100) | 25 sets |
| 17 | File Folders and Document Holders | 25 units |
| 18 | Glue Stick / Adhesives | 20 pieces |
| 19 | Paper Clips and Rubber Bands | 2 boxes each |
| 20 | Cotton Swabs & Cleaning Cloth | 25 sets |
| 21 | Water Sample Containers | 25 units |
| 22 | Chlorine Tablets / Liquid Chlorine | 5 kg |
| 23 | Alum (Coagulant) | 10 kg |
| 24 | Activated Carbon | 5 kg |
| 25 | Polyelectrolyte Flocculant | 5 kg |
| 26 | Sodium Hydroxide (Caustic Soda) | 5 kg |
| 27 | Hydrochloric Acid | 5 liters |
| 28 | Sodium Bisulfite | 5 kg |
| 29 | Filter Paper | 50 sheets |
| 30 | Test Tubes and Racks | 25 sets |
| 31 | Cleaning Spray / Degreaser | 5 bottles |
| 32 | Hydraulic Oil (Pumps & Valves) | 40 litters |
| 33 | Lubricating Oil (Pump Maintenance) | 5 liters |
| 34 | Thread Sealant | 10 bottles |
| 35 | Fuses (Assorted Ratings) | 50 pieces |
| 36 | Pipe Insulation | 50 meters |
| 37 | Pipe Seals and Gaskets (Assorted Sizes) | 100 pieces |
| 38 | Teflon Tape | 20 rolls |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Desktop / Laptop Computers | 5 No’s |
| 02 | Multimedia Projector with Screen | 1 No’s |
| 03 | Printer & Scanner Combo | 1 No’s |
| 04 | Flip Chart Stand with Paper | 1 No’s |
| 05 | Office Table and Chairs (Group Work Setup) | 5 Sets |
| 06 | Accounting Calculator / Financial Calculator | 5 No’s |
| 07 | Digital Camera or Webcam | 2 No’s |
| 08 | Wi-Fi Internet Connection (Shared) | 1 Setup |
| 09 | Microphone and Speaker System (for presentations) | 1 Set |
| 10 | Safety Signage / Regulatory Posters | 5 sets |
| 11 | Personal Protective Equipment (PPE) – Gloves, Goggles, Lab Coats | 25 sets |
| 12 | Water Quality Test Kits (Multi-parameter) | 5 sets |
| 13 | Turbidity Meters | 5 units |
| 14 | pH / ORP Meters | 5 units |
| 15 | Fluoride Testing Kits | 5 sets |
| 16 | TDS & Conductivity Meters | 5 units |
| 17 | Chemical Feed Pumps | 5 units |
| 18 | Multimeter | 5 units |
| 19 | Water Pumping Systems (Training Models) | 5 sets |
| 20 | Rotameters (Flow Measurement) | 5 units |
| 21 | Laboratory Water Filtration Units | 5 units |
| 22 | UV Sterilizers (Training Units) | 5 units |
| 23 | Automatic Water Samplers | 5 sets |
| 24 | Flocculation Tanks | 5 units |
| 25 | Wrenches & Pipe Tools | 10 sets |
| 26 | Hydraulic & Pneumatic Tool Sets | 5 sets |
| 27 | Torque Wrenches | 5 units |
| 28 | Spanners & Pipe Cutters | 5 sets |
| 29 | Spare Parts Kits (Pumps, Valves, etc.) | 5 sets |
| 30 | Safety Helmets | 25 units |
| 31 | Safety Boots | 25 pairs |
| 32 | Ear Protection (Earplugs / Earmuffs) | 25 pairs |
| 33 | Eye Protection (Safety Goggles) | 25 units |
| 34 | High-Visibility Vests | 25 units |
| 35 | Face Shields | 5 sets |

- Members of Qualifications Development & Review Committee

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| Sr.# | Name | Designation | Organization |
|  | Engr. Muhammad Wameq Ayaz | DACUM Facilitator | NAVTTC Islamabad |
|  | Muhammad Musa | Assistant Director Lab | CDA Islamabad |
|  | Waqar Hussain | Research Officer | PCRWR Islamabad |
|  | Sameera Zaib | Region Head | WWF KP |
|  | Sumaira Gul | CEO | DR Akhtar Hameed Khan Memorial Associate |
|  | Irha Fatima | BS Environmental Science | University of Punjab |
|  | Muhammad Ali | Water Management Officer | Bahria Town Rawalpindi |
|  | Shahram Waheed | Grid Plant Supervisor | MEPCO |
|  | Muhammad Usman | Instructor | PVTC |
|  | Arslan Ahsan | Incharge water Supply | AG Consultant |
|  | Amir Jabbar | CTO/Co-Founder | Devnixa |
|  | Amir Khan | Water & Sanitation Expert | Nordic International Water Works |
|  | Zohaib Ud Din | Design & Operation Head | MEA- Pakistan |