Curriculum

For

National Vocational Qualification Level 3

Water Treatment Assistant

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Treatment Assistant Level-3. This work was made possible with the technical support of the experts.

It may not be prudent to mention here that all the industry experts, and TVET experts of TEVTAs, BTEs, PVTC, and work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1.	Date of Development	4

1.2.	Date of Review and Validation	4

1.3.	Entry Requirement	4

1.4.	Minimum qualification for teachers	4

1.5.	Codes of qualification (ISCED)	4

1.6.	Medium of instruction	5

1.7.	Duration of Course	5

2.	Scheme of Studies	5

3.	Daily Contact Hours	6

4.	Details of Modules	6

3.1 1022OHS01 Apply Workplace Safety Procedures	6

3.2 Perform Basic Computer Operations	8

3.3 0712WTA03 Identify Water Treatment	11

3.4 0712WTA04 Monitor Water Quality & Analysis.	13

3.5 0712WTT05 Perform Water Treatment	17

3.6 0712WTT06 Perform Water Filtration Techniques	21

5.	List of Consumables, Tools, Machinery & Equipment	24

6.	Members of Qualification Development Committee	27

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledges the vital role of vocational and technical education in developing a skilled workforce capable of supporting essential public services and sustainable development in Pakistan. In response to the growing demand for trained manpower in the water and sanitation sector, NAVTTC has initiated the development of Competency Standards (CS) for the trade of Water Treatment Assistant (Level-3). This initiative highlights NAVTTC’s commitment to workforce development, improved employability, and alignment with national priorities and international standards in environmental and public health sectors.

Water treatment is a critical and expanding field with wide-ranging applications in municipal water supply, industrial operations, agriculture, and community development. The sector plays a key role in ensuring safe drinking water, protecting public health, and supporting environmental sustainability. With increasing challenges such as water pollution, population growth, and climate change, the demand for skilled water treatment personnel is rapidly increasing at both local and national levels. The establishment of these competency standards ensures the availability of trained professionals capable of meeting industry and regulatory requirements.

The qualification framework for Water Treatment Assistant (Level-3) focuses on equipping learners with essential knowledge and practical skills required for routine water treatment operations. These include applying workplace safety procedures, performing basic computer operations, identifying water treatment processes, monitoring and analyzing water quality parameters, carrying out basic water treatment activities, and performing water filtration techniques. The program also emphasizes hands-on learning through on-job training, enabling learners to effectively support water treatment operations and contribute to safe water management and public health protection in Pakistan.

| ## Date of Development | 17th – 21st NOV, 2025 |
| --- | --- |
| ## Date of Review and Validation | 21st NOV, 2027 |
| ## Entry Requirement | Must have Secondary School Certificate |
| ## Minimum qualification for teachers | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1-year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-year experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-year experience in relevant field |
| ## Codes of qualification (ISCED) | Code: 0712WTA00 Description: National Diploma Level 3 in “Water Treatment Assistant” |
| ## Medium of instruction | English |
| ## Duration of Course | Total. 420 hours. Theory. 40 hours Practical. 260 hours On Job Training. 120 hours |

# Scheme of Studies

| Module code | Name of Competency | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| 1022OHS01 | Apply Workplace Safety Procedures | 3 | Generic | 9 | 42 | 51 | 3 |
| 0612CS01 | Perform Basic Computer Operations | 3 | Technical | 9 | 42 | 51 | 3 |
| 0712WTA03 | Identify Water Treatment | 3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA04 | Monitor Water Quality & Analysis. | 3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA05 | Perform Water Treatment | 3 | Technical | 6 | 44 | 50 | 3 |
| 0712WTA06 | Perform Water Filtration Techniques | 3 | Technical | 4 | 44 | 48 | 2 |
| 0712WTA07 | On-Job Training | 3 | Technical |  |  | 120 | 3 |
| Total |  |  |  | 40 | 260 |  | 20 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 3.1 1022OHS01 Apply Workplace Safety Procedures

Objective:

This module focuses on the knowledge and skills required to follow workplace safety procedures, identify and control hazards, use personal protective equipment (PPE), and maintain a safe working environment.

Duration: 51 Hours	 Theory: 9 Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare for safe work practices | - Identify safety requirements of job - Identify emergency procedures and evacuation steps for workplace incidents. - Wear personal protective equipment. - Follow safety instructions and signs during work - Identify workplace hazards. - Report hazards, incidents, and injuries using workplace procedures. | - Workplace Safety Requirements - Emergency Procedures and Evacuation Steps - Personal Protective Equipment (PPE) - Safety Instructions and Signs - Workplace hazards - Hazard Report Practical Activity: Candidate is required to perform a quick walkthrough of a simulated or real work area, identify 3 visible hazards, match them with appropriate safety signs or instructions, and fill hazard report form. | Theory-02Hrs Practice-07Hrs Total- 09Hrs | - PPE - Emergency Alarm | - Classroom - Workshop |
| LU2. Perform Safe Handling of Tools, and Equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor | - Introduction to Tools and Equipment - Safe Use Procedure of Tools and Equipment - Post-Use Cleaning and Storage procedure of tools and equipment - Tool damage report Practical Activity: Candidate is given 3 tools (real or dummy). They will inspect for visible damage or malfunction. If a defect is found, they will fill out a tool damage report and tag the tool. | Theory-1Hrs Practice-05Hrs Total- 06Hrs | - Set of hardware tools - PPE | - Classroom - Workshop |
| LU3. Maintain Fire Extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher. - Operate fire extinguisher. - Refill expired fire extinguisher | - Types of fire - Types of fire extinguishers - Pass, Aim, Squeeze, Sweep (PASS) - Safe Operation of Fire Extinguishers - Fire Drill Practical Activity: Candidate is required to carry out a fire drill. Identify fire and select a fire extinguisher, check expiry, pressure and practice PASS technique on a demo unit. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Fire Extinguisher | - Classroom - Workshop |
| LU4. Perform Basic First Aid | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform basic first aid for minor injuries | - Types of emergency medication - Quality check of emergency medications - Types of minor Injury - First Aid Procedure - CPR Practical Activity: Candidates are divided into pairs. Each pair will inspect a sample first aid box to check readiness against the item checklist. Each pair will perform a first aid demo on a simulated cut injury. | Theory-1Hrs Practice-08Hrs Total- 09Hrs | - First Aid box | - Classroom - Workshop |
| LU5. Respond to emergencies | - Assess risk and determine course of action - Follow emergency plan - Implement evacuation procedures as per SOP - Operate emergency equipment and supplies | - Risk factors and response options - Emergency procedures - Evacuation protocols - Emergency equipment and supplies Practical Activity: Emergency Response Drill at Water Treatment Facility | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Fire Extinguisher - PPE | - Classroom - Workshop |
| LU6. Organization general code of practices with policies | - Follow Organizational Code of Practices - Operate Computer System Safely - Maintain Data Privacy - Observe security - Report Work Activities | - Organizational codes of practice - Computer system safety requirements - Data privacy principles - Workplace security requirements - Work activity records Practical Activity: Safe Data Management and Reporting in Water Treatment Facility | Theory-03Hrs Practice-07Hrs Total- 10Hrs | - Desktop - Printer - Instruction manuals | - Classroom - Workshop |

## 3.2 Perform Basic Computer Operations

Objective:

This module focuses on developing the knowledge and skills required to operate a computer, use basic software applications, manage files and folders, and perform essential digital tasks efficiently and safely.

Duration: 51 Hours		Theory: 9 Hours		Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform Basic Configuration of computer system | - Connect computer components and peripherals as per requirement - Install Drivers and applications according to the software specification - Troubleshoot Applications to trace and fix faults if any | - Basic computer components - Peripherals & ports - Drivers - Software applications - Procedure of troubleshooting Practical Activity: Candidate is required to connect a computer with monitor, keyboard, and mouse, install drivers and a basic application, simulate and fix a simple fault to show troubleshooting skills | Theory-01Hrs Practice-07Hrs Total- 08Hrs . | - Computers with basic peripherals - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |
| LU2. Perform Software Installation | - Download relevant software - Follow the Setup Wizard - Launch Software | - Software Acquisition - Software Installation - Application extensions - Desktop shortcuts Practical Activity: Candidate is required to download and install a basic software using the setup wizard, then launch it to confirm successful installation | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Computers with internet access - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |
| LU3. Demonstrate computer and internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices | - Common software applications - Web navigation - Secure browsing - Online and Digital Privacy - Digital ethics Practical Activity: Candidate is required to use a browser to search and download a safe file, create and save a short document, then explain one online safety tip to the class | Theory-02Hrs Practice-07Hrs Total- 09Hrs | - Computers with internet access - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |
| LU4. Perform basic documentation and presentation skills using MS office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint | - Introduction to MS Word - Introduction to MS Excel - Introduction to MS PowerPoint - Procedure to print documents Practical Activity: Candidate is required to create a short document in Word, a simple spreadsheet in Excel, and a three-slide presentation in PowerPoint, then save and present the files | Theory-01Hrs Practice-08Hrs. Total- 09Hrs | - Computers with MS Office Installed - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |
| LU5. Manage electronic mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email | - Introduction to Email - Email Service Providers - Email Account Configuration - Email Composition Practical Activity: Candidate is required to set up an email account, send an email with an attachment to a classmate, download the received file, and print the email. | Theory-02Hrs Practice-06Hrs. Total- 08Hrs | - Computers with MS Office Installed - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |
| LU6. Apply security best practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms | - Cyber threats - Secure password rules - Multi-Factor Authentication (MFA) - Antivirus software - Firewalls and ports - Data backup procedure - Data Privacy and Protection Practical Activity: Candidate is required to demonstrate three cyber threats, create a strong password, enable MFA on an account, and check antivirus and firewall status on a computer | Theory-02Hrs Practice-08Hrs. Total- 10Hrs | - Computers with MS Office Installed - USB drive - Whiteboard - Projector - Multimedia - LED | - Classroom - Lab |

## 3.3 0712WTA03 Identify Water Treatment

Objective:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to investigate the fundamental concepts of Enterprise Resource Planning (ERP), including understanding ERP models, documenting architecture and components, and enlisting its importance.

Duration: 50 Hours    	Theory: 6 Hours	          Practice: 44 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify sources of water | - Identify water sources - Handle water samples - Interpret data | - On-Site Identification and Inspection - classify the source - Measure Clarity/Turbidity - Check Color/Odor - Observe Visible Debris - Surrounding Land Use Practical Activity: Identify different types of natural (e.g., rivers, springs) and artificial (e.g., wells, reservoirs, municipal taps) water sources. | Theory: 01Hr Practical: 11Hrs Total: 12Hrs | - Topographic Map / GIS App - Field Notebook and Waterproof Pen - Smartphone with GPS - Portable Turbid meter - Clear Glass Jar or Beaker - White Bucket - Odor Kit / Reference Guide - Color Comparison Kit | - Classroom - Workshop |
| LU2. Identify water pollution effects | - Identification of water pollution activities - Observe water samples - Identify indicators of water pollution - Assess effects of water pollution | - Water pollution sources - Water sample characteristics - Water pollution indicators - Effects of water pollution Practical Activity: Water Pollution Assessment and Analysis | Theory: 01Hr Practical: 11Hrs Total: 12Hrs | - Water sampling bottles or containers - PPE - Portable water testing kits - Thermometer - Microscope - Measuring cylinders - Filtration apparatus - Data recording device. | - Classroom - Workshop |
| LU3. Identify water treatment plants | - Identify functions of water treatment plants - Demonstrate components of treatment process - Observe flow sequence of water - Check operational parameters on human machine interface (HMI) | - Comparison of treatment plants - Selection of water treatment plants on basis of comparative sheets Practical Activity: Visit a water treatment plant in the city and collect samples of raw as well as treated water. | Theory: 2Hr Practical: 11Hrs Total: 13Hrs | - Jar Test Apparatus - Multimedia Filter Column - Membrane Filtration Module - Clarifier - Sedimentation Tank Model - Disinfection Contact Chamber Model - Pressure Gauges - Level Sensors - Sight Glasses - Flow Meters | - Classroom - Workshop |
| LU4. Identify roles and responsibilities of a water treatment assistant | - Prepare for work in a water treatment facility - Demonstrate workplace communication - Maintain tools and equipment - Maintain safety and cleanliness - Report work activities | - Understand Control Panels - Conduct Rounds and Visual Inspections - Basic Field Tests - Routine Preventive Maintenance - Record Keeping Practical Activity: Conduct on-the-spot analytical tests. | Theory: 02Hr Practical: 11Hrs Total 13Hrs | - Turbid Meter - pH Meter - Chlorine Residual Test Kit (Colorimeter or DPD kits) - Jar Test Apparatus - SCADA Terminal - Data Log Sheet - Incubator - Membrane Filtration Apparatus - Analytical Balance - Glassware (Beakers, Graduated Cylinders) - Laboratory Information Management System (LIMS) | - Classroom - Workshop |

## 3.4 0712WTA04 Monitor Water Quality & Analysis.

Objective:

This module focuses on the skills and knowledge required to monitor, test, and analyze water quality parameters. It equips learners to identify contamination, interpret test results, and ensure water meets safety and regulatory standards. Your underpinning knowledge will provide a strong basis for practical field applications.

Duration: 50 Hours			Theory: 6 Hours				Practice: 44 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify types of water sources | - Classify Water Sources - Handle Water Samples Safely - Interpret Field Data | - Types of water sources - Accessibility of water - Availability of water - Affordability of water - Sustainability of water Practical Activity: Practice identifying and classifying different water sources in each area and record their characteristics. | Theory: 01Hrs Practical: 07Hrs Total: 08Hrs | - Sample containers - Measuring cylinder or beaker - Notebook and pen - Labels - Markers - Protective gloves | - Class Room - Workplace |
| LU2. Identify sources of water contamination | - Conduct Field Observation - Identify Contamination Sources - Handle Water Samples Correctly - Analyze Field Data | - Anthropogenic source - Geogenic sources - Point source contamination - Non-point source contamination Practical Activity: Observe and record potential sources of contamination at a local water source. | Theory: 01Hrs Practical: 07Hrs Total: 08Hrs | - Sample containers or bottles - Notebook and pen - Labels/markers - Protective gloves - Camera or mobile (for observation) | - Class Room - Workplace |
| LU3. Observe national environment quality standards | - Identify NEQS - Identify WHO Guidelines - Identify onsite parameters - Identify Lab parameters - Compliance with NEQS/WHO | - National environmental quality standards - International environmental quality standards - Compliance with relevant standards and permissible limits - Introduction to SDG6 - Reporting in compliance with national standards - Reporting in compliance with international standards Practical Activity: Check and record environmental parameters at a site to compare with national quality standards. | Theory: 01Hrs Practical: 07Hrs Total: 08Hrs | - APHA standard book - Copies of water related laws - Copies of NEQS - Copies of water policies - Copies of environmental policies - Copies of sanitation policies | - Class Room - Workshop |
| LU4. Identify water standard | - Introduction of NEQS - Introduction of WHO Guidelines - Compare Results with Water Quality Standards - Maintain hygienic Work Practices. | - Proper inspection and monitoring compliance - Documentation and reporting requirements - National drinking water quality parameters - National waste water quality parameters - National industrial water quality parameters - National irrigation water quality parameters - Acceptable limits of water parameters Practical Activity: Test a drinking water sample for pH and turbidity and compare with national standards. | Theory: 01Hrs Practical: 08Hrs Total: 09Hrs | - Water testing kits (pH, turbidity, chlorine, coliform) - Sample containers or bottles - Notebook and pen - Labels/markers - Protective gloves | - Class Room - Workshop |
| LU5. Collect water sampling techniques | - Perform Water Sampling Procedure - Handle, Label, Transport Samples - Maintain Tools and Equipment - Prepare proper Documentation and Reporting | - Types of water sampling - Questionnaire development for water sampling - Grab sampling - Composite sampling - Integrated sampling - Sampling preservation methods - Procedures to avoid contamination during sampling Practical Activity: Prepare a composite water sample from different points of a water source for analysis. | Theory: 01Hrs Practical: 08Hrs Total: 09Hrs | - Sample containers or bottles - Measuring cylinder or beaker - Cooler or ice box for transport - Labels/markers - Notebook and pen - Protective gloves | - Classroom - Workshop |
| LU6. Perform basic water quality analysis parameter | - Observe Basic Water Quality Tests - Compare with relevant water quality standards - Identify any abnormal results - Disposal of residues safely according to environmental procedures. | - Understand water quality parameters - Overview of aesthetic parameters - Analysis of physical water quality parameters - Analysis of chemical water quality parameters - Analysis of microbiological water quality parameters Practical Activity: Test water for pH and turbidity using simple field kits. | Theory 01Hrs Practical 07Hrs Total 08Hrs | - Water testing kits (pH, turbidity, dissolved oxygen, chlorine, coliform) - Lab equipment’s - Sample containers or bottles - Glass wares - Notebook and pen - Protective gloves and goggles - Labels/markers | - Classroom - Lab |

## 3.5 0712WTT05 Perform Water Treatment

Objective:

This Module covers the skills and knowledge. Trainees will be able to monitor, test, and optimize each process. Ultimately, learners will ensure treated water consistently meets required safety, industrial, and environmental standards.

Duration: 50 Hours        	Theory: 6 Hours 	Practice: 44 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform ground water treatment | - Collect Ground Water Samples - Observe Ground Water Treatment System - Monitor Treatment Process - Conduct Post-Treatment Activities | - Understanding groundwater treatment techniques - Understanding Sedimentation process - Overview of disinfection - Types of disinfection Practical Activity: Perform chemical dosing and filtration in a groundwater treatment unit. | Theory: 0.5Hrs. Practical: 4Hrs. Total: 4.5Hrs. | - Dosing pump - Feed pump - Sand filter - Carbon filter - Mix bed filter - Pipe accessories - UV Light - Chlorine dosing pump - Online TDS - Multiport Walls - Vassals - UF Membrane - RO Membrane - Media Filters | - Classroom - Workplace |

| LU2. Perform surface water treatment | - Prepare for Surface Water Treatment Operations - Removal of Contaminants - Conduct Coagulation and Flocculation - Checked for proper flow - Operate Filtration System - Conduct Disinfection - Record Process Parameters | - Surface Water Treatment Operations - Process of Screening - Coagulation and flocculation process - Sedimentation Process - Filtration and disinfection process - Parameters Report Findings Practical Activity: Operate a rapid sand filter and perform backwash. | Theory: 0.5Hrs. Practical: 4.5Hrs. Total: 5Hrs. | - Dosing pump - Feed pump - Sand filter - Carbon filter - Mix bed filter - Pipe accessories - UV Light - Chlorine dosing pump - Online TDS - Multiport Walls - Vassals - UF Membrane - RO Membrane - Media Filters | - Classroom - Workshop |
| --- | --- | --- | --- | --- | --- |
| LU3. Perform desalination | - Set Up Desalination System - Operate Desalination Process - Perform Cleaning Procedures | - Introduction to Desalination techniques - Understanding to reverse osmosis - Understanding of stills process - Understanding of condensation technique - Troubleshoot common operational issues - Membranes maintenance - Equipment maintenance Practical Activity: Setup and Operation of Small-Scale Desalination Unit | Theory: 1Hrs. Practical: 7Hrs. Total: 8 Hrs. | - Dosing pump - Feed pump - Sand filter - Carbon filter - Mix bed filter - Reverse osmosis membrane - Chemical dozers - Pipe accessories - UV Light - Chlorine dosing pump - Online TDS - Multiport Walls - Vassals - UF Membrane - RO Membrane - Media Filters | - Classroom - Workshop |
| LU4. Perform physical treatment | - Check for serviceability of equipment - Check Safety signs, barricades, and ventilation systems are placed - Conduct Screening and Grit Removal - Inspect the different tanks - Monitor Process parameters | - Introduction of Equipment Serviceability - Introduction to Process Monitoring Practical Activity: Perform Tank Inspection and Parameter Monitoring the process. | Theory: 0.5Hrs. Practical: 7Hrs. Total: 7.5Hrs. | - Consumable Materials: - Water sample - test strips for turbidity - Non-consumable Materials: - Flashlight, measuring stick - Clipboard - Pen - thermometer | - Classroom - Workshop |
| LU5. Perform chemical treatment | - Identify the required Chemicals - Select Appropriate Personal Protective Equipment - Calculate Chemical quantities are based on dosage rate - Strictly follow chemical handling procedures - Monitor mixing and reaction times | - Introduction of chemical Water treatment - Principles of Chemical safety - Operation of Chemical treatment - Effectiveness of chemical Treatment Practical Activity: Perform Chemical Dosage Calculation of water to reparation a report. | Theory: 0.5Hrs. Practical: 5Hrs. Total: 5.5Hrs. | - Consumable Materials: - Alum - Chlorine - Lime (any training chemical) - Distilled water - Litmus - pH paper - Measuring cups - Beakers - Non-Consumable Materials: - Digital weighing scale - Calculator - Mixing tank - Stirring rod - PPE (gloves, goggles, apron, mask) | - Classroom - Workshop |
| LU6. Perform biological treatment | - Operate Biological Treatment System - Maintain System Performance - Disposal of Chemicals and sludge | - Introduction of Biological treatment system - Types of microorganisms - Process of Aeration operations Practical Activity: Collect the given water sample. Operate and Monitor a biological treatment system. | Theory: 0.5Hrs. Practical: 6Hrs. Total: 6.5Hrs. | - pH buffer solutions - DO probe electrolyte solution - Nutrient solution (N, P additives) - Sample bottles | - Classroom - Workshop |
| LU7. Perform advanced treatment | - Observe Specialized Water Treatment Systems - Identify any system alarms, leaks, or abnormal noises - Interpreted test result to evaluate system performance | - Flow path of System component - Process of Abnormalities Indicators - Evaluate Test Interpretation Practical Activity: Perform Inspect Specialized Treatment System on water test. | Theory: 0.5Hrs. Practical: 6Hrs. Total: 6.5Hrs. | - Gloves - pH test strips - Chlorine test reagent - Pressure gauges - Flow meters | - Classroom - Workshop |
| LU8. Perform demineralized water | - Identify Demineralization unit - Observe Water Quality Tests - Compare Test results with specified standards | - Introduction of Demineralization Unit - Process of Demineralization Flow - Procedure of Raw Treated Water sample Practical Activity: Perform Operation on DM Unit. Check the inspection procedure of EDI Unit. | Theory: 0.5Hrs. Practical: 6Hrs. Total: 6.5Hrs. | - pH test strips - Gloves test reagent - Reverse Osmosis / UV / Ion Exchange unit - Pressure gauges - Flow meters - Control panel - Alarm system - Sample bottles | - Classroom - Workshop |

## 3.6 0712WTT06 Perform Water Filtration Techniques

Objective:

This module focuses on the skills and knowledge required to perform basic water filtration techniques, including selecting suitable filtration methods, operating filtration equipment, and evaluating filtered water quality for safe use.

Duration: 48		                    Theory: 4		Practice: 44

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Operate media filtration plant | - Check system components and prepare for operation. - Operate the plant safely as per procedures. - Monitor pressure, flow, and turbidity levels. - Perform backwashing and rinsing as required. - Identify and report system faults or leaks. - Record operational data and maintain logs. - Perform safety and environmental guidelines.. | - Introduction of media filtration plant - Process of Backwashing - Monitoring media filtration Practical Activity: Operate the media filtration plant | Theory: 01Hrs. Practical: 07Hrs. Total: 08Hrs. | - Media filtration plant setup - Pressure gauges and flow meters - Turbidity measuring kit - Sample containers - Protective gloves and goggles - Notebook and pen | - Classroom - Workshop |
| LU2. Operate Nano filtration plant | - Prepare and inspect the Nano filtration system. - Operate the plant as per procedures. - Monitor flow, pressure, and water quality. - Identify and report faults or leaks. - Perform membrane cleaning and maintenance. - Record operational data accurately. - Perform safety and environmental procedures. - Shut down system safely. | - Introduction to Nano-filtration (NF) plant - Types of Membrane - Perform Monitoring of Nano filtration plant Practical Activity: Operate the Nano-filtration plant. | Theory: 0.5Hrs. Practical: 08Hrs. Total: 8.5Hrs. | - Nano-filtration plant setup - Pressure gauges and conductivity meter - Sample containers - Protective gloves and goggles - Notebook and pen | - Classroom - Workshop |
| LU3. Operate ultra-filtration plant | - Prepare and inspect system before operation. - Check feed water quality. - Operate plant as per SOPs. - Monitor key parameters and adjust settings. - Identify and report faults or fouling. - Perform backwash and cleaning. - Record data and maintain logs. - Perform safety and quality standards. | - Introduction to ultra-filtration plant - Procedure to monitor Ultra filtration - Procedure of Backwashing Practical Activity: Operate the ultra-filtration plant to calculate backwashing and CEB as per standard. | Theory: 0.5Hrs Practical: 08Hrs Total: 8.5Hrs | - Ultrafiltration plant setup - Pressure gauges and turbidity meter - Sample containers - PPEs | - Classroom - Workshop |
| LU4. Operate reverse osmosis filtration plant | - Check RO system components. - Start up plant as per procedures and safety rules. - Monitor pressure, flow, and water quality. - Adjust parameters for optimal performance. - Identify and report faults or leaks. - Clean and flush membranes regularly. - Operation and maintenance data | - Introduction to Reverse Osmosis filtration plant - Procedure to monitoring reverse osmosis filtration Practical Activity: Run the RO plant and check pressure and TDS readings as per standard. | Theory: 0.5Hrs. Practical: 07Hrs. Total: 7.5Hrs. | - RO plant - Pressure gauge and TDS meter - Sample bottles - PPEs | - Classroom - Workshop |
| LU5. Operate forward osmosis filtration plant | - Inspect system components before operation. - Perform and run the plant as per procedures. - Monitor flow, pressure, and concentration levels. - Adjust parameters for optimal performance. - Prepare Record operational data. - Check and report faults or leaks. - Clean and maintain membranes and equipment. | - Introduction to forward osmosis filtration plant - Principle of FO Practical Activity: Run the FO plant and check flow and conductivity readings | Theory: 0.5Hrs. Practical: 06Hrs. Total: 6.5Hrs. | - Forward osmosis plant - Conductivity meter and flow meter - Sample bottles - Gloves and goggles - Notebook and pen | - Classroom - Workshop |
| LU6. Operate demineralization plant | - Prepare the plant for safe operation. - Check inlet water quality and system parameters. - Operate ion exchange or membrane units as per SOPs. - Perform flow, pressure, and conductivity levels. - Identify and report faults or leaks. - Check the Flush and rinse system after regeneration. - Check treated water quality. - Maintain equipment and dosing systems. | - Introduction to demineralization plant - Principle of ion exchange for water demineralization - Procedure to Operate resin handling and regeneration Practical Activity: Operate the demineralization plant. Perform resin regeneration to check water quality improvement. | Theory: 01Hrs. Practical: 08Hrs. Total: 09Hrs. | - Demineralization plant - Conductivity meter - flow meter - Sample bottles | - Classroom - Workshop |

# List of Consumables, Tools, Machinery & Equipment

| 4A. List of Consolidated Consumables |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Consumable |  | Quantity |
| 1 |  |  |  |
| 2 | Notebooks / Business Planning Diaries |  | 25 |
| 3 | Ballpoint Pens, Highlighters, Markers (Mixed Colors) |  | 75 pieces each |
| 4 | A4 Paper Rims (Reports, Proposals) |  | 10 rims |
| 5 | USB Flash Drives |  | 10 |
| 6 | Sticky Notes and Index Labels |  | 100 pads |
| 7 | Printed Templates (Water Treatment Process Plans) |  | 25 sets |
| 8 | Safety Signage / Regulatory Posters |  | 5 sets |
| 9 | Stationery Sets (Ruler, Sharpener, Eraser, etc.) |  | 25 sets |
| 10 | Lab Notebooks / Recording Sheets |  | 25 sets |
| 11 | A4 & A3 Drawing Sheets |  | 300 sheets |
| 12 | Graph Papers |  | 200 sheets |
| 13 | Plotter Paper Rolls |  | 4 rolls |
| 14 | Printer Ink Cartridges / Toners |  | 2 sets |
| 15 | Pencils (HB, 2H, 4H) |  | 100 pieces |
| 16 | Drafting Tape |  | 20 rolls |
| 17 | Transparent Plastic Scales (1:50, 1:100) |  | 25 sets |
| 18 | File Folders and Document Holders |  | 25 units |
| 19 | Glue Stick / Adhesives |  | 20 pieces |
| 20 | Paper Clips and Rubber Bands |  | 2 boxes each |
| 21 | Cotton Swabs & Cleaning Cloth |  | 25 sets |
| 22 | Water Sample Containers |  | 25 units |
| 23 | Chlorine Tablets / Liquid Chlorine |  | 5 kg |
| 24 | Alum (Coagulant) |  | 10 kg |
| 25 | Activated Carbon |  | 5 kg |
| 26 | Polyelectrolyte Flocculant |  | 5 kg |
| 27 | Sodium Hydroxide (Caustic Soda) |  | 5 kg |
| 28 | Hydrochloric Acid |  | 5 liters |
| 29 | Sodium Bisulfite |  | 5 kg |
| 30 | Filter Paper |  | 50 sheets |
| 31 | Test Tubes and Racks |  | 25 sets |
| 32 | Cleaning Spray / Degreaser |  | 5 bottles |
| 33 | Hydraulic Oil (Pumps & Valves) |  | 40 liters |
| 34 | Lubricating Oil (Pump Maintenance) |  | 5 liters |
| 35 | Thread Sealant |  | 10 bottles |
| 36 | Fuses (Assorted Ratings) |  | 50 pieces |
| 37 | Pipe Insulation |  | 50 meters |
| 38 | Pipe Seals and Gaskets (Assorted Sizes) |  | 100 pieces |
| 39 | Teflon Tape |  | 20 rolls |

| 4B. Consolidated List of Tools, Machinery & Equipment |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Tools and Equipment |  | Quantity |
| 1 | Desktop / Laptop Computers |  | 5 No’s |
| 2 | Multimedia Projector with Screen |  | 1 No’s |
| 3 | Printer & Scanner Combo |  | 1 No’s |
| 4 | Flip Chart Stand with Paper |  | 1 No’s |
| 5 | Office Table and Chairs (Group Work Setup) |  | 5 Sets |
| 6 | Accounting Calculator / Financial Calculator |  | 5 No’s |
| 7 | Digital Camera or Webcam |  | 2 No’s |
| 8 | Wi-Fi Internet Connection (Shared) |  | 1 Setup |
| 9 | Microphone and Speaker System (for presentations) |  | 1 Set |
| 10 | Safety Signage / Regulatory Posters |  | 5 sets |
| 11 | Personal Protective Equipment (PPE) – Gloves, Goggles, Lab Coats |  | 25 sets |
| 12 | Water Quality Test Kits (Multi-parameter) |  | 5 sets |
| 13 | Turbidity Meters |  | 5 units |
| 14 | pH / ORP Meters |  | 5 units |
| 15 | Fluoride Testing Kits |  | 5 sets |
| 16 | TDS & Conductivity Meters |  | 5 units |
| 17 | Chemical Feed Pumps |  | 5 units |
| 18 | Multimeter |  | 5 units |
| 19 | Water Pumping Systems (Training Models) |  | 5 sets |
| 20 | Rotameters (Flow Measurement) |  | 5 units |
| 21 | Laboratory Water Filtration Units |  | 5 units |
| 22 | UV Sterilizers (Training Units) |  | 5 units |
| 23 | Automatic Water Samplers |  | 5 sets |
| 24 | Flocculation Tanks |  | 5 units |
| 25 | Wrenches & Pipe Tools |  | 10 sets |
| 26 | Hydraulic & Pneumatic Tool Sets |  | 5 sets |
| 27 | Torque Wrenches |  | 5 units |
| 28 | Spanners & Pipe Cutters |  | 10 sets |
| 29 | Spare Parts Kits (Pumps, Valves, etc.) |  | 5 sets |
| 30 | Safety Helmets |  | 25 units |
| 31 | Safety Boots |  | 25 pairs |
| 32 | Ear Protection (Earplugs / Earmuffs) |  | 25 pairs |
| 33 | Eye Protection (Safety Goggles) |  | 25 units |
| 34 | High-Visibility Vests |  | 25 units |
| 35 | Face Shields |  | 5 sets |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Mr. Muhammad Musa | Assistant Director | CDA Islamabad |
|  | Mr. Dr. Aftab Ahmad | Assistant Professor | Kohsan University Murree |
|  | Mr. Zohaib ud Din | GM-Design & Operation | WR-Pakistan |
|  | Muhammad Usman | Instructor | PVTC |
|  | Shakeel Badshah | RO | PCRWR |
|  | Mr M.Yaqoob Gulzar | Instructor | PMDC Rawalpindi |
|  | Mr. Muhammad Ali | Water Management Officer | Bahria Town |
|  | Usama Tariq | Site Engineer | Soil Water Multan |
|  | Muhammad Asif | Sr.Manager | RCH |
|  | Mr. Kashif Mehmood | AD WASA | WASA |
|  | Mr. Eng. M.Wamiq Ayaz | DACUM Facilitator | Rawalpindi |