Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister’s Hunarmand Pakistan Program

"Skills for All"

Course Contents/ Lesson Plan

Course Title: Advance Electrical Power System Duration: 6 Months

Course Details / Description & Preliminaries

| Course Title | Advance Electrical Power System |
| --- | --- |
| Objectives and Expectations | Employable skills through an intensive course on Advance |
|  | Electrical Power System |
|  | This is a special course designed to address unemployment in the |
|  | youth. The course aims to achieve the above objective through hands |
|  | on practical training delivery by a team of dedicated professionals |
|  | having rich market/work experience. This course is therefore not just |
|  | for developing a theoretical understanding/back ground of the trainees. |
|  | Contrary to that it is primarily aimed at equipping the trainees to |
|  | perform commercially in a market space in independent capacity or as |
|  | a member of a team. |
|  | The course therefore is designed to impart not only technical skills but |
|  | also soft skills (i.e. interpersonal/communication skills; personal |
|  | grooming of the trainees etc.) as well as entrepreneurial skills (i.e. |
|  | marketing skills; free lancing etc.). The course also seeks to inculcate |
|  | work ethics to foster better citizenship in general and improve the |
|  | image of Pakistani work force in particular. |
|  | Main Expectations: |
|  | In short, the course under reference should be delivered by |
|  | professional instructors in such a robust hands- on manner that the |
|  | trainees are comfortably able to employ their skills for earning money |
|  | (through wage/self-employment) at its conclusion. |
|  | This course thus clearly goes beyond the domain of the traditional |
|  | training practices in vogue and underscores an expectation that a |
|  | market centric approach will be adopted as the main driving force while |
|  | delivering it. The instructors should therefore be experienced enough to |
|  | be able to identify the training needs for the possible market roles |
|  | available out there. Moreover, they should also know the strengths and |

| Key Features of Training& Special Modules | weaknesses of each individual trainee to prepare them for such market roles during/after the training. - Specially designed practical tasks to be performed by the trainees have been included in the Annexure-I to this document. The record of all tasks performed individually or in groups must be preserved by the management of the training Institute clearly labeling name, trade, session etc so that these are ready to be physically inspected/verified through monitoring visits from time to time. The weekly distribution of tasks has also been indicated in the weekly lesson plan given in this document. - In order to materialize the main expectations, a special module on Job Search & Entrepreneurial Skills has been included in the later part of this course (5th & 6th month) through which, the trainees will be made aware of the Job search techniques in the local as well as international job markets (Gulf countries). Awareness around the visa process and immigration laws of the most favored labor destination countries also forms a part of this module. Moreover, the trainees would also be encouraged to venture into self- employment and exposed to the main requirements in this regard. It is also expected that a sense of civic duties/roles and responsibilities will also be inculcated in the trainees to make them responsible citizens of the country. - A module on Work Place Ethics has also been included to highlight the importance of good and positive behavior at work place in the line with the best practices elsewhere in the world. An outline of such qualities has been given in the Appendix to this document. Its importance should be conveyed in a format that is attractive and interesting for the trainees such as through PPT slides +short video |
| --- | --- |

| Training Tools/ Methodology | documentaries. Needless to say that if the training provider puts his heart and soul into these otherwise non-technical components, the image of Pakistani workforce would undergo a positive transformation in the local as well as international job markets. In order to maintain interest and motivation of the trainees throughout the course, modern techniques such as: - Motivational lectures - Success stories - Case studies These techniques would be employed as an additional training tool wherever possible (these are explained in the subsequent section on Training Methodology). Lastly, evaluation of the competencies acquired by the trainees will be done objectively at various stages of the training and proper record of the same will be maintained. Suffice to say that for such evaluations, practical tasks would be designed by the training providers to gauge the problem solving abilities of the trainees. - Motivational Lectures The proposed methodology for the training under reference employs motivation as a tool. Hence besides the purely technical content, a trainer is required to include elements of motivation in his/her lecture to inspire the trainees to utilize the training opportunity to the full and strive towards professional excellence. Motivational lectures may also include general topics such as the importance of moral values and civic role & responsibilities as a Pakistani. A motivational lecture should be delivered with enough zeal to produce a deep impact on the trainees. It may comprise of the following: - Clear Purpose to convey message to trainees effectively. - Personal Story to quote as an example to follow. |
| --- | --- |

|  | - Trainees fit so that the situation is actionable by trainees and not represent a just idealism. - Ending Points to persuade the trainees on changing themselves. A good motivational lecture should help drive creativity, curiosity and spark the desire needed for trainees to want to learn more. Impact of a successful motivational strategy is amongst others commonly visible in increased class participation ratios. It increases the trainees’ willingness to be engaged on the practical tasks for longer time without boredom and loss of interest because they can clearly see in their mind's eye where their hard work would take them in short (1-3 years); medium (3 -10 years) and long term (more than 10 years). As this tool is expected that the training providers would make arrangements for regular well planned motivational lectures as part of a coordinated strategy interspersed throughout the training period as suggested in the weekly lesson plans in this document. - Success Stories Another effective way of motivating the trainees is by means of Success Stories. Its inclusion in the weekly lesson plan at regular intervals has been recommended till the end of the training. A success story may be disseminated orally, through a presentation or by means of a video/documentary of someone that has risen to fortune, acclaim, or brilliant achievement. A success story shows how a person achieved his goal through hard work, dedication and devotion. An inspiring success story contains compelling and significant facts articulated clearly and easily comprehendible words. Moreover, it is helpful if it is assumed that the reader/listener knows nothing of what is being revealed. Optimum impact is created when the story is revealed in the form of:- - Directly in person ( At least 2-3 cases must be arranged by the training institute) - Through an audio/ videotaped message (2-3 high quality videos |
| --- | --- |

|  | must be arranged by the training institute) It is expected that the training provider would collect relevant high quality success stories for inclusion in the training as suggested in the weekly lesson plan given in this document. Suggestive structure and sequence of a sample success story and its various shapes can be seen at annexure III. - Case Studies Where a situation allows, case studies can also be presented to the trainees to widen their understanding of the real life specific problem/situation and to explore the solutions. In simple terms, the case study method of teaching uses a real life case example/a typical case to demonstrate a phenomenon in action and explain theoretical as well as practical aspects of the knowledge related to the same. It is an effective way to help the trainees comprehend in depth both the theoretical and practical aspects of the complex phenomenon in depth with ease. Case teaching can also stimulate the trainees to participate in discussions and thereby boost their confidence. It also makes class room atmosphere interesting thus maintaining the trainee interest in training till the end of the course. Depending on suitability to the trade, the weekly lesson plan in this document may suggest case studies to be presented to the trainees. The trainer may adopt a power point presentation or video format for such case studies whichever is deemed suitable but it’s important that only those cases are selected that are relevant and of a learning value. The Trainees should be required and supervised to carefully analyze the cases. For the purpose they must be encouraged to inquire and collect specific information / data, actively participate in the discussions and intended solutions of the problem / situation. Case studies can be implemented in the following ways:- - A good quality trade specific documentary( At least 2-3 |
| --- | --- |

|  | documentaries must be arranged by the training institute) - Health & Safety case studies( 2 cases regarding safety and domestic accidents must be arranged by the training institute) - Field visits (At least one visit to a trade specific major industry/ site must be arranged by the training institute) |
| --- | --- |
| Entry Level of Trainees | DAE (Electrical/ Electronics) |
| Teacher Eligibility Criteria | BE Electrical/Electronic Engineering/ Technology having 3 years relevant experience |
| Learning Outcome of the Course | By the end of the course the trainees will be able to have following competencies and skills. - To understand basic operation of different types of power plants - Selection of power plants based on the site, cost and performance - To develop the necessary theoretical knowledge for basic and advanced concepts in Electrical Power Transmission - To analyze and develop the electrical models for short, medium and long transmission lines. - Analysis of the mechanical parameters and design of transmission lines and towers. - To understand power substation and equipment. - To understand the cable selection process - To understand the luminarie selection process and design the lighting scheme for a given location - Carryout soil resistivity and earthing resistance measurement in a practical ground |
| Course Execution Plan | Total duration of course: 6 months (26 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 520hours |
| Companies Offering Jobs in the respective trade | Public/Private industries including: Pakistan Atomic energy commission (PAEC), Pakistan Ordnance factories (POFs), WAPDA, OGDCL, Construction companies, Oil mills, flour mills, Petrol & CNG stations etc. |

| Job Opportunities | - Technician / Electrician in industry (Textile, Leather, Pharmaceuticals, Food Processing, Automotive, Cement etc.) - Self-employment. |
| --- | --- |
| No of Students | 25 |
| Learning Place | Classroom / Lab / Workshop |
| Instructional Resources |  |

WEEKLY SCHEDULE OF TRAINING

| Scheduled Week | Module Title | Learning Units | Remarks |
| --- | --- | --- | --- |
| Week 1 | Power Stations | Motivational Lecture (For further detail please see Page No: 3& 4) - Introduction - Types of power Station - Choice of type of Generator - Cost of Electrical Energy | Task-1 (Details may be seen at Annexure-I) |
| Week 2 | Hydro Electric Stations | Success stories (For further detail please see Page No: 3& 4) - Introduction - Types of Hydro Electric Power Stations - Principle of working of a Hydro Electric Plant - Power Station Structure and Layout - Types of Turbine and their characteristics - Arrangements and location of Hydro Electric Stations - Types of Hydro Electric Plants and Dam, Characteristics of Generators - Costs of Hydro Electric Stations, | Task-2 Task-3 Task-4 (Details may be seen at Annexure-I) |
| Week 3 | Steam Power | Motivational Lecture (For further detail | Task-5 Task-6 Task-7 Task-8 (Details may be seen at Annexure-I) Home Assignment-1 (Details may be seen at Annexure-II) |
|  | Plants | please see Page No: 3& 4) |  |
|  |  | - Introduction |  |
|  |  | - Main Parts and working of a steam Station |  |
|  |  | - Plant Layout |  |
|  |  | - Rankin Cycle and its types |  |
|  |  | - Types of Boiler and their characteristics |  |
|  |  | - Characteristics of steam turbines |  |
|  |  | - Design of a steam Power Station |  |
|  |  | - Steam station auxiliaries |  |
|  |  | - Cost of Steam Station |  |

| Week 4 | Gas Turbines | Success stories (For further detail please see Page No: 3& 4) Introduction - Main Parts of Gas turbine plant - Plant Layout - Principle of Operation - Characteristics of Gas Turbine plants - Gas Turbine Power Plant operation and Control, - Combined Cycles Cost of Gas Turbine Stations | Task-9 Task-10 Task-11 (Details may be seen at Annexure-I) Monthly Test 1 |
| --- | --- | --- | --- |
| Week 5 | Diesel Electric Station | Motivational Lecture (For further detail please see Page No: 3& 4) Introduction of Diesel Engine - Principle of working - Characteristics of diesel engines - Sizes and dimensions of generator sets - Coordination of Engine and Generator Characteristics - Use of Diesel Sets as Alternative Power Plant - Cost of diesel Plants. | Task-12 Task-13 (Details may be seen at Annexure-I) |
| Week 6 | Nuclear Power Stations | Success stories (For further detail please see Page No: 3& 4) - Introduction, Nuclear Reaction - Main Parts of Nuclear Power Stations - Plant Layouts - Principle of Nuclear Energy - Nuclear reactor and reactor control - Types of Power Reactor - Comparison of various types of reactor - Economics of Nuclear Power Stations | Task-14 Task-15 Task-16 (Details may be seen at Annexure-I) |
| Week 7 | MHD Generators | Motivational Lecture (For further detail please see Page No: 3& 4) - Gaseous conductors - Analysis and design of MHD generator - Problems associated with MHD generation - Possible configuration | Task-17 (Details may be seen at Annexure-I) Home Assignment-2 (Details may be seen at Annexure-II) |

| Week 8 | Introduction to renewable energy generation | Success stories (For further detail please see Page No: 3& 4) - Hydel power plant - Wind power plant - Solar power plant - Ocean power plant | Task-18 Task-19 (Details may be seen at Annexure-I) Monthly Test 2 |
| --- | --- | --- | --- |
| Week 9 | Electrical Power Transmission Overview | Motivational Lecture (For further detail please see Page No: 3& 4) - Power system infrastructure, - transmission and sub-transmission system, - AC/DC system, - standard voltages for transmission and sub transmission - Conductor types & Power Cables. Case Study (Health & Safety) | Task-20 Task-21 Task-22 Task-23 Task-24 Task-25 Task-26 (Details may be seen at Annexure-I) |
| Week 10 | Primary Parameters of Transmission Line | Success stories (For further detail please see Page No: 3& 4) - Resistance, Skin effect, - Line inductance based on flux considerations. - Inductance of single phase 2-wire line, - Inductance of composite conductor line, use of tables. - Inductance of 3-phase line with equilateral and un-symmetrical spacings, - Transposition, inductance of bundled conductors. - Capacitance of two-wire and 3-phase line, - Effect of earth on capacitance; capacitance of bundled conductors, parallel circuit lines. | Task-27 Task-28 Task-29 Task-30 Task-31 Task-32 (Details may be seen at Annexure-I)) |

| Week 11 | Steady State Analysis of Transmission Lines: | Motivational Lecture (For further detail please see Page No: 3& 4) - Representation of lines in terms of ABCD parameters for short, - Medium and long transmission lines, - Voltage and current waves, - SIL loading, power flow through the line, power transmission capability, - Voltage regulation, Ferranti effect, - Series and shunt compensation for long transmission line. | Task-33 Task-34 Task-35 Task-36 (Details may be seen at Annexure-I) |
| --- | --- | --- | --- |
| Week 12 | Mechanical Design of Overhead Lines: | Success stories (For further detail please see Page No: 3& 4) - Line supports, sag and tension calculations, - total length of conductor, - supports at different levels, - mechanical degree of safety, - effect of wind pressure & ice loading, - Conductor vibration & use of dampers | Task-37 Task-38 (Details may be seen at Annexure-I) |
|  | Build your CV | Download professional CV template from any good site (https://www.coolfreecv.com or relevant) - Add Personal Information - Add Educational details - Add Experience/Portfolio - Add contact details/profile links |  |
| Week 13 | Overview of the previous weeks & Mid Term Examination |  |  |
| Week 14 | HVDC Transmission | Motivational Lecture (For further detail please see Page No: 3& 4) - Scope, advantages & disadvantages, - current technologies and future trends for HVDC | Task-39 (Details may be seen at Annexure-I) |

| Week 15 | Introduction to distribution system | Success stories (For further detail please see Page No: 3& 4) - Urban, suburban and rural distribution systems. - Primary, secondary and tertiary voltages, distribution conductors & cables, Kelvin’s law - Radial and ring main systems, application of distribution transformers | Task-40 Task-41 (Details may be seen at Annexure-I) Home Assignment-3 (Details may be seen at Annexure-II) |  |
| --- | --- | --- | --- | --- |
|  | Create an account profile on Fiverr (at least two gigs) and Upwork | Create an account by following these steps: Step 1: Personal Info Step 2: Professional Info Step 3: Linked Accounts Step 4: Account Security |  |  |
| Week 16 | Introduction to distribution system | Motivational Lecture (For further detail please see Page No: 3& 4) - Estimation of load, load characteristics, substation switchgears and bus bar - arrangements, - Calculation of voltage drop and regulation in distribution feeders. | Task-42 (Details may be seen at Annexure-I) |  |
|  |  |  | Monthly Test 3 |  |
| Week 17 | Power Cables | Success stories (For further detail please see Page No: 3& 4) - Cable Construction, Types of Cables, Insulating materials, - Conducting materials, - Capacitance of a Cable, Dielectric Power Loss, |  |  |
|  |  |  | Task-43 Task-44 Task-45 Task-46 (Details may be seen at Annexure-I) |  |
| Week 18 |  | Motivational Lecture (For further detail | Task-47 Task-48 Task-49 (Details may be seen at Annexure-I) |  |
|  |  | please see Page No: 3& 4) |  |  |
|  |  | - Thermal Characteristics of Cables, |  |  |
|  |  | Cable Installation, |  |  |
|  |  | - Cable Selection Criteria, Calculation of |  |  |
|  |  | Current Rating of Cables, |  |  |
|  |  | - Voltage drop calculation, Cable Fault |  |  |

|  |  | Localization. |  |  |
| --- | --- | --- | --- | --- |
| Week 19 | Grounding systems | Success stories (For further detail please see Page No: 3& 4) |  |  |
|  |  | - Distribution neutral, - transformer neutral, - Electrical Safety. | Task-50 (Details may be seen at Annexure-I) |  |
|  |  | - Use of groundings in electrical system. | Home Assignment-4 (Details may be seen at Annexure-II) |  |
| Week 20 | Earthing Systems | Motivational Lecture (For further detail | Task-51 Task-52 Task-53 (Details may be seen at Annexure-I) |  |
|  |  | please see Page No: 3& 4) |  |  |
|  |  | - Describe earthing system & its types |  |  |
|  |  | - Importance of earthing system |  |  |
|  |  | - Components/parts of earthing system |  |  |
|  |  | - Earthing system installation |  |  |
|  |  | - Earthing resistance, - Earthing practice in L.V. networks, |  |  |
|  |  |  | Monthly Test 4 |  |
| Week 21 | Power Factor | Success stories (For further detail please see Page No: 3& 4) - Disadvantages and causes of low power factor, - methods for improvement of power factor, - application of shunt capacitors in distribution network. | Task-54 Task-55 Task-56 (Details may be seen at Annexure-I) |  |
| Week 22 | Electrochemical Processes: | Motivational Lecture (For further detail please see Page No: 3& 4) - Main types of batteries and their working, - Battery charging, electroplating, | Task-57 Task-58 Task-59 (Details may be seen at Annexure-I) |  |
|  |  | electrolysis and electrometallurgical |  |  |
|  |  | process. |  |  |

|  |  |  | - Cathodic | protection | of | poles, | gas |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | pipes, oil pipes and water structures. |  |  |  |  |  |
|  | How to search and apply for jobs in at least two labor marketplace countries (KSA, UAE, etc.) |  | - Browse the following website and create an account on each website - Bayt.com – The Middle East Leading Job Site - Monster Gulf – The International Job Portal - Gulf Talent – Jobs in Dubai and the Middle East - Find the handy ‘search’ option at the top of your homepage to search for the jobs that best suit your skills. - Select the job type from the first ‘Job Type’ drop-down menu, next, select the location from the second drop- down menu. - Enter any keywords you want to use to find suitable job vacancies. - On the results page you can search for part-time jobs only, full-time jobs only, employers only, or agencies only. Tick the boxes as appropriate to your search. - Search for jobs by: - Company - Category - Location - All jobs - Agency |  |  |  |  |  |
|  |  |  | Industry |  |  |  |  |  |
| Week 23 | Heating Welding: | and | Success stories (For further detail please see Page No: 3& 4) - Electric heating, resistance, induction and dielectric heating, electric furnaces, - microwave and infrared heating, - Electric welding, resistance welding and its types. |  |  |  |  | Task-60 Task-61 Task-62 Task-63 Task-64 (Details may be seen at Annexure-I) |

| Week24 | Fundamentals of Illumination | Motivational Lecture (For further detail please see Page No: 3& 4) | Task-65 Task-66 Task-67 (Details may be seen at Annexure-I) |
| --- | --- | --- | --- |
|  |  | - Basic lighting terminologies and laws |  |
|  |  | of illumination |  |
|  |  | - Requirements for good lighting, |  |
|  |  | - Illumination schemes for various |  |
|  |  | situations (street lighting, |  |
|  |  | commercial/industrial |  |
|  |  | - Lighting, stadium/flood/stage/spot |  |
|  |  | lighting, etc.), |  |
| Week25 |  | Success stories (For further detail please see Page No: 3& 4) - Types of lamps, their working and relative merit, - Building lighting design. - Modern trends in Power Distribution & utilization. | Task-68 (Details may be seen at Annexure-I) |
| Week 26 |  | Motivational Lecture (For further detail |  |
|  |  | please see Page No: 3& 4) |  |
|  | Entrepreneurship and Final Assessment in project | - Job Market Searching - Self-employment - Introduction - Fundamentals of Business Development - Entrepreneurship - Startup Funding - Business Incubation and Acceleration - Business Value Statement - Business Model Canvas - Sales and Marketing Strategies - How to Reach Customers and Engage CxOs - Stakeholders Power Grid - RACI Model, SWOT Analysis, PEST Analysis - SMART Objectives - OKRs - Cost Management (OPEX, CAPEX, ROCE etc.) |  |

Projects & Final Assessment

Annexure-I

Note: The following tasks are required to be performed multiple times by each trainee/group until sufficient proficiency level is acquired. The trainer is required to determine the number of times, each task needs to be repeated by a trainee as per his/her low/medium/high level of skill and proficiency during any stage of the course.

Tasks for Advance Electronics and Power System

| Task No. | Task Description | Week |
| --- | --- | --- |
| 1. | Explore the comparison between different types of power station. | Week-1 |
| 2. | Explore the functions of main sections of hydroelectric power station. | Week-2 |
| 3. | Explore the types of hydroelectric plants with respect to water head. |  |
| 4. | Explore the characteristics of turbines used in hydroelectric power station |  |
| 5. | Explore the functions of main parts of steam power plant. | Week-3 |
| 6. | Explore the characteristics of turbines used in steam power plant. |  |
| 7. | Explore the difference between condensing and noncondensing steam power plant. |  |
| 8. | Explore the types of boiler used in steam power plant. |  |
| 9. | Explore the functions of main parts of gas turbine plant. | Week-4 |
| 10. | Explore the characteristics of turbines used in gas turbine plant. |  |
| 11. | Explore the difference between open cycle, close cycle and combined cycle gas power plant. |  |
| 12. | Explore the functions of main parts of Diesel power plant. | Week-5 |
| 13. | Explore the difference between two stroke and four stroke engines. |  |
| 14. | Explore the functions of main parts of nuclear power plant. | Week-6 |
| 15. | Explore the difference between fission and fusion. |  |
| 16. | Explore the types of thermal reactors. |  |
| 17. | Explore the working principle of MHD generator. | Week-7 |
| 18. | Explore the renewable energy sources for electricity generation. | Week-8 |
| 19. | Make comparison between different types of renewable energy sources. |  |
| 20. | Describe the type of conductors used in powerline construction. | Week-9 |
| 21. | Explain methods of stringing and recovering powerlines |  |
| 22. | Explain how to splice, connect and terminate overhead conductors. |  |
| 23. | Explain rigging and hoisting practices |  |
| 24. | Interpret load charts. |  |
| 25. | Explore the difference between transmission and distribution lines. |  |

| 26. | Explore the advantages and disadvantages of AC & DC system. |  |
| --- | --- | --- |
| 27. | Perform calculations on the constants of transmission lines | Week-10 |
| 28. | Calculate inductance of 2 wire transmission line. |  |
| 29. | Calculate inductance of 3 wire transmission line. |  |
| 30. | Calculate capacitance of 2 wire transmission line. |  |
| 31. | Calculate Capacitance of 3 wire transmission line. |  |
| 32. | Explore skin effect, Ferranti effect and corona effect on transmission line. |  |
| 33. | Explore the type of transmission line. | Week-11 |
| 34. | Calculate voltage drop using T method. |  |
| 35. | Calculate voltage drop using Pi method. |  |
| 36. | Calculate voltage regulation of a transmission line. |  |
| 37. | Choose the appropriate sag chart, given the necessary line and conductor information (initial or final). | Week-12 |
| 38. | Determine the correct sag from charts given the necessary information |  |
| 39. | Explore the Scope, advantages & disadvantages of HVDC | Week-14 |
| 40. | Explore the parts of a distribution system. | Week-15 |
| 41. | Explore the topologies used in distribution system, enlist advantages and disadvantages of these topologies. |  |
| 42. | Calculate the voltage drop and regulation in distribution feeders. | Week-16 |
| 43. | Explore the types of power cable w.r.t core. | Week-17 |
| 44. | Explore the types of underground cable w.r.t voltages. |  |
| 45. | Explore the parts and their functionality of underground cable. |  |
| 46. | Calculate capacitance, dielectric and power loss in power cable. |  |
| 47. | Explore Thermal Characteristics of Cables. | Week-18 |
| 48. | Calculate voltage drop on a given power cable for a particular load. |  |
| 49. | Calculate current rating of a power cable for a given specific load |  |
| 50. | Implement groundings in electrical system for (Distribution neutral, Transformer neutral and for safety purpose) | Week-19 |
| 51. | Explore the types of earthing system and make comparison between them. | Week-20 |
| 52. | Explore the Components/parts of earthing system |  |
| 53. | Perform earthing for given electrical appliance. |  |
| 54. | Explore advantages and disadvantages of low power factor. | Week-21 |
| 55. | Explore the methods to improve the power factor. |  |
| 56. | Improve the power factor of a inductive load by using capacitor bank. |  |
| 57. | Explore various materials used in electroplating and preparation of job for electroplating | Week-22 |

| 58. | Explore the Components/parts of an electroplating system. |  |
| --- | --- | --- |
| 59. | Perform electroplating on given specific job. |  |
| 60. | Explore the difference between induction heating and resistance heating. | Week-23 |
| 61. | heat a liquid material using resistance heating. |  |
| 62. | Heat a given metallic job by the method of induction heating. |  |
| 63. | Explore the types of welding. |  |
| 64. | Weld two metal pieces using spot welding. |  |
| 65. | Design lighting scheme for a hall. | Week-24 |
| 66. | Verification of inverse square law |  |
| 67. | Verification of Lambert's cosine law |  |
| 68. | Explore the types of lamps and their relative merit | Week-25 |

Annexure-II

Home Assignment

## Designing Effective Homework

To achieve a positive impact on student learning, homework assignments must be well-designed and carefully constructed. Some specific research findings include:

- Homework is most effective when it covers material already taught.

- Homework is most effective when it is used to reinforce skills learned in previous weeks or months.

- Homework is less effective if it is used to teach complex skills.

## Characteristics of Good Assignments

When teachers plan homework, they should consider the characteristics listed below:

- Provide clear instructions for students;

- Can be completed successfully;

- Are not too long;

- Can be completed within a flexible time frame;

- Use information and materials that are readily available;

- Reinforce and allow practice of previously taught skills;

- Must not be unfinished class work;

- Are interesting to students and lead to further exploration and study;

- Stimulate creativity and imagination in the application of skills;

- Stimulate home and class discussion

## Homework Don’ts

Do not assign homework that:

- Is unfamiliar, boring or impossible to do

- Requires complex skills or requires unreasonable time frames

- Is a “time filler” to keep students busy or a punishment for not doing class work

- Do not wait until the last minute to organize and assign the homework (You may give useless or impossible tasks and/or giving inadequate directions)

- Do not assume that all homes have equal resources, that all parents have equal skills and talents to support their children as learners

- Do not collect any homework you do not intend to check, review or grade.

- Do not assign homework that is so difficult and unfamiliar to students that their parents are tempted to:

  - Do the work for them;

  - Accuse their children of being inattentive in class; or

  - Accuse their children of failing.

Annexure-III

Advance Electronics and Power System

MOTIVATIONAL LECTURES LINKS.

| TOPIC | SPEAKER | LINK |
| --- | --- | --- |
| How to Face Problems In Life | Qasim Ali Shah | https://www.youtube.com/watch?v=OrQte08Ml90 |
| Just Control Your Emotions | Qasim Ali Shah | https://www.youtube.com/watch?v=JzFs yJt-w |
| How to Communicate Effectively | Qasim Ali Shah | https://www.youtube.com/watch?v=PhHAQEGehKc |
| Your ATTITUDE is Everything | Tony Robbins Les Brown David Goggins Jocko Willink Wayne Dyer Eckart Tolle | https://www.youtube.com/watch?v=5fS3rj6eIFg |
| Control Your EMOTIONS | Jim Rohn Les Brown TD Jakes Tony Robbins | https://www.youtube.com/watch?v=chn86sH0O5U |
| Defeat Fear, Build Confidence | Shaykh Atif Ahmed | https://www.youtube.com/watch?v=s10dzfbozd4 |
| Wisdom of the Eagle | Learn Kurooji | https://www.youtube.com/watch?v=bEU7V5rJTtw |
| The Power of ATTITUDE | Titan Man | https://www.youtube.com/watch?v=r8LJ5X2ejqU |
| STOP WASTING TIME | Arnold Schwarzenegger | https://www.youtube.com/watch?v=kzSBrJmXqdg |
| Risk of Success | Denzel Washington | https://www.youtube.com/watch?v=tbnzAVRZ9Xc |

# What is freelancing and how you can make money online - BBCURDU

https://www.youtube.com/watch?v=9jCJN3Ff0kA

# What Is the Role of Good Manners in the Workplace? By Qasim Ali Shah | In Urdu

https://www.youtube.com/watch?v=Qi6Xn7yKIlQ

# Hisham Sarwar Motivational Story | Pakistani Freelancer

https://www.youtube.com/watch?v=CHm_BH7xAXk

# 21 Yr Old Pakistani Fiverr Millionaire | 25-35 Lakhs a Month Income | Interview

https://www.youtube.com/watch?v=9WrmYYhr7S0

# Failure to Millionaire - How to Make Money Online | Fiverr Superhero Aaliyaan Success Story

https://www.youtube.com/watch?v=d1hocXWSpus

Annexure-IV

Workplace/Institute Ethics Guide

Work ethic is a standard of conduct and values for job performance. The modern definition of what constitutes good work ethics often varies. Different businesses have different expectations. Work ethic is a belief that hard work and diligence have a moral benefit and an inherent ability, virtue or value to strengthen character and individual abilities. It is a set of values centered on importance of work and manifested by determination or desire to work hard.

The following ten work ethics are defined as essential for employee’s success:

# Attendance:

Be at work every day possible, plan your absences don’t abuse leave time. Be punctual every day.

# Character:

Honesty is the single most important factor having a direct bearing on the final success of an individual, corporation, or product. Complete assigned tasks correctly and promptly. Look to improve your skills.

# Team Work:

The ability to get along with others including those you don’t necessarily like. The ability to carry your own weight and help others who are struggling. Recognize when to speak up with an ideas and when to compromise by blend ideas together.

# Appearance:

Dress for success, set your best foot forward, personal hygiene, good manner, remember that the first impression of who you are, can last a life time

# Attitude:

Listen to suggestions and be positive, accept responsibility. If you make a mistake, admit it. Values workplace safety rules and precautions for personal and co-worker safety. Avoids unnecessary risks. Willing to learn new processes, systems and procedures in light of changing responsibilities.

# Productivity:

Do the work correctly, quality and timelines are prized. Get along with fellows, cooperation is the key to productivity. Help out whenever asked, do extra without being asked. Take pride in your

work, do things the best you know how. Eagerly focuses energy on accomplishing tasks, also referred to as demonstrating ownership. Takes pride in work.

# Organizational Skills:

Make an effort to improve, learn ways to better yourself. Time management; utilize time and resources to get the most out of both. Takes an appropriate approach to social interactions at work. Maintains focus on work responsibilities.

# Communication:

Written  communication,  being  able  to  correctly  write  reports  and  memos.

Verbal communications, being able to communicate one on one or to a group.

# Cooperation:

Follow institute rules and regulations, learn and follow expectations. Get along with fellows, cooperation is the key to productivity. Able to welcome and adapt to changing workplace situations and the application of new or different skills.

# Respect:

Work hard, work to the best of your ability. Carry out orders, do what’s asked the first time. Show respect, accept and acknowledge an individual’s talents and knowledge. Respects diversity in the workplace, including showing due respect for different perspectives, opinions and suggestions.

Annexure-V Suggestive Format and Sequence Order of Success Story

| S. No | Key Information | Detail/Description |
| --- | --- | --- |
| 1. | Self & Family background | - Self-introduction - Family background and socio economic status, - Education level and activities involved in - Financial hardships etc |
| 2. | How he came on board NAVTTC Training/ or got trained through any other source | - Information about course, apply and selection - Course duration, trade selection - Attendance, active participation, monthly tests, interest in lab work |
| 3. | Post training activities | - How job / business (self-employment) was set up - How capital was managed (loan (if any) etc). - Detail of work to share i.e. where is job or business being done; how many people employed ( in case of self-employment/ business ) - Monthly income or earnings and support to family - Earning a happy life than before |
| 4. | Message to others (under training) | - Take the training opportunity seriously - Impose self-discipline and ensure regularity - Make Hard work pays in the end so be always ready for the same. |

# Note: Success story is a source of motivation for the trainees and can be presented in a number of ways/forms in a NAVTTC skill development course as under: -

- To call a passed out successful person of institute. He/she will narrate his/her success story to the trainees in his/her own words and meet trainees as well.

- To see and listen to a recorded video/clip (5 to 7 minutes) showing a successful person Audio video recording that has to cover the above mentioned points.

- The teacher displays the picture of a successful trainee (name, trade, institute, organization, job, earning per month etc) and narrates his/her story in teacher’s own motivational words.